## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-02 00:00:00 | 3.2079 | 168.7893 | 3.695 | 185.4857 | 4.1164 | 177.9071 | 5.2371 | 170.2 | 21.2921 | 884 | 68.62 | 7.895
2019-06-02 00:15:00 | 3.8433 | 192.37 | 4.4233 | 211.4 | 4.78 | 177.5667 | 5.6467 | 179.6 | 21.0067 | 884 | 70.7667 | 8.958
2019-06-02 00:30:00 | 3.81 | 186.7367 | 4.3833 | 205.2 | 4.6867 | 180.7667 | 5.5133 | 183 | 20.844 | 884 | 71.8067 | 9.2667
2019-06-02 00:45:00 | 3.7767 | 161.7967 | 4.35 | 177.8 | 4.83 | 177.8 | 5.54 | 188.0667 | 20.4733 | 883.2667 | 73.4467 | 8.296
2019-06-02 01:00:00 | 3.67 | 159.49 | 4.23 | 175.2667 | 4.67 | 179.3333 | 5.72 | 177.1333 | 20.3133 | 883 | 73.9267 | 9.406
2019-06-02 01:15:00 | 3.24 | 160.95 | 3.7333 | 176.8667 | 4.12 | 183.9667 | 4.7233 | 180.9667 | 20.3313 | 883 | 73.5133 | 8.22
2019-06-02 01:30:00 | 3.36 | 168.1167 | 3.8733 | 184.7333 | 4.1933 | 169.1667 | 4.8967 | 169.66 | 20.2167 | 883 | 73.7933 | 7.4233
2019-06-02 01:45:00 | 3.4467 | 179.2233 | 3.9667 | 196.9333 | 4.3927 | 170.4667 | 5.4967 | 177.3333 | 20.0267 | 883 | 74.1447 | 10.054
2019-06-02 02:00:00 | 3.7067 | 161.0767 | 4.2733 | 177 | 4.6367 | 176.1333 | 5.43 | 185.0667 | 19.872 | 883 | 74.61 | 7.9073
2019-06-02 02:15:00 | 3.1333 | 148.7867 | 3.6 | 163.5 | 4.06 | 192.1667 | 4.7367 | 186.2667 | 19.8233 | 883 | 74.9667 | 4.9833
2019-06-02 02:30:00 | 2.8667 | 158.2467 | 3.3067 | 173.9 | 3.6933 | 178.2333 | 4.4367 | 189.1333 | 19.842 | 883 | 75.2 | 4.0613
2019-06-02 02:45:00 | 2.7667 | 163.1887 | 3.1867 | 179.32 | 3.7033 | 180.0667 | 4.4867 | 173.3667 | 19.6433 | 883 | 76.4133 | 4.49
2019-06-02 03:00:00 | 2.86 | 161.63 | 3.2933 | 177.6 | 3.79 | 173.7333 | 4.2533 | 180.0333 | 19.4167 | 882.6 | 77.244 | 3.2067
2019-06-02 03:15:00 | 2.81 | 174.2933 | 3.2333 | 191.5333 | 3.6967 | 178.2333 | 4.3267 | 184.8 | 19.4547 | 882 | 77.47 | 2.278
2019-06-02 03:30:00 | 2.6033 | 164.7067 | 2.9933 | 181 | 3.3633 | 181.9 | 4.0467 | 184.0667 | 19.544 | 882 | 77.21 | 2.668
2019-06-02 03:45:00 | 2.4 | 165.7467 | 2.7633 | 182.1333 | 3.2267 | 169.2333 | 3.8867 | 177 | 19.4333 | 882 | 77.6907 | 1.626
2019-06-02 04:00:00 | 1.6133 | 162.1067 | 1.8567 | 178.1333 | 2.4933 | 184.2333 | 3.3133 | 181.1333 | 19.3267 | 882 | 77.548 | 0.924
2019-06-02 04:15:00 | 1.6133 | 197.9267 | 1.8567 | 217.5 | 2.7467 | 186.6667 | 3.5633 | 175.2667 | 18.9967 | 882 | 78.9633 | 0.8
2019-06-02 04:30:00 | 1.4533 | 187.68 | 1.67 | 206.2333 | 2.5333 | 196.1333 | 3.2433 | 187.7333 | 18.8033 | 882 | 79.7433 | 0.77133
2019-06-02 04:45:00 | 1.2433 | 97.8933 | 1.44 | 107.5667 | 2.3067 | 201.9667 | 3.0033 | 179.1667 | 18.25 | 882 | 81.9667 | 1.1787
2019-06-02 05:00:00 | 1.2433 | 137.38 | 1.44 | 150.9667 | 2.34 | 187.7667 | 3.3567 | 172.22 | 17.8367 | 882 | 83.7667 | 0.652
2019-06-02 05:15:00 | 0.77 | 157.5233 | 0.89 | 173.0933 | 1.4833 | 184.9 | 2.7733 | 172.5533 | 17.662 | 882 | 84.8333 | 0.50067
2019-06-02 05:30:00 | 0.35 | 157.47 | 0.41667 | 173.04 | 0.69 | 195.3667 | 2.34 | 181.0333 | 17.29 | 882 | 86.7667 | 0.26133
2019-06-02 05:45:00 | 0.84333 | 157.4567 | 0.98 | 173.0267 | 1.68 | 193.9667 | 2.8767 | 178.4667 | 16.8933 | 882 | 88.9667 | 0.069333
2019-06-02 06:00:00 | 0.73 | 156.89 | 0.84 | 172.4 | 1.4267 | 192.1667 | 2.4167 | 174.5333 | 16.9333 | 882 | 89.1667 | 0.22933
2019-06-02 06:15:00 | 0.83333 | 156.5467 | 0.96 | 172.0267 | 1.47 | 209.6667 | 2.42 | 189.1 | 16.7667 | 882 | 90.1667 | 0.33067
2019-06-02 06:30:00 | 1.3333 | 161.44 | 1.54 | 177.4 | 2.2767 | 184.7333 | 2.72 | 173.98 | 16.5667 | 882 | 91.3667 | 0.42533
2019-06-02 06:45:00 | 1.1467 | 175.24 | 1.32 | 192.5667 | 1.8033 | 183.9 | 2.19 | 186.8333 | 16.6767 | 882.0667 | 91.5 | 0.454
2019-06-02 07:00:00 | 0.94667 | 174.96 | 1.0933 | 192.26 | 1.7167 | 186.2333 | 2.59 | 183.3 | 17.1767 | 883 | 89.7 | 0.43533
2019-06-02 07:15:00 | 1.3933 | 144.7867 | 1.6033 | 159.1 | 2.0467 | 181.3333 | 3.4233 | 178.3 | 17.9933 | 883 | 86.5667 | 0.22
2019-06-02 07:30:00 | 1.3333 | 166.8667 | 1.53 | 183.3667 | 1.8867 | 167.6 | 3.0767 | 177.1667 | 18.4333 | 883.4 | 84.7 | 0
2019-06-02 07:45:00 | 1.1667 | 140.6633 | 1.3433 | 154.5667 | 1.6133 | 184.9333 | 2.0433 | 193.7667 | 18.8633 | 884 | 83.8933 | 0
2019-06-02 08:00:00 | 0.55333 | 142.1167 | 0.64333 | 156.1667 | 0.82 | 207.04 | 1.5833 | 226.9667 | 19.53 | 884 | 82.2667 | 0
2019-06-02 08:15:00 | 0.41333 | 125.4153 | 0.48 | 137.8067 | 0.36667 | 181.2 | 1.3933 | 224.4667 | 19.9767 | 884.7333 | 80.7667 | 0
2019-06-02 08:30:00 | 0.46 | 155.95 | 0.53333 | 171.3667 | 0.82667 | 183.32 | 1.4733 | 219.4667 | 20.4633 | 885 | 78.82 | 0
2019-06-02 08:45:00 | 0.19 | 2.2633 | 0.23333 | 2.4767 | 0.11667 | 195.7 | 1.12 | 204.1 | 20.78 | 885 | 74.78 | 0
2019-06-02 09:00:00 | 0.89667 | 59.9633 | 1.0333 | 65.8833 | 1.05 | 190.5 | 1.4867 | 187.7 | 20.9267 | 885 | 76.9467 | 0
2019-06-02 09:15:00 | 1.7533 | 140.9267 | 2.0233 | 154.8667 | 2.0167 | 176.4 | 2.1467 | 180.5667 | 21.7233 | 885.0667 | 75.1967 | 0
2019-06-02 09:30:00 | 1.8667 | 148.2067 | 2.15 | 162.8667 | 2.1567 | 172.4667 | 2.06 | 179.9 | 21.7567 | 886 | 76.3367 | 0
2019-06-02 09:45:00 | 1.9133 | 145.7233 | 2.1967 | 160.1333 | 2.13 | 152.7667 | 2.1267 | 200.02 | 21.7733 | 886 | 76.8233 | 0
2019-06-02 10:00:00 | 2.1467 | 134.6767 | 2.4767 | 148 | 2.3367 | 178.3 | 2.2467 | 193.8333 | 21.892 | 886 | 76.5367 | 0
2019-06-02 10:15:00 | 2.496 | 141.42 | 2.8753 | 155.3933 | 2.7967 | 192.0733 | 2.78 | 201.2133 | 22.1973 | 886 | 75.3147 | 0
2019-06-02 10:30:00 | 2.2133 | 144.9367 | 2.5533 | 159.2667 | 2.56 | 191.0667 | 2.3867 | 200.8 | 22.67 | 886 | 73.4667 | 0
2019-06-02 10:45:00 | 2.3667 | 151.4333 | 2.7233 | 166.4 | 2.66 | 154.3 | 2.2633 | 152.7333 | 22.8667 | 886 | 72.66 | 0
2019-06-02 11:00:00 | 2.0933 | 138.26 | 2.41 | 151.9333 | 2.4467 | 185.3667 | 2.2433 | 176.8 | 23 | 886 | 72.58 | 0
2019-06-02 11:15:00 | 2.6667 | 151.6067 | 3.07 | 166.6 | 3.11 | 184.3 | 3.0967 | 204.5 | 23.3667 | 886 | 71.0733 | 0
2019-06-02 11:30:00 | 3.08 | 158.4 | 3.55 | 174.0667 | 3.6233 | 175.9667 | 3.6433 | 171.9 | 23.644 | 886 | 69.22 | 0
2019-06-02 11:45:00 | 3.62 | 125.68 | 4.1633 | 138.1 | 4.1567 | 163.4133 | 4.1467 | 182.9667 | 23.7027 | 886 | 68.12 | 0.516
2019-06-02 12:00:00 | 4.04 | 148.9133 | 4.65 | 163.6333 | 4.6633 | 164.6667 | 4.6467 | 183.1 | 23.768 | 885.6 | 66.5333 | 1.6047
2019-06-02 12:15:00 | 4.0647 | 157.7033 | 4.6753 | 173.2933 | 5.082 | 169.44 | 5.114 | 186.0133 | 24.142 | 885 | 67.3493 | 3.5267
2019-06-02 12:30:00 | 3.8367 | 159.5667 | 4.4133 | 175.3333 | 4.8367 | 157.7667 | 5.0567 | 186.8333 | 24.4333 | 885 | 68.0133 | 5.3007
2019-06-02 12:45:00 | 3.5827 | 162.236 | 4.1213 | 178.2733 | 4.5033 | 191.6533 | 4.5867 | 177.2933 | 24.59 | 885 | 67.7833 | 4.7247
2019-06-02 13:00:00 | 2.7667 | 167.1067 | 3.1867 | 183.6333 | 3.5967 | 227.6 | 3.9867 | 243.3333 | 24.8767 | 885 | 67.558 | 5.1387
2019-06-02 13:15:00 | 3.0067 | 139.21 | 3.4567 | 152.9667 | 3.8367 | 135.2333 | 4.1 | 168.3333 | 25.1693 | 885 | 65.8233 | 4.9873
2019-06-02 13:30:00 | 3.4333 | 163.4033 | 3.95 | 179.5667 | 4.4833 | 163.9667 | 4.4867 | 168.1333 | 25.4533 | 885 | 64.4433 | 5.4473
2019-06-02 13:45:00 | 3.6467 | 111.5033 | 4.1967 | 122.5333 | 4.5133 | 164.4 | 4.6667 | 148.0667 | 25.63 | 885 | 63.62 | 5.2013
2019-06-02 14:00:00 | 3.82 | 144.8167 | 4.3967 | 159.1333 | 4.9467 | 189.7333 | 5.2133 | 186.4 | 25.7033 | 885 | 63.4067 | 4.3953
2019-06-02 14:15:00 | 3.4533 | 137.9333 | 3.97 | 151.5667 | 4.14 | 162.0667 | 4.3067 | 169.1333 | 26.0413 | 884.9333 | 61.64 | 4.15
2019-06-02 14:30:00 | 3.9333 | 146.9667 | 4.53 | 161.5 | 4.9467 | 165.6 | 4.7133 | 172.4 | 26.1933 | 884 | 59.52 | 4.9973
2019-06-02 14:45:00 | 3.3133 | 166.2033 | 3.81 | 182.6333 | 4.3 | 180.9333 | 4.5367 | 207.8333 | 26.4567 | 884 | 57.57 | 5.7193
2019-06-02 15:00:00 | 2.978 | 166.52 | 3.426 | 182.98 | 4.018 | 231.4 | 4.552 | 230.68 | 26.898 | 884 | 55.074 | 6.852
2019-06-02 15:15:00 | 2.33 | 104.9 | 2.6867 | 115.2667 | 3.0433 | 221.3333 | 3.22 | 229.4333 | 27.6033 | 884 | 52.89 | 7.6613
2019-06-02 15:30:00 | 3.13 | 168.1667 | 3.6067 | 184.8 | 4.15 | 222 | 4.32 | 222.1 | 27.87 | 884 | 51.3633 | 8.322
2019-06-02 15:45:00 | 3.0833 | 138.23 | 3.5467 | 151.9 | 4.25 | 180.4 | 4.36 | 240.0667 | 27.7967 | 884 | 51.2433 | 8.128
2019-06-02 16:00:00 | 3.2167 | 165.05 | 3.7 | 181.3667 | 4.31 | 195.6667 | 4.3133 | 209.9333 | 27.61 | 884 | 52.55 | 6.5293
2019-06-02 16:15:00 | 3.58 | 134.6533 | 4.12 | 147.9667 | 4.5633 | 172.1333 | 4.5733 | 195.4667 | 26.8133 | 884 | 55.14 | 4.492
2019-06-02 16:30:00 | 1.9667 | 154.4867 | 2.2733 | 169.7667 | 2.69 | 169.4667 | 2.78 | 205 | 27.2467 | 884 | 54.9867 | 3.48
2019-06-02 16:45:00 | 2.3467 | 131.47 | 2.7033 | 144.4667 | 3.24 | 181.3 | 3.3433 | 191.2667 | 27.134 | 884 | 55.2867 | 4.2633
2019-06-02 17:00:00 | 1.8933 | 144.57 | 2.1833 | 158.8667 | 2.5933 | 183.9 | 2.9233 | 197.3333 | 26.45 | 884 | 56.6867 | 0.39067
2019-06-02 17:15:00 | 1.58 | 141.6933 | 1.8233 | 155.7 | 2.1467 | 208.5 | 2.4033 | 224.4667 | 26.2087 | 884 | 57.0433 | 0
2019-06-02 17:30:00 | 0.96667 | 170.3867 | 1.1167 | 187.2333 | 1.6133 | 212.9 | 1.83 | 232.2 | 26.2433 | 883.6 | 58.5567 | 0
2019-06-02 17:45:00 | 1.48 | 205.3367 | 1.7033 | 225.6333 | 2.6833 | 238.4667 | 2.9667 | 246.9333 | 25.82 | 883 | 59.12 | 0
2019-06-02 18:00:00 | 1.4533 | 238.6967 | 1.6833 | 262.3 | 2.5233 | 276.9333 | 2.6267 | 281.2667 | 25.6867 | 883 | 58.18 | 0
2019-06-02 18:15:00 | 1.09 | 277.55 | 1.2567 | 305 | 2.1333 | 295.7667 | 2.19 | 296.6333 | 25.3867 | 883 | 59.93 | 0
2019-06-02 18:30:00 | 0.33 | 302.89 | 0.37667 | 332.84 | 0.65333 | 307.5 | 0.79 | 311.6333 | 25.18 | 883 | 61.218 | 0
2019-06-02 18:45:00 | 0.72333 | 214.4247 | 0.83333 | 235.6267 | 1.28 | 245.5767 | 1.2 | 66.1333 | 25.0473 | 883 | 61.12 | 0
2019-06-02 19:00:00 | 1.8033 | 218.53 | 2.08 | 240.1467 | 3.48 | 13.15 | 3.6333 | 24.3133 | 24.77 | 883 | 63.5733 | 10.3947
2019-06-02 19:15:00 | 6.1967 | 169.3 | 7.1267 | 186.0333 | 11.0933 | 14.94 | 11.2267 | 18.2633 | 24.0067 | 883 | 64.1333 | 36.6647
2019-06-02 19:30:00 | 7.05 | 240.8267 | 8.12 | 264.6333 | 12.4933 | 16.32 | 12.3867 | 21.67 | 23.5133 | 883 | 54.5733 | 43.9673
2019-06-02 19:45:00 | 5.8967 | 183.8533 | 6.7833 | 202.0333 | 10.6633 | 25.4333 | 10.4 | 25.4867 | 22.8067 | 883 | 51.5433 | 37.4513
2019-06-02 20:00:00 | 5.43 | 183.8533 | 6.25 | 202.0333 | 10.0367 | 19.1467 | 10 | 15.3667 | 22.2 | 883 | 51.7367 | 23.7387
2019-06-02 20:15:00 | 3.91 | 298.1133 | 4.5033 | 327.6 | 6.9433 | 11.5167 | 6.54 | 21.2667 | 21.8033 | 882.2667 | 51.2 | 5.06
2019-06-02 20:30:00 | 2.2833 | 287.9933 | 2.63 | 316.4667 | 4.1367 | 221.2967 | 4.0533 | 227.64 | 21.6567 | 882 | 51.0867 | 0
2019-06-02 20:45:00 | 1.73 | 274.2167 | 1.9933 | 301.3333 | 2.7633 | 294.4 | 2.4533 | 212.1667 | 22.0167 | 882 | 47.0867 | 0
2019-06-02 21:00:00 | 2.15 | 204.21 | 2.48 | 224.4 | 2.7433 | 206.2667 | 2.7933 | 175.9667 | 22.41 | 882 | 45.6133 | 0.56467
2019-06-02 21:15:00 | 3.4333 | 165.8933 | 3.96 | 182.3 | 4.63 | 228.8667 | 4.8033 | 231.7 | 22.79 | 882 | 45.77 | 6.222
2019-06-02 21:30:00 | 3.2867 | 277.0467 | 3.7933 | 304.4333 | 5.11 | 247.4 | 5.21 | 256.1667 | 23.1167 | 882.4 | 42.9433 | 1.656
2019-06-02 21:45:00 | 2.3833 | 88.3733 | 2.74 | 97.1067 | 3.9467 | 19.3567 | 4.2433 | 24.9833 | 22.96 | 883 | 45.3 | 1.2173
2019-06-02 22:00:00 | 3.7433 | 92.4467 | 4.3133 | 101.5933 | 6.6 | 22.73 | 6.6233 | 30.4767 | 21.5267 | 883 | 51.6733 | 12.6993
2019-06-02 22:15:00 | 4.0167 | 260.6233 | 4.6167 | 286.4 | 7.66 | 24.9033 | 7.8467 | 24.3333 | 20.5533 | 882.3333 | 54.86 | 24.064
2019-06-02 22:30:00 | 4.3167 | 127.1033 | 4.9633 | 139.6733 | 7.8067 | 12.1233 | 7.9733 | 20.54 | 20.2 | 883 | 56.3133 | 28.304
2019-06-02 22:45:00 | 3.8667 | 23.1433 | 4.4533 | 25.4333 | 6.9633 | 120.8733 | 7.0333 | 17.82 | 19.9033 | 883 | 57.8933 | 21.7367
2019-06-02 23:00:00 | 3.7733 | 61.5567 | 4.3467 | 67.64 | 6.7433 | 129.9133 | 6.54 | 14.82 | 19.65 | 883 | 59.2533 | 16.334
2019-06-02 23:15:00 | 2.7967 | 215.3433 | 3.2167 | 236.6433 | 4.67 | 7.4467 | 5.0833 | 19.3867 | 19.42 | 882.9333 | 60.2067 | 3.5267
2019-06-02 23:30:00 | 2.5767 | 4.5967 | 2.9633 | 5.0433 | 4.09 | 13.7 | 4.0633 | 19.16 | 19.9333 | 882 | 56.6933 | 4.7567
2019-06-02 23:45:00 | 2.68 | 204.84 | 3.08 | 225.09 | 3.97 | 5.9833 | 4.2867 | 22.9233 | 19.7233 | 882 | 59.02 | 4.5507