## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-03 00:00:00 | 3.2814 | 211.0043 | 3.7793 | 231.8679 | 4.4779 | 12.2936 | 4.7493 | 20.6679 | 19.5593 | 882 | 59.525 | 0.92
2019-06-03 00:15:00 | 3.2333 | 1.2233 | 3.7167 | 1.3367 | 4.2733 | 342.4333 | 4.04 | 13.5133 | 19.7533 | 882 | 58.3067 | 0
2019-06-03 00:30:00 | 2.66 | 192.3567 | 3.0633 | 211.37 | 3.2667 | 341.1 | 2.8867 | 18.6 | 19.9 | 882 | 57.14 | 0
2019-06-03 00:45:00 | 2.5467 | 316.65 | 2.9333 | 347.9667 | 3.1433 | 6.8067 | 2.1233 | 244.4367 | 19.72 | 882 | 58.69 | 0
2019-06-03 01:00:00 | 2.6467 | 310.41 | 3.0533 | 341.1 | 3.35 | 7.6467 | 2.5967 | 21.4633 | 19.4133 | 882 | 61.87 | 0
2019-06-03 01:15:00 | 3.2333 | 319.0433 | 3.7233 | 350.6 | 3.6767 | 7 | 1.71 | 22.9267 | 18.66 | 882 | 66.6253 | 0
2019-06-03 01:30:00 | 3.1067 | 109.2567 | 3.5767 | 120.0533 | 4.0567 | 9.74 | 3.45 | 15.7467 | 18.4133 | 882 | 67.7667 | 0.13133
2019-06-03 01:45:00 | 3.66 | 111.5233 | 4.2233 | 122.5467 | 4.81 | 129.2667 | 4.7367 | 12.1933 | 18.14 | 882 | 68.98 | 2.59
2019-06-03 02:00:00 | 3.7733 | 287.2567 | 4.3433 | 315.6667 | 5.2367 | 127.7267 | 5.2967 | 13.9733 | 17.66 | 882 | 72.16 | 3.8427
2019-06-03 02:15:00 | 3.78 | 6.39 | 4.35 | 7.0167 | 5.6433 | 14.5733 | 5.55 | 13.5967 | 17.1567 | 882 | 75.3033 | 3.9547
2019-06-03 02:30:00 | 3.9067 | 197.1833 | 4.5033 | 216.6833 | 4.9833 | 10.4867 | 5.43 | 8.0033 | 17.0967 | 881.6 | 74.7633 | 5.45
2019-06-03 02:45:00 | 4.0533 | 311.95 | 4.66 | 342.8 | 5.4433 | 5.3 | 5.6533 | 15.2133 | 17.1273 | 881 | 73.8 | 9.5613
2019-06-03 03:00:00 | 4.2133 | 311.1567 | 4.8467 | 341.9333 | 5.8433 | 4.16 | 5.94 | 3.2267 | 16.97 | 881 | 75.0267 | 7.77
2019-06-03 03:15:00 | 4.61 | 86.6333 | 5.3067 | 95.1933 | 5.81 | 0.15 | 6.15 | 237.28 | 16.76 | 881 | 76.3233 | 5.6893
2019-06-03 03:30:00 | 4.7967 | 290.5067 | 5.5267 | 319.2333 | 6.1633 | 0.27667 | 6.4433 | 6.4933 | 16.7267 | 881 | 76.09 | 6.89
2019-06-03 03:45:00 | 4.65 | 113.2267 | 5.35 | 124.4267 | 5.92 | 1.2467 | 6.1433 | 4.2567 | 16.5467 | 880.2667 | 76.9667 | 7.3147
2019-06-03 04:00:00 | 5.0367 | 114.1133 | 5.8033 | 125.4 | 6.3667 | 7.5533 | 6.47 | 15.1767 | 16.4 | 880 | 77.712 | 10.4827
2019-06-03 04:15:00 | 4.93 | 302.6667 | 5.68 | 332.6 | 7.3433 | 123.6933 | 7.61 | 9.6867 | 16.1633 | 880.7333 | 79.5267 | 14.15
2019-06-03 04:30:00 | 4.7567 | 103.6733 | 5.4733 | 113.9267 | 7.0633 | 128.6867 | 7.4033 | 13.1867 | 15.91 | 880.6 | 80.64 | 10.7047
2019-06-03 04:45:00 | 4.49 | 1.9567 | 5.1733 | 2.15 | 6.4533 | 12.8833 | 6.7367 | 16.49 | 15.8673 | 880 | 80.5667 | 8.9213
2019-06-03 05:00:00 | 4.2833 | 213.2433 | 4.9267 | 234.3367 | 6.8933 | 13.3833 | 7.07 | 10.27 | 15.71 | 880 | 81.7 | 9.8147
2019-06-03 05:15:00 | 4.35 | 168.7767 | 5.0033 | 185.4667 | 6.6133 | 1.3467 | 6.4467 | 7.0233 | 15.6953 | 880 | 81.3 | 6.6347
2019-06-03 05:30:00 | 4.9633 | 223.3233 | 5.71 | 245.4 | 6.2 | 0.36 | 6.36 | 7.61 | 15.8633 | 880 | 80.1667 | 7.414
2019-06-03 05:45:00 | 4.7067 | 324.4467 | 5.4233 | 356.5267 | 6.2307 | 7.23 | 6.7433 | 12.5233 | 15.7967 | 880.0667 | 80.0667 | 6.822
2019-06-03 06:00:00 | 4.4333 | 319.38 | 5.0967 | 350.9667 | 6.3067 | 10.81 | 6.5633 | 12.9567 | 15.5433 | 881 | 81.9 | 7.776
2019-06-03 06:15:00 | 4.3133 | 322.93 | 4.9633 | 354.8667 | 6.5933 | 9.1333 | 7.2533 | 14.86 | 15.0233 | 880.2667 | 85.7 | 7.6073
2019-06-03 06:30:00 | 4.6467 | 312.07 | 5.3433 | 342.9333 | 7.3 | 5.96 | 7.2133 | 7.4067 | 14.81 | 880 | 86.7667 | 8.5533
2019-06-03 06:45:00 | 4.95 | 199.98 | 5.6927 | 219.75 | 6.548 | 4.8127 | 6.6727 | 214.156 | 15.2673 | 880.0667 | 83.1533 | 8.8987
2019-06-03 07:00:00 | 4.63 | 55.9033 | 5.3233 | 61.43 | 6.8767 | 5.3067 | 6.96 | 8.5467 | 15.64 | 881 | 82.1333 | 15.2147
2019-06-03 07:15:00 | 4.52 | 210.15 | 5.1967 | 230.9367 | 6.9533 | 4.2267 | 7.2993 | 14.3033 | 15.7333 | 881 | 83.1667 | 13.4013
2019-06-03 07:30:00 | 4.3333 | 210.9433 | 4.99 | 231.8033 | 6.82 | 15.78 | 7.286 | 20.67 | 15.9 | 881 | 83.1 | 14.1753
2019-06-03 07:45:00 | 4.6067 | 219.22 | 5.3 | 240.8967 | 7.5567 | 9.0467 | 7.76 | 13.73 | 16.4233 | 881.0667 | 80.6333 | 15.4413
2019-06-03 08:00:00 | 4.78 | 219.28 | 5.5067 | 240.9633 | 7.79 | 11.7667 | 7.9 | 28.3433 | 16.7233 | 882 | 79.16 | 20.5413
2019-06-03 08:15:00 | 4.6933 | 212.85 | 5.4067 | 233.89 | 7.4433 | 5.8633 | 7.84 | 35.78 | 17.1533 | 882 | 78.0067 | 17.026
2019-06-03 08:30:00 | 4.56 | 165.7633 | 5.2467 | 182.1567 | 6.9233 | 3.97 | 7.0467 | 33.84 | 17.5067 | 882 | 76.3333 | 12.5347
2019-06-03 08:45:00 | 4.596 | 4.9267 | 5.2953 | 5.4047 | 6.4747 | 48.55 | 6.466 | 261.58 | 17.7127 | 882.0667 | 76.1633 | 11.016
2019-06-03 09:00:00 | 4.46 | 206.3767 | 5.1367 | 226.7767 | 6.1067 | 8.15 | 6.2433 | 1.2133 | 17.99 | 883 | 76.6967 | 12.1633
2019-06-03 09:15:00 | 4.4133 | 214.1567 | 5.08 | 235.3267 | 5.7567 | 237.9833 | 5.8467 | 121.1467 | 18.2367 | 883 | 75.7667 | 8.9307
2019-06-03 09:30:00 | 4.0533 | 182.4233 | 4.6667 | 200.46 | 5.4367 | 231.7167 | 5.9133 | 115.74 | 18.7833 | 883 | 73.6467 | 3.6473
2019-06-03 09:45:00 | 3.57 | 11.0667 | 4.1067 | 12.1533 | 4.4267 | 44.4933 | 4.5633 | 3.44 | 19.5367 | 883 | 70.584 | 0.914
2019-06-03 10:00:00 | 3.13 | 208.24 | 3.6 | 228.8267 | 3.6733 | 226.6133 | 3.8433 | 8.92 | 20.0433 | 883 | 69.8933 | 0
2019-06-03 10:15:00 | 2.9733 | 311.5633 | 3.4267 | 342.3667 | 3.4467 | 238.97 | 3.63 | 0.62667 | 20.49 | 883 | 67.824 | 0
2019-06-03 10:30:00 | 2.8 | 321.3833 | 3.22 | 353.1667 | 3.16 | 239.37 | 3.0567 | 237.68 | 20.7167 | 883.4 | 67.3133 | 0
2019-06-03 10:45:00 | 2.27 | 318.77 | 2.61 | 350.3 | 2.44 | 350.6667 | 2.2733 | 348.2333 | 20.858 | 883.3333 | 66.516 | 0
2019-06-03 11:00:00 | 1.91 | 324.5367 | 2.1967 | 356.6333 | 2.02 | 347.8667 | 1.74 | 325.1667 | 21.3033 | 884 | 64.24 | 0
2019-06-03 11:15:00 | 1.12 | 112.2433 | 1.29 | 123.34 | 1.06 | 218.8467 | 0.36 | 283.8667 | 22.1667 | 884 | 62.5933 | 0
2019-06-03 11:30:00 | 0.74667 | 130.4567 | 0.85667 | 143.36 | 0.8 | 31.9933 | 0.44 | 138.0667 | 23.04 | 884 | 61.0267 | 0
2019-06-03 11:45:00 | 1.9167 | 138.8667 | 2.2133 | 152.6 | 2.3733 | 173.4667 | 2.3033 | 170.6333 | 24.5467 | 884 | 58.1633 | 0
2019-06-03 12:00:00 | 2.4767 | 145.9133 | 2.8467 | 160.3333 | 3.0133 | 177.9333 | 2.7367 | 183.5 | 25.008 | 884 | 56.17 | 0
2019-06-03 12:15:00 | 2.7967 | 144.0867 | 3.2233 | 158.3333 | 3.3133 | 161.4333 | 2.95 | 179.4667 | 25.0387 | 884 | 55.1333 | 0
2019-06-03 12:30:00 | 3.2433 | 157.08 | 3.73 | 172.6 | 3.9 | 165.2333 | 3.9567 | 178.8 | 25.1267 | 884 | 55.26 | 1.5953
2019-06-03 12:45:00 | 3.44 | 123.3333 | 3.9633 | 135.5333 | 4.2633 | 141 | 4.4267 | 179.8667 | 25.5267 | 884 | 55.2933 | 1.4913
2019-06-03 13:00:00 | 3.76 | 124.4933 | 4.33 | 136.8 | 4.5633 | 139.5333 | 4.56 | 177.5333 | 25.9267 | 884 | 53.2733 | 0.41933
2019-06-03 13:15:00 | 2.6533 | 137.9333 | 3.0633 | 151.5667 | 3.5533 | 165.3667 | 3.81 | 147.3333 | 26.54 | 884 | 51.5967 | 0.474
2019-06-03 13:30:00 | 2.7933 | 139.9267 | 3.2167 | 153.7667 | 3.4867 | 162.1 | 3.51 | 153.8 | 26.5667 | 884 | 49.5833 | 1.2593
2019-06-03 13:45:00 | 3.0333 | 171.06 | 3.5 | 187.9667 | 3.8333 | 181.5 | 4.1067 | 188.7667 | 26.78 | 884 | 49.85 | 1.844
2019-06-03 14:00:00 | 2.58 | 158.98 | 2.9667 | 174.7 | 3.4067 | 196.1667 | 3.6267 | 231.1667 | 27.0467 | 884 | 49.0567 | 1.5387
2019-06-03 14:15:00 | 3.4533 | 149.9467 | 3.9733 | 164.7667 | 4.3967 | 201.1333 | 4.3167 | 211.4667 | 27.2967 | 884 | 50.08 | 1.5073
2019-06-03 14:30:00 | 2.68 | 99.7133 | 3.0933 | 109.5667 | 3.25 | 216 | 3.05 | 182.1333 | 27.4567 | 884 | 49.3933 | 2.0547
2019-06-03 14:45:00 | 3.37 | 129.07 | 3.8767 | 141.8333 | 4.2 | 182.4667 | 4.0933 | 193.8667 | 27.8033 | 883.2667 | 49.29 | 2.182
2019-06-03 15:00:00 | 2.09 | 197.1967 | 2.4033 | 216.7 | 2.8533 | 225.8 | 3.0133 | 243.0667 | 28.2233 | 883 | 47.4167 | 1.24
2019-06-03 15:15:00 | 2.39 | 167.99 | 2.7467 | 184.6 | 3.42 | 188.1 | 3.5867 | 224.6 | 29.01 | 883 | 46.77 | 0.938
2019-06-03 15:30:00 | 2.26 | 163.448 | 2.602 | 179.6 | 3.034 | 220.98 | 3.066 | 231.98 | 28.896 | 883 | 46.154 | 1.06
2019-06-03 15:45:00 | 2.6333 | 126.0667 | 3.03 | 138.5333 | 3.7633 | 151.8 | 3.49 | 158.2333 | 29.1233 | 883 | 47.5767 | 0.91467
2019-06-03 16:00:00 | 3.34 | 138.2 | 3.8433 | 151.8667 | 4.1767 | 168.6 | 4.1567 | 190.3 | 28.9633 | 883 | 46.462 | 1.1467
2019-06-03 16:15:00 | 1.81 | 181.4633 | 2.0867 | 199.4 | 2.37 | 188.8 | 2.48 | 200.9 | 29.2133 | 883 | 46.68 | 0.83267
2019-06-03 16:30:00 | 1.6767 | 186.13 | 1.94 | 204.5333 | 2.5033 | 246.6667 | 2.8333 | 246.1 | 29.9667 | 883 | 44.32 | 0.012667
2019-06-03 16:45:00 | 1.9467 | 163.5867 | 2.2467 | 179.7667 | 2.9033 | 189.4333 | 3.1067 | 225.2667 | 29.9833 | 883 | 43.21 | 0
2019-06-03 17:00:00 | 1.7533 | 169.3 | 2.0267 | 186.0333 | 2.3967 | 182.1 | 2.66 | 186.5333 | 29.9033 | 883 | 42.13 | 0.372
2019-06-03 17:15:00 | 2.08 | 168.23 | 2.4 | 184.8667 | 2.91 | 206.0333 | 2.95 | 232.1333 | 29.7667 | 883 | 43.35 | 0.60667
2019-06-03 17:30:00 | 1.48 | 171.69 | 1.7 | 188.6667 | 2.2633 | 236.0333 | 2.5833 | 229.6 | 29.5933 | 883 | 42.15 | 1.1113
2019-06-03 17:45:00 | 1.5467 | 195.0233 | 1.7767 | 214.3 | 2.48 | 232.8333 | 2.5667 | 246.5667 | 29.6833 | 883 | 42.2767 | 5.8727
2019-06-03 18:00:00 | 2.3733 | 166.7433 | 2.73 | 183.2333 | 3.6533 | 225.7 | 3.9733 | 252.1 | 29.0033 | 883 | 42.73 | 9.4387
2019-06-03 18:15:00 | 2.54 | 175.87 | 2.9267 | 193.2667 | 3.9467 | 245.6667 | 4.5007 | 237.0067 | 28.23 | 883 | 44.5567 | 7.8873
2019-06-03 18:30:00 | 2.5667 | 167.9833 | 2.9533 | 184.6 | 3.8 | 244.0667 | 4.4767 | 243.3667 | 27.8233 | 882.6 | 46.59 | 4.7993
2019-06-03 18:45:00 | 2.4733 | 174.048 | 2.8427 | 191.26 | 3.5913 | 237.1467 | 3.914 | 224.1533 | 27.506 | 882 | 48.2273 | 4.5193
2019-06-03 19:00:00 | 2.3867 | 184.82 | 2.7533 | 203.1 | 3.4367 | 216.2 | 3.9767 | 216.5 | 27.21 | 882 | 48.71 | 5.1607
2019-06-03 19:15:00 | 2.7667 | 154.5567 | 3.1833 | 169.8333 | 3.8633 | 189.3 | 4.02 | 174.8 | 26.6067 | 881.9333 | 50.4267 | 8.2533
2019-06-03 19:30:00 | 3.3333 | 167.1767 | 3.8433 | 183.7 | 4.3633 | 200.1667 | 4.98 | 199.5333 | 26.4533 | 881 | 49.1867 | 7.71
2019-06-03 19:45:00 | 3.0967 | 157.8933 | 3.56 | 173.5 | 4.1067 | 195.4333 | 4.6333 | 192.7333 | 26.4067 | 881 | 48.2233 | 9.282
2019-06-03 20:00:00 | 3.55 | 159.5867 | 4.0867 | 175.3667 | 4.7667 | 209.5667 | 5.0267 | 197.2667 | 26.0733 | 881.4 | 49.0767 | 9.4073
2019-06-03 20:15:00 | 3.0933 | 168.02 | 3.5633 | 184.6333 | 4.02 | 208.9333 | 4.2367 | 204.2667 | 25.81 | 881.2667 | 49.4747 | 9.164
2019-06-03 20:30:00 | 2.88 | 169.3533 | 3.3167 | 186.1 | 3.7733 | 201.2667 | 3.8967 | 200.0667 | 25.754 | 881 | 49.512 | 9.2353
2019-06-03 20:45:00 | 2.9233 | 163.44 | 3.3633 | 179.6 | 3.7133 | 193.2333 | 3.8567 | 196.8 | 25.4333 | 881 | 50.9833 | 9.1747
2019-06-03 21:00:00 | 2.91 | 162.4133 | 3.35 | 178.4667 | 3.68 | 192.9 | 3.93 | 194.6667 | 25.336 | 881 | 51.5233 | 8.3147
2019-06-03 21:15:00 | 2.3867 | 180.82 | 2.75 | 198.7 | 3.0533 | 180.7667 | 3.4767 | 195.3 | 25.0367 | 881 | 53.0633 | 7.0967
2019-06-03 21:30:00 | 2.5333 | 168.7533 | 2.91 | 185.4333 | 3.2933 | 191.3 | 3.5433 | 197.5 | 24.734 | 881 | 54.11 | 7.508
2019-06-03 21:45:00 | 2.9 | 172.2133 | 3.3467 | 189.2333 | 3.6767 | 178.5 | 4.18 | 183.6667 | 24.5267 | 881 | 54.82 | 5.8173
2019-06-03 22:00:00 | 2.6733 | 158.68 | 3.08 | 174.3667 | 3.5367 | 164.1667 | 4.2067 | 170.1333 | 24.14 | 881 | 56.44 | 3.9233
2019-06-03 22:15:00 | 2.8267 | 160.6167 | 3.26 | 176.5 | 3.73 | 165.8 | 4.5833 | 174.2333 | 24.3433 | 881.7333 | 56.0333 | 3.0093
2019-06-03 22:30:00 | 2.5533 | 147.3967 | 2.9333 | 161.9667 | 3.41 | 167.6 | 4.1367 | 169.7667 | 24.39 | 882 | 55.7467 | 2.3013
2019-06-03 22:45:00 | 2.27 | 127.1567 | 2.61 | 139.7333 | 2.9733 | 155.9 | 3.4967 | 166.3333 | 24.1467 | 882 | 56.0133 | 2.7193
2019-06-03 23:00:00 | 2.4833 | 140.63 | 2.8567 | 154.5333 | 3.34 | 173.0333 | 3.89 | 176.7333 | 24.0667 | 882 | 56.0267 | 3.11
2019-06-03 23:15:00 | 2.1573 | 139.6927 | 2.484 | 153.5067 | 3.024 | 185.3733 | 3.718 | 180.92 | 23.7967 | 882 | 57.168 | 2.6
2019-06-03 23:30:00 | 2.0267 | 155.7433 | 2.33 | 171.1333 | 2.7167 | 184.7333 | 3.0467 | 175 | 23.67 | 882 | 57.96 | 2.4813
2019-06-03 23:45:00 | 1.9333 | 170.8067 | 2.22 | 187.7 | 2.6167 | 195.8 | 2.9733 | 197.1333 | 23.6633 | 882 | 58.2007 | 2.5227