## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-04 00:00:00 | 2.1714 | 171.1643 | 2.4957 | 188.0929 | 2.8714 | 186.9571 | 3.24 | 200.5786 | 23.4564 | 882 | 58.855 | 2.2786
2019-06-04 00:15:00 | 2.13 | 169.8133 | 2.45 | 186.6 | 2.8367 | 192.0667 | 3.28 | 198.6333 | 23.3153 | 881.9333 | 59.6233 | 2.742
2019-06-04 00:30:00 | 1.8233 | 160.22 | 2.1033 | 176.0667 | 2.4433 | 191.2667 | 2.9067 | 208.38 | 23.1433 | 881 | 60.47 | 2.188
2019-06-04 00:45:00 | 1.7967 | 174.3667 | 2.0733 | 191.6 | 2.78 | 189.0667 | 3.3533 | 200.9 | 22.7733 | 881 | 62.3667 | 1.7433
2019-06-04 01:00:00 | 1.4767 | 173.88 | 1.7133 | 191.0667 | 2.54 | 193.5333 | 3.38 | 195.6333 | 22.5533 | 881 | 63.0733 | 1.5807
2019-06-04 01:15:00 | 1.4567 | 164.29 | 1.68 | 180.5333 | 2.4633 | 179.3067 | 2.7467 | 192.8 | 22.3567 | 881 | 64.0267 | 0.93867
2019-06-04 01:30:00 | 1.5233 | 171.99 | 1.7533 | 189 | 2.1567 | 182.6 | 3.1133 | 191.56 | 22.1233 | 881 | 65.5867 | 0.74933
2019-06-04 01:45:00 | 1.5667 | 175.4467 | 1.81 | 192.8 | 2.1733 | 186.7333 | 2.3733 | 189.6667 | 22.18 | 881 | 65.92 | 0.85467
2019-06-04 02:00:00 | 1.46 | 166.8933 | 1.6833 | 183.4 | 2.2467 | 182.1333 | 2.6133 | 192.9333 | 21.9 | 881 | 67.0867 | 0.54
2019-06-04 02:15:00 | 1.4933 | 171.4133 | 1.7133 | 188.3667 | 2.3867 | 186.5667 | 2.9933 | 190.4667 | 21.7033 | 881 | 67.4947 | 0.55733
2019-06-04 02:30:00 | 1.4267 | 165.7733 | 1.6467 | 182.1667 | 2.2267 | 184.8333 | 2.3667 | 187.1333 | 21.5033 | 880.6 | 68.5067 | 0.63867
2019-06-04 02:45:00 | 1.22 | 182.36 | 1.41 | 200.4 | 1.9 | 189.7 | 2.8 | 186.9133 | 21.4407 | 880 | 68.7713 | 0.91067
2019-06-04 03:00:00 | 1.0733 | 184.108 | 1.2433 | 202.32 | 1.7667 | 193.3 | 2.7333 | 186.2333 | 21.4233 | 880 | 68.79 | 0.47867
2019-06-04 03:15:00 | 1.0033 | 203.4713 | 1.1567 | 223.58 | 1.78 | 211.4333 | 2.8533 | 194.78 | 21.5467 | 880 | 68.0133 | 0.54933
2019-06-04 03:30:00 | 0.92333 | 189.2567 | 1.0633 | 207.9667 | 1.74 | 199.9 | 2.8333 | 190.3667 | 21.6133 | 880 | 67.9067 | 0.076667
2019-06-04 03:45:00 | 0.43667 | 182.2853 | 0.51 | 200.3067 | 0.86333 | 185.3333 | 2.5233 | 187.2867 | 21.0833 | 880 | 70.16 | 0.10143
2019-06-04 04:00:00 | 0.37 | 198.74 | 0.43 | 218.4 | 0.72333 | 183.64 | 2.1233 | 185.54 | 20.7767 | 880 | 71.048 | 0.17267
2019-06-04 04:15:00 | 0.38 | 206.8713 | 0.444 | 227.3267 | 0.74333 | 185.6333 | 1.414 | 181.3133 | 21.174 | 880 | 69.7473 | 0.11933
2019-06-04 04:30:00 | 0.32 | 206.85 | 0.37 | 227.3 | 0.63 | 189.5 | 1.6267 | 160.6333 | 20.5933 | 880 | 72.6067 | 0.025333
2019-06-04 04:45:00 | 0.71 | 311.8567 | 0.82 | 342.7 | 0.42 | 146.7467 | 1.6667 | 146.5933 | 20.0733 | 880 | 74.5933 | 0
2019-06-04 05:00:00 | 1.29 | 314.6567 | 1.4867 | 345.7667 | 0.54667 | 42.3 | 1.0133 | 132.8333 | 19.8333 | 880 | 74.96 | 0
2019-06-04 05:15:00 | 1.6 | 308.346 | 1.8433 | 338.84 | 1.1867 | 3.7867 | 0.24 | 149.9 | 19.95 | 880 | 74.3893 | 0
2019-06-04 05:30:00 | 1.616 | 316.224 | 1.87 | 347.5 | 1.39 | 8.16 | 0.16 | 197.7 | 20.07 | 880 | 73.858 | 0
2019-06-04 05:45:00 | 2.6767 | 319.8 | 3.0867 | 351.4333 | 2.9233 | 14.6467 | 0.59667 | 7.5467 | 19.6133 | 880 | 75.8167 | 0
2019-06-04 06:00:00 | 3.2433 | 307.7333 | 3.7333 | 338.1667 | 3.6633 | 5.9933 | 2.2833 | 14.5667 | 19.2533 | 880 | 77.1433 | 0.018667
2019-06-04 06:15:00 | 2.76 | 309.5533 | 3.1767 | 340.1667 | 3.2733 | 2.4333 | 1.94 | 13.0167 | 19.3033 | 880 | 76.4133 | 0.20867
2019-06-04 06:30:00 | 2.38 | 314.9 | 2.7367 | 346.0333 | 2.6333 | 9.6533 | 1.52 | 16.11 | 19.182 | 880 | 77.08 | 0.438
2019-06-04 06:45:00 | 2.1967 | 216.5367 | 2.5233 | 237.95 | 2.57 | 4.29 | 1.58 | 7.2833 | 19.1233 | 880 | 78.5827 | 0.31667
2019-06-04 07:00:00 | 2.59 | 0.05 | 2.9767 | 0.05 | 3.09 | 3.11 | 2.12 | 13.7433 | 18.69 | 880 | 82.3333 | 0.22067
2019-06-04 07:15:00 | 2.6633 | 97.97 | 3.0633 | 107.6533 | 3.2933 | 6.37 | 2.8267 | 17.4067 | 18.61 | 880 | 83.3 | 0.472
2019-06-04 07:30:00 | 2.89 | 308.9433 | 3.3233 | 339.5 | 3.9867 | 11.81 | 3.4867 | 5.2267 | 19.1167 | 880 | 81.3 | 0.24333
2019-06-04 07:45:00 | 3.1833 | 323.5967 | 3.6633 | 355.6 | 4.14 | 1.2833 | 3.5833 | 5.89 | 20.0433 | 880.0667 | 77.5233 | 0.28533
2019-06-04 08:00:00 | 3.3433 | 320.902 | 3.8433 | 352.64 | 4.1067 | 3.3567 | 3.3567 | 4.3367 | 20.3233 | 881 | 76.5033 | 0.136
2019-06-04 08:15:00 | 3.5267 | 112.4267 | 4.0667 | 123.5467 | 4.57 | 8.3933 | 4.0467 | 16.7467 | 20.5767 | 881 | 75.2667 | 0.024667
2019-06-04 08:30:00 | 3.22 | 324.5667 | 3.7133 | 356.6667 | 4.4367 | 13.8333 | 4.0267 | 14.2467 | 20.9633 | 881 | 75.0333 | 0.20067
2019-06-04 08:45:00 | 3.4867 | 218.3793 | 4.0133 | 239.97 | 4.96 | 9.1367 | 4.3967 | 12.6967 | 21.45 | 881.0667 | 73.6733 | 0.43867
2019-06-04 09:00:00 | 3.2667 | 206.59 | 3.76 | 227.0233 | 4.1533 | 8.3767 | 3.8033 | 7.5833 | 21.73 | 882 | 73.0133 | 0.20933
2019-06-04 09:15:00 | 2.7333 | 218.5233 | 3.15 | 240.1367 | 3.4533 | 13.7533 | 3.5967 | 17.7933 | 21.7867 | 882 | 73.4067 | 0.018
2019-06-04 09:30:00 | 2.26 | 6.1833 | 2.6033 | 6.7833 | 3.3467 | 10.7067 | 3.31 | 13.0133 | 21.92 | 882 | 73.28 | 0.16333
2019-06-04 09:45:00 | 1.82 | 118.47 | 2.1 | 130.18 | 2.9333 | 6.3033 | 2.93 | 8.86 | 22.2133 | 882 | 72.3 | 0
2019-06-04 10:00:00 | 2.3 | 117.6367 | 2.6467 | 129.2733 | 3.12 | 7.4033 | 3.3233 | 10.14 | 22.6667 | 882 | 70.9 | 0
2019-06-04 10:15:00 | 2.5433 | 22.1633 | 2.9333 | 24.3533 | 3.46 | 11.8233 | 3.4267 | 3.0767 | 22.8473 | 882 | 70.0233 | 0.002667
2019-06-04 10:30:00 | 2.5833 | 216.97 | 2.9667 | 238.4267 | 3.4 | 12.7633 | 3.0733 | 11.73 | 22.874 | 882 | 69.6833 | 0.23333
2019-06-04 10:45:00 | 2.6233 | 10.8267 | 3.0167 | 11.9 | 3.24 | 8.0967 | 2.8667 | 8.1967 | 22.7967 | 882 | 69.9567 | 0.56533
2019-06-04 11:00:00 | 2.2633 | 7.5733 | 2.6033 | 8.32 | 3.0533 | 14.8367 | 2.74 | 12.3433 | 23.25 | 882 | 69.338 | 0.061333
2019-06-04 11:15:00 | 1.9 | 324.4133 | 2.1833 | 356.5 | 2.5833 | 9.3933 | 1.9367 | 5.36 | 23.7133 | 882 | 68.7533 | 0
2019-06-04 11:30:00 | 1.1933 | 123.58 | 1.3767 | 135.8 | 1.6967 | 18.1733 | 0.77667 | 214.98 | 24.2133 | 882 | 67.3133 | 0
2019-06-04 11:45:00 | 0.82667 | 1.9833 | 0.96 | 2.17 | 0.96667 | 140.6733 | 0.36 | 279.9667 | 24.6733 | 882 | 63.99 | 0
2019-06-04 12:00:00 | 0.58 | 215.87 | 0.67333 | 237.2167 | 0.68 | 295.3 | 0.98667 | 258.4333 | 24.5067 | 882 | 65.2167 | 0.006
2019-06-04 12:15:00 | 0.4 | 230.5733 | 0.47 | 253.3733 | 0.53667 | 229.1333 | 1.1933 | 226.9333 | 25.2333 | 882 | 68.25 | 0.106
2019-06-04 12:30:00 | 0.41333 | 80.1867 | 0.47667 | 88.1067 | 0.52333 | 96.16 | 0.59333 | 210.3333 | 25.4733 | 882 | 67.7233 | 0
2019-06-04 12:45:00 | 0.56467 | 242.7453 | 0.65333 | 266.74 | 0.798 | 224.68 | 1.0733 | 193.94 | 26.2653 | 882 | 64.6927 | 0
2019-06-04 13:00:00 | 1.3067 | 146.3633 | 1.5067 | 160.8333 | 1.9167 | 166.0667 | 2.4367 | 198.1667 | 26.3 | 882 | 65.8933 | 0
2019-06-04 13:15:00 | 1.57 | 169.57 | 1.8133 | 186.3333 | 2.3533 | 187.3333 | 2.5 | 201.6333 | 26.2967 | 882 | 64.6467 | 0
2019-06-04 13:30:00 | 1.712 | 187.786 | 1.97 | 206.36 | 2.884 | 234.06 | 3.198 | 217.1 | 26.28 | 882 | 62.288 | 0
2019-06-04 13:45:00 | 1.2767 | 181.7667 | 1.4733 | 199.7333 | 2.4 | 254.4 | 2.9267 | 253.5667 | 26.0433 | 882 | 63.7867 | 0
2019-06-04 14:00:00 | 1.13 | 203.6067 | 1.3067 | 223.7333 | 2.1667 | 249 | 2.58 | 254.9667 | 26.082 | 882 | 64.02 | 0
2019-06-04 14:15:00 | 1.0667 | 166.2567 | 1.2333 | 182.7 | 1.8533 | 244.8667 | 2.18 | 251.3667 | 26.7267 | 881.2667 | 63.4633 | 0
2019-06-04 14:30:00 | 0.93333 | 176.03 | 1.08 | 193.4333 | 1.6733 | 231.2 | 1.9933 | 264.9 | 27.2333 | 881 | 61.1033 | 0
2019-06-04 14:45:00 | 0.64 | 186.4367 | 0.74333 | 204.8667 | 1.1667 | 247.1 | 1.3333 | 296.2667 | 27.8767 | 881 | 60.1167 | 0
2019-06-04 15:00:00 | 0.84 | 177.51 | 0.97 | 195.0667 | 1.46 | 250.7667 | 1.6533 | 338.1333 | 28.3367 | 881 | 58.27 | 0
2019-06-04 15:15:00 | 1.2533 | 194.4733 | 1.4467 | 213.7 | 1.84 | 242.4667 | 1.9267 | 259.6 | 28.5933 | 881 | 58.25 | 0
2019-06-04 15:30:00 | 1.2667 | 165.66 | 1.4667 | 182.0333 | 1.9867 | 225.4667 | 2.0867 | 229.7333 | 28.2333 | 881 | 59.33 | 0
2019-06-04 15:45:00 | 1.46 | 158.8633 | 1.6767 | 174.5667 | 1.9933 | 211.9333 | 1.8933 | 245.2667 | 28.2067 | 881 | 59.4067 | 0
2019-06-04 16:00:00 | 0.99333 | 216.31 | 1.15 | 237.7 | 1.68 | 240.6667 | 1.9133 | 232.5333 | 28.2667 | 880.6 | 58.78 | 0
2019-06-04 16:15:00 | 1.9267 | 183.8 | 2.23 | 201.9667 | 2.64 | 187.5667 | 2.87 | 197.1333 | 28.328 | 880 | 58.77 | 0.05
2019-06-04 16:30:00 | 1.7267 | 130.9533 | 1.99 | 143.9 | 2.6667 | 163.8333 | 2.7633 | 178.6 | 27.82 | 880 | 59.99 | 0
2019-06-04 16:45:00 | 0.65 | 141.3267 | 0.75 | 155.3 | 1.1233 | 178.6667 | 1.3233 | 195.6667 | 27.3413 | 879.9333 | 60.8133 | 0
2019-06-04 17:00:00 | 0.75 | 257.9267 | 0.87 | 283.4333 | 1.1833 | 254.6667 | 1.19 | 244.6667 | 27.344 | 879 | 59.4933 | 0
2019-06-04 17:15:00 | 1.1187 | 200.7267 | 1.2893 | 220.5767 | 1.8227 | 224.7 | 1.6133 | 242.4767 | 27.0213 | 879 | 60.8107 | 0
2019-06-04 17:30:00 | 2.3767 | 198.9233 | 2.74 | 218.5967 | 3.9933 | 7.14 | 3.9467 | 30.2567 | 26.5333 | 878.6 | 63.8733 | 0
2019-06-04 17:45:00 | 2.8267 | 296.6433 | 3.2533 | 325.9667 | 4.88 | 19.3733 | 4.77 | 21.6367 | 25.7933 | 878 | 65.9667 | 0.31067
2019-06-04 18:00:00 | 2.82 | 109.5967 | 3.24 | 120.4333 | 4.6733 | 22.8067 | 4.73 | 24.6767 | 25.4267 | 878 | 66.7467 | 1.0047
2019-06-04 18:15:00 | 2.8767 | 317.89 | 3.3067 | 349.3333 | 4.8767 | 21.8767 | 5.0893 | 15.3867 | 25.14 | 878 | 68.14 | 2.2873
2019-06-04 18:30:00 | 2.67 | 309.0967 | 3.0733 | 339.6667 | 5.0633 | 15.6633 | 5.0533 | 17.0067 | 24.8667 | 878 | 69.7 | 4.9533
2019-06-04 18:45:00 | 2.84 | 216.7 | 3.27 | 238.13 | 5.2367 | 13.9633 | 5.17 | 16.95 | 24.5 | 878 | 71.0967 | 8.244
2019-06-04 19:00:00 | 2.6667 | 221.1933 | 3.0767 | 243.0633 | 5.1367 | 12.89 | 5.05 | 15.7033 | 24.3667 | 878 | 71.65 | 9.0807
2019-06-04 19:15:00 | 2.9533 | 309.8833 | 3.4033 | 340.5333 | 4.7 | 121.22 | 4.8433 | 16.2167 | 24.2967 | 877.2667 | 71.0067 | 9.976
2019-06-04 19:30:00 | 3.1133 | 108.9167 | 3.59 | 119.68 | 5.04 | 124.86 | 5.1233 | 19.2567 | 24.37 | 877 | 70.3333 | 8.6807
2019-06-04 19:45:00 | 3.1567 | 43.5733 | 3.6267 | 47.8733 | 5.2767 | 46.25 | 5.2767 | 2.6933 | 24.16 | 877 | 71.2767 | 9.268
2019-06-04 20:00:00 | 3.0633 | 205.8733 | 3.5333 | 226.2333 | 5.0233 | 7.71 | 4.9833 | 3.44 | 24.1267 | 877 | 71.31 | 8.2367
2019-06-04 20:15:00 | 3.4167 | 98.27 | 3.9267 | 107.98 | 5.7333 | 6.3667 | 5.8167 | 17.27 | 23.9833 | 877 | 71.9367 | 8.6553
2019-06-04 20:30:00 | 3.2167 | 98.69 | 3.7 | 108.4533 | 6.176 | 22.4867 | 6.07 | 20.7033 | 23.7033 | 877 | 73.2767 | 7.2827
2019-06-04 20:45:00 | 3.28 | 205.4933 | 3.78 | 225.8067 | 5.5733 | 124.34 | 5.3467 | 245.95 | 23.4293 | 877 | 74.4813 | 7.716
2019-06-04 21:00:00 | 3.24 | 189.9 | 3.74 | 208.6733 | 5.32 | 341.1667 | 5.06 | 11.7767 | 23.5133 | 877 | 74.06 | 7.006
2019-06-04 21:15:00 | 3.4933 | 308.58 | 4.02 | 339.1 | 5.2233 | 4.5633 | 5.3 | 9.19 | 23.6533 | 877.7333 | 73.3867 | 6.596
2019-06-04 21:30:00 | 3.3933 | 112.6067 | 3.9133 | 123.7467 | 4.99 | 5.5033 | 5.2533 | 241.47 | 23.66 | 878 | 73.284 | 7.1547
2019-06-04 21:45:00 | 3.6433 | 214.3633 | 4.1967 | 235.5567 | 5.1633 | 4.23 | 4.9567 | 12.5667 | 23.61 | 878 | 73.63 | 8.6153
2019-06-04 22:00:00 | 3.6833 | 213.87 | 4.2367 | 235.0233 | 5.1767 | 19.5033 | 5.4633 | 9.1667 | 23.61 | 878 | 73.6767 | 8.676
2019-06-04 22:15:00 | 3.3033 | 306.9167 | 3.7967 | 337.2667 | 5.5533 | 16.4533 | 5.72 | 14.2533 | 23.4167 | 877.2667 | 74.6833 | 13.1273
2019-06-04 22:30:00 | 3.6767 | 318.0833 | 4.23 | 349.5333 | 6.0467 | 11.5933 | 6.2267 | 14.0133 | 23.1433 | 877 | 75.87 | 18.5087
2019-06-04 22:45:00 | 4.3567 | 1.03 | 5.0133 | 1.13 | 6.7433 | 12.3133 | 7.0533 | 19.99 | 23.1733 | 877 | 75.8933 | 28.168
2019-06-04 23:00:00 | 4.4167 | 172.1433 | 5.08 | 189.1567 | 7.7167 | 16.6867 | 8.0867 | 16.83 | 23 | 877 | 77.0733 | 38.4973
2019-06-04 23:15:00 | 4.81 | 287.54 | 5.53 | 315.9667 | 8.9133 | 13.17 | 9.0667 | 14.26 | 22.66 | 877 | 79.2467 | 43.7407
2019-06-04 23:30:00 | 5.1233 | 153.4 | 5.8967 | 168.5667 | 9.4667 | 10.2833 | 9.68 | 18.6667 | 22.4333 | 877 | 80.7667 | 49.61
2019-06-04 23:45:00 | 8.0467 | 162.07 | 9.2567 | 178.1 | 14.03 | 14.57 | 14.0133 | 22.0133 | 22.356 | 877.0667 | 80.8333 | 53.9067