## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-05 00:00:00 | 10.9343 | 307.2221 | 12.58 | 337.6 | 18.2143 | 22.9336 | 17.995 | 13.5364 | 22.14 | 878 | 78.15 | 49.9186
2019-06-05 00:15:00 | 15.38 | 304.25 | 17.69 | 334.3333 | 25.6367 | 5.0467 | 24.95 | 8.6867 | 17.5133 | 878 | 89.6667 | 23.1333
2019-06-05 00:30:00 | 13.6467 | 304.3633 | 15.7033 | 334.4667 | 23.7633 | 15.0733 | 23.5567 | 20.2867 | 15.4933 | 878.4 | 97.6667 | 20.3547
2019-06-05 00:45:00 | 11.2333 | 221.6 | 12.92 | 243.5133 | 19.3867 | 4.04 | 19.2067 | 6.7533 | 15.0833 | 879.7333 | 98.9333 | 20.5393
2019-06-05 01:00:00 | 8.98 | 225.54 | 10.3333 | 247.8467 | 15.9267 | 20.4867 | 16.3 | 29.2267 | 15.022 | 880 | 99.4 | 31.2213
2019-06-05 01:15:00 | 8.9067 | 120.7267 | 10.2467 | 132.6667 | 15.8867 | 15.07 | 16.5633 | 26.6467 | 14.998 | 880 | 99.8067 | 51.0327
2019-06-05 01:30:00 | 9.0733 | 233.2667 | 10.44 | 256.3333 | 16.332 | 26.9433 | 16.63 | 25.72 | 14.91 | 880 | 99.94 | 56.2933
2019-06-05 01:45:00 | 8.1267 | 6.1733 | 9.3467 | 6.78 | 14.84 | 16.6533 | 14.89 | 22.8733 | 14.8233 | 880 | 100 | 56.0753
2019-06-05 02:00:00 | 7.9533 | 43.18 | 9.1533 | 47.4467 | 14.5467 | 18.5467 | 14.8767 | 25.4 | 14.77 | 880 | 100 | 56.3807
2019-06-05 02:15:00 | 7.9233 | 198.9033 | 9.11 | 218.5667 | 14.7033 | 16.26 | 15.1267 | 27.1167 | 14.6767 | 880 | 100 | 55.8973
2019-06-05 02:30:00 | 7.9433 | 116.6967 | 9.1367 | 128.2333 | 14.5167 | 17.9133 | 14.8533 | 28.2967 | 14.5967 | 880 | 100 | 55.548
2019-06-05 02:45:00 | 8.02 | 121.6233 | 9.23 | 133.6467 | 14.8767 | 15.82 | 14.9933 | 23.5533 | 14.52 | 879.9333 | 100 | 56.1167
2019-06-05 03:00:00 | 8.1067 | 315.83 | 9.3233 | 347.0667 | 14.91 | 19.768 | 15.1 | 23.88 | 14.46 | 879 | 100 | 55.64
2019-06-05 03:15:00 | 8.1027 | 131.3533 | 9.32 | 144.3333 | 14.4667 | 16.9833 | 15.3967 | 31.5133 | 14.3333 | 879 | 100 | 54.958
2019-06-05 03:30:00 | 8.2867 | 214.6467 | 9.5267 | 235.8667 | 14.9867 | 15.25 | 15.6367 | 33.36 | 14.24 | 879 | 100 | 56.2553
2019-06-05 03:45:00 | 8.6033 | 132.6767 | 9.9033 | 145.7933 | 15.5573 | 23.1033 | 15.63 | 24.9667 | 14.17 | 879 | 100 | 56.1047
2019-06-05 04:00:00 | 8.89 | 135.5033 | 10.23 | 148.9067 | 16.2267 | 11.81 | 16.2367 | 24.1067 | 14.1167 | 878.6 | 100 | 57.098
2019-06-05 04:15:00 | 9.21 | 202.42 | 10.5933 | 222.4333 | 16.6567 | 12.8833 | 16.91 | 21.3667 | 14.03 | 878 | 100 | 56.956
2019-06-05 04:30:00 | 9.0233 | 119.3733 | 10.3867 | 131.1667 | 16.0767 | 16.4633 | 15.9767 | 22.3067 | 13.93 | 878 | 100 | 56.91
2019-06-05 04:45:00 | 7.7967 | 65.1633 | 8.97 | 71.6 | 14.4833 | 8.28 | 15.0733 | 18.5267 | 13.8313 | 878 | 100 | 56.0887
2019-06-05 05:00:00 | 7.61 | 214.3367 | 8.7633 | 235.5333 | 14.21 | 16.98 | 14.9267 | 30.68 | 13.93 | 878 | 100 | 56.574
2019-06-05 05:15:00 | 7.6333 | 23.56 | 8.78 | 25.89 | 14.2 | 24.6133 | 14.7033 | 24.2133 | 14.08 | 878 | 100 | 56.8833
2019-06-05 05:30:00 | 7.4867 | 81.2867 | 8.6067 | 89.3233 | 13.9533 | 18.1467 | 14.3633 | 22.6267 | 14.092 | 878 | 100 | 56.7987
2019-06-05 05:45:00 | 7.68 | 33.7867 | 8.8433 | 37.1233 | 14.1667 | 15.17 | 14.6033 | 23.94 | 14.0727 | 878 | 100 | 56.9587
2019-06-05 06:00:00 | 7.52 | 100.0467 | 8.65 | 109.93 | 14.12 | 24.9567 | 14.758 | 27.5867 | 14.062 | 878 | 100 | 58.4007
2019-06-05 06:15:00 | 7.8933 | 187.1267 | 9.0833 | 205.6333 | 14.63 | 19.0233 | 15.42 | 30.8767 | 14.0193 | 877.2667 | 100 | 58.494
2019-06-05 06:30:00 | 8.2467 | 205.9333 | 9.49 | 226.3 | 15.1833 | 19.0567 | 16.0933 | 29.2433 | 14.014 | 877 | 100 | 58.7333
2019-06-05 06:45:00 | 8.5333 | 129.2767 | 9.8133 | 142.0667 | 15.97 | 21.1933 | 16.5507 | 27.9033 | 14.0207 | 877 | 100 | 58.7533
2019-06-05 07:00:00 | 8.5667 | 63.2233 | 9.8533 | 69.4733 | 15.6833 | 14.2733 | 16.1867 | 30.6433 | 14.0567 | 877 | 100 | 59.0553
2019-06-05 07:15:00 | 7.9333 | 134.5033 | 9.1267 | 147.8 | 14.75 | 19.15 | 15.4067 | 28.87 | 14.18 | 877 | 100 | 58.9073
2019-06-05 07:30:00 | 7.8133 | 271.4967 | 8.9933 | 298.3333 | 14.57 | 10.79 | 15.2933 | 15.41 | 14.228 | 877.4 | 100 | 58.9233
2019-06-05 07:45:00 | 7.9867 | 269.2247 | 9.1867 | 295.8467 | 14.6587 | 14.9267 | 15.3327 | 27.3233 | 14.6367 | 878 | 100 | 58.702
2019-06-05 08:00:00 | 8.5533 | 73.1567 | 9.84 | 80.3867 | 15.2333 | 20 | 16.0367 | 29.4167 | 15.0167 | 878 | 99.3333 | 57.874
2019-06-05 08:15:00 | 8.382 | 82.0313 | 9.65 | 90.1473 | 15.0673 | 19.2107 | 15.7287 | 33.0087 | 15.1587 | 878 | 95.8133 | 58.09
2019-06-05 08:30:00 | 8.74 | 171.5933 | 10.0567 | 188.5667 | 15.77 | 19.5 | 16.3567 | 29.4367 | 15.2267 | 878 | 94.7 | 58.5907
2019-06-05 08:45:00 | 9.0933 | 147.45 | 10.4633 | 162.0333 | 16.5833 | 16.4833 | 16.66 | 21.6567 | 15.92 | 878.0667 | 91.6333 | 58.77
2019-06-05 09:00:00 | 9.2333 | 233.4233 | 10.6233 | 256.5 | 16.53 | 9.9567 | 16.2533 | 15.3767 | 16.96 | 879 | 87.5667 | 58.824
2019-06-05 09:15:00 | 9.0067 | 139.3633 | 10.36 | 153.14 | 16.2967 | 21.2667 | 16.4333 | 27.52 | 18.56 | 879 | 83.1333 | 58.748
2019-06-05 09:30:00 | 8.98 | 278.65 | 10.336 | 306.2 | 15.8967 | 9.84 | 15.9667 | 29.6533 | 18.9133 | 879 | 79.9533 | 58.386
2019-06-05 09:45:00 | 9.2333 | 125.3567 | 10.6233 | 137.7467 | 16.4 | 17.33 | 16.36 | 34.69 | 19.4133 | 879.7333 | 78.2733 | 58.4953
2019-06-05 10:00:00 | 9.56 | 208.7633 | 10.9967 | 229.4133 | 16.84 | 25.59 | 16.8 | 26.91 | 20.5933 | 880 | 72.5 | 57.4527
2019-06-05 10:15:00 | 9.8133 | 200.3267 | 11.2867 | 220.1333 | 17.1133 | 28.2367 | 17.408 | 34.5533 | 20.0067 | 880 | 70.8533 | 57.4967
2019-06-05 10:30:00 | 10.14 | 90.58 | 11.66 | 99.5333 | 17.636 | 19.55 | 18.3933 | 23.3933 | 19.8733 | 880 | 70.6467 | 58.4333
2019-06-05 10:45:00 | 9.8833 | 45.1833 | 11.3733 | 49.6533 | 17.2 | 23.1567 | 17.8567 | 31.1833 | 21.3233 | 880 | 65.9633 | 59.866
2019-06-05 11:00:00 | 9.8167 | 34.6767 | 11.2867 | 38.1 | 17.14 | 23.3033 | 18.1233 | 38.3433 | 21.658 | 880 | 63.9033 | 61.808
2019-06-05 11:15:00 | 9.6267 | 107.8333 | 11.0833 | 118.5 | 16.87 | 20.4933 | 17.0333 | 39.2733 | 21.8733 | 880 | 63.2893 | 62.042
2019-06-05 11:30:00 | 9.3467 | 291.9333 | 10.7633 | 320.8 | 16.3233 | 14.9667 | 16.1467 | 32.4733 | 22.36 | 880 | 62.0533 | 60.5353
2019-06-05 11:45:00 | 9.27 | 15.23 | 10.6633 | 16.7333 | 16.276 | 20.0567 | 15.8867 | 28.25 | 22.8633 | 880 | 60.14 | 59.4247
2019-06-05 12:00:00 | 9.2567 | 201.8367 | 10.65 | 221.7933 | 16.18 | 16.25 | 15.9267 | 20.7167 | 23.2833 | 880 | 58.6267 | 57.5433
2019-06-05 12:15:00 | 8.3067 | 158.8487 | 9.556 | 174.5533 | 14.548 | 22.8413 | 15.102 | 33.8287 | 23.764 | 880 | 56.4767 | 58.4867
2019-06-05 12:30:00 | 9.0467 | 120.6167 | 10.4133 | 132.54 | 15.71 | 27.6367 | 15.9767 | 36.5033 | 24.11 | 880 | 55.3133 | 56.9633
2019-06-05 12:45:00 | 8.82 | 251.65 | 10.1467 | 276.5333 | 15.2267 | 21.9233 | 16.1733 | 22.25 | 24.4807 | 880.7333 | 54.6233 | 54.9413
2019-06-05 13:00:00 | 8.7533 | 123.77 | 10.0667 | 136.0067 | 15.1267 | 17.4033 | 15.9333 | 32.41 | 24.6567 | 881 | 53.138 | 56.672
2019-06-05 13:15:00 | 8.1567 | 148.5133 | 9.39 | 163.1933 | 14.2367 | 23.1367 | 14.64 | 27.0467 | 24.9767 | 881 | 53.3113 | 54.6013
2019-06-05 13:30:00 | 8.43 | 228.1733 | 9.7033 | 250.7333 | 14.4833 | 22.73 | 14.7533 | 24.66 | 25.21 | 881 | 52.9233 | 54.208
2019-06-05 13:45:00 | 8.0467 | 67.38 | 9.2533 | 74.04 | 13.93 | 28.98 | 14.5067 | 37 | 25.6333 | 881 | 51.8133 | 55.1867
2019-06-05 14:00:00 | 8.1733 | 208.4 | 9.4067 | 229 | 14.1233 | 18.94 | 14.2933 | 16.3 | 25.8533 | 881 | 51.48 | 54.008
2019-06-05 14:15:00 | 7.142 | 271.156 | 8.2193 | 297.96 | 12.2307 | 7.472 | 12.7007 | 24.1807 | 26.1967 | 881 | 50.6793 | 54.238
2019-06-05 14:30:00 | 7.76 | 287.39 | 8.9267 | 315.8 | 13.51 | 13.52 | 13.9667 | 31.52 | 26.58 | 881 | 50.5433 | 54.3553
2019-06-05 14:45:00 | 7.8733 | 176.4467 | 9.0567 | 193.8967 | 13.3667 | 35.6767 | 13.7867 | 36.3 | 26.6707 | 881 | 48.9733 | 52.1393
2019-06-05 15:00:00 | 7.9267 | 31.4133 | 9.1233 | 34.5167 | 13.7267 | 15.8367 | 14.14 | 35.1333 | 26.8667 | 881 | 48.7867 | 51.0107
2019-06-05 15:15:00 | 7.77 | 222.99 | 8.95 | 245.0333 | 13.4367 | 15.4733 | 13.48 | 21.9167 | 26.9773 | 881 | 48.5027 | 49.4327
2019-06-05 15:30:00 | 7.1367 | 270.61 | 8.21 | 297.3667 | 12.39 | 12.4267 | 12.6267 | 28.3767 | 27.22 | 881.4 | 48.1333 | 50.1347
2019-06-05 15:45:00 | 8.1233 | 60.3833 | 9.3533 | 66.3533 | 14.2 | 7.98 | 14.15 | 19.8667 | 27.1733 | 881.2667 | 48.2533 | 54.52
2019-06-05 16:00:00 | 8.0233 | 250.0167 | 9.2333 | 274.7333 | 13.9333 | 15.2533 | 14.3767 | 33.2467 | 27.016 | 881.4 | 47.06 | 53.4287
2019-06-05 16:15:00 | 7.8533 | 23.8667 | 9.0333 | 26.2233 | 13.71 | 23.7333 | 14.2733 | 38.6533 | 27.0387 | 882 | 46.4833 | 53.214
2019-06-05 16:30:00 | 7.4267 | 12.4667 | 8.54 | 13.69 | 12.99 | 25.16 | 13.04 | 31.1733 | 27.04 | 882 | 45.8767 | 49.8613
2019-06-05 16:45:00 | 8.016 | 202.04 | 9.224 | 222.02 | 13.546 | 20.576 | 13.904 | 22.902 | 26.732 | 881.2667 | 45.524 | 51.7867
2019-06-05 17:00:00 | 7.4067 | 115.68 | 8.5267 | 127.1133 | 12.6433 | 19.5267 | 12.7 | 31.1967 | 26.768 | 881 | 45.4267 | 46.5067
2019-06-05 17:15:00 | 6.1633 | 259.21 | 7.0967 | 284.8333 | 10.4933 | 22.72 | 10.4867 | 32.7067 | 26.774 | 881 | 44.8367 | 49.434
2019-06-05 17:30:00 | 6.87 | 108.0833 | 7.91 | 118.76 | 11.98 | 22.9 | 11.6733 | 30.88 | 26.6433 | 881 | 43.8833 | 41.466
2019-06-05 17:45:00 | 6.2367 | 304.5733 | 7.1833 | 334.7 | 10.78 | 16.5067 | 10.51 | 29.5933 | 26.3267 | 881 | 45.25 | 34.1647
2019-06-05 18:00:00 | 6.4767 | 207.3867 | 7.4633 | 227.9 | 11.4 | 19.26 | 11.71 | 26.9533 | 26.1 | 881 | 46.11 | 37.752
2019-06-05 18:15:00 | 5.6667 | 62.8167 | 6.5167 | 69.0267 | 9.8833 | 23.3767 | 10.3133 | 30.61 | 25.8167 | 881 | 47.55 | 24.5387
2019-06-05 18:30:00 | 4.9267 | 167.3167 | 5.67 | 183.8667 | 8.7033 | 24.5567 | 8.9933 | 28.7833 | 25.51 | 881 | 48.5967 | 19.7027
2019-06-05 18:45:00 | 4.6433 | 186.07 | 5.3433 | 204.4667 | 8.3467 | 19.1233 | 8.6493 | 33.58 | 25.1733 | 881 | 49.7867 | 17.5447
2019-06-05 19:00:00 | 4.652 | 167 | 5.352 | 183.52 | 8.348 | 19.902 | 8.598 | 24.154 | 24.928 | 881 | 50.148 | 14.4973
2019-06-05 19:15:00 | 4.52 | 171.1767 | 5.2067 | 188.1 | 8.4667 | 22.6933 | 8.48 | 20.4133 | 24.0367 | 881 | 52.4767 | 16.312
2019-06-05 19:30:00 | 4.3933 | 191.01 | 5.0533 | 209.9 | 8.0267 | 31.0867 | 8.0133 | 26.9733 | 23.4433 | 881 | 53.7433 | 13.68
2019-06-05 19:45:00 | 3.5267 | 194.8 | 4.0567 | 214.0667 | 6.6733 | 19.9133 | 6.35 | 34.63 | 23.08 | 880.9333 | 54.0533 | 11.962
2019-06-05 20:00:00 | 2.8 | 313.04 | 3.2167 | 344 | 5.3267 | 26.9133 | 5.39 | 31.1167 | 22.92 | 880 | 54.1 | 24.154
2019-06-05 20:15:00 | 3.5333 | 107.1533 | 4.0667 | 117.7467 | 6.5867 | 27.0433 | 6.4767 | 39.8167 | 22.5867 | 880 | 55.4533 | 23.4793
2019-06-05 20:30:00 | 3.52 | 308.4933 | 4.0533 | 339 | 6.5667 | 28.8233 | 6.15 | 41.9033 | 22.2733 | 880 | 56.6867 | 16.8587
2019-06-05 20:45:00 | 2.7133 | 210.88 | 3.1267 | 231.7333 | 5.2533 | 30.24 | 4.59 | 31.8267 | 21.9267 | 880 | 58.03 | 8.426
2019-06-05 21:00:00 | 2.6733 | 248.2467 | 3.0733 | 272.8 | 4.8333 | 27.4533 | 4.1567 | 26.4667 | 21.9667 | 880 | 57.2233 | 4.2
2019-06-05 21:15:00 | 1.85 | 270.7867 | 2.1333 | 297.5667 | 3.47 | 4.1967 | 3.3933 | 32.77 | 22.1267 | 880.7333 | 56.9067 | 0.44133
2019-06-05 21:30:00 | 1.3167 | 278.1267 | 1.52 | 305.6333 | 2.39 | 230.6833 | 2.3533 | 243.6033 | 22.24 | 881 | 56.0467 | 0.62067
2019-06-05 21:45:00 | 1.9867 | 105.9467 | 2.2933 | 116.4267 | 3.82 | 356.9 | 3.6067 | 8.62 | 21.9467 | 881 | 57.7833 | 3.6327
2019-06-05 22:00:00 | 2.4133 | 244.04 | 2.78 | 268.1667 | 4.7267 | 119.3533 | 4.64 | 2.0867 | 21.5533 | 881 | 59.0367 | 4.284
2019-06-05 22:15:00 | 2.5133 | 296.06 | 2.8933 | 325.3333 | 4.7733 | 242.4 | 4.7367 | 15.61 | 21.1733 | 881 | 61.2667 | 5.3033
2019-06-05 22:30:00 | 2.5 | 293.5667 | 2.88 | 322.6 | 4.7533 | 13.4333 | 5.13 | 15.2833 | 21.0333 | 881 | 63.1333 | 10.2553
2019-06-05 22:45:00 | 2.74 | 121.38 | 3.1533 | 133.3867 | 5.14 | 7.7633 | 5.4267 | 13.7333 | 20.6433 | 881 | 65.74 | 14.006
2019-06-05 23:00:00 | 2.7933 | 103.5733 | 3.2133 | 113.8133 | 5.2133 | 3.81 | 5.6467 | 19.1733 | 20.3433 | 881 | 67.26 | 17.9227
2019-06-05 23:15:00 | 3.1667 | 226.3867 | 3.6433 | 248.7733 | 6.06 | 13.6533 | 7.0967 | 22.4233 | 20.07 | 881 | 68.2387 | 19.948
2019-06-05 23:30:00 | 3.1 | 208.7867 | 3.57 | 229.44 | 6.0267 | 16.8467 | 7.4233 | 26.5033 | 19.9233 | 881 | 69.2333 | 17.8153
2019-06-05 23:45:00 | 2.7933 | 315.9233 | 3.2167 | 347.1667 | 5.2333 | 14.74 | 6.1767 | 31.36 | 19.69 | 881 | 70.5267 | 15.9053