## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-06 00:00:00 | 2.99 | 316.0257 | 3.4464 | 347.2714 | 5.825 | 17.36 | 6.7371 | 29.8493 | 19.4364 | 881 | 71.8927 | 13.9186
2019-06-06 00:15:00 | 2.9167 | 320.66 | 3.3633 | 352.3667 | 5.44 | 17.78 | 6.0567 | 30.26 | 19.2693 | 881 | 72.8407 | 16.6487
2019-06-06 00:30:00 | 3.0633 | 292.4467 | 3.5233 | 321.3667 | 5.6933 | 13.2133 | 5.9767 | 28.06 | 19.3067 | 881 | 72.73 | 18.4067
2019-06-06 00:45:00 | 3.06 | 203.9467 | 3.52 | 224.1133 | 5.7527 | 13.0933 | 5.9273 | 34.89 | 19.1467 | 881 | 73.376 | 18.238
2019-06-06 01:00:00 | 3.2933 | 8.0267 | 3.7867 | 8.8133 | 6.0367 | 4.6667 | 6.13 | 19.2233 | 19.04 | 881 | 73.9533 | 18.5207
2019-06-06 01:15:00 | 3.24 | 316.6867 | 3.7267 | 348 | 6.1167 | 1.2167 | 6.3333 | 15 | 18.6067 | 881 | 76.4767 | 15.7013
2019-06-06 01:30:00 | 3.3533 | 322.8133 | 3.86 | 354.7333 | 5.9433 | 7.21 | 6.1933 | 15.86 | 18.3667 | 881 | 78.0433 | 15.0427
2019-06-06 01:45:00 | 3.64 | 318.3267 | 4.1933 | 349.8 | 5.7767 | 107.8933 | 6.0733 | 19.9933 | 18.49 | 881 | 77.3233 | 10.5873
2019-06-06 02:00:00 | 3.508 | 304 | 4.038 | 334.06 | 5.248 | 124.142 | 5.676 | 19.51 | 18.772 | 881 | 75.478 | 7.6313
2019-06-06 02:15:00 | 2.8933 | 310.748 | 3.3333 | 341.4867 | 4.9767 | 4.67 | 5.6967 | 30.05 | 18.56 | 881 | 76.7133 | 6.4967
2019-06-06 02:30:00 | 2.62 | 311.0067 | 3.02 | 341.7667 | 4.3767 | 12.1833 | 4.9033 | 24.85 | 18.2 | 881 | 78.2267 | 5.776
2019-06-06 02:45:00 | 2.57 | 306.82 | 2.9533 | 337.1667 | 4.61 | 18.5 | 4.8633 | 22.4067 | 18 | 881 | 79.0267 | 5.2093
2019-06-06 03:00:00 | 2.6233 | 309.98 | 3.02 | 340.6333 | 4.99 | 19.2467 | 4.81 | 16.12 | 17.7267 | 881 | 80.7133 | 3.512
2019-06-06 03:15:00 | 2.38 | 298.0533 | 2.7367 | 327.5333 | 4.4467 | 13.85 | 4.26 | 19.8767 | 17.6173 | 881 | 81.1 | 1.9327
2019-06-06 03:30:00 | 2.38 | 292.8467 | 2.7433 | 321.8 | 4.42 | 15.1633 | 4.0867 | 16.1833 | 17.5867 | 881 | 80.9667 | 3.43
2019-06-06 03:45:00 | 2.6067 | 296.0533 | 3 | 325.3333 | 4.3933 | 14.3067 | 4.21 | 19.11 | 17.5913 | 881 | 80.8667 | 2.8273
2019-06-06 04:00:00 | 2.8333 | 309.4 | 3.2667 | 340 | 4.12 | 14.6 | 3.9633 | 19.8567 | 17.7833 | 881 | 79.9533 | 0.79133
2019-06-06 04:15:00 | 3.0133 | 299.5767 | 3.48 | 329.2 | 3.85 | 4.0867 | 3.3533 | 11.0333 | 17.9033 | 881 | 79.4873 | 1.5813
2019-06-06 04:30:00 | 3.1 | 317.7767 | 3.5667 | 349.2 | 3.9567 | 2.58 | 3.98 | 11.08 | 18.0233 | 881 | 78.7567 | 2.95
2019-06-06 04:45:00 | 3.32 | 305.9767 | 3.8167 | 336.2333 | 4.3933 | 15.65 | 4.97 | 6.2067 | 17.7267 | 881 | 80.6133 | 5.93
2019-06-06 05:00:00 | 3.4467 | 309.8633 | 3.97 | 340.5 | 4.9733 | 9.69 | 5.33 | 10.3867 | 17.2 | 881 | 83.8667 | 7.6773
2019-06-06 05:15:00 | 3.4347 | 299.2353 | 3.9507 | 328.82 | 5.3373 | 11.4053 | 5.608 | 16.9133 | 16.868 | 881 | 85.7 | 9.56
2019-06-06 05:30:00 | 3.3867 | 99.33 | 3.8933 | 109.1467 | 5.48 | 8.8467 | 5.8267 | 15.02 | 16.64 | 881 | 87.3667 | 8.2273
2019-06-06 05:45:00 | 3.4033 | 311.05 | 3.9167 | 341.8 | 4.8467 | 5.8033 | 5.3533 | 18.5733 | 16.57 | 881 | 86.1 | 7.3587
2019-06-06 06:00:00 | 3.7767 | 112.4633 | 4.35 | 123.5733 | 5.3667 | 13.45 | 6.1 | 13.96 | 16.622 | 881 | 85.86 | 7.3227
2019-06-06 06:15:00 | 3.63 | 291.3 | 4.1733 | 320.1 | 6.0467 | 2.8367 | 6.1667 | 5.2867 | 16.588 | 881 | 86.4 | 9.338
2019-06-06 06:30:00 | 3.47 | 107.42 | 4 | 118.04 | 6.1067 | 3.65 | 6.6467 | 11.8667 | 16.52 | 881.4 | 87.0667 | 6.66
2019-06-06 06:45:00 | 3.3033 | 315.2033 | 3.8033 | 346.3667 | 5.7067 | 0.75 | 6.1933 | 121.2 | 16.4687 | 882 | 88.2333 | 5.1267
2019-06-06 07:00:00 | 2.7833 | 121.13 | 3.21 | 133.1 | 5.4 | 10.47 | 5.9867 | 133.2867 | 16.4167 | 882 | 88.7667 | 5.356
2019-06-06 07:15:00 | 3.11 | 120.91 | 3.5733 | 132.86 | 5.5667 | 8.9267 | 6.1033 | 16.5867 | 16.3433 | 882.0667 | 89.2067 | 4.4493
2019-06-06 07:30:00 | 2.97 | 306.4033 | 3.4133 | 336.7 | 4.92 | 17.6933 | 5.5033 | 17.6933 | 16.31 | 883 | 89.6333 | 4.5933
2019-06-06 07:45:00 | 2.96 | 300.43 | 3.4067 | 330.1333 | 4.6833 | 19.1633 | 5.4367 | 21.8333 | 16.3767 | 883 | 89.88 | 7.742
2019-06-06 08:00:00 | 3.28 | 307.5167 | 3.7733 | 337.9333 | 5.47 | 17.4833 | 5.6633 | 23.9667 | 16.5233 | 883 | 89.8 | 10.0453
2019-06-06 08:15:00 | 3.52 | 302.4333 | 4.0433 | 332.3333 | 5.6567 | 224.12 | 5.6467 | 23.2 | 16.83 | 883 | 88.8 | 7.522
2019-06-06 08:30:00 | 3.4933 | 313.28 | 4.0167 | 344.2667 | 5.1367 | 13.1533 | 5.34 | 18.6667 | 17.3433 | 883.4 | 87.7333 | 5.7573
2019-06-06 08:45:00 | 3.1867 | 314.11 | 3.6633 | 345.1667 | 5.3733 | 130.1133 | 5.6867 | 22.4967 | 18.5233 | 884 | 84.0333 | 3.67
2019-06-06 09:00:00 | 3.2267 | 320.8433 | 3.71 | 352.5667 | 4.9533 | 128.1667 | 5.1867 | 21.57 | 19.4367 | 884 | 80.0267 | 7.4693
2019-06-06 09:15:00 | 3.65 | 207.7333 | 4.2 | 228.2733 | 5.4567 | 8.5067 | 5.37 | 4.0667 | 19.14 | 884.0667 | 79.4933 | 7.3347
2019-06-06 09:30:00 | 3.7433 | 198.94 | 4.3067 | 218.6067 | 5.37 | 234.98 | 5.3167 | 3.4533 | 18.7467 | 885 | 81.2667 | 7.972
2019-06-06 09:45:00 | 3.4367 | 299.9667 | 3.9567 | 329.6333 | 5.4333 | 2.9467 | 5.4533 | 10.1567 | 19.07 | 885 | 80.7333 | 11.1913
2019-06-06 10:00:00 | 3.4367 | 300.16 | 3.9567 | 329.8333 | 5.9133 | 5.12 | 6.0067 | 8.5033 | 19.7433 | 885 | 79.94 | 12.956
2019-06-06 10:15:00 | 4.1467 | 291.8033 | 4.7733 | 320.6667 | 6.52 | 117.1667 | 6.7467 | 1.3967 | 19.8433 | 885 | 78.7267 | 8.1113
2019-06-06 10:30:00 | 3.782 | 165.75 | 4.356 | 182.14 | 6.332 | 352.68 | 6.424 | 14.414 | 20.386 | 885 | 78.292 | 2.2833
2019-06-06 10:45:00 | 3.486 | 8.966 | 4.012 | 9.85 | 4.96 | 76.74 | 4.884 | 13.208 | 21.6673 | 885 | 72.38 | 0
2019-06-06 11:00:00 | 1.6233 | 217.1033 | 1.8667 | 238.5767 | 2.5933 | 119.22 | 2.9133 | 6.0667 | 21.6633 | 885 | 73.0533 | 0
2019-06-06 11:15:00 | 1.2533 | 307.1233 | 1.4433 | 337.5 | 2.0533 | 33.1633 | 2.5167 | 40.66 | 22.0867 | 885 | 71.7953 | 0
2019-06-06 11:30:00 | 1.1733 | 322.11 | 1.35 | 353.9667 | 1.7133 | 239.65 | 2.29 | 263.7333 | 22.2133 | 885 | 71.1433 | 0
2019-06-06 11:45:00 | 0.38 | 246.6433 | 0.45 | 271.0333 | 0.68 | 251.7 | 1.3233 | 325.9667 | 22.0533 | 885.7333 | 74.5967 | 0
2019-06-06 12:00:00 | 0.468 | 135.43 | 0.54 | 148.82 | 0.702 | 150.94 | 0.626 | 137.224 | 21.636 | 885.6 | 78.63 | 0
2019-06-06 12:15:00 | 0.27667 | 120.5233 | 0.32667 | 132.4333 | 0.55667 | 106.9433 | 0.86333 | 52.6433 | 21.61 | 885 | 79.58 | 0
2019-06-06 12:30:00 | 0.41 | 247.55 | 0.47333 | 272.0333 | 0.77667 | 15.1633 | 1.15 | 37.53 | 22.01 | 885 | 76.6267 | 0
2019-06-06 12:45:00 | 0.57 | 256.92 | 0.66333 | 282.3333 | 0.77667 | 74.18 | 0.88 | 100.5267 | 22.05 | 885 | 77.59 | 0
2019-06-06 13:00:00 | 1.4233 | 144.8133 | 1.6433 | 159.1333 | 1.6833 | 191.8333 | 1.4133 | 220.2 | 21.0367 | 885 | 82.4833 | 0
2019-06-06 13:15:00 | 1.8133 | 173.8833 | 2.0867 | 191.0667 | 2.4 | 221.2 | 1.96 | 218.7333 | 20.5333 | 885 | 85.7333 | 0
2019-06-06 13:30:00 | 2.0067 | 179.09 | 2.3133 | 196.8 | 2.4933 | 214.9333 | 2.36 | 220.9333 | 20.36 | 885 | 85.3333 | 0
2019-06-06 13:45:00 | 2.17 | 141.7167 | 2.5 | 155.7333 | 2.41 | 178.8333 | 2.18 | 220.0667 | 20.06 | 885 | 85.6667 | 0
2019-06-06 14:00:00 | 1.7967 | 152.5233 | 2.0667 | 167.6 | 2.29 | 201.1667 | 2.16 | 212.7333 | 19.9867 | 885 | 86.2 | 0
2019-06-06 14:15:00 | 1.8267 | 171.72 | 2.1033 | 188.7 | 2.5033 | 208.2333 | 2.5067 | 203.4667 | 20.27 | 885 | 85.5 | 0
2019-06-06 14:30:00 | 2.36 | 164.408 | 2.72 | 180.66 | 3.384 | 228.28 | 3.42 | 218.36 | 20.412 | 885 | 84.48 | 0.23333
2019-06-06 14:45:00 | 1.89 | 167.81 | 2.1733 | 184.4 | 2.79 | 217.1333 | 2.7767 | 227.6333 | 20.4493 | 885 | 82.7667 | 0
2019-06-06 15:00:00 | 1.4407 | 146.6943 | 1.6579 | 161.1929 | 1.7343 | 204.4429 | 2.0686 | 224.55 | 20.4693 | 885 | 83.4786 | 0
2019-06-06 15:15:00 | 2.0133 | 159.74 | 2.3133 | 175.5333 | 2.3333 | 183.5333 | 2.4333 | 207.4333 | 20.2933 | 884.2667 | 83.2267 | 0
2019-06-06 15:30:00 | 2.16 | 163.0133 | 2.4867 | 179.1333 | 2.5267 | 186.9333 | 2.4533 | 201.1 | 20.48 | 884 | 80.68 | 0
2019-06-06 15:45:00 | 1.7933 | 157.9233 | 2.07 | 173.5333 | 2.2233 | 177.6 | 1.94 | 186.2 | 20.8633 | 884 | 76.33 | 0
2019-06-06 16:00:00 | 1.96 | 162.8433 | 2.2567 | 178.9333 | 2.39 | 173.12 | 2.1267 | 178 | 21.11 | 884 | 75.0633 | 0
2019-06-06 16:15:00 | 1.2067 | 169.5333 | 1.3867 | 186.3 | 1.7533 | 176.5333 | 1.69 | 174.9333 | 21.1867 | 884 | 74.0933 | 0
2019-06-06 16:30:00 | 0.50667 | 154.24 | 0.58 | 169.5 | 0.98667 | 176.96 | 1.25 | 173.6667 | 21.4067 | 884 | 72.2667 | 0
2019-06-06 16:45:00 | 0.28667 | 154.24 | 0.32667 | 169.5 | 0.56667 | 165 | 0.83333 | 160.38 | 21.7133 | 884 | 69.3167 | 0
2019-06-06 17:00:00 | 0.038 | 154.24 | 0.05 | 169.5 | 0.064 | 152.64 | 0.04 | 160.1 | 21.876 | 884 | 68.446 | 0
2019-06-06 17:15:00 | 0.41333 | 154.18 | 0.47667 | 169.4333 | 0.82667 | 152.7 | 0.94667 | 160.1 | 21.8673 | 884 | 68.8433 | 0
2019-06-06 17:30:00 | 0.13333 | 154.24 | 0.15667 | 169.5 | 0.26667 | 152.7 | 0.53333 | 160.1 | 21.8833 | 884 | 67.29 | 0
2019-06-06 17:45:00 | 0.22667 | 154.1153 | 0.26333 | 169.3533 | 0.37333 | 338.9 | 0.033333 | 160.1 | 22.1013 | 884 | 70.68 | 0
2019-06-06 18:00:00 | 0.28667 | 222.2033 | 0.33667 | 244.1667 | 0.53333 | 338.9 | 0 | 160.1 | 22.1533 | 884 | 70.68 | 0
2019-06-06 18:15:00 | 0.62 | 284.0533 | 0.71333 | 312.1333 | 0.95333 | 338.9 | 0 | 160.1 | 22.1287 | 883.2667 | 71.3067 | 0
2019-06-06 18:30:00 | 0.34 | 285.052 | 0.4 | 313.24 | 0.51333 | 338.9 | 0 | 160.1 | 22.1033 | 883 | 71.3267 | 0
2019-06-06 18:45:00 | 0 | 285.0947 | 0 | 313.2933 | 0 | 338.9 | 0.14 | 160.1 | 22.1513 | 883 | 69.6467 | 0
2019-06-06 19:00:00 | 0.26 | 283.8067 | 0.3 | 311.8667 | 0.52 | 240.6333 | 0.94667 | 160.1 | 22.3633 | 883 | 65.36 | 0
2019-06-06 19:15:00 | 0.63333 | 210.6487 | 0.73333 | 231.4867 | 1.18 | 191.5 | 1.6433 | 192.9933 | 22.0267 | 883 | 64.9833 | 0
2019-06-06 19:30:00 | 0.24667 | 200.7833 | 0.28 | 220.6333 | 0.48667 | 191.5 | 0.68333 | 192.9 | 21.64 | 883 | 69.25 | 0
2019-06-06 19:45:00 | 0 | 195.9353 | 0 | 215.3067 | 0 | 191.5 | 0.36 | 192.9 | 21.2233 | 883 | 71.9633 | 0
2019-06-06 20:00:00 | 0 | 196.046 | 0 | 215.44 | 0 | 191.5 | 0.16667 | 192.9 | 20.9233 | 883 | 72.53 | 0
2019-06-06 20:15:00 | 0.24 | 196.094 | 0.28 | 215.4933 | 0.47667 | 191.5 | 1.5633 | 168.6333 | 20.5967 | 883 | 73.4087 | 0
2019-06-06 20:30:00 | 0.58667 | 196.01 | 0.68 | 215.4 | 1.1367 | 191.5 | 1.73 | 168.8333 | 20.4033 | 883 | 77.4233 | 0
2019-06-06 20:45:00 | 0.89667 | 196.01 | 1.0327 | 215.4 | 1.716 | 190.4933 | 1.9527 | 172.4067 | 20.072 | 883 | 78.3673 | 0
2019-06-06 21:00:00 | 0.87333 | 194.9833 | 1.0167 | 214.2667 | 1.4467 | 188.6 | 1.7867 | 173.54 | 19.898 | 883 | 78.67 | 0
2019-06-06 21:15:00 | 0.51333 | 188.55 | 0.59333 | 207.2 | 1.0233 | 188.6 | 1.4433 | 187.1 | 19.9033 | 883 | 79.2247 | 0
2019-06-06 21:30:00 | 0.59333 | 188.478 | 0.68 | 207.12 | 1.1633 | 177.5333 | 1.53 | 181.7667 | 19.8633 | 883 | 79.738 | 0
2019-06-06 21:45:00 | 0.32 | 188.37 | 0.37667 | 207 | 0.63667 | 171.3 | 0.88667 | 180.3667 | 19.7 | 883 | 79.5353 | 0
2019-06-06 22:00:00 | 0.70667 | 205.2967 | 0.81 | 225.6 | 1.2233 | 190.1 | 1.4867 | 212.34 | 19.92 | 883 | 78.37 | 0.15133
2019-06-06 22:15:00 | 0.58 | 169.82 | 0.67667 | 186.6 | 1.0267 | 203.6 | 1.0933 | 210.4 | 20.1487 | 883.7333 | 77.6893 | 0
2019-06-06 22:30:00 | 0.08 | 169.82 | 0.10333 | 186.6 | 0.14 | 198.44 | 0.71333 | 217.2 | 19.97 | 884 | 78.3467 | 0
2019-06-06 22:45:00 | 0.57333 | 169.74 | 0.66 | 186.52 | 1.1333 | 198.3533 | 1.0933 | 206.9867 | 19.906 | 884 | 78.7913 | 0
2019-06-06 23:00:00 | 0.28667 | 169.62 | 0.33333 | 186.4 | 0.54667 | 198.3 | 1.0267 | 186.84 | 19.79 | 884 | 80.0033 | 0
2019-06-06 23:15:00 | 0.18 | 169.62 | 0.21333 | 186.4 | 0.35333 | 198.3733 | 0.98 | 186.9 | 19.4133 | 884 | 83.3333 | 0.093333
2019-06-06 23:30:00 | 0.56667 | 169.62 | 0.66 | 186.4 | 1.1267 | 198.36 | 1.3733 | 186.9 | 19.38 | 884 | 83.4 | 0.278
2019-06-06 23:45:00 | 0.64 | 169.62 | 0.74667 | 186.4 | 1.28 | 197.8667 | 1.85 | 176.5667 | 19.35 | 884 | 83.2 | 0.412