## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-07 00:00:00 | 0.44 | 169.62 | 0.51143 | 186.4 | 0.88 | 194.2571 | 2.0843 | 171.0714 | 19.1643 | 884 | 85.28 | 0.44643
2019-06-07 00:15:00 | 0.23333 | 117.1467 | 0.27 | 128.7367 | 0.26 | 192.2 | 1.77 | 166.9733 | 18.8567 | 884 | 87.6333 | 0.37933
2019-06-07 00:30:00 | 0.43333 | 152.64 | 0.51 | 167.7367 | 0.65333 | 192.16 | 1.9167 | 181.2 | 18.9433 | 884 | 88.86 | 0.264
2019-06-07 00:45:00 | 0.66 | 176.4233 | 0.76667 | 193.8667 | 1.2667 | 194.2 | 1.4667 | 195.1333 | 19.5533 | 884 | 86.7667 | 0.20533
2019-06-07 01:00:00 | 0.11333 | 239.2767 | 0.13333 | 262.9333 | 0.22667 | 193.4 | 0.33333 | 191.1333 | 19.6133 | 884 | 84.3 | 0.302
2019-06-07 01:15:00 | 0.68667 | 316.7433 | 0.79 | 348.0667 | 0.26333 | 217.7667 | 0 | 185.8 | 19.4067 | 884 | 86.3333 | 0.396
2019-06-07 01:30:00 | 0.66667 | 321.23 | 0.77667 | 353 | 0.30333 | 237.3 | 0 | 185.8 | 19.2467 | 884 | 87.6667 | 0.66667
2019-06-07 01:45:00 | 0.68333 | 311.214 | 0.8 | 341.9933 | 0.29 | 282.5 | 0.11333 | 220.1333 | 19.202 | 884 | 87.8067 | 0.51133
2019-06-07 02:00:00 | 0.47667 | 303.37 | 0.55333 | 333.3667 | 0.31 | 291.7 | 0.31333 | 288.8 | 19.2567 | 884 | 87.6333 | 0.764
2019-06-07 02:15:00 | 0.12667 | 299.5013 | 0.15 | 329.1133 | 0.13 | 273.8 | 0.36667 | 217.7733 | 19.2373 | 884 | 87.4933 | 0.94133
2019-06-07 02:30:00 | 0.48 | 214.18 | 0.55 | 235.3667 | 0.71 | 223.1333 | 0.89333 | 210 | 18.9933 | 884 | 88.4 | 1.748
2019-06-07 02:45:00 | 0.42333 | 172.0067 | 0.49 | 189.0133 | 0.83667 | 190.2 | 1.0667 | 201.1 | 18.84 | 884 | 89.9 | 1.8053
2019-06-07 03:00:00 | 0.49667 | 172.94 | 0.57667 | 190.04 | 0.95667 | 187.8 | 1.0267 | 199.9 | 18.5933 | 883.6 | 90.6333 | 1.3053
2019-06-07 03:15:00 | 0.34667 | 280.16 | 0.40333 | 307.8667 | 0.19333 | 187.8 | 0.34333 | 218.0667 | 18.77 | 883 | 89.3667 | 1.3093
2019-06-07 03:30:00 | 0.80667 | 311.1733 | 0.93 | 341.9333 | 0.36 | 238.2 | 0.89 | 254.4 | 18.6367 | 883 | 90.5667 | 1.1853
2019-06-07 03:45:00 | 1.1633 | 1.91 | 1.3367 | 2.09 | 0.82 | 303.4333 | 1.45 | 262.2333 | 18.3533 | 883 | 93.0333 | 1.6
2019-06-07 04:00:00 | 0.99 | 209.8033 | 1.15 | 230.55 | 0.68 | 303.1667 | 1.2767 | 264.4333 | 18.248 | 883 | 93.7 | 1.2893
2019-06-07 04:15:00 | 1.0267 | 216.6267 | 1.1967 | 238.05 | 0.92 | 9.17 | 0.29333 | 295.5333 | 18.1587 | 883 | 93.7667 | 0.944
2019-06-07 04:30:00 | 1.9067 | 209.9533 | 2.1967 | 230.7167 | 2.5067 | 13.2033 | 1.2133 | 350.1333 | 17.8933 | 883 | 95.1 | 1.1807
2019-06-07 04:45:00 | 1.9967 | 322.2067 | 2.3033 | 354.0667 | 2.27 | 4.44 | 1.2633 | 315.7333 | 17.8073 | 883 | 95.5067 | 0.668
2019-06-07 05:00:00 | 2.4367 | 313.2867 | 2.8033 | 344.2667 | 2.87 | 12.9267 | 1.4967 | 328.4 | 17.71 | 883 | 95.8667 | 0.91467
2019-06-07 05:15:00 | 2.66 | 314.9933 | 3.06 | 346.1333 | 3.3033 | 14.4 | 1.8167 | 207.16 | 17.59 | 883 | 95.9333 | 0.48867
2019-06-07 05:30:00 | 3.1867 | 105.0733 | 3.6667 | 115.46 | 4.07 | 8.7133 | 2.89 | 12.5 | 17.63 | 883 | 95.4667 | 0.35933
2019-06-07 05:45:00 | 3.1833 | 306.76 | 3.66 | 337.1 | 3.8467 | 10.3533 | 3.3133 | 19.5433 | 17.628 | 883 | 95.1933 | 0.352
2019-06-07 06:00:00 | 3.162 | 315.35 | 3.634 | 346.54 | 3.602 | 5.442 | 2.72 | 15.064 | 17.624 | 883 | 94.98 | 0.49933
2019-06-07 06:15:00 | 2.8833 | 312.0967 | 3.3133 | 342.9667 | 3.2867 | 2.3667 | 2.3133 | 11.0967 | 17.7267 | 883 | 94.3 | 0.408
2019-06-07 06:30:00 | 2.5833 | 315.7367 | 2.9733 | 346.9667 | 2.8733 | 237.7333 | 1.6867 | 15.0367 | 17.692 | 883 | 94.34 | 0.37533
2019-06-07 06:45:00 | 2.6533 | 313.5033 | 3.0467 | 344.5 | 2.8967 | 7.84 | 1.9267 | 20.5967 | 17.77 | 883 | 93.9333 | 0.38867
2019-06-07 07:00:00 | 2.6867 | 315.8633 | 3.0867 | 347.1 | 3.1233 | 9.46 | 2.5333 | 14.6833 | 17.91 | 883 | 93.2667 | 0.28067
2019-06-07 07:15:00 | 2.1933 | 306.4533 | 2.5333 | 336.7667 | 2.48 | 15.1933 | 1.3133 | 20.2467 | 17.9893 | 883 | 92.86 | 0.4
2019-06-07 07:30:00 | 2.1133 | 289.96 | 2.4333 | 318.6333 | 2.3533 | 240.0933 | 0.88667 | 18.9467 | 18.1733 | 883 | 92.1 | 0.23
2019-06-07 07:45:00 | 1.9567 | 107.67 | 2.25 | 118.3133 | 2.4233 | 240.2667 | 1.03 | 0.24 | 18.3207 | 883 | 91.8667 | 0
2019-06-07 08:00:00 | 2.4167 | 112.3367 | 2.7767 | 123.4333 | 2.97 | 11.9867 | 1.25 | 0.24 | 18.2767 | 883.4 | 92.7333 | 0.008
2019-06-07 08:15:00 | 2.43 | 108.71 | 2.7933 | 119.4533 | 2.5867 | 237.7367 | 0.17 | 194.5933 | 18.04 | 884 | 93.5 | 0.11733
2019-06-07 08:30:00 | 1.8567 | 322.3233 | 2.14 | 354.2 | 1.6133 | 1.5167 | 0.37667 | 139.9267 | 18.02 | 884 | 94.06 | 0.01
2019-06-07 08:45:00 | 1.7367 | 194.6733 | 2 | 213.9233 | 1.4733 | 114.2533 | 0.52667 | 304.0667 | 18.3167 | 884 | 92.9 | 0.097333
2019-06-07 09:00:00 | 1.15 | 212.9933 | 1.3267 | 234.0567 | 0.68 | 285.4 | 0.98667 | 246.1333 | 18.8167 | 884 | 90.9667 | 0.604
2019-06-07 09:15:00 | 0.59333 | 216.6133 | 0.69 | 238.0367 | 0.27 | 312.4667 | 1.32 | 218.0333 | 19.7833 | 884 | 88.8333 | 0.188
2019-06-07 09:30:00 | 0.62667 | 0.98 | 0.73 | 1.07 | 0.37667 | 114.32 | 0.79333 | 189.3667 | 20.71 | 884 | 86.1 | 0
2019-06-07 09:45:00 | 1.3233 | 107.7333 | 1.5267 | 118.3733 | 1.0433 | 308.1667 | 1.0133 | 279.3333 | 20.51 | 884.7333 | 86.5333 | 0
2019-06-07 10:00:00 | 1.4833 | 318.7533 | 1.7067 | 350.2667 | 1.3433 | 315.2333 | 0.72667 | 264.7333 | 20.3167 | 885 | 87.9333 | 0
2019-06-07 10:15:00 | 1.2 | 324.78 | 1.3833 | 356.9 | 1.11 | 308.8333 | 0.59333 | 212.5333 | 20.44 | 885 | 87.8333 | 0
2019-06-07 10:30:00 | 1.28 | 318.7733 | 1.4767 | 350.3 | 1.1633 | 126.74 | 0.30667 | 240.0667 | 20.8267 | 885 | 85.3 | 0
2019-06-07 10:45:00 | 0.65667 | 51.8133 | 0.76333 | 56.9333 | 0.88667 | 188.9 | 1.51 | 201.5333 | 21.68 | 885 | 83.9933 | 0
2019-06-07 11:00:00 | 1.2567 | 161.0133 | 1.4567 | 176.9333 | 1.6267 | 211.1667 | 1.6433 | 208.4 | 22.7333 | 885 | 82.3 | 0
2019-06-07 11:15:00 | 1.9667 | 133.7733 | 2.2633 | 147 | 2.3667 | 166.1 | 2.2667 | 163.4667 | 23.3467 | 885.7333 | 81.6 | 0
2019-06-07 11:30:00 | 2.1467 | 147.84 | 2.47 | 162.4667 | 2.68 | 187.6333 | 2.68 | 170.6667 | 23.5733 | 886 | 81.5333 | 0
2019-06-07 11:45:00 | 2.5433 | 172.94 | 2.9267 | 190.0333 | 2.99 | 182.3667 | 3.1267 | 185.7667 | 23.634 | 886 | 80.5333 | 0
2019-06-07 12:00:00 | 2.47 | 166.44 | 2.8467 | 182.9 | 2.9367 | 174.9 | 2.8467 | 172.2333 | 23.8833 | 886 | 79.5067 | 0
2019-06-07 12:15:00 | 3.09 | 146.6967 | 3.5533 | 161.2 | 3.6733 | 171.5 | 3.6733 | 159.0333 | 23.88 | 886 | 78.3067 | 0.294
2019-06-07 12:30:00 | 3.27 | 158.77 | 3.76 | 174.4667 | 3.8667 | 154.7 | 3.8867 | 165.1667 | 23.9267 | 886 | 78.1267 | 0.17133
2019-06-07 12:45:00 | 2.7333 | 144.66 | 3.1467 | 158.9667 | 3.4467 | 171 | 3.48 | 181.6333 | 24.186 | 886 | 78.6533 | 0
2019-06-07 13:00:00 | 2.56 | 108.2067 | 2.9533 | 118.9 | 3.3133 | 216.2667 | 3.2267 | 173.0333 | 24.6833 | 886 | 77.4533 | 0
2019-06-07 13:15:00 | 2.5 | 140.6267 | 2.8867 | 154.5333 | 3.2667 | 208.3 | 3.51 | 226.4667 | 25.2767 | 885.3333 | 73.7167 | 0
2019-06-07 13:30:00 | 2.4 | 150.0267 | 2.76 | 164.8667 | 3.2 | 170.5667 | 3.21 | 173.0667 | 25.1367 | 886 | 74.4833 | 0
2019-06-07 13:45:00 | 1.65 | 172.93 | 1.9033 | 190.0333 | 2.5167 | 252.3667 | 2.9667 | 247.3667 | 26.07 | 886 | 70.3567 | 0
2019-06-07 14:00:00 | 2.4233 | 146.7833 | 2.7833 | 161.3 | 3.19 | 201.0333 | 3.24 | 216.3667 | 25.97 | 885.6 | 70.8367 | 0
2019-06-07 14:15:00 | 2.4267 | 139.1733 | 2.7933 | 152.9333 | 3.2733 | 165.3667 | 3.4567 | 173.6667 | 26.2433 | 885 | 69.9233 | 0
2019-06-07 14:30:00 | 2.48 | 150.58 | 2.8533 | 165.4667 | 3.08 | 176.7667 | 3.1833 | 178.8 | 26.2367 | 885 | 69.27 | 0
2019-06-07 14:45:00 | 2.3733 | 107.0233 | 2.7333 | 117.6 | 2.87 | 179.2333 | 2.9367 | 163.3333 | 25.842 | 885 | 70.8267 | 0
2019-06-07 15:00:00 | 2.8729 | 116.1257 | 3.3114 | 127.6143 | 3.5286 | 162.2 | 3.22 | 167.5143 | 26.14 | 885 | 70.2886 | 0
2019-06-07 15:15:00 | 2.8133 | 162.2867 | 3.2333 | 178.3333 | 3.7133 | 178.2667 | 3.82 | 182.6667 | 25.9033 | 885 | 69.988 | 0.96333
2019-06-07 15:30:00 | 3.0667 | 166.3467 | 3.5333 | 182.8 | 3.8067 | 182.2667 | 4.0133 | 185.8 | 25.4433 | 885 | 71.46 | 1.164
2019-06-07 15:45:00 | 2.5267 | 160.8033 | 2.9133 | 176.7 | 3.1633 | 180.1 | 2.96 | 188.8667 | 25.4433 | 885 | 71.6933 | 0
2019-06-07 16:00:00 | 1.5133 | 144.6633 | 1.74 | 158.9667 | 2.1367 | 172.5 | 2.1067 | 206 | 25.35 | 885 | 73.62 | 0
2019-06-07 16:15:00 | 1.39 | 130.35 | 1.6 | 143.2333 | 2.11 | 164.3 | 2.1 | 189.9 | 25.2493 | 884.2667 | 74.9633 | 0
2019-06-07 16:30:00 | 1.6567 | 152.31 | 1.9067 | 167.3667 | 2.1967 | 172.3 | 2.1267 | 181.7667 | 25.16 | 884 | 73.9367 | 0
2019-06-07 16:45:00 | 0.16 | 148.9647 | 0.19 | 163.6933 | 0.29333 | 201.6933 | 0.27333 | 213.1 | 25.4133 | 884 | 73.3867 | 0
2019-06-07 17:00:00 | 0.56667 | 148.89 | 0.65667 | 163.6 | 0.87333 | 205.0667 | 0.69333 | 207.9 | 25.58 | 884 | 72.26 | 0
2019-06-07 17:15:00 | 1.14 | 186.0667 | 1.32 | 204.4667 | 1.57 | 145.2667 | 1.5033 | 163.1 | 26.1127 | 884 | 70.8667 | 0
2019-06-07 17:30:00 | 1.0667 | 166.5333 | 1.2267 | 183 | 1.5633 | 180.0667 | 1.6767 | 186.5667 | 26.23 | 884 | 70.68 | 0
2019-06-07 17:45:00 | 0.58667 | 121.7133 | 0.67333 | 133.7533 | 1.1667 | 342.52 | 1.1467 | 316.6333 | 26.6067 | 884 | 69.4567 | 0
2019-06-07 18:00:00 | 0.51333 | 99.4 | 0.6 | 109.22 | 0.96 | 243.4667 | 1.1867 | 124.4533 | 26.0267 | 884 | 72.4967 | 0
2019-06-07 18:15:00 | 0.58 | 124.32 | 0.67333 | 136.6 | 1.1 | 165.6667 | 0.91667 | 213.4667 | 25.5773 | 884 | 74.6567 | 0
2019-06-07 18:30:00 | 0.6 | 127.5267 | 0.7 | 140.1333 | 1.1067 | 278.6667 | 0.97667 | 176.6667 | 25.3067 | 884 | 74.27 | 0
2019-06-07 18:45:00 | 1.35 | 226.49 | 1.56 | 248.8833 | 2.4167 | 338.2333 | 2.2667 | 339.2 | 24.73 | 884 | 76.95 | 0
2019-06-07 19:00:00 | 1.09 | 32.6033 | 1.2667 | 35.8233 | 2.1567 | 342.1 | 2.5467 | 345.9333 | 24.3367 | 883.6 | 78.7167 | 0
2019-06-07 19:15:00 | 1.3467 | 117.9967 | 1.55 | 129.66 | 2.5867 | 343.9133 | 2.5667 | 232.37 | 24.09 | 883 | 78.01 | 0
2019-06-07 19:30:00 | 1.1933 | 290.686 | 1.3833 | 319.44 | 2.38 | 354.5 | 2.4 | 239.1033 | 23.8633 | 883 | 79.0767 | 0
2019-06-07 19:45:00 | 0.93333 | 215.3467 | 1.08 | 236.6467 | 1.85 | 248.9633 | 2.35 | 250.2933 | 23.5833 | 883 | 80.1933 | 0
2019-06-07 20:00:00 | 0.94667 | 235.0067 | 1.0933 | 258.2467 | 1.87 | 52.59 | 2.0367 | 55.38 | 23.3967 | 883 | 80.5 | 0
2019-06-07 20:15:00 | 1.0333 | 318.9833 | 1.1967 | 350.5333 | 2.0367 | 11.32 | 1.7533 | 25.99 | 23.1633 | 883 | 81.1333 | 0
2019-06-07 20:30:00 | 1.4067 | 307.3967 | 1.6233 | 337.8 | 2.6167 | 3.2733 | 2.7133 | 19.1567 | 22.8967 | 883 | 82.6667 | 0
2019-06-07 20:45:00 | 1.24 | 102.6633 | 1.43 | 112.8133 | 2.26 | 8.2267 | 2.47 | 31.99 | 22.6993 | 883 | 83.5333 | 0
2019-06-07 21:00:00 | 1.5067 | 304.61 | 1.7367 | 334.7333 | 2.4733 | 7.14 | 2.4633 | 21.95 | 22.678 | 883 | 84 | 0
2019-06-07 21:15:00 | 1.6333 | 282.3467 | 1.88 | 310.2667 | 2.4567 | 356.52 | 2.58 | 11.8033 | 22.6433 | 883 | 84.3667 | 0
2019-06-07 21:30:00 | 1.8067 | 299.6933 | 2.08 | 329.3333 | 2.9033 | 122.1067 | 2.7733 | 9.55 | 22.706 | 883 | 83.94 | 0
2019-06-07 21:45:00 | 1.7667 | 107.6 | 2.0333 | 118.2333 | 3.0667 | 238.1267 | 3.2667 | 4.6067 | 22.52 | 883 | 84.8667 | 0.023333
2019-06-07 22:00:00 | 1.84 | 104.5667 | 2.1267 | 114.9 | 3.34 | 1.4267 | 3.6667 | 7.7667 | 22.3333 | 883.4 | 85.7333 | 1.0947
2019-06-07 22:15:00 | 1.9367 | 292.08 | 2.2267 | 320.9667 | 3.3767 | 4.2267 | 3.6333 | 10.76 | 22.0567 | 883.2667 | 86.9 | 0.38667
2019-06-07 22:30:00 | 2.1833 | 292.8067 | 2.5133 | 321.7667 | 3.3167 | 3.8067 | 3.52 | 16.9333 | 22.03 | 883.4 | 86.86 | 0.3
2019-06-07 22:45:00 | 2.1467 | 213.3433 | 2.47 | 234.4333 | 3.35 | 14.7267 | 3.1067 | 21.1167 | 21.9673 | 883.9333 | 88.3333 | 0.378
2019-06-07 23:00:00 | 2.3667 | 213.3433 | 2.73 | 234.4333 | 3.63 | 10.0933 | 3.76 | 18.73 | 21.918 | 883.4 | 89.2 | 2.4473
2019-06-07 23:15:00 | 2.36 | 98.39 | 2.72 | 108.1067 | 4.2 | 12.36 | 4.63 | 31.4733 | 21.66 | 884 | 90.3333 | 3.2987
2019-06-07 23:30:00 | 2.24 | 103.7567 | 2.5733 | 114.0067 | 4.0733 | 16.38 | 4.5367 | 28.2667 | 21.4 | 884 | 91.5333 | 2.0953
2019-06-07 23:45:00 | 2.38 | 306.2433 | 2.7367 | 336.5333 | 3.6067 | 22.5433 | 3.9667 | 29.2067 | 21.4333 | 884 | 91.6 | 1.642