## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-08 00:00:00 | 2.6343 | 312.715 | 3.03 | 343.6357 | 4.3179 | 23.3657 | 4.2971 | 22.8221 | 21.4357 | 883.9 | 91.35 | 1.65
2019-06-08 00:15:00 | 2.5 | 193.5433 | 2.8767 | 212.6833 | 4.79 | 17.14 | 4.7033 | 16.62 | 21.1033 | 883 | 92.7333 | 2.2247
2019-06-08 00:30:00 | 2.326 | 181.352 | 2.676 | 199.28 | 4.048 | 15.962 | 4.24 | 13.102 | 21.026 | 883 | 93.58 | 3.5913
2019-06-08 00:45:00 | 2.4967 | 303.76 | 2.8767 | 333.8 | 4.3567 | 26.07 | 4.81 | 9.0467 | 20.9 | 883 | 94.3333 | 5.4527
2019-06-08 01:00:00 | 2.6033 | 273.98 | 2.9967 | 301.0667 | 4.8367 | 21.7233 | 5.0633 | 11.6733 | 20.7333 | 883 | 94.64 | 4.862
2019-06-08 01:15:00 | 2.7067 | 209.5567 | 3.11 | 230.2833 | 4.9767 | 1.1033 | 5.2333 | 8.83 | 20.5533 | 883 | 95.3667 | 7.24
2019-06-08 01:30:00 | 3.1333 | 22.09 | 3.6033 | 24.27 | 5.61 | 5.9967 | 5.8667 | 14.53 | 20.4733 | 883 | 95.9 | 13.7507
2019-06-08 01:45:00 | 3.6467 | 110.6033 | 4.2 | 121.54 | 6.06 | 14.3867 | 6.2233 | 21.1633 | 20.4647 | 883 | 96.1 | 14.6233
2019-06-08 02:00:00 | 3.2933 | 105.7567 | 3.8 | 116.2067 | 6.0267 | 235.8467 | 5.97 | 30.7367 | 20.39 | 883 | 96.1667 | 14.206
2019-06-08 02:15:00 | 3.23 | 307.3133 | 3.7133 | 337.7 | 5.95 | 41.9233 | 5.9 | 28.3667 | 20.24 | 882.2667 | 96.7 | 16.7147
2019-06-08 02:30:00 | 3.71 | 130.164 | 4.264 | 143.03 | 6.234 | 13.328 | 6.542 | 18.7 | 20.152 | 882 | 97.14 | 18.2867
2019-06-08 02:45:00 | 3.6133 | 302.1833 | 4.1567 | 332.0667 | 6.4033 | 8.6333 | 6.76 | 17.3667 | 20.1287 | 882 | 97.2333 | 25.278
2019-06-08 03:00:00 | 4.0933 | 290.23 | 4.71 | 318.9333 | 7.2033 | 15.36 | 7.1733 | 14.68 | 20.0233 | 882 | 97.4333 | 31.2513
2019-06-08 03:15:00 | 4.2733 | 207.56 | 4.9133 | 228.08 | 7.1767 | 8.1733 | 7.3167 | 12.38 | 19.9 | 882 | 97.74 | 34.7793
2019-06-08 03:30:00 | 4.756 | 187.016 | 5.474 | 205.516 | 7.396 | 10.384 | 7.404 | 16.972 | 19.792 | 882 | 98.34 | 38.5087
2019-06-08 03:45:00 | 4.9067 | 98.2467 | 5.64 | 107.9667 | 7.78 | 8.7867 | 8.2367 | 8.24 | 19.67 | 882 | 98.8067 | 38.906
2019-06-08 04:00:00 | 4.8333 | 104.9333 | 5.56 | 115.3067 | 8.1667 | 12.08 | 8.5567 | 14.6867 | 19.5833 | 882 | 99.0333 | 40.4233
2019-06-08 04:15:00 | 5.0267 | 10.6033 | 5.79 | 11.65 | 6.8633 | 116.2467 | 7.0167 | 3.8867 | 19.518 | 881.9333 | 99.3 | 41.054
2019-06-08 04:30:00 | 5.44 | 2.8567 | 6.2567 | 3.1433 | 8.0833 | 123.2267 | 8.0567 | 5.0067 | 19.462 | 881 | 99.26 | 39.5873
2019-06-08 04:45:00 | 4.96 | 87.7133 | 5.71 | 96.3867 | 7.6833 | 119.34 | 8.1667 | 12.84 | 19.38 | 881 | 99.1267 | 25.3147
2019-06-08 05:00:00 | 3.7867 | 290.2667 | 4.3633 | 318.9667 | 6.3367 | 125.0733 | 6.96 | 5.9733 | 19.3067 | 881 | 99.1 | 18.7707
2019-06-08 05:15:00 | 3.6733 | 223.0367 | 4.2267 | 245.09 | 5.41 | 20.2 | 5.68 | 13.07 | 19.27 | 881.7333 | 99.18 | 27.3973
2019-06-08 05:30:00 | 4.4 | 233.1633 | 5.0667 | 256.2233 | 6.7233 | 12.62 | 7.22 | 20.1633 | 19.2967 | 882 | 99.1667 | 29.6627
2019-06-08 05:45:00 | 4.3333 | 228.0133 | 4.98 | 250.5633 | 7.3933 | 7.94 | 7.5733 | 19.11 | 19.172 | 882 | 99.1733 | 29.0907
2019-06-08 06:00:00 | 4.3867 | 200.2933 | 5.0533 | 220.0967 | 7.0933 | 227.12 | 7.56 | 22.9033 | 19.2467 | 882 | 98.8667 | 37.986
2019-06-08 06:15:00 | 4.3533 | 33.2833 | 5.01 | 36.5667 | 6.7567 | 227.11 | 6.8967 | 11.8033 | 19.3087 | 882 | 98.4 | 39.3093
2019-06-08 06:30:00 | 4.78 | 8.79 | 5.51 | 9.6533 | 7.75 | 220.1767 | 7.5433 | 235.13 | 19.25 | 882 | 98.44 | 39.386
2019-06-08 06:45:00 | 4.8267 | 218.0267 | 5.55 | 239.5867 | 7.8967 | 129.1267 | 8.0133 | 17.6167 | 19.1913 | 882 | 98.64 | 40.066
2019-06-08 07:00:00 | 4.7467 | 17.4333 | 5.4567 | 19.1533 | 7.93 | 121.7267 | 8.1133 | 23.7433 | 19.2833 | 882 | 98.6667 | 40.3473
2019-06-08 07:15:00 | 5.2867 | 182.1867 | 6.09 | 200.1933 | 8.57 | 14.2567 | 8.44 | 14.71 | 19.3133 | 882 | 98.4267 | 41.946
2019-06-08 07:30:00 | 4.98 | 192.2533 | 5.7367 | 211.26 | 7.55 | 11.83 | 7.46 | 14.9367 | 19.324 | 882.4 | 98 | 39.3453
2019-06-08 07:45:00 | 4.7067 | 310.95 | 5.42 | 341.7 | 8.1133 | 12.45 | 8.34 | 18.0333 | 19.3873 | 882.3333 | 97.8333 | 41.4893
2019-06-08 08:00:00 | 4.9533 | 107.6033 | 5.7067 | 118.24 | 7.4333 | 228.4167 | 7.4267 | 17.4467 | 19.6367 | 883 | 97.1 | 40.3867
2019-06-08 08:15:00 | 4.7233 | 108.8033 | 5.44 | 119.56 | 7.09 | 218.7633 | 7.04 | 12.5333 | 19.9467 | 883 | 95.9667 | 36.0173
2019-06-08 08:30:00 | 4.4567 | 101.1433 | 5.1333 | 111.1333 | 7.39 | 241.23 | 7.46 | 9.1933 | 20.2333 | 883 | 94.9 | 35.2893
2019-06-08 08:45:00 | 4.12 | 196.9633 | 4.74 | 216.44 | 7.09 | 143.3933 | 7.0633 | 15.9833 | 20.6033 | 883 | 94.0667 | 36.2753
2019-06-08 09:00:00 | 4.34 | 31.2967 | 4.9933 | 34.3933 | 7.5033 | 133.5733 | 7.5567 | 9.99 | 20.5833 | 883 | 93.7333 | 37.016
2019-06-08 09:15:00 | 4.4667 | 189.4767 | 5.1367 | 208.2133 | 7.8093 | 354.6667 | 7.6167 | 0.32333 | 20.5993 | 883.0667 | 93.4667 | 35.2727
2019-06-08 09:30:00 | 4.3533 | 214.7767 | 5.0167 | 236.0133 | 7.54 | 334.9333 | 7.4367 | 1.0367 | 20.678 | 884 | 93.0667 | 31.224
2019-06-08 09:45:00 | 3.7 | 207.11 | 4.27 | 227.58 | 6.38 | 339.6333 | 6.4933 | 1.1167 | 20.8067 | 884 | 93.2 | 27.798
2019-06-08 10:00:00 | 3.9733 | 47.2833 | 4.5833 | 51.9533 | 6.6067 | 336.5667 | 6.62 | 49.2767 | 20.9067 | 884 | 92.7333 | 25.77
2019-06-08 10:15:00 | 4.1133 | 10.78 | 4.73 | 11.8433 | 7.4033 | 157.1067 | 7.0867 | 240.8433 | 21.3167 | 884 | 91.6 | 24.814
2019-06-08 10:30:00 | 4.4067 | 192.7667 | 5.07 | 211.83 | 6.9367 | 122.4867 | 6.7533 | 7.63 | 21.65 | 884 | 89.9333 | 22.5987
2019-06-08 10:45:00 | 4.0067 | 311.22 | 4.61 | 342 | 6.2633 | 243.76 | 6.4 | 7.9867 | 21.55 | 884 | 89.86 | 21.0673
2019-06-08 11:00:00 | 3.74 | 109.2467 | 4.3033 | 120.0533 | 6.3033 | 22.06 | 6.3533 | 7.2067 | 21.5433 | 884 | 90.3667 | 22.69
2019-06-08 11:15:00 | 3.412 | 91.3067 | 3.934 | 100.3333 | 6.2387 | 37.0767 | 6.292 | 3.7607 | 21.7 | 884 | 90.5133 | 19.304
2019-06-08 11:30:00 | 3.3133 | 224.62 | 3.8133 | 246.8333 | 6.1933 | 2.27 | 6.1733 | 4.1667 | 22.0233 | 884 | 89.3333 | 17.47
2019-06-08 11:45:00 | 3.34 | 7.8933 | 3.84 | 8.6667 | 6.2793 | 356.9 | 6.1733 | 6.09 | 22.4233 | 884 | 88.7667 | 16.49
2019-06-08 12:00:00 | 3.2467 | 159.2 | 3.7333 | 174.9333 | 5.95 | 123.9067 | 5.8467 | 8.39 | 22.6767 | 884 | 88.34 | 13.138
2019-06-08 12:15:00 | 2.97 | 210.2767 | 3.42 | 231.0733 | 5.12 | 352.2333 | 5.2367 | 6.9333 | 23.2433 | 884 | 86.7667 | 14.0007
2019-06-08 12:30:00 | 3.06 | 9.228 | 3.516 | 10.14 | 5.246 | 141.624 | 5.286 | 2.02 | 23.544 | 884 | 85.62 | 16.8313
2019-06-08 12:45:00 | 3.3067 | 91.59 | 3.8067 | 100.6467 | 5.6867 | 241.28 | 5.6 | 17.36 | 23.5027 | 884 | 85.1333 | 17.0387
2019-06-08 13:00:00 | 2.9333 | 184.9633 | 3.38 | 203.2467 | 5.4333 | 11.06 | 5.6133 | 15.74 | 23.6533 | 884 | 86.0667 | 15.512
2019-06-08 13:15:00 | 2.8333 | 17.4533 | 3.2567 | 19.18 | 5.2533 | 8.86 | 5.6233 | 18.12 | 23.982 | 884 | 85.2 | 16.4347
2019-06-08 13:30:00 | 2.8933 | 221.68 | 3.33 | 243.5933 | 5.3067 | 1.96 | 5.5233 | 14.46 | 23.8767 | 884 | 84.84 | 14.7087
2019-06-08 13:45:00 | 2.79 | 316.0967 | 3.2133 | 347.3533 | 5.1367 | 4.5 | 5.1767 | 14.3067 | 24.35 | 883.9333 | 84.5 | 13.836
2019-06-08 14:00:00 | 2.79 | 306.8833 | 3.2067 | 337.2333 | 5.13 | 8.4067 | 5.3167 | 16.12 | 24.7233 | 883 | 82.9 | 12.1193
2019-06-08 14:15:00 | 2.54 | 270.1027 | 2.9187 | 296.8067 | 4.954 | 16.1833 | 5.3173 | 22.2373 | 25.3167 | 883 | 82.3933 | 10.7173
2019-06-08 14:30:00 | 2.6147 | 179.7207 | 3.0047 | 197.4867 | 4.906 | 13.6447 | 4.9567 | 18.8773 | 25.492 | 883 | 80.348 | 11.252
2019-06-08 14:45:00 | 3.1267 | 161.05 | 3.6 | 176.9667 | 5.9367 | 19.6267 | 6.0267 | 20.1667 | 25.2067 | 883 | 81.0667 | 9.8407
2019-06-08 15:00:00 | 2.6229 | 105.8921 | 3.0179 | 116.3643 | 5.0807 | 13.3757 | 5.41 | 19.7929 | 25.4821 | 883 | 81.0857 | 8.9433
2019-06-08 15:15:00 | 2.9 | 146.5833 | 3.3367 | 161.0667 | 5.4133 | 18.8167 | 5.4133 | 15.9967 | 25.682 | 883 | 79.4267 | 8.0333
2019-06-08 15:30:00 | 3.38 | 289.75 | 3.8967 | 318.4 | 5.8667 | 13.41 | 5.96 | 21.89 | 25.718 | 883 | 78.396 | 6.134
2019-06-08 15:45:00 | 2.5867 | 184.1667 | 2.9767 | 202.37 | 4.6533 | 29.8367 | 4.7833 | 35.5767 | 25.774 | 883 | 78.44 | 3.8893
2019-06-08 16:00:00 | 2.3533 | 184.7733 | 2.71 | 203.0367 | 4.5267 | 25.102 | 4.5967 | 36.5167 | 25.926 | 883 | 78.8933 | 2.4193
2019-06-08 16:15:00 | 1.92 | 280.7367 | 2.2167 | 308.5 | 3.76 | 22.2 | 4.05 | 20.5967 | 26.0827 | 883 | 79.2967 | 2.8373
2019-06-08 16:30:00 | 2.32 | 107.27 | 2.67 | 117.8667 | 4.34 | 232.92 | 4.4233 | 25.05 | 25.8533 | 883 | 78.0967 | 4.1733
2019-06-08 16:45:00 | 2.4833 | 121.8867 | 2.8533 | 133.94 | 4.66 | 117.14 | 4.6133 | 9.3867 | 25.41 | 883 | 79.1633 | 3.658
2019-06-08 17:00:00 | 2.1833 | 250.3133 | 2.5133 | 275.0667 | 4.14 | 336.9 | 4 | 19.7467 | 25.1367 | 882.6 | 80.07 | 2.702
2019-06-08 17:15:00 | 2.03 | 261.81 | 2.33 | 287.7 | 3.99 | 140.1133 | 3.8333 | 3.19 | 24.85 | 882 | 80.7667 | 1.9533
2019-06-08 17:30:00 | 2.2767 | 276.2567 | 2.6233 | 303.5667 | 4.4233 | 349.9333 | 4.16 | 6.5767 | 24.61 | 882 | 81.0333 | 1.652
2019-06-08 17:45:00 | 2.3467 | 49.5733 | 2.7 | 54.48 | 4.4533 | 256.2233 | 4.2767 | 235.9367 | 24.3533 | 882 | 79.8467 | 2.1267
2019-06-08 18:00:00 | 2.42 | 259.84 | 2.7867 | 285.5333 | 4.62 | 22.93 | 4.4367 | 8.4567 | 24.2667 | 882 | 80.32 | 1.9287
2019-06-08 18:15:00 | 2.1333 | 12.7 | 2.4633 | 13.9467 | 4.0267 | 236.5367 | 3.9667 | 241.5667 | 24.1233 | 882 | 81.4667 | 2.31
2019-06-08 18:30:00 | 1.8667 | 221.5067 | 2.1567 | 243.4067 | 3.5133 | 2.2367 | 3.48 | 19.7667 | 23.9367 | 882 | 81.2 | 2.0607
2019-06-08 18:45:00 | 1.7467 | 105.7467 | 2.01 | 116.1933 | 3.4767 | 13.1033 | 3.3967 | 14.1267 | 23.7167 | 882 | 81.3933 | 2.2347
2019-06-08 19:00:00 | 1.9133 | 313.316 | 2.1967 | 344.3 | 3.7967 | 15.8767 | 3.73 | 19.4867 | 23.5567 | 882 | 82.2333 | 6.056
2019-06-08 19:15:00 | 2.7033 | 298.6607 | 3.1167 | 328.1933 | 5.3867 | 20.1767 | 5.4833 | 23.3667 | 23.2767 | 882 | 84.5333 | 10.564
2019-06-08 19:30:00 | 3.0233 | 306.5833 | 3.4767 | 336.9 | 5.9333 | 22.51 | 6.2433 | 31.2067 | 23.1033 | 882 | 85.2 | 12.71
2019-06-08 19:45:00 | 3.0333 | 150.0967 | 3.49 | 164.9333 | 5.59 | 120.7133 | 5.4433 | 25.3467 | 23.0367 | 882 | 83.7667 | 14.012
2019-06-08 20:00:00 | 3.1 | 210.5767 | 3.5767 | 231.4 | 5.57 | 347.3333 | 5.37 | 16.2267 | 22.99 | 882 | 83.2333 | 14.5433
2019-06-08 20:15:00 | 3.5867 | 247.9833 | 4.1233 | 272.5 | 6.7007 | 116.1333 | 6.56 | 9.75 | 22.8213 | 882 | 83.5 | 15.856
2019-06-08 20:30:00 | 3.5333 | 172.0233 | 4.0633 | 189.0333 | 6.65 | 160.5667 | 6.4333 | 9.7367 | 22.836 | 882 | 83.6333 | 17.272
2019-06-08 20:45:00 | 3.08 | 159.59 | 3.5433 | 175.3767 | 5.6533 | 15.67 | 5.8333 | 16.0133 | 22.7433 | 882 | 84.5333 | 17.458
2019-06-08 21:00:00 | 3.2533 | 213.17 | 3.7433 | 234.2433 | 5.8533 | 228.8433 | 5.7267 | 237.8067 | 22.658 | 882 | 85.1333 | 14.742
2019-06-08 21:15:00 | 2.5867 | 297.6333 | 2.9867 | 327.0667 | 4.8733 | 352.9 | 5.0333 | 237.6767 | 22.562 | 882 | 85.4333 | 11.5707
2019-06-08 21:30:00 | 2.66 | 117.3533 | 3.0667 | 128.9533 | 4.8467 | 340.9667 | 4.92 | 236.3433 | 22.434 | 882 | 85.7 | 9.0333
2019-06-08 21:45:00 | 2.5633 | 140.7133 | 2.9433 | 154.63 | 4.8133 | 354.4 | 4.8033 | 4.4067 | 22.5273 | 882 | 84.9067 | 4.3247
2019-06-08 22:00:00 | 2.2567 | 2.02 | 2.5967 | 2.2167 | 4.28 | 128.2667 | 4.15 | 11.9533 | 22.3967 | 882 | 85.3333 | 3.7373
2019-06-08 22:15:00 | 2.26 | 124.9433 | 2.5967 | 137.3 | 4.2233 | 230.71 | 4.14 | 5.7 | 22.2373 | 882 | 85.6 | 4.3993
2019-06-08 22:30:00 | 2.1933 | 317.8633 | 2.5233 | 349.3 | 4.2967 | 7.89 | 4.3667 | 13.12 | 22.14 | 882 | 86 | 7.176
2019-06-08 22:45:00 | 2.48 | 31.1967 | 2.86 | 34.2733 | 4.7333 | 17.202 | 4.78 | 4.4233 | 21.9233 | 882 | 88.1333 | 9.486
2019-06-08 23:00:00 | 2.8 | 14.492 | 3.228 | 15.916 | 5.018 | 130.372 | 4.976 | 2.788 | 21.846 | 882 | 88.44 | 14.1413
2019-06-08 23:15:00 | 2.9 | 54.752 | 3.334 | 60.152 | 5.374 | 1.908 | 5.43 | 13.378 | 21.832 | 882 | 88.56 | 13.218
2019-06-08 23:30:00 | 2.74 | 92.2133 | 3.1633 | 101.3267 | 4.81 | 5.32 | 4.8233 | 8.6033 | 21.764 | 882 | 89.0667 | 12.936
2019-06-08 23:45:00 | 2.7267 | 306.3367 | 3.14 | 336.6333 | 4.82 | 117.2067 | 4.9433 | 8.0767 | 21.65 | 882 | 90.0667 | 14.54