## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-09 00:00:00 | 3.2629 | 297.6986 | 3.755 | 327.1286 | 5.2314 | 130.085 | 5.5921 | 18.9536 | 21.655 | 882 | 89.8143 | 14.2836
2019-06-09 00:15:00 | 3.4667 | 117.39 | 3.99 | 128.9967 | 6.1067 | 25.1033 | 6.34 | 17.6533 | 21.6747 | 882 | 88.2333 | 14.0047
2019-06-09 00:30:00 | 3.5067 | 144.0833 | 4.0367 | 158.33 | 6.2467 | 13.13 | 6.28 | 14.44 | 21.692 | 882 | 87.3667 | 13.66
2019-06-09 00:45:00 | 3.2133 | 127.8767 | 3.6933 | 140.5267 | 5.66 | 121.4267 | 5.74 | 18.8867 | 21.6307 | 882 | 86.9333 | 11.3653
2019-06-09 01:00:00 | 3.3133 | 174.1167 | 3.8133 | 191.3333 | 5.8667 | 122.2533 | 6.1933 | 8.2267 | 21.5467 | 882 | 87.3333 | 14.2187
2019-06-09 01:15:00 | 3.5933 | 23.26 | 4.13 | 25.5567 | 5.7133 | 241.7167 | 5.7133 | 17.3133 | 21.4233 | 882 | 87.8067 | 20.95
2019-06-09 01:30:00 | 3.6267 | 26.7667 | 4.17 | 29.41 | 6.44 | 19.2767 | 6.7933 | 11.58 | 21.3367 | 882 | 88.7 | 26.6587
2019-06-09 01:45:00 | 3.9133 | 298.6 | 4.5133 | 328.1333 | 7.2473 | 12.3367 | 7.2833 | 23.4733 | 21.07 | 882 | 90.4667 | 30.318
2019-06-09 02:00:00 | 4.18 | 105.1667 | 4.8133 | 115.5667 | 7.4433 | 19.3167 | 7.6233 | 22 | 20.9167 | 882 | 91.44 | 29.2667
2019-06-09 02:15:00 | 3.9373 | 271.6387 | 4.5347 | 298.4967 | 6.236 | 14.9827 | 6.3807 | 29.3933 | 20.9947 | 881.9333 | 90.48 | 28.3307
2019-06-09 02:30:00 | 3.88 | 99.5733 | 4.4633 | 109.4133 | 6.71 | 14.5167 | 6.8667 | 20.07 | 20.8767 | 881 | 91 | 30.88
2019-06-09 02:45:00 | 4.2433 | 191.1067 | 4.8767 | 210 | 7.3933 | 117.0867 | 7.63 | 12.1867 | 20.7893 | 881 | 91.2067 | 27.3
2019-06-09 03:00:00 | 4.1833 | 31.2533 | 4.8167 | 34.3333 | 7.3733 | 114.3 | 7.486 | 15.4867 | 20.796 | 881 | 90.7667 | 25.2147
2019-06-09 03:15:00 | 4.5067 | 253.5533 | 5.19 | 278.6333 | 7.89 | 356.9 | 7.62 | 12.0933 | 20.8393 | 881 | 90.1 | 26.3227
2019-06-09 03:30:00 | 4.24 | 100.3933 | 4.8833 | 110.3133 | 7.3167 | 122.32 | 7.3 | 10.3467 | 20.794 | 881 | 90.2333 | 30.2313
2019-06-09 03:45:00 | 4.72 | 288.74 | 5.4333 | 317.3 | 7.91 | 4.3567 | 8.05 | 17.45 | 20.6727 | 881 | 90.3667 | 29.3567
2019-06-09 04:00:00 | 4.7867 | 302.9467 | 5.52 | 332.9 | 7.9767 | 5.95 | 8.414 | 14.0767 | 20.714 | 881 | 89.9 | 28.404
2019-06-09 04:15:00 | 4.87 | 317.4133 | 5.6 | 348.8 | 7.43 | 7.4833 | 7.92 | 25.27 | 20.6573 | 881 | 90.6333 | 26.0533
2019-06-09 04:30:00 | 4.4633 | 307.34 | 5.1333 | 337.7333 | 7.7167 | 10.81 | 7.7267 | 15.31 | 20.5733 | 881 | 91.1667 | 24.77
2019-06-09 04:45:00 | 4.656 | 17.0513 | 5.3613 | 18.7407 | 7.858 | 18.228 | 7.8453 | 16.2747 | 20.3567 | 881 | 92.4333 | 26.48
2019-06-09 05:00:00 | 4.74 | 21.7633 | 5.4667 | 23.91 | 7.9 | 15.0733 | 8.2867 | 14.4533 | 20.22 | 881 | 93.4667 | 31.1467
2019-06-09 05:15:00 | 4.82 | 221.8267 | 5.5533 | 243.7667 | 8.5467 | 14.4867 | 8.4867 | 20.3567 | 20 | 881 | 94.7 | 30.7307
2019-06-09 05:30:00 | 4.7867 | 60.12 | 5.5067 | 66.0667 | 8.3 | 13.0267 | 8.28 | 16.9233 | 19.8533 | 881 | 95.34 | 32.1793
2019-06-09 05:45:00 | 5.1667 | 52.9633 | 5.9533 | 58.1933 | 8.9967 | 16.3167 | 9.0033 | 11.78 | 19.8367 | 881 | 95.1333 | 33.8367
2019-06-09 06:00:00 | 4.9867 | 62.1633 | 5.74 | 68.3067 | 9.2633 | 14.6767 | 9.3567 | 19.72 | 19.79 | 881 | 95.2667 | 37.55
2019-06-09 06:15:00 | 4.7533 | 147.8533 | 5.4667 | 162.4667 | 8.76 | 14.4933 | 8.6867 | 19.65 | 19.7067 | 881 | 95.8667 | 39.9147
2019-06-09 06:30:00 | 5.1267 | 264.1467 | 5.9067 | 290.2667 | 8.5533 | 14.6533 | 8.8467 | 16.77 | 19.66 | 881 | 96.2 | 41.1333
2019-06-09 06:45:00 | 5 | 91.9767 | 5.7467 | 101.0667 | 8.49 | 20.5767 | 8.72 | 7.49 | 19.644 | 881 | 96.0667 | 37.5213
2019-06-09 07:00:00 | 4.84 | 304.8233 | 5.5667 | 334.9667 | 8.0233 | 27.0567 | 8.0133 | 11.09 | 19.592 | 881 | 96.3333 | 35.6353
2019-06-09 07:15:00 | 4.62 | 33.2467 | 5.3233 | 36.5233 | 8.2333 | 13.7633 | 8.1767 | 16.1367 | 19.5187 | 881 | 96.9333 | 38.6113
2019-06-09 07:30:00 | 4.4733 | 33.7133 | 5.1433 | 37.0433 | 8.6267 | 14.3767 | 8.89 | 22.2567 | 19.496 | 881 | 97.4 | 44.664
2019-06-09 07:45:00 | 5.4 | 65.8167 | 6.2167 | 72.32 | 10.0167 | 16.6533 | 10.2067 | 17.6433 | 19.5347 | 881 | 97.1333 | 47.5413
2019-06-09 08:00:00 | 5.7 | 93.77 | 6.5567 | 103.04 | 10.2433 | 16.38 | 10.34 | 25.9233 | 19.66 | 881 | 96.0667 | 49.1947
2019-06-09 08:15:00 | 5.2533 | 11.62 | 6.0533 | 12.7633 | 9.27 | 2.66 | 9.2333 | 18.92 | 19.7833 | 881 | 95.3667 | 48.266
2019-06-09 08:30:00 | 5.2533 | 171.3467 | 6.0533 | 188.2967 | 9.11 | 9.66 | 9.34 | 14.2267 | 19.9367 | 881.4 | 94.5 | 47.1213
2019-06-09 08:45:00 | 5.22 | 122.08 | 6.0133 | 134.1467 | 9.1933 | 12.0667 | 9.04 | 15.2467 | 20.1133 | 882 | 93.3333 | 45.8873
2019-06-09 09:00:00 | 5.1267 | 104.2133 | 5.9 | 114.5067 | 8.7667 | 12.1467 | 8.7067 | 11.92 | 20.3067 | 882 | 92.5333 | 46.7693
2019-06-09 09:15:00 | 5.4267 | 218.8933 | 6.2433 | 240.5433 | 9.3967 | 13.8367 | 9.3967 | 13.9233 | 20.6767 | 882 | 91.6333 | 47.058
2019-06-09 09:30:00 | 5.0933 | 36.8467 | 5.8567 | 40.49 | 9.354 | 5.9433 | 9.4167 | 9.6967 | 21.07 | 882 | 90.8333 | 45.6033
2019-06-09 09:45:00 | 5.6733 | 91.7533 | 6.5233 | 100.8267 | 9.66 | 240.1333 | 9.4667 | 14.9933 | 21.6767 | 882 | 88.1333 | 47.7913
2019-06-09 10:00:00 | 6.1133 | 87.8533 | 7.0367 | 96.5333 | 10.7133 | 9.9133 | 10.36 | 16.9667 | 21.9567 | 882 | 86.5333 | 44.8267
2019-06-09 10:15:00 | 5.6867 | 221.19 | 6.54 | 243.0667 | 10.45 | 6.3 | 10.22 | 10.02 | 22.1813 | 882 | 85.8667 | 40.248
2019-06-09 10:30:00 | 5.5667 | 28.9367 | 6.4 | 31.7933 | 9.7033 | 21.6267 | 9.1933 | 17.0467 | 22.7667 | 882 | 83.2667 | 35.372
2019-06-09 10:45:00 | 5.06 | 133.8233 | 5.8233 | 147.06 | 8.5567 | 15.77 | 7.68 | 16.0867 | 23.3267 | 882.7333 | 80.6933 | 36.538
2019-06-09 11:00:00 | 5.0467 | 269.57 | 5.8033 | 296.2333 | 8.95 | 23.27 | 7.94 | 16.4733 | 23.9 | 883 | 79.6067 | 41.342
2019-06-09 11:15:00 | 5.7467 | 153.97 | 6.6167 | 169.1967 | 10.13 | 16.1833 | 9.6533 | 15.2967 | 24.2387 | 883 | 78.0267 | 42.36
2019-06-09 11:30:00 | 5.5733 | 30.8767 | 6.41 | 33.93 | 10.01 | 18.4767 | 9.7067 | 17.8367 | 24.7 | 883 | 76.6533 | 40.0727
2019-06-09 11:45:00 | 5.46 | 100.6233 | 6.28 | 110.5667 | 9.61 | 18.1867 | 9.1067 | 26.7533 | 25.24 | 883 | 73.0767 | 37.8547
2019-06-09 12:00:00 | 5.0867 | 316.1367 | 5.8533 | 347.4 | 8.8167 | 22.3133 | 8.2933 | 64.4333 | 25.5 | 883 | 70.9833 | 37.364
2019-06-09 12:15:00 | 5.8667 | 61.7933 | 6.7567 | 67.9 | 10.1667 | 15.2733 | 9.6233 | 13.95 | 25.61 | 883 | 70.4533 | 36.4553
2019-06-09 12:30:00 | 5.8733 | 245.2467 | 6.7567 | 269.5 | 9.9467 | 20.2133 | 9.69 | 13.03 | 26.2233 | 883 | 68.3467 | 29.8313
2019-06-09 12:45:00 | 4.98 | 73.5233 | 5.7267 | 80.7933 | 8.5933 | 240.65 | 8.31 | 18.65 | 25.99 | 883 | 69.2233 | 28.3913
2019-06-09 13:00:00 | 5.1467 | 154.5233 | 5.92 | 169.7933 | 9.2267 | 15.0633 | 8.97 | 23.1967 | 26.29 | 883 | 69.8967 | 31.918
2019-06-09 13:15:00 | 5.66 | 193.9 | 6.5133 | 213.0767 | 10.1367 | 35.5767 | 10.17 | 31.9833 | 26.9667 | 883 | 66.8467 | 30.7447
2019-06-09 13:30:00 | 5.62 | 115.8333 | 6.4667 | 127.2767 | 10.0567 | 17.1767 | 10.17 | 13.8433 | 27.032 | 883 | 64.5533 | 26.7687
2019-06-09 13:45:00 | 5.1533 | 135.6967 | 5.93 | 149.12 | 9.12 | 17.7933 | 9.0967 | 20.66 | 27.2667 | 883 | 62.4667 | 22.8607
2019-06-09 14:00:00 | 5.2733 | 76.9167 | 6.0767 | 84.52 | 9.3933 | 15.8 | 8.91 | 20.5467 | 27.228 | 883 | 62.1267 | 19.2727
2019-06-09 14:15:00 | 4.42 | 148.4733 | 5.0867 | 163.1467 | 7.6467 | 21.0333 | 7.2867 | 24.21 | 27.01 | 883 | 62.36 | 16.88
2019-06-09 14:30:00 | 4.176 | 76.15 | 4.806 | 83.676 | 7.536 | 7.066 | 7.238 | 23.74 | 26.964 | 883 | 63.032 | 13.1927
2019-06-09 14:45:00 | 3.68 | 110.7367 | 4.24 | 121.6867 | 6.5467 | 22.21 | 6.3393 | 39.95 | 27.6767 | 883.0667 | 62 | 10.5
2019-06-09 15:00:00 | 3.2933 | 5.1033 | 3.7867 | 5.5933 | 5.98 | 14.9367 | 5.7433 | 23.7567 | 27.39 | 884 | 62.5933 | 7.388
2019-06-09 15:15:00 | 2.79 | 125.5367 | 3.2067 | 137.9467 | 5.2 | 7.3033 | 4.9233 | 11.2967 | 26.982 | 883.9333 | 64.29 | 7.818
2019-06-09 15:30:00 | 2.89 | 21.75 | 3.3333 | 23.8933 | 5.1467 | 20.6967 | 4.85 | 23.1833 | 27.25 | 883 | 63.7167 | 9.8247
2019-06-09 15:45:00 | 3.5287 | 167.9653 | 4.0593 | 184.568 | 6.4707 | 22.4713 | 6.402 | 31.2673 | 27.0187 | 883 | 64.4267 | 10.2013
2019-06-09 16:00:00 | 3.4267 | 218.7733 | 3.9467 | 240.4 | 6.3933 | 21.45 | 6.3033 | 23.1133 | 27.048 | 883 | 64.7633 | 8.2927
2019-06-09 16:15:00 | 2.4433 | 292.0933 | 2.8133 | 320.9667 | 4.6667 | 19.85 | 4.93 | 24.8867 | 26.2133 | 883 | 66.57 | 6.5893
2019-06-09 16:30:00 | 2.35 | 213.76 | 2.7067 | 234.9 | 4.52 | 35.51 | 4.21 | 29.3733 | 25.3867 | 882.6 | 68.83 | 3.878
2019-06-09 16:45:00 | 2.03 | 229.5633 | 2.34 | 252.2667 | 4.0233 | 30.72 | 4.0567 | 32.7 | 25.12 | 882 | 71.38 | 3.11
2019-06-09 17:00:00 | 1.9567 | 285.0167 | 2.26 | 313.2 | 3.7767 | 9.36 | 3.9567 | 30 | 25.064 | 882 | 71.1933 | 4.352
2019-06-09 17:15:00 | 1.7367 | 255.9333 | 2 | 281.2333 | 3.42 | 21.4733 | 3.6867 | 25.4133 | 25.0507 | 882 | 71.8133 | 4.0513
2019-06-09 17:30:00 | 1.7233 | 154.0667 | 1.98 | 169.3 | 3.4133 | 27.8867 | 3.4067 | 25.8067 | 25.076 | 882 | 72.1733 | 2.524
2019-06-09 17:45:00 | 1.2833 | 112.552 | 1.4733 | 123.6833 | 2.4833 | 19.5033 | 2.6733 | 32.54 | 25.2367 | 882 | 71.25 | 2.5207
2019-06-09 18:00:00 | 1.1767 | 22.5 | 1.3533 | 24.73 | 2.23 | 14.7433 | 2.6667 | 31.2133 | 25.4233 | 882 | 71.39 | 1.734
2019-06-09 18:15:00 | 1.56 | 195.1 | 1.8 | 214.3967 | 2.9333 | 351.7333 | 3.1767 | 13.12 | 25.3267 | 882 | 71.44 | 1.4707
2019-06-09 18:30:00 | 1.7067 | 225.4333 | 1.9667 | 247.73 | 3.08 | 116.7667 | 3.1967 | 14.3 | 24.8333 | 882 | 71.38 | 2.3287
2019-06-09 18:45:00 | 1.52 | 293.09 | 1.7567 | 322.0667 | 2.82 | 7.6433 | 3.1233 | 29.6767 | 24.36 | 882 | 71.8867 | 1.966
2019-06-09 19:00:00 | 1.5067 | 292.2367 | 1.7367 | 321.1333 | 2.42 | 234.7367 | 2.7767 | 22.17 | 24.1 | 882 | 71.56 | 1.2913
2019-06-09 19:15:00 | 1.5133 | 299.5133 | 1.75 | 329.1333 | 2.3833 | 219.2467 | 2.41 | 25.9833 | 23.81 | 881.9333 | 70.6867 | 0.48933
2019-06-09 19:30:00 | 1.6867 | 305.4 | 1.9433 | 335.6 | 2.0033 | 8.62 | 2.0967 | 55.6567 | 23.6633 | 881 | 72.0133 | 0.192
2019-06-09 19:45:00 | 2.04 | 301.7833 | 2.3433 | 331.6333 | 2.2233 | 355.6333 | 1.84 | 50.4033 | 23.5467 | 881 | 73.0833 | 0
2019-06-09 20:00:00 | 2.2733 | 303.6633 | 2.6167 | 333.7 | 2.61 | 333.9667 | 1.98 | 8.7233 | 23.3333 | 881 | 73.9633 | 0
2019-06-09 20:15:00 | 2.21 | 288.4367 | 2.54 | 316.9667 | 2.55 | 329.2467 | 2.31 | 243.5267 | 23.0887 | 881 | 74.5367 | 0
2019-06-09 20:30:00 | 2.2967 | 303.55 | 2.6467 | 333.5667 | 2.7633 | 118.1467 | 2.81 | 22.4267 | 22.9967 | 881.4 | 74.0367 | 0
2019-06-09 20:45:00 | 2.4 | 196.77 | 2.76 | 216.2333 | 3.0933 | 356.0333 | 3.3333 | 23.2633 | 22.918 | 881.3333 | 73.56 | 0.642
2019-06-09 21:00:00 | 2.44 | 210.7233 | 2.8133 | 231.5667 | 3.6133 | 348.7 | 3.52 | 240.4233 | 22.7233 | 882 | 75.12 | 1.4367
2019-06-09 21:15:00 | 2.12 | 322.14 | 2.4367 | 354 | 3.1667 | 227.33 | 3.59 | 12.6967 | 22.58 | 882 | 74.16 | 2.3733
2019-06-09 21:30:00 | 2.3133 | 309.5867 | 2.6567 | 340.2 | 3.2933 | 6.7433 | 3.97 | 26.0767 | 22.564 | 882 | 72.3667 | 1.1673
2019-06-09 21:45:00 | 2.2467 | 309.9733 | 2.58 | 340.6333 | 3.2733 | 12.44 | 3.5267 | 20.6333 | 22.5493 | 882 | 71.46 | 0.50867
2019-06-09 22:00:00 | 2.34 | 309.44 | 2.6867 | 340.0333 | 3.2067 | 8.9267 | 3.4267 | 15.34 | 22.508 | 882 | 71.908 | 0.34267
2019-06-09 22:15:00 | 2.6 | 293.33 | 2.99 | 322.3333 | 3.3567 | 1.2467 | 3.42 | 8.7 | 22.6373 | 882 | 71.7933 | 0.442
2019-06-09 22:30:00 | 2.6 | 300.4233 | 3.0033 | 330.1333 | 3.1633 | 3.5 | 3.48 | 8.0067 | 22.596 | 882 | 72.5467 | 0
2019-06-09 22:45:00 | 2.1933 | 315.8 | 2.5233 | 347.0333 | 2.97 | 259.86 | 3.0333 | 7.32 | 22.5447 | 882 | 73.5967 | 0
2019-06-09 23:00:00 | 0.80667 | 101.74 | 0.93 | 111.8 | 1.4233 | 22.2933 | 1.6733 | 11.66 | 22.3033 | 882 | 76.0567 | 0
2019-06-09 23:15:00 | 0.02 | 240.97 | 0.02 | 264.8 | 0.026667 | 355.1 | 0.15667 | 8.46 | 22.1733 | 882 | 77.82 | 0
2019-06-09 23:30:00 | 0.21333 | 240.97 | 0.24667 | 264.8 | 0.42667 | 355.1 | 0.37 | 8.46 | 22.0933 | 882 | 75.9133 | 0
2019-06-09 23:45:00 | 0.86 | 249.346 | 0.99333 | 274.0067 | 1.72 | 13.3133 | 1.3833 | 23.7413 | 21.98 | 882 | 75.2033 | 0