## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-10 00:00:00 | 0.95786 | 300.505 | 1.1107 | 330.2286 | 1.8643 | 24.1157 | 1.6529 | 22.3136 | 21.9364 | 882 | 75.2285 | 0
2019-06-10 00:15:00 | 1.7233 | 315.98 | 1.98 | 347.2333 | 2.92 | 16.0667 | 2.8933 | 24.1333 | 21.6433 | 882 | 76.9267 | 0
2019-06-10 00:30:00 | 2.59 | 104.6533 | 2.98 | 115 | 3.8467 | 13.9 | 3.8133 | 8.6933 | 21.3767 | 882 | 79.4867 | 0.576
2019-06-10 00:45:00 | 2.5633 | 318.0233 | 2.9567 | 349.4667 | 3.7267 | 9.7933 | 3.7867 | 5.4567 | 21.0633 | 882 | 80.8333 | 0.27933
2019-06-10 01:00:00 | 2.27 | 319.9033 | 2.61 | 351.5333 | 3.36 | 7.54 | 3.3733 | 12.2633 | 20.9767 | 882 | 83.9 | 0.008667
2019-06-10 01:15:00 | 2.2 | 318.32 | 2.54 | 349.8 | 3.1767 | 122.66 | 2.9933 | 12.64 | 20.9587 | 882 | 86.3667 | 0
2019-06-10 01:30:00 | 2.0267 | 318.92 | 2.3467 | 350.4667 | 2.8433 | 119.4333 | 2.7867 | 15.78 | 21.016 | 881.6 | 86.6333 | 0
2019-06-10 01:45:00 | 2.1967 | 305.4533 | 2.5267 | 335.6667 | 3.21 | 8.9633 | 3.15 | 22.77 | 20.978 | 881 | 87.3667 | 0.15067
2019-06-10 02:00:00 | 2.3167 | 303.94 | 2.6667 | 334 | 3.61 | 8.41 | 3.61 | 18.8633 | 20.7967 | 881 | 88.2333 | 0
2019-06-10 02:15:00 | 2.6367 | 305.8933 | 3.0333 | 336.1333 | 3.6367 | 1.9633 | 3.43 | 23.3767 | 20.64 | 881 | 89 | 0
2019-06-10 02:30:00 | 2.85 | 105.8 | 3.2867 | 116.26 | 3.75 | 7.5833 | 3.7033 | 17.69 | 20.5133 | 881 | 89.5333 | 0
2019-06-10 02:45:00 | 2.48 | 315.6833 | 2.85 | 346.9 | 3.0133 | 0.73 | 3.14 | 8.8133 | 20.4253 | 881 | 88.4 | 0
2019-06-10 03:00:00 | 2.2 | 311.3767 | 2.53 | 342.1667 | 2.6867 | 0.15 | 3.0667 | 14.58 | 20.44 | 881 | 88.8667 | 0
2019-06-10 03:15:00 | 2.3133 | 308.8033 | 2.6567 | 339.3333 | 3.1033 | 0.84333 | 2.8467 | 4.8667 | 20.3167 | 881 | 89.5 | 0
2019-06-10 03:30:00 | 2.12 | 318.8167 | 2.4367 | 350.3333 | 2.95 | 0.16333 | 2.5667 | 1.7867 | 20.1433 | 881 | 90.3667 | 0
2019-06-10 03:45:00 | 2.4067 | 216.3133 | 2.7733 | 237.7067 | 3.3367 | 6.4767 | 2.8367 | 9.9433 | 20.0113 | 881 | 91.7333 | 0
2019-06-10 04:00:00 | 2.9333 | 222.8133 | 3.3733 | 244.84 | 4.1367 | 3.89 | 3.9767 | 8.19 | 19.6767 | 881 | 93 | 1.4707
2019-06-10 04:15:00 | 2.9233 | 309.71 | 3.36 | 340.3333 | 4.2833 | 4.52 | 4.4167 | 7.9567 | 19.5093 | 881 | 94.2 | 1.454
2019-06-10 04:30:00 | 3.1967 | 108.9367 | 3.6867 | 119.7067 | 4.1033 | 9.04 | 4.2767 | 8.9567 | 19.492 | 880.6 | 94.44 | 1.828
2019-06-10 04:45:00 | 2.9733 | 103.3467 | 3.42 | 113.5667 | 4.7167 | 1.3133 | 4.75 | 10.0967 | 19.4047 | 880 | 94.6667 | 1.82
2019-06-10 05:00:00 | 2.9333 | 299.7 | 3.3733 | 329.3333 | 4.47 | 3.4667 | 4.5367 | 9.43 | 19.23 | 880 | 95.4667 | 0
2019-06-10 05:15:00 | 3.4133 | 308.8567 | 3.9267 | 339.4 | 4.1567 | 6.09 | 3.88 | 9.9033 | 19.5 | 880 | 94.5 | 0.592
2019-06-10 05:30:00 | 3.2533 | 319.7767 | 3.74 | 351.4 | 4.5367 | 13.61 | 4.3267 | 17.65 | 19.48 | 880 | 94.1 | 2.722
2019-06-10 05:45:00 | 2.8833 | 300.3 | 3.3267 | 330 | 4.3833 | 12.57 | 4.6333 | 9.71 | 19.15 | 880 | 95.5333 | 4.6273
2019-06-10 06:00:00 | 3.0567 | 100.9933 | 3.5133 | 110.98 | 5.11 | 7.8433 | 5.5533 | 15.9033 | 18.8633 | 880 | 96.6 | 6.3853
2019-06-10 06:15:00 | 3.58 | 216.6033 | 4.12 | 238.0233 | 5.73 | 8.14 | 5.9767 | 13.99 | 18.6833 | 880.7333 | 97.7333 | 8.2227
2019-06-10 06:30:00 | 3.42 | 193.07 | 3.9333 | 212.1567 | 5.3633 | 5.8533 | 5.9367 | 21.6233 | 18.642 | 881 | 98.1333 | 9.716
2019-06-10 06:45:00 | 3.26 | 19.2133 | 3.7567 | 21.11 | 5.26 | 240.3033 | 6.0933 | 18.7467 | 18.6627 | 881 | 98.2667 | 8.17
2019-06-10 07:00:00 | 2.72 | 13.6467 | 3.13 | 14.9833 | 4.4867 | 10.9033 | 5.0333 | 17.0133 | 18.9467 | 881 | 97.7333 | 4.4247
2019-06-10 07:15:00 | 3.0533 | 92.2433 | 3.51 | 101.3667 | 4.16 | 5.12 | 4.76 | 12.7767 | 19.47 | 881 | 95.2667 | 2.3307
2019-06-10 07:30:00 | 2.66 | 110.73 | 3.0567 | 121.68 | 4.34 | 4.08 | 4.76 | 8.79 | 20.01 | 881.4 | 93.4667 | 1.3087
2019-06-10 07:45:00 | 2.56 | 237.7733 | 2.95 | 261.2867 | 4.3767 | 9.5033 | 4.5293 | 11.3 | 20.3033 | 882 | 92 | 1.9207
2019-06-10 08:00:00 | 2.8133 | 53.9733 | 3.2367 | 59.3067 | 5.4567 | 16.4367 | 5.3333 | 20.3733 | 20.4633 | 882 | 92.0667 | 8.214
2019-06-10 08:15:00 | 3.3633 | 324.858 | 3.8767 | 356.9867 | 6.56 | 14.0167 | 6.4867 | 21.5033 | 20.502 | 882.0667 | 92.2667 | 14.9473
2019-06-10 08:30:00 | 3.8567 | 112.5367 | 4.4433 | 123.6667 | 7.0733 | 11.83 | 6.8 | 14.5167 | 20.41 | 883 | 92.0667 | 18.0907
2019-06-10 08:45:00 | 3.6733 | 212.23 | 4.23 | 233.2167 | 6.71 | 13.46 | 6.5333 | 19.83 | 20.2633 | 883 | 92.5 | 15.0093
2019-06-10 09:00:00 | 3.4267 | 189.67 | 3.9433 | 208.4167 | 6.2567 | 11.8733 | 6.0867 | 18.39 | 21.1567 | 883 | 90.6333 | 10.8427
2019-06-10 09:15:00 | 3.2667 | 310.8867 | 3.7533 | 341.6333 | 5.5833 | 7.4167 | 5.66 | 8.5867 | 22.2167 | 883 | 86.6 | 9.852
2019-06-10 09:30:00 | 3.5733 | 155.2267 | 4.1067 | 170.5733 | 5.71 | 2.93 | 5.7867 | 12.9267 | 23.1233 | 883 | 83.0667 | 6.692
2019-06-10 09:45:00 | 3.3867 | 180.94 | 3.8967 | 198.8333 | 5.6367 | 5.27 | 5.57 | 14.1433 | 23.45 | 883.7333 | 81.7 | 4.778
2019-06-10 10:00:00 | 3.3267 | 59.7267 | 3.8233 | 65.6333 | 5.7233 | 12.3633 | 5.6367 | 13.4967 | 24.1967 | 884 | 79.7 | 2.8787
2019-06-10 10:15:00 | 3.32 | 24.6933 | 3.8233 | 27.14 | 5.7633 | 130.6267 | 5.8 | 16.44 | 24.8387 | 884 | 77.8133 | 2.0813
2019-06-10 10:30:00 | 2.9867 | 6.3467 | 3.4433 | 6.9733 | 5.3833 | 134.64 | 5.4333 | 15.7733 | 24.7 | 884 | 77.9733 | 1.2747
2019-06-10 10:45:00 | 2.8 | 193.84 | 3.2233 | 213.0067 | 4.9867 | 12.7367 | 5.1833 | 15.8867 | 24.5513 | 884 | 79.4067 | 1.3633
2019-06-10 11:00:00 | 2.9467 | 4.3467 | 3.39 | 4.78 | 5.1467 | 10.47 | 5.0833 | 9.9933 | 24.6033 | 884 | 79.18 | 0.91933
2019-06-10 11:15:00 | 2.5733 | 221.8433 | 2.9667 | 243.78 | 4.6 | 9.6867 | 4.4667 | 14.3533 | 24.9467 | 884.0667 | 78.2933 | 0
2019-06-10 11:30:00 | 2.2867 | 215.9633 | 2.6333 | 237.3133 | 3.82 | 4.08 | 3.54 | 2.0133 | 25.124 | 885 | 77.48 | 0
2019-06-10 11:45:00 | 1.6867 | 11.31 | 1.95 | 12.42 | 2.76 | 5.1567 | 2.81 | 15.1533 | 25.43 | 885 | 76.5967 | 0
2019-06-10 12:00:00 | 1.2267 | 216.8767 | 1.4167 | 238.32 | 1.6467 | 7.3567 | 1.6367 | 17.7 | 25.39 | 885 | 73.71 | 0
2019-06-10 12:15:00 | 1.0267 | 78.2367 | 1.18 | 85.9667 | 1.66 | 44.7567 | 1.5667 | 48.6033 | 25.69 | 884.2667 | 73.7 | 0
2019-06-10 12:30:00 | 0.59333 | 121.55 | 0.69333 | 133.5667 | 0.92667 | 27.69 | 0.91333 | 89.4567 | 25.77 | 884.4 | 72.1333 | 0
2019-06-10 12:45:00 | 1.8267 | 147.0267 | 2.1033 | 161.5667 | 2.01 | 158.5667 | 1.8467 | 173.0333 | 24.9867 | 884.2667 | 77.6933 | 0
2019-06-10 13:00:00 | 1.7333 | 158.2467 | 1.9967 | 173.9 | 1.9633 | 168.8333 | 1.7867 | 173.0333 | 24.96 | 884 | 81.0333 | 0
2019-06-10 13:15:00 | 2.2493 | 156.758 | 2.5933 | 172.2533 | 2.6587 | 173.18 | 2.442 | 173.9533 | 24.39 | 884 | 83.2933 | 0
2019-06-10 13:30:00 | 2.1467 | 144.8533 | 2.47 | 159.1667 | 2.6633 | 174.8333 | 2.42 | 183.1667 | 23.67 | 884 | 85.8667 | 0
2019-06-10 13:45:00 | 1.1333 | 110.09 | 1.3033 | 120.9667 | 1.6167 | 125.5 | 1.8667 | 123.2333 | 23.27 | 884 | 86.1667 | 0
2019-06-10 14:00:00 | 0.29333 | 110.6967 | 0.34333 | 121.6333 | 0.43667 | 111.9667 | 0.97333 | 114.7 | 23.174 | 883.6 | 84.5667 | 0
2019-06-10 14:15:00 | 0.18667 | 175 | 0.22667 | 192.3 | 0.29333 | 212.2667 | 0.36 | 150.3667 | 23.31 | 883 | 84 | 0
2019-06-10 14:30:00 | 1.44 | 299.66 | 1.6667 | 329.3 | 2.4267 | 299.9333 | 1.9867 | 307.7667 | 23.2567 | 883 | 84.2 | 0
2019-06-10 14:45:00 | 2.3733 | 302.8533 | 2.74 | 332.8 | 3.1367 | 308.3467 | 2.5667 | 306.7333 | 22.6767 | 882.9333 | 83.4333 | 0
2019-06-10 15:00:00 | 2.5933 | 312.08 | 2.9867 | 342.9333 | 3.1233 | 112.54 | 2.96 | 118.82 | 22.2433 | 882 | 81.2333 | 0.28067
2019-06-10 15:15:00 | 3.8067 | 1.8067 | 4.3767 | 1.9867 | 5.29 | 8.2567 | 5.3167 | 247.79 | 21.8933 | 882 | 82.4667 | 8.4467
2019-06-10 15:30:00 | 3.4867 | 4.8267 | 4.01 | 5.3067 | 6.1367 | 12.7433 | 6.39 | 25.83 | 21.92 | 882 | 83.2667 | 14.2107
2019-06-10 15:45:00 | 2.8973 | 28.7847 | 3.3393 | 31.6273 | 5.5613 | 9.7253 | 5.834 | 16.1927 | 22.6833 | 882 | 82.68 | 11.8033
2019-06-10 16:00:00 | 2.66 | 213.1967 | 3.06 | 234.2733 | 4.7267 | 9.7933 | 5.14 | 22.05 | 22.948 | 882 | 80.5 | 8.384
2019-06-10 16:15:00 | 2.6333 | 318.3233 | 3.04 | 349.8 | 4.6833 | 9.6133 | 5.05 | 27.9367 | 22.7467 | 882 | 81.3 | 7.3547
2019-06-10 16:30:00 | 2.7667 | 290.4167 | 3.1867 | 319.1333 | 4.554 | 8.2533 | 4.69 | 23.6567 | 22.4267 | 882 | 81.7667 | 7.5093
2019-06-10 16:45:00 | 3.0933 | 127.38 | 3.56 | 139.9733 | 4.86 | 12.4233 | 4.9633 | 17.0333 | 22.1113 | 881.2667 | 83.7333 | 10.1407
2019-06-10 17:00:00 | 3.04 | 304.76 | 3.5 | 334.9 | 5.0467 | 17.7233 | 5.07 | 12.72 | 22.1767 | 881 | 85.2 | 8.682
2019-06-10 17:15:00 | 3.24 | 169.1933 | 3.7267 | 185.92 | 5.59 | 7.6167 | 5.5667 | 10.2967 | 22.49 | 881 | 85.2 | 7.226
2019-06-10 17:30:00 | 3.2933 | 10.44 | 3.7933 | 11.4667 | 5.37 | 7.0633 | 5.3933 | 11.6233 | 22.606 | 881 | 84.8 | 7.3767
2019-06-10 17:45:00 | 2.8367 | 23.3567 | 3.2633 | 25.6567 | 5.42 | 13.9067 | 5.3733 | 14.3167 | 22.9167 | 881 | 84.9333 | 8.4633
2019-06-10 18:00:00 | 2.8767 | 217.1767 | 3.3167 | 238.6433 | 5.5733 | 14.3733 | 5.4933 | 18.11 | 22.91 | 881 | 84.8 | 9.0867
2019-06-10 18:15:00 | 2.9467 | 117.7533 | 3.39 | 129.3867 | 5.416 | 12.76 | 5.5333 | 13.1067 | 22.45 | 881 | 86.4 | 8.1367
2019-06-10 18:30:00 | 2.9067 | 102.7467 | 3.35 | 112.9 | 4.6667 | 4.4667 | 4.88 | 13.56 | 22.01 | 881 | 87.8667 | 7.052
2019-06-10 18:45:00 | 2.73 | 103.0833 | 3.1367 | 113.2733 | 4.8633 | 6.2867 | 4.9267 | 21.3633 | 21.59 | 881 | 89.8333 | 8.1493
2019-06-10 19:00:00 | 2.6233 | 306.73 | 3.0167 | 337.0667 | 4.8033 | 10.7733 | 4.94 | 11.3833 | 21.3433 | 881 | 91.4333 | 7.26
2019-06-10 19:15:00 | 3.1533 | 188.78 | 3.6233 | 207.4467 | 5.0767 | 119.25 | 5.0593 | 14.9833 | 21.1433 | 881 | 91.94 | 7.934
2019-06-10 19:30:00 | 2.972 | 207.956 | 3.422 | 228.516 | 5.138 | 0.612 | 5.122 | 10.418 | 21.08 | 881 | 92.14 | 7.7093
2019-06-10 19:45:00 | 2.94 | 322.3933 | 3.3833 | 354.2667 | 5.1833 | 6.8667 | 5.3467 | 18.41 | 20.95 | 881 | 92.4933 | 8.164
2019-06-10 20:00:00 | 3.08 | 110.5867 | 3.55 | 121.52 | 5.3167 | 2.14 | 5.3667 | 16.4367 | 20.878 | 881 | 92.2667 | 9.5413
2019-06-10 20:15:00 | 3.5467 | 215.35 | 4.08 | 236.6467 | 5.2033 | 240.7933 | 5.2333 | 6.1867 | 20.84 | 881 | 91.7 | 8.412
2019-06-10 20:30:00 | 3.3333 | 217.0567 | 3.8333 | 238.5133 | 5.2033 | 240.1933 | 5.1133 | 12.2667 | 20.82 | 881 | 91.7 | 8.0647
2019-06-10 20:45:00 | 3.0467 | 213.5267 | 3.5 | 234.6433 | 5.0967 | 6.81 | 5.0067 | 247.4333 | 20.6733 | 881 | 92.0933 | 5.434
2019-06-10 21:00:00 | 3.0867 | 199.9467 | 3.5467 | 219.71 | 4.61 | 4.9367 | 4.6 | 15.7667 | 20.652 | 881 | 91.6667 | 0.764
2019-06-10 21:15:00 | 2.2533 | 269.7933 | 2.5933 | 296.4667 | 3.5 | 78.98 | 3.4467 | 88.2733 | 20.742 | 881.0667 | 90.3667 | 1.8407
2019-06-10 21:30:00 | 2.6267 | 173.02 | 3.02 | 190.1333 | 3.9667 | 229.8 | 4.1533 | 238.8667 | 20.9033 | 882 | 89.1 | 11.6447
2019-06-10 21:45:00 | 3.5333 | 188.9267 | 4.0633 | 207.6 | 5.6567 | 236.9333 | 6.0633 | 250.04 | 20.5767 | 882 | 92.1667 | 4.43
2019-06-10 22:00:00 | 2.358 | 266.732 | 2.716 | 293.1 | 3.5 | 278.76 | 3.842 | 263.9 | 20.106 | 882 | 94.88 | 0.03
2019-06-10 22:15:00 | 1.5733 | 266.75 | 1.8233 | 293.1333 | 2.76 | 325.9333 | 2.78 | 329.2667 | 20.0833 | 882 | 95.7933 | 0.966
2019-06-10 22:30:00 | 1.52 | 121.15 | 1.7633 | 133.1333 | 2.5267 | 340.0667 | 3.6267 | 334.6 | 19.81 | 882 | 97.4333 | 3.59
2019-06-10 22:45:00 | 2.4833 | 121.9967 | 2.8533 | 134.06 | 4.6867 | 116.5667 | 5.2333 | 352.8333 | 19.6067 | 882 | 98.5333 | 9.4787
2019-06-10 23:00:00 | 2.7433 | 138.3033 | 3.16 | 151.98 | 5.2333 | 117.94 | 5.4533 | 355.8333 | 19.5133 | 882 | 99.1333 | 3.42
2019-06-10 23:15:00 | 1.9467 | 218.48 | 2.24 | 240.0867 | 3.7633 | 16.69 | 3.9533 | 24.0933 | 19.44 | 882 | 99.5667 | 6.7773
2019-06-10 23:30:00 | 2.8267 | 191.2533 | 3.26 | 210.1533 | 5.3567 | 11.5833 | 5.4067 | 31.6733 | 19.36 | 882 | 99.8333 | 19.1373
2019-06-10 23:45:00 | 4.54 | 316.29 | 5.22 | 347.5667 | 7.85 | 349.4 | 7.6433 | 26.05 | 19.2493 | 882 | 99.9733 | 28.6867