## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-11 00:00:00 | 4.5 | 239.0614 | 5.18 | 262.6929 | 8.0121 | 136.3143 | 8.0236 | 8.7471 | 19.2079 | 882 | 100 | 27.4964
2019-06-11 00:15:00 | 4.1367 | 226.5133 | 4.76 | 248.91 | 7.12 | 230.86 | 6.8867 | 22.5433 | 19.1813 | 882 | 100 | 10.254
2019-06-11 00:30:00 | 3.0833 | 218.3867 | 3.5467 | 239.9767 | 5.3667 | 20.9933 | 5.3867 | 7.9633 | 19.156 | 882 | 100 | 5.096
2019-06-11 00:45:00 | 2.78 | 269.6 | 3.2067 | 296.2667 | 5.06 | 17.7233 | 5.0467 | 16.4733 | 19.0533 | 882 | 100 | 2.668
2019-06-11 01:00:00 | 1.8467 | 282.4133 | 2.1333 | 310.3333 | 3.46 | 20.8967 | 3.3467 | 18.0933 | 18.8667 | 882 | 100 | 4.8527
2019-06-11 01:15:00 | 2.7367 | 73.3833 | 3.1433 | 80.6333 | 5.3167 | 14.33 | 5.3267 | 10.0433 | 18.5067 | 882 | 100 | 8.4187
2019-06-11 01:30:00 | 3.3833 | 176.3033 | 3.89 | 193.7333 | 6.6033 | 17.9767 | 6.5933 | 20.2167 | 18.1533 | 882 | 100 | 30.8653
2019-06-11 01:45:00 | 4.6667 | 13 | 5.3667 | 14.29 | 8.2233 | 8.3767 | 8.41 | 15.38 | 17.8633 | 882 | 100 | 36.31
2019-06-11 02:00:00 | 4.4267 | 213.5467 | 5.1 | 234.67 | 7.95 | 16.4967 | 8.5033 | 17.5467 | 17.7633 | 882 | 100 | 30.97
2019-06-11 02:15:00 | 3.56 | 163.6867 | 4.0933 | 179.8667 | 6.8333 | 18.5967 | 7.5233 | 14.9033 | 17.668 | 882 | 100 | 28.2333
2019-06-11 02:30:00 | 3.6467 | 169.2667 | 4.1933 | 186 | 7.12 | 7.3367 | 7.6567 | 22.1633 | 17.628 | 881.6 | 100 | 29.5387
2019-06-11 02:45:00 | 4.0867 | 249.7333 | 4.7033 | 274.4333 | 7.4267 | 11.72 | 7.79 | 18.4867 | 17.57 | 881 | 100 | 26.9553
2019-06-11 03:00:00 | 3.64 | 262.6667 | 4.1833 | 288.6333 | 6.44 | 19.08 | 6.6633 | 17.0933 | 17.566 | 881 | 100 | 29.7313
2019-06-11 03:15:00 | 3.4333 | 189.79 | 3.9567 | 208.5533 | 5.9733 | 25.38 | 6.5067 | 29.1633 | 17.522 | 881 | 100 | 32.1453
2019-06-11 03:30:00 | 3.4467 | 226.97 | 3.97 | 249.42 | 5.684 | 9.1267 | 6.2733 | 19.0567 | 17.466 | 881 | 100 | 30.114
2019-06-11 03:45:00 | 3.8 | 58.9133 | 4.3833 | 64.74 | 6.9933 | 20.7067 | 7.5667 | 15.1833 | 17.4733 | 881 | 100 | 29.1527
2019-06-11 04:00:00 | 3.64 | 53.6933 | 4.1967 | 59 | 6.64 | 12.7667 | 7.1733 | 7.55 | 17.5267 | 881 | 100 | 27.7993
2019-06-11 04:15:00 | 3.33 | 218.46 | 3.8333 | 240.0667 | 6.2267 | 11.0233 | 6.8967 | 13.2067 | 17.5407 | 881 | 100 | 29.3167
2019-06-11 04:30:00 | 3.3633 | 67.4333 | 3.8667 | 74.1067 | 6.5067 | 14.9167 | 7.4233 | 20.3667 | 17.546 | 881 | 100 | 32.7067
2019-06-11 04:45:00 | 3.7167 | 135.9933 | 4.2767 | 149.4333 | 7.15 | 15.6967 | 8.03 | 27.04 | 17.518 | 881 | 100 | 32.394
2019-06-11 05:00:00 | 4.21 | 198.1667 | 4.8567 | 217.7667 | 7.9433 | 15.6967 | 8.71 | 23.7867 | 17.506 | 881 | 100 | 32.084
2019-06-11 05:15:00 | 3.2867 | 320.6367 | 3.7767 | 352.3333 | 6.3867 | 19.7233 | 6.86 | 23.0867 | 17.508 | 881 | 100 | 27.7547
2019-06-11 05:30:00 | 3.4533 | 267.3633 | 3.97 | 293.8 | 6.6267 | 14.0567 | 7.0733 | 17.7867 | 17.524 | 881 | 100 | 27.5913
2019-06-11 05:45:00 | 3.272 | 70.69 | 3.768 | 77.676 | 6.448 | 17.766 | 7.094 | 21.446 | 17.5373 | 881 | 100 | 31.9413
2019-06-11 06:00:00 | 3.3333 | 186.35 | 3.8333 | 204.7667 | 6.5333 | 17.11 | 7.6633 | 23.5433 | 17.54 | 881 | 100 | 30.202
2019-06-11 06:15:00 | 3.5133 | 173.1167 | 4.04 | 190.2333 | 6.8033 | 6.1833 | 7.3333 | 18.1767 | 17.5393 | 881 | 100 | 28.558
2019-06-11 06:30:00 | 3.4733 | 290.2033 | 3.9933 | 318.9 | 6.6967 | 10.0367 | 7.1933 | 20.8033 | 17.538 | 881 | 100 | 23.8
2019-06-11 06:45:00 | 3.2933 | 140.75 | 3.7833 | 154.6733 | 6.0633 | 132.54 | 6.6267 | 21.05 | 17.556 | 881 | 100 | 23.4687
2019-06-11 07:00:00 | 3.2133 | 317.3567 | 3.6967 | 348.7333 | 5.4967 | 148.9533 | 5.956 | 14.5633 | 17.536 | 881 | 100 | 24.4273
2019-06-11 07:15:00 | 3.1 | 114.18 | 3.5667 | 125.46 | 5.3067 | 118.9133 | 5.69 | 24.5633 | 17.5133 | 881 | 100 | 21.9053
2019-06-11 07:30:00 | 2.6867 | 292.2667 | 3.0867 | 321.1667 | 4.7067 | 125.3267 | 4.8833 | 22.5233 | 17.48 | 881.4 | 100 | 21.2993
2019-06-11 07:45:00 | 2.84 | 111.0867 | 3.2733 | 122.0667 | 5.2667 | 13.7067 | 5.7167 | 15.62 | 17.472 | 882 | 100 | 24.0733
2019-06-11 08:00:00 | 2.9067 | 230.3867 | 3.3467 | 253.1667 | 5.6133 | 3.9067 | 6.1967 | 21.0933 | 17.464 | 881.6 | 100 | 24.8187
2019-06-11 08:15:00 | 3.34 | 78.7933 | 3.84 | 86.5867 | 6.5567 | 9.1667 | 7.0033 | 21.5067 | 17.462 | 881.7333 | 100 | 25.44
2019-06-11 08:30:00 | 3.2667 | 89.2133 | 3.76 | 98.0267 | 6.37 | 11.6133 | 7.0967 | 16.7467 | 17.45 | 882 | 100 | 25.1433
2019-06-11 08:45:00 | 3.4267 | 164.3167 | 3.95 | 180.5667 | 6.5133 | 17.9333 | 7.02 | 21.67 | 17.4233 | 882 | 100 | 24.2507
2019-06-11 09:00:00 | 3.38 | 297.2967 | 3.89 | 326.7 | 6.4267 | 18.3067 | 7.0333 | 23.7433 | 17.446 | 882 | 100 | 21.9207
2019-06-11 09:15:00 | 3.1467 | 284.7733 | 3.6167 | 312.9333 | 6.18 | 16.1667 | 6.8333 | 26.0633 | 17.468 | 882 | 100 | 18.942
2019-06-11 09:30:00 | 2.9067 | 302.92 | 3.3433 | 332.8667 | 5.7667 | 5.96 | 6.36 | 12.11 | 17.508 | 882 | 100 | 23.9193
2019-06-11 09:45:00 | 3.12 | 40.9333 | 3.5867 | 44.9733 | 5.9733 | 12.79 | 6.2267 | 14.1767 | 17.5433 | 882 | 100 | 24.898
2019-06-11 10:00:00 | 3.4133 | 12.5067 | 3.9267 | 13.74 | 6.7333 | 17.59 | 6.8267 | 13.6567 | 17.6033 | 882 | 100 | 25.7687
2019-06-11 10:15:00 | 3.1307 | 88.118 | 3.602 | 96.8267 | 6.1913 | 10.1913 | 6.366 | 15.5527 | 17.664 | 882 | 100 | 20.5747
2019-06-11 10:30:00 | 2.8933 | 123.98 | 3.34 | 136.2333 | 5.7233 | 13.8667 | 6.1333 | 19.6333 | 17.6467 | 882 | 100 | 17.942
2019-06-11 10:45:00 | 3.1067 | 179.3033 | 3.5767 | 197.0333 | 6.0867 | 15.1333 | 6.6067 | 19.4567 | 17.778 | 882 | 100 | 20.9913
2019-06-11 11:00:00 | 3.1733 | 291.9033 | 3.6567 | 320.7667 | 6.1 | 7.52 | 6.7733 | 9.9633 | 17.8367 | 882 | 100 | 18.456
2019-06-11 11:15:00 | 2.9533 | 117.0667 | 3.3933 | 128.6333 | 5.84 | 8.36 | 6.36 | 17.43 | 18.0267 | 882 | 100 | 14.9773
2019-06-11 11:30:00 | 2.7933 | 92.8533 | 3.2133 | 102.0333 | 5.38 | 15.28 | 6.0133 | 14.4033 | 18.22 | 882 | 100 | 14.306
2019-06-11 11:45:00 | 2.6 | 108.5667 | 2.9933 | 119.3067 | 5.0907 | 12.11 | 5.73 | 18.5467 | 18.7167 | 882 | 100 | 13.6893
2019-06-11 12:00:00 | 2.8067 | 108.76 | 3.2333 | 119.52 | 4.9933 | 9.3233 | 5.45 | 13.6 | 18.85 | 882 | 100 | 13.1447
2019-06-11 12:15:00 | 2.4367 | 157.5267 | 2.8067 | 173.11 | 4.5233 | 9.2667 | 4.8 | 16.0667 | 18.718 | 882.7333 | 100 | 8.7267
2019-06-11 12:30:00 | 2.3167 | 151.16 | 2.66 | 166.11 | 4.4433 | 3.8533 | 4.4533 | 11.3333 | 18.7033 | 883 | 100 | 9.7907
2019-06-11 12:45:00 | 2.44 | 245.0767 | 2.8033 | 269.3 | 4.5867 | 9.8667 | 4.7667 | 18.9867 | 18.768 | 883 | 100 | 10.7327
2019-06-11 13:00:00 | 2.5133 | 283.1633 | 2.89 | 311.1667 | 4.84 | 6.3867 | 5.0933 | 240.6733 | 18.744 | 883 | 100 | 9.218
2019-06-11 13:15:00 | 2.3067 | 127.37 | 2.66 | 139.96 | 4.4367 | 4.3433 | 4.59 | 7.0633 | 18.54 | 883 | 100 | 7.9527
2019-06-11 13:30:00 | 1.9133 | 322.5633 | 2.2 | 354.4667 | 3.5967 | 8.7167 | 3.9567 | 19.4567 | 18.4733 | 883 | 100 | 4.302
2019-06-11 13:45:00 | 1.25 | 23.5033 | 1.4467 | 25.8167 | 2.35 | 233.5567 | 2.1833 | 238.4533 | 18.432 | 883 | 100 | 5.29
2019-06-11 14:00:00 | 1.7833 | 6.9567 | 2.06 | 7.6367 | 3.4033 | 6.0233 | 3.5367 | 16.54 | 18.86 | 883 | 100 | 7.222
2019-06-11 14:15:00 | 2.0867 | 206.1367 | 2.4033 | 226.5233 | 4.1 | 4.9233 | 4.5333 | 8.2067 | 19.2867 | 883 | 100 | 7.1113
2019-06-11 14:30:00 | 2.24 | 93.3033 | 2.5767 | 102.5233 | 4.4133 | 14.6967 | 4.6 | 14.5533 | 19.44 | 883 | 100 | 6.2933
2019-06-11 14:45:00 | 2.5 | 208.1533 | 2.8733 | 228.7333 | 4.7167 | 15.33 | 4.7267 | 12.3367 | 19.2433 | 883 | 100 | 9.8307
2019-06-11 15:00:00 | 2.7533 | 62.22 | 3.1667 | 68.36 | 5.2633 | 3.4367 | 5.24 | 10.122 | 19.1767 | 883 | 100 | 11.7127
2019-06-11 15:15:00 | 3.1067 | 82.0733 | 3.5733 | 90.1933 | 5.9467 | 11.5533 | 6.0867 | 20.42 | 19.3567 | 882.2667 | 100 | 15.9213
2019-06-11 15:30:00 | 3.0467 | 66.2467 | 3.5067 | 72.7933 | 5.88 | 23.2333 | 5.94 | 26.6067 | 19.45 | 882 | 100 | 17.1373
2019-06-11 15:45:00 | 3.6533 | 225.23 | 4.21 | 247.5 | 6.7167 | 15.9833 | 6.91 | 25.7467 | 18.7533 | 882 | 100 | 15.6167
2019-06-11 16:00:00 | 3.1867 | 199.0167 | 3.6633 | 218.7 | 5.9633 | 11.7367 | 5.99 | 26.8533 | 18.4467 | 882 | 100 | 16.1927
2019-06-11 16:15:00 | 3.04 | 155.0767 | 3.5033 | 170.4167 | 5.8587 | 11.2933 | 6.31 | 21.35 | 18.4213 | 882 | 100 | 20.0427
2019-06-11 16:30:00 | 3.1067 | 136.39 | 3.5767 | 149.8833 | 5.8867 | 18.1 | 6.3433 | 16.4433 | 18.38 | 882 | 100 | 23.82
2019-06-11 16:45:00 | 3.1733 | 73.13 | 3.65 | 80.36 | 6.0633 | 16.2633 | 6.4433 | 11.44 | 18.1333 | 882 | 100 | 22.6887
2019-06-11 17:00:00 | 3.2267 | 144.6033 | 3.7167 | 158.9 | 6.13 | 13.7367 | 6.67 | 17.3867 | 17.88 | 882 | 100 | 26.3473
2019-06-11 17:15:00 | 3.52 | 322.02 | 4.0467 | 353.8667 | 6.8133 | 16.3 | 7.3067 | 26.3433 | 17.838 | 882 | 100 | 29.848
2019-06-11 17:30:00 | 3.6733 | 274.04 | 4.2267 | 301.1333 | 6.92 | 14.0133 | 7.3933 | 19.4433 | 17.858 | 882 | 100 | 31.4613
2019-06-11 17:45:00 | 4.1667 | 233.27 | 4.8067 | 256.3333 | 8.0633 | 20.06 | 8.3 | 26.4333 | 17.8247 | 881.2667 | 100 | 33.2113
2019-06-11 18:00:00 | 4.2467 | 298.6633 | 4.8867 | 328.2 | 7.8167 | 18.8267 | 8.3133 | 14.9 | 17.75 | 881 | 100 | 36.12
2019-06-11 18:15:00 | 4.54 | 198.71 | 5.2233 | 218.3633 | 8.3167 | 10.9033 | 8.6667 | 25.6433 | 17.64 | 881.0667 | 100 | 39.548
2019-06-11 18:30:00 | 4.9533 | 227.1633 | 5.6967 | 249.63 | 8.37 | 15.0367 | 8.6667 | 25.53 | 17.5333 | 881.6 | 100 | 39.512
2019-06-11 18:45:00 | 4.65 | 178.8967 | 5.3467 | 196.5933 | 8.5933 | 16.2267 | 8.93 | 13.3333 | 17.5333 | 881.7333 | 100 | 38.378
2019-06-11 19:00:00 | 4.7567 | 212.15 | 5.48 | 233.1267 | 8.74 | 11.2 | 9.0833 | 20.3 | 17.524 | 882 | 100 | 42.44
2019-06-11 19:15:00 | 5.2367 | 214.97 | 6.0333 | 236.2233 | 9.8633 | 18.15 | 9.7867 | 19.3333 | 17.502 | 882 | 100 | 43.186
2019-06-11 19:30:00 | 5.2033 | 182.0233 | 5.9867 | 200.0233 | 9.7233 | 11.21 | 9.8933 | 21.4733 | 17.458 | 882 | 100 | 40.89
2019-06-11 19:45:00 | 4.94 | 167.9333 | 5.6767 | 184.5333 | 9.1333 | 14.96 | 9.93 | 18.7533 | 17.3693 | 882 | 100 | 37.338
2019-06-11 20:00:00 | 5.02 | 263.8533 | 5.77 | 289.9333 | 9.3 | 3.7 | 9.8233 | 20.6667 | 17.364 | 882 | 100 | 42.3
2019-06-11 20:15:00 | 5.3753 | 158.584 | 6.1827 | 174.2667 | 9.964 | 14.7387 | 9.828 | 21.1967 | 17.3293 | 882 | 99.9933 | 41.0273
2019-06-11 20:30:00 | 5.3667 | 63.3733 | 6.1733 | 69.64 | 9.99 | 9.77 | 10.2567 | 16.9067 | 17.308 | 882 | 99.86 | 42.8813
2019-06-11 20:45:00 | 5.1987 | 284.738 | 5.9827 | 312.9027 | 10.0613 | 20.124 | 10.4073 | 17.9147 | 17.242 | 882 | 99.8267 | 43.6767
2019-06-11 21:00:00 | 5.6133 | 15.45 | 6.47 | 16.97 | 10.9367 | 18.3167 | 10.86 | 17.9033 | 17.1567 | 882 | 100 | 46.0133
2019-06-11 21:15:00 | 5.4 | 112.3833 | 6.2233 | 123.4933 | 10.07 | 124.86 | 9.8767 | 19.5133 | 17.1267 | 882.7333 | 100 | 45.7753
2019-06-11 21:30:00 | 5.1533 | 229.2033 | 5.93 | 251.8667 | 8.9767 | 347.4 | 8.77 | 8.7733 | 17.152 | 883 | 99.96 | 42.9573
2019-06-11 21:45:00 | 4.4733 | 59.3933 | 5.1467 | 65.26 | 8.3367 | 13.5767 | 8.34 | 20.5367 | 17.1933 | 883 | 99.4333 | 39.7507
2019-06-11 22:00:00 | 4.0467 | 170.8467 | 4.66 | 187.7333 | 7.99 | 6.3367 | 8.1267 | 19.0967 | 17.1533 | 883 | 99.5 | 36.6833
2019-06-11 22:15:00 | 3.92 | 23.1267 | 4.5133 | 25.4033 | 7.5733 | 23.7333 | 8.0567 | 34.0333 | 17.07 | 883 | 99.7333 | 33.6973
2019-06-11 22:30:00 | 3.76 | 76.8933 | 4.3267 | 84.4967 | 7.0267 | 15.8933 | 7.2367 | 17.8933 | 17.1033 | 883 | 99 | 37.5493
2019-06-11 22:45:00 | 4.28 | 107.6933 | 4.9367 | 118.3467 | 7.9 | 0.30667 | 7.3433 | 4 | 17.1067 | 883 | 98.5267 | 43.4587
2019-06-11 23:00:00 | 4.8333 | 289.9 | 5.57 | 318.5667 | 8.9267 | 6.3 | 8.6567 | 13.4267 | 17.124 | 883 | 98.1 | 44.5347
2019-06-11 23:15:00 | 4.82 | 109.88 | 5.5567 | 120.7467 | 9.0267 | 12.1833 | 8.91 | 16.2167 | 17.1293 | 883 | 98.08 | 41.402
2019-06-11 23:30:00 | 4.3467 | 137.1267 | 5.01 | 150.6867 | 7.6467 | 18.7433 | 7.5367 | 15.1767 | 17.12 | 883 | 98.2 | 39.5993
2019-06-11 23:45:00 | 4.3267 | 19.0033 | 4.9833 | 20.8767 | 6.6167 | 345.1667 | 6.29 | 7.1933 | 17.24 | 883.7333 | 97.5 | 41.1607