## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-12 00:00:00 | 4.1 | 167.7657 | 4.7121 | 184.3607 | 6.6829 | 130.6657 | 6.6693 | 6.74 | 17.3164 | 884 | 96.9 | 42.1764
2019-06-12 00:15:00 | 4.5267 | 265.79 | 5.21 | 292.0667 | 8.6367 | 14.45 | 8.56 | 19.8067 | 17.2413 | 883.2667 | 97.3667 | 41.6713
2019-06-12 00:30:00 | 4.36 | 70.01 | 5.0167 | 76.9333 | 7.5967 | 18.57 | 7.2733 | 11.7533 | 17.1867 | 883 | 97.5667 | 43.3807
2019-06-12 00:45:00 | 4.4467 | 319.2867 | 5.1233 | 350.8667 | 7.9033 | 238.2767 | 7.77 | 16.2767 | 17.318 | 883 | 97.0667 | 44.8167
2019-06-12 01:00:00 | 4.7867 | 255.7733 | 5.5033 | 281.0667 | 8.7167 | 11.7967 | 9.01 | 19.4033 | 17.282 | 883 | 97.2 | 38.256
2019-06-12 01:15:00 | 5.2667 | 185.1833 | 6.0667 | 203.5 | 9.5493 | 15.5467 | 9.8033 | 30.2167 | 17.276 | 883 | 97.1 | 42.956
2019-06-12 01:30:00 | 5.2533 | 214.79 | 6.0467 | 236.0333 | 9.78 | 18.12 | 10.51 | 27.2967 | 17.3 | 883 | 96.7 | 44.9993
2019-06-12 01:45:00 | 5.0233 | 168.29 | 5.7833 | 184.9333 | 9.4 | 10.24 | 9.72 | 20.01 | 17.26 | 883 | 96.6067 | 42.8033
2019-06-12 02:00:00 | 5.1367 | 184.4967 | 5.9167 | 202.7333 | 9.84 | 14.84 | 9.9 | 20.2833 | 17.16 | 883 | 96.9667 | 40.4227
2019-06-12 02:15:00 | 5.25 | 272 | 6.0433 | 298.9 | 10.0133 | 18.64 | 9.98 | 13.7 | 16.9433 | 882.9333 | 97.9 | 40.1387
2019-06-12 02:30:00 | 5.35 | 210.6667 | 6.1567 | 231.5 | 9.9133 | 15.2533 | 9.9933 | 19.5133 | 16.846 | 882.4 | 98.4333 | 44.508
2019-06-12 02:45:00 | 6.0267 | 229.6367 | 6.93 | 252.3333 | 10.8633 | 240.52 | 10.64 | 12.3133 | 17.05 | 883 | 97.8 | 43.9993
2019-06-12 03:00:00 | 5.2867 | 272.8833 | 6.0833 | 299.8667 | 9.69 | 20.0467 | 9.3133 | 22.5533 | 17.1833 | 883 | 97.0667 | 42.4853
2019-06-12 03:15:00 | 5.0233 | 175.96 | 5.7767 | 193.3667 | 9.5 | 18.3167 | 9.4967 | 24.2233 | 17.148 | 883 | 97.14 | 45.7113
2019-06-12 03:30:00 | 5.1433 | 71.62 | 5.9167 | 78.7 | 10.0267 | 9.65 | 10.11 | 25.0633 | 17.0667 | 883 | 97.8333 | 44.6773
2019-06-12 03:45:00 | 5.05 | 107.5367 | 5.81 | 118.1667 | 9.96 | 20.7733 | 10.39 | 22.4533 | 16.8933 | 882.9333 | 98.6 | 41.92
2019-06-12 04:00:00 | 4.85 | 160.4367 | 5.5833 | 176.3 | 9.5467 | 18.86 | 10.35 | 28.2267 | 16.6733 | 882 | 98.8 | 42.0573
2019-06-12 04:15:00 | 4.5367 | 208.81 | 5.2233 | 229.4667 | 8.7033 | 13.6833 | 9.26 | 26.2467 | 16.4567 | 882 | 99.1933 | 33.698
2019-06-12 04:30:00 | 4.29 | 139.9567 | 4.9367 | 153.8 | 8.3767 | 17.41 | 8.3333 | 17.9533 | 16.422 | 882 | 98.9 | 31.7353
2019-06-12 04:45:00 | 4.1893 | 172.44 | 4.824 | 189.4833 | 7.968 | 123.1447 | 7.7907 | 14.6833 | 16.3253 | 882 | 98.98 | 35.994
2019-06-12 05:00:00 | 5 | 6.9033 | 5.7533 | 7.5833 | 8.7467 | 350.5333 | 8.7633 | 4.85 | 16.3633 | 882 | 98.4333 | 38.0047
2019-06-12 05:15:00 | 5.078 | 178.69 | 5.836 | 196.36 | 9.712 | 25.674 | 10.114 | 27.04 | 16.438 | 882 | 97.24 | 35.292
2019-06-12 05:30:00 | 4.73 | 53.1033 | 5.44 | 58.3533 | 9.1867 | 23.8633 | 9.6233 | 29.74 | 16.31 | 882 | 97.4667 | 37.9767
2019-06-12 05:45:00 | 4.48 | 163.84 | 5.16 | 180.0333 | 8.7933 | 17.8133 | 8.9233 | 28.97 | 16.03 | 882 | 98.5667 | 41.3853
2019-06-12 06:00:00 | 4.78 | 146.48 | 5.5 | 160.9667 | 9.2467 | 11.9667 | 9.3233 | 23.0567 | 15.9967 | 882 | 98.7667 | 39.532
2019-06-12 06:15:00 | 4.9267 | 189.4933 | 5.6767 | 208.2333 | 9.2933 | 15.0167 | 9.3967 | 21.1267 | 16.1167 | 882 | 98.2333 | 42.4307
2019-06-12 06:30:00 | 5.3133 | 141.2 | 6.1233 | 155.1667 | 9.8533 | 12.6367 | 10.0367 | 8.94 | 16.2367 | 882 | 97.3 | 36.6847
2019-06-12 06:45:00 | 5.08 | 321.29 | 5.8433 | 353.0667 | 9.22 | 18.6967 | 9.3267 | 19.7333 | 16.6733 | 882.0667 | 95.3 | 39.676
2019-06-12 07:00:00 | 5.2733 | 219.9767 | 6.07 | 241.7333 | 9.7333 | 12.15 | 10.0467 | 18.4533 | 17.2933 | 883 | 92.9 | 44.66
2019-06-12 07:15:00 | 5.1867 | 188.86 | 5.97 | 207.5333 | 9.8967 | 21.75 | 10.4733 | 19.3633 | 18.0733 | 883 | 90.3 | 45.498
2019-06-12 07:30:00 | 5.3333 | 259.6667 | 6.1433 | 285.3333 | 10.1967 | 7.77 | 10.58 | 19.1167 | 18.58 | 883 | 88.4333 | 43.6007
2019-06-12 07:45:00 | 5.2933 | 188.83 | 6.1033 | 207.5 | 10.0533 | 12.6033 | 10.3587 | 22.2267 | 19.2333 | 883.0667 | 85.6 | 34.2287
2019-06-12 08:00:00 | 4.56 | 261.0167 | 5.2567 | 286.8333 | 8.48 | 8.59 | 8.66 | 20.98 | 19.74 | 884 | 83.8 | 28.5893
2019-06-12 08:15:00 | 4.7133 | 100 | 5.4233 | 109.8933 | 8.5533 | 13.3367 | 8.5667 | 26.7267 | 20.3 | 884 | 82.6933 | 28.1393
2019-06-12 08:30:00 | 5.02 | 209.6933 | 5.7833 | 230.4267 | 9.0467 | 11.15 | 9.0267 | 21.54 | 20.4333 | 884.4 | 81.2 | 34.9713
2019-06-12 08:45:00 | 5.6 | 203.3367 | 6.45 | 223.4333 | 10.39 | 16.96 | 10.3967 | 22.6067 | 20.9967 | 885 | 80.2933 | 33.1607
2019-06-12 09:00:00 | 5.2933 | 78.7033 | 6.09 | 86.4733 | 10.1033 | 25.14 | 10.2633 | 25.0667 | 21.5833 | 885 | 78.76 | 27.8447
2019-06-12 09:15:00 | 4.8207 | 264.6567 | 5.55 | 290.8333 | 9.0333 | 10.58 | 8.9067 | 18.26 | 22.37 | 885 | 75.4167 | 27.2967
2019-06-12 09:30:00 | 5.13 | 257.2633 | 5.9033 | 282.7 | 9.4133 | 8.2 | 9.36 | 20.1667 | 22.6567 | 885 | 74.722 | 29.6467
2019-06-12 09:45:00 | 5.42 | 125.9167 | 6.2333 | 138.3667 | 9.86 | 13.6533 | 9.4967 | 15.89 | 22.8767 | 885 | 74.3367 | 29.4553
2019-06-12 10:00:00 | 5.32 | 111.9633 | 6.12 | 123.0333 | 9.6133 | 15.6467 | 9.41 | 15.2567 | 23.09 | 885 | 74.4033 | 25.0947
2019-06-12 10:15:00 | 4.8133 | 264.6367 | 5.54 | 290.8 | 8.8033 | 11.4467 | 8.59 | 22.2 | 23.4633 | 885 | 73.6673 | 21.806
2019-06-12 10:30:00 | 4.6267 | 260.87 | 5.3267 | 286.6667 | 8.574 | 11.0267 | 8.45 | 22.4867 | 24.0367 | 885 | 72.678 | 20.5893
2019-06-12 10:45:00 | 4.8533 | 116.82 | 5.5933 | 128.3667 | 8.9567 | 11.5233 | 8.7967 | 23.1867 | 24.6 | 885 | 70.6167 | 22.012
2019-06-12 11:00:00 | 5.1333 | 170.44 | 5.9133 | 187.3 | 9.21 | 9.7567 | 9.0767 | 19.98 | 24.28 | 885 | 69.2967 | 18.7253
2019-06-12 11:15:00 | 5.1467 | 268.6633 | 5.9267 | 295.2333 | 9.4 | 18.15 | 9.3193 | 23.35 | 24.4333 | 885 | 70.4633 | 18.9667
2019-06-12 11:30:00 | 4.9267 | 275.9433 | 5.6667 | 303.2333 | 8.9067 | 25.1967 | 8.77 | 13.8167 | 24.72 | 885 | 68.71 | 18.2287
2019-06-12 11:45:00 | 5.1733 | 270.34 | 5.9467 | 297.0667 | 9.3433 | 14.2667 | 9.1067 | 28.1533 | 24.7613 | 885 | 68.03 | 18.1413
2019-06-12 12:00:00 | 4.9067 | 118.8733 | 5.6467 | 130.6267 | 8.8233 | 19.1067 | 8.6333 | 30 | 24.9867 | 885 | 67.5967 | 16.096
2019-06-12 12:15:00 | 5.0567 | 205.4833 | 5.8233 | 225.8 | 9.0667 | 17.7633 | 8.7 | 25.2233 | 25.4033 | 885 | 66.34 | 21.92
2019-06-12 12:30:00 | 5.3633 | 10.09 | 6.1767 | 11.08 | 9.62 | 13.8167 | 9.44 | 15.13 | 25.59 | 885 | 66.32 | 22.0607
2019-06-12 12:45:00 | 4.8633 | 121.8767 | 5.6033 | 133.9267 | 8.7033 | 14.94 | 8.66 | 24.04 | 25.9033 | 885 | 66.1067 | 19.4787
2019-06-12 13:00:00 | 4.8433 | 97.17 | 5.57 | 106.7733 | 8.59 | 24.3933 | 8.18 | 30.68 | 25.91 | 885 | 65.8733 | 17.0293
2019-06-12 13:15:00 | 4.2033 | 16.72 | 4.8367 | 18.3733 | 7.35 | 17.7767 | 7.39 | 34.72 | 26.1867 | 885 | 64.6453 | 16.9827
2019-06-12 13:30:00 | 4.2167 | 224.2267 | 4.85 | 246.3933 | 7.6233 | 23.91 | 7.5967 | 29.7467 | 26.4 | 885 | 64.3667 | 18.9547
2019-06-12 13:45:00 | 4.44 | 257.7433 | 5.11 | 283.2333 | 7.8767 | 22.6967 | 7.8533 | 25.7367 | 26.6727 | 885 | 62.96 | 20.0887
2019-06-12 14:00:00 | 4.92 | 72.1367 | 5.6633 | 79.26 | 8.65 | 19.0033 | 8.46 | 26.2567 | 26.77 | 884.6 | 61.4467 | 17.9793
2019-06-12 14:15:00 | 4.58 | 65.6133 | 5.2667 | 72.0967 | 8.1667 | 6.4467 | 8.2167 | 33.6233 | 27.14 | 884 | 59.95 | 12.9167
2019-06-12 14:30:00 | 4.4533 | 138.0533 | 5.12 | 151.6967 | 7.9533 | 15.1067 | 7.5167 | 20.6567 | 27.6267 | 884 | 58.7433 | 9.8113
2019-06-12 14:45:00 | 4.0533 | 179.36 | 4.67 | 197.1 | 7.2067 | 16.5233 | 6.8467 | 11.6133 | 28.1967 | 884 | 57.5533 | 7.19
2019-06-12 15:00:00 | 3.8067 | 207.1467 | 4.3833 | 227.6333 | 7.0467 | 17.61 | 6.9067 | 16.8067 | 28.69 | 884 | 56.4333 | 5.4067
2019-06-12 15:15:00 | 3.6533 | 96.1033 | 4.2067 | 105.6 | 6.5033 | 11.58 | 6.03 | 6.9467 | 29.44 | 884.0667 | 54.8967 | 3.8887
2019-06-12 15:30:00 | 3.4067 | 139.07 | 3.92 | 152.82 | 6.23 | 21.7 | 5.8967 | 15.14 | 29.6533 | 885 | 53.09 | 3.6507
2019-06-12 15:45:00 | 3.1267 | 175.97 | 3.5967 | 193.3667 | 5.6967 | 7.35 | 5.3 | 28.7467 | 29.7433 | 885 | 53.2267 | 3.324
2019-06-12 16:00:00 | 3.0267 | 305.3633 | 3.49 | 335.5667 | 5.4033 | 9.05 | 5.2933 | 22.4467 | 29.61 | 884.6 | 52.0867 | 2.4507
2019-06-12 16:15:00 | 2.8233 | 148.8707 | 3.246 | 163.5867 | 5.2747 | 12.06 | 5.026 | 16.3173 | 29.828 | 884 | 51.4507 | 1.1687
2019-06-12 16:30:00 | 2.4467 | 302.89 | 2.8233 | 332.8333 | 4.64 | 16.21 | 4.2167 | 21.0633 | 29.8233 | 884 | 50.9267 | 0.076667
2019-06-12 16:45:00 | 2.4067 | 302.7967 | 2.77 | 332.7333 | 4.1667 | 251.79 | 3.9 | 132.8933 | 29.7133 | 884 | 49.5667 | 0.44533
2019-06-12 17:00:00 | 2.6267 | 134.49 | 3.0233 | 147.7933 | 4.7467 | 21.8233 | 4.4733 | 119.06 | 29.54 | 884 | 49.7333 | 0.98267
2019-06-12 17:15:00 | 2.7267 | 214.3433 | 3.1333 | 235.5333 | 4.7933 | 218.85 | 4.42 | 58.0133 | 29.7767 | 884 | 47.98 | 0.31467
2019-06-12 17:30:00 | 2.2733 | 308.8567 | 2.6133 | 339.4 | 3.4533 | 10.2967 | 3.2067 | 0.56667 | 29.7567 | 884 | 46.78 | 0
2019-06-12 17:45:00 | 1.7 | 220.6167 | 1.9667 | 242.4367 | 2.3533 | 342 | 2.3967 | 351.9667 | 29.38 | 884 | 46.8333 | 0
2019-06-12 18:00:00 | 1.5267 | 211.6367 | 1.7533 | 232.57 | 2.64 | 116.6733 | 2.7033 | 354.7667 | 29.34 | 883.6 | 48.3133 | 0
2019-06-12 18:15:00 | 1.7867 | 104.3267 | 2.0567 | 114.64 | 3.4933 | 346.5333 | 3.32 | 120.1667 | 29.5733 | 883 | 50.13 | 0
2019-06-12 18:30:00 | 1.32 | 195.5933 | 1.5233 | 214.9333 | 2.6 | 122.12 | 2.4267 | 117.9933 | 29.7867 | 883 | 49.13 | 0
2019-06-12 18:45:00 | 0.95 | 261.6547 | 1.09 | 287.5333 | 1.84 | 309.7253 | 1.8647 | 284.2693 | 29.9033 | 883 | 47.5067 | 0
2019-06-12 19:00:00 | 1.4333 | 241.48 | 1.6567 | 265.3667 | 2.6733 | 281.5333 | 2.4133 | 282.6667 | 29.3567 | 883 | 51.8133 | 0
2019-06-12 19:15:00 | 0.98667 | 235.94 | 1.1333 | 259.2667 | 1.89 | 259.9333 | 1.19 | 268.6333 | 27.9633 | 883 | 56.4433 | 0.047333
2019-06-12 19:30:00 | 1.5533 | 210.0267 | 1.7867 | 230.8 | 2.7033 | 239.0667 | 2.05 | 240.3667 | 26.75 | 883 | 60.9767 | 0.158
2019-06-12 19:45:00 | 2.136 | 204.15 | 2.464 | 224.34 | 3.406 | 233.6 | 2.95 | 235.4 | 25.646 | 882.2667 | 64.77 | 0.32267
2019-06-12 20:00:00 | 1.88 | 190.1033 | 2.1667 | 208.9 | 3.1233 | 229.1333 | 3.05 | 237.5333 | 25.37 | 882 | 65.17 | 0.20867
2019-06-12 20:15:00 | 1.6187 | 180.1533 | 1.8667 | 197.96 | 2.9173 | 236.92 | 2.83 | 240.3733 | 25.23 | 882 | 65.4587 | 0
2019-06-12 20:30:00 | 1.6333 | 179.3667 | 1.88 | 197.1 | 2.6633 | 229.5667 | 2.77 | 236.9333 | 25.1567 | 882 | 65.4567 | 0.2
2019-06-12 20:45:00 | 2.4347 | 175.9347 | 2.802 | 193.32 | 3.556 | 214.4 | 3.7993 | 221.6467 | 24.914 | 882 | 65.9493 | 3.4167
2019-06-12 21:00:00 | 3.5133 | 161.74 | 4.04 | 177.7333 | 4.8367 | 190.0333 | 5.0267 | 184.5667 | 24.65 | 882 | 67.4433 | 8.9027
2019-06-12 21:15:00 | 3.7667 | 148.5433 | 4.3433 | 163.2333 | 4.88 | 172.8333 | 5.2167 | 170.4667 | 23.81 | 882 | 72.6967 | 9.3267
2019-06-12 21:30:00 | 3.3467 | 178.3367 | 3.85 | 195.9667 | 4.2667 | 189.7 | 4.6767 | 183.6667 | 23.3633 | 882 | 75.6367 | 9.4547
2019-06-12 21:45:00 | 3.2267 | 137.6 | 3.7167 | 151.2 | 4.1967 | 172.2 | 4.6933 | 171.1667 | 22.9467 | 882 | 78.1467 | 9.8793
2019-06-12 22:00:00 | 3.3333 | 174.9067 | 3.8367 | 192.2 | 4.3033 | 168.6 | 4.7667 | 180.7 | 22.7733 | 882.4 | 79.42 | 9.3847
2019-06-12 22:15:00 | 3.13 | 158.89 | 3.6067 | 174.6 | 4.22 | 173.3333 | 4.7033 | 182.2467 | 22.4967 | 883 | 81.2 | 9.63
2019-06-12 22:30:00 | 3.29 | 154.3433 | 3.7867 | 169.6 | 4.32 | 169.3333 | 4.85 | 173.6333 | 22.35 | 883 | 82.1333 | 8.8453
2019-06-12 22:45:00 | 3.14 | 162.7733 | 3.62 | 178.8667 | 4.1033 | 167.0333 | 4.4033 | 167.6 | 22.2167 | 883 | 82.8 | 7.5227
2019-06-12 23:00:00 | 3.0867 | 171.9333 | 3.5467 | 188.9333 | 4.1433 | 174.2333 | 4.81 | 179.2 | 22.05 | 883 | 83.6 | 9.9147
2019-06-12 23:15:00 | 3.27 | 157.6133 | 3.7633 | 173.2 | 4.2267 | 185.8 | 4.59 | 179.1 | 21.9773 | 883 | 83.9067 | 10.604
2019-06-12 23:30:00 | 3.0767 | 142.5733 | 3.5367 | 156.6667 | 3.9467 | 183.0667 | 4.3167 | 174.1 | 21.94 | 883 | 84.1333 | 9.418
2019-06-12 23:45:00 | 2.5933 | 120.8467 | 2.99 | 132.8 | 3.4967 | 175.2667 | 4.0867 | 184.0333 | 21.8033 | 883 | 84.6667 | 6.4713