## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-13 00:00:00 | 2.5036 | 155.7743 | 2.88 | 171.1786 | 3.5493 | 186.6357 | 4.0336 | 185.1714 | 21.6786 | 883 | 85.25 | 5.6943
2019-06-13 00:15:00 | 2.4067 | 162.86 | 2.7733 | 178.9667 | 3.4233 | 192.7 | 3.9233 | 181.5 | 21.7167 | 883 | 85.2933 | 6
2019-06-13 00:30:00 | 2.52 | 159.598 | 2.902 | 175.38 | 3.482 | 180.36 | 3.854 | 185.68 | 21.762 | 883 | 84.88 | 5.524
2019-06-13 00:45:00 | 2.71 | 166.274 | 3.1233 | 182.72 | 3.83 | 206.6 | 4.01 | 191.1667 | 21.62 | 883 | 85.5 | 5.752
2019-06-13 01:00:00 | 2.55 | 177.45 | 2.9367 | 195 | 3.7167 | 199.9333 | 4.15 | 187.3 | 21.456 | 883 | 86.5 | 4.9613
2019-06-13 01:15:00 | 2.522 | 139.7973 | 2.9033 | 153.62 | 3.482 | 209.8 | 3.632 | 166.7333 | 21.304 | 883 | 87.4933 | 4.04
2019-06-13 01:30:00 | 2.9133 | 160.34 | 3.3533 | 176.2 | 3.98 | 192.5 | 4.47 | 181.5667 | 21.09 | 883 | 88.7 | 3.89
2019-06-13 01:45:00 | 2.9933 | 165.0133 | 3.44 | 181.3333 | 4.04 | 202.8 | 4.6133 | 194.3 | 21.04 | 883 | 89.0933 | 3.9967
2019-06-13 02:00:00 | 3.2133 | 177.0933 | 3.6933 | 194.6 | 4.1467 | 196.1333 | 4.64 | 194.4333 | 21.02 | 883 | 89.3333 | 4.2913
2019-06-13 02:15:00 | 3.05 | 157.62 | 3.5033 | 173.2 | 3.95 | 177.3667 | 4.4033 | 189.2 | 20.9067 | 883 | 90.0667 | 3.8953
2019-06-13 02:30:00 | 2.8633 | 168.2867 | 3.29 | 184.9333 | 3.8367 | 203.7667 | 4.27 | 188.5333 | 20.852 | 883 | 90.5333 | 3.6947
2019-06-13 02:45:00 | 2.5067 | 171.2667 | 2.8867 | 188.2 | 3.48 | 192 | 3.86 | 181.8 | 20.7167 | 882.2667 | 91.4667 | 3.732
2019-06-13 03:00:00 | 2.76 | 163.9267 | 3.1867 | 180.1333 | 3.62 | 186.2667 | 3.9333 | 189.0667 | 20.63 | 882 | 92.0667 | 3.056
2019-06-13 03:15:00 | 2.67 | 153.2433 | 3.07 | 168.4 | 3.4933 | 188.5 | 3.8233 | 192.7 | 20.5367 | 882 | 92.6333 | 1.6267
2019-06-13 03:30:00 | 2.29 | 172.8433 | 2.6367 | 189.9333 | 3.12 | 184.6333 | 3.3167 | 193.4333 | 20.4433 | 882 | 93.2333 | 0.878
2019-06-13 03:45:00 | 1.94 | 154.3933 | 2.24 | 169.6667 | 2.8233 | 191.4333 | 3.2633 | 186.0667 | 20.3967 | 882 | 93.6667 | 0.98533
2019-06-13 04:00:00 | 2.5933 | 159.3067 | 2.98 | 175.0667 | 3.57 | 187.3667 | 3.8767 | 183.4667 | 20.362 | 882 | 93.84 | 1.036
2019-06-13 04:15:00 | 1.76 | 123.4567 | 2.0367 | 135.6667 | 2.4767 | 165.2 | 2.6333 | 178.7 | 20.356 | 882 | 93.9067 | 0.50867
2019-06-13 04:30:00 | 2.1733 | 157.3167 | 2.5033 | 172.8667 | 2.9767 | 173.0667 | 3.14 | 179.4333 | 20.3 | 882 | 94.3333 | 0.626
2019-06-13 04:45:00 | 1.9967 | 137.5967 | 2.3067 | 151.2 | 2.8867 | 159.6 | 3.0333 | 181.4 | 20.224 | 882 | 94.9667 | 0.244
2019-06-13 05:00:00 | 2.2167 | 163.9233 | 2.5467 | 180.1333 | 3.1133 | 164.3333 | 3.5 | 165.8667 | 20.144 | 882 | 95.5 | 0.054
2019-06-13 05:15:00 | 2.42 | 162.41 | 2.78 | 178.4667 | 3.29 | 176.7667 | 3.5133 | 180.1333 | 20.0953 | 882 | 95.9667 | 0
2019-06-13 05:30:00 | 2.2467 | 162.8967 | 2.58 | 179 | 3.1167 | 179.7 | 3.38 | 185.3333 | 20.034 | 882 | 96.3 | 0
2019-06-13 05:45:00 | 1.9367 | 170.6533 | 2.2333 | 187.5333 | 2.7433 | 175.2667 | 2.8967 | 189.3 | 19.9867 | 882 | 96.48 | 0
2019-06-13 06:00:00 | 1.8367 | 152.3333 | 2.1133 | 167.4 | 2.73 | 180.4 | 2.8167 | 181.9 | 19.9267 | 882 | 96.8 | 0
2019-06-13 06:15:00 | 1.48 | 147.9633 | 1.7067 | 162.6 | 2.43 | 197.3 | 2.61 | 188.0667 | 19.8947 | 882 | 97.1667 | 0
2019-06-13 06:30:00 | 1.22 | 143.5367 | 1.4133 | 157.7333 | 2.0233 | 193.7 | 2.43 | 190.2667 | 19.88 | 882 | 97.4333 | 0
2019-06-13 06:45:00 | 1.3 | 156.79 | 1.4967 | 172.3 | 2.06 | 189.1333 | 2.3267 | 181.6333 | 19.8873 | 882 | 97.5 | 0
2019-06-13 07:00:00 | 1.6267 | 157.7033 | 1.8767 | 173.3 | 2.4733 | 179.8 | 2.7867 | 179.1667 | 19.89 | 882 | 97.54 | 0
2019-06-13 07:15:00 | 1.68 | 175.9633 | 1.9333 | 193.3667 | 2.5867 | 182.9333 | 2.7433 | 182.3667 | 19.8827 | 882 | 97.68 | 0
2019-06-13 07:30:00 | 1.22 | 168.45 | 1.4133 | 185.1 | 1.9667 | 185.8 | 2.1833 | 179.02 | 19.88 | 882.4 | 97.84 | 0
2019-06-13 07:45:00 | 1.12 | 143.3567 | 1.29 | 157.5333 | 1.8567 | 179.2667 | 1.98 | 181.3333 | 19.858 | 883 | 98.3 | 0
2019-06-13 08:00:00 | 1.1467 | 159.87 | 1.3233 | 175.6667 | 1.8833 | 174 | 1.94 | 175.8 | 19.8767 | 883 | 98.54 | 0
2019-06-13 08:15:00 | 1.2633 | 144.27 | 1.4533 | 158.5333 | 1.8967 | 184.1667 | 1.9033 | 179.4 | 19.9067 | 883 | 98.4067 | 0
2019-06-13 08:30:00 | 1.25 | 158.3433 | 1.4467 | 174 | 1.8833 | 175.5 | 1.8033 | 183.8667 | 19.952 | 883 | 98.46 | 0
2019-06-13 08:45:00 | 0.60667 | 152.8267 | 0.70333 | 167.9333 | 1.1333 | 187.6333 | 1.4033 | 189.0333 | 19.9927 | 883 | 98.6067 | 0
2019-06-13 09:00:00 | 0.66 | 123.2733 | 0.77 | 135.4667 | 1.2133 | 177.3 | 1.4367 | 164.5 | 20.01 | 883 | 98.74 | 0
2019-06-13 09:15:00 | 0.94333 | 142.1133 | 1.0933 | 156.1667 | 1.5067 | 168.8 | 1.51 | 158.0333 | 20.15 | 883 | 98.7 | 0
2019-06-13 09:30:00 | 0.47667 | 153.0333 | 0.55333 | 168.1667 | 0.80667 | 185.9333 | 0.94333 | 177.1 | 20.3833 | 883.4 | 97.9 | 0
2019-06-13 09:45:00 | 0.74 | 141.7267 | 0.85 | 155.7333 | 1.2933 | 163.2667 | 1.1733 | 150.7333 | 20.6367 | 884 | 96.5 | 0
2019-06-13 10:00:00 | 0.46667 | 46.02 | 0.54333 | 50.5667 | 0.91333 | 170.4 | 1.1467 | 146.0667 | 20.7833 | 884 | 96.06 | 0
2019-06-13 10:15:00 | 0.33667 | 21.9033 | 0.39333 | 24.0567 | 0.66 | 35.5333 | 1.0633 | 41.2133 | 20.6667 | 884 | 95.3667 | 0
2019-06-13 10:30:00 | 0.51 | 36.842 | 0.588 | 40.474 | 1.008 | 35.816 | 1.504 | 43.414 | 20.624 | 884 | 95.26 | 0
2019-06-13 10:45:00 | 0.24 | 112.38 | 0.27667 | 123.5 | 0.45 | 139.9333 | 0.78333 | 30.8767 | 20.664 | 884 | 94.7333 | 0
2019-06-13 11:00:00 | 0.14667 | 110.8133 | 0.17667 | 121.7667 | 0.27667 | 168.22 | 0.50333 | 102.2233 | 20.8867 | 884 | 95.0667 | 0
2019-06-13 11:15:00 | 0.24 | 148.24 | 0.28 | 162.9 | 0.39333 | 154.4333 | 0.51667 | 128.6667 | 21.2833 | 884 | 94.5667 | 0
2019-06-13 11:30:00 | 0.144 | 289.84 | 0.166 | 318.5 | 0.198 | 250.24 | 0.274 | 248.5 | 21.684 | 884 | 91.74 | 0
2019-06-13 11:45:00 | 0.28 | 271.492 | 0.33 | 298.34 | 0.416 | 303.48 | 0.916 | 236.18 | 21.968 | 884 | 90.98 | 0
2019-06-13 12:00:00 | 0.56667 | 148.8533 | 0.66333 | 163.5667 | 0.94 | 212.2667 | 1.1133 | 197.3667 | 22.3 | 884 | 90.7 | 0
2019-06-13 12:15:00 | 0.86667 | 160.6167 | 1.01 | 176.5 | 1.2667 | 214 | 1.2633 | 209.4 | 22.922 | 884.0667 | 88.3933 | 0
2019-06-13 12:30:00 | 1.34 | 142.3633 | 1.5433 | 156.4333 | 1.8267 | 212.5333 | 1.7567 | 198.2 | 23.01 | 885 | 88.34 | 0
2019-06-13 12:45:00 | 1.4567 | 131.93 | 1.68 | 144.9667 | 2.0133 | 165.5667 | 1.7067 | 205.8667 | 23.6 | 884.3333 | 86.4333 | 0
2019-06-13 13:00:00 | 2.0967 | 171.11 | 2.4133 | 188.0333 | 2.7133 | 186.4333 | 2.6133 | 177.2667 | 23.94 | 885 | 85.4333 | 0
2019-06-13 13:15:00 | 2.3533 | 148.9433 | 2.7133 | 163.6667 | 2.8067 | 182.6667 | 2.46 | 186.3 | 24.55 | 885 | 81.7 | 0
2019-06-13 13:30:00 | 2.1933 | 186.3633 | 2.5333 | 204.8 | 2.7267 | 204 | 2.5867 | 197.5667 | 24.59 | 884.6 | 80.9667 | 0
2019-06-13 13:45:00 | 1.9113 | 181.0313 | 2.1987 | 198.9333 | 2.6807 | 230.7533 | 2.8427 | 225.6933 | 24.7693 | 884 | 80.3333 | 0
2019-06-13 14:00:00 | 2.0233 | 172.03 | 2.3267 | 189.04 | 3.1633 | 239.4333 | 3.42 | 231.2 | 24.76 | 884 | 79.8933 | 0
2019-06-13 14:15:00 | 2.0733 | 169.1067 | 2.3867 | 185.8333 | 3.0267 | 222.5667 | 3.1133 | 233.7333 | 24.4867 | 884 | 81.9333 | 0
2019-06-13 14:30:00 | 1.86 | 140.66 | 2.14 | 154.5667 | 2.44 | 207.1 | 2.5467 | 220.84 | 24.2467 | 884 | 82.4 | 0
2019-06-13 14:45:00 | 1.7973 | 162.474 | 2.0747 | 178.5467 | 2.564 | 218.4467 | 2.5967 | 221.44 | 24.5447 | 884 | 81.1067 | 0
2019-06-13 15:00:00 | 1.6233 | 167.66 | 1.8733 | 184.2333 | 2.5533 | 229.1 | 2.7867 | 233.54 | 24.96 | 883.6 | 79.6 | 0
2019-06-13 15:15:00 | 1.4967 | 135.3233 | 1.7267 | 148.7 | 2.28 | 176.9 | 2.3233 | 212.2667 | 25.41 | 883.6667 | 79.4287 | 0
2019-06-13 15:30:00 | 1.69 | 166.6833 | 1.9467 | 183.1667 | 2.5333 | 229.1667 | 2.7433 | 231.7333 | 25.518 | 883.4 | 78.7367 | 0.52133
2019-06-13 15:45:00 | 2.2133 | 146.2667 | 2.5467 | 160.7333 | 3.08 | 213.7 | 3.2 | 229.2667 | 25.3367 | 883.9333 | 78.4873 | 0
2019-06-13 16:00:00 | 1.6733 | 154.34 | 1.9333 | 169.6 | 2.3133 | 201.7667 | 2.2667 | 214.4 | 25.31 | 883 | 78.4367 | 0
2019-06-13 16:15:00 | 1.84 | 172.51 | 2.13 | 189.5667 | 2.7567 | 229.2667 | 2.84 | 227.7667 | 25.7 | 883 | 77.23 | 0
2019-06-13 16:30:00 | 2.2667 | 162.6167 | 2.61 | 178.7 | 3.09 | 230.3333 | 3.1 | 229.3667 | 25.5067 | 883 | 75.99 | 0
2019-06-13 16:45:00 | 2.2867 | 175.61 | 2.6267 | 192.9667 | 3.4167 | 214.2667 | 3.4067 | 228.8333 | 25.1767 | 883 | 76.39 | 0
2019-06-13 17:00:00 | 2.1 | 164.1367 | 2.4133 | 180.3667 | 2.95 | 212.2667 | 3.3 | 217.1 | 25.0233 | 883 | 76.8167 | 0
2019-06-13 17:15:00 | 1.442 | 165.472 | 1.662 | 181.84 | 2.152 | 161.3 | 2.278 | 191.84 | 25.018 | 883 | 78.346 | 0
2019-06-13 17:30:00 | 2.2167 | 184.9733 | 2.55 | 203.2667 | 3.3533 | 219.3667 | 3.3633 | 227.1333 | 24.83 | 883 | 78.666 | 0
2019-06-13 17:45:00 | 1.8733 | 169.96 | 2.16 | 186.7667 | 2.8867 | 221.9333 | 3.04 | 213.8333 | 24.7533 | 882.2667 | 80.6333 | 0
2019-06-13 18:00:00 | 2.1533 | 180.5133 | 2.48 | 198.3667 | 3.2067 | 224 | 3.1933 | 224.5667 | 24.74 | 882 | 80.7 | 0
2019-06-13 18:15:00 | 0.93667 | 127.71 | 1.0867 | 140.3333 | 1.7667 | 214.1 | 1.67 | 221.8667 | 24.588 | 882 | 81.2333 | 0
2019-06-13 18:30:00 | 1.5967 | 164.8967 | 1.8333 | 181.2 | 2.7733 | 201.2333 | 2.6767 | 217.8 | 24.6867 | 882 | 81.46 | 0
2019-06-13 18:45:00 | 2.1133 | 177.42 | 2.4333 | 194.9667 | 3.3533 | 217.1 | 3.36 | 220.5 | 24.4567 | 882 | 81.2333 | 1.5267
2019-06-13 19:00:00 | 2.04 | 169.9067 | 2.3467 | 186.7 | 3.3333 | 220.7667 | 3.6067 | 225.3667 | 24.07 | 882 | 82.5667 | 1.6313
2019-06-13 19:15:00 | 2.0933 | 176.6033 | 2.4167 | 194.0667 | 3.3967 | 219.8667 | 3.6867 | 228.2 | 23.8367 | 882 | 82.6 | 1.1353
2019-06-13 19:30:00 | 2.1867 | 172.2367 | 2.5233 | 189.2667 | 3.5767 | 227.4 | 3.9133 | 226 | 23.67 | 882 | 81.3333 | 2.6873
2019-06-13 19:45:00 | 2.2867 | 164.65 | 2.6333 | 180.9333 | 3.62 | 230.7 | 3.8933 | 226.6 | 23.37 | 882 | 81.7333 | 1.292
2019-06-13 20:00:00 | 1.9 | 168.11 | 2.1867 | 184.7333 | 3.1667 | 225.5667 | 3.4333 | 228.8 | 23.342 | 882 | 81.1333 | 0.53667
2019-06-13 20:15:00 | 1.67 | 177.5433 | 1.9267 | 195.1 | 2.8533 | 216.3333 | 3.0533 | 218.0667 | 23.34 | 882 | 81.6 | 0.25867
2019-06-13 20:30:00 | 1.7767 | 173.5967 | 2.0533 | 190.7667 | 3 | 210.4667 | 2.98 | 213.6 | 23.1933 | 882 | 82.8667 | 0.069333
2019-06-13 20:45:00 | 2.0333 | 175.6433 | 2.34 | 193 | 3.3867 | 210.8333 | 3.36 | 214.2 | 22.9433 | 882 | 85.2333 | 0
2019-06-13 21:00:00 | 1.8067 | 179.0967 | 2.08 | 196.8 | 3.2067 | 217.1 | 3.1533 | 217.5333 | 22.886 | 882 | 87.1 | 0.20733
2019-06-13 21:15:00 | 2.2133 | 171.8733 | 2.5467 | 188.8667 | 3.72 | 212.4333 | 3.6267 | 213.6 | 22.7267 | 882 | 88.6333 | 0.44933
2019-06-13 21:30:00 | 2.04 | 164.7133 | 2.3467 | 181 | 3.5867 | 203.5667 | 3.44 | 207.1333 | 22.6067 | 882 | 89.6333 | 0.99533
2019-06-13 21:45:00 | 1.7 | 171.3267 | 1.9567 | 188.2667 | 3.0667 | 204.3133 | 3.1 | 206.72 | 22.4967 | 882 | 90.5667 | 1.2227
2019-06-13 22:00:00 | 1.5133 | 177.46 | 1.7433 | 195 | 2.3933 | 193.9667 | 2.6533 | 200.7333 | 22.466 | 882 | 90.5 | 0.082667
2019-06-13 22:15:00 | 1.26 | 168.5967 | 1.45 | 185.2667 | 2.17 | 181.1667 | 2.61 | 201.4667 | 22.4807 | 882 | 89.1667 | 0.10267
2019-06-13 22:30:00 | 0.81333 | 179.97 | 0.93667 | 197.76 | 1.5433 | 182.7 | 2.33 | 204.88 | 22.3833 | 882 | 89.0333 | 0.59067
2019-06-13 22:45:00 | 0.94667 | 173.27 | 1.0967 | 190.4 | 1.83 | 180.8867 | 1.8933 | 199.9267 | 22.2033 | 882 | 89.7667 | 0.59667
2019-06-13 23:00:00 | 1.52 | 157.7967 | 1.75 | 173.4 | 2.5633 | 173.8333 | 2.5933 | 177.9667 | 22.146 | 882 | 90.34 | 0.23467
2019-06-13 23:15:00 | 1.3867 | 167.9 | 1.6033 | 184.5 | 2.4067 | 171.44 | 2.6267 | 173.3133 | 22.1473 | 882 | 90.7067 | 0.071333
2019-06-13 23:30:00 | 1.32 | 173.688 | 1.5233 | 190.86 | 2.4667 | 170.24 | 3.02 | 178.1667 | 22.138 | 882 | 90.6 | 0.22267
2019-06-13 23:45:00 | 1.6633 | 171.0533 | 1.9267 | 187.9667 | 2.7567 | 171.4 | 3.58 | 179.9667 | 22.1627 | 882 | 90.2933 | 0.45133