## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-14 00:00:00 | 1.5793 | 167.5107 | 1.8243 | 184.0786 | 2.7586 | 176.75 | 3.1143 | 172.6643 | 22.1614 | 882 | 90.15 | 0.57786
2019-06-14 00:15:00 | 1.5733 | 170.6867 | 1.8167 | 187.5667 | 2.4733 | 172.6 | 3.3133 | 162.4333 | 22.0113 | 882 | 90.8 | 0.41667
2019-06-14 00:30:00 | 1.32 | 141.1467 | 1.5233 | 155.1 | 2.34 | 161.6 | 3.4467 | 164.1 | 22.0833 | 882 | 90.5333 | 0
2019-06-14 00:45:00 | 1.12 | 132.6533 | 1.2967 | 145.7667 | 2.0267 | 147.6 | 3.02 | 155.7 | 22.2287 | 882 | 89.6067 | 0
2019-06-14 01:00:00 | 1.2333 | 175.432 | 1.43 | 192.78 | 2.3 | 181.2 | 2.88 | 174.82 | 22.206 | 882 | 89.9 | 0
2019-06-14 01:15:00 | 1.2867 | 156.59 | 1.4867 | 172.0667 | 2.3333 | 181.7333 | 2.6133 | 175.4667 | 22.212 | 882 | 90.14 | 0.344
2019-06-14 01:30:00 | 1.62 | 157.73 | 1.8733 | 173.3333 | 2.66 | 187.5333 | 3.0733 | 177.6667 | 22.14 | 882 | 90.5667 | 0.73067
2019-06-14 01:45:00 | 1.65 | 177.3 | 1.9033 | 194.8333 | 2.73 | 174.6333 | 3.5967 | 177.8333 | 22.04 | 882 | 91.1 | 0.25533
2019-06-14 02:00:00 | 1.07 | 147.1533 | 1.2433 | 161.7 | 2.0567 | 162.5667 | 3.1233 | 168.3 | 21.988 | 882 | 91.34 | 0.39467
2019-06-14 02:15:00 | 1.4533 | 165.2667 | 1.6767 | 181.6 | 2.5467 | 173.7333 | 3.4733 | 173.9333 | 21.9093 | 882 | 91.6067 | 0.27067
2019-06-14 02:30:00 | 1.66 | 168.4733 | 1.91 | 185.1333 | 2.8067 | 174.3333 | 3.4867 | 168.1333 | 21.892 | 882 | 91.74 | 0
2019-06-14 02:45:00 | 1.2933 | 139.7133 | 1.4967 | 153.5333 | 2.4 | 169.5333 | 3.3267 | 167.4333 | 21.8193 | 881.2667 | 92 | 0
2019-06-14 03:00:00 | 1.3467 | 148.0267 | 1.55 | 162.6667 | 2.5933 | 167.1333 | 3.1667 | 172.6333 | 21.7767 | 881 | 92.1333 | 0.28467
2019-06-14 03:15:00 | 1.5033 | 176 | 1.74 | 193.4 | 2.7667 | 183.2 | 3.3767 | 179 | 21.7353 | 881 | 92.34 | 0.856
2019-06-14 03:30:00 | 1.7633 | 168.3533 | 2.04 | 185 | 2.8867 | 190.6667 | 3.41 | 183.7333 | 21.6433 | 881 | 92.7 | 1.2493
2019-06-14 03:45:00 | 2.5133 | 169.8633 | 2.89 | 186.6667 | 3.52 | 203.7333 | 3.84 | 199.1 | 21.5433 | 881 | 92.9333 | 4.084
2019-06-14 04:00:00 | 2.6733 | 151.2433 | 3.0767 | 166.2 | 3.4533 | 194.1333 | 3.5133 | 205.7 | 21.4433 | 881 | 93 | 6.052
2019-06-14 04:15:00 | 2.39 | 146.16 | 2.7567 | 160.6 | 3.28 | 195 | 3.7033 | 194.78 | 21.1967 | 881 | 94.3667 | 5.3767
2019-06-14 04:30:00 | 2.4033 | 158.2933 | 2.7633 | 173.9333 | 3.3333 | 195.52 | 3.766 | 192.1 | 21.0033 | 881 | 95.5667 | 4.7827
2019-06-14 04:45:00 | 1.9933 | 167.23 | 2.2967 | 183.7667 | 2.69 | 197.9333 | 2.8533 | 194.2 | 20.7567 | 881 | 97.2 | 6.6167
2019-06-14 05:00:00 | 1.8467 | 160.4967 | 2.13 | 176.3667 | 2.7967 | 218.5333 | 3.1267 | 213.7333 | 20.67 | 880.6 | 97.8667 | 6.656
2019-06-14 05:15:00 | 2.4333 | 168.9333 | 2.8033 | 185.6333 | 3.4767 | 211.3667 | 3.8 | 218.4 | 20.62 | 880.7333 | 98.4667 | 5.4647
2019-06-14 05:30:00 | 2.0733 | 165.78 | 2.3833 | 182.1667 | 2.9833 | 199.1667 | 3.0733 | 199.3333 | 20.6333 | 881 | 98.56 | 6.0527
2019-06-14 05:45:00 | 1.8767 | 150.2733 | 2.1567 | 165.1333 | 2.6633 | 189.2 | 2.71 | 190.1667 | 20.54 | 880.2667 | 98.7067 | 5.11
2019-06-14 06:00:00 | 1.29 | 160.28 | 1.49 | 176.1333 | 2.0433 | 188.1333 | 2.1833 | 195.5 | 20.464 | 880 | 99.2 | 5.98
2019-06-14 06:15:00 | 1.2667 | 166.7867 | 1.46 | 183.2667 | 2.03 | 206.7 | 2.25 | 219.3333 | 20.4167 | 880.7333 | 99.5667 | 6.3107
2019-06-14 06:30:00 | 1.5333 | 171.6933 | 1.76 | 188.6667 | 2.8033 | 215.5 | 3.5967 | 217 | 20.39 | 881 | 99.8333 | 5.8673
2019-06-14 06:45:00 | 1.76 | 171.2667 | 2.0333 | 188.2 | 3.1167 | 216.0333 | 3.6933 | 220.4667 | 20.52 | 881 | 99.7667 | 4.9167
2019-06-14 07:00:00 | 1.2467 | 138.56 | 1.4333 | 152.2667 | 2.3633 | 222.7667 | 3.1867 | 215.72 | 20.64 | 881 | 99.1667 | 3.7973
2019-06-14 07:15:00 | 0.85333 | 150.4267 | 0.98333 | 165.3 | 1.68 | 204.6667 | 2.6767 | 217.5533 | 20.6013 | 881 | 99.08 | 2.6247
2019-06-14 07:30:00 | 0.93333 | 158.26 | 1.0833 | 173.9 | 1.7267 | 188.04 | 2.69 | 224.0333 | 20.7533 | 881 | 99.16 | 1.8887
2019-06-14 07:45:00 | 0.68667 | 154.6133 | 0.8 | 169.9 | 1.1833 | 178.1333 | 1.7567 | 241.6333 | 21.2933 | 881 | 97.4333 | 0.80333
2019-06-14 08:00:00 | 1.06 | 163.6467 | 1.2267 | 179.8333 | 1.4433 | 180.2667 | 1.45 | 190.0333 | 22.0933 | 881 | 94.5 | 0.224
2019-06-14 08:15:00 | 1.0733 | 152.6133 | 1.24 | 167.7 | 1.5367 | 207.7333 | 1.8667 | 238.3333 | 23.5 | 881.7333 | 89.0667 | 0.43933
2019-06-14 08:30:00 | 1.4733 | 157.16 | 1.7067 | 172.7 | 2.07 | 225.7333 | 2.0867 | 236.8 | 23.86 | 882 | 87.2 | 0.316
2019-06-14 08:45:00 | 1.3267 | 186.38 | 1.5333 | 204.8 | 1.99 | 223.2 | 2.2033 | 234.7667 | 23.3633 | 882 | 89.2667 | 0
2019-06-14 09:00:00 | 1.3267 | 168.068 | 1.5333 | 184.68 | 2.1033 | 240.2 | 2.3967 | 237.8333 | 23.0767 | 882.4 | 90.5333 | 0.37933
2019-06-14 09:15:00 | 1.6833 | 184.1267 | 1.9433 | 202.3333 | 2.5133 | 211.6333 | 2.5767 | 244.7 | 23.2167 | 883 | 89.5667 | 0.66
2019-06-14 09:30:00 | 2.3167 | 158.3467 | 2.6633 | 174 | 3.4733 | 226.9667 | 3.45 | 226.7667 | 23.4367 | 883 | 88.5667 | 0.83667
2019-06-14 09:45:00 | 2.4133 | 156.5767 | 2.7767 | 172.0667 | 3.2867 | 234.5667 | 3.57 | 239.0667 | 23.5047 | 883 | 88.6733 | 1.0813
2019-06-14 10:00:00 | 1.84 | 142.3233 | 2.1167 | 156.4 | 2.5267 | 228.3667 | 2.3767 | 244.1333 | 23.79 | 883 | 88.5667 | 1.1793
2019-06-14 10:15:00 | 2.27 | 159.8033 | 2.6167 | 175.6 | 2.78 | 191.8667 | 2.8767 | 201.8667 | 23.6867 | 883 | 88.56 | 1.45
2019-06-14 10:30:00 | 2.2967 | 157.6767 | 2.6433 | 173.2667 | 3.0333 | 200.6667 | 3.0633 | 204.9333 | 23.728 | 883 | 88.4 | 1.0173
2019-06-14 10:45:00 | 2.54 | 147.0267 | 2.9233 | 161.5667 | 3.2867 | 193 | 3.2967 | 196.9667 | 23.95 | 883 | 87.6667 | 1.1513
2019-06-14 11:00:00 | 2.8933 | 130.1067 | 3.33 | 142.9667 | 3.6 | 180.1333 | 3.4367 | 187.0333 | 24.41 | 883 | 85.8 | 1.8073
2019-06-14 11:15:00 | 3.0333 | 149.1767 | 3.4867 | 163.9333 | 3.8567 | 205.4333 | 3.84 | 193.3667 | 23.48 | 883 | 87.8333 | 2.21
2019-06-14 11:30:00 | 2.76 | 153.73 | 3.1733 | 168.9333 | 3.7567 | 210.7667 | 3.9267 | 211.3667 | 23.2467 | 882.6 | 89.34 | 2.342
2019-06-14 11:45:00 | 2.7633 | 176.9167 | 3.18 | 194.4 | 3.71 | 212.4333 | 3.9367 | 203.3 | 23.6667 | 882 | 87.8933 | 3.6033
2019-06-14 12:00:00 | 2.55 | 184.1967 | 2.9333 | 202.4 | 3.7567 | 211.1667 | 4.0433 | 223.2333 | 23.6533 | 882 | 88.4667 | 4.304
2019-06-14 12:15:00 | 2.3133 | 159.3833 | 2.6633 | 175.1333 | 3.3 | 201.2 | 3.6933 | 210.9333 | 23.5407 | 882 | 87.7933 | 3.708
2019-06-14 12:30:00 | 2.1533 | 150.0967 | 2.4767 | 164.9333 | 3.3467 | 210.8667 | 3.2533 | 218.5333 | 23.402 | 882 | 88.5667 | 5.8627
2019-06-14 12:45:00 | 2.6233 | 186.2867 | 3.0167 | 204.7 | 4.1067 | 208.4 | 4.01 | 202.2333 | 23.2633 | 882 | 88.3667 | 9.046
2019-06-14 13:00:00 | 3.0433 | 193.62 | 3.51 | 212.7667 | 4.64 | 218.4667 | 5.1233 | 214.8333 | 23.1567 | 882 | 86.8333 | 9.1707
2019-06-14 13:15:00 | 3.2333 | 183.76 | 3.72 | 201.9333 | 4.8 | 208.7333 | 4.8667 | 217.7667 | 23.0133 | 882 | 85.4 | 9.0487
2019-06-14 13:30:00 | 3.16 | 174 | 3.6333 | 191.2 | 4.6333 | 214.7333 | 4.7133 | 217.0333 | 22.6333 | 882 | 87 | 7.044
2019-06-14 13:45:00 | 2.6533 | 178.7667 | 3.0533 | 196.4333 | 4.1167 | 214.9333 | 4.5633 | 219.4333 | 22.09 | 881.9333 | 89.8 | 3.1193
2019-06-14 14:00:00 | 1.76 | 177.9733 | 2.0267 | 195.5667 | 2.8767 | 222.0667 | 3.2167 | 223.8333 | 22.15 | 881 | 89.3333 | 3.1173
2019-06-14 14:15:00 | 2.0067 | 168.2933 | 2.31 | 184.9333 | 3.26 | 218.6667 | 3.3067 | 209.7667 | 22.44 | 881 | 87.4 | 3.79
2019-06-14 14:30:00 | 2.1533 | 166.66 | 2.4767 | 183.1333 | 3.6867 | 205.2 | 3.8533 | 208.9 | 22.42 | 881 | 88.7333 | 3.47
2019-06-14 14:45:00 | 2.2133 | 182.19 | 2.55 | 200.2 | 3.6067 | 222.3667 | 3.44 | 220.9 | 22.2167 | 881 | 88.8 | 3.2007
2019-06-14 15:00:00 | 2.3029 | 181.09 | 2.6457 | 199 | 3.655 | 226.2286 | 3.4771 | 226.7286 | 21.9314 | 881 | 91.9214 | 1.68
2019-06-14 15:15:00 | 1.84 | 203.5033 | 2.1167 | 223.6333 | 3.0533 | 210.3333 | 2.9967 | 216.8 | 21.4967 | 881 | 95.4 | 1.818
2019-06-14 15:30:00 | 1.8867 | 166.3167 | 2.17 | 182.7667 | 3.0133 | 196.7333 | 2.95 | 202.1333 | 21.3367 | 881 | 96.0667 | 1.012
2019-06-14 15:45:00 | 1.2467 | 168.35 | 1.4333 | 185 | 2.2033 | 192.1 | 2.4367 | 207.6 | 21.5567 | 881 | 96.2667 | 0.064
2019-06-14 16:00:00 | 0.69333 | 156.2167 | 0.8 | 171.6667 | 1.37 | 203.5667 | 1.7833 | 210.68 | 21.9367 | 881 | 97.2 | 0.172
2019-06-14 16:15:00 | 0.46 | 156.43 | 0.52667 | 171.9 | 0.90667 | 206.66 | 1.4767 | 198.4 | 22.028 | 881 | 96.3 | 0.114
2019-06-14 16:30:00 | 0.086667 | 156.466 | 0.1 | 171.94 | 0.17333 | 207.2333 | 0.67667 | 198.44 | 22.044 | 881 | 94.1 | 0.058
2019-06-14 16:45:00 | 0.04 | 209.0507 | 0.05 | 229.7267 | 0.033333 | 141.4533 | 0.076667 | 142.1167 | 22.2133 | 880.2667 | 93.2333 | 0
2019-06-14 17:00:00 | 0.82667 | 110.9067 | 0.95667 | 121.8733 | 1.18 | 242.4533 | 1.23 | 9.9833 | 22.18 | 880 | 94.3667 | 0
2019-06-14 17:15:00 | 1.8167 | 310.77 | 2.0933 | 341.5 | 3.4833 | 15.9067 | 2.9233 | 10.4867 | 21.8967 | 880 | 94.66 | 0.15467
2019-06-14 17:30:00 | 1.5567 | 311.4367 | 1.7933 | 342.2333 | 3.03 | 15.68 | 2.5633 | 8.7867 | 21.854 | 880 | 95.2333 | 0.12067
2019-06-14 17:45:00 | 1.5733 | 0.81667 | 1.81 | 0.89 | 2.0067 | 354.8333 | 2.1133 | 35.9833 | 21.788 | 880 | 94.3667 | 0.25333
2019-06-14 18:00:00 | 1.2267 | 211.0167 | 1.4167 | 231.8833 | 1.3867 | 139.1733 | 2.1267 | 92.47 | 21.72 | 880 | 94.1 | 0.18733
2019-06-14 18:15:00 | 0.80667 | 222.08 | 0.93667 | 244.0433 | 1.1533 | 60.9533 | 1.89 | 93.9567 | 21.6307 | 880 | 93.8 | 0.016
2019-06-14 18:30:00 | 0.9 | 215.4733 | 1.0367 | 236.7767 | 1.3467 | 41.58 | 1.7233 | 30.5767 | 21.632 | 880 | 94.2 | 0
2019-06-14 18:45:00 | 1.36 | 306.47 | 1.56 | 336.7667 | 1.9967 | 26.2967 | 1.6933 | 24.8667 | 21.6187 | 880 | 94.9667 | 0
2019-06-14 19:00:00 | 1.56 | 312.3433 | 1.8 | 343.2333 | 2.2033 | 17.39 | 1.8333 | 27.7933 | 21.56 | 880 | 95.3 | 0
2019-06-14 19:15:00 | 1.8 | 317.02 | 2.07 | 348.3667 | 2.5133 | 11.31 | 2.6033 | 22.07 | 21.506 | 880 | 95.2667 | 0
2019-06-14 19:30:00 | 1.8867 | 319.9867 | 2.17 | 351.6333 | 2.6733 | 11.13 | 2.77 | 15.7233 | 21.3967 | 880 | 96.0667 | 0
2019-06-14 19:45:00 | 1.5067 | 205.0333 | 1.7433 | 225.3 | 2.41 | 6.42 | 2.69 | 15.0533 | 21.2433 | 880 | 97 | 0
2019-06-14 20:00:00 | 1.7533 | 215.4067 | 2.0233 | 236.7 | 2.6367 | 4.0933 | 2.8567 | 7.44 | 21.17 | 880 | 97.3333 | 0
2019-06-14 20:15:00 | 1.9767 | 312.1967 | 2.2733 | 343.0667 | 3.0133 | 3.7767 | 2.9933 | 244.0867 | 21.0687 | 880 | 97.0667 | 0
2019-06-14 20:30:00 | 2.0967 | 317.1767 | 2.4133 | 348.5333 | 3.3067 | 20.6233 | 3.54 | 15.4867 | 21.05 | 880.4 | 96.76 | 0.45
2019-06-14 20:45:00 | 2.1467 | 288.0167 | 2.47 | 316.5 | 4.2 | 14.14 | 4.3533 | 15.5133 | 20.9467 | 881 | 97.0333 | 0.69667
2019-06-14 21:00:00 | 2.2067 | 294.81 | 2.5433 | 323.9667 | 4.1467 | 62.5733 | 4.18 | 18.3467 | 20.8333 | 881 | 97.5 | 0.596
2019-06-14 21:15:00 | 2.0067 | 320.8667 | 2.31 | 352.6 | 3.8467 | 18.26 | 4.07 | 20.0167 | 20.7687 | 881 | 97.4067 | 1.12
2019-06-14 21:30:00 | 2.2733 | 116.32 | 2.6233 | 127.8267 | 4.4267 | 20.14 | 4.3367 | 22.79 | 20.67 | 881 | 97.7667 | 0.61867
2019-06-14 21:45:00 | 2.2533 | 140.9833 | 2.6033 | 154.9267 | 4.4067 | 13.22 | 4.1533 | 11.5333 | 20.5473 | 881 | 98.1667 | 1.5053
2019-06-14 22:00:00 | 2.3133 | 119.71 | 2.6633 | 131.5467 | 4.3067 | 6.6733 | 4.2133 | 9.7533 | 20.4767 | 881 | 98.34 | 3.7047
2019-06-14 22:15:00 | 2.6667 | 32.1133 | 3.07 | 35.2867 | 5.1933 | 14.2567 | 5.1067 | 15.2433 | 20.4647 | 881 | 98.4667 | 7.0047
2019-06-14 22:30:00 | 2.9733 | 191.6 | 3.4167 | 210.5467 | 5.7467 | 16.9433 | 5.58 | 14.29 | 20.418 | 881.4 | 98.7333 | 9.4547
2019-06-14 22:45:00 | 3.02 | 30.2133 | 3.4733 | 33.1933 | 5.77 | 21.0533 | 5.64 | 20.44 | 20.3373 | 882 | 99.0067 | 9.978
2019-06-14 23:00:00 | 2.6867 | 222.4133 | 3.1 | 244.4 | 5.3433 | 18.5067 | 5.2133 | 17.4933 | 20.2667 | 882 | 99.2333 | 8
2019-06-14 23:15:00 | 2.71 | 218.4833 | 3.12 | 240.0833 | 5.1 | 14.0333 | 5.46 | 19.0867 | 20.2293 | 882 | 99.5667 | 8.8347
2019-06-14 23:30:00 | 2.91 | 8.1967 | 3.3533 | 9.0033 | 5.3467 | 13.12 | 5.5867 | 13.74 | 20.236 | 882 | 99.7 | 9.7127
2019-06-14 23:45:00 | 3.0233 | 75.7067 | 3.4867 | 83.1933 | 5.85 | 17.5467 | 5.83 | 16.75 | 20.1467 | 882 | 99.78 | 11.3127