## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-15 00:00:00 | 3.1164 | 209.2729 | 3.5864 | 229.9714 | 5.8921 | 13.5707 | 5.975 | 16.5293 | 20.0421 | 881.6923 | 99.9 | 13.5921
2019-06-15 00:15:00 | 3.26 | 108.2067 | 3.7533 | 118.9 | 6.1167 | 131.8067 | 6.0867 | 243.37 | 19.8967 | 881 | 99.9667 | 16.0413
2019-06-15 00:30:00 | 3.46 | 125.54 | 3.98 | 137.9533 | 6.21 | 114.96 | 6.0133 | 7.63 | 19.79 | 881 | 99.9 | 15.7193
2019-06-15 00:45:00 | 3.5067 | 218.31 | 4.04 | 239.9 | 6.29 | 25.5667 | 6.066 | 5.63 | 19.6987 | 881 | 99.82 | 17.438
2019-06-15 01:00:00 | 3.3867 | 37.2033 | 3.8933 | 40.8867 | 6.1233 | 4.5067 | 5.9567 | 11.8833 | 19.684 | 881 | 99.66 | 19.552
2019-06-15 01:15:00 | 3.7667 | 5.3867 | 4.3333 | 5.9167 | 6.7 | 12.5633 | 6.6067 | 12.8 | 19.638 | 881 | 99.6 | 21.9313
2019-06-15 01:30:00 | 3.6867 | 215.9467 | 4.2467 | 237.3033 | 6.7533 | 8.97 | 6.82 | 14.3733 | 19.57 | 881 | 99.6 | 21.6313
2019-06-15 01:45:00 | 3.58 | 114.1667 | 4.1167 | 125.46 | 6.2 | 237.6533 | 6.52 | 17.4933 | 19.4967 | 880.2667 | 99.5933 | 17.5673
2019-06-15 02:00:00 | 3.6933 | 122.74 | 4.2567 | 134.8733 | 6.1133 | 6.14 | 6.1933 | 12.1133 | 19.462 | 880 | 99.46 | 16.7067
2019-06-15 02:15:00 | 3.3167 | 186.3033 | 3.8167 | 204.73 | 6.3133 | 119.0333 | 6.07 | 11.28 | 19.4413 | 880 | 99.0933 | 13.178
2019-06-15 02:30:00 | 3.33 | 208.27 | 3.83 | 228.8633 | 5.8467 | 127.0333 | 5.5567 | 10.68 | 19.392 | 880 | 99 | 11.824
2019-06-15 02:45:00 | 3.3433 | 34.4133 | 3.85 | 37.8133 | 5.6833 | 24.0633 | 5.4533 | 9.5267 | 19.3787 | 880 | 99.0667 | 14.91
2019-06-15 03:00:00 | 3.65 | 45.7467 | 4.1967 | 50.2733 | 6.0767 | 27.8833 | 5.8667 | 15.62 | 19.3333 | 880 | 99.24 | 18.732
2019-06-15 03:15:00 | 3.96 | 198.5567 | 4.5533 | 218.1967 | 7.0367 | 11.08 | 7.0067 | 17.92 | 19.296 | 880 | 99.3 | 22.0587
2019-06-15 03:30:00 | 3.8333 | 189.0433 | 4.4067 | 207.73 | 6.9433 | 12.72 | 7.1 | 18.8067 | 19.2267 | 880 | 99.34 | 21.942
2019-06-15 03:45:00 | 3.7867 | 222.8433 | 4.3633 | 244.8733 | 7.08 | 10.0333 | 7.1033 | 18.98 | 19.1587 | 880 | 99.4 | 22.37
2019-06-15 04:00:00 | 4.0667 | 27.6567 | 4.6833 | 30.3867 | 7.2667 | 16.6133 | 7.25 | 19.7933 | 19.1067 | 880 | 99.4 | 22.8887
2019-06-15 04:15:00 | 4.076 | 228.95 | 4.6933 | 251.5933 | 7.0907 | 17.4987 | 7.136 | 5.426 | 19.0827 | 880 | 99.0933 | 21.8967
2019-06-15 04:30:00 | 3.9233 | 2.6867 | 4.5133 | 2.95 | 6.9633 | 15.0933 | 7.0733 | 19.6433 | 19.04 | 880 | 98.6667 | 23.0993
2019-06-15 04:45:00 | 4.32 | 218.76 | 4.9667 | 240.3967 | 7.42 | 123.8133 | 7.1833 | 14.2133 | 18.9707 | 880 | 98.3933 | 27.5887
2019-06-15 05:00:00 | 4.1067 | 11.5133 | 4.7333 | 12.6567 | 7.68 | 350.4333 | 7.3833 | 230.2 | 18.94 | 880 | 98.06 | 30.0013
2019-06-15 05:15:00 | 4.2533 | 203.7633 | 4.8933 | 223.9167 | 7.65 | 9.5267 | 7.3167 | 10.1667 | 18.86 | 880 | 97.5 | 30.4327
2019-06-15 05:30:00 | 4.5867 | 225.91 | 5.28 | 248.25 | 7.3567 | 234.88 | 6.95 | 17.62 | 18.9 | 880 | 96.6333 | 31.4647
2019-06-15 05:45:00 | 4.3667 | 15.01 | 5.0233 | 16.4933 | 7.37 | 8.1033 | 7.28 | 9.8333 | 18.9073 | 880 | 96.1933 | 32.5107
2019-06-15 06:00:00 | 4.18 | 223.3033 | 4.81 | 245.3867 | 7.3167 | 11.4033 | 7.1667 | 13.9667 | 18.8367 | 880 | 96.1 | 32.5667
2019-06-15 06:15:00 | 4.4633 | 40.8133 | 5.1333 | 44.8467 | 7.58 | 116.58 | 7.23 | 14.5267 | 18.77 | 880 | 95.7 | 31.708
2019-06-15 06:30:00 | 4.3367 | 5.7867 | 4.9867 | 6.3467 | 7.7 | 339.0667 | 7.39 | 12.34 | 18.758 | 880 | 95.3 | 31.912
2019-06-15 06:45:00 | 4.25 | 170.84 | 4.8933 | 187.7333 | 7.9033 | 10.67 | 7.6467 | 6.57 | 18.6467 | 880 | 95.6333 | 31.874
2019-06-15 07:00:00 | 4.4367 | 316.6267 | 5.1067 | 347.9333 | 7.5167 | 238.33 | 7.2067 | 17.9767 | 18.628 | 880 | 95.2333 | 32.5687
2019-06-15 07:15:00 | 4.1967 | 41.31 | 4.8267 | 45.39 | 7.49 | 236.4233 | 7.1093 | 121.5733 | 18.6527 | 880 | 94.7 | 30.3973
2019-06-15 07:30:00 | 4.5833 | 8.3967 | 5.2733 | 9.23 | 7.55 | 21.17 | 7.36 | 137.3733 | 18.6633 | 880 | 94.0333 | 31.0733
2019-06-15 07:45:00 | 4.36 | 219.4033 | 5.02 | 241.1033 | 7.7367 | 5.0133 | 7.49 | 10.96 | 18.6667 | 880 | 93.8 | 30.3373
2019-06-15 08:00:00 | 4.44 | 21.5367 | 5.1067 | 23.6633 | 7.6433 | 239.1733 | 7.35 | 15.2733 | 18.684 | 880.4 | 93.56 | 29.8853
2019-06-15 08:15:00 | 4.2467 | 9.95 | 4.8833 | 10.93 | 7.6167 | 237.8233 | 7.13 | 6.3567 | 18.6067 | 881 | 93.9667 | 29.058
2019-06-15 08:30:00 | 4.14 | 206.11 | 4.7633 | 226.4967 | 7.4833 | 4.53 | 7.3433 | 12.0633 | 18.532 | 881 | 94.14 | 29.2927
2019-06-15 08:45:00 | 4.2287 | 282.678 | 4.86 | 310.6333 | 8.1467 | 2.6707 | 7.904 | 8.866 | 18.408 | 881 | 94.8133 | 32.2627
2019-06-15 09:00:00 | 4.5367 | 110.33 | 5.2167 | 121.24 | 8.5833 | 2.3967 | 8.42 | 7.8267 | 18.1633 | 881 | 96.3 | 33.862
2019-06-15 09:15:00 | 4.5033 | 269.8167 | 5.1867 | 296.5 | 8.2967 | 343.9667 | 8.1933 | 4.79 | 17.77 | 881 | 98.1667 | 30.2753
2019-06-15 09:30:00 | 4.3 | 126.79 | 4.948 | 139.326 | 7.782 | 141.322 | 8.062 | 15.122 | 17.526 | 881 | 99.06 | 27.044
2019-06-15 09:45:00 | 3.7867 | 230.6033 | 4.36 | 253.4 | 7.45 | 19.7433 | 7.6567 | 20.7567 | 17.4087 | 881 | 99.8667 | 27.9973
2019-06-15 10:00:00 | 3.8933 | 54.7833 | 4.48 | 60.2 | 7.23 | 10.41 | 7.6033 | 18.6967 | 17.4433 | 881 | 100 | 29.906
2019-06-15 10:15:00 | 4.036 | 124.3767 | 4.6433 | 136.6733 | 7.5533 | 13.2033 | 7.4867 | 16.7433 | 17.4533 | 881 | 100 | 31.3153
2019-06-15 10:30:00 | 4.12 | 293.5433 | 4.7433 | 322.5667 | 7.1 | 240.23 | 7.3067 | 9.47 | 17.3733 | 881 | 100 | 32.362
2019-06-15 10:45:00 | 4.0133 | 221.7067 | 4.6233 | 243.6233 | 7.2367 | 224.5433 | 7.6433 | 16.9967 | 17.344 | 881 | 100 | 29.9807
2019-06-15 11:00:00 | 3.7933 | 199.74 | 4.3633 | 219.49 | 7.35 | 9.6167 | 7.7767 | 19.23 | 17.352 | 881 | 100 | 30.732
2019-06-15 11:15:00 | 3.7667 | 313.5667 | 4.3333 | 344.5667 | 6.78 | 7.5733 | 7.12 | 7.7467 | 17.2567 | 881 | 100 | 28.7113
2019-06-15 11:30:00 | 4 | 304.8267 | 4.6133 | 334.9667 | 6.1 | 237.2733 | 5.8867 | 3.3867 | 17.17 | 881 | 100 | 25.5753
2019-06-15 11:45:00 | 3.6373 | 308.678 | 4.1833 | 339.2067 | 5.632 | 12.3493 | 6.0013 | 19.4733 | 17.188 | 881 | 100 | 21.3107
2019-06-15 12:00:00 | 3.8 | 92.35 | 4.37 | 101.48 | 5.9067 | 14.2933 | 5.9267 | 14.7933 | 17.244 | 881 | 100 | 20.558
2019-06-15 12:15:00 | 3.4067 | 285.48 | 3.9133 | 313.7 | 6.1533 | 16.3333 | 5.9267 | 138.9867 | 17.3787 | 881 | 100 | 19.928
2019-06-15 12:30:00 | 3.3733 | 110.96 | 3.88 | 121.9267 | 6.1533 | 19.72 | 6.1667 | 133.5267 | 17.4 | 881 | 100 | 24.1653
2019-06-15 12:45:00 | 3.43 | 106.03 | 3.9433 | 116.5067 | 5.5667 | 119.768 | 5.84 | 10.88 | 17.3933 | 881 | 100 | 26.282
2019-06-15 13:00:00 | 3.2033 | 131.27 | 3.6833 | 144.2467 | 5.3067 | 111.5 | 5.4 | 12.2867 | 17.3 | 881 | 100 | 30.494
2019-06-15 13:15:00 | 3.72 | 222.15 | 4.2733 | 244.11 | 6.0267 | 232.0133 | 5.8733 | 7.2233 | 17.3867 | 881 | 100 | 31.4193
2019-06-15 13:30:00 | 3.6267 | 208.5033 | 4.1667 | 229.11 | 6.64 | 10.14 | 6.6867 | 16.1167 | 17.5867 | 881 | 100 | 30.6707
2019-06-15 13:45:00 | 3.63 | 107.29 | 4.1767 | 117.8933 | 5.64 | 134.2867 | 6.42 | 15.1733 | 17.6367 | 881 | 100 | 26.012
2019-06-15 14:00:00 | 3.6567 | 211.43 | 4.2033 | 232.3333 | 6.3933 | 124.7733 | 6.9067 | 12.32 | 17.89 | 881 | 100 | 26.0513
2019-06-15 14:15:00 | 3.6767 | 197.1233 | 4.2333 | 216.6167 | 6.6167 | 139.8 | 7.1633 | 25.63 | 18.52 | 881 | 100 | 27.4073
2019-06-15 14:30:00 | 3.8367 | 215.0167 | 4.42 | 236.2833 | 6.7433 | 128.9267 | 7.0633 | 16.77 | 18.4133 | 881 | 100 | 28.8213
2019-06-15 14:45:00 | 3.7933 | 259.24 | 4.3633 | 284.8667 | 6.92 | 15.87 | 7.48 | 20.77 | 18.3447 | 881 | 100 | 27.6587
2019-06-15 15:00:00 | 3.7667 | 206.4533 | 4.33 | 226.8667 | 7.1467 | 18.2367 | 7.7 | 28.11 | 18.57 | 881 | 100 | 28.6373
2019-06-15 15:15:00 | 4.2633 | 53.89 | 4.91 | 59.22 | 7.92 | 15.6667 | 8.5933 | 14.8033 | 18.85 | 881 | 100 | 29.214
2019-06-15 15:30:00 | 4.3833 | 251.0767 | 5.05 | 275.9 | 8.3867 | 13.0267 | 8.7067 | 20.9567 | 19.1167 | 881 | 100 | 28.0467
2019-06-15 15:45:00 | 4.34 | 202.7433 | 4.99 | 222.8 | 8.3133 | 15.9967 | 8.6667 | 25.2367 | 19.4033 | 881 | 100 | 25.1987
2019-06-15 16:00:00 | 4.34 | 180.6033 | 4.9967 | 198.4667 | 8.12 | 15.3167 | 8.2 | 14.5233 | 19.5767 | 881 | 99.92 | 28.1307
2019-06-15 16:15:00 | 4.5567 | 237.5233 | 5.2467 | 261 | 8.77 | 18.89 | 8.61 | 18.1867 | 19.9533 | 881 | 98.3 | 35.746
2019-06-15 16:30:00 | 4.79 | 170.1233 | 5.5067 | 186.9333 | 9.1967 | 22.31 | 9.2033 | 23.6133 | 20.4267 | 881 | 96.7667 | 37.1567
2019-06-15 16:45:00 | 5.12 | 263.9967 | 5.8867 | 290.1 | 9.4867 | 18.0767 | 9.47 | 22.7533 | 21.4767 | 881 | 92.1667 | 38.9007
2019-06-15 17:00:00 | 4.9467 | 198.2367 | 5.6933 | 217.8333 | 9.1533 | 17.4767 | 9.2233 | 25.5667 | 20.8033 | 881 | 89.5667 | 40.344
2019-06-15 17:15:00 | 4.86 | 214.28 | 5.59 | 235.4667 | 8.95 | 17.73 | 8.9333 | 24.0067 | 19.68 | 881 | 93.0667 | 35.478
2019-06-15 17:30:00 | 4.3333 | 215.2467 | 4.9833 | 236.5333 | 8.1167 | 16.7767 | 8.2467 | 25.8667 | 19.48 | 881 | 94 | 30.04
2019-06-15 17:45:00 | 4.28 | 143.7867 | 4.9267 | 157.9967 | 8.2767 | 13.7367 | 8.48 | 22.33 | 19.8867 | 881 | 94.2667 | 27.3747
2019-06-15 18:00:00 | 4.3267 | 168.4133 | 4.9867 | 185.0633 | 8.5567 | 14.9633 | 8.6533 | 19.35 | 20.2867 | 881 | 94 | 30.3633
2019-06-15 18:15:00 | 4.2133 | 199.1833 | 4.8467 | 218.8833 | 8.0733 | 11.7533 | 8.16 | 26.8733 | 19.7767 | 881 | 93.9 | 35.982
2019-06-15 18:30:00 | 4.7067 | 231.8833 | 5.4133 | 254.8167 | 8.6667 | 11.1533 | 8.62 | 19.6667 | 19.3367 | 881 | 94.1 | 39.468
2019-06-15 18:45:00 | 4.6333 | 108.5833 | 5.3267 | 119.32 | 8.56 | 25.7667 | 8.45 | 41.3933 | 19.1133 | 881 | 93.9933 | 32.8707
2019-06-15 19:00:00 | 4.4067 | 196.93 | 5.0733 | 216.4 | 8.48 | 17.9267 | 8.21 | 19.72 | 19.008 | 881 | 94.2333 | 31.6847
2019-06-15 19:15:00 | 4.4467 | 160.0467 | 5.1167 | 175.8667 | 8.67 | 13.5367 | 8.3367 | 20.95 | 18.8567 | 881 | 95 | 30.2307
2019-06-15 19:30:00 | 4.08 | 75.0867 | 4.7033 | 82.5067 | 7.79 | 9.0967 | 7.5833 | 16.0567 | 18.5833 | 881 | 96 | 27.9213
2019-06-15 19:45:00 | 3.52 | 62.2133 | 4.0467 | 68.3667 | 6.8467 | 14.07 | 6.8667 | 24.8633 | 18.3967 | 881 | 95.9933 | 24.8007
2019-06-15 20:00:00 | 3.48 | 222.0667 | 4.0067 | 244.0333 | 6.7867 | 16.63 | 6.64 | 26.5633 | 18.25 | 881 | 96.3667 | 23.286
2019-06-15 20:15:00 | 2.98 | 212.2667 | 3.4333 | 233.2567 | 5.6833 | 18.1133 | 5.6933 | 30.5033 | 18.1587 | 881.0667 | 96.36 | 20.5807
2019-06-15 20:30:00 | 2.8 | 10.9133 | 3.2267 | 11.99 | 4.7367 | 4.8267 | 4.64 | 19.9567 | 18.22 | 882 | 95.6 | 14.1533
2019-06-15 20:45:00 | 2.9067 | 152.9467 | 3.3433 | 168.0667 | 5.6833 | 117.4667 | 5.5767 | 27.4333 | 18.2313 | 882 | 95.1667 | 12.2247
2019-06-15 21:00:00 | 2.4933 | 220.5933 | 2.8767 | 242.4 | 4.8633 | 120.5133 | 4.6433 | 31.9867 | 18.0967 | 882 | 95.5 | 13.3273
2019-06-15 21:15:00 | 2.262 | 59.4653 | 2.602 | 65.3393 | 4.1733 | 2.7707 | 4.0373 | 22.0373 | 17.9553 | 882 | 95.82 | 12.7533
2019-06-15 21:30:00 | 1.9167 | 179.0167 | 2.2067 | 196.72 | 3.6367 | 13.91 | 3.26 | 33.2967 | 17.868 | 882 | 95.5 | 11.6067
2019-06-15 21:45:00 | 1.3547 | 307.1433 | 1.562 | 337.52 | 2.6293 | 130.5973 | 2.4613 | 25.2393 | 17.7753 | 882 | 95.3067 | 6.7713
2019-06-15 22:00:00 | 1.64 | 297.03 | 1.89 | 326.4 | 2.6733 | 348.2333 | 2.6867 | 11.0167 | 17.8633 | 882 | 93.9333 | 6.966
2019-06-15 22:15:00 | 2.3633 | 27.8367 | 2.7167 | 30.59 | 4.6533 | 341.4667 | 4.2867 | 1.2 | 17.8627 | 882 | 94 | 6.4507
2019-06-15 22:30:00 | 2.232 | 135.54 | 2.574 | 148.932 | 4.45 | 347.68 | 4.424 | 1.222 | 17.586 | 882 | 95.08 | 9.858
2019-06-15 22:45:00 | 2.82 | 265.4567 | 3.24 | 291.7 | 5.56 | 2.8233 | 5.4833 | 5.5867 | 17.3993 | 882 | 96.2333 | 15.1387
2019-06-15 23:00:00 | 3.26 | 67.19 | 3.7467 | 73.8267 | 6.2533 | 3.71 | 6.2367 | 14.7267 | 17.4833 | 882 | 96.2333 | 19.6607
2019-06-15 23:15:00 | 3.8933 | 269.18 | 4.49 | 295.8 | 7.6133 | 18.5933 | 7.63 | 18.0733 | 17.5367 | 882 | 96.24 | 20.5333
2019-06-15 23:30:00 | 3.6667 | 298.6067 | 4.2233 | 328.1333 | 7.2 | 17.5733 | 7.5433 | 23.2067 | 17.61 | 882 | 96.1333 | 24.21
2019-06-15 23:45:00 | 4.0867 | 204.5433 | 4.7 | 224.7667 | 8.0867 | 17.7133 | 8.5533 | 23.03 | 17.5467 | 881.9333 | 96.6067 | 24.546