## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-16 00:00:00 | 3.775 | 172.675 | 4.345 | 189.75 | 7.475 | 14.47 | 7.965 | 18.605 | 17.5307 | 881 | 96.64 | 25.0586
2019-06-16 00:15:00 | 3.4533 | 185.5167 | 3.98 | 203.8667 | 6.79 | 14.0767 | 7.3133 | 24.79 | 17.6367 | 881.7333 | 95.8333 | 21.1987
2019-06-16 00:30:00 | 3.4933 | 256.5033 | 4.0133 | 281.8667 | 6.83 | 9.43 | 7.144 | 27.6567 | 17.7433 | 882 | 95.0333 | 22.4773
2019-06-16 00:45:00 | 3.79 | 102.6533 | 4.36 | 112.7933 | 7.3467 | 9.1967 | 7.5633 | 21.3933 | 17.7147 | 882 | 95.4067 | 18.9693
2019-06-16 01:00:00 | 3.5567 | 234.8533 | 4.0867 | 258.0667 | 6.9867 | 23.13 | 7.55 | 24.6867 | 17.656 | 882 | 95.3 | 19.7507
2019-06-16 01:15:00 | 3.36 | 161.32 | 3.8733 | 177.2667 | 6.6 | 12.7667 | 6.7833 | 24.5867 | 17.6227 | 882 | 95.2067 | 20.1693
2019-06-16 01:30:00 | 3.2533 | 263.7267 | 3.74 | 289.8 | 6.0267 | 11.94 | 5.9967 | 21.72 | 17.584 | 882 | 95.3 | 16.2453
2019-06-16 01:45:00 | 3.2 | 297.03 | 3.6767 | 326.4 | 6.1033 | 239.2933 | 6.0333 | 9.6133 | 17.46 | 881.9333 | 95.9333 | 14.7193
2019-06-16 02:00:00 | 2.8867 | 314.0167 | 3.3167 | 345.0667 | 5.31 | 7.6 | 5.5267 | 14.0667 | 17.32 | 881 | 96.4 | 13.6427
2019-06-16 02:15:00 | 3.0533 | 274.7933 | 3.5133 | 301.9667 | 5.6133 | 14.1133 | 5.8533 | 18.09 | 17.2633 | 881 | 96.9667 | 19.068
2019-06-16 02:30:00 | 3.2067 | 278.38 | 3.6933 | 305.9 | 5.58 | 15.36 | 5.7533 | 19.01 | 17.15 | 881 | 97.5 | 23.9653
2019-06-16 02:45:00 | 3.2267 | 18.3233 | 3.71 | 20.1267 | 5.2333 | 19.9567 | 5.4233 | 18.8933 | 17.2667 | 881 | 96.9 | 24.282
2019-06-16 03:00:00 | 3.2533 | 207.81 | 3.75 | 228.3533 | 6.0467 | 9.6567 | 6.166 | 16.98 | 17.1267 | 880.6 | 97.6333 | 26.5113
2019-06-16 03:15:00 | 3.38 | 17.54 | 3.8867 | 19.2733 | 5.88 | 337.8 | 5.5633 | 142.26 | 16.9787 | 880.0667 | 98.5667 | 26.562
2019-06-16 03:30:00 | 3.5533 | 40.06 | 4.0867 | 44.0133 | 5.8933 | 117.2867 | 5.8033 | 119.4667 | 16.96 | 880.6 | 98.66 | 25.7453
2019-06-16 03:45:00 | 3.1667 | 224.2 | 3.64 | 246.3733 | 5.63 | 17.92 | 5.7333 | 20.7267 | 16.9507 | 880 | 98.3933 | 29.278
2019-06-16 04:00:00 | 3.34 | 14.0667 | 3.84 | 15.4533 | 6.2367 | 7.58 | 6.3 | 9.8067 | 16.8933 | 880 | 98.4333 | 32.158
2019-06-16 04:15:00 | 3.6167 | 99.5967 | 4.1667 | 109.4333 | 6.5933 | 2.1967 | 6.9133 | 14.61 | 16.8187 | 880 | 98.7067 | 30.63
2019-06-16 04:30:00 | 3.2833 | 103.61 | 3.7733 | 113.8533 | 5.6 | 2.7633 | 6.0933 | 13.3033 | 16.8333 | 880 | 98.4667 | 27.614
2019-06-16 04:45:00 | 2.9333 | 48.3833 | 3.3767 | 53.1567 | 5.38 | 19.2333 | 5.5133 | 21.4933 | 16.7867 | 880 | 98.2933 | 31.9087
2019-06-16 05:00:00 | 3.38 | 7.4367 | 3.89 | 8.1633 | 5.7 | 10.76 | 6.32 | 25.2333 | 16.7867 | 880 | 97.6 | 27.73
2019-06-16 05:15:00 | 3.4133 | 14.0933 | 3.9267 | 15.4833 | 6.0333 | 118.62 | 6.03 | 13.5933 | 16.8453 | 880 | 96.7667 | 22.682
2019-06-16 05:30:00 | 3.1733 | 138.2 | 3.6467 | 151.8567 | 5.88 | 114.52 | 5.93 | 232.5 | 16.888 | 880 | 96.0333 | 21.0147
2019-06-16 05:45:00 | 3.3267 | 206.1033 | 3.8233 | 226.4733 | 6.28 | 237.8067 | 6.5067 | 7.25 | 16.82 | 880 | 95.96 | 29.01
2019-06-16 06:00:00 | 4.0133 | 224.6633 | 4.6167 | 246.8733 | 7.62 | 9.6867 | 7.68 | 15.7433 | 16.6667 | 880 | 97.0667 | 47.2173
2019-06-16 06:15:00 | 5.0533 | 222.4633 | 5.8133 | 244.4633 | 9.53 | 16.3467 | 10.07 | 22.4567 | 16.4767 | 880 | 98.3667 | 48.1073
2019-06-16 06:30:00 | 5.8 | 74.9233 | 6.6733 | 82.33 | 10.3967 | 14.8267 | 11.3567 | 22.1967 | 16.51 | 879.6 | 98.66 | 41.772
2019-06-16 06:45:00 | 5.48 | 165.5267 | 6.3133 | 181.9 | 9.5833 | 182.37 | 10.14 | 15.8233 | 16.8667 | 879.7333 | 97 | 29.2847
2019-06-16 07:00:00 | 4.58 | 160.1333 | 5.2733 | 175.9667 | 8.406 | 10.9167 | 9.0267 | 16.2567 | 17.1667 | 880 | 95.4667 | 41.384
2019-06-16 07:15:00 | 4.3933 | 61.52 | 5.0567 | 67.6 | 8.3367 | 12.11 | 8.48 | 14.3233 | 17.3113 | 880 | 95.2267 | 21.6193
2019-06-16 07:30:00 | 2.9133 | 35.7667 | 3.35 | 39.3 | 5.4833 | 3.7967 | 5.5733 | 55.75 | 17.338 | 880.4 | 95.1333 | 6.6707
2019-06-16 07:45:00 | 2.2567 | 108.2067 | 2.5933 | 118.9067 | 3.9567 | 23.04 | 4.2767 | 12.1867 | 17.51 | 881 | 94.0333 | 7.9587
2019-06-16 08:00:00 | 2.6033 | 219.52 | 2.9933 | 241.2333 | 4.9767 | 11.8133 | 5.5033 | 12.3133 | 17.6167 | 881 | 94.0333 | 10.65
2019-06-16 08:15:00 | 2.7433 | 177.4033 | 3.1567 | 194.95 | 5.1967 | 0.99667 | 5.4267 | 241.5133 | 17.6813 | 881.0667 | 93.8933 | 9.1693
2019-06-16 08:30:00 | 2.1633 | 215.93 | 2.49 | 237.2833 | 4.1567 | 4.8033 | 4.5533 | 4.0333 | 17.7267 | 882 | 93.6667 | 9.062
2019-06-16 08:45:00 | 2.3367 | 10.5033 | 2.6867 | 11.5367 | 4.5867 | 125.3333 | 4.6767 | 9.48 | 17.7393 | 882 | 94.1 | 7.7613
2019-06-16 09:00:00 | 2.3833 | 200.07 | 2.74 | 219.8567 | 4.6867 | 119.3267 | 5.0633 | 54.44 | 17.77 | 882 | 94.2333 | 8.4987
2019-06-16 09:15:00 | 2.4067 | 272.6967 | 2.77 | 299.6667 | 4.4 | 116.7067 | 4.6433 | 125.82 | 17.9733 | 882.0667 | 94.2333 | 0.936
2019-06-16 09:30:00 | 1.52 | 296.5367 | 1.7567 | 325.8667 | 2.7067 | 335.7333 | 3.0567 | 123.36 | 18.2267 | 883 | 92.0333 | 1.24
2019-06-16 09:45:00 | 2.02 | 252.9467 | 2.3333 | 277.9667 | 4.0367 | 7.9667 | 4.09 | 8.15 | 18.5 | 883 | 91.8 | 5.584
2019-06-16 10:00:00 | 2.5467 | 104.2933 | 2.9267 | 114.6067 | 4.93 | 241.3667 | 5.07 | 6.27 | 18.8533 | 883 | 92.2 | 4.5967
2019-06-16 10:15:00 | 2.3667 | 12.2567 | 2.7267 | 13.4633 | 4.32 | 3.7467 | 4.3467 | 245.0467 | 18.9873 | 883 | 90.1067 | 3.7853
2019-06-16 10:30:00 | 2.3267 | 22.29 | 2.68 | 24.4833 | 4.34 | 11.6533 | 4.66 | 14.0733 | 19.1833 | 883 | 90.24 | 6.2507
2019-06-16 10:45:00 | 2.84 | 312.53 | 3.2667 | 343.4333 | 5.4 | 7.2267 | 5.5833 | 11.8067 | 19.0967 | 883 | 91.2333 | 10.206
2019-06-16 11:00:00 | 2.7867 | 288.1367 | 3.2067 | 316.6333 | 5.3933 | 1.7467 | 5.37 | 9.56 | 18.99 | 883 | 92.5667 | 14.48
2019-06-16 11:15:00 | 3.2867 | 7.4467 | 3.7867 | 8.1733 | 6.21 | 19.4867 | 6.0633 | 17.6667 | 18.72 | 883 | 94.1333 | 16.8307
2019-06-16 11:30:00 | 3.14 | 206.8733 | 3.6133 | 227.3267 | 5.87 | 22.6333 | 5.9833 | 15.64 | 18.568 | 883 | 95.3333 | 17.0233
2019-06-16 11:45:00 | 3.0033 | 69.66 | 3.4633 | 76.5467 | 5.9467 | 22.55 | 5.9833 | 24.51 | 18.9067 | 883 | 96.6933 | 29.1013
2019-06-16 12:00:00 | 3.6833 | 247.6733 | 4.2367 | 272.1667 | 7.28 | 20.2367 | 7.5567 | 28.1433 | 18.9067 | 883 | 96.8 | 30.5653
2019-06-16 12:15:00 | 3.9733 | 134.99 | 4.5767 | 148.33 | 7.9067 | 19.8233 | 8.2533 | 25.3233 | 19.1167 | 883 | 97.1933 | 32.8867
2019-06-16 12:30:00 | 3.84 | 124.07 | 4.4233 | 136.33 | 7.6467 | 12.4167 | 8.2 | 29.4567 | 19.49 | 883 | 96.7667 | 29.7547
2019-06-16 12:45:00 | 4.3167 | 141.45 | 4.9667 | 155.4333 | 8.3133 | 9.2 | 8.8533 | 17.9833 | 19.79 | 883 | 94.5333 | 33.952
2019-06-16 13:00:00 | 4.9033 | 43.0167 | 5.6467 | 47.26 | 9.0933 | 12.7333 | 9.3267 | 13.1367 | 19.4767 | 883 | 93.4 | 30.736
2019-06-16 13:15:00 | 4.6767 | 184.7967 | 5.38 | 203.0667 | 8.82 | 18.61 | 8.7933 | 16.6033 | 19.4753 | 883 | 93.9067 | 26.8113
2019-06-16 13:30:00 | 4.51 | 64.7633 | 5.1867 | 71.16 | 8.5467 | 14.01 | 8.4667 | 18.97 | 19.7767 | 882.6 | 93.4 | 18.8533
2019-06-16 13:45:00 | 4 | 135.2 | 4.6033 | 148.5667 | 7.74 | 11.85 | 7.9067 | 17.7567 | 20.2933 | 882 | 92.2267 | 9.3233
2019-06-16 14:00:00 | 3.24 | 160.68 | 3.7233 | 176.5667 | 6.1733 | 11.3633 | 6.1533 | 22.19 | 20.58 | 882.4 | 90.6 | 6.686
2019-06-16 14:15:00 | 2.68 | 279.8667 | 3.08 | 307.5333 | 5.1467 | 242.1067 | 4.86 | 15.5433 | 21.0633 | 883 | 88.8333 | 5.514
2019-06-16 14:30:00 | 2.42 | 116.2267 | 2.7867 | 127.72 | 4.3533 | 237.9067 | 4.06 | 5.6767 | 21.5767 | 883 | 86.9 | 5.1487
2019-06-16 14:45:00 | 2.7333 | 309.4633 | 3.1567 | 340.0667 | 5.0367 | 9.0833 | 4.92 | 18.8133 | 22.2567 | 883 | 84.3667 | 7.0793
2019-06-16 15:00:00 | 2.9467 | 240.0033 | 3.39 | 263.7333 | 5.75 | 14.0367 | 5.5 | 14.7467 | 22.65 | 883 | 83.9667 | 11.2487
2019-06-16 15:15:00 | 3.2667 | 120.9033 | 3.7567 | 132.8533 | 6.2427 | 10.3267 | 6.05 | 19.3333 | 22.82 | 883 | 82.2933 | 17.5147
2019-06-16 15:30:00 | 4.1533 | 104.9767 | 4.7767 | 115.36 | 7.82 | 5.1267 | 7.4967 | 24.06 | 22.56 | 882.6 | 82.0667 | 25.2007
2019-06-16 15:45:00 | 5.0467 | 217.7167 | 5.8033 | 239.2433 | 9.43 | 15.47 | 9.0567 | 21.1333 | 22.0333 | 882 | 83.6333 | 28.778
2019-06-16 16:00:00 | 5.1 | 121.5633 | 5.87 | 133.5767 | 9.77 | 20.7967 | 9.746 | 24.58 | 21.976 | 882 | 84.0333 | 29.0193
2019-06-16 16:15:00 | 5.038 | 188.102 | 5.8073 | 206.7067 | 9.514 | 16.7687 | 9.842 | 16.4453 | 22.2647 | 882 | 83.5067 | 26.6587
2019-06-16 16:30:00 | 5.1867 | 188.9833 | 5.98 | 207.6667 | 9.7067 | 14.79 | 10.0033 | 18.52 | 22.486 | 882 | 82.0667 | 20.79
2019-06-16 16:45:00 | 4.8933 | 80.35 | 5.6433 | 88.3 | 8.64 | 21.7633 | 9.2733 | 25.1833 | 22.5627 | 882 | 80.4667 | 14.274
2019-06-16 17:00:00 | 4.5067 | 182.79 | 5.1967 | 200.8667 | 8.0733 | 17.2233 | 8.5467 | 15.41 | 22.6867 | 882 | 80.7333 | 12.4733
2019-06-16 17:15:00 | 3.44 | 115.5667 | 3.9633 | 126.9933 | 6.11 | 29.5733 | 6.0567 | 38.83 | 22.6747 | 882 | 80.25 | 11.1647
2019-06-16 17:30:00 | 3.4533 | 178.3133 | 3.9833 | 195.9333 | 6.43 | 19.3867 | 6.3167 | 17.362 | 22.5467 | 882 | 80.7167 | 6.67
2019-06-16 17:45:00 | 3.1933 | 246.3167 | 3.68 | 270.6667 | 6.26 | 22.64 | 6.15 | 20.5033 | 22.3433 | 882 | 82.7 | 5.5707
2019-06-16 18:00:00 | 2.8733 | 92.3633 | 3.3133 | 101.4867 | 5.52 | 241.8867 | 5.4767 | 5.31 | 22.1567 | 882 | 82.4333 | 4.8507
2019-06-16 18:15:00 | 2.3733 | 118.1733 | 2.7367 | 129.8567 | 4.5567 | 346.3667 | 4.4033 | 32.52 | 22.28 | 882 | 82.3 | 4.3087
2019-06-16 18:30:00 | 2.3533 | 130.1867 | 2.7033 | 143.0567 | 4.5967 | 129.56 | 4.67 | 17.2133 | 22.476 | 882 | 83.2333 | 3.4333
2019-06-16 18:45:00 | 2.2533 | 100.1367 | 2.5967 | 110.04 | 4.44 | 10.08 | 4.3133 | 16.07 | 22.5267 | 882 | 84.1667 | 0.12867
2019-06-16 19:00:00 | 1.4067 | 223.2967 | 1.63 | 245.3733 | 2.7333 | 9.1667 | 2.8 | 13.4567 | 22.28 | 882 | 83.3 | 0
2019-06-16 19:15:00 | 1.1633 | 65.48 | 1.3367 | 71.9533 | 2.3267 | 17.6733 | 2.2567 | 27.1233 | 22.05 | 882 | 84.3667 | 0
2019-06-16 19:30:00 | 1.0567 | 58.46 | 1.2233 | 64.24 | 2.12 | 24.64 | 2.0767 | 26.842 | 21.8567 | 882 | 84.8333 | 0
2019-06-16 19:45:00 | 0.85333 | 58.46 | 0.99 | 64.24 | 1.7067 | 19.94 | 1.9 | 26.858 | 21.5367 | 882 | 84.9 | 0
2019-06-16 20:00:00 | 0.96 | 58.46 | 1.11 | 64.24 | 1.9267 | 21.0933 | 1.96 | 26.8033 | 21.3033 | 882 | 85.2333 | 0
2019-06-16 20:15:00 | 0.984 | 58.46 | 1.134 | 64.24 | 1.956 | 22.5807 | 1.9347 | 26.7947 | 21.068 | 882 | 86.0333 | 0
2019-06-16 20:30:00 | 0.74667 | 58.46 | 0.86333 | 64.24 | 1.4967 | 32.93 | 1.39 | 26.8 | 20.9067 | 882 | 86.9333 | 0
2019-06-16 20:45:00 | 0 | 58.4607 | 0 | 64.2407 | 0 | 32.8633 | 0.053333 | 26.7853 | 20.7613 | 882 | 87.5333 | 0
2019-06-16 21:00:00 | 0 | 58.506 | 0 | 64.29 | 0 | 32.85 | 0 | 26.78 | 20.9 | 882 | 87.4667 | 0
2019-06-16 21:15:00 | 0 | 191.92 | 0 | 210.9 | 0 | 32.85 | 0 | 26.78 | 20.9113 | 882.7333 | 87.6 | 0
2019-06-16 21:30:00 | 0.3 | 191.956 | 0.348 | 210.94 | 0.576 | 142.44 | 0 | 26.78 | 20.766 | 883 | 89.48 | 0
2019-06-16 21:45:00 | 0.88333 | 194.69 | 1.0133 | 213.9333 | 1.7 | 212.7667 | 0.85333 | 230.4333 | 20.4833 | 883 | 92.5333 | 0
2019-06-16 22:00:00 | 0.99 | 182.9167 | 1.1467 | 201 | 1.88 | 199.3667 | 1.4133 | 201.1 | 20.3233 | 883 | 93.1333 | 0
2019-06-16 22:15:00 | 0.98667 | 186.448 | 1.1367 | 204.8867 | 1.82 | 191.8333 | 1.7933 | 193.4467 | 20.36 | 883 | 92.4933 | 0
2019-06-16 22:30:00 | 1.1333 | 178.88 | 1.3167 | 196.5667 | 1.96 | 200.8333 | 1.9533 | 196.2333 | 20.3267 | 883 | 92.9333 | 0
2019-06-16 22:45:00 | 1.3187 | 172.15 | 1.5227 | 189.1667 | 2.192 | 178.1333 | 2.2927 | 179.12 | 20.2187 | 883 | 94.0867 | 0
2019-06-16 23:00:00 | 1.46 | 171.888 | 1.69 | 188.88 | 2.4333 | 180.5333 | 2.5733 | 181.6667 | 20.1267 | 883 | 94.9333 | 0
2019-06-16 23:15:00 | 1.5 | 173.67 | 1.73 | 190.8333 | 2.5767 | 179.7333 | 2.7067 | 174.1667 | 20.0133 | 883 | 95.5067 | 0
2019-06-16 23:30:00 | 1.2333 | 170.3833 | 1.43 | 187.2333 | 2.2767 | 183.4 | 2.3267 | 176.1 | 19.9533 | 883 | 95.64 | 0
2019-06-16 23:45:00 | 0.64 | 173.0867 | 0.73333 | 190.2 | 1.19 | 167.7667 | 1.5767 | 167.5 | 19.9013 | 883 | 95.9 | 0.046