## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-17 00:00:00 | 0.057143 | 182.74 | 0.064286 | 200.8 | 0.11071 | 167.5 | 0.33429 | 167.5 | 19.9164 | 883 | 95.9357 | 0.47571
2019-06-17 00:15:00 | 0.33667 | 218.0733 | 0.39667 | 239.6333 | 0.65667 | 23.0067 | 0.15 | 125.1133 | 19.886 | 883 | 96.1 | 0.71533
2019-06-17 00:30:00 | 0.74333 | 288.74 | 0.85667 | 317.3 | 1.47 | 13.6733 | 1.29 | 21.22 | 19.79 | 883 | 96.34 | 0.87267
2019-06-17 00:45:00 | 1.1367 | 287.38 | 1.3067 | 315.8 | 2.26 | 18.8967 | 2.5 | 19.3467 | 19.6 | 882.9333 | 96.7667 | 0.97
2019-06-17 01:00:00 | 1.2167 | 287.38 | 1.4 | 315.8 | 2.42 | 21.75 | 2.4133 | 19.6867 | 19.36 | 882 | 97.1 | 0.108
2019-06-17 01:15:00 | 1.24 | 306.3133 | 1.43 | 336.6 | 2.28 | 119.5533 | 2.31 | 75.7233 | 19.0767 | 882 | 96.9 | 0
2019-06-17 01:30:00 | 1.18 | 297.3867 | 1.3567 | 326.8 | 2.3133 | 351.6333 | 2.4833 | 259.0967 | 19.01 | 882 | 96.7 | 0
2019-06-17 01:45:00 | 0.98 | 309.56 | 1.1267 | 340.1667 | 1.9567 | 234.0667 | 2.5433 | 237.8633 | 18.962 | 882 | 96.5 | 0
2019-06-17 02:00:00 | 1.0133 | 286.92 | 1.1667 | 315.3 | 2.0233 | 4.18 | 2.69 | 240.7033 | 18.8967 | 882 | 96.3 | 0
2019-06-17 02:15:00 | 1.49 | 176.0767 | 1.7267 | 193.4833 | 2.9633 | 239.2733 | 3.31 | 6.11 | 18.8667 | 882 | 96.2 | 0.73333
2019-06-17 02:30:00 | 1.97 | 203.6233 | 2.2667 | 223.75 | 3.9167 | 12.36 | 4.2567 | 23.17 | 18.7933 | 882 | 96.4667 | 4.3613
2019-06-17 02:45:00 | 2.24 | 311.8 | 2.5733 | 342.6333 | 4.4333 | 15.5233 | 4.57 | 17.5967 | 18.6533 | 882 | 97.1 | 6.9647
2019-06-17 03:00:00 | 2.1733 | 315.74 | 2.4987 | 346.9667 | 4.2987 | 15.8847 | 4.538 | 20.066 | 18.5573 | 882 | 97.5133 | 6.3727
2019-06-17 03:15:00 | 1.8 | 304.5567 | 2.0733 | 334.6667 | 3.5033 | 20.75 | 3.7033 | 19.3767 | 18.4493 | 882 | 98.1667 | 2.9933
2019-06-17 03:30:00 | 1.5933 | 320.6367 | 1.84 | 352.3333 | 3.17 | 13.3633 | 2.9567 | 16.43 | 18.432 | 882 | 98.34 | 0.70133
2019-06-17 03:45:00 | 1.79 | 94.3833 | 2.0607 | 103.7213 | 3.4387 | 1.908 | 3.2173 | 3.9507 | 18.406 | 882 | 98.3933 | 1.6
2019-06-17 04:00:00 | 1.8733 | 116.6433 | 2.1667 | 128.1733 | 3.62 | 6.7033 | 3.6767 | 0.66667 | 18.418 | 882 | 98.3 | 2.2173
2019-06-17 04:15:00 | 1.92 | 296.2 | 2.2067 | 325.5 | 3.82 | 4.91 | 3.92 | 5.3467 | 18.414 | 882 | 98.3667 | 2.2033
2019-06-17 04:30:00 | 2.02 | 129.26 | 2.32 | 142.04 | 4.0067 | 2.4167 | 4.04 | 10.92 | 18.382 | 882 | 98.6333 | 2.2027
2019-06-17 04:45:00 | 2.27 | 308.43 | 2.6167 | 338.9333 | 4.4767 | 6.0333 | 4.3933 | 9.71 | 18.298 | 882 | 98.7067 | 7.146
2019-06-17 05:00:00 | 2.6233 | 264.6367 | 3.0167 | 290.8 | 5.1167 | 3.3133 | 5.2133 | 15.8833 | 18.2433 | 882 | 98.9333 | 11.812
2019-06-17 05:15:00 | 3 | 303.04 | 3.45 | 333 | 5.8033 | 12.2 | 6.18 | 21.2867 | 18.1533 | 882 | 99.2667 | 15.446
2019-06-17 05:30:00 | 3.1067 | 112.9133 | 3.5833 | 124.0733 | 6.1767 | 11.7933 | 6.3133 | 19.7467 | 18.0933 | 882 | 99.6 | 20.334
2019-06-17 05:45:00 | 3.3733 | 10.46 | 3.88 | 11.4833 | 6.5733 | 13.2667 | 6.5933 | 14.3067 | 18.0573 | 881.9333 | 99.9067 | 20.2173
2019-06-17 06:00:00 | 3.3333 | 219.94 | 3.8333 | 241.6833 | 6.4467 | 16.28 | 6.6 | 17.66 | 18.0133 | 881 | 100 | 20.0227
2019-06-17 06:15:00 | 3.4833 | 288.9067 | 4.0067 | 317.4667 | 6.06 | 22.1967 | 6.39 | 27.8333 | 18.0153 | 881.0667 | 100 | 20.9287
2019-06-17 06:30:00 | 3.1967 | 308.2467 | 3.68 | 338.7333 | 5.78 | 32.89 | 5.79 | 38.8533 | 18.022 | 882 | 100 | 21.6153
2019-06-17 06:45:00 | 3.3833 | 270.6067 | 3.8933 | 297.3667 | 6.2467 | 68.9467 | 6.8267 | 4.2167 | 17.9467 | 882 | 100 | 22.8613
2019-06-17 07:00:00 | 3.39 | 317.14 | 3.9 | 348.5 | 6.4267 | 80.8533 | 7.06 | 6.6967 | 17.8667 | 882 | 100 | 24.156
2019-06-17 07:15:00 | 3.5267 | 134.14 | 4.0567 | 147.4 | 6.5133 | 128.4733 | 7.2833 | 10.07 | 17.7567 | 882 | 100 | 29.3107
2019-06-17 07:30:00 | 3.5933 | 93.1867 | 4.1367 | 102.4067 | 6.2933 | 117.86 | 6.9033 | 5.0967 | 17.6567 | 882 | 100 | 30.3647
2019-06-17 07:45:00 | 3.3333 | 221.3533 | 3.84 | 243.2333 | 5.8233 | 119.6133 | 6.2833 | 24.27 | 17.6353 | 882 | 100 | 28.0513
2019-06-17 08:00:00 | 3.3733 | 11.9267 | 3.88 | 13.1067 | 6.2633 | 122.66 | 6.6167 | 16.1833 | 17.678 | 882 | 100 | 26.3953
2019-06-17 08:15:00 | 3.1933 | 64.0467 | 3.6733 | 70.38 | 5.85 | 122.94 | 6.3 | 8.3 | 17.69 | 882 | 100 | 29.03
2019-06-17 08:30:00 | 3.3133 | 44 | 3.8067 | 48.3467 | 5.8967 | 124.0267 | 6.5133 | 7.2467 | 17.6567 | 882 | 100 | 29.4753
2019-06-17 08:45:00 | 3.22 | 3.2133 | 3.7 | 3.52 | 5.2667 | 118.2733 | 5.8833 | 1.9667 | 17.6327 | 882.7333 | 100 | 26.968
2019-06-17 09:00:00 | 3.18 | 2.5333 | 3.6533 | 2.78 | 5.24 | 116.7467 | 5.7833 | 13.08 | 17.67 | 883 | 100 | 25.316
2019-06-17 09:15:00 | 3.3333 | 321.23 | 3.8433 | 353 | 5.7133 | 9.3 | 6.6533 | 103.4067 | 17.6987 | 883 | 100 | 28.1393
2019-06-17 09:30:00 | 3.3867 | 111.4233 | 3.9033 | 122.4333 | 6.0067 | 2.74 | 6.836 | 100.9467 | 17.7867 | 883 | 100 | 29.3967
2019-06-17 09:45:00 | 3.3367 | 116.2967 | 3.84 | 127.8 | 6.02 | 118.34 | 6.6333 | 7.8467 | 17.9867 | 883 | 100 | 28.1427
2019-06-17 10:00:00 | 3.27 | 281.7367 | 3.76 | 309.6 | 5.9667 | 353.1667 | 6.54 | 10.8467 | 18.1867 | 883 | 100 | 25.7347
2019-06-17 10:15:00 | 3.2267 | 27.38 | 3.7133 | 30.0767 | 6.1233 | 4.33 | 6.8667 | 8.7033 | 18.3633 | 883 | 100 | 23.876
2019-06-17 10:30:00 | 3.14 | 181.68 | 3.6133 | 199.6367 | 5.97 | 7.8567 | 6.68 | 13.71 | 18.57 | 883 | 100 | 24.356
2019-06-17 10:45:00 | 3.3367 | 303.5467 | 3.8367 | 333.5667 | 6.22 | 240.0267 | 6.86 | 18.49 | 18.8533 | 883 | 100 | 24.6527
2019-06-17 11:00:00 | 3.4967 | 102.6933 | 4.0233 | 112.84 | 6.54 | 12.0333 | 7.0133 | 13.19 | 18.9133 | 883.4 | 100 | 26.012
2019-06-17 11:15:00 | 3.4267 | 191.8467 | 3.9367 | 210.82 | 6.6333 | 13.69 | 7.04 | 17.66 | 19.1633 | 884 | 100 | 24.984
2019-06-17 11:30:00 | 3.12 | 224.5467 | 3.59 | 246.7533 | 6.0933 | 12.2967 | 6.7867 | 17.06 | 19.5633 | 884 | 100 | 25.092
2019-06-17 11:45:00 | 3.28 | 41.7433 | 3.78 | 45.8667 | 6.3433 | 25.6833 | 6.8033 | 11 | 19.75 | 884 | 99.9933 | 26.0333
2019-06-17 12:00:00 | 3.4933 | 11.8767 | 4.02 | 13.04 | 6.5967 | 7.4233 | 7.2633 | 9.3667 | 19.8567 | 884 | 99.6333 | 24.6407
2019-06-17 12:15:00 | 3.8833 | 255.6233 | 4.4633 | 280.9 | 7.4433 | 13.9967 | 7.9733 | 243.32 | 20.1133 | 884 | 98.6333 | 22.0907
2019-06-17 12:30:00 | 3.83 | 202.17 | 4.4033 | 222.1667 | 7.35 | 16.81 | 7.5933 | 18.4 | 20.4333 | 884 | 98.0333 | 18.2807
2019-06-17 12:45:00 | 3.48 | 3.6133 | 4.0067 | 3.9567 | 6.73 | 14.5567 | 6.8867 | 17.3967 | 21.29 | 884.0667 | 96.8667 | 16.526
2019-06-17 13:00:00 | 3.7467 | 32.7067 | 4.3133 | 35.9367 | 6.8833 | 20.4367 | 6.6133 | 20.3767 | 21.8167 | 885 | 93.4667 | 17.878
2019-06-17 13:15:00 | 3.3467 | 165.4967 | 3.8467 | 181.8633 | 6.1933 | 27.2533 | 6.3967 | 20.8867 | 22.322 | 885 | 90.5 | 19.6767
2019-06-17 13:30:00 | 3.5667 | 8.4633 | 4.1067 | 9.2967 | 6.56 | 28.8067 | 6.5567 | 23.84 | 22.4367 | 885 | 89.3 | 19.8587
2019-06-17 13:45:00 | 3.8467 | 94.7167 | 4.43 | 104.0813 | 7.2053 | 21.634 | 7.2773 | 28.77 | 21.9847 | 885 | 88.78 | 25.186
2019-06-17 14:00:00 | 4.1667 | 259.41 | 4.79 | 285.0667 | 7.76 | 16.43 | 7.8 | 33.8367 | 21.4233 | 885 | 89.7667 | 23.7147
2019-06-17 14:15:00 | 4.4333 | 246.43 | 5.1067 | 270.8 | 8.4033 | 14.6167 | 8.3367 | 19.8733 | 21.47 | 884.2667 | 90.8667 | 22.9007
2019-06-17 14:30:00 | 4.6333 | 164.53 | 5.3267 | 180.8 | 8.93 | 16.4633 | 8.97 | 21.4467 | 21.558 | 884 | 90.8 | 24.6167
2019-06-17 14:45:00 | 4.7933 | 215.83 | 5.51 | 237.1667 | 9.0367 | 16.12 | 8.8967 | 26.9067 | 21.8333 | 884 | 90.3667 | 25.3053
2019-06-17 15:00:00 | 4.64 | 158.6767 | 5.3367 | 174.3667 | 8.71 | 13.1533 | 8.6567 | 27.6533 | 21.944 | 884 | 88.8333 | 23.2107
2019-06-17 15:15:00 | 4.3633 | 273.9433 | 5.0167 | 301.0333 | 8.0833 | 14.03 | 7.9267 | 21.47 | 21.87 | 884 | 88.0733 | 19.7793
2019-06-17 15:30:00 | 4.2367 | 98.31 | 4.8767 | 108.02 | 7.8367 | 10.71 | 7.6467 | 17.9233 | 21.8633 | 884 | 87.7 | 21.006
2019-06-17 15:45:00 | 4.5233 | 123.8433 | 5.2067 | 136.0833 | 8.5133 | 13.1133 | 8.29 | 19.64 | 21.5067 | 884 | 88.3067 | 23.916
2019-06-17 16:00:00 | 4.1767 | 127.05 | 4.8067 | 139.6167 | 7.9733 | 16.92 | 7.8167 | 25.26 | 21.424 | 884 | 88.1333 | 24.0807
2019-06-17 16:15:00 | 4.1467 | 228.9233 | 4.7667 | 251.5667 | 7.95 | 18.2467 | 7.73 | 24.1033 | 21.1233 | 884 | 89.8333 | 24.058
2019-06-17 16:30:00 | 3.9867 | 208.2967 | 4.5933 | 228.9 | 7.5967 | 7.5867 | 7.5167 | 16.1033 | 20.97 | 884 | 89.8333 | 23.3433
2019-06-17 16:45:00 | 3.7133 | 259.9333 | 4.2733 | 285.6333 | 7.0933 | 28.4567 | 7.06 | 29.1567 | 20.7767 | 884 | 89.8 | 23.056
2019-06-17 17:00:00 | 3.48 | 140.4133 | 4.0067 | 154.3 | 6.8867 | 17.7033 | 6.8733 | 22.3833 | 20.7367 | 884 | 91 | 21.048
2019-06-17 17:15:00 | 3.5667 | 217.2867 | 4.1 | 238.7667 | 6.8667 | 14.6933 | 6.57 | 19.4967 | 20.7387 | 884 | 90.0667 | 21.612
2019-06-17 17:30:00 | 3.6067 | 109.0933 | 4.1533 | 119.88 | 6.3933 | 4.1667 | 5.9433 | 10.3767 | 20.54 | 884 | 90 | 22.6873
2019-06-17 17:45:00 | 3.1067 | 73.9433 | 3.57 | 81.2533 | 5.7433 | 11.1533 | 5.4467 | 5.4667 | 20.37 | 883.2667 | 90.6667 | 22.8107
2019-06-17 18:00:00 | 2.8533 | 94.0233 | 3.2833 | 103.3133 | 5.49 | 20.7267 | 5.2733 | 7.4733 | 20.342 | 883 | 91.2 | 21.3113
2019-06-17 18:15:00 | 3.0533 | 44.5133 | 3.51 | 48.91 | 6 | 13.38 | 6.0167 | 19.1733 | 20.5967 | 883 | 91.8333 | 20.0613
2019-06-17 18:30:00 | 3.0133 | 237.64 | 3.4633 | 261.13 | 5.8 | 12.54 | 5.6167 | 13.5333 | 20.706 | 883 | 91.4333 | 21.7353
2019-06-17 18:45:00 | 3.3533 | 190.2433 | 3.8533 | 209.0567 | 5.9167 | 3.99 | 5.85 | 10.8633 | 20.31 | 883 | 89.9 | 23.57
2019-06-17 19:00:00 | 3.5933 | 33.7367 | 4.14 | 37.0633 | 6.5967 | 7.07 | 6.4967 | 13.8433 | 20.09 | 883 | 90.7 | 22.7293
2019-06-17 19:15:00 | 3.5733 | 193.59 | 4.1133 | 212.7233 | 6.67 | 11.6933 | 6.38 | 25.56 | 19.9367 | 883 | 89.9667 | 23.2487
2019-06-17 19:30:00 | 3.0867 | 209.97 | 3.5533 | 230.7233 | 6.1033 | 13.48 | 6.1667 | 19.5533 | 19.79 | 883 | 91.1667 | 25.2513
2019-06-17 19:45:00 | 3.2333 | 75.8167 | 3.7167 | 83.3067 | 6.3933 | 12.28 | 6.3467 | 18.43 | 19.56 | 883 | 92.4667 | 26.508
2019-06-17 20:00:00 | 3.1533 | 72.07 | 3.6367 | 79.1933 | 6.2267 | 10.2733 | 6.3533 | 18.1233 | 19.4133 | 883 | 93.2667 | 27.5267
2019-06-17 20:15:00 | 3.3933 | 41.4067 | 3.9033 | 45.4933 | 6.7533 | 19.88 | 6.7867 | 24.0067 | 19.2333 | 883 | 93.9667 | 27.7473
2019-06-17 20:30:00 | 3.74 | 143.3467 | 4.3033 | 157.5133 | 7.4533 | 12.28 | 7.46 | 22.0467 | 19.08 | 883 | 94.3 | 28.036
2019-06-17 20:45:00 | 3.9667 | 95.51 | 4.5633 | 104.95 | 7.8967 | 14.4767 | 8.0433 | 20.5367 | 19.0387 | 883 | 93.3933 | 28.562
2019-06-17 21:00:00 | 4.0867 | 164.3633 | 4.7033 | 180.6167 | 8.1033 | 15.85 | 8.25 | 21.1167 | 19.0667 | 883 | 92.9 | 27.6673
2019-06-17 21:15:00 | 4.3 | 36.05 | 4.95 | 39.6067 | 8.5767 | 15.9 | 8.79 | 21.8633 | 19.0807 | 883.0667 | 92.8333 | 27.2033
2019-06-17 21:30:00 | 4.2533 | 151.95 | 4.8967 | 166.9733 | 8.45 | 16.3067 | 9.1433 | 23.4167 | 19.054 | 883.6 | 93.1 | 18.664
2019-06-17 21:45:00 | 3.4933 | 165.7767 | 4.03 | 182.1667 | 6.6833 | 7.0167 | 7.7833 | 28.6867 | 19.2633 | 883.7333 | 92.7333 | 15.1807
2019-06-17 22:00:00 | 3.0533 | 47.9567 | 3.5167 | 52.7 | 5.8567 | 19.5033 | 6.5567 | 27.84 | 19.374 | 884 | 92.44 | 15.1273
2019-06-17 22:15:00 | 2.8333 | 209.7 | 3.26 | 230.4367 | 5.46 | 11.5867 | 5.9333 | 18.5667 | 19.3487 | 884 | 93.2 | 17.214
2019-06-17 22:30:00 | 2.9733 | 214.4867 | 3.42 | 235.7033 | 5.72 | 239.28 | 5.7467 | 24.4333 | 19.2833 | 884 | 93.6 | 16.5627
2019-06-17 22:45:00 | 2.8333 | 153.1367 | 3.26 | 168.2667 | 5.4167 | 229.6633 | 5.4 | 7 | 19.3113 | 884 | 93.4067 | 14.7687
2019-06-17 23:00:00 | 2.8467 | 58.17 | 3.2733 | 63.9133 | 5.4033 | 222.1967 | 5.3733 | 237.9467 | 19.322 | 884 | 93.6333 | 15.526
2019-06-17 23:15:00 | 2.6733 | 291.3033 | 3.0733 | 320.1 | 4.9133 | 237.9833 | 4.9233 | 6.1467 | 19.2687 | 884 | 93.8667 | 17.7073
2019-06-17 23:30:00 | 3.1 | 109.7367 | 3.5667 | 120.5867 | 4.7133 | 5.5433 | 4.794 | 10.36 | 19.31 | 884 | 93.3333 | 21.494
2019-06-17 23:45:00 | 3.1067 | 207.6333 | 3.58 | 228.16 | 5.6 | 14.9833 | 5.7633 | 16.0867 | 19.2433 | 884 | 94.2667 | 20.6893