## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-18 00:00:00 | 3.285 | 3.6964 | 3.785 | 4.0607 | 5.6893 | 16.725 | 5.9121 | 18.3793 | 19.1429 | 884 | 94.4786 | 20.7814
2019-06-18 00:15:00 | 3.632 | 18.03 | 4.174 | 19.806 | 5.7533 | 8.232 | 5.844 | 14.03 | 19.1493 | 884 | 93.66 | 16.4867
2019-06-18 00:30:00 | 3.2 | 14.6233 | 3.6833 | 16.0633 | 5.3533 | 2.9933 | 5.4533 | 9.8433 | 19.24 | 884 | 92.6333 | 10.404
2019-06-18 00:45:00 | 2.99 | 299.0333 | 3.4433 | 328.6 | 5.3333 | 2.6467 | 5.51 | 22.8433 | 19.0667 | 884 | 92.8667 | 12.6633
2019-06-18 01:00:00 | 3.0033 | 94.7933 | 3.4633 | 104.1733 | 5.7333 | 4.72 | 5.9567 | 23.25 | 18.9467 | 884 | 93.4667 | 17.6353
2019-06-18 01:15:00 | 3.2333 | 211.2433 | 3.7267 | 232.13 | 6.1 | 21.1333 | 6.4733 | 20.0667 | 18.8367 | 883.9333 | 94.0333 | 18.2787
2019-06-18 01:30:00 | 3.3467 | 214.7567 | 3.8467 | 235.9967 | 6.3067 | 18.4467 | 6.5867 | 21.7333 | 18.7767 | 883 | 94.5667 | 14.6273
2019-06-18 01:45:00 | 3.18 | 19 | 3.6533 | 20.8733 | 5.47 | 11.18 | 5.54 | 9.2767 | 18.7587 | 883 | 94.84 | 14.0053
2019-06-18 02:00:00 | 3.2067 | 4.8733 | 3.6867 | 5.3533 | 5.2233 | 225.8067 | 5.4267 | 12.97 | 18.732 | 883 | 95.04 | 15.1293
2019-06-18 02:15:00 | 3.1333 | 15.6833 | 3.6067 | 17.23 | 5.61 | 336.1 | 5.43 | 3.9933 | 18.7333 | 883 | 95.4 | 11.4013
2019-06-18 02:30:00 | 2.5667 | 20.5167 | 2.96 | 22.5433 | 4.7833 | 356.78 | 5.1433 | 9.8267 | 18.6067 | 883 | 96.2667 | 7.8893
2019-06-18 02:45:00 | 2.6967 | 102.1467 | 3.1033 | 112.24 | 4.85 | 2.7633 | 4.8333 | 11.8567 | 18.5673 | 883 | 96.26 | 8.4307
2019-06-18 03:00:00 | 2.3433 | 276.88 | 2.6967 | 304.2667 | 4.6167 | 1.79 | 4.72 | 55.99 | 18.5567 | 883 | 96.1 | 11.0107
2019-06-18 03:15:00 | 2.6433 | 189.1167 | 3.0367 | 207.8167 | 5.18 | 10.53 | 5.2167 | 20.6967 | 18.516 | 882.2667 | 96.2 | 9.516
2019-06-18 03:30:00 | 2.6167 | 197.85 | 3.0167 | 217.4167 | 4.42 | 7.3567 | 4.5633 | 28.9767 | 18.476 | 882 | 96.44 | 7.456
2019-06-18 03:45:00 | 3.1933 | 43.1267 | 3.6733 | 47.39 | 4.4533 | 6.7567 | 4.86 | 2.74 | 18.512 | 882 | 96.1933 | 9.2333
2019-06-18 04:00:00 | 3.38 | 16.28 | 3.8867 | 17.89 | 5.02 | 237.5167 | 5.1 | 9.6733 | 18.532 | 882 | 96.14 | 9.182
2019-06-18 04:15:00 | 2.8567 | 16.57 | 3.2967 | 18.2033 | 5.0833 | 121.2 | 5.2233 | 10.3533 | 18.46 | 882 | 96.5667 | 7.7953
2019-06-18 04:30:00 | 2.5967 | 38.3567 | 2.99 | 42.15 | 4.93 | 126.0333 | 5.2167 | 10.56 | 18.408 | 882 | 96.8333 | 6.3273
2019-06-18 04:45:00 | 2.36 | 34.3433 | 2.7133 | 37.7333 | 4.6567 | 3.0467 | 4.9067 | 7.0967 | 18.2867 | 882 | 96.8933 | 6.5127
2019-06-18 05:00:00 | 2.3467 | 195.0033 | 2.7067 | 214.2867 | 4.55 | 5.46 | 4.8 | 14.65 | 18.248 | 882 | 97.04 | 7.5887
2019-06-18 05:15:00 | 2.5267 | 111.29 | 2.9067 | 122.3 | 4.4367 | 9.4467 | 4.6467 | 12.7533 | 18.1767 | 882 | 97.5667 | 6.1333
2019-06-18 05:30:00 | 2.4533 | 324.486 | 2.8267 | 356.58 | 3.83 | 15.2133 | 4.4133 | 25.6333 | 18.1833 | 882 | 97.5667 | 2.984
2019-06-18 05:45:00 | 1.82 | 260.0233 | 2.0967 | 285.7333 | 3.6033 | 17.3133 | 3.39 | 25.9633 | 18.1553 | 882 | 97.64 | 0
2019-06-18 06:00:00 | 1.4133 | 77.4567 | 1.6233 | 85.1133 | 2.7967 | 25.8467 | 1.7633 | 13.5833 | 18.086 | 882 | 97.84 | 0
2019-06-18 06:15:00 | 1.3333 | 317.5433 | 1.5333 | 348.9333 | 2.54 | 31.1867 | 2.6867 | 35.6333 | 18.096 | 882 | 97.9733 | 0
2019-06-18 06:30:00 | 1.0933 | 312.01 | 1.26 | 342.8667 | 2.1733 | 28.14 | 2.0867 | 36.9 | 18.128 | 882 | 98.04 | 0
2019-06-18 06:45:00 | 1.2267 | 316.6767 | 1.4167 | 348 | 2.4133 | 26.6967 | 2.2033 | 24.5433 | 18.1913 | 882 | 98.02 | 0
2019-06-18 07:00:00 | 1.6333 | 320.3167 | 1.8833 | 352 | 3.0267 | 23.2633 | 2.7967 | 21.5833 | 18.21 | 882 | 98.0333 | 1.282
2019-06-18 07:15:00 | 1.8833 | 314.1 | 2.1633 | 345.1667 | 3.5867 | 16.77 | 3.29 | 15.9133 | 18.204 | 882 | 98.4667 | 1.5233
2019-06-18 07:30:00 | 1.7967 | 322.2933 | 2.0633 | 354.1667 | 3.3667 | 10.5433 | 3.5167 | 11.9867 | 18.2533 | 882.4 | 98.7333 | 1.152
2019-06-18 07:45:00 | 1.98 | 312.8567 | 2.2733 | 343.8 | 3.1867 | 12.5233 | 3.6133 | 18.68 | 18.278 | 883 | 98.94 | 0.65933
2019-06-18 08:00:00 | 2.1 | 313.6567 | 2.42 | 344.6667 | 3.28 | 243.07 | 3.6333 | 16.9133 | 18.302 | 883 | 99.1 | 1.1267
2019-06-18 08:15:00 | 1.6933 | 306.89 | 1.9533 | 337.2333 | 3.0167 | 10.2667 | 3.44 | 26.7733 | 18.54 | 883 | 98.8933 | 0.55667
2019-06-18 08:30:00 | 1.62 | 117.8433 | 1.8733 | 129.4933 | 3.1367 | 16.4533 | 3.4933 | 21.8467 | 18.7933 | 883 | 98.3333 | 1.6253
2019-06-18 08:45:00 | 1.86 | 187.8333 | 2.1433 | 206.4067 | 3.58 | 5.0567 | 3.88 | 15.5233 | 19.3033 | 883 | 97.4333 | 1.462
2019-06-18 09:00:00 | 1.86 | 12.6733 | 2.15 | 13.9267 | 3.4733 | 10.3233 | 3.9 | 10.8567 | 19.6967 | 883.4 | 95.7667 | 1.0753
2019-06-18 09:15:00 | 2.22 | 29.4667 | 2.55 | 32.3767 | 3.66 | 10.82 | 4.1667 | 18.6967 | 19.7733 | 884 | 94.4 | 1.6233
2019-06-18 09:30:00 | 2.18 | 18.6867 | 2.5033 | 20.5367 | 3.7 | 4.7333 | 4.0733 | 9.3967 | 20.06 | 884 | 94.0667 | 1.2993
2019-06-18 09:45:00 | 2.14 | 16.6667 | 2.4667 | 18.3067 | 3.75 | 17.6733 | 4.01 | 14.37 | 20.3867 | 884 | 93.1 | 0.87267
2019-06-18 10:00:00 | 2.1133 | 216.32 | 2.4333 | 237.7133 | 3.79 | 15.3733 | 3.826 | 13.2833 | 20.84 | 884 | 91.5667 | 1.0793
2019-06-18 10:15:00 | 2.5733 | 123.4633 | 2.9633 | 135.6667 | 4.3267 | 2.5667 | 4.2433 | 9.7767 | 21.4333 | 884 | 89.2667 | 0.50467
2019-06-18 10:30:00 | 2.592 | 128.266 | 2.984 | 140.94 | 3.94 | 18.142 | 3.856 | 19.926 | 21.472 | 884 | 88.48 | 0
2019-06-18 10:45:00 | 2.3033 | 12.5267 | 2.65 | 13.7667 | 3.2267 | 8.8567 | 2.9467 | 26.0567 | 21.4087 | 884 | 88.4067 | 0
2019-06-18 11:00:00 | 2.1833 | 8.02 | 2.51 | 8.8133 | 2.8933 | 14.1967 | 2.5267 | 14.1167 | 21.4433 | 884 | 88.5 | 0
2019-06-18 11:15:00 | 1.5667 | 30.94 | 1.8067 | 34 | 2.59 | 24.7867 | 2 | 19.8333 | 21.75 | 884 | 87.3 | 0
2019-06-18 11:30:00 | 1.4867 | 221.8267 | 1.72 | 243.7667 | 2.6833 | 11.76 | 2.2733 | 14.96 | 21.7833 | 884 | 87.5 | 0
2019-06-18 11:45:00 | 1.2167 | 126.47 | 1.4033 | 138.9733 | 2.19 | 14.1267 | 2.2367 | 20.54 | 21.8967 | 884 | 87.14 | 0
2019-06-18 12:00:00 | 1.19 | 322.11 | 1.37 | 353.9667 | 2.07 | 16.0333 | 2.0233 | 21.88 | 22.15 | 884 | 85.54 | 0
2019-06-18 12:15:00 | 1.3933 | 2.0033 | 1.6033 | 2.2033 | 1.93 | 26.5733 | 1.4167 | 27.3267 | 22.28 | 884 | 84.5333 | 0
2019-06-18 12:30:00 | 1.0133 | 7.1567 | 1.1767 | 7.8567 | 1.6967 | 16.2067 | 0.82333 | 18.14 | 22.1933 | 884 | 84.6 | 0
2019-06-18 12:45:00 | 0.29 | 199.6967 | 0.33667 | 219.4333 | 0.53667 | 95.5733 | 0.48667 | 277.7 | 21.8167 | 884 | 86 | 0
2019-06-18 13:00:00 | 0.61 | 147.2167 | 0.70333 | 161.7667 | 1.0967 | 227.3667 | 1.18 | 214.9667 | 21.65 | 884 | 88.6 | 0
2019-06-18 13:15:00 | 1.46 | 161.07 | 1.68 | 177 | 2.26 | 194.9667 | 2.43 | 195.8667 | 21.24 | 883.9333 | 91.4333 | 0
2019-06-18 13:30:00 | 2.3467 | 150.6367 | 2.7133 | 165.5333 | 3.3267 | 177.6333 | 3.3167 | 197.0667 | 20.3333 | 883 | 95.4333 | 0
2019-06-18 13:45:00 | 1.5333 | 174.4733 | 1.7633 | 191.7333 | 2.2167 | 192.1333 | 2.3433 | 200.0333 | 19.56 | 883 | 98.5333 | 0
2019-06-18 14:00:00 | 1.4933 | 174.72 | 1.7167 | 192 | 2.39 | 216.6 | 2.6767 | 227.1667 | 19.368 | 883 | 99.4667 | 0
2019-06-18 14:15:00 | 0.40333 | 174.4167 | 0.46667 | 191.6667 | 0.72667 | 244.1333 | 1.1267 | 237.8333 | 19.5333 | 883 | 100 | 0
2019-06-18 14:30:00 | 0.036667 | 266.0233 | 0.046667 | 292.3333 | 0.066667 | 280.8667 | 0.12667 | 296.1667 | 19.52 | 883 | 100 | 0
2019-06-18 14:45:00 | 0.063333 | 112.3267 | 0.07 | 123.44 | 0.04 | 301.98 | 0.006667 | 299.9333 | 19.3767 | 882.9333 | 99.9867 | 0
2019-06-18 15:00:00 | 0.18333 | 313.6733 | 0.21 | 344.7 | 0.31333 | 101.8067 | 0.013333 | 102.6333 | 19.35 | 882 | 99.84 | 0
2019-06-18 15:15:00 | 1.0533 | 8.5667 | 1.21 | 9.4067 | 1.2433 | 353.1333 | 0.92 | 237.0167 | 19.404 | 882 | 99.9 | 0
2019-06-18 15:30:00 | 1.3 | 9.7133 | 1.4967 | 10.6667 | 1.5633 | 356.6 | 1.3667 | 1.91 | 19.392 | 882 | 99.94 | 0
2019-06-18 15:45:00 | 1.48 | 214.9467 | 1.7067 | 236.2 | 1.8567 | 234.1167 | 1.8733 | 121.84 | 19.4327 | 882 | 100 | 0
2019-06-18 16:00:00 | 1.4133 | 315.2267 | 1.6267 | 346.4 | 1.9367 | 0.15 | 2.1467 | 349.6 | 19.458 | 882 | 100 | 0
2019-06-18 16:15:00 | 1.5933 | 2.01 | 1.8333 | 2.2 | 2.4433 | 11.57 | 2.9433 | 3.4367 | 19.412 | 882 | 100 | 0
2019-06-18 16:30:00 | 1.4533 | 217.17 | 1.6733 | 238.6467 | 2.5167 | 16.59 | 2.59 | 13.03 | 19.4933 | 881.6 | 100 | 0
2019-06-18 16:45:00 | 1.96 | 214.0033 | 2.25 | 235.1633 | 3.3567 | 8.36 | 3.5167 | 15.3133 | 19.6007 | 881 | 100 | 0
2019-06-18 17:00:00 | 1.8867 | 33.1967 | 2.17 | 36.4767 | 3.6633 | 13.9667 | 3.9433 | 18.5533 | 19.5767 | 881 | 99.96 | 0
2019-06-18 17:15:00 | 1.3233 | 1.1433 | 1.5267 | 1.2467 | 2.3733 | 11.62 | 2.99 | 35.5033 | 19.35 | 881 | 99.5933 | 0
2019-06-18 17:30:00 | 1.0167 | 0.27 | 1.1733 | 0.29333 | 1.9467 | 8.8133 | 2.5167 | 22.1567 | 19.3433 | 881 | 99.6333 | 0
2019-06-18 17:45:00 | 1 | 221.3467 | 1.15 | 243.24 | 1.8767 | 22.1133 | 2.3467 | 27.2133 | 19.2947 | 881 | 99.7667 | 0
2019-06-18 18:00:00 | 1.0333 | 215.4133 | 1.1967 | 236.7067 | 1.9233 | 12.0533 | 2.4267 | 14.1667 | 19.14 | 881 | 99.74 | 0
2019-06-18 18:15:00 | 1.46 | 303.2167 | 1.6767 | 333.2 | 2.33 | 1.09 | 2.87 | 9.53 | 18.8967 | 880.9333 | 99.8067 | 0
2019-06-18 18:30:00 | 1.2333 | 291.63 | 1.43 | 320.4667 | 2.29 | 228.5167 | 2.3567 | 7.6167 | 18.7767 | 880 | 99.94 | 0
2019-06-18 18:45:00 | 1.0733 | 308.8533 | 1.2433 | 339.4 | 1.52 | 350.1333 | 1.5233 | 3.6633 | 18.6893 | 880 | 100 | 0
2019-06-18 19:00:00 | 1.2 | 318.5 | 1.3833 | 350 | 1.7067 | 352.1333 | 1.8433 | 7.0833 | 18.672 | 880 | 100 | 0
2019-06-18 19:15:00 | 1.4867 | 323.8967 | 1.7133 | 355.9333 | 2.1367 | 1.6833 | 2.02 | 10.5 | 18.6433 | 880 | 100 | 0
2019-06-18 19:30:00 | 1.6133 | 318.0767 | 1.8533 | 349.5333 | 2.5367 | 16.83 | 2.4267 | 11.66 | 18.606 | 880.4 | 100 | 0
2019-06-18 19:45:00 | 1.6733 | 307.788 | 1.92 | 338.22 | 2.4933 | 356.9 | 2.5 | 6.9833 | 18.606 | 881 | 100 | 0
2019-06-18 20:00:00 | 1.4067 | 302.2133 | 1.6267 | 332.1 | 2.2067 | 133.8067 | 2.4267 | 4.7767 | 18.59 | 881 | 100 | 0
2019-06-18 20:15:00 | 1.5867 | 309.22 | 1.8333 | 339.8 | 2.2267 | 0.05 | 2.8833 | 15.6367 | 18.6053 | 881 | 100 | 0
2019-06-18 20:30:00 | 1.5467 | 110.9467 | 1.78 | 121.9133 | 2.4533 | 4.0033 | 3.1033 | 14.13 | 18.62 | 881 | 100 | 0
2019-06-18 20:45:00 | 1.31 | 318.7167 | 1.52 | 350.2333 | 2.2933 | 8.7167 | 3.0067 | 12.9633 | 18.6207 | 881 | 100 | 0
2019-06-18 21:00:00 | 1.4233 | 316.918 | 1.64 | 348.26 | 2.04 | 28.4167 | 2.6667 | 19.3433 | 18.638 | 881.4 | 100 | 0
2019-06-18 21:15:00 | 1.6967 | 315.53 | 1.96 | 346.7333 | 2.3267 | 238.55 | 2.5733 | 22.31 | 18.6907 | 882 | 100 | 0
2019-06-18 21:30:00 | 1.4433 | 315.41 | 1.6667 | 346.6 | 2.3667 | 4.57 | 2.3267 | 23.8033 | 18.712 | 882 | 100 | 0
2019-06-18 21:45:00 | 1.4233 | 319.6833 | 1.6367 | 351.3 | 2.0567 | 5.0867 | 1.93 | 26.2767 | 18.7707 | 882 | 100 | 0
2019-06-18 22:00:00 | 1.3473 | 155.93 | 1.5527 | 171.356 | 1.9167 | 10.996 | 1.4767 | 23.8753 | 18.784 | 882 | 100 | 0
2019-06-18 22:15:00 | 1.3533 | 317.07 | 1.566 | 348.4267 | 2.352 | 5.768 | 1.6607 | 15.1967 | 18.7833 | 882 | 100 | 0
2019-06-18 22:30:00 | 1.6867 | 113.1533 | 1.9467 | 124.34 | 2.6 | 1.49 | 2.4933 | 9.0867 | 18.794 | 882 | 100 | 0
2019-06-18 22:45:00 | 2.1 | 312.95 | 2.4133 | 343.9 | 3.0333 | 120.2 | 2.8667 | 10.87 | 18.8067 | 882 | 100 | 0
2019-06-18 23:00:00 | 2.4533 | 310.7767 | 2.82 | 341.5 | 3.52 | 120.88 | 3.4 | 14.3233 | 18.8 | 882 | 100 | 0.42133
2019-06-18 23:15:00 | 2.2667 | 315.1033 | 2.61 | 346.2667 | 3.8967 | 128.88 | 3.6867 | 20.8667 | 18.7927 | 882 | 100 | 0.054
2019-06-18 23:30:00 | 2.7133 | 315.41 | 3.1233 | 346.6 | 3.6833 | 124.8667 | 3.4533 | 240.28 | 18.79 | 882 | 100 | 0.40267
2019-06-18 23:45:00 | 2.6667 | 17.88 | 3.0633 | 19.64 | 3.64 | 240.98 | 3.4333 | 243.4167 | 18.7833 | 882 | 100 | 0.11933