## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-19 00:00:00 | 2.5843 | 178.3171 | 2.9729 | 195.95 | 3.6521 | 12.3086 | 3.3229 | 19.1707 | 18.79 | 882 | 100 | 0.315
2019-06-19 00:15:00 | 2.5 | 220.5233 | 2.8767 | 242.3333 | 3.5267 | 241.41 | 3.3733 | 11.6667 | 18.7987 | 882 | 100 | 0.49733
2019-06-19 00:30:00 | 2.46 | 200.39 | 2.83 | 220.2 | 3.58 | 8.9833 | 3.36 | 6.0267 | 18.82 | 882 | 100 | 1.3873
2019-06-19 00:45:00 | 2.3333 | 42.3267 | 2.6833 | 46.5067 | 4.16 | 12.8067 | 4.03 | 15.2567 | 18.82 | 882 | 100 | 1.5227
2019-06-19 01:00:00 | 2.4133 | 10.8067 | 2.7767 | 11.8667 | 4.1733 | 10.8333 | 4.11 | 19.65 | 18.816 | 882 | 100 | 2.862
2019-06-19 01:15:00 | 2.492 | 275.622 | 2.87 | 302.88 | 4.652 | 16.106 | 4.42 | 22.922 | 18.8013 | 882 | 100 | 3.4613
2019-06-19 01:30:00 | 2.5133 | 126.7233 | 2.89 | 139.2533 | 4.7933 | 16.8433 | 4.9667 | 19.6967 | 18.772 | 882 | 100 | 4.2907
2019-06-19 01:45:00 | 2.6533 | 142.9767 | 3.05 | 157.1133 | 5.0667 | 8.4333 | 4.9533 | 10.5333 | 18.7593 | 882 | 100 | 2.9573
2019-06-19 02:00:00 | 2.6267 | 323.946 | 3.03 | 355.98 | 4.6533 | 16.86 | 4.5267 | 10.1933 | 18.746 | 882 | 100 | 3.3067
2019-06-19 02:15:00 | 2.79 | 33.5133 | 3.21 | 36.8267 | 4.7933 | 1.1533 | 4.5267 | 11.12 | 18.7327 | 881.2667 | 100 | 3.5333
2019-06-19 02:30:00 | 2.85 | 20.3067 | 3.2767 | 22.3067 | 5.0933 | 3.4067 | 4.8133 | 8.5333 | 18.73 | 881 | 100 | 4.8607
2019-06-19 02:45:00 | 2.94 | 15.1633 | 3.38 | 16.6667 | 5.0933 | 112.8667 | 5.07 | 9.92 | 18.7073 | 881 | 100 | 6.5133
2019-06-19 03:00:00 | 2.9267 | 25.25 | 3.3667 | 27.7467 | 5.0667 | 118.2267 | 5.27 | 18.2667 | 18.686 | 881 | 100 | 9.5827
2019-06-19 03:15:00 | 3.08 | 313.5833 | 3.5567 | 344.6 | 5.3433 | 11.9 | 5.6967 | 11.51 | 18.638 | 881 | 100 | 9.8653
2019-06-19 03:30:00 | 3.088 | 132.304 | 3.562 | 145.39 | 5.492 | 28.52 | 5.478 | 214.872 | 18.61 | 881 | 100 | 10.068
2019-06-19 03:45:00 | 2.7733 | 271.73 | 3.1933 | 298.6 | 5.26 | 18.8633 | 5.8433 | 15.3933 | 18.602 | 881 | 100 | 9.44
2019-06-19 04:00:00 | 2.56 | 175.902 | 2.94 | 193.3 | 5.04 | 16.774 | 5.49 | 15.416 | 18.586 | 880.6 | 100 | 8.168
2019-06-19 04:15:00 | 2.7133 | 140.4 | 3.1267 | 154.2733 | 4.9093 | 11.61 | 5.1467 | 18.6667 | 18.552 | 880 | 100 | 5.4933
2019-06-19 04:30:00 | 2.8733 | 320.94 | 3.3067 | 352.6667 | 4.8067 | 7.17 | 4.94 | 12.46 | 18.512 | 880 | 100 | 1.6267
2019-06-19 04:45:00 | 2.6 | 287.6 | 2.9933 | 316.0333 | 3.9867 | 6.2533 | 3.8433 | 11.54 | 18.4993 | 880 | 100 | 0
2019-06-19 05:00:00 | 1.7467 | 313.7467 | 2.0133 | 344.7667 | 2.9067 | 4.0467 | 2.5433 | 5.9 | 18.494 | 880 | 100 | 0
2019-06-19 05:15:00 | 0.36 | 309.3733 | 0.42333 | 339.9667 | 0.72333 | 341.6667 | 0.39667 | 0.30667 | 18.508 | 880 | 100 | 0
2019-06-19 05:30:00 | 0.013333 | 308.4 | 0.016667 | 338.9 | 0.023333 | 345 | 0.003333 | 0.34 | 18.52 | 880 | 100 | 0
2019-06-19 05:45:00 | 0.11467 | 308.4 | 0.13467 | 338.9 | 0.214 | 346.56 | 0.18333 | 0.34 | 18.5187 | 880 | 100 | 0
2019-06-19 06:00:00 | 0.62667 | 316.8333 | 0.72 | 348.1667 | 1.11 | 123.6067 | 0.74667 | 0.38667 | 18.504 | 880 | 100 | 0
2019-06-19 06:15:00 | 1 | 321.5333 | 1.15 | 353.3333 | 1.49 | 241.19 | 0.69667 | 5.8667 | 18.5027 | 880 | 100 | 0
2019-06-19 06:30:00 | 1.2533 | 112.0333 | 1.45 | 123.1067 | 2.1767 | 9.67 | 1.8567 | 16.82 | 18.512 | 880 | 100 | 0
2019-06-19 06:45:00 | 1.6733 | 299.1733 | 1.93 | 328.7667 | 2.9967 | 118.1133 | 2.81 | 18.3667 | 18.572 | 880 | 100 | 0
2019-06-19 07:00:00 | 2.1 | 261.6267 | 2.4167 | 287.5 | 3.2233 | 120.38 | 3.0567 | 14.64 | 18.608 | 880 | 100 | 0.372
2019-06-19 07:15:00 | 2.28 | 42.1467 | 2.62 | 46.3133 | 4.0367 | 7.63 | 3.9067 | 13.69 | 18.6067 | 880 | 100 | 1.548
2019-06-19 07:30:00 | 2.3 | 19.894 | 2.646 | 21.854 | 4.372 | 8.128 | 4.366 | 14.328 | 18.62 | 880 | 100 | 2.556
2019-06-19 07:45:00 | 2.5667 | 318.0767 | 2.9533 | 349.5333 | 4.7633 | 11.2867 | 4.81 | 9.56 | 18.6347 | 880 | 100 | 4.5747
2019-06-19 08:00:00 | 2.5667 | 110.8567 | 2.9533 | 121.82 | 4.7167 | 16.3733 | 4.6167 | 17.48 | 18.632 | 880 | 100 | 6.2
2019-06-19 08:15:00 | 2.4267 | 260.6867 | 2.7967 | 286.4667 | 4.5733 | 240.94 | 4.69 | 10.56 | 18.6113 | 880 | 100 | 6.226
2019-06-19 08:30:00 | 2.4267 | 146.8467 | 2.7967 | 161.3667 | 4.6667 | 19.86 | 4.7567 | 20.452 | 18.59 | 880 | 100 | 6.5527
2019-06-19 08:45:00 | 2.3467 | 227.24 | 2.7 | 249.71 | 4.2767 | 2.6633 | 4.3133 | 21.0467 | 18.5507 | 880 | 100 | 5.2567
2019-06-19 09:00:00 | 2.1867 | 224.2067 | 2.5267 | 246.3767 | 4.2833 | 11.6233 | 4.3 | 9.4933 | 18.5933 | 880 | 100 | 4.9153
2019-06-19 09:15:00 | 2.2333 | 151.03 | 2.57 | 165.9667 | 4.4433 | 2.3033 | 4.7133 | 8.54 | 18.616 | 880 | 100 | 5.374
2019-06-19 09:30:00 | 2.4 | 286.0167 | 2.7633 | 314.3 | 4.7167 | 240.1367 | 4.7533 | 5.7867 | 18.648 | 880 | 100 | 6.5027
2019-06-19 09:45:00 | 2.79 | 116.33 | 3.2067 | 127.8267 | 5.0267 | 237.2867 | 4.85 | 11.44 | 18.636 | 880 | 100 | 5.86
2019-06-19 10:00:00 | 2.3633 | 296.2367 | 2.7267 | 325.5333 | 4.1867 | 1.7733 | 4.4033 | 10.6133 | 18.6 | 880 | 100 | 5.564
2019-06-19 10:15:00 | 2.0933 | 217.0967 | 2.4067 | 238.57 | 3.8867 | 2.9033 | 3.9433 | 12.8633 | 18.6167 | 880 | 100 | 5.606
2019-06-19 10:30:00 | 2.2 | 20.0367 | 2.5333 | 22.0167 | 4.2067 | 11.3567 | 4.17 | 11.6967 | 18.662 | 880 | 100 | 4.4547
2019-06-19 10:45:00 | 2.2267 | 310.2467 | 2.56 | 340.9333 | 4.0433 | 11.4933 | 4.2367 | 9.6533 | 18.7807 | 880 | 100 | 3.2567
2019-06-19 11:00:00 | 2.28 | 112.6133 | 2.62 | 123.74 | 4.35 | 9 | 4.43 | 20.6067 | 18.8367 | 880 | 100 | 3.2033
2019-06-19 11:15:00 | 2.3633 | 28.9267 | 2.72 | 31.7867 | 4.4733 | 14.47 | 4.31 | 11.2767 | 18.9833 | 880 | 100 | 4.1487
2019-06-19 11:30:00 | 2.4233 | 173.4067 | 2.7933 | 190.5533 | 4.7333 | 13.01 | 4.4367 | 16.7833 | 19.1633 | 880 | 100 | 4.0787
2019-06-19 11:45:00 | 2.4167 | 316.26 | 2.7767 | 347.5333 | 4.7 | 24.2833 | 4.2333 | 9.94 | 19.24 | 880 | 100 | 4.0867
2019-06-19 12:00:00 | 2.4433 | 314.1333 | 2.81 | 345.2 | 4.58 | 13.2833 | 4.1933 | 10.7467 | 19.26 | 880 | 100 | 5.024
2019-06-19 12:15:00 | 2.3467 | 297.75 | 2.7 | 327.2 | 4.5733 | 13.87 | 4.1767 | 8.88 | 19.64 | 880 | 100 | 4.384
2019-06-19 12:30:00 | 2.28 | 116.8967 | 2.62 | 128.46 | 4.2933 | 10.01 | 3.85 | 12.2333 | 19.7933 | 880 | 100 | 3.984
2019-06-19 12:45:00 | 2.28 | 134.5167 | 2.62 | 147.82 | 4.0467 | 4.34 | 3.9533 | 243.48 | 19.6133 | 880 | 100 | 2.8533
2019-06-19 13:00:00 | 2.1867 | 106.35 | 2.52 | 116.86 | 3.94 | 2.6933 | 4.0467 | 9.5 | 19.656 | 880 | 100 | 2.992
2019-06-19 13:15:00 | 2.3467 | 18.48 | 2.7033 | 20.2933 | 4.22 | 239.3767 | 4.12 | 9.5933 | 19.6433 | 880 | 100 | 3.5013
2019-06-19 13:30:00 | 2.2267 | 0.28 | 2.57 | 0.3 | 4.3133 | 2.0567 | 4.2467 | 3.18 | 19.8433 | 880 | 100 | 3.3233
2019-06-19 13:45:00 | 2.1867 | 212.09 | 2.5267 | 233.06 | 4.24 | 3.86 | 4.3767 | 12.1333 | 20.0933 | 880 | 100 | 3.206
2019-06-19 14:00:00 | 2.2133 | 219.37 | 2.5467 | 241.06 | 4.14 | 8.5533 | 4.17 | 12.2667 | 20.3133 | 880 | 100 | 2.6913
2019-06-19 14:15:00 | 2.09 | 318.7733 | 2.4067 | 350.3 | 4.0233 | 10.62 | 4.1 | 16.51 | 20.68 | 880 | 100 | 1.9547
2019-06-19 14:30:00 | 2.0753 | 271.4667 | 2.3853 | 298.3133 | 3.97 | 21.2613 | 4.0347 | 20.8727 | 20.4587 | 880 | 100 | 2.3853
2019-06-19 14:45:00 | 1.848 | 188.3347 | 2.1287 | 206.9533 | 3.6153 | 16.628 | 4.0833 | 24.4667 | 20.6547 | 880 | 100 | 2.2527
2019-06-19 15:00:00 | 1.82 | 300.5433 | 2.1033 | 330.2667 | 3.3867 | 12.7533 | 4.2333 | 28.8733 | 21.03 | 880 | 100 | 0.80133
2019-06-19 15:15:00 | 1.6733 | 104.3967 | 1.9367 | 114.7133 | 3.2967 | 5.43 | 3.6533 | 17.6867 | 21.1473 | 880 | 100 | 0.004
2019-06-19 15:30:00 | 1.4733 | 241.01 | 1.6967 | 264.8333 | 2.8833 | 6.5967 | 3.0333 | 18.22 | 20.9767 | 880 | 100 | 0
2019-06-19 15:45:00 | 1.5733 | 179.6867 | 1.8133 | 197.46 | 2.37 | 122.2667 | 2.2667 | 13.3333 | 20.8207 | 880 | 100 | 0
2019-06-19 16:00:00 | 1.5133 | 30.6733 | 1.74 | 33.7067 | 2.17 | 113 | 2.12 | 9.7867 | 20.846 | 880 | 100 | 0
2019-06-19 16:15:00 | 1.3133 | 14.15 | 1.5133 | 15.55 | 1.9567 | 1.5233 | 1.7 | 10.2867 | 21.0087 | 879.2667 | 99.8 | 0
2019-06-19 16:30:00 | 0.98 | 216.3633 | 1.14 | 237.75 | 1.5833 | 4.6967 | 0.89333 | 242 | 21.0767 | 879 | 99.0667 | 0
2019-06-19 16:45:00 | 1.1933 | 102.7467 | 1.3833 | 112.9 | 2.13 | 5.5533 | 1.7333 | 1.6233 | 21.126 | 879 | 98.4333 | 0
2019-06-19 17:00:00 | 1.3733 | 299.04 | 1.59 | 328.6 | 2.4433 | 239.18 | 2.3267 | 0.65 | 21.0433 | 879 | 98.1667 | 0
2019-06-19 17:15:00 | 1.6067 | 316.53 | 1.8467 | 347.8333 | 2.8233 | 231.85 | 2.62 | 237.2667 | 20.8533 | 879 | 98.2333 | 0.046667
2019-06-19 17:30:00 | 1.6467 | 126.93 | 1.8933 | 139.4733 | 3.2433 | 7.5033 | 3.12 | 9.1667 | 20.86 | 879 | 98.8333 | 1.0373
2019-06-19 17:45:00 | 2.1067 | 121.06 | 2.4267 | 133.02 | 3.9867 | 8.1467 | 3.9033 | 8.7133 | 20.8153 | 879 | 98.9933 | 3.156
2019-06-19 18:00:00 | 2.1 | 119.08 | 2.42 | 130.8467 | 3.8 | 6.8533 | 3.93 | 17.6733 | 20.6567 | 878.6 | 99.0333 | 4.7847
2019-06-19 18:15:00 | 2.0133 | 2.6833 | 2.3133 | 2.95 | 3.91 | 228.8867 | 3.9467 | 16.2733 | 20.6273 | 878 | 99.3067 | 7.8273
2019-06-19 18:30:00 | 2.2467 | 193.1767 | 2.5933 | 212.2833 | 3.6967 | 4 | 4.5133 | 25.6667 | 20.5367 | 878 | 99.36 | 9.7713
2019-06-19 18:45:00 | 2.3467 | 217.25 | 2.6967 | 238.73 | 4.09 | 126.6933 | 4.2833 | 16.2967 | 20.478 | 878 | 99.3067 | 9.228
2019-06-19 19:00:00 | 2.38 | 14.45 | 2.7367 | 15.8767 | 4.39 | 131.36 | 4.4633 | 18.1767 | 20.414 | 878 | 99.5333 | 8.394
2019-06-19 19:15:00 | 2.3867 | 119.9333 | 2.75 | 131.7833 | 4.7333 | 12.9233 | 4.7033 | 27.2167 | 20.3587 | 878 | 99.8667 | 8.028
2019-06-19 19:30:00 | 2.62 | 28.7533 | 3.0167 | 31.59 | 4.9867 | 15.1633 | 4.8967 | 19.6967 | 20.308 | 878 | 100 | 11.638
2019-06-19 19:45:00 | 2.8533 | 136.0167 | 3.28 | 149.4733 | 4.9233 | 355.3 | 4.7633 | 238.5467 | 20.18 | 878 | 100 | 11.8527
2019-06-19 20:00:00 | 2.488 | 123.18 | 2.862 | 135.364 | 4.604 | 349.4 | 4.524 | 8.688 | 20.104 | 878 | 100 | 7.438
2019-06-19 20:15:00 | 2.2967 | 191.95 | 2.64 | 210.92 | 4.51 | 4.2467 | 4.57 | 10.1833 | 20.0273 | 878 | 100 | 4.89
2019-06-19 20:30:00 | 2.29 | 205.65 | 2.6333 | 225.9867 | 4.5167 | 0.58667 | 4.6167 | 15.3033 | 19.978 | 878 | 100 | 6.1967
2019-06-19 20:45:00 | 2.1167 | 283.4333 | 2.43 | 311.4667 | 4.1167 | 238.2067 | 4.0567 | 13.0067 | 19.952 | 878 | 100 | 5.4053
2019-06-19 21:00:00 | 2.2767 | 125.04 | 2.6167 | 137.4067 | 4.4433 | 239.6733 | 4.226 | 14.4533 | 19.944 | 878.4 | 100 | 6.2053
2019-06-19 21:15:00 | 2.4267 | 133.1 | 2.79 | 146.2533 | 4.8 | 248.6333 | 4.6533 | 240.91 | 19.9573 | 879 | 100 | 8.4267
2019-06-19 21:30:00 | 2.82 | 144.84 | 3.25 | 159.1533 | 5.4533 | 241.7133 | 5.1933 | 7.5167 | 19.956 | 879 | 100 | 8.6647
2019-06-19 21:45:00 | 2.7333 | 27.2867 | 3.1433 | 29.9867 | 5.0433 | 4.3133 | 4.8967 | 9.8 | 19.9727 | 879 | 100 | 13.4393
2019-06-19 22:00:00 | 3.16 | 59.4267 | 3.6367 | 65.2933 | 5.8033 | 5.98 | 5.9033 | 18.5667 | 19.99 | 879 | 100 | 20.7873
2019-06-19 22:15:00 | 3.4667 | 120.8567 | 3.9933 | 132.8067 | 5.6567 | 4.0667 | 6.2333 | 144.28 | 19.9967 | 879 | 100 | 26.352
2019-06-19 22:30:00 | 3.8 | 305.95 | 4.38 | 336.2 | 6.21 | 219.2 | 6.3933 | 18.0467 | 19.986 | 879 | 100 | 29.4113
2019-06-19 22:45:00 | 3.96 | 209.52 | 4.5567 | 230.2333 | 6.63 | 241.11 | 7.0833 | 8.7 | 19.98 | 879 | 100 | 28.8333
2019-06-19 23:00:00 | 3.4933 | 316.2933 | 4.0167 | 347.5667 | 6.5233 | 3.2767 | 7.2633 | 19.02 | 19.976 | 879 | 100 | 27.9893
2019-06-19 23:15:00 | 3.2067 | 318.0233 | 3.69 | 349.4667 | 6.3667 | 14.9367 | 7.03 | 22.9267 | 19.9607 | 879 | 100 | 28.294
2019-06-19 23:30:00 | 3.0733 | 270.3967 | 3.53 | 297.1333 | 6.0933 | 11.6833 | 6.5433 | 23.1533 | 19.9033 | 879 | 100 | 29.008
2019-06-19 23:45:00 | 3.2267 | 149.15 | 3.7167 | 163.89 | 5.91 | 16.6133 | 6.3533 | 18.2333 | 19.81 | 879 | 100 | 26.7633