## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-20 00:00:00 | 3.2257 | 208.315 | 3.7221 | 228.9036 | 5.7757 | 6.4386 | 5.7764 | 235.5071 | 19.7379 | 879 | 100 | 23.6893
2019-06-20 00:15:00 | 3.18 | 200.54 | 3.6567 | 220.3667 | 6.2233 | 118.9333 | 6.1767 | 6.96 | 19.6433 | 878.2667 | 100 | 27.9753
2019-06-20 00:30:00 | 3.46 | 240.4533 | 3.9833 | 264.2333 | 6.4833 | 122.7067 | 6.4233 | 8.2733 | 19.618 | 878 | 100 | 25.6093
2019-06-20 00:45:00 | 3.42 | 184.1233 | 3.9367 | 202.3333 | 6.618 | 119.96 | 6.6967 | 23.2667 | 19.6513 | 878 | 100 | 29.4207
2019-06-20 01:00:00 | 3.9333 | 118.5767 | 4.53 | 130.2933 | 7.3033 | 119.7667 | 7.5033 | 22.8133 | 19.646 | 878 | 100 | 33.488
2019-06-20 01:15:00 | 4.4867 | 195.81 | 5.1733 | 215.1733 | 7.7833 | 349.3 | 7.8333 | 15.7733 | 19.6253 | 878 | 100 | 39.1067
2019-06-20 01:30:00 | 5.02 | 5.8233 | 5.7733 | 6.4 | 8.25 | 128.4 | 8.4267 | 25.6867 | 19.62 | 878 | 100 | 40.6513
2019-06-20 01:45:00 | 4.4333 | 289.2033 | 5.1 | 317.8 | 8.4033 | 20.51 | 8.6733 | 18.4567 | 19.6127 | 878 | 100 | 40.2333
2019-06-20 02:00:00 | 4.24 | 195.11 | 4.88 | 214.4 | 8.3633 | 64.33 | 9.04 | 21.45 | 19.602 | 878 | 100 | 39.3053
2019-06-20 02:15:00 | 4.0613 | 192.1987 | 4.6687 | 211.1967 | 7.896 | 22.646 | 8.5287 | 17.5473 | 19.536 | 877.2667 | 100 | 38.2947
2019-06-20 02:30:00 | 4.0067 | 205.21 | 4.6067 | 225.5033 | 6.8733 | 9.6067 | 7.54 | 19.6533 | 19.46 | 877 | 100 | 38.5173
2019-06-20 02:45:00 | 4.0367 | 119.5667 | 4.6467 | 131.3867 | 6.87 | 117.52 | 7.1733 | 19.37 | 19.4047 | 877 | 100 | 40.976
2019-06-20 03:00:00 | 4.1967 | 285.72 | 4.8333 | 313.9667 | 7.6633 | 351.7333 | 8.0867 | 9.13 | 19.358 | 877 | 100 | 38.8527
2019-06-20 03:15:00 | 4 | 18.29 | 4.6033 | 20.0933 | 7.1033 | 129.16 | 7.6867 | 12.7067 | 19.3233 | 876.9333 | 100 | 37.822
2019-06-20 03:30:00 | 3.9867 | 227.0033 | 4.5833 | 249.4467 | 7.0367 | 118.6 | 7.34 | 12.36 | 19.286 | 876 | 100 | 38.4533
2019-06-20 03:45:00 | 4.1933 | 34.96 | 4.8333 | 38.4167 | 7.7533 | 345.2333 | 8.06 | 11.13 | 19.278 | 876 | 100 | 40.166
2019-06-20 04:00:00 | 4.4933 | 218.52 | 5.18 | 240.1233 | 8.0133 | 120.9533 | 8.5733 | 5.3433 | 19.246 | 876 | 100 | 40.8433
2019-06-20 04:15:00 | 4.54 | 203.86 | 5.2167 | 224.02 | 8.1733 | 238.5867 | 8.5333 | 6.0167 | 19.2327 | 876 | 100 | 38.6233
2019-06-20 04:30:00 | 4.3333 | 24.4667 | 4.9833 | 26.88 | 8.0267 | 12.8467 | 8.6867 | 17.9567 | 19.23 | 876 | 100 | 39.7307
2019-06-20 04:45:00 | 4.9407 | 98.75 | 5.69 | 108.5133 | 8.6633 | 19.6367 | 9.0567 | 23.1033 | 19.2293 | 876 | 100 | 40.8853
2019-06-20 05:00:00 | 5.0633 | 83.45 | 5.8233 | 91.7 | 8.2167 | 15.0833 | 8.5233 | 25.45 | 19.216 | 876.4 | 100 | 39.6627
2019-06-20 05:15:00 | 4.8533 | 259.4113 | 5.5927 | 285.0667 | 8.2053 | 130.7013 | 8.1373 | 15.6553 | 19.204 | 876.3333 | 100 | 42.242
2019-06-20 05:30:00 | 4.4133 | 135.8767 | 5.09 | 149.3067 | 7.7733 | 128.0067 | 8.2867 | 10.2633 | 19.216 | 876.6 | 100 | 42.6473
2019-06-20 05:45:00 | 4.7233 | 216.1367 | 5.43 | 237.5033 | 8.89 | 14.55 | 8.9933 | 19.3267 | 19.2033 | 876 | 100 | 44.0973
2019-06-20 06:00:00 | 4.92 | 115.31 | 5.658 | 126.704 | 9.342 | 15.252 | 9.442 | 15.782 | 19.214 | 876 | 100 | 43.4893
2019-06-20 06:15:00 | 4.696 | 119.6867 | 5.4127 | 131.5187 | 8.9793 | 5.6607 | 8.968 | 18.51 | 19.2273 | 876 | 100 | 44.8027
2019-06-20 06:30:00 | 4.8133 | 102.8567 | 5.5333 | 113.0233 | 9.1267 | 15.6833 | 9.2233 | 20.2767 | 19.234 | 876 | 100 | 46.43
2019-06-20 06:45:00 | 5.03 | 116.6033 | 5.7933 | 128.14 | 9.8267 | 12.1767 | 10.0113 | 14.65 | 19.2407 | 876.7333 | 100 | 47.4227
2019-06-20 07:00:00 | 4.93 | 127.0433 | 5.6733 | 139.6067 | 9.5 | 14.85 | 9.9767 | 19.5433 | 19.254 | 877 | 100 | 48.356
2019-06-20 07:15:00 | 4.9367 | 238.58 | 5.68 | 262.1667 | 9.2873 | 13.72 | 9.8233 | 17.8533 | 19.268 | 877 | 100 | 48.0907
2019-06-20 07:30:00 | 5.13 | 144 | 5.9 | 158.2333 | 9.4033 | 11.4533 | 9.8767 | 21.8867 | 19.288 | 877 | 100 | 47.9873
2019-06-20 07:45:00 | 5.2733 | 94.17 | 6.07 | 103.48 | 9.86 | 8.0033 | 10.3767 | 24.8367 | 19.3227 | 877 | 100 | 47.3413
2019-06-20 08:00:00 | 5.2333 | 201.2967 | 6.0233 | 221.2 | 9.7067 | 19.1033 | 10.014 | 19.75 | 19.34 | 877 | 100 | 48.3933
2019-06-20 08:15:00 | 5.1427 | 178.6073 | 5.9207 | 196.26 | 9.5913 | 16.01 | 10.078 | 20.5947 | 19.364 | 877 | 100 | 47.0447
2019-06-20 08:30:00 | 4.9 | 175.1167 | 5.6367 | 192.4333 | 9.43 | 13.3033 | 10.0367 | 20.0467 | 19.4333 | 877 | 100 | 46.346
2019-06-20 08:45:00 | 4.9 | 172.4167 | 5.6433 | 189.4667 | 9.3767 | 15.2467 | 10.05 | 18.1567 | 19.466 | 877 | 100 | 42.9953
2019-06-20 09:00:00 | 4.6 | 173.2767 | 5.29 | 190.4 | 8.706 | 14.5 | 9.7233 | 19.01 | 19.502 | 877 | 100 | 43.6953
2019-06-20 09:15:00 | 4.6333 | 110.27 | 5.3333 | 121.1667 | 9.02 | 15.5867 | 9.9933 | 23.6233 | 19.582 | 877 | 100 | 46.3867
2019-06-20 09:30:00 | 5.16 | 160.8567 | 5.9333 | 176.7667 | 9.62 | 17.82 | 10.0667 | 21.8767 | 19.602 | 877 | 100 | 47.388
2019-06-20 09:45:00 | 5.0933 | 213.9133 | 5.86 | 235.0667 | 9.3967 | 12.9033 | 9.78 | 16.6033 | 19.598 | 877.0667 | 100 | 46.9953
2019-06-20 10:00:00 | 5.08 | 232.2333 | 5.84 | 255.2 | 9.2767 | 17.7167 | 9.6533 | 15.3433 | 19.614 | 878 | 100 | 46.8407
2019-06-20 10:15:00 | 5.1 | 113.21 | 5.86 | 124.4 | 9.2107 | 11.0467 | 9.1233 | 11.2267 | 19.7067 | 877.9333 | 100 | 47.3467
2019-06-20 10:30:00 | 4.9133 | 173.51 | 5.6533 | 190.6667 | 8.9267 | 4.1333 | 9.2367 | 14.0133 | 19.7667 | 877.4 | 100 | 47.302
2019-06-20 10:45:00 | 4.9567 | 175.7113 | 5.698 | 193.0867 | 9.316 | 14.72 | 9.228 | 4.7833 | 19.804 | 878 | 100 | 45.9593
2019-06-20 11:00:00 | 4.8933 | 163.6833 | 5.6367 | 179.8667 | 9.1 | 10.1633 | 9.5867 | 19.1533 | 19.844 | 878 | 100 | 46.0727
2019-06-20 11:15:00 | 5.17 | 161.9867 | 5.95 | 178 | 9.6833 | 11.68 | 10.1033 | 22.1467 | 19.8853 | 878 | 100 | 46.7933
2019-06-20 11:30:00 | 5.0967 | 175.82 | 5.87 | 193.2 | 9.8167 | 17.0133 | 10.41 | 20.5733 | 19.916 | 878 | 100 | 44.6207
2019-06-20 11:45:00 | 4.94 | 200.08 | 5.6833 | 219.8667 | 9.74 | 10.4667 | 10.2767 | 23.6533 | 20.05 | 878 | 100 | 42.948
2019-06-20 12:00:00 | 5.0333 | 34.0133 | 5.79 | 37.3733 | 9.84 | 15.7667 | 10.47 | 21.4667 | 20.1433 | 878 | 100 | 45.4127
2019-06-20 12:15:00 | 4.88 | 174.1267 | 5.61 | 191.3333 | 9.5033 | 20.5133 | 10.5267 | 21.9167 | 20.32 | 878 | 100 | 47.1187
2019-06-20 12:30:00 | 4.6067 | 148.0933 | 5.2967 | 162.7333 | 8.9167 | 13.1733 | 9.8133 | 20.3167 | 20.66 | 878 | 100 | 45.1173
2019-06-20 12:45:00 | 4.1667 | 69.48 | 4.7933 | 76.34 | 7.8767 | 17.78 | 8.5733 | 28.4233 | 21.0833 | 877.2667 | 100 | 32.9447
2019-06-20 13:00:00 | 3.3867 | 181.4933 | 3.8933 | 199.4333 | 6.2833 | 26.74 | 7.38 | 35.8367 | 21.91 | 877.4 | 100 | 23.684
2019-06-20 13:15:00 | 3.6367 | 94.8 | 4.19 | 104.1667 | 6.99 | 32.5133 | 7.36 | 34.21 | 23.1567 | 878 | 100 | 19.4053
2019-06-20 13:30:00 | 3.758 | 29.942 | 4.324 | 32.898 | 7.048 | 12.542 | 7.566 | 34.572 | 23.576 | 878 | 100 | 16.568
2019-06-20 13:45:00 | 3.4067 | 36.53 | 3.9167 | 40.14 | 5.9067 | 9.5433 | 6.0033 | 22.2833 | 22.9267 | 878 | 100 | 17.258
2019-06-20 14:00:00 | 3.6267 | 182.3633 | 4.17 | 200.4 | 6.1067 | 239.19 | 6.1567 | 244.39 | 22.4467 | 878 | 100 | 24.92
2019-06-20 14:15:00 | 3.56 | 47.7767 | 4.0967 | 52.4933 | 6.1767 | 31.6733 | 6.25 | 10.5067 | 22.25 | 878 | 99.6333 | 31.1247
2019-06-20 14:30:00 | 4.32 | 237.03 | 4.97 | 260.4667 | 7.21 | 15.6267 | 7.1633 | 35.84 | 22.1833 | 878 | 97.6333 | 33.6333
2019-06-20 14:45:00 | 4.26 | 61.9167 | 4.9067 | 68.0267 | 7.1267 | 7.3367 | 7.3333 | 15.4133 | 22.0213 | 878 | 96.86 | 34.0627
2019-06-20 15:00:00 | 4.14 | 70.01 | 4.76 | 76.92 | 7.12 | 232.3567 | 7.1333 | 13.7933 | 22.1133 | 878 | 96.8333 | 34.4313
2019-06-20 15:15:00 | 4.58 | 212.42 | 5.2667 | 233.4267 | 8.1867 | 19.1767 | 8.38 | 241.2433 | 22.3467 | 878 | 96.6933 | 33.8887
2019-06-20 15:30:00 | 4.94 | 118.9333 | 5.68 | 130.6933 | 8.9667 | 14.1233 | 9.0733 | 27.07 | 22.452 | 878 | 96.6 | 34.468
2019-06-20 15:45:00 | 5.07 | 263.6367 | 5.84 | 289.7 | 9.3433 | 9.13 | 9.4133 | 23.48 | 22.4347 | 878 | 96.6733 | 35.7793
2019-06-20 16:00:00 | 5.1167 | 61.5767 | 5.8933 | 67.66 | 9.6033 | 13.47 | 9.82 | 26.2 | 22.5067 | 878 | 96.74 | 36.1653
2019-06-20 16:15:00 | 5.2 | 206.3267 | 5.9867 | 226.7333 | 9.76 | 22.6233 | 9.8267 | 34.0767 | 22.6627 | 878 | 96.5333 | 35.1073
2019-06-20 16:30:00 | 4.9867 | 283.2 | 5.7467 | 311.2 | 9.2467 | 18.5567 | 9.42 | 37.2833 | 22.64 | 878 | 95.4 | 34.3127
2019-06-20 16:45:00 | 4.6667 | 191.8867 | 5.3667 | 210.8667 | 8.9933 | 9.58 | 9.1807 | 19.2033 | 22.5593 | 878 | 95.7067 | 34.7893
2019-06-20 17:00:00 | 4.34 | 212.0933 | 5 | 233.0667 | 8.42 | 19.9667 | 8.6833 | 36.4367 | 22.558 | 878 | 95.8 | 36.4413
2019-06-20 17:15:00 | 5.3367 | 145.21 | 6.1433 | 159.5667 | 9.8733 | 9.33 | 9.6633 | 13.4267 | 22.5227 | 877.9333 | 95.7667 | 41.0013
2019-06-20 17:30:00 | 5.1833 | 172.8767 | 5.97 | 189.9667 | 9.7333 | 9.8167 | 9.6033 | 21.32 | 22.38 | 877 | 96.26 | 37.868
2019-06-20 17:45:00 | 4.64 | 45.41 | 5.35 | 49.9 | 8.8867 | 21.7867 | 8.9033 | 23.1633 | 22.3547 | 877 | 96.2267 | 33.322
2019-06-20 18:00:00 | 4.408 | 139.652 | 5.076 | 153.46 | 8.494 | 13.054 | 8.578 | 24.146 | 22.254 | 877 | 96.1 | 33.7367
2019-06-20 18:15:00 | 4.28 | 232.0267 | 4.9333 | 254.9667 | 7.8467 | 25.5767 | 8.06 | 32.4933 | 22.1387 | 877 | 94.9667 | 35.6227
2019-06-20 18:30:00 | 4.6 | 56.5533 | 5.3 | 62.14 | 8.2867 | 25.0433 | 8.2267 | 21.2533 | 22.0667 | 877 | 94.9 | 38.8733
2019-06-20 18:45:00 | 5.1767 | 118.0033 | 5.9533 | 129.6667 | 9.9567 | 18.43 | 9.76 | 23.4133 | 21.84 | 877 | 96.1333 | 41.236
2019-06-20 19:00:00 | 4.95 | 124.0033 | 5.7 | 136.2667 | 9.59 | 14.5433 | 9.4 | 20.8067 | 21.6533 | 877.4 | 96.7333 | 38.9393
2019-06-20 19:15:00 | 4.3733 | 175.7233 | 5.03 | 193.09 | 8.4367 | 18.6467 | 8.37 | 27.15 | 21.4967 | 878 | 97.6 | 35.682
2019-06-20 19:30:00 | 4.2467 | 203.0233 | 4.89 | 223.09 | 8.03 | 14.2733 | 7.95 | 27.3767 | 21.3633 | 878 | 98.3333 | 35.75
2019-06-20 19:45:00 | 4.62 | 210.91 | 5.3133 | 231.7633 | 8.8 | 14.4333 | 9.0067 | 19.0567 | 21.1667 | 878 | 99.4667 | 35.5127
2019-06-20 20:00:00 | 4.498 | 129.604 | 5.172 | 142.416 | 8.488 | 15.266 | 8.578 | 25.06 | 21.046 | 878 | 99.92 | 36.6273
2019-06-20 20:15:00 | 3.8733 | 206.4567 | 4.46 | 226.8667 | 7.69 | 20.7733 | 8.23 | 21.6833 | 20.9133 | 878 | 100 | 38.062
2019-06-20 20:30:00 | 3.74 | 188.7967 | 4.3067 | 207.4667 | 7.45 | 25.0867 | 8.4367 | 30.4633 | 20.84 | 878 | 100 | 38.514
2019-06-20 20:45:00 | 3.6667 | 186.4067 | 4.2167 | 204.8333 | 7.2533 | 29.1167 | 8.1233 | 35.7367 | 20.7433 | 878 | 100 | 37.6353
2019-06-20 21:00:00 | 3.52 | 241.2467 | 4.05 | 265.1 | 6.9067 | 31.71 | 7.6233 | 31.85 | 20.6633 | 878 | 100 | 36.0433
2019-06-20 21:15:00 | 3.22 | 209.3367 | 3.7067 | 230.0333 | 6.33 | 16.3767 | 7.6333 | 31.5133 | 20.57 | 878 | 100 | 39.7287
2019-06-20 21:30:00 | 3.7067 | 239.2967 | 4.2733 | 262.9667 | 7.2633 | 11.8567 | 8.26 | 24.7533 | 20.514 | 878.4 | 100 | 40.0873
2019-06-20 21:45:00 | 3.5133 | 247.4247 | 4.04 | 271.8933 | 6.6793 | 16.21 | 7.6207 | 27.64 | 20.4667 | 879 | 100 | 43.222
2019-06-20 22:00:00 | 3.7467 | 309.6433 | 4.3067 | 340.2667 | 7.0033 | 14.91 | 8.1567 | 20.1067 | 20.432 | 879 | 100 | 40.222
2019-06-20 22:15:00 | 3.6667 | 276.29 | 4.2167 | 303.6 | 6.8533 | 10.87 | 7.7633 | 20.8333 | 20.3967 | 879 | 100 | 37.9787
2019-06-20 22:30:00 | 3.742 | 204.4 | 4.304 | 224.6 | 7.182 | 12.948 | 7.78 | 16.772 | 20.366 | 879 | 100 | 32.5127
2019-06-20 22:45:00 | 3.4967 | 223.4067 | 4.02 | 245.5 | 6.92 | 11.2267 | 7.2833 | 20.39 | 20.3527 | 879 | 100 | 33.6667
2019-06-20 23:00:00 | 3.5767 | 202.24 | 4.12 | 222.2333 | 6.98 | 17.42 | 7.3367 | 17.4567 | 20.35 | 879 | 100 | 37.986
2019-06-20 23:15:00 | 3.602 | 47.82 | 4.142 | 52.54 | 6.984 | 4.292 | 7.658 | 19.232 | 20.3347 | 879 | 100 | 38.574
2019-06-20 23:30:00 | 3.59 | 95.5133 | 4.13 | 104.9533 | 6.6133 | 9.1 | 7.6233 | 19.0933 | 20.32 | 879 | 100 | 41.512
2019-06-20 23:45:00 | 4.13 | 111.92 | 4.75 | 122.98 | 7.3 | 12.8933 | 8.4 | 19.1667 | 20.3113 | 879 | 100 | 42.278