## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-21 00:00:00 | 3.8629 | 119.5821 | 4.4429 | 131.3993 | 6.5786 | 14.3407 | 7.4557 | 12.815 | 20.29 | 879 | 100 | 41.8529
2019-06-21 00:15:00 | 3.8067 | 252.8 | 4.3867 | 277.8 | 6.5633 | 347.6333 | 7.4 | 15.7133 | 20.296 | 879 | 100 | 39.468
2019-06-21 00:30:00 | 3.9267 | 114.8133 | 4.52 | 126.1533 | 6.89 | 118.2533 | 7.5333 | 24.4333 | 20.272 | 879 | 100 | 38.238
2019-06-21 00:45:00 | 3.9533 | 289.1967 | 4.5467 | 317.8 | 7.3067 | 9.9567 | 8.1867 | 10.34 | 20.2453 | 879 | 100 | 37.2993
2019-06-21 01:00:00 | 4.24 | 109.442 | 4.884 | 120.264 | 7.41 | 8.878 | 8.004 | 18.724 | 20.24 | 879 | 100 | 36.8767
2019-06-21 01:15:00 | 3.9467 | 105.9633 | 4.5467 | 116.44 | 6.86 | 2.2367 | 7.3433 | 14.2467 | 20.2393 | 879 | 100 | 37.0513
2019-06-21 01:30:00 | 3.74 | 301.3433 | 4.3 | 331.1333 | 6.88 | 13.2033 | 7.5833 | 11.9333 | 20.226 | 879 | 100 | 37.0153
2019-06-21 01:45:00 | 3.732 | 58.424 | 4.292 | 64.2 | 6.948 | 18.422 | 7.532 | 16.18 | 20.2193 | 879 | 100 | 38.06
2019-06-21 02:00:00 | 4.02 | 286.3 | 4.6267 | 314.6 | 7.4867 | 9.45 | 7.96 | 9.64 | 20.21 | 879 | 100 | 38.9587
2019-06-21 02:15:00 | 4.65 | 2.53 | 5.3433 | 2.78 | 8.6167 | 15.9133 | 8.7833 | 12.29 | 20.2033 | 878.9333 | 100 | 38.788
2019-06-21 02:30:00 | 4.33 | 41.71 | 4.9767 | 45.8267 | 7.69 | 28.76 | 8.1633 | 13.2767 | 20.21 | 878 | 100 | 39.912
2019-06-21 02:45:00 | 4.6927 | 38.706 | 5.4113 | 42.5253 | 8.6727 | 7.3313 | 9.046 | 30.2093 | 20.2027 | 878 | 100 | 40.7007
2019-06-21 03:00:00 | 4.9033 | 214.01 | 5.6533 | 235.1667 | 8.97 | 6.6733 | 9.35 | 6.1133 | 20.196 | 878 | 100 | 41.3587
2019-06-21 03:15:00 | 5.07 | 129.8933 | 5.8367 | 142.7333 | 8.9767 | 119.0667 | 9.2433 | 10.06 | 20.1827 | 878 | 100 | 41.2307
2019-06-21 03:30:00 | 5.1233 | 273.0333 | 5.89 | 300.0333 | 9.1767 | 115.96 | 9.4167 | 12.22 | 20.18 | 878 | 100 | 42.0353
2019-06-21 03:45:00 | 5.4033 | 152.7 | 6.2267 | 167.8 | 9.9167 | 11.4933 | 10.34 | 13.4167 | 20.1733 | 878 | 100 | 42.34
2019-06-21 04:00:00 | 5.3233 | 306.0067 | 6.1267 | 336.2667 | 9.6567 | 8.4333 | 9.9733 | 11.9567 | 20.18 | 878 | 100 | 42.31
2019-06-21 04:15:00 | 5.4467 | 284.05 | 6.2633 | 312.1333 | 9.9567 | 11.8733 | 9.9433 | 19.74 | 20.1647 | 878 | 100 | 42.1413
2019-06-21 04:30:00 | 5.3467 | 172.5967 | 6.1567 | 189.6667 | 9.5967 | 16.0267 | 9.5167 | 15.3 | 20.15 | 878 | 100 | 42.49
2019-06-21 04:45:00 | 5.1867 | 85.3567 | 5.9733 | 93.7933 | 9.6467 | 11.37 | 9.6067 | 16.2367 | 20.134 | 878 | 100 | 42.2047
2019-06-21 05:00:00 | 4.7867 | 86.0633 | 5.5067 | 94.5733 | 9.14 | 10.17 | 9.4867 | 12.77 | 20.102 | 878 | 100 | 41.662
2019-06-21 05:15:00 | 4.9733 | 215.0967 | 5.7233 | 236.3667 | 9.61 | 13.8133 | 9.73 | 19.3 | 20.0813 | 878 | 100 | 40.8687
2019-06-21 05:30:00 | 5.0267 | 220.1367 | 5.7833 | 241.9 | 9.27 | 14.2333 | 9.4767 | 17.1667 | 20.044 | 878 | 100 | 40.7013
2019-06-21 05:45:00 | 4.284 | 263.334 | 4.928 | 289.3667 | 7.476 | 6.0093 | 7.8727 | 16.4267 | 19.9973 | 878 | 100 | 39.8407
2019-06-21 06:00:00 | 3.8867 | 149.6833 | 4.4667 | 164.48 | 7.02 | 2.0767 | 7.3033 | 9.0867 | 19.972 | 878 | 100 | 35.818
2019-06-21 06:15:00 | 3.9733 | 311.83 | 4.57 | 342.6667 | 7.55 | 8 | 7.376 | 13.3333 | 19.952 | 878 | 100 | 33.8613
2019-06-21 06:30:00 | 3.84 | 290.29 | 4.4167 | 319 | 7.4233 | 0.97333 | 7.5533 | 8.78 | 19.948 | 878 | 100 | 33.3407
2019-06-21 06:45:00 | 3.8787 | 201.5653 | 4.472 | 221.4967 | 6.6887 | 11.0453 | 6.9133 | 7.6813 | 19.9913 | 878 | 100 | 37.442
2019-06-21 07:00:00 | 4.6467 | 22.5133 | 5.3533 | 24.73 | 8.13 | 245.5067 | 8.4367 | 0.80667 | 20.0633 | 878 | 100 | 39.7833
2019-06-21 07:15:00 | 4.8133 | 175.8 | 5.5333 | 193.1767 | 8.9433 | 234.32 | 8.92 | 153.7133 | 20.1093 | 878.0667 | 100 | 38.746
2019-06-21 07:30:00 | 4.5267 | 187.38 | 5.2067 | 205.91 | 8.07 | 16.4867 | 8.1667 | 353.9 | 20.0867 | 879 | 100 | 39.4013
2019-06-21 07:45:00 | 4.68 | 14.0433 | 5.3933 | 15.4267 | 8.05 | 10.5133 | 8.0833 | 13.53 | 20.0087 | 879 | 100 | 39.4407
2019-06-21 08:00:00 | 4.3267 | 151.11 | 4.98 | 166.0467 | 8.2633 | 13.06 | 8.15 | 19.5567 | 19.994 | 879 | 100 | 40.1933
2019-06-21 08:15:00 | 4.5467 | 228.1667 | 5.2267 | 250.7333 | 8.7667 | 13.3033 | 8.7007 | 17.68 | 20.0067 | 879.0667 | 100 | 43.7747
2019-06-21 08:30:00 | 4.6867 | 111.7533 | 5.3867 | 122.8 | 9.0267 | 14.6967 | 8.9567 | 20.84 | 19.9667 | 880 | 100 | 47.0933
2019-06-21 08:45:00 | 4.98 | 233.16 | 5.73 | 256.2067 | 9.5533 | 19.42 | 9.5633 | 13.9667 | 19.926 | 880 | 100 | 46.204
2019-06-21 09:00:00 | 4.9867 | 54.3 | 5.7433 | 59.66 | 9.52 | 18.6533 | 9.5433 | 23.2333 | 19.882 | 880 | 100 | 46.7273
2019-06-21 09:15:00 | 4.95 | 299.5733 | 5.6967 | 329.2 | 8.9333 | 8.8033 | 9.21 | 14.7067 | 19.8607 | 880 | 100 | 46.4033
2019-06-21 09:30:00 | 4.8367 | 109.9 | 5.57 | 120.76 | 9.3533 | 13.13 | 9.5433 | 14.22 | 19.842 | 880 | 100 | 46.0527
2019-06-21 09:45:00 | 4.8167 | 128.1033 | 5.54 | 140.76 | 9.4367 | 16.5233 | 9.3 | 18.2767 | 19.9607 | 880 | 100 | 46.5687
2019-06-21 10:00:00 | 5.0967 | 266.09 | 5.86 | 292.4 | 9.91 | 15.1167 | 9.74 | 11.9567 | 19.97 | 880 | 100 | 48.392
2019-06-21 10:15:00 | 5.0727 | 211.1673 | 5.8373 | 232.0533 | 9.9653 | 15.3253 | 10.2213 | 21.428 | 20.026 | 879.9333 | 100 | 55.1607
2019-06-21 10:30:00 | 5.4667 | 154.6033 | 6.29 | 169.8867 | 10.6933 | 18.4067 | 11.1367 | 20.9667 | 19.9633 | 879 | 100 | 54.8113
2019-06-21 10:45:00 | 5.3133 | 24.2733 | 6.1167 | 26.6767 | 10.1587 | 20.0633 | 11.2533 | 26.4167 | 19.9033 | 879 | 100 | 49.458
2019-06-21 11:00:00 | 5.6067 | 121.3733 | 6.45 | 133.3767 | 10.28 | 244.8767 | 10.2533 | 6.4367 | 19.958 | 879 | 100 | 48.01
2019-06-21 11:15:00 | 5.1467 | 34.6067 | 5.9167 | 38.0333 | 9.2467 | 4.7067 | 9.37 | 5.41 | 20.0733 | 879 | 100 | 49.164
2019-06-21 11:30:00 | 5.5867 | 192.0667 | 6.4367 | 211.0667 | 9.4067 | 6.54 | 9.5767 | 239.8367 | 20.0467 | 879 | 100 | 43.6013
2019-06-21 11:45:00 | 4.9133 | 178.2567 | 5.65 | 195.8833 | 8.7467 | 9.9167 | 8.96 | 6.01 | 20.2333 | 879 | 100 | 43.2987
2019-06-21 12:00:00 | 4.8667 | 33.4433 | 5.5967 | 36.7433 | 9.14 | 10.0967 | 9.28 | 15.29 | 20.7667 | 879 | 100 | 46.1027
2019-06-21 12:15:00 | 5.4933 | 192.18 | 6.32 | 211.18 | 10.08 | 14.4033 | 9.9167 | 20.1867 | 21.2967 | 879.0667 | 100 | 48.5193
2019-06-21 12:30:00 | 5.8933 | 21.5267 | 6.7867 | 23.6467 | 10.5867 | 27.0833 | 10.2633 | 13.2 | 21.65 | 880 | 100 | 46.68
2019-06-21 12:45:00 | 5.8967 | 290.1767 | 6.7833 | 318.8667 | 10.1767 | 19.6067 | 9.6967 | 21.5867 | 21.7667 | 880 | 99.3533 | 47.5973
2019-06-21 13:00:00 | 5.8833 | 285.2567 | 6.7633 | 313.4667 | 9.75 | 28.08 | 9.0967 | 22.04 | 21.52 | 880 | 98.0333 | 45.742
2019-06-21 13:15:00 | 4.9533 | 315.9 | 5.7067 | 347.1333 | 8.74 | 19.3433 | 8.6467 | 19.2467 | 21.67 | 880 | 98.0333 | 45.444
2019-06-21 13:30:00 | 5.564 | 120.72 | 6.404 | 132.654 | 9.798 | 16.398 | 9.34 | 5.826 | 21.896 | 880 | 97.46 | 46.7507
2019-06-21 13:45:00 | 5.8967 | 169.4733 | 6.78 | 186.2333 | 10.5567 | 12.5667 | 9.96 | 15.3233 | 22.5507 | 880 | 95.5 | 45.1333
2019-06-21 14:00:00 | 5.49 | 274.8 | 6.32 | 301.9667 | 9.7967 | 17.4467 | 9.6267 | 19.03 | 22.564 | 880 | 94.5667 | 47.936
2019-06-21 14:15:00 | 5.52 | 69.0667 | 6.3633 | 75.8867 | 9.5667 | 14.6267 | 9.13 | 32.78 | 22.7027 | 880 | 93.7667 | 45.176
2019-06-21 14:30:00 | 5.5867 | 246.4 | 6.4367 | 270.7667 | 9.7133 | 16.6 | 9.4833 | 31.76 | 23.28 | 880 | 91.9 | 45.25
2019-06-21 14:45:00 | 5.7433 | 15.13 | 6.6133 | 16.6233 | 9.9567 | 8.82 | 9.8207 | 16.3433 | 23.7 | 880 | 90.1667 | 45.1273
2019-06-21 15:00:00 | 5.8664 | 137.5007 | 6.7486 | 151.0964 | 10.2743 | 16.6629 | 9.7207 | 19.3321 | 23.7386 | 880 | 89.1214 | 42.592
2019-06-21 15:15:00 | 5.7 | 5.5 | 6.56 | 6.03 | 9.9367 | 12.2067 | 9.4973 | 19.2933 | 23.6133 | 880.0667 | 89.3 | 43.8173
2019-06-21 15:30:00 | 5.6467 | 169.9533 | 6.5 | 186.7567 | 9.8233 | 21.4867 | 9.4267 | 20.5133 | 23.3533 | 880.6 | 89.3667 | 46.844
2019-06-21 15:45:00 | 5.6367 | 176.37 | 6.48 | 193.8 | 9.9133 | 13.23 | 9.4367 | 21.0233 | 23.0333 | 880 | 90.4333 | 47.3087
2019-06-21 16:00:00 | 6.19 | 300.9167 | 7.1267 | 330.6667 | 10.7867 | 7.9167 | 10.6633 | 17.4167 | 22.9067 | 880 | 90.7667 | 48.392
2019-06-21 16:15:00 | 6.24 | 96.3033 | 7.1893 | 105.8267 | 11.2133 | 25.1633 | 10.7867 | 15.65 | 23.15 | 880 | 90.4067 | 48.644
2019-06-21 16:30:00 | 6.0067 | 127.2767 | 6.9067 | 139.8667 | 10.7933 | 12.01 | 10.5533 | 11.49 | 23.7033 | 880 | 88.9 | 47.8127
2019-06-21 16:45:00 | 6.5133 | 121.8267 | 7.4867 | 133.88 | 11.7233 | 19.0033 | 11.0267 | 19.4733 | 24.6267 | 880 | 85.7 | 48.924
2019-06-21 17:00:00 | 6.68 | 277.58 | 7.68 | 305.0333 | 11.778 | 7.85 | 11.24 | 22.6667 | 25.2267 | 880 | 82.8333 | 49.73
2019-06-21 17:15:00 | 6.772 | 301.6467 | 7.796 | 331.4667 | 11.9067 | 10.93 | 11.244 | 15.15 | 24.55 | 880.6667 | 83.8333 | 52.284
2019-06-21 17:30:00 | 6.8267 | 274.168 | 7.8533 | 301.28 | 11.4867 | 13.21 | 11.0333 | 23.7167 | 23.3033 | 880 | 86.9667 | 52.2727
2019-06-21 17:45:00 | 6.8 | 108.3433 | 7.8233 | 119.0533 | 11.3167 | 43.1 | 10.5633 | 239.2633 | 22.8507 | 880 | 88.3667 | 51.7533
2019-06-21 18:00:00 | 6.7867 | 169.3633 | 7.8167 | 186.1 | 11.45 | 36.04 | 11.0367 | 16.1967 | 22.864 | 879.6 | 87.86 | 53.934
2019-06-21 18:15:00 | 7.2667 | 219.04 | 8.36 | 240.7067 | 12.8367 | 17.05 | 12.2033 | 20.68 | 22.6167 | 879 | 88.2333 | 55.8967
2019-06-21 18:30:00 | 7.72 | 208.6133 | 8.88 | 229.24 | 13.27 | 17.9767 | 12.63 | 31.7267 | 22.2233 | 879 | 89.1 | 56.514
2019-06-21 18:45:00 | 8.5867 | 82.21 | 9.8733 | 90.3333 | 14.5033 | 18.8267 | 14.3867 | 23.1967 | 21.7833 | 879 | 89.8 | 56.8113
2019-06-21 19:00:00 | 7.8333 | 194.2633 | 9.0133 | 213.4667 | 14.2767 | 25.3333 | 14.4267 | 25.17 | 21.5633 | 879 | 90.56 | 54.9207
2019-06-21 19:15:00 | 7.6333 | 107.3233 | 8.79 | 117.9333 | 14.2567 | 13.8833 | 14.56 | 26.4167 | 21.4 | 879 | 91.8667 | 55.3713
2019-06-21 19:30:00 | 7.252 | 285.268 | 8.344 | 313.48 | 13.554 | 14.968 | 13.338 | 24.526 | 21.308 | 879 | 92.2 | 57.138
2019-06-21 19:45:00 | 7.41 | 158.56 | 8.5167 | 174.2333 | 13.3067 | 10.99 | 13.0967 | 10.9 | 21.228 | 878.2667 | 92.4 | 58.6013
2019-06-21 20:00:00 | 8.3567 | 246.9467 | 9.61 | 271.3667 | 14.7467 | 8.0567 | 14.1767 | 19.54 | 21.192 | 878 | 91.9333 | 58.5633
2019-06-21 20:15:00 | 8.0867 | 139.3967 | 9.3 | 153.1767 | 14.27 | 19.75 | 13.8233 | 26.2833 | 21.21 | 878.7333 | 91.2 | 57.3327
2019-06-21 20:30:00 | 7.38 | 66.29 | 8.4867 | 72.8433 | 13.5967 | 18.99 | 13.5967 | 21.1633 | 21.0567 | 879 | 92.2667 | 56.842
2019-06-21 20:45:00 | 7.12 | 275.88 | 8.1967 | 303.1667 | 13.23 | 9.48 | 13.1267 | 22.5533 | 20.8767 | 879 | 93.1667 | 57.5133
2019-06-21 21:00:00 | 7.5 | 189.7333 | 8.63 | 208.5 | 13.9567 | 7.2667 | 13.92 | 17.9267 | 20.9567 | 879 | 92.4333 | 56.2647
2019-06-21 21:15:00 | 7.1867 | 156.0067 | 8.2633 | 171.4333 | 13.15 | 20.9367 | 13.34 | 21.8887 | 20.92 | 879 | 92.2333 | 55.064
2019-06-21 21:30:00 | 6.7667 | 175.54 | 7.7833 | 192.9 | 12.3433 | 7.67 | 12.6733 | 20.8633 | 20.968 | 879 | 91.74 | 54.772
2019-06-21 21:45:00 | 7.3433 | 151.3033 | 8.4433 | 166.2667 | 13.0833 | 17.1567 | 12.7267 | 17.12 | 20.9693 | 879.0667 | 91.7067 | 56.446
2019-06-21 22:00:00 | 7.4367 | 147.9633 | 8.5567 | 162.6 | 13.1567 | 16.6833 | 13.0267 | 15.2533 | 21.02 | 879.6 | 91.44 | 56.4267
2019-06-21 22:15:00 | 8.12 | 114.2033 | 9.3367 | 125.5 | 14.2767 | 11.6467 | 14.3967 | 15.75 | 21.0727 | 879.7333 | 90.6333 | 56.9153
2019-06-21 22:30:00 | 7.7 | 60.15 | 8.8567 | 66.0933 | 13.7433 | 5.7533 | 14.2767 | 16.9167 | 21.098 | 880 | 90.5 | 57.1367
2019-06-21 22:45:00 | 7.28 | 169.62 | 8.3833 | 186.4 | 13.5133 | 16.8633 | 13.9167 | 23.49 | 21.0253 | 880 | 90.6733 | 56.9067
2019-06-21 23:00:00 | 7.48 | 182.6133 | 8.6033 | 200.6667 | 13.5933 | 11.3233 | 14.2033 | 21.6433 | 20.94 | 880 | 90.7 | 52.7967
2019-06-21 23:15:00 | 6.45 | 164.0233 | 7.4267 | 180.2333 | 11.5067 | 119.26 | 12.24 | 24.34 | 21.04 | 880 | 89.9 | 48.3407
2019-06-21 23:30:00 | 5.8233 | 141.8767 | 6.7 | 155.9 | 10.56 | 28.7667 | 10.9933 | 14.8133 | 21 | 880 | 90.2333 | 49.3633
2019-06-21 23:45:00 | 6.17 | 102.3133 | 7.0967 | 112.4333 | 10.92 | 14.1667 | 10.8067 | 15.9933 | 20.91 | 880 | 90.7 | 53.0027