## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-22 00:00:00 | 7.3293 | 241.3314 | 8.4386 | 265.2 | 13.1914 | 11.3943 | 13.13 | 19.6457 | 20.91 | 880 | 90.7 | 52.7214
2019-06-22 00:15:00 | 6.5467 | 14.4433 | 7.5333 | 15.87 | 12.4167 | 10.2433 | 12.3133 | 21.06 | 20.8133 | 880 | 91.5333 | 53.496
2019-06-22 00:30:00 | 6.3467 | 119.7367 | 7.3 | 131.5767 | 12.4767 | 20.0767 | 12.48 | 26.4533 | 20.64 | 880 | 92.6667 | 53.9713
2019-06-22 00:45:00 | 6.2933 | 225.2933 | 7.2467 | 247.5667 | 12.1433 | 92.3733 | 12.4367 | 25.81 | 20.4933 | 880 | 93.0667 | 52.4533
2019-06-22 01:00:00 | 6.3733 | 205.9333 | 7.3333 | 226.3 | 12.41 | 97.14 | 12.6167 | 23.2967 | 20.532 | 880 | 92.64 | 52.56
2019-06-22 01:15:00 | 6.9833 | 201.8767 | 8.03 | 221.8333 | 13 | 11.2467 | 13.1167 | 23.53 | 20.5927 | 880 | 91.9 | 54.104
2019-06-22 01:30:00 | 7.4833 | 190.0433 | 8.6033 | 208.8333 | 13.5067 | 5.8667 | 13.5433 | 17.83 | 20.7567 | 879.6 | 90.7667 | 55.35
2019-06-22 01:45:00 | 7.2333 | 175.1533 | 8.3167 | 192.4667 | 13.1433 | 16.54 | 13.4933 | 22.52 | 20.8473 | 879 | 90.3667 | 55.09
2019-06-22 02:00:00 | 7.26 | 224.6533 | 8.3567 | 246.8667 | 13.7767 | 17.9867 | 13.9467 | 24.2867 | 20.7167 | 879 | 91.0333 | 55.1773
2019-06-22 02:15:00 | 6.9467 | 220.6433 | 7.9967 | 242.4667 | 13.3633 | 26.61 | 13.56 | 29.1067 | 20.59 | 879 | 91.5667 | 55.2373
2019-06-22 02:30:00 | 6.9267 | 195.71 | 7.9767 | 215.0667 | 13.2567 | 17.6167 | 13.6933 | 23.9867 | 20.534 | 879 | 91.8333 | 55.6513
2019-06-22 02:45:00 | 7.0133 | 302.0033 | 8.07 | 331.8667 | 13.27 | 14.5767 | 13.6 | 29.7033 | 20.4787 | 879 | 91.9667 | 52.3947
2019-06-22 03:00:00 | 6.7067 | 268.9433 | 7.7167 | 295.5333 | 12.63 | 23.21 | 12.3733 | 31.65 | 20.456 | 879 | 91.8333 | 51.4727
2019-06-22 03:15:00 | 6.5767 | 98.6433 | 7.5633 | 108.4 | 12.3533 | 16.5667 | 11.9533 | 17.1567 | 20.6307 | 879.7333 | 90.8333 | 50.108
2019-06-22 03:30:00 | 6.3967 | 177.45 | 7.3567 | 195 | 12.1667 | 14.5867 | 11.8533 | 22.21 | 20.5733 | 880 | 91.3667 | 51.8333
2019-06-22 03:45:00 | 6.86 | 290.65 | 7.89 | 319.4 | 12.93 | 14.7433 | 12.48 | 19.8833 | 20.5387 | 880 | 91.1333 | 53.434
2019-06-22 04:00:00 | 6.4667 | 119.1633 | 7.4433 | 130.9467 | 11.5767 | 7.4033 | 10.98 | 11.8833 | 20.56 | 880 | 90.9333 | 54.4707
2019-06-22 04:15:00 | 6.65 | 113.7633 | 7.65 | 125.0067 | 12.37 | 14.26 | 11.95 | 11.3967 | 20.6067 | 880 | 90.7 | 56.3787
2019-06-22 04:30:00 | 6.99 | 70.4433 | 8.0433 | 77.4067 | 13.2967 | 17.3667 | 13.1833 | 17.0833 | 20.4867 | 880 | 91.3667 | 54.2073
2019-06-22 04:45:00 | 6.9067 | 241.79 | 7.95 | 265.7 | 13.1267 | 12.58 | 13.0133 | 26.3933 | 20.3933 | 880 | 91.1333 | 55.1047
2019-06-22 05:00:00 | 6.5467 | 76.0033 | 7.5367 | 83.52 | 12.6933 | 16.6333 | 12.74 | 23.6533 | 20.3467 | 880 | 90.9333 | 56.3013
2019-06-22 05:15:00 | 7.4067 | 85.5533 | 8.52 | 94.02 | 14 | 10.4667 | 13.7967 | 23.85 | 20.2133 | 879.2667 | 91.12 | 54.8067
2019-06-22 05:30:00 | 6.68 | 156.4867 | 7.6933 | 171.9667 | 12.5333 | 20.7533 | 12.37 | 28.55 | 20.2467 | 879 | 90.7333 | 52.6433
2019-06-22 05:45:00 | 6.524 | 34.4867 | 7.5067 | 37.8967 | 12.0633 | 14.6933 | 12.0367 | 12.35 | 20.3733 | 879.0667 | 88.6667 | 54.3773
2019-06-22 06:00:00 | 6.5933 | 132.72 | 7.58 | 145.8367 | 12.4967 | 23.7667 | 12.6967 | 9.2567 | 20.32 | 880 | 88.6667 | 57.9493
2019-06-22 06:15:00 | 7.0467 | 227.35 | 8.1067 | 249.8367 | 13.16 | 19.39 | 13.3933 | 22.9433 | 20.17 | 880 | 88.4333 | 57.572
2019-06-22 06:30:00 | 7.48 | 158.0167 | 8.6 | 173.6367 | 13.812 | 14.8367 | 13.62 | 23.4233 | 20.3233 | 880 | 86.9 | 55.0873
2019-06-22 06:45:00 | 7.23 | 108.2833 | 8.3233 | 118.9867 | 13.4267 | 18.7767 | 13.2933 | 31.8267 | 20.3707 | 880 | 86.9933 | 56.16
2019-06-22 07:00:00 | 7.55 | 223.3567 | 8.6967 | 245.4333 | 14.1867 | 17.0767 | 13.9267 | 25.72 | 20.2933 | 880 | 87.6333 | 58.6673
2019-06-22 07:15:00 | 8.1133 | 270.5167 | 9.3267 | 297.2667 | 15.37 | 12.8667 | 15.21 | 25.0233 | 20.1733 | 880 | 88.5 | 57.2953
2019-06-22 07:30:00 | 7.7533 | 242.9167 | 8.92 | 266.9333 | 14.5967 | 22.0467 | 14.8633 | 27.81 | 20.2533 | 880 | 88.1667 | 56.8567
2019-06-22 07:45:00 | 8.4633 | 161.7967 | 9.7333 | 177.7933 | 15.8033 | 26.7167 | 16.06 | 31.4 | 20.2827 | 880.0667 | 88.1733 | 58.424
2019-06-22 08:00:00 | 7.69 | 199.9033 | 8.8467 | 219.66 | 14.6767 | 25.9233 | 14.8933 | 28.6 | 20.22 | 881 | 88.5333 | 58.93
2019-06-22 08:15:00 | 8.08 | 198.3133 | 9.2967 | 217.9267 | 15.08 | 18.9833 | 15.1387 | 27.9933 | 20.1767 | 881 | 88.54 | 57.4733
2019-06-22 08:30:00 | 7.9333 | 183.58 | 9.1367 | 201.7267 | 14.8 | 18.01 | 15.0133 | 23.9 | 20.27 | 881 | 88.3 | 57.1507
2019-06-22 08:45:00 | 7.58 | 252.08 | 8.72 | 277 | 14.4467 | 18.7333 | 14.4367 | 24.11 | 20.39 | 881 | 87.9 | 60.4187
2019-06-22 09:00:00 | 8.5 | 68.9667 | 9.78 | 75.7733 | 15.8933 | 21.5867 | 16.1433 | 38.17 | 20.5033 | 881 | 87.7 | 60.008
2019-06-22 09:15:00 | 8.5067 | 47.4867 | 9.7833 | 52.1733 | 15.56 | 22.8267 | 15.7367 | 32.9733 | 20.62 | 881 | 86.1667 | 60.4807
2019-06-22 09:30:00 | 7.9267 | 226.36 | 9.1233 | 248.7333 | 14.6467 | 16.9267 | 15.3167 | 35.2733 | 20.3867 | 881 | 87.5 | 59.892
2019-06-22 09:45:00 | 8.0567 | 272.5833 | 9.27 | 299.5333 | 15.0267 | 25.2567 | 15.5633 | 26.34 | 20.2067 | 881 | 88.8333 | 58.7447
2019-06-22 10:00:00 | 8.7833 | 152.4033 | 10.11 | 167.4667 | 16.2267 | 18.2233 | 16.5567 | 25.9533 | 20.5133 | 881 | 87.7 | 61.6
2019-06-22 10:15:00 | 9.1867 | 124.5267 | 10.5733 | 136.8433 | 16.4333 | 17.3433 | 16.686 | 30.76 | 20.7167 | 881 | 84.9933 | 62.1633
2019-06-22 10:30:00 | 8.82 | 178.64 | 10.1467 | 196.31 | 15.9667 | 21.4567 | 16.2567 | 43.2067 | 20.6767 | 881 | 85.5 | 62.1667
2019-06-22 10:45:00 | 8.5733 | 194.6767 | 9.8633 | 213.9333 | 15.9933 | 16.4333 | 16.0513 | 24.2267 | 20.7833 | 881 | 86.3667 | 60.2567
2019-06-22 11:00:00 | 8.3133 | 194.4433 | 9.5633 | 213.6667 | 15.1067 | 15.7067 | 15.3767 | 14.7333 | 20.6367 | 881.4 | 85.94 | 59.4387
2019-06-22 11:15:00 | 8.064 | 251.0553 | 9.2747 | 275.88 | 14.942 | 13.1207 | 14.8987 | 20.3227 | 20.4973 | 882 | 87.2067 | 60.6593
2019-06-22 11:30:00 | 8.4933 | 204.18 | 9.7733 | 224.3667 | 15.7267 | 12.5367 | 15.74 | 20.5267 | 20.5067 | 882 | 87.8333 | 61.484
2019-06-22 11:45:00 | 7.8067 | 131.16 | 8.9833 | 144.1333 | 14.7067 | 14.02 | 14.9967 | 25.7733 | 20.7967 | 882 | 87.0933 | 60.406
2019-06-22 12:00:00 | 8.42 | 82.94 | 9.6967 | 91.14 | 15.5133 | 8.8067 | 15.67 | 30.6667 | 21.0233 | 881.6 | 86.3333 | 60.9713
2019-06-22 12:15:00 | 8.7387 | 304.82 | 10.0493 | 334.9667 | 16.1067 | 18.1033 | 16.3833 | 30.4433 | 21.448 | 881.7333 | 84.6333 | 61.1693
2019-06-22 12:30:00 | 8.32 | 113.7 | 9.5733 | 124.9333 | 15.36 | 25.2167 | 15.53 | 25.5833 | 21.74 | 882 | 84.3667 | 60.9913
2019-06-22 12:45:00 | 8.38 | 195.0833 | 9.6467 | 214.37 | 15.2373 | 15.6667 | 15.4167 | 27.2933 | 21.85 | 882 | 83.9067 | 58.2327
2019-06-22 13:00:00 | 8.0733 | 225.53 | 9.2867 | 247.8367 | 14.46 | 18.4 | 14.6033 | 30.26 | 21.4567 | 882 | 83.8667 | 57.502
2019-06-22 13:15:00 | 7.2133 | 217.2333 | 8.31 | 238.71 | 12.93 | 25.6433 | 13.6333 | 24.54 | 21.0773 | 882 | 84.7667 | 56.7727
2019-06-22 13:30:00 | 7.48 | 189.1333 | 8.6033 | 207.8433 | 13.3633 | 25.6567 | 13.68 | 30.0667 | 21.08 | 882 | 83.6333 | 56.2607
2019-06-22 13:45:00 | 7.0033 | 303.6033 | 8.0633 | 333.6333 | 12.77 | 15.7267 | 12.8433 | 23.2667 | 21.1547 | 882.7333 | 83.4333 | 55.5893
2019-06-22 14:00:00 | 8.2167 | 117.01 | 9.45 | 128.5867 | 14.5633 | 28.38 | 14.8233 | 35.16 | 21.3267 | 882.6 | 82.5 | 57.1893
2019-06-22 14:15:00 | 8.0933 | 301.7067 | 9.3067 | 331.5333 | 14.4333 | 29.26 | 14.3933 | 32.8067 | 21.452 | 882 | 81.8 | 56.6193
2019-06-22 14:30:00 | 7.5067 | 298.0667 | 8.6333 | 327.5333 | 13.74 | 22.0067 | 13.888 | 31.64 | 21.6267 | 882 | 82 | 56.4627
2019-06-22 14:45:00 | 8.8867 | 268.8173 | 10.22 | 295.3933 | 16.0013 | 23.9167 | 16.3233 | 30.39 | 21.858 | 882.6667 | 81.4333 | 60.46
2019-06-22 15:00:00 | 9.555 | 253.39 | 10.99 | 278.45 | 17 | 29.21 | 17.525 | 28.635 | 21.9 | 882 | 81.55 | 60.968
2019-06-22 15:15:00 | 10.1233 | 6.0233 | 11.65 | 6.61 | 17.802 | 32.81 | 18.9533 | 37.0367 | 22.0913 | 882 | 80.0667 | 59.5927
2019-06-22 15:30:00 | 8.7233 | 51.3967 | 10.0433 | 56.4833 | 15.57 | 23.11 | 17.32 | 32.37 | 22.2167 | 882 | 81.1333 | 54.1667
2019-06-22 15:45:00 | 7.08 | 170.33 | 8.1467 | 187.1667 | 12.9267 | 31.44 | 13.5333 | 25.89 | 22.26 | 882.7333 | 81.7933 | 54.21
2019-06-22 16:00:00 | 7.52 | 117.4833 | 8.66 | 129.1 | 13.5933 | 14.98 | 13.9067 | 24.8233 | 21.9133 | 883 | 82.5 | 57.43
2019-06-22 16:15:00 | 7.9967 | 84.7733 | 9.1933 | 93.1467 | 14.1533 | 15.9167 | 14.5267 | 15.8233 | 22.0053 | 883 | 83.0667 | 58.2347
2019-06-22 16:30:00 | 8.2967 | 76 | 9.54 | 83.5067 | 14.9067 | 18.3433 | 15.34 | 25.5633 | 22.88 | 883 | 79.8333 | 56.9273
2019-06-22 16:45:00 | 7.6533 | 12.1733 | 8.8033 | 13.3667 | 13.94 | 17.7033 | 14.13 | 27.2167 | 22.5733 | 883 | 80.8933 | 58.15
2019-06-22 17:00:00 | 7.68 | 225.04 | 8.8367 | 247.2933 | 13.9733 | 19.4167 | 14.35 | 29.37 | 22.6133 | 883 | 80.2667 | 58.6327
2019-06-22 17:15:00 | 7.8067 | 245.0633 | 8.9867 | 269.3 | 14.0533 | 21.7333 | 14.2733 | 24.6267 | 22.3167 | 883 | 80.3533 | 58.5013
2019-06-22 17:30:00 | 7.7133 | 120.15 | 8.88 | 132.0333 | 14.1133 | 15.5 | 14.2933 | 25.88 | 21.67 | 883 | 83 | 57.472
2019-06-22 17:45:00 | 7.9267 | 151.0033 | 9.1167 | 165.9333 | 14.5833 | 21.2933 | 14.6733 | 24.9933 | 21.3673 | 883 | 83.1667 | 57.7893
2019-06-22 18:00:00 | 7.6133 | 118.8433 | 8.7567 | 130.6 | 14.05 | 12.74 | 14.1867 | 25.4667 | 21.2433 | 883 | 83.0333 | 57.3873
2019-06-22 18:15:00 | 7.2133 | 95.0567 | 8.3 | 104.46 | 13.3433 | 17.1067 | 13.9767 | 24.2633 | 21.078 | 883 | 83.2 | 56.7887
2019-06-22 18:30:00 | 7.4533 | 225.2033 | 8.5733 | 247.4667 | 13.73 | 17.3133 | 14.2167 | 17.75 | 21.0033 | 882.6 | 82.6667 | 55.458
2019-06-22 18:45:00 | 7.604 | 259.91 | 8.758 | 285.6133 | 13.9227 | 265.5053 | 14.828 | 35.7627 | 20.8833 | 882 | 82.28 | 50.202
2019-06-22 19:00:00 | 6.7067 | 151.4567 | 7.7167 | 166.4333 | 12.4167 | 23.8967 | 13.67 | 37.8767 | 20.73 | 882 | 82.8333 | 47.8553
2019-06-22 19:15:00 | 7.1633 | 62.7333 | 8.24 | 68.9267 | 13.1933 | 18.5067 | 13.8367 | 31.6867 | 20.6207 | 882 | 82.8 | 47.922
2019-06-22 19:30:00 | 6.93 | 47.0333 | 7.9733 | 51.6733 | 12.64 | 24.5 | 13.33 | 30.9067 | 20.642 | 882 | 81.4667 | 47.3107
2019-06-22 19:45:00 | 6.5167 | 265.6033 | 7.5033 | 291.8667 | 12.27 | 19.8667 | 13.0967 | 28.7133 | 20.5973 | 882.0667 | 81.9067 | 47.6593
2019-06-22 20:00:00 | 6.4567 | 245.35 | 7.43 | 269.6 | 12.25 | 30.5267 | 13.15 | 29.3267 | 20.4733 | 883 | 82.2667 | 45.4107
2019-06-22 20:15:00 | 6.1067 | 286.45 | 7.0267 | 314.7667 | 11.7087 | 21.6333 | 12.4387 | 24.26 | 20.2673 | 883 | 82.7667 | 44.476
2019-06-22 20:30:00 | 5.9733 | 212.79 | 6.88 | 233.8333 | 11.47 | 15.4467 | 12.14 | 22.9667 | 20.226 | 883 | 82.6333 | 44.7893
2019-06-22 20:45:00 | 6.1367 | 274.8167 | 7.0567 | 302 | 11.78 | 10.8233 | 12.1667 | 31.1833 | 20.2413 | 883 | 82.7067 | 45.102
2019-06-22 21:00:00 | 5.4633 | 94.7633 | 6.29 | 104.1333 | 10.5733 | 23.6367 | 11.1 | 26.0833 | 20.244 | 883 | 82.6667 | 42.132
2019-06-22 21:15:00 | 5.08 | 165.05 | 5.85 | 181.3667 | 9.9433 | 2.9267 | 10.3193 | 26.24 | 20.222 | 883 | 82.8 | 40.188
2019-06-22 21:30:00 | 4.8867 | 152.5433 | 5.63 | 167.6333 | 9.61 | 12.9333 | 10.17 | 33.4133 | 20.23 | 883 | 82.7333 | 35.978
2019-06-22 21:45:00 | 4.7733 | 173.2 | 5.5033 | 190.3333 | 9.1433 | 11.9233 | 9.6507 | 30.9033 | 20.3387 | 883.7333 | 81.2667 | 32.902
2019-06-22 22:00:00 | 4.7733 | 176.18 | 5.49 | 193.6 | 8.97 | 13.17 | 9.08 | 24.0033 | 20.52 | 884 | 80.0333 | 30.476
2019-06-22 22:15:00 | 4.7733 | 165.2033 | 5.5 | 181.5333 | 9.0967 | 14.52 | 9.0467 | 20.9567 | 20.5933 | 884 | 79.56 | 29.298
2019-06-22 22:30:00 | 4.5 | 174.8433 | 5.1733 | 192.1333 | 8.55 | 9.98 | 8.62 | 20.6167 | 20.508 | 884 | 79.6133 | 31.124
2019-06-22 22:45:00 | 4.4467 | 171.97 | 5.12 | 188.9667 | 8.4467 | 12.1067 | 8.7233 | 20.1233 | 20.5833 | 884 | 78.95 | 31.2933
2019-06-22 23:00:00 | 4.1333 | 194.65 | 4.7667 | 213.9 | 8.0067 | 7.0533 | 8.61 | 29.0033 | 20.4167 | 884 | 79.8567 | 24.4867
2019-06-22 23:15:00 | 4.1033 | 168.228 | 4.7287 | 184.8667 | 7.522 | 15.9793 | 7.8813 | 29.1353 | 20.414 | 884 | 79.5173 | 22.9793
2019-06-22 23:30:00 | 3.9933 | 127.5533 | 4.5933 | 140.1667 | 7.6833 | 14.4033 | 8.0567 | 27.37 | 20.31 | 884 | 80.2533 | 21.438
2019-06-22 23:45:00 | 3.5333 | 182.88 | 4.0667 | 200.97 | 6.7033 | 17.5333 | 6.7967 | 21.81 | 20.1827 | 884 | 80.46 | 20.5347