## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-24 00:00:00 | 1.7771 | 187.0593 | 2.0479 | 205.55 | 3.5314 | 4.0893 | 3.4164 | 18.75 | 20.51 | 885 | 90.1 | 0
2019-06-24 00:15:00 | 1.4467 | 295.99 | 1.6733 | 325.2667 | 2.8667 | 355.9333 | 2.76 | 4.9867 | 20.3433 | 885 | 90.4667 | 0.31267
2019-06-24 00:30:00 | 1.82 | 316.2033 | 2.0933 | 347.4667 | 3.5867 | 122.08 | 3.4 | 5.8467 | 20.25 | 885 | 90.5333 | 2.1487
2019-06-24 00:45:00 | 1.84 | 304.3133 | 2.1167 | 334.4 | 3.6633 | 16.4633 | 3.7167 | 11.0167 | 20.0967 | 884.9333 | 91.3333 | 0
2019-06-24 01:00:00 | 1.4267 | 265.72 | 1.6433 | 292 | 2.85 | 21.45 | 3.1633 | 34.83 | 19.9767 | 884 | 91.8667 | 0
2019-06-24 01:15:00 | 1.7967 | 314.8333 | 2.08 | 345.9667 | 3.4233 | 123.8467 | 3.48 | 127.7667 | 19.912 | 884 | 91.3 | 0.192
2019-06-24 01:30:00 | 1.8633 | 110.2333 | 2.1467 | 121.1267 | 3.6767 | 353.9 | 3.5533 | 118.0467 | 19.928 | 884 | 91.7 | 0
2019-06-24 01:45:00 | 1.5 | 112.94 | 1.7267 | 124.1067 | 2.9367 | 2.2667 | 2.91 | 3.4533 | 19.8587 | 884 | 91.8933 | 0
2019-06-24 02:00:00 | 1.0467 | 311.2 | 1.2133 | 341.9667 | 2.0833 | 13.64 | 2.09 | 3.84 | 19.828 | 883.6 | 92.04 | 0
2019-06-24 02:15:00 | 1.3747 | 314.6733 | 1.5933 | 345.7867 | 2.7173 | 12.82 | 2.5487 | 12.1433 | 19.7587 | 883 | 91.7267 | 0
2019-06-24 02:30:00 | 1.7267 | 321.72 | 1.9933 | 353.5333 | 3.28 | 237.3667 | 3.09 | 60.4033 | 19.72 | 883 | 91.34 | 0
2019-06-24 02:45:00 | 2.0033 | 290 | 2.3033 | 318.6667 | 3.77 | 352.3333 | 3.5167 | 7.8267 | 19.678 | 883 | 91.16 | 0
2019-06-24 03:00:00 | 2.15 | 107.6 | 2.47 | 118.2267 | 3.33 | 348.2 | 3.0567 | 235.4 | 19.69 | 883 | 90.3333 | 0.63067
2019-06-24 03:15:00 | 2.4 | 84.81 | 2.76 | 93.1933 | 4.43 | 7.9367 | 4.5667 | 14.31 | 19.6853 | 883 | 91.3667 | 7.1213
2019-06-24 03:30:00 | 3.12 | 154.89 | 3.5933 | 170.2 | 6.1233 | 18.37 | 6.0067 | 20.9233 | 19.4867 | 883 | 93.3 | 5.6853
2019-06-24 03:45:00 | 2.2467 | 176.9133 | 2.5833 | 194.4 | 4.4433 | 14.2867 | 4.45 | 15.7167 | 19.2967 | 883 | 94.1333 | 0.174
2019-06-24 04:00:00 | 2.14 | 305.4533 | 2.4633 | 335.6667 | 3.65 | 232.38 | 3.75 | 8.5233 | 19.31 | 883 | 93 | 0
2019-06-24 04:15:00 | 2.1433 | 220.0367 | 2.4633 | 241.7867 | 3.9267 | 19.6033 | 3.6967 | 21.55 | 19.39 | 883 | 92.1667 | 0.78533
2019-06-24 04:30:00 | 2.4167 | 3.97 | 2.7767 | 4.36 | 4.1667 | 12.1033 | 3.8967 | 10.0167 | 19.3167 | 883 | 92.5 | 2.6653
2019-06-24 04:45:00 | 2.6333 | 96.01 | 3.03 | 105.4933 | 4.7667 | 6.74 | 4.7333 | 18.3067 | 19.34 | 883 | 92.4667 | 6.394
2019-06-24 05:00:00 | 2.8933 | 307.59 | 3.33 | 338 | 5.4267 | 22.36 | 5.4667 | 12.86 | 19.3133 | 883 | 94 | 11.798
2019-06-24 05:15:00 | 3.02 | 298.9667 | 3.4733 | 328.5333 | 5.7633 | 14.0633 | 6.2567 | 19 | 19.1767 | 883 | 95.4667 | 10.8447
2019-06-24 05:30:00 | 2.84 | 289.8667 | 3.2667 | 318.5333 | 5.4633 | 13.27 | 5.7233 | 20.88 | 19.0767 | 883 | 96.2 | 6.6713
2019-06-24 05:45:00 | 2.3933 | 108.5433 | 2.7533 | 119.2733 | 4.3933 | 9.1567 | 4.6133 | 16.24 | 19 | 883 | 96.2667 | 4.3327
2019-06-24 06:00:00 | 2.1933 | 324.834 | 2.5267 | 356.96 | 3.54 | 10.5767 | 3.7867 | 14.36 | 19.0267 | 883 | 95.8 | 1.756
2019-06-24 06:15:00 | 1.7867 | 207 | 2.0533 | 227.47 | 2.97 | 4.86 | 3.0867 | 18.7087 | 19.14 | 883 | 96.1 | 0
2019-06-24 06:30:00 | 1.3933 | 210.64 | 1.6067 | 231.47 | 2.6033 | 16.1333 | 2.6733 | 23.9567 | 19.192 | 883 | 96.26 | 0
2019-06-24 06:45:00 | 1.1813 | 316.1287 | 1.368 | 347.3933 | 2.128 | 14.014 | 2.16 | 36.048 | 19.228 | 883.7333 | 95.92 | 0
2019-06-24 07:00:00 | 1.1667 | 323.29 | 1.35 | 355.2667 | 2.3267 | 21.1933 | 2.2767 | 30.5033 | 19.2867 | 884 | 95.5667 | 0
2019-06-24 07:15:00 | 1.16 | 275.1667 | 1.3433 | 302.3667 | 2.31 | 21.1267 | 2.1333 | 30.7687 | 19.292 | 884 | 95.2 | 0
2019-06-24 07:30:00 | 1.3067 | 316.42 | 1.5033 | 347.7 | 2.5567 | 21.4133 | 1.98 | 36.5767 | 19.292 | 884 | 94.96 | 0
2019-06-24 07:45:00 | 1.54 | 313.1067 | 1.7767 | 344.0667 | 2.65 | 17.404 | 2.23 | 23.48 | 19.3013 | 884 | 95.1933 | 0
2019-06-24 08:00:00 | 1.7133 | 106.7467 | 1.9767 | 117.3 | 2.6433 | 11.1667 | 2.25 | 18.2333 | 19.3067 | 884 | 95.3 | 0
2019-06-24 08:15:00 | 2.14 | 220.1133 | 2.4633 | 241.8833 | 2.9733 | 7.3133 | 2.68 | 4.42 | 19.248 | 884 | 96.5667 | 0
2019-06-24 08:30:00 | 2.1267 | 14.64 | 2.45 | 16.09 | 3.6267 | 8.7533 | 3.22 | 13.2 | 19.0933 | 884 | 97.1 | 1.0867
2019-06-24 08:45:00 | 2.1 | 5.8033 | 2.4167 | 6.3767 | 3.87 | 10.0767 | 3.86 | 132.3067 | 19.1093 | 884.7333 | 96.8667 | 3.0547
2019-06-24 09:00:00 | 2.096 | 19.126 | 2.414 | 21.008 | 3.898 | 212.744 | 3.996 | 354.94 | 19.096 | 885 | 97.2 | 3.6287
2019-06-24 09:15:00 | 1.7433 | 320.1667 | 2.0133 | 351.8333 | 3.1667 | 349.6333 | 3.65 | 0.61667 | 18.9267 | 885 | 97.7667 | 1.246
2019-06-24 09:30:00 | 1.6433 | 319.432 | 1.8933 | 351.02 | 2.8667 | 134.0733 | 3.0767 | 17.5167 | 18.884 | 885 | 98.06 | 0.064
2019-06-24 09:45:00 | 1.0533 | 304.88 | 1.2067 | 335.0333 | 2.04 | 116.8867 | 2.4433 | 7.2567 | 19.0213 | 885 | 98.4067 | 0
2019-06-24 10:00:00 | 0.93333 | 308.8267 | 1.0733 | 339.3667 | 1.7733 | 347.9667 | 2.0767 | 3.3367 | 19.052 | 885 | 98.54 | 0
2019-06-24 10:15:00 | 0.47333 | 109.3833 | 0.55 | 120.2 | 0.90667 | 349.9333 | 1.0733 | 0.34 | 19.0613 | 885 | 98.5333 | 0
2019-06-24 10:30:00 | 0.093333 | 303.5167 | 0.11 | 333.5333 | 0.17333 | 258.5333 | 0.15333 | 194.5133 | 19.1667 | 885 | 98.9333 | 0
2019-06-24 10:45:00 | 0.026667 | 168.7833 | 0.03 | 185.4667 | 0.04 | 212.6 | 0.013333 | 246.1333 | 19.1893 | 885 | 99.1733 | 0
2019-06-24 11:00:00 | 0.61333 | 142.09 | 0.71 | 156.1333 | 0.98667 | 166.7333 | 0.82 | 194.1333 | 19.1067 | 885 | 99.5333 | 0
2019-06-24 11:15:00 | 0.71333 | 142.7707 | 0.82667 | 156.8867 | 1.2013 | 184.2067 | 0.95733 | 181.24 | 18.998 | 885 | 100 | 0
2019-06-24 11:30:00 | 0.29333 | 190.1067 | 0.34 | 208.9 | 0.54667 | 231.1333 | 0.57667 | 207.2667 | 18.962 | 885 | 100 | 0
2019-06-24 11:45:00 | 1.16 | 187.7433 | 1.3433 | 206.3 | 2.0767 | 232.8667 | 2.02 | 230.8667 | 18.924 | 885 | 100 | 0
2019-06-24 12:00:00 | 1.7333 | 184.1567 | 1.99 | 202.3667 | 2.7833 | 214.4 | 2.7667 | 214.4 | 18.7933 | 885 | 100 | 0.22133
2019-06-24 12:15:00 | 1.4267 | 182.4233 | 1.6467 | 200.4667 | 2.3033 | 200.2267 | 2.4233 | 206.3 | 18.81 | 885 | 100 | 1.382
2019-06-24 12:30:00 | 2.0667 | 184.55 | 2.3867 | 202.8 | 2.85 | 198.6667 | 3.4167 | 200.7 | 19.1433 | 885 | 100 | 3.9933
2019-06-24 12:45:00 | 3.2333 | 149.76 | 3.7233 | 164.5667 | 4.0133 | 186.9 | 4.53 | 192.4 | 18.9567 | 885 | 99.9933 | 2.8973
2019-06-24 13:00:00 | 2.6467 | 125.4933 | 3.0433 | 137.9 | 3.2667 | 203.3 | 3.6767 | 191.8667 | 18.8433 | 885 | 99.5 | 2.0853
2019-06-24 13:15:00 | 2.0667 | 155.8567 | 2.38 | 171.2667 | 2.5133 | 162.8667 | 2.87 | 169.1 | 18.6913 | 885 | 99 | 1.388
2019-06-24 13:30:00 | 1.56 | 142.8167 | 1.7933 | 156.9333 | 1.9 | 169.9333 | 2.4167 | 171.5667 | 18.7367 | 885 | 99.6 | 1.614
2019-06-24 13:45:00 | 1.7733 | 158.5633 | 2.0467 | 174.2333 | 2.18 | 174.1333 | 2.63 | 164.5333 | 18.68 | 885 | 99.7267 | 2.0307
2019-06-24 14:00:00 | 1.9867 | 138.9567 | 2.2867 | 152.7 | 2.5667 | 163.7333 | 2.8233 | 174.2 | 18.74 | 885 | 99.86 | 2.218
2019-06-24 14:15:00 | 1.9133 | 151.7933 | 2.2067 | 166.8 | 2.3167 | 165.2 | 2.9633 | 174.1333 | 19.0933 | 885 | 98.8667 | 2.4107
2019-06-24 14:30:00 | 2.3267 | 162.1067 | 2.6733 | 178.1333 | 2.71 | 160.1333 | 3.1833 | 180.6667 | 19.5267 | 885 | 96.1333 | 0.928
2019-06-24 14:45:00 | 2.1233 | 163.8333 | 2.45 | 180.0333 | 2.71 | 166.1 | 2.96 | 163.6 | 19.582 | 885 | 95.0667 | 0.37067
2019-06-24 15:00:00 | 2.01 | 164.62 | 2.31 | 180.9 | 2.7367 | 185.6333 | 2.7533 | 187 | 19.518 | 885 | 95.8 | 0.49533
2019-06-24 15:15:00 | 2.4347 | 156.704 | 2.8087 | 172.2067 | 3.124 | 178.8867 | 3.0413 | 180.9333 | 19.388 | 885 | 95.32 | 1.2807
2019-06-24 15:30:00 | 2.1467 | 148.8533 | 2.47 | 163.5667 | 2.7133 | 172.8333 | 2.7733 | 155.2667 | 19.284 | 885 | 94.8 | 1.0413
2019-06-24 15:45:00 | 1.3333 | 115.5733 | 1.54 | 127 | 1.8933 | 192.4 | 2.0467 | 202.1333 | 19.274 | 884.9333 | 96.0333 | 1.0107
2019-06-24 16:00:00 | 1.3133 | 159.2 | 1.5133 | 174.9333 | 1.9 | 174.8667 | 2.3533 | 188.7333 | 19.262 | 884 | 96.8333 | 0.94133
2019-06-24 16:15:00 | 2.0367 | 156.1267 | 2.34 | 171.5667 | 2.7233 | 204.1333 | 2.9 | 191.7333 | 19.15 | 884 | 97.1667 | 1.2973
2019-06-24 16:30:00 | 1.37 | 172.7467 | 1.5733 | 189.8333 | 2.0567 | 201.4667 | 2.26 | 177.1333 | 19.13 | 884 | 96.34 | 1.8067
2019-06-24 16:45:00 | 1.1133 | 156.5867 | 1.28 | 172.0667 | 1.77 | 201.9667 | 1.6133 | 191.6 | 19.59 | 884 | 96 | 2.3193
2019-06-24 17:00:00 | 0.88 | 157.0667 | 1.0133 | 172.6 | 1.3367 | 212.9 | 1.4733 | 185.8 | 20.1967 | 884 | 93 | 1.02
2019-06-24 17:15:00 | 0.61667 | 154.6367 | 0.71 | 169.9333 | 0.83 | 222.8667 | 1.34 | 244.5667 | 20.7267 | 884 | 92.9333 | 0
2019-06-24 17:30:00 | 0.29667 | 169.0233 | 0.34333 | 185.7333 | 0.35 | 247.2667 | 1.04 | 255.6333 | 20.768 | 884 | 91.9333 | 0
2019-06-24 17:45:00 | 0.086667 | 179.6033 | 0.1 | 197.3667 | 0.13667 | 241.7333 | 0.82667 | 255.9 | 20.6367 | 884.6667 | 91.1 | 0
2019-06-24 18:00:00 | 0.033333 | 187.49 | 0.04 | 206.0333 | 0.056667 | 255.5333 | 0.28667 | 256.3667 | 20.4967 | 884 | 90.8333 | 0
2019-06-24 18:15:00 | 0 | 230.23 | 0 | 253 | 0 | 252.8333 | 0.10333 | 230.9667 | 20.4867 | 884 | 91.9333 | 0.024
2019-06-24 18:30:00 | 0 | 230.23 | 0 | 253 | 0 | 228.5 | 0.063333 | 215.3667 | 20.3867 | 884 | 91.6667 | 0
2019-06-24 18:45:00 | 0.093333 | 194.9507 | 0.10667 | 214.2267 | 0.17333 | 211.5667 | 1.1067 | 224.0667 | 20.16 | 884 | 93.8 | 0
2019-06-24 19:00:00 | 0.37 | 155.514 | 0.428 | 170.88 | 0.692 | 249.48 | 1.784 | 241.82 | 19.946 | 884 | 93.14 | 0.17533
2019-06-24 19:15:00 | 0.77333 | 260.3267 | 0.89667 | 286.0667 | 1.5267 | 247.0667 | 2.2733 | 244.1667 | 19.72 | 884 | 92.8667 | 0.49667
2019-06-24 19:30:00 | 1.4133 | 181.04 | 1.6233 | 198.9333 | 2.64 | 249.0667 | 3.0667 | 253.8333 | 19.5133 | 884 | 93.4 | 0.83333
2019-06-24 19:45:00 | 1.4793 | 161.9207 | 1.708 | 177.9333 | 2.796 | 230.3533 | 2.334 | 237.08 | 19.3307 | 884 | 93.3533 | 1.9833
2019-06-24 20:00:00 | 1.51 | 197.62 | 1.7433 | 217.1667 | 2.8367 | 235.1667 | 2.9733 | 228.5333 | 19.19 | 884 | 92.9333 | 2.8453
2019-06-24 20:15:00 | 0.11867 | 145.3047 | 0.13867 | 159.68 | 0.21667 | 223.2467 | 1.366 | 232.84 | 19.1227 | 884 | 95.9667 | 1.504
2019-06-24 20:30:00 | 0.02 | 143.32 | 0.02 | 157.5 | 0.03 | 222.4 | 1.3267 | 220.5333 | 19.0733 | 884 | 98.3667 | 0.174
2019-06-24 20:45:00 | 0.016667 | 143.32 | 0.016667 | 157.5 | 0.03 | 207.9667 | 1.53 | 205.2667 | 18.8533 | 884 | 97.0333 | 0
2019-06-24 21:00:00 | 0.023333 | 143.32 | 0.023333 | 157.5 | 0.03 | 76.2333 | 0.77 | 183.5333 | 18.9 | 884 | 94.3 | 0
2019-06-24 21:15:00 | 0.16667 | 320.84 | 0.19333 | 352.5667 | 0.32 | 13.18 | 0.29 | 128.1333 | 19.022 | 884 | 93.4067 | 0
2019-06-24 21:30:00 | 1.1467 | 296.8733 | 1.3267 | 326.2333 | 1.6533 | 13.2133 | 1.57 | 22.9733 | 19.042 | 884.4 | 94.7 | 0
2019-06-24 21:45:00 | 1.48 | 109.44 | 1.71 | 120.26 | 2.0767 | 7.0933 | 1.6667 | 12.7667 | 18.9333 | 885 | 98.3667 | 0
2019-06-24 22:00:00 | 1.36 | 122.0333 | 1.5633 | 134.0933 | 1.8433 | 240.72 | 1.4467 | 11.8267 | 18.8467 | 885 | 98.7667 | 0
2019-06-24 22:15:00 | 1.4633 | 101.6867 | 1.6933 | 111.7333 | 2.0767 | 242.9267 | 1.9367 | 9.5467 | 18.878 | 885 | 98.4333 | 0
2019-06-24 22:30:00 | 1.8433 | 104.66 | 2.1267 | 115.0067 | 2.59 | 7.9867 | 2.99 | 21.8733 | 18.8167 | 885 | 98.9 | 0
2019-06-24 22:45:00 | 2.0467 | 293.7833 | 2.3567 | 322.8333 | 2.6067 | 240.0633 | 2.7733 | 24.66 | 18.7213 | 885 | 98.8 | 0
2019-06-24 23:00:00 | 1.7 | 296.3233 | 1.9567 | 325.6333 | 2.6933 | 16.4633 | 2.62 | 34.6867 | 18.736 | 885 | 98.44 | 0
2019-06-24 23:15:00 | 1.58 | 306.3367 | 1.8233 | 336.6333 | 2.47 | 11.6167 | 2.51 | 13.85 | 18.7213 | 885 | 98.9667 | 0
2019-06-24 23:30:00 | 1.8733 | 300.7033 | 2.1567 | 330.4333 | 2.57 | 9.2167 | 2.7833 | 17.3833 | 18.8067 | 885 | 97.9667 | 0
2019-06-24 23:45:00 | 2.1167 | 313.3533 | 2.43 | 344.3333 | 2.8767 | 126.7133 | 3.04 | 12.5133 | 18.8267 | 885 | 97.8667 | 0