## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-27 00:00:00 | 1.78 | 172.21 | 2.05 | 189.24 | 3.46 | 10.96 | 3.09 | 12.585 | 19.03 | 878 | 100 | 0.062143
2019-06-27 00:15:00 | 1.6667 | 286.0433 | 1.9267 | 314.3333 | 3.2567 | 3.3367 | 2.85 | 22.7933 | 19.022 | 878 | 100 | 0.22267
2019-06-27 00:30:00 | 1.6733 | 296.05 | 1.9267 | 325.3333 | 3.0167 | 5.67 | 2.9033 | 5.5067 | 19.006 | 878 | 100 | 0.38333
2019-06-27 00:45:00 | 1.6533 | 96.3767 | 1.9033 | 105.9 | 3.26 | 2.66 | 2.93 | 2.8533 | 19 | 877.2667 | 100 | 0
2019-06-27 01:00:00 | 1.7067 | 305.2167 | 1.9633 | 335.4 | 2.68 | 2.72 | 2.65 | 7.9733 | 19 | 877 | 100 | 0
2019-06-27 01:15:00 | 1.6067 | 212.57 | 1.8467 | 233.5933 | 2.74 | 8.7333 | 3.2067 | 16.72 | 18.992 | 877 | 100 | 0.29467
2019-06-27 01:30:00 | 1.7133 | 8.2633 | 1.98 | 9.0733 | 3.1 | 4.78 | 3.5333 | 12.4067 | 18.988 | 877 | 100 | 1.472
2019-06-27 01:45:00 | 2.0467 | 300.9467 | 2.36 | 330.7 | 3.9833 | 13.7867 | 4.2833 | 18.86 | 19 | 877 | 100 | 3.2493
2019-06-27 02:00:00 | 2.4067 | 108.0267 | 2.7667 | 118.7067 | 4.3833 | 18.24 | 4.27 | 17.8533 | 19.008 | 877 | 100 | 3.208
2019-06-27 02:15:00 | 2.66 | 107.8667 | 3.0633 | 118.5333 | 4.5233 | 9.7067 | 4.4167 | 25.56 | 19.0273 | 877 | 100 | 4.782
2019-06-27 02:30:00 | 2.4667 | 311.1733 | 2.8433 | 341.9333 | 4.8567 | 7.7933 | 4.7033 | 20.7933 | 19.026 | 876.6 | 100 | 4.7013
2019-06-27 02:45:00 | 2.48 | 181.8267 | 2.85 | 199.8067 | 4.8267 | 12.4567 | 4.8133 | 18.2867 | 19.0413 | 876 | 100 | 5.6493
2019-06-27 03:00:00 | 2.6867 | 218.0533 | 3.09 | 239.6067 | 4.8 | 6.5633 | 4.7267 | 14.8067 | 19.04 | 876 | 100 | 8.4167
2019-06-27 03:15:00 | 2.9333 | 286.3567 | 3.37 | 314.6667 | 4.71 | 239.57 | 4.7 | 7.7433 | 19.04 | 876 | 100 | 10.242
2019-06-27 03:30:00 | 2.9667 | 129.63 | 3.41 | 142.4467 | 4.87 | 1.7367 | 5.1867 | 17.4967 | 19.044 | 876 | 100 | 12.2487
2019-06-27 03:45:00 | 2.91 | 111.47 | 3.3467 | 122.4933 | 5.25 | 6.9333 | 5.6933 | 15.6833 | 19.0653 | 875.2667 | 100 | 10.436
2019-06-27 04:00:00 | 2.8367 | 298.1767 | 3.26 | 327.6667 | 4.81 | 222.96 | 5.1 | 12.9967 | 19.08 | 875.4 | 100 | 7.986
2019-06-27 04:15:00 | 2.9167 | 220.6133 | 3.3633 | 242.4333 | 4.7633 | 300.9667 | 5.1167 | 19.8833 | 19.088 | 875.9333 | 100 | 9.0073
2019-06-27 04:30:00 | 2.6833 | 174.7533 | 3.0833 | 192.0333 | 5.1567 | 76.74 | 5.6633 | 23.07 | 19.092 | 875 | 100 | 8.6673
2019-06-27 04:45:00 | 2.4467 | 255.0233 | 2.8133 | 280.2333 | 4.72 | 16.64 | 4.9267 | 20.8633 | 19.08 | 875 | 100 | 10.1833
2019-06-27 05:00:00 | 2.62 | 152.47 | 3.02 | 167.5467 | 5.04 | 11.68 | 5.1133 | 23.6033 | 19.084 | 875 | 100 | 12.4207
2019-06-27 05:15:00 | 2.8533 | 107.3633 | 3.2833 | 117.98 | 5.3633 | 16.9833 | 5.2433 | 9.0767 | 19.1113 | 875 | 100 | 15.7213
2019-06-27 05:30:00 | 3.0733 | 112.4367 | 3.5367 | 123.5533 | 5.67 | 16.59 | 5.7567 | 17.4967 | 19.11 | 875 | 100 | 17.0653
2019-06-27 05:45:00 | 3.136 | 71.7593 | 3.618 | 78.8467 | 6.0733 | 13.476 | 6.3207 | 25.954 | 19.102 | 875 | 100 | 18.0393
2019-06-27 06:00:00 | 3.1167 | 277.1567 | 3.59 | 304.5667 | 5.7433 | 15.1967 | 5.67 | 21.26 | 19.09 | 875 | 100 | 17.8387
2019-06-27 06:15:00 | 3.5067 | 42.8567 | 4.0367 | 47.0867 | 5.9933 | 4.57 | 5.7667 | 19.8433 | 19.0907 | 875 | 100 | 20.0273
2019-06-27 06:30:00 | 3.8 | 13.9767 | 4.37 | 15.3533 | 6.1533 | 226.9833 | 5.7733 | 7.5833 | 19.096 | 875 | 100 | 21.4
2019-06-27 06:45:00 | 3.4733 | 93.4567 | 4 | 102.6933 | 6.03 | 16.58 | 6.38 | 14.8033 | 19.0907 | 875 | 100 | 20.6073
2019-06-27 07:00:00 | 3.54 | 94.9767 | 4.0667 | 104.3667 | 6.534 | 7.3333 | 7.24 | 17.7167 | 19.104 | 875 | 100 | 18.036
2019-06-27 07:15:00 | 3.31 | 106.18 | 3.8067 | 116.68 | 6.1333 | 14.19 | 6.7833 | 22.4 | 19.11 | 875 | 100 | 20.7287
2019-06-27 07:30:00 | 3.3367 | 218.4333 | 3.8467 | 240.0333 | 6.4067 | 12.4233 | 7.0367 | 23.6267 | 19.106 | 875 | 100 | 19.8
2019-06-27 07:45:00 | 3.35 | 199.4967 | 3.86 | 219.2167 | 6.28 | 20.4633 | 6.65 | 19.4233 | 19.1 | 875 | 100 | 20.874
2019-06-27 08:00:00 | 3.5367 | 150.7167 | 4.0733 | 165.6167 | 6.6333 | 13.1033 | 6.8433 | 22.29 | 19.108 | 875 | 100 | 21.174
2019-06-27 08:15:00 | 3.3653 | 15.778 | 3.8707 | 17.332 | 6.078 | 4.4293 | 6.1607 | 9.2813 | 19.128 | 875.0667 | 100 | 22.9907
2019-06-27 08:30:00 | 3.4467 | 58.5933 | 3.9733 | 64.39 | 6.1067 | 31.4633 | 6.4033 | 8.43 | 19.144 | 876 | 100 | 24.1727
2019-06-27 08:45:00 | 3.7667 | 74.67 | 4.3367 | 82.06 | 6.6933 | 7.14 | 7.0767 | 20.5933 | 19.1587 | 876 | 100 | 21.0593
2019-06-27 09:00:00 | 3.512 | 265.318 | 4.04 | 291.56 | 6.57 | 19.004 | 6.978 | 21.178 | 19.192 | 876 | 100 | 17.9367
2019-06-27 09:15:00 | 3.1667 | 29.65 | 3.6467 | 32.5767 | 5.9833 | 11.5033 | 6.6067 | 9.93 | 19.2867 | 876 | 100 | 21.4867
2019-06-27 09:30:00 | 3.5067 | 109.1433 | 4.0333 | 119.93 | 6.79 | 15.1833 | 7.2467 | 18.4033 | 19.32 | 876 | 100 | 24.594
2019-06-27 09:45:00 | 3.4833 | 140.2633 | 4.0067 | 154.1333 | 6.8767 | 11.8933 | 7.5267 | 21.6267 | 19.3147 | 876 | 100 | 18.3427
2019-06-27 10:00:00 | 3.27 | 51.9033 | 3.76 | 57.04 | 6.35 | 8.8133 | 6.9133 | 15.7933 | 19.34 | 876 | 100 | 22.9427
2019-06-27 10:15:00 | 3.3933 | 153.66 | 3.9033 | 168.8533 | 5.97 | 12.8467 | 5.8733 | 14.4067 | 19.3547 | 876 | 100 | 21.2607
2019-06-27 10:30:00 | 3.2667 | 14.6933 | 3.7633 | 16.1467 | 6.01 | 12.7667 | 6.22 | 8.6867 | 19.368 | 876 | 100 | 25.2833
2019-06-27 10:45:00 | 3.72 | 257.8067 | 4.2767 | 283.3 | 7.0167 | 8.2467 | 7.2633 | 19.98 | 19.4467 | 876 | 100 | 23.46
2019-06-27 11:00:00 | 3.48 | 168.02 | 4.0033 | 184.6333 | 6.7967 | 14.6933 | 7.07 | 17.0467 | 19.504 | 876 | 100 | 26.0367
2019-06-27 11:15:00 | 3.81 | 204.5733 | 4.3833 | 224.8 | 7.28 | 16.1967 | 7.4133 | 19.4067 | 19.516 | 876 | 100 | 28.2167
2019-06-27 11:30:00 | 3.9233 | 307.8333 | 4.51 | 338.2667 | 6.94 | 22.1567 | 7.0333 | 13.72 | 19.5933 | 875.6 | 100 | 27.32
2019-06-27 11:45:00 | 3.86 | 86.1533 | 4.45 | 94.6733 | 7.16 | 11.87 | 7.1133 | 20.9967 | 19.5967 | 875 | 100 | 24.6907
2019-06-27 12:00:00 | 3.652 | 64.16 | 4.204 | 70.51 | 6.846 | 12.15 | 6.95 | 23.8 | 19.574 | 875 | 100 | 27.5707
2019-06-27 12:15:00 | 3.8733 | 312.9833 | 4.4533 | 343.9333 | 6.6867 | 32.1367 | 6.8933 | 7.2833 | 19.7 | 875 | 100 | 32.5187
2019-06-27 12:30:00 | 3.9667 | 234.4833 | 4.56 | 257.6667 | 7.16 | 11.09 | 7.4333 | 15.6767 | 19.8267 | 875 | 100 | 31.7413
2019-06-27 12:45:00 | 3.9667 | 222.03 | 4.5633 | 243.99 | 6.8133 | 233.1633 | 6.9 | 8.8333 | 19.8273 | 875 | 100 | 20.518
2019-06-27 13:00:00 | 3.64 | 30.5633 | 4.19 | 33.5833 | 6.08 | 9.9433 | 6.3933 | 17.5133 | 19.8367 | 875 | 100 | 13.8393
2019-06-27 13:15:00 | 3.29 | 294.7933 | 3.7833 | 323.9333 | 6.0067 | 124.0733 | 6.2367 | 14.6533 | 20.0267 | 875 | 100 | 14.2607
2019-06-27 13:30:00 | 3.48 | 292.758 | 4.004 | 321.7 | 6.144 | 156.236 | 6.576 | 17.464 | 20.226 | 875 | 100 | 17.5133
2019-06-27 13:45:00 | 3.7227 | 225.87 | 4.282 | 248.212 | 6.744 | 8.0147 | 7.1693 | 15.6027 | 20.354 | 875 | 100 | 23.642
2019-06-27 14:00:00 | 3.7967 | 29.91 | 4.3667 | 32.8633 | 7.04 | 14.4533 | 7.32 | 16.64 | 20.436 | 875 | 100 | 26.2973
2019-06-27 14:15:00 | 4.4173 | 24.3593 | 5.088 | 26.7553 | 7.7167 | 20.5 | 8.1413 | 18.336 | 20.354 | 875 | 100 | 25.922
2019-06-27 14:30:00 | 4.0933 | 210.9267 | 4.7167 | 231.7833 | 7.5 | 9.54 | 7.7567 | 14.43 | 20.29 | 875 | 100 | 32.9573
2019-06-27 14:45:00 | 4.6 | 305.18 | 5.2933 | 335.3667 | 8.4767 | 5.3533 | 8.6133 | 15.29 | 20.47 | 875 | 100 | 38.3807
2019-06-27 15:00:00 | 4.804 | 288.38 | 5.538 | 316.9 | 8.866 | 6.97 | 9.164 | 16.82 | 20.404 | 875 | 100 | 39.9193
2019-06-27 15:15:00 | 5.14 | 216.8533 | 5.92 | 238.3 | 9.1273 | 12.6667 | 9.4567 | 13.11 | 20.2487 | 875 | 100 | 42.7027
2019-06-27 15:30:00 | 5.36 | 131.6133 | 6.1733 | 144.6333 | 9.87 | 9.7067 | 10.0633 | 15.1833 | 20.1967 | 874.6 | 100 | 44.9807
2019-06-27 15:45:00 | 5.0367 | 129.64 | 5.79 | 142.4667 | 9.6167 | 13.73 | 9.8533 | 10.53 | 20.2047 | 874 | 100 | 44.0947
2019-06-27 16:00:00 | 4.9567 | 203.96 | 5.6967 | 224.1333 | 9.7833 | 13.8433 | 9.86 | 13.6367 | 20.246 | 874 | 100 | 48.2533
2019-06-27 16:15:00 | 5.3333 | 114.33 | 6.1333 | 125.63 | 10.2067 | 8.3233 | 10.4833 | 16.7367 | 20.1267 | 874 | 100 | 52.2553
2019-06-27 16:30:00 | 5.4133 | 12.0367 | 6.2267 | 13.2233 | 10.5533 | 13.3633 | 10.69 | 12.83 | 20.04 | 874 | 100 | 54.0227
2019-06-27 16:45:00 | 5.9147 | 136.9467 | 6.81 | 150.488 | 11.5607 | 15 | 11.5333 | 19.7433 | 20.022 | 874 | 100 | 55.6473
2019-06-27 17:00:00 | 6.0233 | 216.6833 | 6.94 | 238.11 | 11.7167 | 16.94 | 11.8367 | 25.12 | 20.046 | 874 | 100 | 57.6733
2019-06-27 17:15:00 | 6.1833 | 258.45 | 7.1167 | 284 | 11.97 | 16.5833 | 12.3 | 23.5633 | 20.032 | 874 | 100 | 58.8113
2019-06-27 17:30:00 | 6.7567 | 224.9567 | 7.77 | 247.2 | 12.6633 | 13.9233 | 13.2 | 24.4033 | 19.9267 | 874 | 100 | 60.4733
2019-06-27 17:45:00 | 7.51 | 70.4933 | 8.6367 | 77.4667 | 14.01 | 8.32 | 14.3233 | 23.04 | 19.7333 | 874 | 100 | 60.9447
2019-06-27 18:00:00 | 7.73 | 66.1067 | 8.89 | 72.64 | 14.4167 | 11.2333 | 14.8433 | 24.06 | 19.6 | 874 | 100 | 60.9847
2019-06-27 18:15:00 | 8.12 | 41.78 | 9.3533 | 45.9067 | 14.7233 | 23.45 | 15.3067 | 23.9133 | 19.42 | 874 | 100 | 61.854
2019-06-27 18:30:00 | 8.4933 | 79.9733 | 9.7733 | 87.8733 | 15.4367 | 32.2967 | 15.66 | 24.1267 | 19.2 | 874 | 100 | 62.796
2019-06-27 18:45:00 | 8.3433 | 36.1167 | 9.5967 | 39.6867 | 15.2 | 13.54 | 15.4533 | 26.7 | 18.9033 | 874 | 100 | 63.054
2019-06-27 19:00:00 | 8.59 | 63.6967 | 9.89 | 69.9933 | 15.7733 | 21.3467 | 16.44 | 26.86 | 18.6833 | 874 | 100 | 63.2033
2019-06-27 19:15:00 | 9.3033 | 98.7667 | 10.7033 | 108.5333 | 17.1 | 11.9567 | 17.76 | 26.76 | 18.3667 | 874.0667 | 100 | 63.224
2019-06-27 19:30:00 | 8.73 | 130.0067 | 10.05 | 142.8667 | 15.9467 | 12.93 | 16.4867 | 28.6133 | 18.1733 | 875 | 100 | 63.414
2019-06-27 19:45:00 | 8.5 | 193.5667 | 9.7867 | 212.7 | 15.39 | 17.11 | 15.84 | 19.37 | 17.9833 | 875 | 100 | 63.834
2019-06-27 20:00:00 | 8.62 | 211.0267 | 9.9267 | 231.9 | 15.6833 | 12.8833 | 15.8067 | 21.91 | 17.87 | 875 | 100 | 62.8427
2019-06-27 20:15:00 | 8.5267 | 196.13 | 9.81 | 215.5167 | 15.84 | 11.06 | 16.08 | 18.8233 | 17.7533 | 875.0667 | 100 | 63.548
2019-06-27 20:30:00 | 8.4733 | 78.49 | 9.7433 | 86.25 | 15.8067 | 15.5133 | 16 | 18.7767 | 17.66 | 876 | 100 | 62.4653
2019-06-27 20:45:00 | 8.8 | 202.0167 | 10.12 | 221.99 | 16.38 | 19.2267 | 16.13 | 22.0267 | 17.51 | 876 | 100 | 62.9827
2019-06-27 21:00:00 | 8.8333 | 93.4847 | 10.1673 | 102.7307 | 16.4013 | 14.0547 | 16.2 | 26.102 | 17.3987 | 876 | 100 | 61.8053
2019-06-27 21:15:00 | 9.4667 | 97.5733 | 10.8967 | 107.22 | 17.1433 | 11.1833 | 17.4 | 27.94 | 17.0833 | 876 | 100 | 62.2367
2019-06-27 21:30:00 | 9.28 | 215.0733 | 10.67 | 236.3333 | 17.0233 | 20.2433 | 17.2733 | 29.588 | 16.8967 | 876 | 100 | 61.524
2019-06-27 21:45:00 | 9.1833 | 294.42 | 10.5667 | 323.5333 | 16.9767 | 20.0233 | 17.28 | 28.5433 | 16.7833 | 876 | 100 | 62.0913
2019-06-27 22:00:00 | 9.7767 | 141.7067 | 11.2533 | 155.7133 | 17.8967 | 22.31 | 17.76 | 22.7967 | 16.6967 | 876 | 100 | 62.1867
2019-06-27 22:15:00 | 9.864 | 39.4033 | 11.35 | 43.3 | 18.0967 | 16.08 | 18.1167 | 28.6133 | 16.58 | 876.0667 | 100 | 62.1413
2019-06-27 22:30:00 | 9.98 | 228.45 | 11.4833 | 251.0333 | 18.15 | 14.8467 | 17.89 | 24.98 | 16.5 | 877 | 100 | 62.23
2019-06-27 22:45:00 | 10.1193 | 166.6687 | 11.6353 | 183.1433 | 18.3127 | 20.4533 | 18.264 | 26.0913 | 16.3787 | 877 | 100 | 60.2987
2019-06-27 23:00:00 | 9.86 | 210.27 | 11.3433 | 231.07 | 17.99 | 18.2967 | 18.3267 | 27.5567 | 16.2867 | 877 | 100 | 58.6433
2019-06-27 23:15:00 | 9.6767 | 69.4167 | 11.1267 | 76.2867 | 17.7567 | 13.71 | 18.0067 | 31.7133 | 16.228 | 877 | 100 | 58.838
2019-06-27 23:30:00 | 9.9833 | 200.39 | 11.4867 | 220.2 | 18.2833 | 21.9833 | 18.5533 | 31.44 | 16.1667 | 877 | 100 | 58.624
2019-06-27 23:45:00 | 10.58 | 218.5167 | 12.1733 | 240.1167 | 19.07 | 21.28 | 19.4467 | 27.0533 | 16.1147 | 876.3333 | 100 | 58.484