## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-28 00:00:00 | 10.3829 | 120.275 | 11.95 | 132.1679 | 18.7529 | 11.3914 | 19.3014 | 29.8157 | 16.0729 | 876.9 | 100 | 58.315
2019-06-28 00:15:00 | 10.394 | 119.5667 | 11.9533 | 131.3887 | 18.77 | 20.5407 | 19.19 | 28.7067 | 16.0587 | 876 | 100 | 58.7513
2019-06-28 00:30:00 | 10.2833 | 128.5933 | 11.8367 | 141.3133 | 18.632 | 11.5533 | 18.98 | 29.1633 | 16.032 | 876 | 100 | 58.808
2019-06-28 00:45:00 | 9.9533 | 197.9233 | 11.4567 | 217.5 | 18.0933 | 21.4867 | 18.7767 | 33.3667 | 15.9973 | 876 | 100 | 58.978
2019-06-28 01:00:00 | 9.78 | 68.31 | 11.25 | 75.0667 | 17.8467 | 8.3933 | 18.4233 | 23.4 | 15.976 | 876 | 100 | 58.7167
2019-06-28 01:15:00 | 9.94 | 246.76 | 11.4367 | 271.1667 | 18.0933 | 23.43 | 19.01 | 30.79 | 16.018 | 876 | 100 | 58.9727
2019-06-28 01:30:00 | 10.08 | 173.7267 | 11.6033 | 190.9 | 18.32 | 21.6767 | 19.1033 | 25.3633 | 16.21 | 876 | 99.6 | 60.7033
2019-06-28 01:45:00 | 9.9733 | 221.7933 | 11.4767 | 243.7267 | 17.7533 | 25.89 | 17.9533 | 29.9233 | 16.47 | 876 | 96.8 | 60.5333
2019-06-28 02:00:00 | 9.72 | 122.6667 | 11.1833 | 134.7933 | 17.3133 | 24.79 | 17.572 | 31.3033 | 16.7633 | 876 | 94.4667 | 60.8647
2019-06-28 02:15:00 | 9.7467 | 160.75 | 11.21 | 176.64 | 17.5367 | 13.7033 | 18.26 | 30.81 | 16.8527 | 876 | 93.3 | 60.9413
2019-06-28 02:30:00 | 9.7333 | 118.89 | 11.2033 | 130.64 | 17.6167 | 26.13 | 17.9533 | 26.27 | 17.0567 | 876 | 91.5667 | 60.91
2019-06-28 02:45:00 | 9.65 | 231.27 | 11.1 | 254.1333 | 17.5767 | 17.57 | 18.0833 | 26.3187 | 17.1347 | 876 | 90.6667 | 60.9253
2019-06-28 03:00:00 | 9.4567 | 250.3767 | 10.8867 | 275.1333 | 17.1033 | 18.1833 | 17.9633 | 28.9067 | 17.2667 | 876 | 89.2 | 60.6927
2019-06-28 03:15:00 | 10.2567 | 169.1767 | 11.8 | 185.9 | 18.55 | 21.0933 | 19.1867 | 26.7667 | 17.2607 | 875.9333 | 89.0333 | 59.862
2019-06-28 03:30:00 | 10.47 | 212.67 | 12.052 | 233.7 | 18.81 | 15.18 | 19.0467 | 28.6133 | 17.4433 | 875 | 87.3 | 60.6987
2019-06-28 03:45:00 | 10.14 | 202.0567 | 11.6633 | 222.0367 | 18.22 | 7.45 | 19.1133 | 34.6733 | 17.6533 | 875.0667 | 85.0333 | 60.822
2019-06-28 04:00:00 | 9.78 | 5.6233 | 11.2567 | 6.17 | 17.5733 | 3.4833 | 17.8267 | 20.5133 | 17.8667 | 876 | 83.2333 | 60.7673
2019-06-28 04:15:00 | 9.8933 | 206.3367 | 11.3833 | 226.7333 | 17.6233 | 11.9867 | 17.6747 | 24.06 | 18.1133 | 876 | 81.5 | 60.7433
2019-06-28 04:30:00 | 9.3067 | 277.2433 | 10.71 | 304.6667 | 16.9767 | 17.1533 | 17.2733 | 20.48 | 18.2 | 876 | 80.7 | 60.7087
2019-06-28 04:45:00 | 9.5733 | 291.7867 | 11.0167 | 320.6333 | 17.3267 | 7.9067 | 17.4333 | 21.1267 | 18.16 | 876 | 80.2 | 60.5873
2019-06-28 05:00:00 | 10.3467 | 120.9867 | 11.9033 | 132.9467 | 18.4333 | 12.88 | 18.7067 | 16.9467 | 18.276 | 876 | 79.5067 | 60.794
2019-06-28 05:15:00 | 10.3933 | 255.9867 | 11.96 | 281.3 | 18.71 | 15.5833 | 19.0067 | 21.61 | 18.312 | 876 | 78.4933 | 60.2247
2019-06-28 05:30:00 | 11.084 | 264.012 | 12.752 | 290.12 | 19.808 | 13.332 | 19.888 | 19.802 | 18.462 | 876 | 76.744 | 60.31
2019-06-28 05:45:00 | 12.04 | 48.2567 | 13.8467 | 53.0267 | 21.52 | 18.86 | 21.48 | 23.5 | 18.6067 | 876 | 74.3867 | 58.8627
2019-06-28 06:00:00 | 11.3933 | 78.33 | 13.1067 | 86.0733 | 20.4267 | 22.3267 | 20.5333 | 29.1867 | 18.82 | 876 | 71.74 | 58.136
2019-06-28 06:15:00 | 12.36 | 291.7167 | 14.212 | 320.5667 | 21.7567 | 19.2467 | 21.7167 | 28.97 | 18.874 | 876 | 70.1067 | 55.048
2019-06-28 06:30:00 | 11.86 | 205.9367 | 13.6467 | 226.3 | 21.21 | 11.1933 | 20.9433 | 18.8433 | 18.7967 | 876.4 | 69.9867 | 51.4393
2019-06-28 06:45:00 | 11.8833 | 270.8133 | 13.6733 | 297.6 | 21.3667 | 12.6333 | 21.47 | 24.3433 | 18.6467 | 877 | 70.3167 | 52.3027
2019-06-28 07:00:00 | 11.8167 | 254.9267 | 13.6 | 280.1333 | 21.1267 | 12.88 | 21.13 | 24.6967 | 18.5333 | 877 | 70.7433 | 53.0127
2019-06-28 07:15:00 | 10.7633 | 274.25 | 12.39 | 301.3667 | 19.49 | 7.0433 | 19.83 | 25.73 | 18.4567 | 877 | 71.7933 | 52.296
2019-06-28 07:30:00 | 11.03 | 200.6633 | 12.682 | 220.5 | 20.014 | 24.5567 | 20.006 | 16.8033 | 18.402 | 877 | 72.02 | 50.746
2019-06-28 07:45:00 | 11.6633 | 156.4667 | 13.4233 | 171.9333 | 20.8467 | 6.6733 | 20.5033 | 8.65 | 18.4307 | 877 | 71.41 | 50.4933
2019-06-28 08:00:00 | 11.25 | 107.2667 | 12.95 | 117.8667 | 19.8467 | 24.8067 | 19.8767 | 17.01 | 18.58 | 877.4 | 70.5967 | 53.2487
2019-06-28 08:15:00 | 11.3933 | 90.9733 | 13.1 | 99.9667 | 20.4567 | 16.4367 | 19.98 | 12.84 | 18.5267 | 878 | 71.7033 | 55.9547
2019-06-28 08:30:00 | 10.7667 | 168.38 | 12.38 | 185.0333 | 19.4233 | 16.39 | 19.5667 | 12.74 | 18.3467 | 878 | 73.49 | 55.9467
2019-06-28 08:45:00 | 10.2733 | 25.3367 | 11.82 | 27.8333 | 18.4533 | 18.23 | 18.2367 | 24.4067 | 18.1467 | 878 | 74.89 | 56.25
2019-06-28 09:00:00 | 10.2333 | 65.3367 | 11.7667 | 71.7933 | 18.4 | 6.6633 | 18.23 | 22.32 | 18.068 | 878 | 76.0833 | 56.3113
2019-06-28 09:15:00 | 9.6267 | 256.5567 | 11.0733 | 281.9333 | 17.4133 | 12.66 | 17.392 | 15.6167 | 17.99 | 878.0667 | 77.0667 | 56.2747
2019-06-28 09:30:00 | 9.6667 | 223.3833 | 11.12 | 245.4667 | 17.2133 | 17.5067 | 16.8533 | 20.2833 | 17.9567 | 879 | 77.0467 | 55.9787
2019-06-28 09:45:00 | 9.06 | 236.3567 | 10.4267 | 259.7333 | 16.36 | 25.1367 | 16.4833 | 22.65 | 17.4233 | 879 | 83.1 | 56.37
2019-06-28 10:00:00 | 8.3667 | 212.03 | 9.6267 | 233 | 15.3867 | 10.7833 | 15.51 | 35.2367 | 16.63 | 879 | 89.6333 | 56.208
2019-06-28 10:15:00 | 8.2733 | 143.5 | 9.5233 | 157.6833 | 15.1333 | 17.82 | 15.61 | 27.1233 | 16.2033 | 879 | 93.1 | 57.984
2019-06-28 10:30:00 | 8.0733 | 207.5533 | 9.2833 | 228.0833 | 14.62 | 19.4933 | 14.9233 | 38.01 | 16.102 | 879 | 94.0333 | 57.298
2019-06-28 10:45:00 | 7.4867 | 101.62 | 8.6133 | 111.6667 | 13.71 | 21.6067 | 14.35 | 25.63 | 16.2867 | 879 | 93.2 | 57.2867
2019-06-28 11:00:00 | 7.7133 | 49.6067 | 8.8733 | 54.5 | 14.046 | 22.3333 | 14.3233 | 29.9433 | 16.6267 | 879 | 91.8667 | 56.6573
2019-06-28 11:15:00 | 7.7133 | 105.81 | 8.8733 | 116.2667 | 13.6967 | 21.72 | 14.1033 | 21.51 | 17.2833 | 879 | 88.6333 | 58.61
2019-06-28 11:30:00 | 7.6467 | 214.07 | 8.7933 | 235.2333 | 13.9633 | 21.8667 | 14.27 | 35.3433 | 17.73 | 879 | 86.86 | 61.0267
2019-06-28 11:45:00 | 8.3867 | 64.97 | 9.65 | 71.3933 | 15.1867 | 23.8833 | 15.7833 | 30.71 | 18.2167 | 879 | 85.1333 | 61.5673
2019-06-28 12:00:00 | 8.5 | 68.0033 | 9.7767 | 74.7267 | 15.6267 | 21.8033 | 15.97 | 29.9167 | 18.4833 | 879 | 84.44 | 61.002
2019-06-28 12:15:00 | 8.8733 | 163.19 | 10.2033 | 179.3333 | 16.0233 | 21.9733 | 16.2867 | 24.32 | 18.5133 | 879 | 81.7667 | 61.892
2019-06-28 12:30:00 | 8.96 | 243.7633 | 10.31 | 267.8667 | 16.25 | 18.3133 | 16.4133 | 18.5533 | 18.4067 | 878.6 | 81.9 | 61.64
2019-06-28 12:45:00 | 8.9293 | 197.8567 | 10.2693 | 217.42 | 16.2533 | 14.8367 | 16.578 | 21.1933 | 18.316 | 878 | 82.8267 | 61.2367
2019-06-28 13:00:00 | 9.12 | 147.7933 | 10.4867 | 162.4 | 16.4367 | 17.6933 | 16.8833 | 34.05 | 18.4733 | 878 | 81.2667 | 61.6067
2019-06-28 13:15:00 | 8.5067 | 313.3407 | 9.7967 | 344.3333 | 15.3167 | 8.56 | 16.35 | 29.99 | 18.79 | 878 | 79.2833 | 60.6493
2019-06-28 13:30:00 | 8.8733 | 257.6567 | 10.21 | 283.1333 | 16.0167 | 12.3667 | 16.4367 | 31.8233 | 19.21 | 878 | 78.3233 | 61.1093
2019-06-28 13:45:00 | 8.9267 | 225.0433 | 10.2733 | 247.3 | 16.21 | 14.2733 | 16.4167 | 28.36 | 19.91 | 878 | 75.8133 | 60.606
2019-06-28 14:00:00 | 8.5867 | 227.5367 | 9.8867 | 250.0333 | 15.5567 | 8.2467 | 15.6833 | 23.0267 | 20.5433 | 878 | 73.58 | 60.0247
2019-06-28 14:15:00 | 8.5293 | 186.2533 | 9.8193 | 204.6667 | 15.1767 | 14.84 | 15.37 | 38.4 | 21.2067 | 878.7333 | 69.4133 | 58.462
2019-06-28 14:30:00 | 9.0933 | 268.5733 | 10.4567 | 295.1333 | 15.9633 | 22.6267 | 16.1233 | 18.1 | 22.3333 | 879 | 66.1467 | 57.0947
2019-06-28 14:45:00 | 9.1267 | 49.8333 | 10.5067 | 54.7567 | 16.09 | 22.1333 | 16.78 | 27.69 | 23.3533 | 879 | 62.0667 | 56.2813
2019-06-28 15:00:00 | 8.52 | 193.1933 | 9.8 | 212.3033 | 15.13 | 17.2933 | 15.74 | 34.8633 | 22.74 | 879 | 65.0133 | 54.81
2019-06-28 15:15:00 | 8.064 | 242.2647 | 9.28 | 266.2133 | 14.2687 | 22.2207 | 15.2427 | 36.1107 | 22.4853 | 879 | 65.766 | 54.608
2019-06-28 15:30:00 | 8.1667 | 97.6167 | 9.4 | 107.2667 | 14.67 | 20.2767 | 15.2533 | 34.5267 | 23.5 | 879 | 63.3433 | 51.4
2019-06-28 15:45:00 | 7.66 | 95.4233 | 8.8133 | 104.86 | 13.5467 | 33.8133 | 13.94 | 34.01 | 25.11 | 879.0667 | 56.8967 | 49.5653
2019-06-28 16:00:00 | 8.26 | 195.5967 | 9.5067 | 214.9333 | 14.46 | 20.8933 | 15.12 | 33.73 | 25.5033 | 880 | 54.4033 | 49.0867
2019-06-28 16:15:00 | 7.82 | 159.6767 | 8.99 | 175.4633 | 13.5367 | 19.5433 | 14.3267 | 37.9367 | 25.7207 | 880 | 52.69 | 45.9313
2019-06-28 16:30:00 | 7.0667 | 39.43 | 8.1367 | 43.33 | 12.2967 | 25.97 | 12.6067 | 24.1033 | 25.87 | 880 | 52.6433 | 43.6527
2019-06-28 16:45:00 | 6.9667 | 190.0733 | 8.01 | 208.8567 | 12.2433 | 32.3567 | 12.71 | 31.08 | 26.0313 | 880 | 51.84 | 42.6267
2019-06-28 17:00:00 | 6.3667 | 45.82 | 7.33 | 50.3433 | 11.1833 | 26.1233 | 11.7567 | 34.6267 | 26.17 | 880 | 50.7933 | 36.7653
2019-06-28 17:15:00 | 6.1333 | 10.6233 | 7.0633 | 11.67 | 10.8033 | 26.6033 | 11.1267 | 37.5033 | 26.4067 | 880 | 50.8 | 34.64
2019-06-28 17:30:00 | 6.1733 | 153.2233 | 7.11 | 168.3767 | 10.8633 | 24.5967 | 10.8933 | 26.2167 | 26.5933 | 880 | 49.7 | 32.4993
2019-06-28 17:45:00 | 6.01 | 134.3233 | 6.9167 | 147.6 | 10.65 | 11.4033 | 10.4667 | 25.8467 | 26.5993 | 880 | 48.62 | 33.064
2019-06-28 18:00:00 | 5.7233 | 263.91 | 6.5833 | 290 | 10.27 | 18.3167 | 10.0733 | 34.96 | 26.5167 | 880 | 49.8867 | 30.8373
2019-06-28 18:15:00 | 5.69 | 131.2833 | 6.5433 | 144.2667 | 10.4 | 15.0667 | 10.4 | 19.14 | 26.5833 | 880 | 50.7333 | 32.0953
2019-06-28 18:30:00 | 5.9367 | 113.8167 | 6.83 | 125.0667 | 10.6067 | 15.9133 | 10.6533 | 23.4467 | 26.21 | 880 | 50.14 | 29.2213
2019-06-28 18:45:00 | 5.4767 | 74.92 | 6.2967 | 82.32 | 9.66 | 86.0867 | 9.6467 | 20.08 | 25.8567 | 880 | 50.9367 | 25.9547
2019-06-28 19:00:00 | 5.314 | 181.4667 | 6.1233 | 199.4 | 9.3533 | 8.2467 | 9.1067 | 27.8067 | 25.4833 | 880 | 51.6633 | 22.8
2019-06-28 19:15:00 | 4.98 | 89.3633 | 5.7267 | 98.1933 | 8.98 | 26.7533 | 8.82 | 36.7833 | 24.5833 | 880 | 54.38 | 19.018
2019-06-28 19:30:00 | 4.1667 | 265.1433 | 4.7933 | 291.3667 | 7.8133 | 23.56 | 7.856 | 21.09 | 24.0033 | 880 | 56.6133 | 15.2207
2019-06-28 19:45:00 | 3.5467 | 135.8933 | 4.08 | 149.3233 | 6.5433 | 126.4667 | 6.6067 | 32.93 | 23.728 | 880 | 57.474 | 15.4127
2019-06-28 20:00:00 | 3.6 | 59.06 | 4.14 | 64.8967 | 6.63 | 126.9067 | 6.48 | 27.91 | 23.58 | 880 | 59.41 | 14.5907
2019-06-28 20:15:00 | 3.7533 | 244.04 | 4.3167 | 268.1667 | 7.05 | 22.4333 | 6.8467 | 26.4467 | 23.1533 | 880 | 61.6767 | 9.5773
2019-06-28 20:30:00 | 3.14 | 161.84 | 3.61 | 177.8333 | 6.1433 | 22.4867 | 5.9933 | 31.54 | 22.6867 | 880 | 64.8367 | 5.824
2019-06-28 20:45:00 | 2.7867 | 141.7 | 3.21 | 155.7 | 5.4933 | 17.4833 | 5.3067 | 25.74 | 22.2167 | 880 | 67.6733 | 3.856
2019-06-28 21:00:00 | 2.5933 | 34.44 | 2.9833 | 37.84 | 4.56 | 19.2167 | 4.52 | 25.08 | 22.01 | 880 | 69.2 | 4.3833
2019-06-28 21:15:00 | 2.3467 | 273.8633 | 2.7 | 300.9333 | 4.2233 | 12.6033 | 4.25 | 16.3133 | 21.9767 | 880 | 70.3067 | 4.8833
2019-06-28 21:30:00 | 2.4933 | 314.3167 | 2.8733 | 345.4 | 3.8633 | 16.0367 | 3.93 | 14.1733 | 21.7633 | 880 | 71.12 | 6.3473
2019-06-28 21:45:00 | 2.54 | 291.5967 | 2.9233 | 320.4333 | 4.57 | 25.4333 | 4.7167 | 28.3767 | 21.5033 | 880 | 72.06 | 5.858
2019-06-28 22:00:00 | 2.5133 | 278.9167 | 2.89 | 306.5 | 4.17 | 239.5067 | 4.19 | 17.6433 | 21.1567 | 880 | 73.5067 | 7.0547
2019-06-28 22:15:00 | 2.7133 | 303.7067 | 3.1267 | 333.7333 | 4.7033 | 347.4333 | 4.32 | 7.57 | 20.82 | 880 | 74.4567 | 7.6467
2019-06-28 22:30:00 | 3.0467 | 300.3067 | 3.5133 | 330 | 5.45 | 350.7667 | 4.8667 | 0.77667 | 20.5267 | 880 | 75.2433 | 11.284
2019-06-28 22:45:00 | 3.18 | 122.03 | 3.6667 | 134.1 | 5.75 | 39.4433 | 5.33 | 5.4133 | 20.16 | 880 | 76.1067 | 15.4333
2019-06-28 23:00:00 | 3.3133 | 110.21 | 3.8133 | 121.1067 | 5.85 | 231.41 | 5.6967 | 22.08 | 19.9267 | 880 | 76.7733 | 15.6953
2019-06-28 23:15:00 | 3.2733 | 208.3267 | 3.7633 | 228.9333 | 5.8633 | 6.4467 | 5.6267 | 240.14 | 19.74 | 880 | 77.276 | 15.0213
2019-06-28 23:30:00 | 3.26 | 286.1133 | 3.75 | 314.4 | 5.0567 | 210.7333 | 4.98 | 4.5667 | 19.82 | 880 | 76.5333 | 17.4547
2019-06-28 23:45:00 | 3.5667 | 307.5 | 4.1033 | 337.9 | 6.0033 | 21.7433 | 5.88 | 174.7 | 19.6267 | 880 | 77.78 | 21.6233