## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-29 00:00:00 | 3.7043 | 306.8264 | 4.2679 | 337.1643 | 6.6793 | 5.0707 | 6.6729 | 126.3371 | 19.3043 | 880 | 79.145 | 21.8086
2019-06-29 00:15:00 | 3.8333 | 83.9567 | 4.4067 | 92.2567 | 6.7833 | 2.8467 | 6.6433 | 2.5267 | 19.1333 | 880 | 79.72 | 27.4873
2019-06-29 00:30:00 | 4.02 | 203.83 | 4.6333 | 223.99 | 6.7833 | 9.1 | 6.5633 | 11.6467 | 18.9333 | 880 | 81.4333 | 24.75
2019-06-29 00:45:00 | 4.06 | 21.6567 | 4.6733 | 23.7933 | 6.71 | 237.5967 | 6.5733 | 11.7733 | 18.5967 | 880 | 83.3 | 26.8273
2019-06-29 01:00:00 | 4.5067 | 214.07 | 5.1933 | 235.2333 | 8.0633 | 10.11 | 8.0667 | 14.0733 | 18.41 | 880 | 84.5 | 26.146
2019-06-29 01:15:00 | 4.3993 | 111.0133 | 5.0567 | 121.9867 | 8.1233 | 5.6533 | 8.0433 | 12.4467 | 18.3047 | 879.9333 | 85.4 | 31.5193
2019-06-29 01:30:00 | 4.2767 | 93.7533 | 4.9233 | 103.0133 | 7.4433 | 2.1533 | 7.6833 | 6.76 | 18.234 | 879 | 85.8 | 31.9493
2019-06-29 01:45:00 | 4.2967 | 20.69 | 4.95 | 22.7333 | 7.7067 | 0.83 | 7.8833 | 8.1833 | 18.1733 | 879 | 86.3333 | 29.4307
2019-06-29 02:00:00 | 4.37 | 12.11 | 5.03 | 13.3 | 7.2667 | 1.7833 | 7.6767 | 3.71 | 17.9067 | 879 | 87.8667 | 33.484
2019-06-29 02:15:00 | 4.46 | 55.0867 | 5.1267 | 60.5333 | 7.91 | 355.5667 | 8.0033 | 8.8167 | 17.5733 | 879 | 89.4333 | 35.6853
2019-06-29 02:30:00 | 4.7933 | 71.5533 | 5.5133 | 78.6267 | 7.71 | 118.3267 | 7.61 | 12.9767 | 17.4867 | 879 | 89.4333 | 37.8967
2019-06-29 02:45:00 | 4.9253 | 17.982 | 5.6647 | 19.76 | 7.9633 | 20.8173 | 7.9067 | 15.9547 | 17.6893 | 879 | 88.32 | 36.946
2019-06-29 03:00:00 | 5.4233 | 217.5233 | 6.2367 | 239.0267 | 8.28 | 20.1267 | 8.2933 | 9.77 | 17.7433 | 879 | 88.5 | 33.4607
2019-06-29 03:15:00 | 5.74 | 114.5367 | 6.6 | 125.86 | 8.3267 | 19.15 | 8.5533 | 16.15 | 17.7247 | 879 | 88.8733 | 35.6033
2019-06-29 03:30:00 | 6.1533 | 93.1567 | 7.08 | 102.3667 | 9.4133 | 15.1033 | 9.4733 | 13.6233 | 17.59 | 879 | 89.3667 | 39.9153
2019-06-29 03:45:00 | 6.7267 | 23.3567 | 7.74 | 25.6633 | 9.8967 | 6.31 | 9.92 | 13.1233 | 17.4753 | 879 | 89.5667 | 41.078
2019-06-29 04:00:00 | 6.68 | 69.8767 | 7.6933 | 76.7833 | 10.4767 | 1.01 | 10.4067 | 5.83 | 17.2167 | 879 | 90.8333 | 41.4313
2019-06-29 04:15:00 | 6.64 | 71.612 | 7.638 | 78.684 | 9.368 | 283.864 | 9.644 | 16.358 | 17.012 | 879 | 91.82 | 44.328
2019-06-29 04:30:00 | 6.18 | 288.2067 | 7.11 | 316.7 | 9.9133 | 237.3067 | 10.0867 | 10.4233 | 16.6733 | 879 | 93.7667 | 47.2727
2019-06-29 04:45:00 | 6.6333 | 117.9933 | 7.63 | 129.6533 | 10.0233 | 240.8433 | 10.3033 | 11.9767 | 16.4567 | 879 | 94.9667 | 48.0787
2019-06-29 05:00:00 | 6.5267 | 313.96 | 7.51 | 345 | 10.3633 | 9.0367 | 10.43 | 11.67 | 16.3833 | 878.6 | 95.3 | 47.0067
2019-06-29 05:15:00 | 5.7333 | 52 | 6.6067 | 57.14 | 9.65 | 13.7867 | 9.72 | 9.3533 | 16.348 | 878.7333 | 95.1067 | 44.6547
2019-06-29 05:30:00 | 5.44 | 156.0133 | 6.2667 | 171.44 | 9.35 | 6.98 | 9.3067 | 9.4533 | 16.34 | 879 | 94.7333 | 41.1147
2019-06-29 05:45:00 | 5.2633 | 142.44 | 6.0633 | 156.5267 | 9.15 | 235.8067 | 8.9167 | 9.6867 | 16.5167 | 879 | 93.5 | 40.5487
2019-06-29 06:00:00 | 4.95 | 309.4267 | 5.6967 | 340.0333 | 8.4233 | 2.1533 | 8.6033 | 8.4867 | 16.4967 | 879 | 93.7667 | 45.8953
2019-06-29 06:15:00 | 5.6133 | 109.3467 | 6.4533 | 120.16 | 10.0267 | 9.9567 | 10.0367 | 10.8233 | 16.2767 | 879 | 95 | 45.7413
2019-06-29 06:30:00 | 5.6267 | 316.5933 | 6.4733 | 347.9 | 9.5733 | 12.4033 | 9.6567 | 13.7367 | 16.19 | 879 | 95.6 | 44.6367
2019-06-29 06:45:00 | 5.26 | 296.0267 | 6.0633 | 325.3 | 8.87 | 241.55 | 9.1233 | 12.6067 | 16.3233 | 879 | 95.2 | 44.588
2019-06-29 07:00:00 | 5.5667 | 287.3467 | 6.4033 | 315.7667 | 9.4233 | 9.3833 | 9.6233 | 11.0667 | 16.4633 | 879 | 94.8 | 44.4053
2019-06-29 07:15:00 | 5.6467 | 216.55 | 6.4933 | 237.9667 | 8.9567 | 124.18 | 9.2133 | 7.5833 | 16.482 | 879.7333 | 94.8067 | 44.9027
2019-06-29 07:30:00 | 6.1 | 222.3833 | 7.02 | 244.3667 | 9.1967 | 121.5067 | 9.16 | 235.0633 | 16.4967 | 880 | 94.5667 | 43.7473
2019-06-29 07:45:00 | 5.9333 | 174.1233 | 6.8233 | 191.3333 | 9.3233 | 16.9767 | 9.1733 | 12.37 | 16.582 | 880 | 94.1067 | 44.8753
2019-06-29 08:00:00 | 5.3467 | 12.8367 | 6.1567 | 14.1 | 8.73 | 8.57 | 8.9733 | 17.4367 | 16.602 | 880 | 94.4 | 43.85
2019-06-29 08:15:00 | 5.7027 | 11.028 | 6.5607 | 12.114 | 8.1967 | 13.4833 | 8.008 | 25.0087 | 16.57 | 880 | 93.8667 | 42.8787
2019-06-29 08:30:00 | 5.4867 | 8.3667 | 6.32 | 9.18 | 8.3933 | 239.3067 | 8.2967 | 7.8767 | 16.6367 | 880.4 | 93.54 | 45.1967
2019-06-29 08:45:00 | 5.5367 | 13.9233 | 6.37 | 15.29 | 8.4 | 6.9133 | 8.56 | 17.9433 | 16.6827 | 880.3333 | 93.3 | 45.3553
2019-06-29 09:00:00 | 5.75 | 111.37 | 6.6233 | 122.3833 | 8.7667 | 10.2333 | 8.9467 | 20.0633 | 16.7667 | 881 | 93.1667 | 42.852
2019-06-29 09:15:00 | 5.64 | 31.7867 | 6.4907 | 34.9233 | 9.1933 | 122.9733 | 9.4133 | 13.6 | 16.9433 | 881 | 92.9933 | 42.43
2019-06-29 09:30:00 | 5.5933 | 32.8733 | 6.4467 | 36.1233 | 8.7067 | 120.8667 | 8.5733 | 18.4467 | 17.1567 | 881 | 92.7 | 42.9267
2019-06-29 09:45:00 | 5.3833 | 296.33 | 6.1867 | 325.6333 | 8.4733 | 9.0667 | 8.25 | 6.37 | 17.5033 | 881 | 91.4 | 32.2587
2019-06-29 10:00:00 | 4.732 | 283.932 | 5.45 | 312 | 7.608 | 6.638 | 8.028 | 11.368 | 17.77 | 881 | 90.56 | 26.3767
2019-06-29 10:15:00 | 3.6767 | 21.86 | 4.23 | 24.02 | 6.8267 | 12.8967 | 7.15 | 15.7567 | 18.1067 | 881 | 90.5667 | 36.5153
2019-06-29 10:30:00 | 4.8233 | 10.98 | 5.5567 | 12.06 | 8.2533 | 228.3633 | 8.45 | 18.8033 | 18.0933 | 881 | 89.7667 | 41.1773
2019-06-29 10:45:00 | 5.6667 | 226.55 | 6.5133 | 248.9467 | 9.0167 | 248.2 | 8.99 | 231.8967 | 17.91 | 881 | 88.8333 | 44.3367
2019-06-29 11:00:00 | 5.6267 | 23.6567 | 6.4667 | 25.9933 | 9.5767 | 273.1333 | 9.47 | 10.6367 | 17.9567 | 881 | 89.46 | 42.0073
2019-06-29 11:15:00 | 5.48 | 200.47 | 6.31 | 220.3 | 9.7133 | 6.74 | 9.8167 | 17.2133 | 17.974 | 881 | 89.9667 | 39.3113
2019-06-29 11:30:00 | 5.24 | 208.79 | 6.0233 | 229.4333 | 9.2067 | 18.0467 | 9.4967 | 13.6 | 17.8567 | 881 | 90.9 | 36.294
2019-06-29 11:45:00 | 4.66 | 202.0633 | 5.3633 | 222.05 | 8.52 | 1.2933 | 8.4867 | 4.86 | 17.9053 | 881 | 91.3667 | 33.8127
2019-06-29 12:00:00 | 4.4933 | 219.4833 | 5.17 | 241.1833 | 8.24 | 4.0333 | 8.1733 | 8.5867 | 18.1533 | 881 | 91.1667 | 35.484
2019-06-29 12:15:00 | 4.5633 | 116.4833 | 5.25 | 128 | 8.1333 | 4.43 | 8.2667 | 10.1933 | 18.4733 | 881.7333 | 89.7 | 35.5607
2019-06-29 12:30:00 | 4.4833 | 263.0633 | 5.1567 | 289.0667 | 7.5867 | 17.6233 | 7.74 | 24.4133 | 18.74 | 882 | 88.9 | 30.4567
2019-06-29 12:45:00 | 4.36 | 159.4667 | 5.02 | 175.2333 | 7.9433 | 21.8733 | 7.7733 | 20.2167 | 19.0533 | 882 | 88.4333 | 26.8847
2019-06-29 13:00:00 | 4.0067 | 32.7467 | 4.6067 | 35.9733 | 7.55 | 4.6133 | 7.2 | 13.85 | 19.2467 | 881.6 | 88.5 | 27.794
2019-06-29 13:15:00 | 4.1467 | 308.23 | 4.7667 | 338.7 | 7.5767 | 67.7667 | 7.4333 | 10.2367 | 19.8033 | 881.7333 | 87.1 | 25.716
2019-06-29 13:30:00 | 4.1933 | 100.13 | 4.82 | 110.0267 | 7.174 | 282.1 | 7.0867 | 15.0833 | 20.5367 | 882 | 85.1 | 27.3473
2019-06-29 13:45:00 | 4.1867 | 208.2833 | 4.83 | 228.8833 | 6.4667 | 239.9433 | 6.11 | 14.64 | 21.14 | 882 | 82.2933 | 22.0147
2019-06-29 14:00:00 | 3.7267 | 162.2967 | 4.29 | 178.35 | 5.98 | 10.01 | 5.894 | 10.18 | 21.9933 | 882 | 80.22 | 20.95
2019-06-29 14:15:00 | 4.0633 | 293.5967 | 4.6787 | 322.6333 | 6.4273 | 3.722 | 6.3867 | 71.7 | 22.8927 | 882 | 77.2527 | 22.0413
2019-06-29 14:30:00 | 4.106 | 266.672 | 4.734 | 293.04 | 7.04 | 8.016 | 7.126 | 86.568 | 23.498 | 882 | 77.036 | 20.0133
2019-06-29 14:45:00 | 4.1933 | 270.04 | 4.83 | 296.7333 | 7.5233 | 17.2267 | 8.0933 | 27.6733 | 24.98 | 882.0667 | 72.2767 | 22.364
2019-06-29 15:00:00 | 4.49 | 148.6157 | 5.165 | 163.3071 | 8.2357 | 24.1514 | 9.2464 | 27.8529 | 25.7364 | 883 | 68.8071 | 24.1967
2019-06-29 15:15:00 | 4.54 | 166.2033 | 5.2267 | 182.6333 | 8.7067 | 15.1033 | 9.2067 | 25.83 | 26.7233 | 883 | 65.9267 | 25.916
2019-06-29 15:30:00 | 4.82 | 276.9767 | 5.5533 | 304.3667 | 8.7 | 12.61 | 9.0733 | 28.5967 | 27.35 | 883 | 59.94 | 28.5627
2019-06-29 15:45:00 | 5.07 | 14.4033 | 5.8333 | 15.82 | 9.1667 | 14.1467 | 9.1867 | 17.1233 | 27.3113 | 883 | 57.0733 | 31.448
2019-06-29 16:00:00 | 5.0433 | 209.03 | 5.8 | 229.7067 | 9.5067 | 22.2867 | 9.4133 | 23.15 | 27.6833 | 883 | 57.52 | 32.2967
2019-06-29 16:15:00 | 5.2233 | 141.7867 | 6.02 | 155.8 | 9.6833 | 10.01 | 9.7167 | 33.0767 | 28.2367 | 883 | 53.1167 | 32.4327
2019-06-29 16:30:00 | 5.07 | 158.1667 | 5.84 | 173.8 | 9.29 | 13.39 | 9.33 | 30.2433 | 28.1167 | 883 | 52.85 | 33.7967
2019-06-29 16:45:00 | 5.0667 | 175.9633 | 5.8233 | 193.3667 | 9.2267 | 16.4333 | 9.53 | 26.8467 | 28.02 | 883 | 53.9267 | 35.816
2019-06-29 17:00:00 | 5.3 | 262.17 | 6.0967 | 288.1 | 9.6467 | 18.4733 | 9.8367 | 26.0733 | 28.1467 | 883 | 52.4333 | 35.1913
2019-06-29 17:15:00 | 5.7733 | 137.3533 | 6.6467 | 150.9333 | 10.38 | 8.79 | 10.3333 | 19.39 | 27.7867 | 883 | 51.4867 | 35.6033
2019-06-29 17:30:00 | 5.0867 | 275.5533 | 5.86 | 302.8 | 8.8133 | 11.5767 | 8.6533 | 20.9433 | 27.728 | 883 | 51.9067 | 33.6007
2019-06-29 17:45:00 | 5.518 | 112.1713 | 6.354 | 123.2653 | 9.922 | 8.8067 | 9.632 | 11.2353 | 27.5993 | 883 | 52.3913 | 29.9587
2019-06-29 18:00:00 | 5.0033 | 114.91 | 5.7633 | 126.2733 | 9.2967 | 15.3333 | 9.0333 | 15.3433 | 27.2767 | 883 | 54.07 | 27.4607
2019-06-29 18:15:00 | 4.6867 | 146.8767 | 5.3933 | 161.3933 | 8.7933 | 13.74 | 8.5467 | 21.03 | 27.4067 | 883 | 54.3433 | 22.4927
2019-06-29 18:30:00 | 4.7933 | 111.4767 | 5.5267 | 122.5 | 8.6 | 17.1533 | 8.3667 | 20.2033 | 27.1867 | 883 | 53.29 | 18.2387
2019-06-29 18:45:00 | 4.3 | 240.42 | 4.9467 | 264.2 | 8.2133 | 13.6367 | 8.1967 | 19.14 | 26.8933 | 883 | 54.0313 | 17.6407
2019-06-29 19:00:00 | 4.34 | 183.8867 | 5 | 202.0667 | 8.36 | 14.35 | 8.1967 | 17.86 | 26.7933 | 883 | 53.6033 | 16.1
2019-06-29 19:15:00 | 4.3067 | 219.77 | 4.9533 | 241.5 | 7.99 | 16.9967 | 7.81 | 22.9967 | 25.7367 | 883 | 54.8633 | 16.152
2019-06-29 19:30:00 | 4.02 | 205.1567 | 4.62 | 225.4333 | 7.7767 | 16.8033 | 7.6967 | 24.2767 | 24.87 | 883 | 58.11 | 15.984
2019-06-29 19:45:00 | 3.8067 | 252.89 | 4.3733 | 277.9 | 6.8633 | 20.08 | 7.08 | 25.87 | 24.4067 | 882.9333 | 59.0907 | 14.9947
2019-06-29 20:00:00 | 3.4867 | 284.7433 | 4.0133 | 312.9 | 6.2433 | 4.86 | 6.5267 | 31.25 | 24.16 | 882 | 60.48 | 14.6413
2019-06-29 20:15:00 | 3.4633 | 301.5533 | 3.9833 | 331.3667 | 6.3833 | 10.6633 | 6.7967 | 27.6633 | 23.73 | 882 | 60.47 | 13.972
2019-06-29 20:30:00 | 3.51 | 269.82 | 4.0367 | 296.5 | 6.1367 | 11.61 | 6.2567 | 19.6967 | 23.49 | 882 | 60.8767 | 14.0467
2019-06-29 20:45:00 | 3.42 | 112.5933 | 3.9333 | 123.72 | 5.9967 | 3.1033 | 6.37 | 6.6933 | 23.1367 | 882 | 61.53 | 14.0913
2019-06-29 21:00:00 | 3.58 | 122.4933 | 4.1133 | 134.6067 | 6.3833 | 11.7167 | 6.3367 | 12.1533 | 22.7567 | 882 | 63.0167 | 15.1773
2019-06-29 21:15:00 | 3.5133 | 0.59 | 4.04 | 0.65 | 6.1733 | 7.2233 | 6.3 | 13.3833 | 22.3367 | 882 | 65.6833 | 15.386
2019-06-29 21:30:00 | 3.5467 | 201.5567 | 4.08 | 221.4833 | 6.076 | 5.65 | 6.2533 | 11.3567 | 22.1433 | 882 | 66.6033 | 17.4913
2019-06-29 21:45:00 | 3.6133 | 21.4967 | 4.16 | 23.6167 | 6.0293 | 9.0233 | 5.7967 | 11.3067 | 21.9293 | 882 | 67.33 | 14.2813
2019-06-29 22:00:00 | 3.46 | 17.1633 | 3.98 | 18.8567 | 5.74 | 237.91 | 5.33 | 12.88 | 21.936 | 882 | 66.958 | 10.0787
2019-06-29 22:15:00 | 3.096 | 260.5573 | 3.5613 | 286.3307 | 5.24 | 36.4433 | 5.1227 | 14.5993 | 21.8433 | 882 | 67.4713 | 6.298
2019-06-29 22:30:00 | 2.88 | 289.5 | 3.31 | 318.1333 | 5.03 | 15.5933 | 5.2267 | 19.7467 | 21.71 | 882 | 68.1167 | 6.3493
2019-06-29 22:45:00 | 2.9133 | 312.44 | 3.35 | 343.3333 | 5.3407 | 19.5133 | 5.8367 | 17.9667 | 21.2567 | 882 | 71.3633 | 6.9747
2019-06-29 23:00:00 | 2.96 | 279.5533 | 3.4033 | 307.2 | 5.05 | 9.7 | 5.37 | 14.74 | 20.9167 | 882 | 72.8433 | 5.0327
2019-06-29 23:15:00 | 3.1033 | 106.8067 | 3.5667 | 117.3667 | 4.73 | 5.6033 | 5.2133 | 9.6867 | 20.8933 | 882 | 72.6633 | 4.7853
2019-06-29 23:30:00 | 3.2367 | 311.3133 | 3.72 | 342.1 | 4.85 | 0.94333 | 5.2933 | 9.6867 | 20.6933 | 882 | 74.23 | 5.6713
2019-06-29 23:45:00 | 3.1 | 308.2 | 3.5667 | 338.6667 | 4.9467 | 11.5667 | 5.3467 | 8.91 | 20.3833 | 882 | 76.0333 | 7.5133