## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-30 00:00:00 | 3.2314 | 105.5857 | 3.7179 | 116.0143 | 5.3271 | 8.3157 | 5.7171 | 12.7514 | 20.1986 | 882 | 77.145 | 8.6979
2019-06-30 00:15:00 | 3.2667 | 9.32 | 3.7667 | 10.2367 | 5.6467 | 14.8233 | 5.86 | 17.1233 | 20.0267 | 882 | 77.1933 | 9.7987
2019-06-30 00:30:00 | 3.0333 | 212.5867 | 3.4933 | 233.61 | 5.66 | 17.27 | 6.2467 | 19.6833 | 19.7333 | 882 | 79.1133 | 10.998
2019-06-30 00:45:00 | 3.62 | 210.3267 | 4.1733 | 231.12 | 6.6 | 16.1033 | 6.63 | 18.4933 | 19.3267 | 882 | 81.4 | 10.6673
2019-06-30 01:00:00 | 3.3667 | 189.1467 | 3.8733 | 207.8533 | 6.3 | 16.6833 | 6.6767 | 22.6267 | 19.0467 | 882 | 82.2667 | 13.3727
2019-06-30 01:15:00 | 3.6167 | 268.9467 | 4.1633 | 295.5333 | 5.9833 | 132.9 | 6.7967 | 16.7667 | 19.0307 | 881.2667 | 82.1 | 16.436
2019-06-30 01:30:00 | 3.298 | 310.864 | 3.79 | 341.6 | 5.686 | 154.598 | 6.292 | 14.498 | 19.034 | 881 | 82.14 | 14.9073
2019-06-30 01:45:00 | 3.0867 | 264.63 | 3.56 | 290.8 | 5.4567 | 16.56 | 6.12 | 32.0367 | 18.78 | 881 | 83.5333 | 14.0527
2019-06-30 02:00:00 | 3.6667 | 319.4767 | 4.22 | 351.0667 | 6.1433 | 11.28 | 6.56 | 30.2233 | 18.708 | 881 | 83.84 | 14.348
2019-06-30 02:15:00 | 3.86 | 22.7667 | 4.4533 | 25.0167 | 6.1467 | 125.1533 | 6.4167 | 15.5167 | 18.93 | 881 | 83.2333 | 14.008
2019-06-30 02:30:00 | 3.5533 | 7.36 | 4.0867 | 8.0833 | 5.8933 | 120.1133 | 6.0967 | 16.0967 | 18.8233 | 881 | 83.7 | 13.7007
2019-06-30 02:45:00 | 3.48 | 108.7467 | 4.0067 | 119.5 | 6.32 | 12.75 | 6.79 | 19.8567 | 18.66 | 881 | 84.4 | 15.8127
2019-06-30 03:00:00 | 3.92 | 305.8267 | 4.5133 | 336.0667 | 6.5867 | 20.2033 | 6.8967 | 20.47 | 18.56 | 881 | 84.8667 | 20.3247
2019-06-30 03:15:00 | 3.8933 | 6.9733 | 4.4767 | 7.6567 | 6.84 | 9.4867 | 7.1833 | 14.3633 | 18.5507 | 881 | 85.0933 | 26.0327
2019-06-30 03:30:00 | 4.48 | 192.82 | 5.15 | 211.89 | 7.08 | 12.4667 | 7.4033 | 20.2567 | 18.52 | 881 | 85.1333 | 28.94
2019-06-30 03:45:00 | 4.4767 | 0.45333 | 5.15 | 0.49333 | 7.33 | 3.5833 | 7.7433 | 15.8533 | 18.5147 | 881 | 85.2733 | 24.9453
2019-06-30 04:00:00 | 4.6433 | 25.4733 | 5.3433 | 27.9867 | 7.2367 | 228.15 | 7.43 | 13.9533 | 18.48 | 881 | 85.1667 | 21.006
2019-06-30 04:15:00 | 4.3233 | 99.37 | 4.98 | 109.1933 | 7.21 | 6.99 | 7.1667 | 10.61 | 18.398 | 881 | 85.6667 | 23.328
2019-06-30 04:30:00 | 4.4967 | 221.47 | 5.1733 | 243.3667 | 8.2767 | 11.1367 | 8.3733 | 12.8967 | 18.11 | 881 | 87.2 | 29.928
2019-06-30 04:45:00 | 4.6867 | 146.6433 | 5.39 | 161.14 | 8.6833 | 12.3533 | 8.89 | 17.5933 | 17.69 | 881 | 88.8333 | 33.32
2019-06-30 05:00:00 | 4.3733 | 219.5633 | 5.03 | 241.2733 | 8.29 | 14.4933 | 8.9033 | 17.5133 | 17.3833 | 881 | 90.5 | 34.4547
2019-06-30 05:15:00 | 4.3333 | 23.5 | 4.9833 | 25.82 | 7.3167 | 8.9567 | 7.73 | 16.6267 | 17.01 | 881 | 92.3333 | 32.568
2019-06-30 05:30:00 | 4.0333 | 14.2733 | 4.6433 | 15.6733 | 6.91 | 12.3767 | 7.6167 | 17.96 | 16.8633 | 881 | 93.2667 | 29.1007
2019-06-30 05:45:00 | 3.9733 | 116.64 | 4.57 | 128.1667 | 6.8267 | 10.16 | 7.54 | 18.4633 | 16.832 | 881 | 93.6667 | 27.366
2019-06-30 06:00:00 | 4.1533 | 173.9667 | 4.7767 | 191.1667 | 7.5 | 7.7733 | 8.0267 | 18.77 | 16.9 | 881 | 93.0667 | 28.364
2019-06-30 06:15:00 | 4.8167 | 21.1433 | 5.55 | 23.23 | 7.1833 | 8.34 | 7.4567 | 12.2833 | 17.08 | 881 | 91.5333 | 29.3213
2019-06-30 06:30:00 | 4.5967 | 0.62333 | 5.2967 | 0.68333 | 7.9033 | 6.44 | 8.3233 | 16.35 | 17.22 | 881 | 90.5333 | 29.9007
2019-06-30 06:45:00 | 5.1133 | 110.2067 | 5.8767 | 121.1067 | 8.5767 | 11.1467 | 9.07 | 7.05 | 17.3567 | 881 | 89.4667 | 37.5013
2019-06-30 07:00:00 | 4.9667 | 312.4667 | 5.7167 | 343.3667 | 8.59 | 10.5667 | 9.0767 | 21.7233 | 17.4167 | 881.4 | 89.7333 | 37.7547
2019-06-30 07:15:00 | 4.98 | 221.4533 | 5.7267 | 243.3533 | 8.56 | 234.0667 | 9.0233 | 12.1367 | 17.1567 | 882 | 91.4 | 37.5073
2019-06-30 07:30:00 | 5.0933 | 6.8533 | 5.8667 | 7.5333 | 8.4267 | 122.8333 | 8.7633 | 8.75 | 17.058 | 882 | 91.84 | 35.7253
2019-06-30 07:45:00 | 4.7667 | 108.6533 | 5.4967 | 119.3933 | 8.4233 | 4.8667 | 8.9433 | 34.7933 | 17.24 | 882 | 91.1333 | 38.9273
2019-06-30 08:00:00 | 5.1133 | 307.1533 | 5.89 | 337.5333 | 8.7033 | 8.48 | 8.8767 | 34.14 | 17.4267 | 882 | 90.5333 | 42.688
2019-06-30 08:15:00 | 5.8933 | 107.9233 | 6.7867 | 118.5933 | 9.9333 | 11.7167 | 10.1067 | 16.7167 | 17.422 | 882 | 90.2067 | 46.4813
2019-06-30 08:30:00 | 6.04 | 279.77 | 6.9467 | 307.4333 | 10.4933 | 17.27 | 10.4133 | 4.69 | 17.5033 | 882 | 89.7 | 44.8673
2019-06-30 08:45:00 | 6.1033 | 59.1633 | 7.03 | 65.0167 | 9.7033 | 8.91 | 9.7833 | 22.9933 | 17.7533 | 882 | 87.0333 | 43.9307
2019-06-30 09:00:00 | 6.3633 | 206.7033 | 7.3167 | 227.15 | 9.83 | 30.07 | 9.7833 | 21.8133 | 17.92 | 882 | 85.5667 | 45.7687
2019-06-30 09:15:00 | 6.0833 | 178.51 | 7.0033 | 196.1667 | 10.6 | 11.08 | 10.6967 | 17.1967 | 18.1933 | 882 | 86.0333 | 46.528
2019-06-30 09:30:00 | 6.1967 | 192.7167 | 7.1233 | 211.7667 | 10.6 | 7.3867 | 11.2233 | 10.5233 | 18.5067 | 882 | 85.4333 | 48.364
2019-06-30 09:45:00 | 6.0933 | 189.35 | 7.01 | 208.0667 | 10.97 | 5.8333 | 11.2867 | 17.77 | 18.8867 | 882.0667 | 84.8 | 43.3393
2019-06-30 10:00:00 | 6.16 | 132.8433 | 7.09 | 145.9667 | 10.7567 | 238.5533 | 10.8667 | 17.7567 | 18.9267 | 883 | 84.36 | 42.2287
2019-06-30 10:15:00 | 5.978 | 292.618 | 6.8713 | 321.5533 | 10.334 | 16.4193 | 10.2587 | 20.374 | 19.2333 | 883 | 83.22 | 42.0573
2019-06-30 10:30:00 | 6.2867 | 123.7467 | 7.2367 | 135.98 | 10.8333 | 7.4033 | 11.1 | 15.1067 | 19.7767 | 883 | 82 | 42.7333
2019-06-30 10:45:00 | 6.1407 | 30.5793 | 7.068 | 33.596 | 10.3833 | 9.9893 | 10.4207 | 15.4553 | 20.8087 | 883 | 77.8527 | 42.9693
2019-06-30 11:00:00 | 5.8167 | 27.3967 | 6.6967 | 30.1067 | 9.3333 | 12.2267 | 9.3367 | 25.5533 | 21.8233 | 883 | 74.3033 | 39.9827
2019-06-30 11:15:00 | 5.7133 | 301.7567 | 6.5833 | 331.6 | 8.9133 | 232.41 | 8.8467 | 3.2367 | 21.6033 | 883.7333 | 74.7467 | 37.8913
2019-06-30 11:30:00 | 5.28 | 106.09 | 6.0767 | 116.58 | 8.96 | 7.7033 | 8.9867 | 8.55 | 21.6967 | 884 | 74.9267 | 38.66
2019-06-30 11:45:00 | 5.3333 | 34.08 | 6.1367 | 37.44 | 8.63 | 11.3933 | 8.61 | 9.0267 | 21.8553 | 884 | 72.9067 | 41.5493
2019-06-30 12:00:00 | 5.36 | 39.5733 | 6.17 | 43.48 | 9.01 | 55.3067 | 8.8433 | 61.4867 | 22.1233 | 884 | 74.2333 | 37.1687
2019-06-30 12:15:00 | 5.5333 | 120.5067 | 6.3733 | 132.4267 | 9.0967 | 121.4 | 9.2733 | 8.5967 | 22.6767 | 884 | 73.49 | 34.058
2019-06-30 12:30:00 | 5.1667 | 270.6133 | 5.94 | 297.3667 | 9.4967 | 116.2533 | 9.5667 | 16.53 | 22.9767 | 884 | 72.8567 | 30.0293
2019-06-30 12:45:00 | 5.1733 | 219.7367 | 5.9593 | 241.47 | 9.22 | 7.6767 | 9.2567 | 18.9833 | 22.9033 | 884 | 72.0067 | 25.4633
2019-06-30 13:00:00 | 4.9467 | 214.8833 | 5.7033 | 236.1367 | 8.9133 | 8.9233 | 9.05 | 19.8567 | 22.93 | 884 | 73.2333 | 21.42
2019-06-30 13:15:00 | 4.7533 | 278.82 | 5.4733 | 306.4 | 8.6633 | 114.4 | 8.7867 | 16.2433 | 23.3333 | 884 | 72.98 | 21.6153
2019-06-30 13:30:00 | 4.54 | 312.2467 | 5.2267 | 343.1333 | 8.2367 | 116.6467 | 8.1667 | 24.15 | 23.2533 | 884 | 72.6133 | 18.2093
2019-06-30 13:45:00 | 4.0333 | 225.2 | 4.6467 | 247.4667 | 7.4333 | 1.87 | 7.6 | 19.35 | 23.2147 | 884 | 73.5753 | 15.6347
2019-06-30 14:00:00 | 3.9933 | 193.7067 | 4.6 | 212.8667 | 7.6333 | 4.9833 | 7.9667 | 19.33 | 23.256 | 884 | 74.5033 | 16.436
2019-06-30 14:15:00 | 4.0467 | 209.0233 | 4.6667 | 229.7 | 7.6333 | 6.2967 | 7.7267 | 16.7667 | 22.88 | 884 | 76.16 | 19.3233
2019-06-30 14:30:00 | 4.32 | 288.3833 | 4.9733 | 316.9 | 8.0267 | 2.6567 | 7.9867 | 11.34 | 22.72 | 884 | 77.7467 | 19.598
2019-06-30 14:45:00 | 4.54 | 317.5 | 5.22 | 348.9 | 7.4867 | 242.5167 | 7.45 | 125.0533 | 22.5967 | 884 | 77.2267 | 14.622
2019-06-30 15:00:00 | 4.0533 | 215.34 | 4.66 | 236.6333 | 7.1067 | 6.2567 | 7.0033 | 129.72 | 22.4367 | 884 | 77.9933 | 11.748
2019-06-30 15:15:00 | 3.64 | 95.1667 | 4.19 | 104.5667 | 6.7367 | 120.38 | 6.7667 | 18.3967 | 22.2433 | 883.9333 | 80.19 | 9.3467
2019-06-30 15:30:00 | 3.8933 | 280.7067 | 4.4767 | 308.4667 | 6.9567 | 346.4 | 6.7333 | 11.35 | 22.05 | 883 | 79.37 | 11.486
2019-06-30 15:45:00 | 3.5867 | 266.0833 | 4.1333 | 292.4 | 6.47 | 20.9833 | 6.14 | 123.3133 | 22.0593 | 883 | 80.09 | 12.642
2019-06-30 16:00:00 | 3.72 | 146.8767 | 4.2867 | 161.4 | 6.5033 | 24.4033 | 6.3867 | 121.0467 | 22.2833 | 883 | 79.6567 | 12.75
2019-06-30 16:15:00 | 3.62 | 105.84 | 4.1633 | 116.3 | 6.2667 | 235.7233 | 6.2567 | 83.61 | 22.5067 | 883 | 79.4453 | 7.9553
2019-06-30 16:30:00 | 2.88 | 151.5933 | 3.31 | 166.58 | 5.2133 | 5.65 | 5.2567 | 9.91 | 22.6867 | 883 | 80.0867 | 8.896
2019-06-30 16:45:00 | 2.8867 | 306.91 | 3.3333 | 337.2667 | 5.2367 | 1.7 | 5.2733 | 1.9433 | 23.1233 | 883.0667 | 79.96 | 11.712
2019-06-30 17:00:00 | 3.1533 | 291.0767 | 3.6267 | 319.8667 | 5.21 | 1.54 | 4.98 | 9.85 | 23.8233 | 884 | 76.0267 | 12.464
2019-06-30 17:15:00 | 3.25 | 103.14 | 3.7367 | 113.3333 | 5.91 | 7.37 | 5.76 | 10.4167 | 25.3833 | 884 | 71.5633 | 11.1147
2019-06-30 17:30:00 | 3.31 | 195.7733 | 3.81 | 215.1333 | 6.2433 | 3.1433 | 6.2 | 12.1767 | 26.2033 | 884 | 68.5233 | 10.1993
2019-06-30 17:45:00 | 3.2333 | 224.71 | 3.72 | 246.9333 | 5.8933 | 117.48 | 5.73 | 9.2667 | 26.6233 | 884.7333 | 67.024 | 11.3867
2019-06-30 18:00:00 | 3.36 | 138.0167 | 3.8667 | 151.6667 | 6.1867 | 353.3667 | 6.03 | 3.9267 | 26.802 | 885 | 65.3467 | 13.1453
2019-06-30 18:15:00 | 3.6033 | 99.8867 | 4.14 | 109.7667 | 6.5 | 73.0667 | 6.2033 | 2.0233 | 26.298 | 885 | 66.6167 | 10.994
2019-06-30 18:30:00 | 3.1433 | 286.8067 | 3.6133 | 315.1667 | 5.8667 | 305.5667 | 5.6033 | 1.0833 | 26.1367 | 885 | 66.714 | 10.6347
2019-06-30 18:45:00 | 2.86 | 283.8867 | 3.2967 | 311.9667 | 5.4367 | 13.93 | 5.1467 | 58.08 | 26.0847 | 885 | 67.96 | 8.8887
2019-06-30 19:00:00 | 2.6867 | 171.9 | 3.0967 | 188.9 | 5.2167 | 57.8167 | 4.86 | 235.6133 | 25.99 | 885 | 67.852 | 7.688
2019-06-30 19:15:00 | 2.71 | 282.8633 | 3.1167 | 310.8333 | 5.1567 | 44.73 | 4.9167 | 57.2867 | 25.1533 | 885 | 69.3167 | 8.25
2019-06-30 19:30:00 | 2.8167 | 274.91 | 3.2367 | 302.1 | 5.53 | 1.3967 | 5.2167 | 4.1667 | 24 | 885 | 73.03 | 6.22
2019-06-30 19:45:00 | 2.604 | 212.484 | 2.996 | 233.4967 | 5.0073 | 4.2313 | 4.7213 | 8.0767 | 23.226 | 884.2667 | 75.842 | 4.9147
2019-06-30 20:00:00 | 2.8067 | 195.9733 | 3.2333 | 215.35 | 5.45 | 8.2233 | 5.1933 | 9.6367 | 22.71 | 884 | 77.5233 | 4.2113
2019-06-30 20:15:00 | 2.6733 | 312.7967 | 3.08 | 343.7333 | 4.79 | 11.7267 | 4.9133 | 14.8333 | 22.1467 | 884 | 78.5533 | 3.8387
2019-06-30 20:30:00 | 2.5933 | 318.99 | 2.9933 | 350.5333 | 4.8167 | 14.7733 | 5.02 | 19.9667 | 21.84 | 884 | 79.4533 | 3.4047
2019-06-30 20:45:00 | 2.8333 | 289.6667 | 3.2567 | 318.3 | 4.1967 | 3.7933 | 4.4067 | 13.3433 | 21.7533 | 884 | 79.7687 | 4.7067
2019-06-30 21:00:00 | 3.2933 | 254.48 | 3.79 | 279.6333 | 4.8567 | 6.98 | 5.1533 | 12.4233 | 21.9533 | 884 | 80.4567 | 5.0853
2019-06-30 21:15:00 | 3.3767 | 322.0467 | 3.8833 | 353.9 | 4.8067 | 240.1933 | 5.0433 | 11.9333 | 22.078 | 884 | 80.7333 | 4.524
2019-06-30 21:30:00 | 2.93 | 318.3467 | 3.37 | 349.8333 | 4.76 | 3.7067 | 5.0567 | 18.4733 | 21.9367 | 884 | 82 | 4.0873
2019-06-30 21:45:00 | 3.53 | 219.2433 | 4.0633 | 240.9233 | 4.9167 | 5.86 | 4.9867 | 10.0433 | 21.66 | 884 | 84.3667 | 4.6753
2019-06-30 22:00:00 | 3.6033 | 4.03 | 4.15 | 4.4233 | 5.0033 | 15.5333 | 4.8 | 17.27 | 21.4667 | 884 | 85.5 | 5.3687
2019-06-30 22:15:00 | 3.5733 | 89.3733 | 4.1133 | 98.2067 | 5.28 | 12.2467 | 5.1467 | 12.8133 | 21.3207 | 884 | 86.2667 | 3.49
2019-06-30 22:30:00 | 3.4667 | 291.6933 | 3.9867 | 320.5333 | 5.24 | 18.6 | 4.9067 | 9.6733 | 20.99 | 884 | 87.5333 | 5.0293
2019-06-30 22:45:00 | 3.4133 | 302.2067 | 3.9267 | 332.1 | 5.4767 | 18.7933 | 5.52 | 19.0033 | 20.5867 | 884 | 88.9 | 4.6247
2019-06-30 23:00:00 | 3.0933 | 102.7667 | 3.5667 | 112.9267 | 5.4433 | 6.8867 | 5.34 | 8.6367 | 20.3067 | 884 | 90.2333 | 2.8067
2019-06-30 23:15:00 | 3.3 | 315.3767 | 3.7933 | 346.5667 | 4.9033 | 12.0033 | 5.0067 | 21.3 | 20.112 | 884 | 90.9667 | 2.1633
2019-06-30 23:30:00 | 3.48 | 310.7167 | 4 | 341.4333 | 4.9367 | 7.73 | 4.9333 | 16.66 | 20.18 | 884 | 90.2333 | 1.7853
2019-06-30 23:45:00 | 3.5833 | 213.87 | 4.1233 | 235.0167 | 4.8533 | 7.4867 | 4.7933 | 20.2333 | 20.0887 | 884 | 90.5 | 1.9647