## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-01 00:00:00 | 3.61 | 206.7543 | 4.15 | 227.2036 | 4.7571 | 6.5636 | 4.6779 | 15.2629 | 19.755 | 884 | 91.9 | 1.4357
2019-07-01 00:15:00 | 3.9533 | 322.1967 | 4.5533 | 354.0667 | 4.7767 | 3.2767 | 4.8733 | 20.43 | 19.8867 | 884 | 90.8667 | 1.5873
2019-07-01 00:30:00 | 4.18 | 320.2033 | 4.8133 | 351.8667 | 4.9833 | 2.79 | 5.12 | 17.95 | 19.7133 | 884 | 91.2667 | 1.6713
2019-07-01 00:45:00 | 4.4267 | 107.8767 | 5.09 | 118.5467 | 5.3867 | 1.1667 | 5.6433 | 16.49 | 19.5933 | 884 | 90.8067 | 3.1793
2019-07-01 01:00:00 | 4.28 | 309.5833 | 4.9233 | 340.2 | 5.5067 | 35.5267 | 5.954 | 13.6433 | 19.3533 | 884 | 91.6333 | 3.9733
2019-07-01 01:15:00 | 3.9867 | 206.8033 | 4.5867 | 227.2567 | 5.58 | 2.33 | 6.2 | 12.6667 | 19.14 | 883.2667 | 91.4667 | 4.444
2019-07-01 01:30:00 | 3.86 | 213.6633 | 4.44 | 234.79 | 5.4333 | 17.09 | 6.1133 | 13.2667 | 18.9133 | 883 | 92.0667 | 2.8193
2019-07-01 01:45:00 | 4.2067 | 309.0733 | 4.8533 | 339.6333 | 5.51 | 9.98 | 5.85 | 19.2133 | 18.868 | 883 | 91.2 | 1.2167
2019-07-01 02:00:00 | 4.06 | 313.9267 | 4.68 | 344.9667 | 5.37 | 8.18 | 5.5033 | 19.4267 | 18.7267 | 883 | 91.0667 | 1.4233
2019-07-01 02:15:00 | 4.0533 | 108.5733 | 4.6633 | 119.3033 | 5.6933 | 6.8033 | 6.0233 | 20.4133 | 18.3133 | 883 | 93.1333 | 2.914
2019-07-01 02:30:00 | 3.9867 | 189.9867 | 4.5967 | 208.77 | 5.5133 | 39.2567 | 5.89 | 20.0867 | 18.208 | 883 | 94.24 | 3.7467
2019-07-01 02:45:00 | 3.9933 | 203.42 | 4.6033 | 223.5267 | 5.8967 | 11.4467 | 6.3667 | 18.27 | 18.1133 | 883 | 95.3067 | 6.218
2019-07-01 03:00:00 | 3.84 | 4.584 | 4.42 | 5.028 | 5.944 | 10.102 | 6.424 | 15.678 | 17.986 | 883 | 95.7 | 5.9127
2019-07-01 03:15:00 | 3.68 | 120.85 | 4.24 | 132.7933 | 5.86 | 4.3967 | 6.2033 | 18.2067 | 17.78 | 883 | 96.0667 | 7.124
2019-07-01 03:30:00 | 3.7067 | 285.4033 | 4.2733 | 313.6333 | 5.84 | 34.5967 | 6.11 | 11.8267 | 17.732 | 883 | 95.5333 | 7.4093
2019-07-01 03:45:00 | 3.72 | 216.9433 | 4.2833 | 238.3967 | 5.8133 | 233.3 | 5.5933 | 6.8833 | 17.672 | 883 | 95.5733 | 5.8953
2019-07-01 04:00:00 | 4.26 | 4.35 | 4.91 | 4.7767 | 5.7467 | 238.1667 | 5.7533 | 8.3633 | 17.6467 | 883 | 96.0667 | 6.336
2019-07-01 04:15:00 | 4.2967 | 169.7747 | 4.9433 | 186.556 | 6.0553 | 52.0113 | 6.4027 | 14.368 | 17.6487 | 883 | 96.0933 | 6.7487
2019-07-01 04:30:00 | 3.77 | 1.8667 | 4.3367 | 2.04 | 5.57 | 3.27 | 6.1933 | 12.7667 | 17.4633 | 883 | 96.5333 | 8.364
2019-07-01 04:45:00 | 4.08 | 310.35 | 4.6933 | 341.0333 | 7.0567 | 3.2467 | 7.4567 | 12.5067 | 17.1367 | 883 | 96.56 | 9.8633
2019-07-01 05:00:00 | 4.52 | 264.9633 | 5.2067 | 291.1667 | 7.1633 | 9.9267 | 7.69 | 12.9933 | 16.8767 | 883 | 96.2667 | 11.0227
2019-07-01 05:15:00 | 4.69 | 204.47 | 5.39 | 224.6867 | 7.4867 | 3.3867 | 7.94 | 19.89 | 16.8133 | 883 | 97.0667 | 12.4987
2019-07-01 05:30:00 | 4.9367 | 63.6567 | 5.6767 | 69.9533 | 7.4133 | 9.14 | 8.08 | 11.51 | 16.792 | 883 | 98.3333 | 12.2593
2019-07-01 05:45:00 | 4.4267 | 139.718 | 5.094 | 153.528 | 7.268 | 118.7173 | 8.3013 | 14.7413 | 16.6353 | 883 | 98.8733 | 11.7593
2019-07-01 06:00:00 | 4.2467 | 310.7967 | 4.89 | 341.5333 | 7.1 | 131.3 | 8.3067 | 13.94 | 16.45 | 883 | 99.3667 | 12.7113
2019-07-01 06:15:00 | 4.3293 | 300.1607 | 4.9873 | 329.8467 | 7.5827 | 181.8767 | 8.29 | 11.7673 | 16.346 | 883 | 99.8533 | 12.8133
2019-07-01 06:30:00 | 4.46 | 111.61 | 5.13 | 122.64 | 7.6133 | 0.29 | 8.3767 | 12.25 | 16.322 | 883 | 100 | 11.5947
2019-07-01 06:45:00 | 5.0633 | 6.43 | 5.82 | 7.0533 | 7.7533 | 3.0333 | 8.6967 | 15.1967 | 16.3413 | 883 | 100 | 11.5187
2019-07-01 07:00:00 | 4.8767 | 202.97 | 5.6133 | 223.04 | 7.4067 | 14.52 | 8.4167 | 11.9233 | 16.2533 | 883 | 100 | 11.6167
2019-07-01 07:15:00 | 4.85 | 59.552 | 5.5773 | 65.444 | 7.532 | 3.1993 | 8.514 | 7.604 | 16.256 | 883 | 100 | 11.0307
2019-07-01 07:30:00 | 5.0333 | 207.5967 | 5.8 | 228.13 | 7.7067 | 2.2067 | 8.38 | 5.6567 | 16.36 | 883 | 100 | 11.0753
2019-07-01 07:45:00 | 5.2833 | 9.1167 | 6.0833 | 10.02 | 8.1027 | 0.57 | 8.6567 | 15.6033 | 16.5133 | 883.0667 | 100 | 10.9253
2019-07-01 08:00:00 | 5.3633 | 170.15 | 6.1767 | 186.98 | 8.52 | 3.55 | 9.07 | 18.1167 | 16.74 | 884 | 100 | 11.4593
2019-07-01 08:15:00 | 5.1267 | 117.7167 | 5.9033 | 129.3533 | 8.4267 | 8.3733 | 8.8767 | 14.1733 | 17.47 | 884 | 99.4667 | 10.9987
2019-07-01 08:30:00 | 5.2467 | 309.1967 | 6.0367 | 339.7667 | 8.4733 | 5.6533 | 9.11 | 18 | 18.4367 | 884 | 95.4667 | 10.96
2019-07-01 08:45:00 | 5.0733 | 217.0733 | 5.8333 | 238.5333 | 8.1933 | 4.66 | 8.7867 | 13.8067 | 19.4767 | 884.7333 | 90.7333 | 11.8893
2019-07-01 09:00:00 | 5.2067 | 13.44 | 6 | 14.7733 | 8.46 | 7.9933 | 8.7267 | 9.9933 | 20.0167 | 885 | 88.8 | 12.5767
2019-07-01 09:15:00 | 5.6233 | 289.2367 | 6.4767 | 317.8333 | 9.22 | 10.9867 | 9.1467 | 10.67 | 20.51 | 885 | 87.6067 | 11.2733
2019-07-01 09:30:00 | 5.1833 | 101.4567 | 5.9567 | 111.4933 | 8.52 | 14.52 | 8.56 | 12.97 | 21.03 | 885.4 | 85.3667 | 10.416
2019-07-01 09:45:00 | 5.2267 | 301.36 | 6.0113 | 331.1667 | 8.6967 | 5.6067 | 8.5467 | 18.7033 | 21.5467 | 886 | 84.2267 | 9.0487
2019-07-01 10:00:00 | 4.8987 | 178.1347 | 5.6353 | 195.748 | 8.0433 | 19.5587 | 7.8587 | 200.0807 | 22.0773 | 886 | 82.72 | 8.9933
2019-07-01 10:15:00 | 4.3833 | 229.9727 | 5.0427 | 252.7133 | 7.1067 | 12.9533 | 6.6387 | 7.454 | 22.8007 | 886 | 80.7613 | 7.4
2019-07-01 10:30:00 | 4.1333 | 254.9533 | 4.7567 | 280.1667 | 6.6033 | 9.7967 | 5.7367 | 12.59 | 23.2233 | 886 | 79.27 | 4.1327
2019-07-01 10:45:00 | 3.6927 | 41.5693 | 4.2453 | 45.6753 | 5.8747 | 11.9767 | 4.9873 | 6.2927 | 23.5653 | 886 | 78.4193 | 1.8867
2019-07-01 11:00:00 | 3.3167 | 201.94 | 3.8133 | 221.91 | 5.0067 | 8.7367 | 4.33 | 14.47 | 23.7 | 886 | 78.3033 | 0.95467
2019-07-01 11:15:00 | 3.0867 | 123.07 | 3.5533 | 135.2333 | 4.1633 | 17.7033 | 3.9067 | 235.41 | 23.704 | 886 | 78.2707 | 0.502
2019-07-01 11:30:00 | 2.9267 | 109.5367 | 3.3667 | 120.36 | 3.8833 | 21.5433 | 3.3867 | 5.9433 | 23.9467 | 886 | 77.9133 | 0
2019-07-01 11:45:00 | 2.6767 | 208.75 | 3.0767 | 229.3967 | 3.8567 | 23.9133 | 3.2667 | 17.2967 | 24.6333 | 886 | 75.6733 | 0
2019-07-01 12:00:00 | 2.3033 | 38.7033 | 2.65 | 42.5233 | 3.19 | 16.5733 | 2.6333 | 23.29 | 24.9667 | 886 | 73.3267 | 0
2019-07-01 12:15:00 | 1.8613 | 248.2513 | 2.144 | 272.8027 | 2.332 | 6.9047 | 1.672 | 260.8027 | 25.0793 | 886 | 71.9373 | 0
2019-07-01 12:30:00 | 1.52 | 26.9167 | 1.7567 | 29.58 | 1.85 | 11.8 | 0.97 | 12.2767 | 25.3567 | 886 | 70.19 | 0
2019-07-01 12:45:00 | 1.5933 | 20.3067 | 1.83 | 22.3167 | 2.1467 | 7.8733 | 1.6733 | 346.0333 | 26.09 | 886 | 69.0767 | 0
2019-07-01 13:00:00 | 1.1267 | 72.0267 | 1.2967 | 79.1433 | 1.3267 | 78.8733 | 1.1533 | 196.4333 | 26.7433 | 886 | 66.87 | 0
2019-07-01 13:15:00 | 1.684 | 142.198 | 1.94 | 156.26 | 2.036 | 187.5 | 1.848 | 166.4 | 27.434 | 886 | 63.862 | 0
2019-07-01 13:30:00 | 2.08 | 144.2967 | 2.3933 | 158.5667 | 2.5867 | 169.8333 | 2.2867 | 174.6 | 27.9567 | 886 | 60.91 | 0
2019-07-01 13:45:00 | 2.8833 | 173.5467 | 3.3133 | 190.7 | 3.3833 | 165 | 2.93 | 195 | 28.3867 | 886 | 54.12 | 0
2019-07-01 14:00:00 | 2.21 | 167.9 | 2.54 | 184.5 | 2.6433 | 215.4 | 2.55 | 231 | 28.4267 | 886 | 52.9067 | 0
2019-07-01 14:15:00 | 2.54 | 164.8067 | 2.92 | 181.1 | 3.4767 | 226.2667 | 3.4767 | 230.4333 | 29.03 | 886 | 46.6033 | 0
2019-07-01 14:30:00 | 2.4533 | 185.0133 | 2.82 | 203.3 | 3.1767 | 220.6 | 3.2967 | 240.3 | 29.35 | 886 | 43.2433 | 0.27667
2019-07-01 14:45:00 | 2.6933 | 138.3767 | 3.1067 | 152.0667 | 3.4467 | 160.4667 | 3.43 | 188.1333 | 29.4907 | 886 | 42.73 | 0.69867
2019-07-01 15:00:00 | 2.6733 | 176.6633 | 3.0733 | 194.1333 | 3.7067 | 212.9333 | 3.5833 | 205 | 29.68 | 886 | 43.13 | 0.576
2019-07-01 15:15:00 | 2.218 | 175.13 | 2.552 | 192.4533 | 2.8433 | 166.7133 | 2.9947 | 221.56 | 29.9187 | 886 | 42.0647 | 0.486
2019-07-01 15:30:00 | 2.9267 | 165.3533 | 3.3667 | 181.7 | 3.8867 | 178.7333 | 3.7367 | 189.0667 | 30.0467 | 886.4 | 43.57 | 1.1293
2019-07-01 15:45:00 | 2.3533 | 158.98 | 2.7067 | 174.7 | 3.06 | 222.0667 | 3.0967 | 210.7333 | 30.0067 | 887 | 44.3867 | 0.59133
2019-07-01 16:00:00 | 2.0867 | 172.0267 | 2.4067 | 189.0333 | 3.0533 | 232.6 | 3.19 | 217.4667 | 30.4933 | 887 | 45.4133 | 0.816
2019-07-01 16:15:00 | 2.3533 | 171 | 2.71 | 187.9 | 3.0533 | 230.3667 | 3.1933 | 210.1 | 30.5013 | 887 | 44.4667 | 0.81733
2019-07-01 16:30:00 | 1.78 | 164.44 | 2.0567 | 180.7 | 2.5667 | 234.5667 | 2.86 | 233.8333 | 30.6333 | 887 | 44.4467 | 1.4387
2019-07-01 16:45:00 | 1.982 | 160.4947 | 2.2853 | 176.3667 | 2.7993 | 241.9667 | 2.9267 | 242.04 | 30.8753 | 887 | 45.182 | 1.5993
2019-07-01 17:00:00 | 2.5367 | 182.6967 | 2.9167 | 200.7667 | 3.4567 | 237.7667 | 3.6167 | 231.7333 | 30.4567 | 887 | 45.2433 | 1.2553
2019-07-01 17:15:00 | 1.9467 | 206.78 | 2.24 | 227.2333 | 2.7233 | 214.8333 | 2.66 | 232.7667 | 30.3233 | 886.2667 | 45.24 | 1.284
2019-07-01 17:30:00 | 1.6133 | 137.14 | 1.8533 | 150.7 | 2.4633 | 202.1 | 2.44 | 218.98 | 30.1233 | 886 | 46.72 | 1.6707
2019-07-01 17:45:00 | 2.0833 | 183.43 | 2.4067 | 201.5667 | 3.28 | 242.6667 | 3.42 | 239.0333 | 29.6987 | 886 | 47.67 | 1.1247
2019-07-01 18:00:00 | 2.0367 | 192.178 | 2.34 | 211.18 | 3.2 | 244 | 3.3 | 239.8333 | 28.8933 | 885.6 | 49.35 | 1.586
2019-07-01 18:15:00 | 2.1867 | 203.0833 | 2.5167 | 223.1667 | 3.4133 | 241.7 | 3.48 | 246.9267 | 28.4767 | 885 | 50.49 | 1.9333
2019-07-01 18:30:00 | 2.1733 | 193.3767 | 2.4967 | 212.5 | 3.3733 | 241.5667 | 3.6733 | 245.7667 | 28.5567 | 885 | 49.6567 | 1.338
2019-07-01 18:45:00 | 1.992 | 186.3633 | 2.294 | 204.7867 | 2.9973 | 241.64 | 3.1933 | 241.7333 | 28.8293 | 885 | 47.0013 | 1.8353
2019-07-01 19:00:00 | 2.082 | 221.086 | 2.39 | 242.94 | 3.248 | 246.58 | 3.528 | 243.66 | 28.826 | 885 | 46.208 | 2.4673
2019-07-01 19:15:00 | 1.8733 | 179.73 | 2.1667 | 197.5 | 2.86 | 233.2667 | 3.18 | 249.5333 | 28.6733 | 885 | 44.65 | 3.7047
2019-07-01 19:30:00 | 1.7533 | 184.89 | 2.02 | 203.1667 | 2.4267 | 232.6 | 2.6067 | 234.2 | 27.9333 | 885 | 45.4433 | 2.722
2019-07-01 19:45:00 | 1.7433 | 175.9667 | 2.0133 | 193.3667 | 2.39 | 210 | 2.8867 | 225.6067 | 27.6 | 884.9333 | 46.37 | 2.2353
2019-07-01 20:00:00 | 1.9233 | 177.54 | 2.22 | 195.1 | 2.7433 | 212.0667 | 2.84 | 217.5667 | 27.3733 | 884 | 48.09 | 2.0493
2019-07-01 20:15:00 | 1.84 | 171.9267 | 2.13 | 188.9333 | 2.52 | 202.4667 | 2.5433 | 206.3333 | 27.05 | 884 | 49.5167 | 1.8667
2019-07-01 20:30:00 | 1.96 | 160.8333 | 2.2567 | 176.7333 | 2.7267 | 181 | 3.1233 | 185.4667 | 26.77 | 884 | 50.5767 | 2.5727
2019-07-01 20:45:00 | 2.8333 | 170.0233 | 3.2667 | 186.8333 | 3.76 | 182.1 | 4.2267 | 195.6667 | 26.35 | 884 | 53.6333 | 5.432
2019-07-01 21:00:00 | 3.08 | 168.69 | 3.5467 | 185.3667 | 3.8067 | 196.2333 | 4.2667 | 190.4 | 26.226 | 884 | 56.5 | 3.7507
2019-07-01 21:15:00 | 2.49 | 164.68 | 2.86 | 180.9667 | 3.2567 | 174.8333 | 3.9333 | 186.3667 | 25.79 | 884 | 59.7667 | 2.4647
2019-07-01 21:30:00 | 2.4967 | 154.1267 | 2.8733 | 169.3667 | 3.2567 | 173.2333 | 3.6333 | 173.7 | 25.5233 | 884 | 61.4467 | 2.5047
2019-07-01 21:45:00 | 2.5133 | 144.6367 | 2.9 | 158.9333 | 3.2067 | 173.7333 | 3.5 | 174.7333 | 25.2633 | 884.0667 | 62.94 | 1.982
2019-07-01 22:00:00 | 2.63 | 152.804 | 3.024 | 167.92 | 3.318 | 171.24 | 3.736 | 168.68 | 25.078 | 885 | 63.784 | 1.52
2019-07-01 22:15:00 | 2.55 | 137.8933 | 2.9367 | 151.5333 | 3.22 | 157.1667 | 3.63 | 166.4 | 24.88 | 885 | 64.5633 | 1.3227
2019-07-01 22:30:00 | 2.6367 | 141.6533 | 3.0433 | 155.6667 | 3.4 | 161.2333 | 3.9433 | 169.8 | 24.76 | 885 | 65.1567 | 1.804
2019-07-01 22:45:00 | 2.7867 | 174.2933 | 3.21 | 191.5333 | 3.5267 | 167.8 | 3.99 | 164.7667 | 24.7287 | 885 | 65.5267 | 2.354
2019-07-01 23:00:00 | 2.6333 | 161.74 | 3.03 | 177.7333 | 3.38 | 171.28 | 3.73 | 170.4333 | 24.6567 | 885 | 65.9467 | 1.7933
2019-07-01 23:15:00 | 2.282 | 172.796 | 2.626 | 189.88 | 3.07 | 163.04 | 3.776 | 168.82 | 24.506 | 885 | 66.672 | 1.544
2019-07-01 23:30:00 | 2.55 | 148.6933 | 2.9433 | 163.4 | 3.5567 | 170.1333 | 4.14 | 171.2333 | 24.438 | 885 | 67.2667 | 2.326
2019-07-01 23:45:00 | 2.5833 | 173.36 | 2.9667 | 190.5 | 3.5 | 174.4667 | 3.9133 | 177.0667 | 24.4473 | 885 | 67.812 | 1.7853