## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-02 00:00:00 | 1.9936 | 159.155 | 2.2971 | 174.8857 | 2.5886 | 164.65 | 3.0914 | 165.1214 | 24.4936 | 885 | 67.8829 | 1.0314
2019-07-02 00:15:00 | 2.05 | 163.44 | 2.3533 | 179.6 | 2.7533 | 175.7 | 3.3333 | 180.4667 | 24.3633 | 885 | 68.324 | 0.95467
2019-07-02 00:30:00 | 1.93 | 160.1067 | 2.2267 | 175.9333 | 2.76 | 178.1 | 3.5133 | 177.2 | 24.23 | 885 | 68.26 | 0.98667
2019-07-02 00:45:00 | 2.39 | 170.1667 | 2.75 | 187 | 3.19 | 179.5 | 4.0933 | 182.4667 | 23.8867 | 885 | 69.1267 | 1.0987
2019-07-02 01:00:00 | 2.3433 | 149.7333 | 2.6967 | 164.5333 | 3.07 | 179.3667 | 3.6467 | 184 | 23.5867 | 885 | 70.1467 | 1.404
2019-07-02 01:15:00 | 2.3333 | 180.8467 | 2.6867 | 198.7333 | 3.1767 | 173.5667 | 3.62 | 181.28 | 23.2567 | 885 | 71.1833 | 2.2767
2019-07-02 01:30:00 | 2.4933 | 172.18 | 2.8733 | 189.2 | 3.1633 | 176.4333 | 3.82 | 176 | 23.162 | 885 | 71.5967 | 2.558
2019-07-02 01:45:00 | 2.5533 | 165.92 | 2.94 | 182.3333 | 3.2067 | 185.1333 | 3.82 | 177.2667 | 23.1933 | 885 | 71.3133 | 2.062
2019-07-02 02:00:00 | 2.2667 | 166.8333 | 2.6067 | 183.3333 | 2.86 | 176.4667 | 3.58 | 177.4667 | 23.1267 | 885 | 71.4533 | 1.8387
2019-07-02 02:15:00 | 2.3267 | 169.1767 | 2.6733 | 185.9 | 2.98 | 175.72 | 3.6633 | 185.5 | 23 | 884.9333 | 72.08 | 1.7093
2019-07-02 02:30:00 | 2.38 | 172.0233 | 2.7333 | 189.0333 | 3.2533 | 178 | 3.51 | 191.6333 | 22.84 | 884 | 72.396 | 1.296
2019-07-02 02:45:00 | 1.9667 | 157.1067 | 2.2667 | 172.6333 | 2.7333 | 178.5133 | 3.0233 | 183.6667 | 22.7213 | 884 | 72.7153 | 0.99733
2019-07-02 03:00:00 | 1.8533 | 154.2467 | 2.1333 | 169.5 | 2.4933 | 172.5 | 3.3233 | 185 | 22.8933 | 884 | 72.1233 | 1.3993
2019-07-02 03:15:00 | 1.3467 | 159.8633 | 1.5467 | 175.6667 | 2.0333 | 175.1 | 3.14 | 184.2333 | 23.0133 | 884 | 71.8067 | 0.27267
2019-07-02 03:30:00 | 0.33333 | 132.51 | 0.38 | 145.6 | 0.62 | 178.3 | 1.8133 | 193.5 | 22.8933 | 884 | 72.5333 | 0.21133
2019-07-02 03:45:00 | 0.28333 | 178.1267 | 0.33333 | 195.7333 | 0.43333 | 179.6067 | 1.6 | 201.0667 | 22.8547 | 884 | 72.8033 | 0.093333
2019-07-02 04:00:00 | 0.67667 | 192.92 | 0.78 | 212 | 1.1867 | 179.7 | 1.8667 | 192 | 22.884 | 884 | 72.534 | 0.058
2019-07-02 04:15:00 | 0.72667 | 220.89 | 0.83333 | 242.7333 | 1.1267 | 179.7 | 1.7967 | 184.3333 | 22.63 | 884 | 73.8233 | 0
2019-07-02 04:30:00 | 0.87333 | 308.7967 | 1.0133 | 339.3333 | 0.19333 | 179.7 | 1.1167 | 159.4 | 22.1367 | 884 | 76.2367 | 0
2019-07-02 04:45:00 | 1.2867 | 318.8333 | 1.49 | 350.3667 | 0.40333 | 207.4667 | 0.73333 | 127.4 | 21.1667 | 884 | 80.2067 | 0
2019-07-02 05:00:00 | 1.38 | 312.6533 | 1.59 | 343.5667 | 0.61 | 348.3333 | 0.24667 | 132.2 | 21.1467 | 884 | 80.22 | 0
2019-07-02 05:15:00 | 2.0567 | 308.95 | 2.3767 | 339.5 | 1.9667 | 3.2767 | 0.15 | 96.4433 | 21.2027 | 884 | 79.4767 | 0
2019-07-02 05:30:00 | 2.75 | 311.3167 | 3.1633 | 342.1 | 2.96 | 12.5433 | 1.2567 | 14.5633 | 21.06 | 884 | 80.15 | 0
2019-07-02 05:45:00 | 2.9767 | 312.3867 | 3.4333 | 343.2667 | 3.46 | 10.64 | 1.8833 | 10.72 | 20.9853 | 884 | 80.3333 | 0
2019-07-02 06:00:00 | 2.9767 | 306.0133 | 3.4333 | 336.2667 | 3.36 | 8.2467 | 1.97 | 14.7867 | 20.972 | 884 | 80.4 | 0
2019-07-02 06:15:00 | 2.93 | 290.66 | 3.37 | 319.4 | 3.46 | 10.8967 | 2.75 | 24.08 | 20.9767 | 884 | 80.6 | 0
2019-07-02 06:30:00 | 2.7767 | 305.0333 | 3.1967 | 335.2 | 3.3 | 5.45 | 3.11 | 16.0333 | 21.01 | 884 | 80.5333 | 0
2019-07-02 06:45:00 | 2.6733 | 307.4267 | 3.0767 | 337.8333 | 3.21 | 9.3633 | 2.71 | 3.8667 | 21.0007 | 884 | 81.1333 | 0
2019-07-02 07:00:00 | 2.2933 | 305.3067 | 2.6433 | 335.5 | 2.8833 | 10.1433 | 2.3033 | 8.74 | 21.0433 | 884 | 81.36 | 0
2019-07-02 07:15:00 | 2.1667 | 305.5233 | 2.5 | 335.7333 | 2.4567 | 15.0333 | 1.35 | 17.1867 | 21.4233 | 884 | 80.5 | 0
2019-07-02 07:30:00 | 2.28 | 296.2433 | 2.62 | 325.5333 | 2.5967 | 243.2467 | 1.5633 | 30.9133 | 21.4167 | 884 | 80.7 | 0
2019-07-02 07:45:00 | 2.83 | 316.9533 | 3.2567 | 348.3 | 3.4267 | 354.7667 | 2.7333 | 8.0033 | 21.14 | 884.7333 | 83 | 0
2019-07-02 08:00:00 | 2.3567 | 315.44 | 2.7167 | 346.6333 | 2.8533 | 163.2533 | 1.8933 | 9.9767 | 21.4467 | 885 | 81.4667 | 0
2019-07-02 08:15:00 | 1.6267 | 310.0767 | 1.8667 | 340.7333 | 1.6933 | 238.42 | 0.073333 | 4.57 | 21.9 | 885 | 79.7067 | 0
2019-07-02 08:30:00 | 1.9667 | 320.5633 | 2.26 | 352.2667 | 2.1267 | 0.58667 | 0.29333 | 1.6833 | 21.54 | 885 | 80.72 | 0
2019-07-02 08:45:00 | 2.0707 | 127.924 | 2.3847 | 140.5687 | 2.262 | 119.0333 | 0.40133 | 116.1267 | 21.8493 | 885 | 79.9533 | 0
2019-07-02 09:00:00 | 1.6867 | 317.7833 | 1.95 | 349.2 | 1.72 | 356.8 | 0.013333 | 347.9 | 22.18 | 885 | 79.212 | 0
2019-07-02 09:15:00 | 2.2 | 106.32 | 2.5267 | 116.8333 | 2.4 | 355.0333 | 1.0433 | 0.50667 | 22.6933 | 885.7333 | 78.1833 | 0
2019-07-02 09:30:00 | 1.4533 | 308.7933 | 1.6667 | 339.3333 | 1.4267 | 347.4333 | 0.63 | 161.7467 | 23.48 | 886 | 75.9633 | 0
2019-07-02 09:45:00 | 1.4267 | 108.3133 | 1.65 | 119.0133 | 1.5033 | 239.36 | 0.83667 | 306.1 | 23.9033 | 886 | 75.6933 | 0
2019-07-02 10:00:00 | 1.5333 | 108.2933 | 1.77 | 119 | 1.89 | 2.0133 | 1.0433 | 314.8333 | 23.9633 | 886 | 73.8467 | 0
2019-07-02 10:15:00 | 1.9733 | 300.7033 | 2.2833 | 330.4333 | 2.5133 | 11.6767 | 1.6233 | 238.19 | 23.8667 | 886 | 74.1633 | 0
2019-07-02 10:30:00 | 2.3133 | 104.6833 | 2.6633 | 115.0333 | 2.8667 | 7.7567 | 2.2367 | 0.97 | 23.744 | 886 | 75.7967 | 0
2019-07-02 10:45:00 | 2 | 109.1467 | 2.2967 | 119.94 | 2.0933 | 115.5333 | 0.81333 | 351.9333 | 23.7133 | 886 | 77.4167 | 0
2019-07-02 11:00:00 | 0.68667 | 305.8 | 0.79 | 336.0333 | 0.71333 | 304.3 | 0.38 | 262.4667 | 24.32 | 886 | 76.054 | 0
2019-07-02 11:15:00 | 0.82 | 243.0433 | 0.94333 | 267.0667 | 1.1267 | 203.5 | 1.24 | 191.2333 | 25.2767 | 886 | 75.0127 | 0
2019-07-02 11:30:00 | 1.52 | 165.75 | 1.7567 | 182.1333 | 1.8267 | 158.5667 | 1.8067 | 165.7667 | 26.0167 | 886.4 | 73.5967 | 0
2019-07-02 11:45:00 | 1.85 | 129.4367 | 2.14 | 142.2333 | 2.1833 | 180.2 | 2.1867 | 181.2667 | 26.06 | 887 | 71.98 | 0
2019-07-02 12:00:00 | 2.1367 | 138.6567 | 2.46 | 152.3667 | 2.3567 | 168 | 2.3 | 186.8667 | 26.02 | 887 | 72.08 | 0
2019-07-02 12:15:00 | 2.4067 | 179.58 | 2.7733 | 197.3333 | 2.82 | 183.4667 | 2.7633 | 171.3333 | 26.3433 | 887 | 70.0133 | 0
2019-07-02 12:30:00 | 2.12 | 163.2 | 2.4467 | 179.3333 | 2.4733 | 191.3333 | 2.3767 | 181.8667 | 26.0307 | 887 | 72.28 | 0
2019-07-02 12:45:00 | 1.3633 | 178.4 | 1.5733 | 196.0333 | 1.9367 | 236.6 | 1.9167 | 224.6333 | 26.036 | 887 | 74.1533 | 0
2019-07-02 13:00:00 | 1.1433 | 158.8 | 1.32 | 174.5 | 1.7433 | 247.8667 | 1.7433 | 250.6333 | 26.1247 | 887 | 73.2933 | 0
2019-07-02 13:15:00 | 0.88 | 150.0067 | 1.02 | 164.8333 | 1.0567 | 189.0667 | 0.45667 | 203.5667 | 26.174 | 887 | 73.6067 | 0
2019-07-02 13:30:00 | 0.4 | 130.4733 | 0.46 | 143.3667 | 0.49 | 143.8 | 0.16333 | 216.2333 | 26.1527 | 887 | 73.5333 | 0
2019-07-02 13:45:00 | 0.5 | 19.2033 | 0.58 | 21.1 | 0.69 | 119.4467 | 0.84333 | 312.0667 | 26.56 | 886.6 | 73.2767 | 0
2019-07-02 14:00:00 | 0.65333 | 121.9633 | 0.75333 | 134.0267 | 0.89667 | 125.9067 | 0.85667 | 129.9467 | 26.56 | 886 | 74.6633 | 0
2019-07-02 14:15:00 | 1.4933 | 312.6433 | 1.7133 | 343.5667 | 2.6267 | 21.35 | 2.19 | 25.74 | 27.35 | 886 | 73.5933 | 0
2019-07-02 14:30:00 | 2.048 | 128.88 | 2.362 | 141.626 | 3.714 | 14.118 | 3.302 | 29.618 | 27.1587 | 886.6667 | 73.282 | 0
2019-07-02 14:45:00 | 2.66 | 303.61 | 3.0567 | 333.6333 | 4.8067 | 22.2267 | 4.5633 | 23.98 | 26.5467 | 886 | 75.4367 | 0
2019-07-02 15:00:00 | 2.74 | 313.99 | 3.15 | 345.0333 | 5.1333 | 23.5867 | 4.9833 | 19.3333 | 25.9 | 886 | 77.0433 | 0
2019-07-02 15:15:00 | 3.0467 | 255.3533 | 3.5 | 280.6 | 5.6267 | 14.9467 | 5.72 | 24.2533 | 25.32 | 886 | 80.3133 | 0
2019-07-02 15:30:00 | 3.06 | 139.6533 | 3.5267 | 153.4667 | 5.7533 | 12.0667 | 5.76 | 13.4533 | 24.9667 | 886 | 82.5 | 0
2019-07-02 15:45:00 | 3.0133 | 110.8967 | 3.4733 | 121.8533 | 5.4133 | 19.1433 | 5.3767 | 16.8933 | 24.4467 | 885.4667 | 83.6333 | 0
2019-07-02 16:00:00 | 2.8 | 321.75 | 3.22 | 353.5667 | 5.1133 | 10.8833 | 4.9633 | 13.46 | 24.16 | 885 | 84.7 | 0
2019-07-02 16:15:00 | 3.0933 | 19.7067 | 3.5667 | 21.6533 | 5.3867 | 10.5233 | 5.18 | 14.0633 | 23.7867 | 885 | 85.5667 | 0
2019-07-02 16:30:00 | 3.1933 | 27.82 | 3.6733 | 30.5667 | 5.9467 | 9.65 | 5.5933 | 8.41 | 23.52 | 885 | 86.3 | 0
2019-07-02 16:45:00 | 3.3133 | 220.51 | 3.81 | 242.31 | 5.9533 | 11.0967 | 5.5767 | 13.1267 | 23.21 | 885 | 87.2 | 0
2019-07-02 17:00:00 | 3.44 | 119.8033 | 3.9633 | 131.6433 | 6.5933 | 13.95 | 6.41 | 20.76 | 23.03 | 884.1333 | 88.0667 | 0
2019-07-02 17:15:00 | 3.8367 | 199.5933 | 4.4133 | 219.3333 | 7.12 | 12.65 | 6.95 | 16.8567 | 22.8633 | 884 | 87.8067 | 0
2019-07-02 17:30:00 | 3.8767 | 227.32 | 4.4533 | 249.8 | 7.2067 | 16.1833 | 7.2367 | 25.4567 | 22.6967 | 884 | 88.1 | 0
2019-07-02 17:45:00 | 3.9933 | 51.43 | 4.59 | 56.5133 | 7.5967 | 14.5 | 7.3667 | 14.3833 | 22.4867 | 884 | 88.9667 | 0
2019-07-02 18:00:00 | 4.2733 | 206.0833 | 4.9233 | 226.4667 | 8.0567 | 16.64 | 7.9533 | 18.6433 | 22.3467 | 884 | 89.54 | 0
2019-07-02 18:15:00 | 4.3967 | 15.3967 | 5.0667 | 16.9167 | 8.3167 | 15.2667 | 8.3 | 17.1033 | 22.2387 | 884 | 89.4 | 0
2019-07-02 18:30:00 | 4.4567 | 64.8633 | 5.1267 | 71.2767 | 8.21 | 9.1733 | 8.0533 | 17.95 | 22.216 | 884 | 89.2667 | 0
2019-07-02 18:45:00 | 4.46 | 89.72 | 5.13 | 98.5867 | 8.0567 | 13.26 | 8.0733 | 16.7467 | 22.1333 | 884 | 89.42 | 0
2019-07-02 19:00:00 | 4.3 | 77.9533 | 4.9567 | 85.66 | 8.0567 | 13.7333 | 8.0067 | 16.5867 | 22.0333 | 884 | 89.82 | 0
2019-07-02 19:15:00 | 4.4267 | 38.83 | 5.0967 | 42.6633 | 7.2667 | 9.6367 | 7.0867 | 2.3933 | 21.9033 | 884 | 89.6333 | 0
2019-07-02 19:30:00 | 4.44 | 221.8167 | 5.1167 | 243.75 | 7.1467 | 26.9367 | 6.7533 | 5.7133 | 21.874 | 884 | 89.3 | 0
2019-07-02 19:45:00 | 4.4233 | 29.8033 | 5.0933 | 32.7433 | 7.06 | 1.12 | 6.8067 | 2.1867 | 21.8387 | 884 | 89.4667 | 0
2019-07-02 20:00:00 | 3.9967 | 9.41 | 4.6067 | 10.3433 | 6.8933 | 9.46 | 6.8533 | 6.7733 | 21.6267 | 884 | 90.6 | 0
2019-07-02 20:15:00 | 3.8933 | 142.6 | 4.4767 | 156.6933 | 7.1767 | 11.93 | 6.97 | 8.0667 | 21.4033 | 884 | 91.7333 | 0
2019-07-02 20:30:00 | 4.3333 | 314.1733 | 4.9833 | 345.2333 | 7.8767 | 16.03 | 7.8167 | 12.72 | 21.318 | 884 | 92.04 | 0
2019-07-02 20:45:00 | 4.5067 | 130.5533 | 5.1867 | 143.4667 | 8.38 | 8.1667 | 8.49 | 17.6033 | 21.238 | 884 | 92.4 | 0
2019-07-02 21:00:00 | 4.94 | 144.8133 | 5.6867 | 159.1333 | 8.9067 | 8.1467 | 9.0167 | 17.67 | 21.214 | 884 | 92.56 | 0
2019-07-02 21:15:00 | 4.5867 | 199.8633 | 5.2767 | 219.6333 | 8.2567 | 15.92 | 8.4 | 11.43 | 21.22 | 884 | 92.5 | 0
2019-07-02 21:30:00 | 4.36 | 240.2767 | 5.0233 | 264.0333 | 7.6633 | 13.62 | 7.6067 | 12.2433 | 21.25 | 884 | 92.4333 | 0
2019-07-02 21:45:00 | 4.6867 | 306.7033 | 5.3933 | 337.0333 | 7.6867 | 10.14 | 8.0067 | 20.7133 | 21.27 | 884 | 92.5667 | 0
2019-07-02 22:00:00 | 4.6867 | 107.5833 | 5.3933 | 118.2133 | 8.3133 | 12.5067 | 8.4933 | 17.4267 | 21.2333 | 884 | 92.8667 | 0
2019-07-02 22:15:00 | 4.6933 | 3.7333 | 5.3933 | 4.1 | 7.87 | 123.3267 | 7.9367 | 34.41 | 21.2033 | 884 | 93.1667 | 0
2019-07-02 22:30:00 | 4.6 | 111.9667 | 5.2867 | 123.0333 | 7.6233 | 348.3 | 7.4367 | 37.6033 | 21.1567 | 884.3333 | 93.6 | 0
2019-07-02 22:45:00 | 4.52 | 268.7933 | 5.1967 | 295.3667 | 7.2533 | 221.8133 | 7.3233 | 13.2033 | 21.1407 | 885 | 93.92 | 0
2019-07-02 23:00:00 | 4.5533 | 323.7533 | 5.2367 | 355.7667 | 7.1067 | 228.5467 | 6.8833 | 8.2433 | 21.1347 | 885 | 94.1667 | 0
2019-07-02 23:15:00 | 4.6033 | 99.2133 | 5.3033 | 109.0267 | 7.8333 | 355.6667 | 7.38 | 352.0333 | 21.11 | 885 | 93.8333 | 0
2019-07-02 23:30:00 | 4.7367 | 81.32 | 5.45 | 89.36 | 7.4733 | 344.3333 | 7.1467 | 165.86 | 21.13 | 885 | 93.3667 | 0
2019-07-02 23:45:00 | 4.8967 | 13.4633 | 5.6267 | 14.79 | 7.2067 | 211.1933 | 6.99 | 239.2667 | 21.2 | 885 | 92.4667 | 0