## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-03 00:00:00 | 4.8979 | 16.2307 | 5.63 | 17.825 | 7.1343 | 220.9286 | 6.8464 | 15.5629 | 21.2021 | 885 | 92.5 | 0
2019-07-03 00:15:00 | 4.7067 | 109.3033 | 5.4167 | 120.1 | 7.3933 | 19.56 | 7.21 | 13.6067 | 21.0433 | 885 | 93.6067 | 0
2019-07-03 00:30:00 | 4.7333 | 285.31 | 5.4567 | 313.52 | 8.0733 | 6.44 | 7.99 | 14.58 | 20.9367 | 885 | 94.0333 | 0
2019-07-03 00:45:00 | 4.9867 | 289.5033 | 5.7333 | 318.1333 | 8.5733 | 9.0567 | 8.68 | 24.3567 | 20.8 | 884.2667 | 94.4667 | 0
2019-07-03 01:00:00 | 5.2467 | 285.5567 | 6.04 | 313.8 | 8.6867 | 12.5233 | 8.66 | 2.9233 | 20.748 | 884 | 94.7333 | 0
2019-07-03 01:15:00 | 5.36 | 21.67 | 6.1633 | 23.8067 | 8.4933 | 13.2867 | 8.3267 | 239.4667 | 20.7053 | 884 | 95.1067 | 0
2019-07-03 01:30:00 | 5.3933 | 100.9433 | 6.2033 | 110.92 | 9.3933 | 14.3067 | 9.3333 | 18.7133 | 20.6133 | 884 | 95.3333 | 0
2019-07-03 01:45:00 | 4.9233 | 15.3833 | 5.6633 | 16.8967 | 7.9467 | 14.77 | 7.87 | 12.0733 | 20.4733 | 884 | 95.7 | 0
2019-07-03 02:00:00 | 4.7767 | 54.2633 | 5.49 | 59.63 | 7.9067 | 17.6833 | 8.2967 | 9.4 | 20.4067 | 884 | 95.6333 | 0
2019-07-03 02:15:00 | 4.7733 | 101.6367 | 5.4933 | 111.6867 | 8.6367 | 121.1667 | 8.9933 | 11.3 | 20.32 | 884 | 95.2 | 0
2019-07-03 02:30:00 | 4.7333 | 101.5967 | 5.4467 | 111.64 | 7.8633 | 342.1667 | 7.62 | 14.6867 | 20.32 | 884 | 93.9333 | 0
2019-07-03 02:45:00 | 4.9667 | 15.5467 | 5.7133 | 17.08 | 7.57 | 344.4 | 7.36 | 6.5967 | 20.3933 | 884 | 93.7933 | 0
2019-07-03 03:00:00 | 5.1733 | 14.22 | 5.9467 | 15.62 | 8.3833 | 126.0533 | 8.44 | 16.3833 | 20.3593 | 884 | 94 | 0
2019-07-03 03:15:00 | 4.8133 | 179.6367 | 5.5467 | 197.4067 | 7.47 | 8.1167 | 7.5667 | 125.1733 | 20.3 | 883.6 | 94.3 | 0
2019-07-03 03:30:00 | 5.1067 | 199.11 | 5.8867 | 218.8067 | 7.7967 | 18.57 | 7.5467 | 125.74 | 20.2313 | 883 | 94.7667 | 0
2019-07-03 03:45:00 | 5.0733 | 33.7067 | 5.84 | 37.04 | 7.5933 | 110.6667 | 7.4533 | 115.3467 | 20.1267 | 883 | 95.1 | 0
2019-07-03 04:00:00 | 5.1 | 41.7133 | 5.88 | 45.8333 | 7.9333 | 330.8 | 7.72 | 118.4267 | 20.0773 | 883 | 94.6333 | 0
2019-07-03 04:15:00 | 5.2933 | 108.8567 | 6.09 | 119.62 | 8.4967 | 23.4167 | 8.32 | 24.43 | 20.052 | 883 | 92.7 | 0
2019-07-03 04:30:00 | 5.04 | 264.8367 | 5.7967 | 291.0333 | 8.65 | 7.01 | 8.7793 | 7.13 | 20.0193 | 883 | 92.8333 | 0
2019-07-03 04:45:00 | 5.3333 | 35.2767 | 6.1433 | 38.76 | 9.1833 | 9.0233 | 9 | 9.4033 | 19.86 | 883 | 93.5 | 0
2019-07-03 05:00:00 | 5.1467 | 43.9367 | 5.9233 | 48.2733 | 8.9233 | 7.4233 | 8.9067 | 11.3833 | 19.8047 | 883 | 93.6333 | 0
2019-07-03 05:15:00 | 5.21 | 220.9167 | 5.9967 | 242.76 | 8.7533 | 4.3433 | 8.9033 | 10.1733 | 19.71 | 883 | 93.8 | 0
2019-07-03 05:30:00 | 5.3567 | 193.1233 | 6.17 | 212.2267 | 8.9533 | 7.4033 | 8.6433 | 7.8067 | 19.7033 | 883 | 93.4667 | 0
2019-07-03 05:45:00 | 5.4273 | 223.3033 | 6.2467 | 245.3867 | 8.95 | 6.29 | 8.7433 | 11.2933 | 19.698 | 883 | 93.1933 | 0
2019-07-03 06:00:00 | 5.5133 | 27.7033 | 6.34 | 30.4467 | 7.95 | 8.33 | 7.95 | 15.02 | 19.7473 | 883 | 92.2 | 0
2019-07-03 06:15:00 | 5.3067 | 3.6433 | 6.1033 | 4.0033 | 7.7567 | 4.0967 | 7.5167 | 1.96 | 19.8267 | 883 | 91.4 | 0
2019-07-03 06:30:00 | 5.42 | 5.6433 | 6.2367 | 6.2033 | 7.8233 | 234.11 | 7.51 | 8.02 | 19.84 | 883 | 91.3333 | 0
2019-07-03 06:45:00 | 5.1 | 287.5433 | 5.8633 | 315.9667 | 7.6933 | 5.1567 | 7.5733 | 11.9867 | 19.872 | 883 | 91.0667 | 0
2019-07-03 07:00:00 | 4.9533 | 291.79 | 5.7033 | 320.6333 | 7.6933 | 0.41 | 7.7267 | 11.52 | 19.8353 | 883 | 91.6667 | 0
2019-07-03 07:15:00 | 4.84 | 119.0967 | 5.5733 | 130.8733 | 7.72 | 219.86 | 7.746 | 27.22 | 19.7233 | 883 | 92.6 | 0
2019-07-03 07:30:00 | 5.0933 | 115.7367 | 5.8667 | 127.18 | 7.7867 | 3.7 | 7.7 | 9.62 | 19.6433 | 883.0667 | 92.6667 | 0
2019-07-03 07:45:00 | 5.2733 | 36.49 | 6.0633 | 40.0967 | 8.0767 | 118.5067 | 7.9833 | 10.6133 | 19.7333 | 884 | 91.5333 | 0
2019-07-03 08:00:00 | 5.5267 | 9.01 | 6.3567 | 9.8967 | 8.6033 | 343.2 | 8.5233 | 3.06 | 19.7813 | 884 | 90.8667 | 0
2019-07-03 08:15:00 | 5.54 | 281.65 | 6.3767 | 309.5 | 8.48 | 318.0333 | 8.5067 | 72.32 | 19.804 | 884 | 90.86 | 0
2019-07-03 08:30:00 | 5.6 | 91.51 | 6.4433 | 100.5467 | 8.38 | 335.5667 | 8.2067 | 60.3267 | 19.7933 | 884 | 90.5333 | 0
2019-07-03 08:45:00 | 5.32 | 25.2533 | 6.1167 | 27.75 | 8.6533 | 119.0667 | 8.61 | 6.6367 | 19.8933 | 884 | 89.8333 | 0
2019-07-03 09:00:00 | 4.8733 | 3.4467 | 5.6033 | 3.79 | 7.9 | 355.3667 | 7.8767 | 5.2433 | 19.96 | 884 | 89.7 | 0
2019-07-03 09:15:00 | 5.228 | 12.1853 | 6.0193 | 13.3927 | 7.53 | 7.5473 | 7.45 | 57.19 | 20.1293 | 884 | 89.3467 | 0
2019-07-03 09:30:00 | 4.9667 | 184.4533 | 5.7133 | 202.7 | 7.6993 | 237.0567 | 7.6033 | 18.6 | 20.25 | 884 | 89.1733 | 0
2019-07-03 09:45:00 | 5.09 | 43.9867 | 5.8533 | 48.33 | 7.9467 | 237.0233 | 7.93 | 9.37 | 20.4233 | 884 | 88 | 0
2019-07-03 10:00:00 | 5.1567 | 2.78 | 5.94 | 3.0433 | 8.1933 | 229.1833 | 8.09 | 10.73 | 20.5833 | 884.2667 | 87.6667 | 0
2019-07-03 10:15:00 | 5.1933 | 33.92 | 5.98 | 37.27 | 8.4967 | 238.6067 | 8.8133 | 18.4267 | 20.66 | 885 | 87.4 | 0
2019-07-03 10:30:00 | 5.0067 | 206.5333 | 5.76 | 226.9567 | 8.17 | 122.8067 | 8.64 | 19.8533 | 20.6667 | 885 | 87.9333 | 0
2019-07-03 10:45:00 | 4.7533 | 125.0067 | 5.47 | 137.3667 | 8.1067 | 344.2 | 8.2367 | 9.6867 | 20.6433 | 885 | 89.0667 | 0
2019-07-03 11:00:00 | 4.8533 | 284.2867 | 5.5833 | 312.4 | 8.08 | 116.6933 | 8.0567 | 13.0867 | 20.6073 | 885 | 89.0667 | 0
2019-07-03 11:15:00 | 4.82 | 244.3167 | 5.55 | 268.4667 | 7.9633 | 349.8667 | 7.8233 | 32.3933 | 20.6493 | 885 | 89.3 | 0
2019-07-03 11:30:00 | 4.7267 | 122.5767 | 5.4433 | 134.6867 | 7.4233 | 154.0533 | 7.2167 | 30.82 | 20.7453 | 885 | 88.94 | 0
2019-07-03 11:45:00 | 4.0933 | 98.6367 | 4.7167 | 108.3933 | 7.17 | 6.7933 | 7.2 | 10.7167 | 20.8933 | 885 | 88.7333 | 0
2019-07-03 12:00:00 | 4.2667 | 312.0767 | 4.9167 | 342.9333 | 7.0367 | 7.3467 | 7.0467 | 6.7967 | 21.0933 | 885 | 88.6 | 0
2019-07-03 12:15:00 | 4.2133 | 307.71 | 4.8467 | 338.1333 | 7.0433 | 3.6467 | 6.96 | 6.81 | 21.3767 | 885 | 87.1667 | 0
2019-07-03 12:30:00 | 4.1267 | 133.4767 | 4.7533 | 146.6667 | 6.9633 | 13.0067 | 6.9667 | 12.3033 | 21.4833 | 885 | 86.5 | 0
2019-07-03 12:45:00 | 4.5267 | 294.8133 | 5.2067 | 323.9667 | 7.2833 | 125.56 | 7.1567 | 31.3533 | 21.4693 | 885 | 86.4667 | 0
2019-07-03 13:00:00 | 4.0467 | 281.16 | 4.6533 | 308.9667 | 6.6767 | 123.08 | 6.47 | 16.1933 | 21.3987 | 885 | 86.2667 | 0
2019-07-03 13:15:00 | 3.26 | 115.57 | 3.7533 | 126.9933 | 5.78 | 224.74 | 5.7267 | 8.47 | 21.6267 | 885 | 86.5667 | 0
2019-07-03 13:30:00 | 3.34 | 121.9967 | 3.8467 | 134.0533 | 5.9667 | 12.0133 | 6.1 | 9.2367 | 21.7467 | 885 | 86.4533 | 0
2019-07-03 13:45:00 | 3.7033 | 46.7967 | 4.2567 | 51.4233 | 6.3733 | 13.0067 | 6.3633 | 5.1533 | 21.8533 | 885 | 85.7667 | 0
2019-07-03 14:00:00 | 3.9767 | 16.09 | 4.5833 | 17.6833 | 6.66 | 8.9933 | 6.67 | 27.6067 | 21.6533 | 885 | 85.6333 | 0
2019-07-03 14:15:00 | 4.63 | 223.0567 | 5.3233 | 245.1133 | 7.32 | 9.3733 | 7.29 | 11.11 | 21.4 | 885 | 85.5867 | 0
2019-07-03 14:30:00 | 4.3433 | 20.0633 | 4.9967 | 22.0467 | 7.2133 | 5.9067 | 7.3367 | 12.4233 | 21.346 | 885 | 86.0333 | 0
2019-07-03 14:45:00 | 4.1 | 209.8933 | 4.72 | 230.6533 | 7.1267 | 11.07 | 7.02 | 4.8167 | 21.3387 | 885 | 87.2333 | 0
2019-07-03 15:00:00 | 4.2667 | 27.6933 | 4.9133 | 30.4267 | 7.6 | 12.1767 | 7.38 | 10.8433 | 21.384 | 885 | 87.9667 | 0
2019-07-03 15:15:00 | 4.3333 | 64.08 | 4.99 | 70.4133 | 7.8867 | 15.3567 | 7.7467 | 18.7833 | 21.42 | 885 | 88.8867 | 0
2019-07-03 15:30:00 | 4.66 | 156.6733 | 5.3633 | 172.1667 | 8.48 | 20.57 | 8.32 | 18.99 | 21.4313 | 885 | 88.4667 | 0
2019-07-03 15:45:00 | 4.98 | 172.6567 | 5.73 | 189.7333 | 8.94 | 13.1033 | 8.4433 | 11.35 | 21.2767 | 885 | 88.0333 | 0
2019-07-03 16:00:00 | 4.82 | 207.3033 | 5.5567 | 227.8 | 9.0067 | 19.0833 | 8.6167 | 21.3233 | 21.0633 | 885 | 89.2333 | 0
2019-07-03 16:15:00 | 4.6067 | 299.8567 | 5.3 | 329.5 | 8.59 | 21.6167 | 8.2433 | 14.2233 | 20.8367 | 885 | 90.5667 | 0
2019-07-03 16:30:00 | 4.88 | 159.71 | 5.62 | 175.5 | 8.9033 | 14.0367 | 8.81 | 16.7167 | 20.5967 | 885 | 91.3667 | 0
2019-07-03 16:45:00 | 4.9067 | 286.8667 | 5.65 | 315.2333 | 8.72 | 11.06 | 8.29 | 14.6 | 20.2233 | 885 | 93.4 | 0
2019-07-03 17:00:00 | 4.34 | 177.12 | 4.9967 | 194.6333 | 8.0067 | 11.1067 | 7.9033 | 16.84 | 19.9767 | 885 | 95.7333 | 0
2019-07-03 17:15:00 | 4.5467 | 46.26 | 5.2267 | 50.8367 | 7.9567 | 6.48 | 8.1367 | 13.2333 | 19.7067 | 885 | 97.5333 | 0
2019-07-03 17:30:00 | 4.4333 | 189.7733 | 5.1067 | 208.5367 | 7.79 | 13.0933 | 7.87 | 13.6267 | 19.5333 | 885 | 98.4 | 0
2019-07-03 17:45:00 | 4.0093 | 41.792 | 4.618 | 45.9193 | 6.7293 | 4.1787 | 6.9933 | 14.1947 | 19.3353 | 885 | 99.04 | 0
2019-07-03 18:00:00 | 3.9467 | 70.3667 | 4.5467 | 77.3233 | 6.9 | 7.69 | 7.0153 | 11.39 | 19.1533 | 885 | 99.2467 | 0
2019-07-03 18:15:00 | 4.0533 | 126.3333 | 4.66 | 138.82 | 6.9667 | 4.4967 | 7.13 | 15.1267 | 18.9133 | 885 | 99.4467 | 0
2019-07-03 18:30:00 | 3.6733 | 301.4533 | 4.2267 | 331.2667 | 6.0733 | 2.2767 | 6.23 | 3.6867 | 18.7867 | 885 | 99.6467 | 0
2019-07-03 18:45:00 | 3.3267 | 34.02 | 3.83 | 37.3867 | 5.5267 | 233.25 | 5.5367 | 8.5067 | 18.73 | 885 | 99.9 | 0
2019-07-03 19:00:00 | 3.0067 | 200.56 | 3.4567 | 220.3867 | 5.18 | 237.85 | 5.35 | 3.34 | 18.7433 | 885 | 99.9933 | 0
2019-07-03 19:15:00 | 3.1067 | 304.0933 | 3.5733 | 334.1667 | 5.51 | 131.6467 | 5.8233 | 140.6333 | 18.64 | 885 | 100 | 0
2019-07-03 19:30:00 | 3.0067 | 210.7867 | 3.4667 | 231.6333 | 5.5367 | 114.9 | 5.7967 | 118.9867 | 18.54 | 885 | 100 | 0
2019-07-03 19:45:00 | 2.6667 | 104.8267 | 3.0633 | 115.1933 | 4.9733 | 245.6067 | 5.3767 | 6.24 | 18.508 | 885 | 100 | 0
2019-07-03 20:00:00 | 2.5933 | 134.8867 | 2.9833 | 148.2267 | 4.9667 | 8.2667 | 5.3233 | 238.4467 | 18.528 | 885 | 100 | 0
2019-07-03 20:15:00 | 3.2333 | 105.0567 | 3.7133 | 115.4333 | 6.1 | 125.4133 | 6.1467 | 356.8 | 18.524 | 885 | 100 | 0
2019-07-03 20:30:00 | 3.0733 | 148.7367 | 3.5333 | 163.4333 | 5.8867 | 349 | 6.1067 | 355.4667 | 18.5507 | 885 | 100 | 0
2019-07-03 20:45:00 | 3.4 | 224.56 | 3.9067 | 246.7667 | 6.38 | 235.85 | 6.54 | 12.6733 | 18.548 | 885 | 100 | 0
2019-07-03 21:00:00 | 3.4933 | 150.12 | 4.0133 | 164.9667 | 6.76 | 0.23 | 7.2333 | 16.8533 | 18.5213 | 885 | 100 | 0
2019-07-03 21:15:00 | 3.56 | 272.7367 | 4.1 | 299.7 | 6.7167 | 244.29 | 7.03 | 0.52 | 18.52 | 885 | 100 | 0
2019-07-03 21:30:00 | 3.4667 | 273.8167 | 3.9933 | 300.9 | 6.45 | 8.2767 | 6.8767 | 0.82667 | 18.5347 | 885 | 100 | 0
2019-07-03 21:45:00 | 3.4533 | 295.3533 | 3.98 | 324.5667 | 6.0567 | 3.11 | 6.42 | 7.6 | 18.61 | 885 | 100 | 0
2019-07-03 22:00:00 | 3.3333 | 101.2733 | 3.84 | 111.2867 | 5.81 | 16.3967 | 6.1333 | 28.32 | 18.6367 | 885 | 100 | 0
2019-07-03 22:15:00 | 3.6167 | 50.3167 | 4.16 | 55.28 | 6.2233 | 19.52 | 6.5333 | 16.1867 | 18.7 | 885 | 100 | 0
2019-07-03 22:30:00 | 3.71 | 12.1967 | 4.2667 | 13.4 | 6.57 | 11.6133 | 6.6627 | 14.1133 | 18.7333 | 885 | 100 | 0
2019-07-03 22:45:00 | 4.1267 | 92.24 | 4.7467 | 101.3533 | 7.3333 | 12.83 | 7.5467 | 9.9 | 18.762 | 885.6 | 100 | 0
2019-07-03 23:00:00 | 4.18 | 128.82 | 4.8067 | 141.5533 | 7.34 | 9.1033 | 7.6533 | 14.58 | 18.778 | 886 | 100 | 0
2019-07-03 23:15:00 | 4.12 | 175.6333 | 4.7433 | 193 | 7.0167 | 7.6433 | 7.64 | 17.2767 | 18.806 | 886 | 100 | 0
2019-07-03 23:30:00 | 4.2 | 155.9733 | 4.83 | 171.4 | 7.3833 | 16.8233 | 7.5427 | 15.4633 | 18.7913 | 886 | 100 | 0
2019-07-03 23:45:00 | 3.9267 | 163.9233 | 4.5267 | 180.1333 | 6.9467 | 18.0767 | 7.2733 | 16.14 | 18.79 | 886 | 100 | 0