## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-04 00:00:00 | 3.9657 | 190.06 | 4.5657 | 208.8571 | 7.2643 | 12.3157 | 7.7586 | 19.3121 | 18.755 | 886 | 100 | 0
2019-07-04 00:15:00 | 3.7767 | 273.3333 | 4.3467 | 300.3667 | 6.9473 | 11.2533 | 7.3133 | 16.9267 | 18.734 | 886 | 100 | 0
2019-07-04 00:30:00 | 3.55 | 164.1933 | 4.0933 | 180.4333 | 6.27 | 12.5 | 7.02 | 18.58 | 18.718 | 886 | 100 | 0
2019-07-04 00:45:00 | 3.8467 | 165.9533 | 4.4233 | 182.3667 | 6.6067 | 16.8267 | 7.19 | 20.0233 | 18.692 | 886 | 100 | 0
2019-07-04 01:00:00 | 3.7667 | 179.3 | 4.33 | 197.0333 | 6.64 | 17.8933 | 7.1767 | 18.5033 | 18.6733 | 886 | 100 | 0
2019-07-04 01:15:00 | 3.3667 | 156.0067 | 3.88 | 171.4333 | 6.1267 | 10.5233 | 6.4733 | 21.92 | 18.6547 | 886 | 100 | 0
2019-07-04 01:30:00 | 3.1 | 169.54 | 3.5667 | 186.3 | 5.8533 | 15.3833 | 6.3067 | 23.7533 | 18.612 | 885.0667 | 100 | 0
2019-07-04 01:45:00 | 2.8267 | 246.58 | 3.2567 | 270.9667 | 5.3 | 7.42 | 5.2733 | 14.3367 | 18.578 | 885 | 100 | 0
2019-07-04 02:00:00 | 3.2133 | 229.96 | 3.7033 | 252.7 | 5.6133 | 7.5667 | 5.8067 | 29.1633 | 18.5153 | 885 | 100 | 0
2019-07-04 02:15:00 | 2.7933 | 97.7067 | 3.21 | 107.3667 | 5.32 | 7.8067 | 5.34 | 18.29 | 18.4653 | 885 | 100 | 0
2019-07-04 02:30:00 | 2.92 | 182 | 3.3567 | 200 | 5.5333 | 9.5933 | 5.46 | 18.39 | 18.3933 | 885 | 100 | 0
2019-07-04 02:45:00 | 2.5867 | 195.6533 | 2.9733 | 215 | 4.9 | 10.03 | 5.0767 | 19.9733 | 18.3547 | 885 | 100 | 0
2019-07-04 03:00:00 | 2.6733 | 202.0933 | 3.0733 | 222.0667 | 5.2267 | 11.39 | 5.5367 | 18.7933 | 18.2867 | 885 | 100 | 0
2019-07-04 03:15:00 | 2.56 | 109.3867 | 2.9567 | 120.2 | 4.8767 | 6.1567 | 5.18 | 14.7467 | 18.1567 | 885 | 100 | 0
2019-07-04 03:30:00 | 2.2667 | 295.5133 | 2.61 | 324.7333 | 4.37 | 12.1367 | 4.42 | 14.94 | 18.0967 | 885 | 100 | 0
2019-07-04 03:45:00 | 2.4 | 151.01 | 2.76 | 165.9333 | 4.7367 | 11.4233 | 5.08 | 22.7767 | 18.068 | 885 | 100 | 0
2019-07-04 04:00:00 | 2.2 | 190.75 | 2.5333 | 209.6 | 4.31 | 14.2233 | 4.96 | 19.2633 | 18.02 | 885 | 100 | 0
2019-07-04 04:15:00 | 2.2 | 161.52 | 2.53 | 177.5 | 4.3367 | 14.3 | 4.6133 | 17.8867 | 17.9133 | 885 | 100 | 0
2019-07-04 04:30:00 | 1.9333 | 59.1013 | 2.2233 | 64.9467 | 3.6967 | 10.02 | 3.8067 | 15.7133 | 17.7733 | 884.7333 | 100 | 0
2019-07-04 04:45:00 | 1.55 | 167.3867 | 1.78 | 183.9333 | 2.9533 | 18.3467 | 3.5533 | 26.48 | 17.62 | 884 | 100 | 0
2019-07-04 05:00:00 | 2.0167 | 209.48 | 2.3267 | 230.2 | 3.8333 | 6.8133 | 4.2933 | 18.9133 | 17.644 | 884 | 100 | 0
2019-07-04 05:15:00 | 2.4293 | 130.8853 | 2.7987 | 143.8347 | 4.1233 | 6.0453 | 4.356 | 27.9707 | 17.73 | 884 | 100 | 0
2019-07-04 05:30:00 | 2.77 | 216.8433 | 3.1833 | 238.2933 | 4.4633 | 4.2367 | 4.6667 | 26.0867 | 17.75 | 884 | 100 | 0
2019-07-04 05:45:00 | 3.5067 | 215.4873 | 4.0367 | 236.8 | 5.7467 | 14.17 | 5.8267 | 17.42 | 17.67 | 884 | 100 | 0
2019-07-04 06:00:00 | 3.7333 | 209.3167 | 4.2967 | 230.0133 | 6.28 | 16.3033 | 6.4933 | 12.7533 | 17.5767 | 884 | 100 | 0
2019-07-04 06:15:00 | 3.6267 | 295.2367 | 4.1733 | 324.4333 | 5.9767 | 28.8433 | 6.23 | 11.4833 | 17.5 | 884 | 100 | 0
2019-07-04 06:30:00 | 3.2333 | 298.03 | 3.7333 | 327.5 | 5.43 | 241.7767 | 6.0633 | 12.1833 | 17.4787 | 884 | 100 | 0
2019-07-04 06:45:00 | 3.0667 | 105.2733 | 3.5267 | 115.6867 | 4.85 | 8.8233 | 5.19 | 8.6433 | 17.476 | 884 | 100 | 0
2019-07-04 07:00:00 | 3.0933 | 139.6333 | 3.56 | 153.44 | 5.45 | 10.1033 | 5.7033 | 20.81 | 17.5347 | 884 | 100 | 0
2019-07-04 07:15:00 | 3.3067 | 14.1433 | 3.8 | 15.5367 | 5.7167 | 19.58 | 5.82 | 0.76 | 17.55 | 884 | 100 | 0
2019-07-04 07:30:00 | 3.5667 | 14.3567 | 4.1 | 15.7767 | 6.03 | 1.14 | 6.16 | 7.4667 | 17.5407 | 884 | 100 | 0
2019-07-04 07:45:00 | 3.5267 | 174.7333 | 4.0667 | 192.0033 | 5.7367 | 5.5067 | 6.0067 | 13.9133 | 17.522 | 884 | 100 | 0
2019-07-04 08:00:00 | 3.62 | 215.08 | 4.1667 | 236.3367 | 6.17 | 8.08 | 6.5533 | 22.3733 | 17.5913 | 884.9333 | 100 | 0
2019-07-04 08:15:00 | 3.9467 | 294.1867 | 4.5467 | 323.2667 | 6.3733 | 112.8133 | 6.4533 | 6.6433 | 17.67 | 885 | 100 | 0
2019-07-04 08:30:00 | 3.9867 | 130.9 | 4.5867 | 143.84 | 6.4333 | 107.94 | 6.7467 | 12.51 | 17.7913 | 885 | 100 | 0
2019-07-04 08:45:00 | 3.4333 | 198.1967 | 3.95 | 217.8 | 6.09 | 356.6 | 6.4933 | 15.0267 | 18.1533 | 885 | 100 | 0
2019-07-04 09:00:00 | 3.3533 | 111.71 | 3.8567 | 122.76 | 5.9767 | 124.9733 | 6.6 | 12.34 | 18.4667 | 885 | 100 | 0
2019-07-04 09:15:00 | 3.48 | 126.1333 | 4 | 138.6067 | 5.82 | 8.24 | 6.01 | 120.6467 | 18.7133 | 885 | 100 | 0
2019-07-04 09:30:00 | 3.4 | 310.9733 | 3.9133 | 341.7333 | 5.8533 | 239.6267 | 6.1367 | 118.52 | 19.0467 | 885.2667 | 100 | 0
2019-07-04 09:45:00 | 3.3733 | 214.1233 | 3.88 | 235.3 | 5.9133 | 128.8 | 6.2 | 13.35 | 19.1833 | 886 | 100 | 0
2019-07-04 10:00:00 | 3.3067 | 149.4567 | 3.8 | 164.2333 | 6.1133 | 133.32 | 6.7333 | 24.79 | 19.5967 | 886 | 100 | 0
2019-07-04 10:15:00 | 3.38 | 129.13 | 3.89 | 141.8933 | 6.3467 | 11.6467 | 6.7767 | 17.85 | 20.22 | 886 | 96.4 | 0
2019-07-04 10:30:00 | 3.34 | 15.2233 | 3.8433 | 16.7333 | 6.08 | 16.7467 | 6.1967 | 13.8833 | 20.64 | 886 | 93.1333 | 0
2019-07-04 10:45:00 | 2.8667 | 216.06 | 3.31 | 237.4167 | 5.11 | 10.8067 | 4.94 | 14.3567 | 21.0667 | 886 | 89.5 | 0
2019-07-04 11:00:00 | 3.2333 | 230.0133 | 3.7233 | 252.75 | 5.8033 | 13.46 | 5.6467 | 12.5433 | 21.3533 | 886 | 87.7667 | 0
2019-07-04 11:15:00 | 3.06 | 314.8867 | 3.53 | 346.0333 | 5.0933 | 18.1067 | 4.9533 | 18.2633 | 21.7333 | 886 | 85.9 | 0
2019-07-04 11:30:00 | 2.98 | 106.1667 | 3.43 | 116.6667 | 5.4133 | 12.0333 | 5.4733 | 13.11 | 22.1547 | 886 | 82.4333 | 0
2019-07-04 11:45:00 | 2.9833 | 147.82 | 3.43 | 162.4333 | 5.34 | 17.34 | 5.37 | 31.5333 | 21.99 | 886 | 83.2 | 0
2019-07-04 12:00:00 | 2.51 | 104.04 | 2.8967 | 114.3267 | 4.72 | 23.7067 | 4.89 | 32.1133 | 22.074 | 886 | 83.8667 | 0
2019-07-04 12:15:00 | 2.0567 | 36.8 | 2.3733 | 40.4333 | 3.8267 | 17.6067 | 4.0267 | 31.0933 | 22.4633 | 886 | 82.7667 | 0
2019-07-04 12:30:00 | 1.9233 | 19.9533 | 2.2133 | 21.92 | 3.4267 | 21.4933 | 3.4533 | 34.8667 | 22.8833 | 886 | 80.7667 | 0
2019-07-04 12:45:00 | 2.45 | 297.6267 | 2.8167 | 327.0667 | 4.04 | 14.7167 | 3.8533 | 13.3267 | 23.4533 | 886 | 77.44 | 0
2019-07-04 13:00:00 | 2.43 | 121.8267 | 2.7967 | 133.88 | 3.6867 | 46.7367 | 3.5267 | 12.8133 | 23.6 | 886 | 74.7733 | 0
2019-07-04 13:15:00 | 2.1467 | 25.1467 | 2.48 | 27.6267 | 3.8033 | 7.4633 | 3.71 | 21.3133 | 23.8267 | 886 | 76.65 | 0
2019-07-04 13:30:00 | 2.0667 | 223.0933 | 2.38 | 245.1533 | 3.43 | 17.81 | 3.19 | 24.0533 | 24.3933 | 886 | 74.0393 | 0
2019-07-04 13:45:00 | 2.1467 | 128.39 | 2.4767 | 141.08 | 3.1767 | 244.5133 | 2.7967 | 240.3533 | 24.5467 | 886 | 70.7567 | 0
2019-07-04 14:00:00 | 2.32 | 301.0633 | 2.67 | 330.8333 | 3.53 | 242.78 | 3.1567 | 22.5467 | 24.6333 | 886 | 71.09 | 0
2019-07-04 14:15:00 | 2.2767 | 128.65 | 2.6167 | 141.36 | 3.9333 | 13.7967 | 3.4833 | 27.0367 | 25.4567 | 886 | 69.49 | 0
2019-07-04 14:30:00 | 2.13 | 207.3633 | 2.4567 | 227.8667 | 3.78 | 6.1833 | 3.5567 | 28.2967 | 25.9567 | 886 | 66.99 | 0
2019-07-04 14:45:00 | 2.2773 | 23.3973 | 2.6247 | 25.7067 | 3.688 | 4.2347 | 3.262 | 14.8527 | 26.4507 | 886 | 64.942 | 0
2019-07-04 15:00:00 | 2.28 | 87.4167 | 2.6267 | 96.0567 | 4.0233 | 11.3 | 3.6533 | 20.6467 | 26.2433 | 886 | 66.5067 | 0
2019-07-04 15:15:00 | 2.0733 | 295.9633 | 2.39 | 325.2333 | 3.5533 | 11.2367 | 3.4267 | 8.1 | 26.0253 | 886 | 66.7867 | 0
2019-07-04 15:30:00 | 1.94 | 82.7567 | 2.2433 | 90.9333 | 3.46 | 19.4967 | 3.2267 | 9.2333 | 26.06 | 886 | 66.3933 | 0
2019-07-04 15:45:00 | 1.86 | 123.8133 | 2.14 | 136.0633 | 3.35 | 30.7567 | 3.18 | 11.9867 | 25.6467 | 886 | 67.25 | 0
2019-07-04 16:00:00 | 1.8667 | 213.48 | 2.1467 | 234.5967 | 3.17 | 23.3767 | 2.6533 | 8.5 | 25.0933 | 885.0667 | 68.0833 | 0
2019-07-04 16:15:00 | 1.65 | 88.5267 | 1.9 | 97.27 | 3.0267 | 132.78 | 2.7467 | 13.67 | 24.872 | 885 | 70.7933 | 0
2019-07-04 16:30:00 | 2.09 | 206.28 | 2.4067 | 226.67 | 3.5133 | 118.0933 | 3.3467 | 17.7633 | 24.772 | 885 | 69.9267 | 0
2019-07-04 16:45:00 | 1.6053 | 298.3393 | 1.8467 | 327.84 | 2.8733 | 7.2333 | 2.8527 | 34.4327 | 24.7347 | 885 | 69.9573 | 0
2019-07-04 17:00:00 | 1.3867 | 124.1967 | 1.6033 | 136.4733 | 2.59 | 43.5767 | 2.5067 | 21.1633 | 24.8767 | 885 | 70 | 0
2019-07-04 17:15:00 | 1.34 | 218.2167 | 1.5433 | 239.7967 | 2.4267 | 236.6767 | 2.32 | 0.43333 | 24.6333 | 885 | 70.39 | 0
2019-07-04 17:30:00 | 1.26 | 216.5833 | 1.4567 | 237.9967 | 2.12 | 224.81 | 1.8667 | 236.1467 | 24.28 | 884.0667 | 71.1033 | 0
2019-07-04 17:45:00 | 1.29 | 247.4333 | 1.4833 | 271.9 | 2.44 | 17.3133 | 2.38 | 15.4733 | 24.04 | 884 | 73.3933 | 0
2019-07-04 18:00:00 | 1.3833 | 248.5333 | 1.5967 | 273.1 | 2.34 | 13.78 | 2.3533 | 18.5867 | 24.0867 | 884 | 72.56 | 0
2019-07-04 18:15:00 | 1.3233 | 28.0767 | 1.5233 | 30.8467 | 2.56 | 3.76 | 2.4733 | 14.73 | 24.38 | 884 | 70.4167 | 0
2019-07-04 18:30:00 | 0.57667 | 10.3233 | 0.66333 | 11.34 | 1.1067 | 17.3133 | 0.89333 | 24.7567 | 24.2233 | 884 | 70.5567 | 0
2019-07-04 18:45:00 | 0 | 10.47 | 0 | 11.5067 | 0 | 20.77 | 0 | 27.6133 | 23.91 | 884 | 69.25 | 0
2019-07-04 19:00:00 | 0.026667 | 10.43 | 0.033333 | 11.4533 | 0.006667 | 20.7467 | 0 | 27.61 | 24.08 | 884 | 68.1167 | 0
2019-07-04 19:15:00 | 0.32333 | 201.11 | 0.37667 | 221 | 0.52667 | 229.9667 | 0.23333 | 67.5 | 23.7933 | 884 | 69.82 | 0
2019-07-04 19:30:00 | 0.73 | 175.09 | 0.83667 | 192.4 | 1.2467 | 189.6333 | 0.73333 | 147.4 | 23.1067 | 884 | 73.6 | 0
2019-07-04 19:45:00 | 1.98 | 164.83 | 2.2767 | 181.1333 | 2.49 | 189.3667 | 2.1 | 190.0333 | 22.2233 | 884 | 76.7667 | 0
2019-07-04 20:00:00 | 2.5 | 177.0833 | 2.8767 | 194.6 | 3.2167 | 178.8333 | 3.0267 | 182.4333 | 21.7033 | 883.6667 | 78.5 | 0
2019-07-04 20:15:00 | 2.54 | 174.12 | 2.92 | 191.3333 | 3.2533 | 182.7667 | 3.18 | 186.2 | 21.2533 | 883 | 80.4667 | 0
2019-07-04 20:30:00 | 2.4547 | 172.8933 | 2.8293 | 189.9867 | 3.232 | 179.9667 | 3.216 | 184.4133 | 21.0827 | 883 | 81.4667 | 0
2019-07-04 20:45:00 | 2.4767 | 162.3733 | 2.85 | 178.4333 | 3.2333 | 170.1 | 3.32 | 163.6 | 20.8567 | 883 | 82.4 | 0
2019-07-04 21:00:00 | 2.8167 | 156.3733 | 3.2367 | 171.8333 | 3.5067 | 174.5667 | 3.6133 | 173.3333 | 20.8567 | 883 | 82 | 0
2019-07-04 21:15:00 | 2.73 | 143.0867 | 3.1467 | 157.2333 | 3.51 | 182.0333 | 3.6433 | 174.0667 | 20.7267 | 883 | 82.9667 | 0
2019-07-04 21:30:00 | 2.8767 | 158.8067 | 3.3067 | 174.5 | 3.7833 | 177.9 | 3.9967 | 178.4 | 20.5467 | 883 | 83.9667 | 0
2019-07-04 21:45:00 | 3.1067 | 172.9367 | 3.5733 | 190.0333 | 3.98 | 194.7 | 4.42 | 179.4333 | 20.35 | 883 | 85.3 | 0
2019-07-04 22:00:00 | 3.18 | 171.5967 | 3.6667 | 188.5667 | 4.06 | 183.5 | 4.88 | 180.7 | 20.2333 | 883 | 85.9667 | 0
2019-07-04 22:15:00 | 3.4667 | 129.8567 | 4 | 142.7 | 4.4267 | 182.0667 | 5.3133 | 180.7333 | 20.0767 | 883 | 87.1333 | 0
2019-07-04 22:30:00 | 3.6667 | 149.1567 | 4.22 | 163.9 | 4.54 | 180.6 | 5.3933 | 180.0667 | 19.9433 | 883 | 88.6 | 0
2019-07-04 22:45:00 | 3.48 | 144.3667 | 4.01 | 158.6333 | 4.3633 | 180.5 | 4.94 | 178.5667 | 19.83 | 883 | 89.1333 | 0
2019-07-04 23:00:00 | 3.5333 | 159.7133 | 4.0633 | 175.5 | 4.35 | 180.1667 | 5.02 | 183.8333 | 19.73 | 883 | 89.6 | 0
2019-07-04 23:15:00 | 3.78 | 147.91 | 4.3533 | 162.5333 | 4.83 | 174.7667 | 5.24 | 184.0667 | 19.6233 | 883 | 90 | 0
2019-07-04 23:30:00 | 3.74 | 151.67 | 4.3067 | 166.6667 | 4.59 | 177.3667 | 5.1467 | 182.6667 | 19.6433 | 883 | 89.8333 | 0
2019-07-04 23:45:00 | 3.7053 | 169.0013 | 4.2627 | 185.72 | 4.6333 | 179.6533 | 5.3787 | 186.4267 | 19.562 | 883 | 90.3333 | 0