## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-05 00:00:00 | 4.0171 | 168.6379 | 4.62 | 185.3214 | 5.065 | 177.8571 | 5.6857 | 184.7143 | 19.4814 | 883 | 90.7167 | 0
2019-07-05 00:15:00 | 3.802 | 141.658 | 4.3707 | 155.6667 | 4.8573 | 177.1333 | 5.454 | 182.26 | 19.3853 | 883 | 90.8667 | 0
2019-07-05 00:30:00 | 3.4567 | 165.9967 | 3.9833 | 182.4 | 4.4067 | 181.2 | 5.1467 | 177.5 | 19.3533 | 883 | 91 | 0
2019-07-05 00:45:00 | 3.32 | 171.1767 | 3.8167 | 188.1 | 4.0967 | 172.2667 | 5.0333 | 177.7 | 19.29 | 883 | 91.5 | 0
2019-07-05 01:00:00 | 3.3333 | 170.6233 | 3.8433 | 187.5 | 4.2033 | 178.8667 | 5.0933 | 180.1667 | 19.3233 | 882.6667 | 91.6333 | 0
2019-07-05 01:15:00 | 3.8733 | 169.7467 | 4.4633 | 186.5333 | 4.8067 | 178.2667 | 5.23 | 179.8 | 19.35 | 882 | 91.4 | 0
2019-07-05 01:30:00 | 3.7267 | 175.8133 | 4.2833 | 193.2 | 4.6 | 182.1333 | 5.08 | 183.8 | 19.3467 | 882 | 91.5 | 0
2019-07-05 01:45:00 | 3.4667 | 153.8633 | 3.9933 | 169.0667 | 4.2067 | 184.4667 | 4.6767 | 187.9 | 19.3167 | 882 | 92 | 0
2019-07-05 02:00:00 | 3.1867 | 158.3433 | 3.6667 | 174 | 3.9067 | 191.0667 | 4.51 | 196.5333 | 19.21 | 882 | 92.7333 | 0
2019-07-05 02:15:00 | 3.4167 | 159.52 | 3.9333 | 175.3 | 4.3067 | 182.4667 | 4.82 | 185.2 | 19.09 | 882 | 93.5333 | 0
2019-07-05 02:30:00 | 3.39 | 152.3067 | 3.9 | 167.3667 | 4.2067 | 184.2 | 4.8367 | 186.3333 | 19.0167 | 882 | 93.9333 | 0
2019-07-05 02:45:00 | 3.22 | 168.9933 | 3.7033 | 185.7 | 3.8967 | 177.0333 | 4.46 | 179.7 | 18.8933 | 882 | 94.8 | 0
2019-07-05 03:00:00 | 3.1467 | 166.3133 | 3.63 | 182.7667 | 3.83 | 188.5667 | 4.3133 | 180.5667 | 18.8 | 881 | 95.6 | 0
2019-07-05 03:15:00 | 3.0733 | 172.26 | 3.5433 | 189.3 | 3.69 | 180.7333 | 4.4367 | 193.7667 | 18.68 | 881 | 96.6 | 0
2019-07-05 03:30:00 | 3.06 | 158.68 | 3.5167 | 174.3667 | 3.6633 | 179.8667 | 4.13 | 183.8 | 18.5533 | 881 | 97.6 | 0
2019-07-05 03:45:00 | 2.8067 | 167.99 | 3.23 | 184.6 | 3.43 | 182.9 | 3.78 | 181.3667 | 18.49 | 881 | 98.2333 | 0
2019-07-05 04:00:00 | 2.6467 | 156.65 | 3.0433 | 172.1333 | 3.3967 | 180.7667 | 3.7867 | 176.4333 | 18.42 | 881 | 98.7 | 0
2019-07-05 04:15:00 | 2.85 | 153.44 | 3.2833 | 168.6 | 3.5733 | 176.1667 | 4.06 | 176.0667 | 18.34 | 881 | 99.2667 | 0
2019-07-05 04:30:00 | 2.93 | 151.92 | 3.37 | 166.9333 | 3.7 | 174.3667 | 4.2067 | 175.7333 | 18.3167 | 881 | 99.4333 | 0
2019-07-05 04:45:00 | 2.5833 | 157.9867 | 2.98 | 173.6 | 3.3433 | 172.7 | 3.6667 | 178.6333 | 18.3233 | 881 | 99.5667 | 0
2019-07-05 05:00:00 | 2.37 | 155.7333 | 2.7333 | 171.1333 | 3.1033 | 169.1667 | 3.4467 | 175.5667 | 18.3533 | 881 | 99.5667 | 0
2019-07-05 05:15:00 | 2.1633 | 156.16 | 2.4933 | 171.6 | 2.7233 | 180.9 | 3.0067 | 187.6 | 18.38 | 881 | 99.3667 | 0
2019-07-05 05:30:00 | 1.9633 | 159.16 | 2.26 | 174.9 | 2.6167 | 177.8 | 2.7733 | 181.9333 | 18.4067 | 881 | 99.1667 | 0
2019-07-05 05:45:00 | 2.1333 | 181.3667 | 2.4633 | 199.3 | 2.91 | 192.9 | 2.9567 | 181.9 | 18.4267 | 881 | 99.1 | 0
2019-07-05 06:00:00 | 2.3867 | 157.0467 | 2.7433 | 172.5667 | 3.1033 | 205.4333 | 3.1833 | 205.8667 | 18.4333 | 881 | 99 | 0
2019-07-05 06:15:00 | 2.6267 | 187.1967 | 3.0267 | 205.7 | 3.4467 | 212.4333 | 3.7033 | 194.3667 | 18.4267 | 881 | 98.9333 | 0
2019-07-05 06:30:00 | 2.42 | 172.7567 | 2.78 | 189.8333 | 3.2533 | 195.1667 | 3.45 | 195.1667 | 18.3933 | 881 | 99.0333 | 0
2019-07-05 06:45:00 | 1.91 | 175.6967 | 2.2067 | 193.0667 | 2.5533 | 190.5667 | 2.76 | 189.9 | 18.3867 | 881 | 99.3 | 0
2019-07-05 07:00:00 | 2.07 | 162.6567 | 2.3867 | 178.7333 | 2.62 | 181.2333 | 3.1133 | 192.2333 | 18.3733 | 881 | 99.5333 | 0
2019-07-05 07:15:00 | 2.4333 | 140.5933 | 2.8 | 154.5 | 2.99 | 189.1333 | 3.1267 | 193.8333 | 18.34 | 881 | 99.7333 | 0
2019-07-05 07:30:00 | 2.38 | 165.1133 | 2.7333 | 181.4333 | 3.0833 | 186 | 3.3533 | 187.3 | 18.3033 | 881 | 99.9333 | 0
2019-07-05 07:45:00 | 2.27 | 174.96 | 2.6133 | 192.2667 | 2.73 | 186.1 | 2.9733 | 185.4 | 18.2967 | 881 | 100 | 0
2019-07-05 08:00:00 | 2.1567 | 161.98 | 2.48 | 178 | 2.6033 | 189.2333 | 2.68 | 191.2 | 18.31 | 881 | 100 | 0
2019-07-05 08:15:00 | 2.58 | 159.5567 | 2.9667 | 175.3333 | 2.98 | 182.0667 | 2.8067 | 182.9667 | 18.29 | 881 | 100 | 0
2019-07-05 08:30:00 | 2.6467 | 163.2033 | 3.04 | 179.3333 | 3.26 | 181.5333 | 3.3467 | 183.4333 | 18.2767 | 881 | 100 | 0
2019-07-05 08:45:00 | 2.6367 | 149.7 | 3.0367 | 164.5 | 3.1033 | 176.4333 | 2.8467 | 181.1667 | 18.3033 | 881 | 100 | 0
2019-07-05 09:00:00 | 2.2167 | 170.7467 | 2.55 | 187.6333 | 2.65 | 172.3667 | 2.3133 | 183.3 | 18.3733 | 881 | 100 | 0
2019-07-05 09:15:00 | 2.1533 | 149.8133 | 2.49 | 164.6333 | 2.58 | 193 | 2.6867 | 194.7667 | 18.41 | 881 | 100 | 0
2019-07-05 09:30:00 | 2.12 | 166.62 | 2.4433 | 183.1 | 2.5333 | 189.8333 | 2.42 | 184.8333 | 18.51 | 882 | 100 | 0
2019-07-05 09:45:00 | 2.03 | 162.5933 | 2.33 | 178.6667 | 2.4167 | 186.4 | 2.3067 | 189.3 | 18.64 | 882 | 100 | 0
2019-07-05 10:00:00 | 1.8367 | 165.68 | 2.1167 | 182.0667 | 2.3433 | 199.3333 | 2.28 | 189.2333 | 18.82 | 882 | 100 | 0
2019-07-05 10:15:00 | 1.8747 | 144.542 | 2.162 | 158.8333 | 2.1413 | 189.0267 | 1.9153 | 184.7533 | 18.9133 | 882 | 100 | 0
2019-07-05 10:30:00 | 1.7333 | 129.9833 | 1.9967 | 142.8333 | 1.8667 | 185.1333 | 1.3967 | 194.3 | 18.9833 | 882 | 100 | 0
2019-07-05 10:45:00 | 2.3667 | 157.7133 | 2.72 | 173.3 | 2.7833 | 188.6667 | 2.2833 | 207.9 | 19.1833 | 882 | 100 | 0
2019-07-05 11:00:00 | 2.6 | 151.8267 | 2.9933 | 166.8333 | 3.0833 | 202.8 | 2.6267 | 191.6333 | 19.37 | 882 | 100 | 0
2019-07-05 11:15:00 | 1.82 | 168.8733 | 2.0967 | 185.5667 | 2.1833 | 211.1333 | 1.8667 | 197.7667 | 19.66 | 882 | 100 | 0
2019-07-05 11:30:00 | 1.8467 | 148.18 | 2.13 | 162.8333 | 2.1833 | 205.6667 | 1.92 | 201.3 | 19.88 | 882 | 100 | 0
2019-07-05 11:45:00 | 1.89 | 138.5633 | 2.18 | 152.2667 | 2.2433 | 194.9 | 2.39 | 185.7333 | 20.0933 | 882 | 100 | 0
2019-07-05 12:00:00 | 2.1767 | 139.9033 | 2.5067 | 153.7333 | 2.4233 | 187.3 | 2.4967 | 192.6 | 20.1833 | 882 | 98.9667 | 0
2019-07-05 12:15:00 | 2.64 | 165.8333 | 3.0467 | 182.2333 | 3.0367 | 196.7 | 3.1233 | 183.8 | 20.13 | 882 | 98.7 | 0
2019-07-05 12:30:00 | 3.0933 | 160.3733 | 3.56 | 176.2333 | 3.69 | 181.6333 | 3.4833 | 188.9333 | 20.1767 | 882 | 98.8667 | 0
2019-07-05 12:45:00 | 2.6833 | 146.33 | 3.09 | 160.8 | 3.1167 | 166.5 | 3.01 | 174.4 | 20.5267 | 882 | 97.7 | 0
2019-07-05 13:00:00 | 3.09 | 138.39 | 3.55 | 152.0667 | 3.71 | 176.6333 | 3.7033 | 191.9333 | 20.7133 | 882 | 96.8333 | 0
2019-07-05 13:15:00 | 3.17 | 150.4633 | 3.6467 | 165.3333 | 3.8367 | 171.0667 | 3.76 | 179.4333 | 20.89 | 882 | 95.5667 | 0
2019-07-05 13:30:00 | 2.9833 | 122.3767 | 3.4333 | 134.4667 | 3.6433 | 169.7333 | 3.5267 | 191.0333 | 20.9567 | 882 | 95.3667 | 0
2019-07-05 13:45:00 | 2.79 | 146.7833 | 3.21 | 161.3 | 3.2333 | 166.2667 | 2.9633 | 180.4 | 21.17 | 882 | 94.6667 | 0
2019-07-05 14:00:00 | 2.4367 | 141.0233 | 2.8033 | 154.9667 | 2.9 | 158.2 | 2.37 | 211.2667 | 21.6167 | 882 | 93.5333 | 0
2019-07-05 14:15:00 | 2.54 | 135.11 | 2.9333 | 148.4667 | 2.9167 | 174.9 | 2.6433 | 198.8333 | 22.4367 | 881.3333 | 90.3333 | 0
2019-07-05 14:30:00 | 2.86 | 156.5833 | 3.2933 | 172.0667 | 3.4233 | 164.5667 | 3.1633 | 206.4333 | 22.99 | 882 | 87.6667 | 0
2019-07-05 14:45:00 | 3.36 | 155.5167 | 3.8633 | 170.9 | 4.2667 | 221.2667 | 4.2733 | 227.1667 | 23.22 | 882 | 85.6667 | 0
2019-07-05 15:00:00 | 3.4829 | 173.2943 | 4.015 | 190.4357 | 4.4786 | 230.35 | 4.5036 | 226 | 23.31 | 882 | 84.2214 | 0
2019-07-05 15:15:00 | 3.7 | 145.6667 | 4.2533 | 160.0667 | 4.8733 | 219 | 4.8533 | 224.8 | 23.48 | 882 | 83.6 | 0
2019-07-05 15:30:00 | 3.38 | 180.7867 | 3.8867 | 198.6667 | 4.5267 | 237.2667 | 4.64 | 225.1333 | 23.9933 | 882 | 82.4333 | 0
2019-07-05 15:45:00 | 3.12 | 184.4333 | 3.5933 | 202.6667 | 3.93 | 224.6 | 3.82 | 206.9 | 24.11 | 882 | 81.2667 | 0
2019-07-05 16:00:00 | 2.9467 | 162.8933 | 3.3867 | 179 | 3.8967 | 216.2 | 3.94 | 219.9 | 24.17 | 882 | 81.4667 | 0
2019-07-05 16:15:00 | 2.8667 | 206.33 | 3.2933 | 226.7333 | 3.92 | 235.0667 | 3.83 | 225.9333 | 25.09 | 882 | 78.9733 | 0
2019-07-05 16:30:00 | 3.36 | 195.5967 | 3.86 | 214.9333 | 4.5 | 229 | 4.4433 | 231.2667 | 25.1233 | 882 | 78 | 0
2019-07-05 16:45:00 | 3.3267 | 167.8467 | 3.8233 | 184.4333 | 4.2767 | 213.6667 | 4.2967 | 227.2333 | 24.78 | 882 | 79.0733 | 0
2019-07-05 17:00:00 | 3.0467 | 136.96 | 3.51 | 150.5 | 4.1167 | 180.8667 | 3.8767 | 215.1 | 25.0333 | 882 | 78.1533 | 0
2019-07-05 17:15:00 | 3.48 | 166.8033 | 4.0067 | 183.3 | 4.4 | 179.6667 | 4.44 | 176.5 | 24.4367 | 881.3333 | 79.7933 | 0
2019-07-05 17:30:00 | 2.9933 | 137.0167 | 3.44 | 150.5667 | 3.9467 | 206.0667 | 4.0233 | 203.9 | 23.43 | 881 | 83.6 | 0
2019-07-05 17:45:00 | 2.5067 | 168.6933 | 2.89 | 185.3667 | 3.2267 | 175.3 | 3.5067 | 213.3667 | 23.08 | 880.3333 | 85.0333 | 0
2019-07-05 18:00:00 | 2.7333 | 164.5667 | 3.1433 | 180.8333 | 3.56 | 208.7 | 3.7133 | 211.3 | 23.1067 | 880 | 85.3667 | 0
2019-07-05 18:15:00 | 2.9067 | 175 | 3.3433 | 192.3 | 4.01 | 218.8 | 4.0167 | 218.8 | 23.18 | 880 | 84.8 | 0
2019-07-05 18:30:00 | 3.04 | 168.9333 | 3.4967 | 185.6333 | 4.33 | 213.5333 | 4.29 | 222.7333 | 23.2333 | 880 | 84.6667 | 0
2019-07-05 18:45:00 | 2.49 | 164.98 | 2.8667 | 181.3 | 3.57 | 215.4333 | 3.6267 | 222.2 | 23.66 | 880 | 83.8 | 0
2019-07-05 19:00:00 | 2.33 | 146.0533 | 2.68 | 160.5 | 3.2567 | 210.1667 | 3.6 | 222.3333 | 23.74 | 880 | 82.6 | 0
2019-07-05 19:15:00 | 2.1367 | 113.4133 | 2.4567 | 124.6333 | 3.0733 | 226.0667 | 3.08 | 234.9667 | 23.49 | 880 | 83 | 0
2019-07-05 19:30:00 | 2.73 | 138.1667 | 3.1367 | 151.8333 | 3.8467 | 214.1333 | 4.0333 | 225.6333 | 23.15 | 880 | 84.0667 | 0
2019-07-05 19:45:00 | 2.69 | 179.6067 | 3.0967 | 197.3667 | 3.6367 | 213 | 3.9133 | 215.5667 | 22.9433 | 880 | 84.9333 | 0
2019-07-05 20:00:00 | 3.1233 | 167.6 | 3.59 | 184.1667 | 4.4233 | 215.8667 | 4.6933 | 220.3667 | 22.75 | 880 | 85.8667 | 0
2019-07-05 20:15:00 | 2.792 | 165.7567 | 3.216 | 182.1467 | 3.5587 | 190.6733 | 3.6327 | 203.7 | 22.4633 | 880 | 87.3667 | 0
2019-07-05 20:30:00 | 2.48 | 163.5067 | 2.86 | 179.6667 | 3.1933 | 181.1333 | 3.4833 | 192.3667 | 22.2967 | 880 | 88.4333 | 0
2019-07-05 20:45:00 | 2.4 | 150.86 | 2.76 | 165.7667 | 3.04 | 170.5667 | 3.26 | 189.9 | 22.16 | 879.6667 | 88.9 | 0
2019-07-05 21:00:00 | 2.78 | 180.64 | 3.2 | 198.5 | 3.5867 | 176.8333 | 3.78 | 183.3667 | 22.0933 | 879 | 89.1 | 0
2019-07-05 21:15:00 | 2.6867 | 160.6233 | 3.09 | 176.5 | 3.57 | 183.4333 | 3.84 | 185.5 | 21.88 | 879 | 89.9 | 0
2019-07-05 21:30:00 | 2.7133 | 166.6233 | 3.1233 | 183.1 | 3.49 | 172.6333 | 3.8 | 189.7667 | 21.82 | 879.6667 | 89.9667 | 0
2019-07-05 21:45:00 | 3.2867 | 181.9367 | 3.78 | 199.9333 | 4.1533 | 184.5333 | 4.54 | 176.1333 | 21.8133 | 880 | 90.3333 | 0
2019-07-05 22:00:00 | 3.1267 | 164.1633 | 3.5933 | 180.4 | 3.8733 | 183.4 | 4.2067 | 182.1333 | 21.74 | 880 | 91.1333 | 0
2019-07-05 22:15:00 | 3.2667 | 169.0233 | 3.7667 | 185.7333 | 4.0433 | 187.3667 | 4.64 | 180.5 | 21.5833 | 880 | 92.5 | 0
2019-07-05 22:30:00 | 3.2533 | 157.9833 | 3.74 | 173.6 | 3.97 | 181.9667 | 4.6667 | 187.9 | 21.47 | 880 | 93.7 | 0
2019-07-05 22:45:00 | 3.1 | 164.5033 | 3.5667 | 180.7667 | 3.7867 | 187.2667 | 4.3733 | 187.6333 | 21.42 | 880 | 94.6 | 0
2019-07-05 23:00:00 | 3.0133 | 168.4433 | 3.4667 | 185.1 | 3.8267 | 177.3333 | 4.16 | 180.6333 | 21.2933 | 880 | 95.2 | 0
2019-07-05 23:15:00 | 2.8933 | 177.0333 | 3.33 | 194.5333 | 3.6167 | 192.6 | 3.73 | 175.3 | 21.14 | 880 | 95.9667 | 0
2019-07-05 23:30:00 | 2.9467 | 153.4267 | 3.39 | 168.6 | 3.6233 | 180.7333 | 3.63 | 187.1 | 21.1333 | 880 | 96.1 | 0
2019-07-05 23:45:00 | 2.9033 | 158.8033 | 3.3467 | 174.5 | 3.82 | 176.1667 | 3.4767 | 179.5667 | 20.9133 | 880 | 96.8667 | 0