## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-06 00:00:00 | 3.0179 | 173.8443 | 3.4671 | 191.0286 | 3.8636 | 175.7286 | 3.7621 | 182.6857 | 20.86 | 880 | 97.2 | 0
2019-07-06 00:15:00 | 3.0667 | 154.61 | 3.5267 | 169.9 | 3.9233 | 177.8 | 4.0467 | 177.2 | 20.8767 | 880 | 97.2 | 0
2019-07-06 00:30:00 | 2.9467 | 165.9033 | 3.3933 | 182.3 | 3.6433 | 174.2 | 3.84 | 181.3333 | 20.9167 | 880.6667 | 97.1333 | 0
2019-07-06 00:45:00 | 2.9667 | 175.8733 | 3.41 | 193.2667 | 3.84 | 177.1 | 3.7933 | 177.1667 | 20.9933 | 881 | 96.7667 | 0
2019-07-06 01:00:00 | 2.8467 | 169.9333 | 3.27 | 186.7333 | 3.82 | 172.1667 | 3.8667 | 178.1 | 20.96 | 880.3333 | 96.9 | 0
2019-07-06 01:15:00 | 2.4467 | 148.3033 | 2.8133 | 162.9667 | 3.4367 | 173.6333 | 3.31 | 184.3667 | 20.9233 | 880 | 97 | 0
2019-07-06 01:30:00 | 1.96 | 174.03 | 2.26 | 191.2333 | 2.8367 | 172.5 | 2.9033 | 177.9667 | 20.93 | 880 | 96.8 | 0
2019-07-06 01:45:00 | 1.38 | 162.9867 | 1.5833 | 179.1 | 2.2033 | 172.5333 | 2.33 | 171.0333 | 20.96 | 880 | 96.4 | 0
2019-07-06 02:00:00 | 1.42 | 159.5867 | 1.63 | 175.3667 | 2.2767 | 177.6667 | 2.3233 | 167.3 | 20.9867 | 880 | 96.1333 | 0
2019-07-06 02:15:00 | 1.1933 | 164.1447 | 1.37 | 180.3733 | 1.9867 | 180.7333 | 2.2367 | 176.3333 | 21.0667 | 880 | 95.4333 | 0
2019-07-06 02:30:00 | 0.72667 | 166.53 | 0.83667 | 183 | 1.34 | 180 | 1.8633 | 177.2667 | 21.1053 | 880 | 94.9667 | 0
2019-07-06 02:45:00 | 0.77333 | 166.53 | 0.89667 | 183 | 1.3033 | 180 | 1.8733 | 177.38 | 21.1273 | 880 | 94.68 | 0
2019-07-06 03:00:00 | 0.76 | 166.53 | 0.87 | 183 | 1.25 | 180 | 1.92 | 177.3 | 21.13 | 880 | 94.4667 | 0
2019-07-06 03:15:00 | 1.3867 | 171.2267 | 1.6033 | 188.1533 | 1.96 | 180 | 2.0033 | 177.06 | 21.1847 | 880 | 93.8667 | 0
2019-07-06 03:30:00 | 1.2067 | 168.26 | 1.39 | 184.9 | 1.98 | 181.5333 | 1.8967 | 181.2333 | 21.2407 | 880 | 93.5467 | 0
2019-07-06 03:45:00 | 0.53333 | 176.64 | 0.62333 | 194.1 | 0.97333 | 182.3 | 1.39 | 182.3 | 21.1973 | 880 | 93.8333 | 0
2019-07-06 04:00:00 | 0.046667 | 176.64 | 0.056667 | 194.1 | 0.086667 | 182.3 | 0.76333 | 180.3 | 21.1067 | 880 | 94.1533 | 0
2019-07-06 04:15:00 | 0.32667 | 118.806 | 0.37333 | 130.5533 | 0 | 182.3 | 0.026667 | 180.3 | 21.0327 | 880 | 94.8667 | 0
2019-07-06 04:30:00 | 0.75333 | 2.7167 | 0.87333 | 2.98 | 0.59333 | 182.3 | 0 | 180.3 | 20.9033 | 880 | 96 | 0
2019-07-06 04:45:00 | 0.76 | 0.28333 | 0.88 | 0.31 | 1.1 | 182.3 | 0.17 | 180.3 | 20.7333 | 880 | 96.5333 | 0
2019-07-06 05:00:00 | 0.84 | 209.5567 | 0.96667 | 230.2833 | 1.2933 | 182.3 | 0.77 | 61.04 | 20.5867 | 879.4667 | 97 | 0
2019-07-06 05:15:00 | 0.95333 | 314.31 | 1.1 | 345.4 | 1.4067 | 182.3 | 1.2733 | 1.5533 | 20.492 | 879 | 97.3667 | 0
2019-07-06 05:30:00 | 0.88667 | 310.31 | 1.0267 | 341 | 1.22 | 182.3 | 0.92667 | 13.2867 | 20.4707 | 879.5333 | 97.5533 | 0
2019-07-06 05:45:00 | 0.73333 | 308.31 | 0.85 | 338.8 | 0.83333 | 182.3 | 0.27333 | 19.1433 | 20.552 | 880 | 97.3 | 0
2019-07-06 06:00:00 | 0.46667 | 308.31 | 0.54333 | 338.8 | 0.26667 | 182.3 | 0.033333 | 19.1407 | 20.5653 | 880 | 97.3 | 0
2019-07-06 06:15:00 | 0.093333 | 308.31 | 0.11333 | 338.8 | 0.006667 | 182.3 | 0 | 19.1367 | 20.6127 | 880 | 97 | 0
2019-07-06 06:30:00 | 0 | 308.31 | 0 | 338.8 | 0 | 182.3 | 0 | 19.1393 | 20.6607 | 880 | 96.7467 | 0
2019-07-06 06:45:00 | 0 | 308.328 | 0 | 338.82 | 0 | 182.3 | 0 | 19.1033 | 20.7567 | 880 | 96.9667 | 0
2019-07-06 07:00:00 | 0 | 308.4 | 0 | 338.9 | 0 | 182.3 | 0 | 19.0833 | 20.79 | 880 | 96.9 | 0
2019-07-06 07:15:00 | 0 | 308.4 | 0 | 338.9 | 0 | 182.3 | 0 | 276.3 | 20.8967 | 880 | 96.82 | 0
2019-07-06 07:30:00 | 0 | 308.4 | 0 | 338.9 | 0 | 130.6333 | 0 | 276.3 | 21.03 | 880 | 96.6333 | 0
2019-07-06 07:45:00 | 1.4033 | 323.2067 | 1.6233 | 355.1667 | 1.76 | 18.8733 | 1.02 | 6.9633 | 21.0213 | 880 | 95.8667 | 0
2019-07-06 08:00:00 | 1.8967 | 310.4667 | 2.1767 | 341.1667 | 2.9267 | 17.84 | 3.02 | 19.7633 | 20.9267 | 880 | 96.5333 | 0
2019-07-06 08:15:00 | 2 | 311.17 | 2.31 | 341.9467 | 3.3033 | 13.46 | 3.7533 | 129.6533 | 21.1667 | 880 | 96.42 | 0
2019-07-06 08:30:00 | 1.84 | 324.09 | 2.1233 | 356.1333 | 3.0767 | 13.82 | 3.48 | 122.1533 | 21.6133 | 880 | 94.8333 | 0
2019-07-06 08:45:00 | 1.9167 | 20.3667 | 2.2133 | 22.3733 | 3.0567 | 236.4833 | 3.4633 | 9.8333 | 21.816 | 880.8667 | 93.6667 | 0
2019-07-06 09:00:00 | 1.9567 | 13.58 | 2.2467 | 14.92 | 2.9367 | 243.2167 | 3.43 | 19.44 | 21.8733 | 881 | 93.4533 | 0
2019-07-06 09:15:00 | 1.8767 | 1.4467 | 2.1567 | 1.59 | 3.0767 | 4.13 | 3.4 | 16.9433 | 22.1333 | 881 | 93.22 | 0
2019-07-06 09:30:00 | 1.97 | 11.2667 | 2.2633 | 12.3767 | 3.3367 | 2.1233 | 3.74 | 8.39 | 22.56 | 881 | 92.2333 | 0
2019-07-06 09:45:00 | 2.0133 | 12.2233 | 2.3133 | 13.4267 | 3.1167 | 5.0567 | 3.2267 | 12.3167 | 23.1067 | 881 | 89.8 | 0
2019-07-06 10:00:00 | 1.72 | 22.2033 | 1.9867 | 24.3933 | 2.9633 | 22.9833 | 3.1867 | 10.0833 | 23.36 | 881 | 89.4 | 0
2019-07-06 10:15:00 | 1.5033 | 281.3733 | 1.7333 | 309.2 | 2.75 | 19.2133 | 2.75 | 13.3333 | 23.5967 | 881 | 88.1667 | 0
2019-07-06 10:30:00 | 1.7367 | 133.18 | 2 | 146.3467 | 3.19 | 21.0067 | 3.09 | 20.9467 | 23.6433 | 882 | 87.3667 | 0
2019-07-06 10:45:00 | 1.2733 | 315.17 | 1.4767 | 346.3333 | 2.2367 | 26.7467 | 2.9667 | 27.84 | 23.84 | 882 | 86.6 | 0
2019-07-06 11:00:00 | 1.0867 | 103.41 | 1.2567 | 113.6333 | 2.01 | 14.5133 | 2.2533 | 25.4733 | 23.92 | 882 | 87.2667 | 0
2019-07-06 11:15:00 | 0.99333 | 105.6367 | 1.14 | 116.08 | 1.4633 | 4.23 | 1.5733 | 10.9967 | 23.97 | 882 | 85.2 | 0
2019-07-06 11:30:00 | 1.14 | 99.2367 | 1.3133 | 109.0467 | 1.63 | 1.3433 | 1.6733 | 13.7833 | 24.08 | 882 | 85.1667 | 0
2019-07-06 11:45:00 | 1.48 | 216.08 | 1.7133 | 237.44 | 1.9433 | 17.9467 | 1.9233 | 7.4 | 24.26 | 882 | 84.5333 | 0
2019-07-06 12:00:00 | 1.9467 | 36.5733 | 2.2467 | 40.18 | 2.79 | 23.1133 | 2.41 | 20.4533 | 24.9533 | 882 | 83.7333 | 0
2019-07-06 12:15:00 | 2.5267 | 27.92 | 2.9067 | 30.68 | 3.19 | 46 | 3.02 | 7.3967 | 25.5033 | 882 | 82.3333 | 0
2019-07-06 12:30:00 | 2.82 | 14.7333 | 3.2467 | 16.1867 | 4.0967 | 17.0467 | 3.9333 | 14.47 | 25.9967 | 882 | 81.4667 | 0
2019-07-06 12:45:00 | 2.6267 | 108.5333 | 3.02 | 119.2667 | 4.7733 | 14.82 | 4.6333 | 12.69 | 26.59 | 882 | 78.19 | 0
2019-07-06 13:00:00 | 2.1667 | 246.9733 | 2.4933 | 271.4 | 4.06 | 11.42 | 4.04 | 20.83 | 26.57 | 882 | 79.2233 | 0
2019-07-06 13:15:00 | 1.66 | 150.6967 | 1.9167 | 165.6 | 2.99 | 15.6467 | 3.0767 | 8.45 | 26.5167 | 882 | 76.7967 | 0
2019-07-06 13:30:00 | 0.84667 | 102.93 | 0.98333 | 113.1067 | 1.4233 | 20.1133 | 1.5633 | 7.27 | 26.3 | 882 | 75.2233 | 0
2019-07-06 13:45:00 | 0.29667 | 229.9667 | 0.34 | 252.7 | 0.38667 | 61.1267 | 0.29333 | 80.5867 | 26.66 | 882 | 76.1067 | 0
2019-07-06 14:00:00 | 1.7567 | 146.8533 | 2.02 | 161.3667 | 2.0133 | 170.2667 | 1.6733 | 183.2 | 26.2933 | 882 | 81.2 | 0
2019-07-06 14:15:00 | 2.8533 | 186.4667 | 3.2933 | 204.9 | 3.6467 | 225.7333 | 3.5067 | 233.0333 | 25.13 | 882 | 86.8333 | 0
2019-07-06 14:30:00 | 3.2533 | 159.8267 | 3.7467 | 175.6333 | 4.1733 | 218.2 | 3.9867 | 221.6333 | 24.7167 | 882 | 87.9667 | 0
2019-07-06 14:45:00 | 3.182 | 153.1207 | 3.656 | 168.26 | 4.1193 | 197.6533 | 4.232 | 221.1467 | 24.484 | 882 | 87.6 | 0
2019-07-06 15:00:00 | 3.7 | 138.1333 | 4.2493 | 152.6786 | 4.755 | 213.3071 | 4.7121 | 219.0143 | 24.19 | 882 | 87.6 | 0
2019-07-06 15:15:00 | 3.86 | 165.2967 | 4.4467 | 181.6333 | 5.24 | 217.5333 | 5.3367 | 223.9333 | 24.07 | 881.3333 | 88.2333 | 0
2019-07-06 15:30:00 | 3.8867 | 170.45 | 4.48 | 187.3 | 5.3467 | 217.0667 | 5.2767 | 223.4 | 24.0033 | 881 | 87.9667 | 0
2019-07-06 15:45:00 | 3.8167 | 179.0233 | 4.3967 | 196.7333 | 5.1833 | 215.7667 | 5.36 | 220.9 | 23.92 | 881 | 87.9 | 0
2019-07-06 16:00:00 | 3.5967 | 165.3233 | 4.1367 | 181.6667 | 4.8567 | 219.1 | 4.82 | 222.3 | 23.88 | 881 | 88.4667 | 0
2019-07-06 16:15:00 | 3.2733 | 178.54 | 3.7733 | 196.2 | 4.5267 | 213.3 | 4.34 | 227.3333 | 23.9433 | 881 | 89.2667 | 0
2019-07-06 16:30:00 | 3.2067 | 150.8133 | 3.6867 | 165.7333 | 4.38 | 213.5 | 4.3867 | 224.9333 | 24.3633 | 881 | 87.9333 | 0
2019-07-06 16:45:00 | 3.4333 | 167.36 | 3.9533 | 183.9 | 4.5233 | 223.3 | 4.5733 | 224.8 | 24.56 | 881 | 86.4333 | 0
2019-07-06 17:00:00 | 3.4333 | 156.3067 | 3.96 | 171.7667 | 4.7433 | 216.4 | 4.6267 | 220 | 24.5267 | 881 | 86.7 | 0
2019-07-06 17:15:00 | 3.2933 | 171.5067 | 3.7933 | 188.4667 | 4.44 | 220.4667 | 4.8167 | 221.6 | 25.05 | 881 | 83.8 | 0
2019-07-06 17:30:00 | 2.7733 | 170.66 | 3.1933 | 187.5333 | 3.7933 | 222.8667 | 3.7567 | 220.8 | 24.8967 | 881 | 84.0333 | 0
2019-07-06 17:45:00 | 1.7067 | 155.7 | 1.9767 | 171.1 | 2.23 | 190.5 | 2.0133 | 207.4 | 24.7133 | 881 | 84.3667 | 0
2019-07-06 18:00:00 | 1.96 | 170.6333 | 2.27 | 187.5 | 2.57 | 196.9667 | 2.5533 | 203.0667 | 24.3867 | 881 | 85.8333 | 0
2019-07-06 18:15:00 | 2.7067 | 166.56 | 3.11 | 183.0333 | 3.74 | 212.2 | 3.5567 | 212.8 | 24.11 | 881 | 86.5 | 0
2019-07-06 18:30:00 | 2.8933 | 178.2667 | 3.3367 | 195.9 | 3.8933 | 214.4667 | 3.5433 | 210.6667 | 24.0767 | 880 | 86.3 | 0
2019-07-06 18:45:00 | 3.2393 | 178.5353 | 3.7327 | 196.1867 | 4.438 | 221.3933 | 4.3633 | 219.3733 | 24.146 | 880 | 85.2 | 0
2019-07-06 19:00:00 | 3.2067 | 176.2467 | 3.69 | 193.6667 | 4.4733 | 217.3333 | 4.9367 | 223.0333 | 24.1767 | 881 | 85.2 | 0
2019-07-06 19:15:00 | 3.0967 | 163.77 | 3.5633 | 179.9667 | 4.46 | 219.2 | 4.3667 | 224.6 | 23.95 | 881 | 86.1333 | 0
2019-07-06 19:30:00 | 2.55 | 173.6633 | 2.9367 | 190.8333 | 3.6 | 212.0667 | 3.54 | 222.8 | 23.65 | 881 | 87.6667 | 0
2019-07-06 19:45:00 | 2.616 | 163.0127 | 3.012 | 179.1333 | 3.4287 | 199.36 | 3.5233 | 205.64 | 23.3147 | 881 | 89.5133 | 0
2019-07-06 20:00:00 | 2.58 | 177.9667 | 2.9767 | 195.5667 | 3.3133 | 190.4 | 3.28 | 195.0667 | 23.0933 | 881 | 90.4 | 0
2019-07-06 20:15:00 | 2.8267 | 173.79 | 3.2633 | 190.9667 | 3.5767 | 184.4333 | 3.8467 | 181.9333 | 22.9233 | 881 | 92.0333 | 0
2019-07-06 20:30:00 | 2.1667 | 168.99 | 2.4967 | 185.7 | 2.7567 | 176.9667 | 3.1533 | 177.8667 | 22.8633 | 880.6667 | 92.5333 | 0
2019-07-06 20:45:00 | 2.12 | 170.48 | 2.4433 | 187.3333 | 2.6333 | 175.6333 | 2.98 | 180.3667 | 22.75 | 880 | 92.7 | 0
2019-07-06 21:00:00 | 2.26 | 168.96 | 2.5967 | 185.6667 | 2.8533 | 181.1667 | 3.1133 | 183.6333 | 22.65 | 880.1333 | 93.0333 | 0
2019-07-06 21:15:00 | 1.764 | 165.4587 | 2.0353 | 181.82 | 2.7473 | 179.7067 | 2.954 | 184.4733 | 22.614 | 881 | 93.0467 | 0
2019-07-06 21:30:00 | 1.5933 | 150.5433 | 1.84 | 165.4333 | 2.45 | 164.0333 | 2.8967 | 166.8 | 22.57 | 881 | 92.9667 | 0
2019-07-06 21:45:00 | 2.2333 | 167.0167 | 2.5733 | 183.5333 | 2.94 | 170.8333 | 3.15 | 167.3667 | 22.6667 | 880.2667 | 92.1 | 0
2019-07-06 22:00:00 | 2.0467 | 173.69 | 2.3667 | 190.8667 | 2.7933 | 180.5 | 2.9433 | 176.0333 | 22.72 | 880 | 91.5 | 0
2019-07-06 22:15:00 | 1.58 | 177.8467 | 1.8233 | 195.4333 | 2.3567 | 182.6733 | 2.5167 | 181.6467 | 22.7127 | 880 | 90.9333 | 0
2019-07-06 22:30:00 | 0.84667 | 177.3387 | 0.97667 | 194.8733 | 1.4833 | 182.8333 | 1.77 | 180.4467 | 22.6153 | 880 | 91 | 0
2019-07-06 22:45:00 | 0.12 | 177.28 | 0.14667 | 194.8 | 0.18667 | 168.4667 | 1.0567 | 149.4667 | 22.42 | 880 | 91.7333 | 0
2019-07-06 23:00:00 | 0.066 | 177.3253 | 0.078 | 194.8533 | 0 | 140.0267 | 0.092 | 141.6 | 22.3 | 880 | 92.6 | 0
2019-07-06 23:15:00 | 1.1133 | 316.1667 | 1.2833 | 347.4333 | 1.06 | 338.9 | 0 | 108.7833 | 22.2767 | 880 | 93.1333 | 0
2019-07-06 23:30:00 | 1.76 | 313.98 | 2.03 | 345.0333 | 2.3 | 117.6667 | 1.5133 | 14.7433 | 22.1367 | 880 | 93.9333 | 0
2019-07-06 23:45:00 | 2.8667 | 162.6267 | 3.2933 | 178.6967 | 3.65 | 6.9833 | 3.6 | 8.1333 | 21.96 | 880 | 93.7733 | 0