## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-07 00:00:00 | 3.0871 | 202.7679 | 3.5471 | 222.8179 | 3.6779 | 2.0343 | 3.5879 | 1.74 | 21.8707 | 880 | 92.3 | 0
2019-07-07 00:15:00 | 2.6967 | 212.4433 | 3.1033 | 233.4533 | 3.4 | 13.61 | 3.3133 | 26.15 | 21.8253 | 880 | 90.4667 | 0
2019-07-07 00:30:00 | 2.17 | 211.97 | 2.4967 | 232.92 | 2.92 | 12.81 | 2.7933 | 26.49 | 21.76 | 880 | 90.2133 | 0
2019-07-07 00:45:00 | 2.0267 | 307.58 | 2.33 | 338 | 2.63 | 1.83 | 2.5333 | 17.4633 | 21.6033 | 880 | 91.0667 | 0
2019-07-07 01:00:00 | 2.0267 | 307.5267 | 2.33 | 337.9333 | 2.6633 | 2.1233 | 2.6067 | 13.9967 | 21.5647 | 880 | 91.6667 | 0
2019-07-07 01:15:00 | 1.1733 | 321.6533 | 1.36 | 353.4667 | 2.0333 | 10.2033 | 2.0867 | 30.5233 | 21.4433 | 880 | 93.6667 | 0
2019-07-07 01:30:00 | 0.768 | 247.428 | 0.882 | 271.9 | 1.092 | 134.992 | 0.89 | 137.404 | 21.226 | 880 | 94.9 | 0
2019-07-07 01:45:00 | 2.4867 | 193.7467 | 2.8633 | 212.9 | 3.45 | 201.7667 | 3.3467 | 199.6667 | 21.01 | 880 | 94.8333 | 0
2019-07-07 02:00:00 | 2.5267 | 169.72 | 2.9033 | 186.5 | 3.07 | 193.5 | 3.2267 | 187.8 | 20.8367 | 879.3333 | 96.1667 | 0
2019-07-07 02:15:00 | 3.33 | 142.66 | 3.83 | 156.7667 | 4.48 | 176.6667 | 4.8767 | 180.3667 | 20.5967 | 879.5333 | 98.2 | 0
2019-07-07 02:30:00 | 3.2367 | 202.18 | 3.7233 | 222.1667 | 4.0333 | 197.1333 | 4.9633 | 175.7667 | 20.4567 | 879 | 99.0667 | 0
2019-07-07 02:45:00 | 3.7067 | 158.4433 | 4.27 | 174.1 | 4.5933 | 183.7333 | 5.4733 | 176.6 | 20.428 | 879 | 98.9 | 0
2019-07-07 03:00:00 | 3.3067 | 164.6833 | 3.8033 | 180.9667 | 4.18 | 174.5333 | 4.5667 | 179.7333 | 20.4053 | 879 | 98.9667 | 0
2019-07-07 03:15:00 | 2.6933 | 160.0133 | 3.0967 | 175.8333 | 3.5333 | 174.3333 | 3.6767 | 175.8333 | 20.458 | 879 | 99.6667 | 0
2019-07-07 03:30:00 | 2.4333 | 144.7267 | 2.7967 | 159.0333 | 3.3133 | 181.8 | 3.4033 | 179.0333 | 20.562 | 879 | 100 | 0
2019-07-07 03:45:00 | 2.18 | 155.58 | 2.52 | 170.9667 | 2.9067 | 175.9333 | 3.18 | 183.8333 | 20.6133 | 879 | 100 | 0
2019-07-07 04:00:00 | 2.1567 | 150.1 | 2.4833 | 164.9333 | 2.9833 | 183.6667 | 3.2967 | 174.8333 | 20.668 | 879 | 100 | 0
2019-07-07 04:15:00 | 2.8133 | 155.2733 | 3.2333 | 170.6333 | 3.66 | 189.3667 | 3.9267 | 185.4667 | 20.664 | 879 | 100 | 0
2019-07-07 04:30:00 | 3.28 | 174.26 | 3.7733 | 191.5 | 4.1467 | 193.5667 | 4.6 | 182.6 | 20.5667 | 879 | 100 | 0
2019-07-07 04:45:00 | 3.0233 | 157.53 | 3.4867 | 173.1 | 3.81 | 177.5667 | 4.44 | 184.7333 | 20.41 | 879 | 99.5 | 0
2019-07-07 05:00:00 | 2.9367 | 166.81 | 3.38 | 183.3 | 3.75 | 177.6333 | 4.5267 | 186.5333 | 20.37 | 879.2667 | 99.2333 | 0
2019-07-07 05:15:00 | 2.6033 | 160.6467 | 2.9967 | 176.5333 | 3.1733 | 174.7667 | 3.6433 | 180.1333 | 20.394 | 879.4 | 99.7667 | 0
2019-07-07 05:30:00 | 2.55 | 168.6667 | 2.93 | 185.3333 | 3.28 | 175.9 | 3.6833 | 187.2 | 20.3353 | 879 | 99.9 | 0
2019-07-07 05:45:00 | 2.6533 | 144.78 | 3.0533 | 159.1 | 3.3433 | 175 | 3.7433 | 179.8667 | 20.298 | 879 | 99.9 | 0
2019-07-07 06:00:00 | 2.4267 | 160.4333 | 2.7867 | 176.3 | 3.2033 | 171.7467 | 3.3433 | 182.9333 | 20.2967 | 879.2667 | 99.8333 | 0
2019-07-07 06:15:00 | 1.98 | 159.2533 | 2.2867 | 175 | 2.5567 | 180.3667 | 2.92 | 192 | 20.296 | 880 | 99.96 | 0
2019-07-07 06:30:00 | 2.0933 | 168.0533 | 2.4067 | 184.6667 | 2.7633 | 178.3667 | 2.9467 | 182.3333 | 20.3427 | 880 | 100 | 0
2019-07-07 06:45:00 | 1.8267 | 166.77 | 2.1033 | 183.2667 | 2.5067 | 174.6333 | 2.7933 | 179.4 | 20.4633 | 880 | 100 | 0
2019-07-07 07:00:00 | 1.6133 | 169.63 | 1.8567 | 186.4 | 2.3533 | 175.7 | 2.4667 | 187.76 | 20.5207 | 880 | 100 | 0
2019-07-07 07:15:00 | 1.64 | 153.46 | 1.89 | 168.6333 | 2.26 | 161.5 | 2.4867 | 165.0333 | 20.73 | 880 | 100 | 0
2019-07-07 07:30:00 | 1.66 | 161.5267 | 1.91 | 177.5 | 2.06 | 168.9667 | 2.6 | 170.4333 | 21.01 | 880 | 99.9733 | 0
2019-07-07 07:45:00 | 1.66 | 149.49 | 1.91 | 164.2667 | 1.8333 | 166.9 | 2.4533 | 161.2 | 21.47 | 880 | 98.1333 | 0
2019-07-07 08:00:00 | 1.6467 | 168.6633 | 1.8967 | 185.3333 | 1.82 | 173.8333 | 2.16 | 165.0667 | 21.8233 | 880 | 96 | 0
2019-07-07 08:15:00 | 1.7433 | 151.13 | 2.0067 | 166.0667 | 1.94 | 172.2667 | 1.81 | 158.2 | 22.5633 | 880.6 | 92.9333 | 0
2019-07-07 08:30:00 | 1.7567 | 146.6967 | 2.0267 | 161.2 | 1.9733 | 168.9333 | 1.75 | 161.0667 | 23.07 | 881 | 90.4 | 0
2019-07-07 08:45:00 | 1.9933 | 134.53 | 2.3033 | 147.8333 | 2.29 | 176.4333 | 2.3133 | 175.1667 | 22.94 | 881 | 90.7667 | 0
2019-07-07 09:00:00 | 2.0867 | 148.0567 | 2.4033 | 162.7 | 2.2567 | 168.7 | 2.1333 | 168.8333 | 23.1 | 881 | 89.7 | 0
2019-07-07 09:15:00 | 2.12 | 146.82 | 2.4367 | 161.3333 | 2.3833 | 183.4667 | 2.2367 | 201.3 | 23.4633 | 881 | 88.3333 | 0
2019-07-07 09:30:00 | 2.0667 | 167.7467 | 2.3767 | 184.3333 | 2.39 | 185.6667 | 2.4567 | 207.5 | 23.21 | 881.9333 | 89.5333 | 0
2019-07-07 09:45:00 | 2.58 | 162.2833 | 2.97 | 178.3333 | 2.8667 | 184.3 | 2.8567 | 195.4667 | 23.94 | 882 | 86.4333 | 0
2019-07-07 10:00:00 | 2.8933 | 149.5433 | 3.33 | 164.3333 | 3.2667 | 186.1667 | 3.09 | 188.9333 | 24.328 | 882 | 84.1667 | 0
2019-07-07 10:15:00 | 2.7 | 150.9067 | 3.1033 | 165.8333 | 3.0233 | 174.9333 | 2.9933 | 192.7333 | 24.2593 | 882 | 83.9 | 0
2019-07-07 10:30:00 | 2.8733 | 158.4933 | 3.3033 | 174.1667 | 3.2367 | 182.8667 | 3.0267 | 182.9333 | 24.03 | 882 | 83.6333 | 0
2019-07-07 10:45:00 | 2.7933 | 151.8767 | 3.2167 | 166.9 | 3.26 | 161.6 | 3.1067 | 175.9333 | 23.8433 | 882 | 83.7333 | 0
2019-07-07 11:00:00 | 2.4667 | 132.7167 | 2.8367 | 145.8333 | 2.8533 | 162.5333 | 2.74 | 171.8667 | 24.1167 | 882 | 83.6667 | 0
2019-07-07 11:15:00 | 2.47 | 173.72 | 2.84 | 190.9 | 2.9867 | 178.2667 | 2.8267 | 182.0333 | 24.1087 | 882 | 84 | 0
2019-07-07 11:30:00 | 2.87 | 147.46 | 3.3 | 162.0333 | 3.4933 | 166.4 | 3.3133 | 182.0333 | 23.9033 | 882 | 84.8667 | 0
2019-07-07 11:45:00 | 2.6467 | 139.8133 | 3.0433 | 153.6333 | 3.4067 | 159.4 | 3.2433 | 174.5667 | 23.9393 | 882 | 84.6 | 0
2019-07-07 12:00:00 | 2.2067 | 143.94 | 2.5433 | 158.1667 | 2.7467 | 162.9333 | 2.61 | 169.5667 | 24.11 | 882 | 83.7333 | 0
2019-07-07 12:15:00 | 1.86 | 155.7633 | 2.1467 | 171.1667 | 2.3433 | 184.1667 | 2.3667 | 201.8333 | 24.34 | 882 | 81.9333 | 0
2019-07-07 12:30:00 | 1.9667 | 154.43 | 2.26 | 169.7 | 2.4433 | 157.7 | 2.38 | 159.3 | 24.48 | 882 | 81.8 | 0
2019-07-07 12:45:00 | 2.5 | 142.2167 | 2.8767 | 156.2667 | 3.09 | 163.0667 | 3.0067 | 171.7667 | 24.52 | 882 | 79.4533 | 0
2019-07-07 13:00:00 | 2.26 | 128.3167 | 2.61 | 141 | 2.81 | 165.1333 | 2.88 | 172.3 | 24.2933 | 882 | 80.2533 | 0
2019-07-07 13:15:00 | 2.48 | 172.2633 | 2.8533 | 189.3 | 3.0007 | 164.2667 | 2.9467 | 193.1667 | 24 | 882 | 77.43 | 0
2019-07-07 13:30:00 | 2.1467 | 170.2033 | 2.4667 | 187.0333 | 2.9033 | 180.6667 | 2.9133 | 189.5 | 23.7333 | 882 | 80.0633 | 0
2019-07-07 13:45:00 | 2.1067 | 169.57 | 2.4367 | 186.3333 | 2.8333 | 188.8667 | 2.8467 | 190.7667 | 23.49 | 882 | 81.9333 | 0
2019-07-07 14:00:00 | 1.9067 | 166.8367 | 2.2033 | 183.3333 | 2.4867 | 203.7333 | 2.6533 | 190.4333 | 23.3633 | 881.6 | 81.9333 | 0
2019-07-07 14:15:00 | 1.9893 | 170.1107 | 2.292 | 186.9333 | 2.746 | 204.6667 | 2.8367 | 200.34 | 23.304 | 881.7333 | 83.6667 | 0
2019-07-07 14:30:00 | 1.84 | 173.24 | 2.1233 | 190.3667 | 2.49 | 204.8667 | 2.55 | 204.3 | 23.55 | 881.6 | 85.46 | 0
2019-07-07 14:45:00 | 1.6767 | 153.3333 | 1.9333 | 168.5 | 2.0833 | 188.4667 | 2.3067 | 176.7 | 23.88 | 881.7333 | 83.0067 | 0
2019-07-07 15:00:00 | 2.1633 | 131.56 | 2.4933 | 144.5667 | 2.8633 | 171.4667 | 2.8867 | 169.4333 | 23.788 | 882 | 82.6333 | 0
2019-07-07 15:15:00 | 2.4033 | 177.6367 | 2.7633 | 195.2 | 2.9233 | 183.5333 | 2.9333 | 191.5333 | 23.7813 | 881.9333 | 81.08 | 0
2019-07-07 15:30:00 | 2.47 | 183.0967 | 2.85 | 201.2 | 2.9833 | 180.0667 | 3.0333 | 176.6 | 23.88 | 881 | 80.0133 | 0
2019-07-07 15:45:00 | 2.2167 | 153.62 | 2.5567 | 168.8 | 2.8133 | 195.5 | 2.83 | 186 | 23.7133 | 881 | 82.7333 | 0
2019-07-07 16:00:00 | 2.2033 | 166.2933 | 2.5433 | 182.7333 | 2.68 | 182.9 | 2.8767 | 190.6667 | 23.7533 | 881 | 82.4 | 0
2019-07-07 16:15:00 | 1.9467 | 142.5167 | 2.2467 | 156.6 | 2.5233 | 181.5 | 2.54 | 178.8 | 23.8927 | 881 | 81.3333 | 0
2019-07-07 16:30:00 | 2.04 | 136.3233 | 2.3467 | 149.8 | 2.71 | 166.0333 | 2.58 | 167.3333 | 23.914 | 881 | 81.0667 | 0
2019-07-07 16:45:00 | 2.0067 | 160.28 | 2.3067 | 176.1333 | 2.6767 | 166.6 | 2.6533 | 170.6667 | 23.8373 | 881 | 82.5933 | 0
2019-07-07 17:00:00 | 1.7667 | 149.36 | 2.04 | 164.1333 | 2.4833 | 206.5333 | 2.7333 | 215.1333 | 23.816 | 881 | 83.0333 | 0
2019-07-07 17:15:00 | 1.8867 | 165.47 | 2.1667 | 181.8333 | 2.7233 | 221.2667 | 2.9267 | 229.3667 | 23.87 | 881 | 83.6667 | 0
2019-07-07 17:30:00 | 1.888 | 166.806 | 2.168 | 183.3 | 2.89 | 208.58 | 2.932 | 218.4 | 23.818 | 881 | 83.68 | 0
2019-07-07 17:45:00 | 1.9533 | 184.3367 | 2.25 | 202.5667 | 3.0433 | 233.6667 | 2.9867 | 233.6333 | 23.5433 | 881 | 83.1 | 0
2019-07-07 18:00:00 | 1.8733 | 180.09 | 2.1633 | 197.9 | 3.0233 | 239 | 2.86 | 238.58 | 23.3633 | 881 | 81.7 | 0
2019-07-07 18:15:00 | 2.0133 | 170.73 | 2.32 | 187.6 | 2.95 | 227.9 | 2.7933 | 220.1 | 23.14 | 881 | 81.7667 | 0
2019-07-07 18:30:00 | 2.6133 | 174.91 | 3.0067 | 192.2 | 3.61 | 221.0333 | 3.58 | 223.9667 | 22.92 | 881 | 82.9667 | 0
2019-07-07 18:45:00 | 2.4067 | 180.6967 | 2.7733 | 198.5667 | 3.46 | 215.9667 | 3.5167 | 223.6333 | 22.6267 | 881 | 84.8 | 0
2019-07-07 19:00:00 | 2.2133 | 176.8833 | 2.56 | 194.3667 | 3.1933 | 219.8333 | 3.11 | 213.6333 | 22.4667 | 881 | 86.2667 | 0
2019-07-07 19:15:00 | 2.18 | 169.9067 | 2.5067 | 186.7067 | 3.2867 | 208.1 | 3.1933 | 206.3333 | 22.3267 | 881 | 87.1333 | 0
2019-07-07 19:30:00 | 1.98 | 172.24 | 2.2867 | 189.2667 | 3.0067 | 221.5 | 2.78 | 220.2667 | 22.272 | 881 | 86.7333 | 0
2019-07-07 19:45:00 | 2.04 | 171.6867 | 2.3533 | 188.6667 | 3.01 | 224.6667 | 2.7633 | 219.7333 | 22.2953 | 881 | 86.6267 | 0
2019-07-07 20:00:00 | 2.2667 | 176.72 | 2.6067 | 194.2 | 3.23 | 220.4667 | 3.0433 | 220.0667 | 22.254 | 881 | 87.1333 | 0
2019-07-07 20:15:00 | 2.3133 | 171.7267 | 2.66 | 188.7 | 3.3867 | 219.5667 | 3.0367 | 224.7667 | 22.1 | 881 | 88.6667 | 0
2019-07-07 20:30:00 | 1.7533 | 183.74 | 2.0267 | 201.9 | 2.8 | 225.3 | 2.2633 | 222.9667 | 22.02 | 881 | 87.2667 | 0
2019-07-07 20:45:00 | 0.824 | 201.766 | 0.94733 | 221.72 | 1.5273 | 232.2 | 1.068 | 238.9 | 22.06 | 881 | 86.1 | 0
2019-07-07 21:00:00 | 0.15333 | 133.5 | 0.18333 | 146.7 | 0.3 | 183.9333 | 0.07 | 238.9 | 22.0867 | 881 | 86.5 | 0
2019-07-07 21:15:00 | 0 | 133.56 | 0.003333 | 146.76 | 0 | 159.92 | 0 | 184.3 | 22.086 | 881 | 87.2333 | 0
2019-07-07 21:30:00 | 0 | 133.6 | 0.003333 | 146.8 | 0 | 160 | 0 | 184.3 | 22.0247 | 881 | 87.8333 | 0
2019-07-07 21:45:00 | 0.7 | 134.93 | 0.81333 | 148.2667 | 1.11 | 186.4 | 1.19 | 190.8333 | 21.9 | 881.6 | 88.3 | 0
2019-07-07 22:00:00 | 0.62 | 137.59 | 0.72 | 151.2 | 0.90333 | 186.3067 | 0.87 | 194.5667 | 21.8707 | 882 | 87.8733 | 0
2019-07-07 22:15:00 | 0.43333 | 137.59 | 0.50333 | 151.2 | 0.71667 | 186.3 | 0.58333 | 190.9 | 21.876 | 882 | 87.5667 | 0
2019-07-07 22:30:00 | 0.29333 | 138.1033 | 0.33667 | 151.76 | 0.55667 | 186.2733 | 0.71 | 190.8733 | 21.812 | 882 | 87.7267 | 0
2019-07-07 22:45:00 | 0.1 | 138.32 | 0.12333 | 152 | 0.13 | 186.26 | 0.29333 | 190.8 | 21.762 | 882 | 87.86 | 0
2019-07-07 23:00:00 | 0.56667 | 262.6027 | 0.66333 | 288.5733 | 0.69667 | 70.0667 | 0.51333 | 83.1533 | 21.758 | 882 | 88.1667 | 0
2019-07-07 23:15:00 | 2.1767 | 115.87 | 2.5033 | 127.3267 | 3.5433 | 9.04 | 3.65 | 13.1067 | 21.4433 | 882 | 90.1667 | 0
2019-07-07 23:30:00 | 2.65 | 292.8433 | 3.05 | 321.8 | 4.2233 | 7.16 | 4.3967 | 18.8733 | 21.1233 | 882 | 91.5 | 0
2019-07-07 23:45:00 | 2.4533 | 276.1933 | 2.8233 | 303.5 | 4.2067 | 2.8533 | 3.98 | 18.6467 | 20.94 | 882 | 93.2333 | 0