## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-08 00:00:00 | 2.22 | 298.6157 | 2.5564 | 328.1357 | 3.4986 | 1.7964 | 3.6 | 231.8143 | 20.8157 | 882 | 95 | 0
2019-07-08 00:15:00 | 2.18 | 309.41 | 2.5133 | 340 | 3.5133 | 9.4833 | 3.4333 | 23.8467 | 20.6267 | 882 | 96.6333 | 0
2019-07-08 00:30:00 | 1.64 | 316.5633 | 1.8867 | 347.8667 | 2.2333 | 24.2433 | 2.6267 | 10.3867 | 20.5347 | 882 | 96.8733 | 0
2019-07-08 00:45:00 | 1.2067 | 308.7067 | 1.39 | 339.2333 | 1.7967 | 27.3167 | 1.8733 | 28.6133 | 20.62 | 882 | 96.0667 | 0
2019-07-08 01:00:00 | 1.18 | 312.46 | 1.37 | 343.3667 | 1.6567 | 9.43 | 1.2 | 37.6533 | 20.532 | 881.0667 | 96 | 0
2019-07-08 01:15:00 | 0.95333 | 262.21 | 1.1067 | 288.1333 | 1.29 | 315.8667 | 0.42333 | 309.3667 | 20.518 | 881 | 95.3 | 0
2019-07-08 01:30:00 | 1.46 | 183.5167 | 1.68 | 201.6667 | 2.2567 | 227.8667 | 2.0433 | 222.9 | 20.4807 | 881 | 95.6333 | 0
2019-07-08 01:45:00 | 2.44 | 173.6013 | 2.8047 | 190.7667 | 3.274 | 211.2867 | 3.09 | 212.6133 | 20.136 | 881 | 97.24 | 0
2019-07-08 02:00:00 | 2.1767 | 167.63 | 2.5067 | 184.2 | 2.7933 | 201.4333 | 2.6 | 205.1667 | 19.8333 | 881 | 97.9 | 0
2019-07-08 02:15:00 | 1.7033 | 170.8067 | 1.96 | 187.7 | 2.29 | 205.4667 | 1.9767 | 207.1333 | 19.6567 | 881 | 98.06 | 0
2019-07-08 02:30:00 | 1.3033 | 175.3067 | 1.5067 | 192.6333 | 1.67 | 195.5333 | 1.71 | 200.7333 | 19.6273 | 881 | 98.5 | 0
2019-07-08 02:45:00 | 0.97333 | 176.49 | 1.1267 | 193.9333 | 1.48 | 190 | 1.7067 | 187.0333 | 19.56 | 881 | 98.8 | 0
2019-07-08 03:00:00 | 0.66667 | 184.8567 | 0.77333 | 203.1333 | 1.04 | 196.8 | 1.6467 | 186.9667 | 19.4933 | 881 | 99.0267 | 0
2019-07-08 03:15:00 | 0.08 | 209.64 | 0.093333 | 230.3667 | 0.073333 | 212.6 | 0.11333 | 191.2 | 19.43 | 881 | 99.4 | 0
2019-07-08 03:30:00 | 0.02 | 182.4067 | 0.02 | 200.4467 | 0.026667 | 101.96 | 0.04 | 88.7133 | 19.43 | 881 | 99.7333 | 0
2019-07-08 03:45:00 | 1.1933 | 223.68 | 1.3833 | 245.8 | 2.3233 | 13.3833 | 2.6933 | 14.76 | 19.4207 | 881 | 99.9067 | 0
2019-07-08 04:00:00 | 1.98 | 294.0533 | 2.29 | 323.1333 | 3.85 | 9.3967 | 3.78 | 14.0267 | 19.2167 | 881 | 100 | 0
2019-07-08 04:15:00 | 2.1333 | 215.87 | 2.4567 | 237.2167 | 3.9033 | 7.8733 | 4.32 | 18.5633 | 18.8167 | 880.8 | 100 | 0
2019-07-08 04:30:00 | 2.1467 | 199.2433 | 2.4833 | 218.95 | 4.1167 | 8.94 | 4.24 | 17.1367 | 18.6167 | 880 | 100 | 0
2019-07-08 04:45:00 | 2.2667 | 270.8213 | 2.6047 | 297.5933 | 4.428 | 9.78 | 4.686 | 18.7327 | 18.5333 | 880 | 100 | 0
2019-07-08 05:00:00 | 3.09 | 317.4093 | 3.5533 | 348.7933 | 5.1767 | 6.56 | 5.4467 | 13.9067 | 18.4233 | 880 | 100 | 0
2019-07-08 05:15:00 | 3.36 | 12.99 | 3.8633 | 14.2667 | 5.2133 | 121.9133 | 5.56 | 17.2067 | 18.2133 | 880.8667 | 100 | 0
2019-07-08 05:30:00 | 3.5867 | 180.0767 | 4.1233 | 197.88 | 5.7 | 120.2467 | 5.9667 | 16.9667 | 18.12 | 881 | 100 | 0
2019-07-08 05:45:00 | 3.4267 | 130.0433 | 3.9433 | 142.9 | 6.0367 | 240.0067 | 6.24 | 18.65 | 18.072 | 881 | 100 | 0
2019-07-08 06:00:00 | 3.34 | 314.05 | 3.8433 | 345.1 | 5.6767 | 234.0733 | 5.9533 | 17.3367 | 18.0333 | 881 | 100 | 0
2019-07-08 06:15:00 | 3.7133 | 310.4067 | 4.2733 | 341.1 | 6.2233 | 11.0267 | 6.7967 | 27.4033 | 17.94 | 881 | 100 | 0
2019-07-08 06:30:00 | 3.5533 | 296.8133 | 4.0867 | 326.1667 | 6.51 | 6.9733 | 6.8033 | 17.1833 | 17.8667 | 881 | 100 | 0
2019-07-08 06:45:00 | 3.1933 | 24.1533 | 3.6767 | 26.5367 | 5.8933 | 120.62 | 6.0133 | 7.9733 | 17.848 | 881 | 100 | 0
2019-07-08 07:00:00 | 2.8933 | 13.5267 | 3.33 | 14.8567 | 5.3867 | 133.84 | 5.4467 | 5.3467 | 17.84 | 881 | 100 | 0
2019-07-08 07:15:00 | 2.79 | 102.91 | 3.2133 | 113.0867 | 5.17 | 114.9933 | 5.25 | 23.6667 | 17.8447 | 881 | 100 | 0
2019-07-08 07:30:00 | 2.6033 | 311.1367 | 3 | 341.9 | 4.7167 | 341.5667 | 4.53 | 240.5067 | 17.83 | 881 | 100 | 0
2019-07-08 07:45:00 | 2.23 | 217.4167 | 2.5733 | 238.9133 | 4.1533 | 144.6867 | 4.1867 | 4.5867 | 17.792 | 881 | 100 | 0
2019-07-08 08:00:00 | 2.0167 | 2.2033 | 2.3267 | 2.4133 | 3.64 | 120.1733 | 3.6667 | 17.9667 | 17.8107 | 881 | 100 | 0
2019-07-08 08:15:00 | 1.88 | 106.54 | 2.1633 | 117.08 | 3.04 | 8.5567 | 2.8267 | 7.64 | 17.824 | 881.8667 | 100 | 0
2019-07-08 08:30:00 | 1.56 | 109.2133 | 1.79 | 120.0067 | 2.44 | 13.4967 | 2.7067 | 13.7933 | 17.8933 | 882 | 100 | 0
2019-07-08 08:45:00 | 1.3467 | 8.34 | 1.5567 | 9.1633 | 2.35 | 348.6333 | 2.3733 | 144.18 | 18.026 | 882 | 100 | 0
2019-07-08 09:00:00 | 1.3933 | 211.6667 | 1.61 | 232.5967 | 2.2367 | 118.9933 | 2.3533 | 134.48 | 18.0833 | 882 | 100 | 0
2019-07-08 09:15:00 | 1.46 | 128.3633 | 1.69 | 141.0467 | 2.7133 | 11.05 | 2.84 | 28.0333 | 18.2433 | 882 | 100 | 0
2019-07-08 09:30:00 | 1.5533 | 293.99 | 1.7833 | 323.0667 | 2.8267 | 13.09 | 3.1533 | 25.34 | 18.2833 | 882 | 100 | 0
2019-07-08 09:45:00 | 1.8233 | 180.5133 | 2.1067 | 198.3633 | 3.3967 | 6.2533 | 3.3833 | 19.8167 | 18.326 | 882 | 100 | 0
2019-07-08 10:00:00 | 1.87 | 207.6333 | 2.16 | 228.1633 | 3.17 | 15.94 | 3.0633 | 20.0767 | 18.4433 | 882 | 100 | 0
2019-07-08 10:15:00 | 1.9733 | 217.1027 | 2.27 | 238.57 | 3.1933 | 126.52 | 2.92 | 21.61 | 18.4233 | 882 | 100 | 0
2019-07-08 10:30:00 | 2.3 | 12.5133 | 2.6433 | 13.7367 | 3.5067 | 122.9667 | 3.3067 | 14.4167 | 18.59 | 882 | 100 | 0
2019-07-08 10:45:00 | 2.1667 | 120.53 | 2.5 | 132.4467 | 3.34 | 130.0667 | 3.3367 | 138.2733 | 18.986 | 882 | 100 | 0
2019-07-08 11:00:00 | 2.26 | 286.6167 | 2.6 | 314.9667 | 3.2133 | 118.5 | 3.25 | 354.8333 | 18.93 | 882.5333 | 100 | 0
2019-07-08 11:15:00 | 2.734 | 157.0927 | 3.146 | 172.6293 | 4.5013 | 4.9067 | 4.598 | 48.528 | 19.1047 | 883 | 100 | 0
2019-07-08 11:30:00 | 2.7767 | 322.93 | 3.1967 | 354.8667 | 4.52 | 8.2267 | 4.5433 | 8.2267 | 19.2167 | 883 | 100 | 0
2019-07-08 11:45:00 | 2.8467 | 13.74 | 3.2767 | 15.0933 | 4.7567 | 21.0233 | 4.7 | 14.3633 | 19.3867 | 882.8 | 100 | 0
2019-07-08 12:00:00 | 2.7267 | 9.7133 | 3.1433 | 10.6667 | 4.51 | 11.5433 | 4.1933 | 13.75 | 19.8133 | 882.5333 | 100 | 0
2019-07-08 12:15:00 | 2.7333 | 308.34 | 3.14 | 338.8333 | 4.2833 | 13.88 | 3.93 | 5.93 | 20.7367 | 883 | 99.7667 | 0
2019-07-08 12:30:00 | 3.0667 | 320.7733 | 3.5267 | 352.5 | 4.15 | 8.7467 | 3.71 | 1.91 | 21.11 | 883 | 97.0333 | 0
2019-07-08 12:45:00 | 2.7733 | 309.6733 | 3.1967 | 340.3 | 4.2733 | 237.9167 | 3.9333 | 1.49 | 21.3367 | 883 | 94.3667 | 0
2019-07-08 13:00:00 | 2.9933 | 161.1067 | 3.4433 | 177.0333 | 4.6533 | 4.99 | 4.44 | 2.75 | 21.5367 | 883 | 92.8333 | 0
2019-07-08 13:15:00 | 2.66 | 129.38 | 3.07 | 142.1733 | 4.4 | 9.1033 | 3.9633 | 12.0267 | 22.18 | 883 | 93.0333 | 0
2019-07-08 13:30:00 | 2.62 | 135.14 | 3.0233 | 148.4933 | 4.1867 | 6.9967 | 3.93 | 23.9 | 22.88 | 883 | 89.3667 | 0
2019-07-08 13:45:00 | 2.0533 | 12.53 | 2.3633 | 13.7667 | 3.0233 | 134.32 | 2.5667 | 140.56 | 23.44 | 883 | 84.2 | 0
2019-07-08 14:00:00 | 1.76 | 56.03 | 2.03 | 61.5733 | 2.0567 | 143.36 | 1.54 | 158.7 | 23.2893 | 883 | 82.7333 | 0
2019-07-08 14:15:00 | 3 | 147 | 3.46 | 161.5333 | 3.6667 | 185.9333 | 3.7367 | 191.5 | 22.51 | 883 | 87.6333 | 0
2019-07-08 14:30:00 | 3.24 | 159.86 | 3.7267 | 175.6667 | 3.9867 | 179.5333 | 3.9433 | 206.3 | 21.9567 | 883 | 88.5 | 0
2019-07-08 14:45:00 | 2.2333 | 175.1467 | 2.5733 | 192.4667 | 2.7133 | 193.9 | 2.4233 | 218.4 | 22.44 | 883 | 87 | 0
2019-07-08 15:00:00 | 2.46 | 146.9333 | 2.8333 | 161.4667 | 2.8667 | 169.5667 | 2.6433 | 193.5333 | 22.9667 | 882.4667 | 85.5333 | 0
2019-07-08 15:15:00 | 2.6467 | 166.2033 | 3.05 | 182.6333 | 3.2367 | 185.3333 | 3.0633 | 198.2333 | 23.12 | 882 | 84.5333 | 0
2019-07-08 15:30:00 | 2.9067 | 150.6033 | 3.3433 | 165.5 | 3.5367 | 168.2667 | 3.4767 | 207.0333 | 23.2733 | 882 | 85 | 0
2019-07-08 15:45:00 | 2.9367 | 147.27 | 3.3767 | 161.8333 | 3.4233 | 182.3667 | 3.29 | 186.1667 | 23.994 | 882.8667 | 81.52 | 0
2019-07-08 16:00:00 | 2.65 | 144.0033 | 3.05 | 158.2333 | 3.2167 | 170.9667 | 3.1967 | 218.3 | 24.0313 | 883 | 81.8667 | 0
2019-07-08 16:15:00 | 2.31 | 157.8633 | 2.6667 | 173.4667 | 2.6667 | 156.5667 | 2.64 | 163.9333 | 24.334 | 883 | 79.8933 | 0
2019-07-08 16:30:00 | 2.3833 | 136.63 | 2.74 | 150.1333 | 2.86 | 175.7667 | 2.62 | 188.9333 | 24.2967 | 883 | 80.6533 | 0
2019-07-08 16:45:00 | 2.5 | 165.02 | 2.8733 | 181.3333 | 3.0033 | 180.5333 | 2.8467 | 203.6533 | 24.396 | 883 | 79.64 | 0
2019-07-08 17:00:00 | 2.4733 | 152.0933 | 2.8467 | 167.1333 | 3.03 | 209.4 | 2.8267 | 196.2667 | 24.54 | 883 | 79.0333 | 0
2019-07-08 17:15:00 | 2.5 | 184.0633 | 2.88 | 202.2667 | 3.35 | 199.9333 | 2.9733 | 207.9 | 25.0433 | 883 | 77.53 | 0
2019-07-08 17:30:00 | 2.4067 | 156.2833 | 2.7733 | 171.7333 | 3.0767 | 199.6 | 2.98 | 224.2333 | 25.1847 | 883 | 75.9033 | 0
2019-07-08 17:45:00 | 3.2533 | 152.4933 | 3.7433 | 167.5667 | 4.06 | 179.0333 | 3.87 | 177.4667 | 24.73 | 883 | 76.7467 | 0
2019-07-08 18:00:00 | 3.2333 | 162.3733 | 3.7233 | 178.4333 | 4.02 | 188.9 | 3.95 | 184 | 23.89 | 883 | 79.4467 | 0
2019-07-08 18:15:00 | 2.93 | 142.48 | 3.37 | 156.5667 | 3.6433 | 176.7 | 3.3733 | 195.6 | 24.042 | 883 | 79.2333 | 0
2019-07-08 18:30:00 | 3.05 | 154.06 | 3.5167 | 169.3 | 3.7567 | 166.3 | 3.6067 | 187 | 23.97 | 883 | 78.616 | 0
2019-07-08 18:45:00 | 3.1267 | 174.7533 | 3.6033 | 192.0333 | 3.9967 | 180.3667 | 4.2867 | 187.1 | 23.0467 | 883 | 81.3 | 0
2019-07-08 19:00:00 | 2.84 | 169.4733 | 3.2767 | 186.2333 | 3.79 | 198.9 | 3.68 | 192.5 | 22.24 | 883 | 84.3 | 0
2019-07-08 19:15:00 | 2.4833 | 160.19 | 2.8567 | 176.0333 | 3.3967 | 202.0733 | 3.3033 | 212.4 | 21.784 | 883 | 85.8667 | 0
2019-07-08 19:30:00 | 2.7367 | 155.2167 | 3.15 | 170.5667 | 3.5567 | 193.4333 | 3.4567 | 211.3333 | 21.784 | 882.4667 | 86.0533 | 0
2019-07-08 19:45:00 | 2.952 | 144.066 | 3.398 | 158.3067 | 4.054 | 200.3533 | 3.9847 | 201.46 | 21.4713 | 882 | 87.36 | 0
2019-07-08 20:00:00 | 2.5 | 144.6933 | 2.88 | 159 | 3.4067 | 188.7333 | 3.2733 | 189.8333 | 21.27 | 882.5333 | 87.3 | 0
2019-07-08 20:15:00 | 2.24 | 150.4533 | 2.5767 | 165.3333 | 2.87 | 178.9333 | 2.8433 | 178.7667 | 21.34 | 883 | 86.3 | 0
2019-07-08 20:30:00 | 2.04 | 172.06 | 2.35 | 189.0667 | 2.6767 | 174.2 | 2.6633 | 173.4333 | 21.2867 | 883 | 86.5667 | 0
2019-07-08 20:45:00 | 1.88 | 166.2033 | 2.1633 | 182.6333 | 2.4267 | 170.7 | 2.5833 | 169.4867 | 21.19 | 883 | 87.12 | 0
2019-07-08 21:00:00 | 1.7733 | 162.1433 | 2.0367 | 178.1667 | 2.4333 | 168.7667 | 2.4833 | 171.6333 | 21.15 | 883 | 87.2533 | 0
2019-07-08 21:15:00 | 0.73667 | 202.5633 | 0.85333 | 222.6 | 1.4433 | 110.9433 | 1.7067 | 114.0433 | 21.0333 | 883 | 87.52 | 0
2019-07-08 21:30:00 | 0.93667 | 304.73 | 1.0733 | 334.8667 | 1.6233 | 7.5833 | 1.44 | 27.5833 | 20.9067 | 883 | 87.5467 | 0
2019-07-08 21:45:00 | 1.44 | 319.7767 | 1.66 | 351.4 | 2.3367 | 11.5033 | 1.8233 | 19.1267 | 20.66 | 883 | 87.7333 | 0
2019-07-08 22:00:00 | 1.9267 | 104.2633 | 2.2267 | 114.5667 | 2.69 | 10.9833 | 2.5033 | 12.16 | 20.3867 | 883 | 87.2667 | 0
2019-07-08 22:15:00 | 2.2467 | 314.38 | 2.5967 | 345.4667 | 2.9467 | 4.99 | 2.7833 | 24.1433 | 20.242 | 883 | 86.48 | 0
2019-07-08 22:30:00 | 2.4333 | 114.8733 | 2.81 | 126.22 | 3.5333 | 7.4033 | 3.2033 | 5.5433 | 20.0833 | 883 | 87.0667 | 0
2019-07-08 22:45:00 | 2.56 | 17.5667 | 2.9467 | 19.3033 | 4.2033 | 119.32 | 4.04 | 14.2433 | 19.8067 | 883 | 88.1 | 0
2019-07-08 23:00:00 | 2.64 | 8.4867 | 3.0333 | 9.3233 | 4.5767 | 215.2333 | 4.5933 | 13.17 | 19.6533 | 883 | 87.9 | 0
2019-07-08 23:15:00 | 2.8733 | 319.3633 | 3.3067 | 350.9333 | 5.2867 | 18.5167 | 4.84 | 23.5333 | 19.46 | 883 | 88.8 | 0
2019-07-08 23:30:00 | 3.3267 | 301.03 | 3.8333 | 330.8 | 5.74 | 19.7033 | 5.3733 | 9.44 | 19.26 | 883 | 89.0667 | 0
2019-07-08 23:45:00 | 3.0867 | 307.06 | 3.5533 | 337.4333 | 4.7367 | 237.51 | 4.49 | 6.6767 | 19.0933 | 883 | 89.1 | 0