## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-09 00:00:00 | 2.6686 | 313.67 | 3.07 | 344.6929 | 4.6057 | 8.3114 | 4.3643 | 8.7179 | 18.9629 | 883 | 90.1357 | 0
2019-07-09 00:15:00 | 3.01 | 137.84 | 3.4733 | 151.4667 | 5.3867 | 255.1633 | 5.2467 | 237.3467 | 18.7333 | 883 | 91.3 | 0
2019-07-09 00:30:00 | 3.2367 | 277.8933 | 3.7267 | 305.3667 | 5.5667 | 22.9433 | 5.42 | 5.96 | 18.5867 | 883 | 91.5 | 0
2019-07-09 00:45:00 | 3.5 | 112.2267 | 4.0267 | 123.3267 | 5.7167 | 240.2667 | 5.45 | 245.7 | 18.4633 | 883 | 91.7 | 0
2019-07-09 01:00:00 | 3.5867 | 126.3667 | 4.1267 | 138.8667 | 5.95 | 12.88 | 5.59 | 22.3733 | 18.35 | 883 | 92.1 | 0
2019-07-09 01:15:00 | 4.0733 | 310.7133 | 4.6867 | 341.4333 | 7.4467 | 13.27 | 7.2067 | 20.8667 | 18.1433 | 883 | 93.3 | 0
2019-07-09 01:30:00 | 4.0067 | 313.14 | 4.6067 | 344.1 | 7.5 | 241.8233 | 7.2133 | 60.9867 | 17.97 | 883 | 93.7 | 0
2019-07-09 01:45:00 | 4.0667 | 303.9433 | 4.6833 | 334 | 7.03 | 5.1967 | 6.7533 | 9.17 | 17.82 | 882.3333 | 93.9333 | 0
2019-07-09 02:00:00 | 3.816 | 150.496 | 4.402 | 165.38 | 6.756 | 35.268 | 6.698 | 219.208 | 17.778 | 882 | 93.6333 | 0
2019-07-09 02:15:00 | 3.8473 | 59.072 | 4.4247 | 64.9133 | 6.926 | 20.2553 | 6.784 | 355.02 | 17.6367 | 882 | 94.6467 | 0
2019-07-09 02:30:00 | 4.3 | 204.36 | 4.9467 | 224.5667 | 7.6933 | 239.1867 | 7.62 | 121.5667 | 17.61 | 882 | 94.1667 | 0
2019-07-09 02:45:00 | 4.1933 | 155.7533 | 4.8333 | 171.15 | 7.3767 | 4.7667 | 7.25 | 13.6333 | 17.6167 | 882 | 93.8 | 0
2019-07-09 03:00:00 | 4.9733 | 183.8333 | 5.72 | 202.0167 | 7.99 | 22.6533 | 7.9833 | 16.4533 | 17.6 | 882 | 93.6667 | 0
2019-07-09 03:15:00 | 4.8667 | 320.0533 | 5.6067 | 351.7 | 8.32 | 187.7767 | 7.93 | 10.01 | 17.51 | 882 | 94.4 | 0
2019-07-09 03:30:00 | 4.4733 | 150.2 | 5.1467 | 165.0467 | 7.0533 | 232.8433 | 6.6967 | 6.8367 | 17.4633 | 882 | 94.1667 | 0
2019-07-09 03:45:00 | 4.4133 | 31.7633 | 5.0767 | 34.9 | 7.36 | 345.7 | 7.2133 | 236.0633 | 17.3733 | 882 | 94.2667 | 0
2019-07-09 04:00:00 | 4.32 | 41.6367 | 4.9767 | 45.7533 | 7.4267 | 125.3867 | 7.0867 | 13.8033 | 17.1667 | 882 | 94.9 | 0
2019-07-09 04:15:00 | 4.6133 | 299.06 | 5.3087 | 328.6393 | 7.6493 | 8.752 | 7.5253 | 17.748 | 16.996 | 882 | 95.5467 | 0
2019-07-09 04:30:00 | 4.9 | 159.4967 | 5.6367 | 175.2667 | 8.48 | 10.0333 | 8.41 | 238.1133 | 16.8833 | 881 | 96.3667 | 0
2019-07-09 04:45:00 | 4.7267 | 221.6567 | 5.44 | 243.5667 | 8.3433 | 9.38 | 8.4667 | 19.56 | 16.65 | 881 | 97.2667 | 0
2019-07-09 05:00:00 | 4.7067 | 110.4033 | 5.42 | 121.3133 | 7.75 | 226.26 | 7.44 | 10.5067 | 16.5767 | 881 | 97.3333 | 0
2019-07-09 05:15:00 | 4.12 | 283.8067 | 4.7367 | 311.8667 | 6.9233 | 232.3667 | 6.8333 | 15.8 | 16.5433 | 881 | 97 | 0
2019-07-09 05:30:00 | 3.7867 | 300.7267 | 4.3633 | 330.4667 | 6.53 | 0.52667 | 6.5667 | 14.66 | 16.4333 | 881 | 97.0333 | 0
2019-07-09 05:45:00 | 3.8667 | 195.4867 | 4.4433 | 214.81 | 7.0933 | 235.5267 | 6.96 | 16.5 | 16.2733 | 881 | 97.4667 | 0
2019-07-09 06:00:00 | 4.2067 | 218.54 | 4.8367 | 240.1433 | 7.4533 | 2.12 | 7.4933 | 4.9 | 16.2133 | 881 | 97.8 | 0
2019-07-09 06:15:00 | 3.7367 | 109.66 | 4.3067 | 120.4933 | 6.7767 | 339.6333 | 6.8067 | 116.78 | 16.18 | 881.6667 | 97.9667 | 0
2019-07-09 06:30:00 | 3.8433 | 118.5533 | 4.42 | 130.2667 | 6.7967 | 350.7667 | 6.8267 | 118.6267 | 16.23 | 882 | 97.7333 | 0
2019-07-09 06:45:00 | 3.72 | 54.18 | 4.2767 | 59.5333 | 6.7833 | 116.36 | 6.7733 | 5.7733 | 16.5867 | 882 | 96.4333 | 0
2019-07-09 07:00:00 | 4.0333 | 218.22 | 4.6367 | 239.8 | 7.2567 | 334.6333 | 7.08 | 6 | 17.34 | 882 | 93.5667 | 0
2019-07-09 07:15:00 | 4.2067 | 216.8867 | 4.84 | 238.3333 | 7.9133 | 10.5633 | 8.12 | 15.6433 | 18.27 | 882 | 90.3667 | 0
2019-07-09 07:30:00 | 4.4933 | 130.5 | 5.18 | 143.3933 | 7.6 | 10.4833 | 7.86 | 11.69 | 18.77 | 882.3333 | 87.1 | 0
2019-07-09 07:45:00 | 4.0533 | 25.6567 | 4.6667 | 28.19 | 7.1133 | 12.7 | 7.32 | 13.9333 | 19.2233 | 883 | 86.5 | 0
2019-07-09 08:00:00 | 4.02 | 209.2567 | 4.6333 | 229.95 | 7.2533 | 8.8133 | 7.0733 | 16.4 | 20.1167 | 883 | 84.5 | 0
2019-07-09 08:15:00 | 4.1033 | 32.3133 | 4.7267 | 35.5 | 7.6633 | 15.1167 | 7.5233 | 20.2533 | 20.9767 | 883 | 82.1667 | 0
2019-07-09 08:30:00 | 4.25 | 224.9533 | 4.8867 | 247.2 | 7.63 | 17.7367 | 7.0767 | 14.0933 | 21.4367 | 883.3333 | 80.5 | 0
2019-07-09 08:45:00 | 4.3067 | 136.718 | 4.9533 | 150.2367 | 7.898 | 16.504 | 7.776 | 219.9947 | 21.8687 | 884 | 79.4387 | 0
2019-07-09 09:00:00 | 4.72 | 204.8633 | 5.4333 | 225.1233 | 8.5067 | 14.0767 | 8.6167 | 20.2033 | 22.2233 | 884 | 78.71 | 0
2019-07-09 09:15:00 | 4.8933 | 267.45 | 5.6367 | 293.9 | 8.8833 | 14.48 | 9.1033 | 20.3867 | 22.8233 | 884 | 77.4433 | 0
2019-07-09 09:30:00 | 4.698 | 291.548 | 5.412 | 320.38 | 8.274 | 16.018 | 8.29 | 28.554 | 23.43 | 885 | 74.502 | 0
2019-07-09 09:45:00 | 4.5867 | 114.18 | 5.2767 | 125.47 | 8.27 | 21.6933 | 8.2233 | 28.88 | 23.3667 | 885 | 74.9967 | 0
2019-07-09 10:00:00 | 4.6533 | 214.1067 | 5.3633 | 235.27 | 8.1367 | 23.0333 | 8.0033 | 24.5067 | 23.6067 | 885 | 73.8167 | 0
2019-07-09 10:15:00 | 4.8267 | 126.0933 | 5.5567 | 138.5667 | 8.7433 | 13.4567 | 8.29 | 21.6767 | 23.72 | 885 | 72.8567 | 0
2019-07-09 10:30:00 | 4.7 | 112.9467 | 5.41 | 124.1133 | 8.1833 | 11.5167 | 8.09 | 18.7967 | 23.7833 | 885 | 72.1767 | 0
2019-07-09 10:45:00 | 4.732 | 111.9167 | 5.4427 | 122.986 | 8.2693 | 7.2193 | 7.886 | 16.1993 | 23.8933 | 885 | 72.128 | 0
2019-07-09 11:00:00 | 4.5867 | 117.4133 | 5.28 | 129.02 | 8.2133 | 9.56 | 7.8867 | 19.71 | 24.13 | 884.3333 | 72.2467 | 0
2019-07-09 11:15:00 | 4.6933 | 152.8667 | 5.3967 | 167.98 | 8.42 | 18.27 | 8.0667 | 24.1667 | 24.8 | 885 | 69.8 | 0
2019-07-09 11:30:00 | 4.1733 | 11.24 | 4.81 | 12.3467 | 7.2 | 25.8967 | 7.3467 | 35.6333 | 24.9867 | 885 | 68.96 | 0
2019-07-09 11:45:00 | 3.8733 | 159.9967 | 4.46 | 175.8233 | 6.5867 | 33.76 | 6.42 | 32.2533 | 24.99 | 885 | 68.9367 | 0
2019-07-09 12:00:00 | 3.58 | 67.1167 | 4.12 | 73.7567 | 6.0733 | 16.1733 | 6.22 | 28.7533 | 25.1467 | 885 | 68.5567 | 0
2019-07-09 12:15:00 | 4.056 | 194.51 | 4.6633 | 213.74 | 6.9433 | 17.2267 | 6.9093 | 21.6893 | 25.552 | 884.3333 | 67.4753 | 0
2019-07-09 12:30:00 | 4.82 | 12.01 | 5.5433 | 13.1933 | 8.49 | 27.38 | 8.1533 | 21.9533 | 25.76 | 884 | 66.4033 | 0
2019-07-09 12:45:00 | 4.6067 | 290.3267 | 5.3 | 319.0333 | 7.9833 | 17.2633 | 7.8967 | 24.8 | 25.9133 | 884 | 64.83 | 0
2019-07-09 13:00:00 | 4.5067 | 138.82 | 5.1933 | 152.54 | 7.8433 | 16.7433 | 7.4633 | 24.3 | 26.0267 | 884 | 64.5033 | 0
2019-07-09 13:15:00 | 3.8467 | 68.4733 | 4.42 | 75.2467 | 6.5133 | 16.3467 | 6.35 | 30.52 | 26.21 | 884 | 63.9667 | 0
2019-07-09 13:30:00 | 3.4933 | 262.8333 | 4.02 | 288.8333 | 5.8133 | 24.8667 | 5.65 | 33.3867 | 26.4967 | 883.6667 | 62.5533 | 0
2019-07-09 13:45:00 | 3.34 | 86.8567 | 3.8433 | 95.4433 | 5.6933 | 10.9 | 5.46 | 21.41 | 26.7933 | 883 | 61.6267 | 0
2019-07-09 14:00:00 | 2.7533 | 232.5833 | 3.1767 | 255.5767 | 4.66 | 17.9267 | 4.5333 | 22.61 | 27.2333 | 883 | 60.5567 | 0
2019-07-09 14:15:00 | 2.5733 | 115.0433 | 2.9633 | 126.4067 | 4.2167 | 12.87 | 4.07 | 27.3367 | 27.74 | 883 | 58.4367 | 0
2019-07-09 14:30:00 | 1.92 | 156.25 | 2.2233 | 171.7 | 3.1033 | 38.7433 | 3.23 | 39.2567 | 27.79 | 883 | 56.1567 | 0
2019-07-09 14:45:00 | 2.2 | 255.05 | 2.5367 | 280.2667 | 3.5467 | 17.96 | 3.41 | 23.37 | 28.1067 | 883 | 55.3333 | 0
2019-07-09 15:00:00 | 2.5867 | 144.81 | 2.9767 | 159.1333 | 4.5 | 6.9 | 4.21 | 8.9567 | 28.5867 | 883 | 54.6733 | 0
2019-07-09 15:15:00 | 2.2867 | 110.8667 | 2.6333 | 121.8267 | 3.6533 | 46.1367 | 3.6867 | 17.7733 | 29.01 | 883 | 51.11 | 0
2019-07-09 15:30:00 | 2.6333 | 296.66 | 3.0333 | 326 | 4.16 | 240.7633 | 3.9667 | 20.6067 | 28.73 | 883 | 52.0367 | 0
2019-07-09 15:45:00 | 2.7067 | 217.78 | 3.1133 | 239.32 | 4.3567 | 239.7367 | 4.15 | 234.27 | 29.26 | 883 | 50.9567 | 0
2019-07-09 16:00:00 | 2.68 | 156.3267 | 3.08 | 171.7867 | 4.6967 | 5.0367 | 4.37 | 11.3967 | 29.036 | 883 | 52.3367 | 0
2019-07-09 16:15:00 | 2.8633 | 276.22 | 3.2967 | 303.5333 | 4.8833 | 118.1533 | 4.64 | 126.6067 | 28.1567 | 883 | 54.4533 | 0
2019-07-09 16:30:00 | 2.8633 | 223.3267 | 3.2967 | 245.4 | 5.1967 | 121.56 | 4.8867 | 355.7333 | 27.4567 | 883 | 56.9733 | 0
2019-07-09 16:45:00 | 2.2533 | 40.57 | 2.6 | 44.58 | 4.33 | 350.0333 | 4.2733 | 263.0333 | 26.6467 | 882.4667 | 57.87 | 0
2019-07-09 17:00:00 | 1.84 | 244.7967 | 2.12 | 269 | 3.31 | 128.5467 | 3.2267 | 36.4533 | 26.16 | 882 | 58.61 | 0
2019-07-09 17:15:00 | 1.82 | 96.8733 | 2.0933 | 106.4467 | 2.98 | 328.4667 | 2.9733 | 329.8333 | 25.4167 | 882 | 57.37 | 0
2019-07-09 17:30:00 | 1.6 | 291.42 | 1.8467 | 320.2333 | 2.9733 | 329.4667 | 3.04 | 341.5667 | 25.124 | 881.1333 | 59.3767 | 0
2019-07-09 17:45:00 | 1.3867 | 234.08 | 1.59 | 257.2333 | 2.4567 | 301.2 | 2.5667 | 338.3533 | 25.084 | 881 | 61.4333 | 0
2019-07-09 18:00:00 | 0.992 | 218.616 | 1.138 | 240.24 | 1.792 | 228.74 | 1.52 | 274.04 | 25.1493 | 881 | 60.184 | 0
2019-07-09 18:15:00 | 0.043333 | 189.19 | 0.056667 | 207.9 | 0.076667 | 228.94 | 0.01 | 234.4 | 25.6767 | 881 | 61.6867 | 0
2019-07-09 18:30:00 | 0.19667 | 208.9033 | 0.22333 | 229.5667 | 0.23667 | 228.82 | 0.07 | 234.4 | 26.2433 | 881 | 59.1667 | 0
2019-07-09 18:45:00 | 0.11133 | 301.8367 | 0.12733 | 331.68 | 0.204 | 155.26 | 0.15267 | 207 | 27.1613 | 881.5333 | 59.4807 | 0
2019-07-09 19:00:00 | 0.16 | 310.238 | 0.18667 | 340.92 | 0.29 | 149.9133 | 0.14667 | 152.2 | 27.2233 | 882 | 60.0367 | 0
2019-07-09 19:15:00 | 1.476 | 163.226 | 1.7 | 179.36 | 1.814 | 170.86 | 1.772 | 202.3 | 26.04 | 882 | 59.784 | 0
2019-07-09 19:30:00 | 0.29333 | 118.13 | 0.33333 | 129.8 | 0.42333 | 107.2867 | 0.65333 | 86.1067 | 25.24 | 882 | 62.172 | 0
2019-07-09 19:45:00 | 0.74 | 91.3767 | 0.85333 | 100.4 | 1.1967 | 146.8 | 1.0433 | 196.4 | 24.9633 | 882 | 63.97 | 0
2019-07-09 20:00:00 | 0.64 | 237.6967 | 0.74 | 261.2 | 0.97667 | 52.7467 | 0.75 | 166.6667 | 24.6833 | 882 | 66.5967 | 0
2019-07-09 20:15:00 | 1.4133 | 306.9733 | 1.63 | 337.3333 | 2.5733 | 16.6733 | 2.62 | 28.4133 | 24.0967 | 882 | 69.6767 | 0
2019-07-09 20:30:00 | 0.5 | 231.38 | 0.57667 | 254.2667 | 0.99333 | 23.48 | 0.93333 | 32.0733 | 23.57 | 882 | 71.6033 | 0
2019-07-09 20:45:00 | 2.25 | 184.0033 | 2.5933 | 202.2 | 2.9 | 196.2333 | 3.1 | 199.0333 | 23.4753 | 881.4667 | 72.188 | 0
2019-07-09 21:00:00 | 2.6833 | 174.9033 | 3.0867 | 192.2 | 3.4467 | 195.9667 | 3.82 | 191.3 | 23.402 | 881.2 | 73.7567 | 0
2019-07-09 21:15:00 | 2.4033 | 148.2733 | 2.76 | 162.9333 | 3.1067 | 172.5 | 3.4833 | 177.7667 | 23.19 | 882 | 75.88 | 0
2019-07-09 21:30:00 | 1.9433 | 140.44 | 2.24 | 154.3333 | 2.7 | 157.3667 | 3.1367 | 163.8333 | 22.9567 | 882 | 77.2867 | 0
2019-07-09 21:45:00 | 1.6267 | 103.73 | 1.8833 | 113.9867 | 2.22 | 14.5933 | 2.29 | 42.7933 | 22.6667 | 882 | 79.96 | 0
2019-07-09 22:00:00 | 1.68 | 277.91 | 1.9367 | 305.4 | 2.06 | 7.4333 | 2.6767 | 16.7133 | 22.24 | 882 | 83.2 | 0
2019-07-09 22:15:00 | 2.4867 | 319.8167 | 2.8567 | 351.4333 | 3.03 | 13.4767 | 2.9967 | 15.69 | 21.87 | 882 | 84.9 | 0
2019-07-09 22:30:00 | 2.5533 | 109.43 | 2.9367 | 120.2467 | 4.31 | 5.93 | 4.59 | 20.53 | 21.6833 | 882.2 | 85.7 | 0
2019-07-09 22:45:00 | 3.7167 | 17.8567 | 4.2767 | 19.6267 | 7.09 | 13.7033 | 7.0333 | 22.1267 | 21.2967 | 882.4667 | 87.6333 | 0
2019-07-09 23:00:00 | 4.45 | 182.3367 | 5.1167 | 200.3733 | 7.7633 | 12.0233 | 7.78 | 20.22 | 20.91 | 882 | 88.32 | 0
2019-07-09 23:15:00 | 4.1467 | 26.1867 | 4.77 | 28.7733 | 6.65 | 347.5 | 6.4233 | 12.2867 | 20.6267 | 882 | 89.5667 | 5.2227
2019-07-09 23:30:00 | 3.3467 | 26.3467 | 3.85 | 28.9467 | 6.15 | 130.9667 | 5.9367 | 19.6733 | 20.1667 | 882 | 92.9 | 8.2987
2019-07-09 23:45:00 | 3.14 | 317.07 | 3.6233 | 348.4333 | 5.2267 | 10.7733 | 5.16 | 7.86 | 19.59 | 882 | 94.7667 | 4.2787