## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-10 00:00:00 | 3.0129 | 309.7557 | 3.4707 | 340.3857 | 4.3407 | 2.5336 | 4.2107 | 227.1429 | 19.3136 | 881.8571 | 94.5286 | 3.9264
2019-07-10 00:15:00 | 2.8 | 312.7333 | 3.2233 | 343.6667 | 4.43 | 12.4133 | 4.8033 | 15.7667 | 19.0067 | 881 | 96.5 | 0.15
2019-07-10 00:30:00 | 2.8333 | 309.22 | 3.2633 | 339.8 | 3.9833 | 9.66 | 3.99 | 35.9667 | 18.76 | 881 | 97.4333 | 0
2019-07-10 00:45:00 | 2.6967 | 309.4133 | 3.1033 | 340 | 4.2033 | 241.5967 | 4.32 | 6.7633 | 18.62 | 881 | 98.3333 | 1.824
2019-07-10 01:00:00 | 2.6567 | 299.04 | 3.0567 | 328.6 | 4.9433 | 13.5767 | 5.1333 | 22.19 | 18.536 | 881 | 99 | 3.3487
2019-07-10 01:15:00 | 2.68 | 176.6333 | 3.0833 | 194.1 | 5.3167 | 14.6933 | 5.3133 | 25.9767 | 18.2533 | 881 | 99.1 | 4.6833
2019-07-10 01:30:00 | 2.82 | 247.3133 | 3.2433 | 271.7667 | 5.3433 | 18.1267 | 5.08 | 17.55 | 17.98 | 881 | 99.08 | 6.856
2019-07-10 01:45:00 | 3.4533 | 12.5267 | 3.9667 | 13.77 | 6.1833 | 13.96 | 6.4267 | 8.6367 | 17.7133 | 881 | 99 | 11.5053
2019-07-10 02:00:00 | 3.6667 | 214.3333 | 4.2133 | 235.5233 | 6.6367 | 6.9933 | 7.2867 | 17.544 | 17.62 | 881 | 99.2867 | 12.6113
2019-07-10 02:15:00 | 3.8667 | 319.44 | 4.45 | 351.0333 | 6.6967 | 18.8567 | 7.07 | 20.0167 | 17.5893 | 881 | 99.7 | 11.936
2019-07-10 02:30:00 | 3.8667 | 123.3067 | 4.45 | 135.5 | 6.4567 | 14.4367 | 6.89 | 10.9767 | 17.5273 | 881 | 99.92 | 7.1427
2019-07-10 02:45:00 | 3.2133 | 92.3667 | 3.7033 | 101.4933 | 5.4533 | 14.71 | 5.7067 | 13.3367 | 17.5567 | 881 | 100 | 6.1807
2019-07-10 03:00:00 | 3.2267 | 114.22 | 3.7167 | 125.5067 | 6.0733 | 13.5767 | 5.8933 | 21.11 | 17.4633 | 880.1333 | 100 | 5.7747
2019-07-10 03:15:00 | 3.3967 | 204.73 | 3.9067 | 224.9667 | 5.76 | 8.1833 | 5.6333 | 9.6067 | 17.3133 | 880 | 100 | 5.2293
2019-07-10 03:30:00 | 3.5967 | 202.3033 | 4.1467 | 222.3 | 6.0333 | 5.91 | 5.8267 | 8.94 | 17.2533 | 880 | 100 | 9.5627
2019-07-10 03:45:00 | 3.852 | 321.0707 | 4.4353 | 352.82 | 6.446 | 5.154 | 7.0353 | 13.1727 | 17.2293 | 880 | 100 | 13.558
2019-07-10 04:00:00 | 3.85 | 124.8567 | 4.43 | 137.2 | 6.9367 | 16.8267 | 7.1933 | 13.8833 | 17.326 | 880 | 100 | 11.9387
2019-07-10 04:15:00 | 3.6133 | 190.2833 | 4.1567 | 209.0967 | 6.4433 | 9.72 | 7.19 | 15.83 | 17.3967 | 880 | 100 | 9.0327
2019-07-10 04:30:00 | 3.22 | 41.1767 | 3.7033 | 45.25 | 5.7767 | 14.0267 | 6.5633 | 19.6033 | 17.1967 | 880 | 100 | 8.1213
2019-07-10 04:45:00 | 3.1067 | 214.2767 | 3.58 | 235.47 | 5.58 | 14.8733 | 5.86 | 21.88 | 17.0267 | 880 | 100 | 7.438
2019-07-10 05:00:00 | 3.0467 | 215.3767 | 3.5067 | 236.67 | 5.3667 | 13.32 | 5.8733 | 18.8067 | 17.0267 | 880 | 100 | 6.9187
2019-07-10 05:15:00 | 3.4367 | 134.4667 | 3.95 | 147.7667 | 6.48 | 11.5233 | 6.78 | 18.81 | 17.0347 | 880 | 100 | 7.83
2019-07-10 05:30:00 | 3.1567 | 94.52 | 3.63 | 103.86 | 5.8333 | 9.01 | 6.2933 | 27.5433 | 17.0107 | 880 | 100 | 8.196
2019-07-10 05:45:00 | 3.2667 | 148.5367 | 3.7567 | 163.2167 | 5.9167 | 5.58 | 6.5133 | 28.2833 | 16.96 | 880.5333 | 100 | 9.4307
2019-07-10 06:00:00 | 3.76 | 105.95 | 4.3233 | 116.4167 | 6.71 | 9.2067 | 7.06 | 22.9167 | 16.9487 | 881 | 100 | 10.95
2019-07-10 06:15:00 | 3.8467 | 302.67 | 4.4267 | 332.6 | 6.4133 | 24.4667 | 6.64 | 21.19 | 16.9427 | 881 | 100 | 11.162
2019-07-10 06:30:00 | 3.7467 | 226.4767 | 4.3133 | 248.8667 | 6.9333 | 11.2733 | 6.9 | 19.0567 | 16.894 | 881 | 100 | 13.7613
2019-07-10 06:45:00 | 3.9267 | 123.86 | 4.5167 | 136.1 | 7.4467 | 16.3333 | 7.6533 | 20.9267 | 16.8647 | 881 | 100 | 14.404
2019-07-10 07:00:00 | 4.0067 | 239.12 | 4.6167 | 262.7667 | 7.5133 | 14.7467 | 7.94 | 17.4267 | 16.896 | 881 | 100 | 12.3647
2019-07-10 07:15:00 | 3.8867 | 321.9967 | 4.4667 | 353.8333 | 6.9 | 11.72 | 7.1567 | 14.1633 | 16.89 | 881 | 100 | 12.28
2019-07-10 07:30:00 | 3.5733 | 125.2433 | 4.1067 | 137.6333 | 6.3467 | 8.9333 | 6.53 | 12.25 | 17.1233 | 881 | 100 | 12.526
2019-07-10 07:45:00 | 3.35 | 28.1687 | 3.858 | 30.95 | 5.614 | 93.1533 | 5.986 | 18.9087 | 17.26 | 881 | 100 | 12.222
2019-07-10 08:00:00 | 3.4733 | 188.56 | 4.0033 | 207.2067 | 5.7833 | 120.2733 | 6.4067 | 18.8733 | 17.298 | 881 | 100 | 14.9007
2019-07-10 08:15:00 | 3.5967 | 12.0367 | 4.1333 | 13.22 | 6.3233 | 8.1267 | 6.6367 | 20.7733 | 17.51 | 881.5333 | 100 | 15.8427
2019-07-10 08:30:00 | 3.8233 | 208.9367 | 4.3933 | 229.5867 | 6.2767 | 8.0267 | 6.7167 | 24.5 | 17.7633 | 882 | 100 | 15.2987
2019-07-10 08:45:00 | 3.8267 | 309.0367 | 4.3967 | 339.6 | 6.29 | 9.76 | 6.62 | 132.1 | 17.9667 | 882 | 100 | 15.6327
2019-07-10 09:00:00 | 3.78 | 102.2167 | 4.3433 | 112.32 | 6.07 | 15.9467 | 6.5667 | 124.6133 | 18.12 | 882 | 100 | 16.3967
2019-07-10 09:15:00 | 4.0733 | 296.4533 | 4.6867 | 325.7667 | 6.7933 | 8.08 | 6.9 | 15 | 18.79 | 882 | 100 | 16.9273
2019-07-10 09:30:00 | 4.22 | 299.98 | 4.86 | 329.6333 | 6.7333 | 32.5867 | 6.8 | 0.34 | 19.4367 | 882 | 97.4667 | 17.4393
2019-07-10 09:45:00 | 4.14 | 139.9633 | 4.76 | 153.8 | 7.0167 | 7.7933 | 6.95 | 9.09 | 20.4333 | 882 | 92.6 | 13.6627
2019-07-10 10:00:00 | 4.2467 | 109.43 | 4.8933 | 120.2467 | 6.8367 | 2.4933 | 6.7567 | 22.9433 | 21.1067 | 882 | 88.7333 | 10.4793
2019-07-10 10:15:00 | 3.97 | 119.6067 | 4.58 | 131.4267 | 6.5667 | 21.8233 | 6.4233 | 3.12 | 21.6767 | 882 | 87.0333 | 7.6133
2019-07-10 10:30:00 | 3.7767 | 106.08 | 4.3467 | 116.5733 | 6.28 | 10.4167 | 5.85 | 6.2933 | 22.5967 | 882 | 84.1667 | 4.698
2019-07-10 10:45:00 | 3.1733 | 56.4333 | 3.65 | 62.0067 | 4.9967 | 5.5067 | 4.5667 | 16.25 | 22.9347 | 882.5333 | 81.3 | 2.9747
2019-07-10 11:00:00 | 2.76 | 42.94 | 3.1767 | 47.1733 | 4.3033 | 9.5733 | 3.8867 | 25.3167 | 23.4667 | 883 | 79.66 | 1.6973
2019-07-10 11:15:00 | 2.9533 | 215.26 | 3.3967 | 236.5533 | 3.9733 | 120.66 | 3.7733 | 346.4 | 23.4067 | 883 | 78.29 | 1.2607
2019-07-10 11:30:00 | 2.7067 | 20.66 | 3.1167 | 22.7 | 3.54 | 113.68 | 3.3067 | 124.4267 | 23.3267 | 883 | 78.45 | 0.67067
2019-07-10 11:45:00 | 2.6333 | 15.9867 | 3.04 | 17.5667 | 3.4033 | 11.9967 | 3.0733 | 128.8333 | 23.8767 | 883 | 76.0367 | 0.009333
2019-07-10 12:00:00 | 2.3667 | 25.52 | 2.72 | 28.0333 | 3.39 | 238.2167 | 3.24 | 135.3933 | 24.5967 | 883 | 73.1167 | 0.017333
2019-07-10 12:15:00 | 2.6933 | 28.8267 | 3.1067 | 31.6733 | 4.1933 | 7.44 | 3.8467 | 6.1033 | 25.5033 | 883 | 69.75 | 0.004667
2019-07-10 12:30:00 | 2.78 | 9.7667 | 3.2 | 10.7333 | 4.3333 | 238.7933 | 4.1133 | 27.89 | 26.0167 | 883 | 67.3367 | 0
2019-07-10 12:45:00 | 2.54 | 100.3533 | 2.9167 | 110.2733 | 3.4033 | 20.9767 | 3.2333 | 24.5467 | 25.9267 | 883 | 61.59 | 0
2019-07-10 13:00:00 | 1.7867 | 299.8133 | 2.0633 | 329.4667 | 2.4367 | 43.19 | 1.98 | 230.58 | 26.14 | 883 | 59.8033 | 0
2019-07-10 13:15:00 | 1.46 | 101.52 | 1.68 | 111.5533 | 1.7867 | 316.7667 | 1.7033 | 307.7333 | 26.2933 | 882.4667 | 57.696 | 0
2019-07-10 13:30:00 | 0.96 | 284.1333 | 1.1133 | 312.2333 | 1.2267 | 108.3267 | 1.05 | 116.0067 | 26.6933 | 882 | 53.9333 | 0
2019-07-10 13:45:00 | 1.0067 | 115.7533 | 1.1633 | 127.2 | 1.3333 | 153.5667 | 1.0767 | 50.5933 | 27.5433 | 882 | 52.3033 | 0
2019-07-10 14:00:00 | 1.6067 | 129.5267 | 1.85 | 142.3333 | 1.9467 | 148.5667 | 1.9967 | 149.5667 | 27.7167 | 882 | 50.9033 | 0.12333
2019-07-10 14:15:00 | 0.94 | 68.5267 | 1.0767 | 75.2933 | 1.2967 | 65.2133 | 1.05 | 287.7667 | 27.55 | 882 | 52.7933 | 0
2019-07-10 14:30:00 | 1.0133 | 143.5733 | 1.1633 | 157.7667 | 1.1167 | 239.8 | 1.5433 | 221.1667 | 27.234 | 882 | 58.4267 | 0.024667
2019-07-10 14:45:00 | 2.1233 | 173.09 | 2.4433 | 190.2 | 2.7433 | 248.8 | 2.8867 | 231.9333 | 27.7367 | 882 | 59.5267 | 0
2019-07-10 15:00:00 | 2.0033 | 170.4233 | 2.3033 | 187.2667 | 2.4833 | 199.5333 | 2.46 | 210.8667 | 27.6567 | 882 | 58.3133 | 0
2019-07-10 15:15:00 | 2.0267 | 156.9533 | 2.34 | 172.4667 | 2.6633 | 161.1667 | 2.79 | 181.2333 | 28.4467 | 882 | 53.07 | 0.206
2019-07-10 15:30:00 | 1.6733 | 136.56 | 1.9333 | 150.0667 | 2.2833 | 155.5 | 2.3833 | 226.8333 | 29.18 | 882 | 50.9233 | 0.48
2019-07-10 15:45:00 | 1.9467 | 138.2033 | 2.24 | 151.8667 | 2.59 | 169.2 | 2.7367 | 160.9333 | 29.3787 | 882 | 47.8533 | 0.708
2019-07-10 16:00:00 | 2.18 | 177.4567 | 2.5067 | 195 | 3.0633 | 162.6 | 2.9767 | 170.6667 | 29.466 | 882 | 46.4267 | 0.78533
2019-07-10 16:15:00 | 2.2367 | 116.57 | 2.5767 | 128.1 | 2.98 | 141.4667 | 2.9367 | 147.6 | 29.3767 | 882 | 44.3567 | 0.032
2019-07-10 16:30:00 | 2.176 | 131.82 | 2.502 | 144.86 | 2.728 | 169 | 2.902 | 176.8 | 29.494 | 882 | 42.724 | 0
2019-07-10 16:45:00 | 2.73 | 146.24 | 3.14 | 160.7 | 3.4567 | 175.3 | 3.34 | 168.3667 | 29.3 | 882 | 43.18 | 0
2019-07-10 17:00:00 | 2.2567 | 149.46 | 2.6 | 164.2333 | 2.87 | 203.3667 | 2.86 | 195.2333 | 29.222 | 882 | 43.7667 | 0
2019-07-10 17:15:00 | 1.848 | 173.9887 | 2.1367 | 191.1867 | 2.6307 | 208.8867 | 2.874 | 216.3467 | 29.3753 | 882 | 44.1313 | 0
2019-07-10 17:30:00 | 1.8133 | 187.7033 | 2.0933 | 206.2667 | 2.42 | 216.5 | 2.44 | 222.5333 | 28.5967 | 882 | 46.72 | 0.45667
2019-07-10 17:45:00 | 1.9467 | 157.52 | 2.2467 | 173.1 | 2.75 | 219.6667 | 2.8733 | 245.6 | 28.8867 | 882 | 47.9433 | 2.686
2019-07-10 18:00:00 | 2.3867 | 145.6867 | 2.7533 | 160.1 | 3.4633 | 236.9333 | 3.6667 | 228.2 | 28.7733 | 882 | 48.4567 | 6.2647
2019-07-10 18:15:00 | 2.68 | 172.76 | 3.09 | 189.8333 | 4.06 | 230.4 | 4.3733 | 247.6667 | 28.0567 | 882 | 50.8767 | 7.1887
2019-07-10 18:30:00 | 3.0533 | 166.2067 | 3.5167 | 182.6333 | 4.6467 | 239.9333 | 4.9333 | 246.4667 | 27.0567 | 882 | 54.9567 | 12.5307
2019-07-10 18:45:00 | 3.43 | 138.8933 | 3.9433 | 152.6333 | 4.7733 | 221.3667 | 5.0767 | 242.9 | 26.4867 | 882 | 58.65 | 18.2527
2019-07-10 19:00:00 | 3.83 | 127.4867 | 4.4033 | 140.1 | 5.36 | 243.5667 | 5.6233 | 230.4333 | 26.02 | 882 | 63.37 | 20.3093
2019-07-10 19:15:00 | 3.96 | 209.3333 | 4.55 | 230.0333 | 5.55 | 235.2333 | 5.7567 | 235.8667 | 25.2667 | 881.4667 | 68.6533 | 18.9147
2019-07-10 19:30:00 | 3.12 | 158.5 | 3.59 | 174.1667 | 4.4367 | 226.8333 | 4.7767 | 231.6667 | 24.92 | 881 | 70.8733 | 14.9933
2019-07-10 19:45:00 | 2.9333 | 179.06 | 3.3733 | 196.7667 | 4.1067 | 199.5333 | 4.7833 | 215.4667 | 24.61 | 881 | 72.94 | 12.788
2019-07-10 20:00:00 | 3.36 | 202.2333 | 3.8667 | 222.2333 | 4.46 | 213.4 | 4.5833 | 219.5333 | 24.37 | 881 | 74.3267 | 8.6027
2019-07-10 20:15:00 | 3.4233 | 167.8433 | 3.9467 | 184.4333 | 4.4287 | 195 | 4.6667 | 209.4333 | 24.18 | 881 | 75.7967 | 8.1913
2019-07-10 20:30:00 | 3.21 | 170.9967 | 3.6933 | 187.9 | 3.9933 | 203.5067 | 4.24 | 195.3667 | 24.126 | 881 | 77.0233 | 5.066
2019-07-10 20:45:00 | 2.6527 | 160.472 | 3.0513 | 176.3333 | 3.3047 | 157.1467 | 3.5173 | 184.4 | 23.914 | 881 | 78.4493 | 3.8007
2019-07-10 21:00:00 | 2.8233 | 147.3333 | 3.2433 | 161.9 | 3.5433 | 176.8 | 3.7667 | 176.1667 | 23.76 | 881 | 78.4867 | 5.8127
2019-07-10 21:15:00 | 2.9567 | 169.8633 | 3.4067 | 186.6667 | 3.65 | 190.1 | 4.05 | 187.8 | 23.48 | 881 | 78.3767 | 8.4893
2019-07-10 21:30:00 | 3.09 | 177.9367 | 3.56 | 195.5333 | 3.8233 | 193.5 | 4.3033 | 204.0667 | 23.5113 | 881 | 77.2233 | 9.192
2019-07-10 21:45:00 | 3.3133 | 167.9567 | 3.8133 | 184.5667 | 4.2233 | 201.8 | 4.6133 | 202.4333 | 23.5567 | 881 | 77.5193 | 7.8487
2019-07-10 22:00:00 | 3.3067 | 177.4833 | 3.8067 | 195.0333 | 4.49 | 220.0667 | 4.8 | 217.7667 | 23.422 | 881.8667 | 80.08 | 4.2887
2019-07-10 22:15:00 | 2.6667 | 178.892 | 3.066 | 196.5733 | 3.758 | 211.4467 | 4.178 | 220.3933 | 23.26 | 882 | 82.1267 | 2.844
2019-07-10 22:30:00 | 2.3367 | 175.4533 | 2.69 | 192.8 | 3.0767 | 210.5 | 3.29 | 197.34 | 23.1467 | 882 | 83 | 2.2713
2019-07-10 22:45:00 | 2.2667 | 165.2967 | 2.6067 | 181.6333 | 2.9633 | 194.1667 | 3.3733 | 194.6 | 23.0893 | 882 | 83.2867 | 2.2687
2019-07-10 23:00:00 | 2.28 | 168.5033 | 2.62 | 185.1667 | 3.05 | 198.9667 | 3.28 | 199.6 | 22.98 | 882 | 83.62 | 1.4893
2019-07-10 23:15:00 | 2.03 | 168.0567 | 2.33 | 184.6667 | 2.9367 | 214.6667 | 2.8333 | 199.8667 | 22.9313 | 882 | 83.8333 | 1.18
2019-07-10 23:30:00 | 2.0833 | 163.0233 | 2.3967 | 179.1333 | 2.9767 | 212.72 | 2.9333 | 208.7333 | 22.8 | 882 | 85.3 | 1.312
2019-07-10 23:45:00 | 2.174 | 167.35 | 2.5027 | 183.9 | 3.4133 | 219.4467 | 3.3367 | 219.4067 | 22.636 | 882 | 86.2 | 0.81533