## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-11 00:00:00 | 2.1343 | 176.19 | 2.4557 | 193.6143 | 3.2036 | 207.5786 | 2.9379 | 204.8929 | 22.5714 | 882 | 85.8357 | 0.44071
2019-07-11 00:15:00 | 1.78 | 172.4533 | 2.0433 | 189.5 | 2.6767 | 204.3 | 2.7033 | 201.0267 | 22.71 | 882 | 84.7 | 0
2019-07-11 00:30:00 | 0.54667 | 167.3467 | 0.63667 | 183.9 | 0.99 | 205.9467 | 1.73 | 205.5667 | 22.6307 | 882 | 85.2333 | 0
2019-07-11 00:45:00 | 1.4433 | 172.0307 | 1.6667 | 189.0467 | 2.02 | 204.2667 | 2.1267 | 209.3 | 22.4633 | 882 | 86.3 | 0
2019-07-11 01:00:00 | 1.1367 | 173.26 | 1.32 | 190.4 | 1.6 | 199.2 | 1.8467 | 210.3133 | 22.3767 | 882 | 86.5 | 0
2019-07-11 01:15:00 | 0.16667 | 173.26 | 0.2 | 190.4 | 0.32333 | 199.2 | 1.1833 | 202.0933 | 22.31 | 881.4667 | 86.7333 | 0
2019-07-11 01:30:00 | 0.63333 | 136.9933 | 0.73333 | 150.5333 | 1.0167 | 175.1333 | 1.85 | 174 | 22.324 | 881 | 86.2667 | 0
2019-07-11 01:45:00 | 0.86 | 87.45 | 0.98667 | 96.09 | 1.45 | 140.2 | 1.53 | 156.9 | 22.5 | 881 | 85.3 | 0
2019-07-11 02:00:00 | 0.24667 | 207.7433 | 0.28667 | 228.29 | 0.23667 | 140.1133 | 0.42333 | 140.4133 | 22.4447 | 881 | 85.5667 | 0
2019-07-11 02:15:00 | 0.22133 | 299.348 | 0.26067 | 328.9533 | 0.038667 | 95.7 | 0.25933 | 132.2 | 22.4093 | 881 | 85.5667 | 0
2019-07-11 02:30:00 | 0.093333 | 299.372 | 0.11 | 328.98 | 0.17667 | 95.7867 | 0.59333 | 132.22 | 22.422 | 881 | 84.7667 | 0
2019-07-11 02:45:00 | 0.02 | 18.93 | 0.02 | 20.8 | 0.033333 | 95.8 | 0.14667 | 132.3 | 22.3887 | 881 | 84.3667 | 0
2019-07-11 03:00:00 | 0.006667 | 18.93 | 0.006667 | 20.8 | 0.013333 | 95.6667 | 0 | 132.3 | 22.3587 | 881 | 84.8333 | 0
2019-07-11 03:15:00 | 0.36667 | 18.9133 | 0.42667 | 20.7833 | 0.71333 | 29.2267 | 0.24667 | 43.4 | 22.3387 | 881 | 85.5 | 0
2019-07-11 03:30:00 | 0.026667 | 18.874 | 0.026667 | 20.7167 | 0.046667 | 29.16 | 0 | 43.3 | 22.1767 | 881 | 86.3 | 0
2019-07-11 03:45:00 | 0.28733 | 14.8293 | 0.334 | 16.3067 | 0.45467 | 24.4233 | 0.478 | 28.9467 | 22.044 | 881 | 87 | 0
2019-07-11 04:00:00 | 1.0567 | 212.8967 | 1.23 | 233.9467 | 1.7667 | 14.8533 | 1.43 | 0.34 | 21.9 | 881 | 87.2667 | 0
2019-07-11 04:15:00 | 1.4433 | 308.94 | 1.6667 | 339.5 | 2.0667 | 9.5267 | 1.77 | 0.42 | 21.6833 | 881 | 87.4 | 0
2019-07-11 04:30:00 | 1.77 | 310.662 | 2.04 | 341.3867 | 1.9667 | 4.86 | 1.23 | 0.44 | 21.5433 | 881 | 88.18 | 0
2019-07-11 04:45:00 | 1.5767 | 315.71 | 1.8167 | 346.9333 | 1.6867 | 6.8867 | 0.39333 | 0.57 | 21.3 | 881 | 89.6667 | 0
2019-07-11 05:00:00 | 1.99 | 299.8833 | 2.29 | 329.5333 | 2.4733 | 10.7733 | 1.64 | 15.6033 | 21.2973 | 881 | 89.2667 | 0
2019-07-11 05:15:00 | 2.1467 | 313.9533 | 2.4733 | 345 | 2.9067 | 7.1933 | 2.6267 | 19.58 | 21.38 | 881 | 89.28 | 0
2019-07-11 05:30:00 | 1.9867 | 309.5267 | 2.2933 | 340.1333 | 2.7333 | 0.29333 | 2.1067 | 13.3267 | 21.4187 | 881 | 88.7667 | 0
2019-07-11 05:45:00 | 0.96333 | 303.94 | 1.1067 | 334 | 1.5667 | 238.6633 | 1.5933 | 9.25 | 21.51 | 881 | 88.2 | 0
2019-07-11 06:00:00 | 0.26333 | 309.4 | 0.3 | 340 | 0.51333 | 2.19 | 1.0867 | 9.23 | 21.388 | 881 | 89.1333 | 0
2019-07-11 06:15:00 | 0.9 | 118.3033 | 1.0333 | 130.0067 | 1.1167 | 4.0533 | 1.3133 | 10.3 | 21.0633 | 881 | 91.0667 | 0
2019-07-11 06:30:00 | 2.42 | 324.5367 | 2.78 | 356.6333 | 3.47 | 12.7 | 3.4467 | 16.4067 | 20.6767 | 881 | 92.6667 | 0
2019-07-11 06:45:00 | 3.02 | 308.9467 | 3.4733 | 339.5 | 4.2067 | 14.58 | 4.3333 | 9.42 | 20.43 | 881 | 93.5333 | 0.38267
2019-07-11 07:00:00 | 3.2933 | 320.36 | 3.7867 | 352.0333 | 4.2533 | 4.9733 | 4.2133 | 7.7667 | 20.4 | 881 | 93.4 | 0.86933
2019-07-11 07:15:00 | 3.2867 | 12.2433 | 3.7767 | 13.45 | 4.1767 | 8.4733 | 4.3067 | 13.2567 | 20.46 | 881 | 92.6 | 1.1967
2019-07-11 07:30:00 | 2.72 | 197.0633 | 3.13 | 216.5567 | 4.2567 | 5.04 | 4.66 | 8.7167 | 20.4373 | 881 | 93.1333 | 0.24333
2019-07-11 07:45:00 | 2 | 276.2167 | 2.3 | 303.5333 | 3.23 | 25.0633 | 3.6367 | 9.5133 | 20.3707 | 881 | 94.2667 | 0.706
2019-07-11 08:00:00 | 2.2733 | 119.9833 | 2.6133 | 131.8467 | 3.7967 | 18.5833 | 4.13 | 0.47333 | 20.2433 | 881.8667 | 95 | 0.59533
2019-07-11 08:15:00 | 1.8667 | 185.0967 | 2.1567 | 203.3933 | 2.8033 | 1.32 | 3.2933 | 202.3467 | 19.9833 | 882 | 96.9667 | 6.9107
2019-07-11 08:30:00 | 3.6 | 224.7633 | 4.1433 | 246.9933 | 6.0167 | 8.9333 | 6.1733 | 9.6067 | 19.59 | 882 | 98.2333 | 9.4093
2019-07-11 08:45:00 | 2.2467 | 124.9433 | 2.5833 | 137.2933 | 3.92 | 335.9333 | 4.64 | 216.9333 | 19.38 | 882 | 99.5333 | 6.2327
2019-07-11 09:00:00 | 2.1733 | 312.3833 | 2.4967 | 343.2667 | 3.4133 | 116.9 | 4.1 | 6.5133 | 19.2873 | 882 | 99.9333 | 0.37533
2019-07-11 09:15:00 | 3.23 | 205.9867 | 3.7133 | 226.3567 | 4.6633 | 230.7067 | 4.8633 | 346.7333 | 19.1167 | 882 | 100 | 3.2007
2019-07-11 09:30:00 | 3.2433 | 186.0333 | 3.7333 | 204.4233 | 5.67 | 21.5333 | 5.5567 | 116.8533 | 19.17 | 882 | 100 | 5.1873
2019-07-11 09:45:00 | 3.4533 | 216.9133 | 3.97 | 238.3667 | 5.38 | 243.01 | 5.2667 | 15.92 | 19.11 | 882 | 100 | 3.4647
2019-07-11 10:00:00 | 2.9667 | 4.64 | 3.41 | 5.0933 | 5.1067 | 12.79 | 4.94 | 20.0333 | 18.93 | 882 | 100 | 3.5347
2019-07-11 10:15:00 | 2.92 | 10.73 | 3.3633 | 11.79 | 4.45 | 12.3967 | 4.6067 | 16.9133 | 18.87 | 882 | 100 | 5.278
2019-07-11 10:30:00 | 2.7067 | 3.8833 | 3.1233 | 4.2567 | 4.89 | 8.5233 | 5.2533 | 12.7667 | 19.0233 | 882 | 100 | 12.65
2019-07-11 10:45:00 | 3.4667 | 26.87 | 3.99 | 29.5267 | 5.8933 | 127.8667 | 6.0633 | 11.6467 | 19.2 | 882 | 100 | 15.2333
2019-07-11 11:00:00 | 3.5867 | 121.3233 | 4.1233 | 133.3133 | 6.0467 | 118.7667 | 6.23 | 11.94 | 19.2267 | 882 | 100 | 16.458
2019-07-11 11:15:00 | 3.77 | 26.41 | 4.3367 | 29.01 | 5.9433 | 10.6933 | 6.0333 | 11.0667 | 19.0833 | 882 | 100 | 16.7773
2019-07-11 11:30:00 | 3.79 | 40.9767 | 4.37 | 45.0167 | 6.09 | 229.8333 | 5.92 | 8.2467 | 19.124 | 882 | 100 | 18.1273
2019-07-11 11:45:00 | 3.4333 | 314.4433 | 3.9567 | 345.5333 | 5.7 | 355.7333 | 5.64 | 236.52 | 18.99 | 882.5333 | 100 | 16.132
2019-07-11 12:00:00 | 3.4133 | 114.6967 | 3.93 | 126.0333 | 5.9113 | 351.2667 | 5.8267 | 12.6333 | 19.0767 | 883 | 100 | 16.8667
2019-07-11 12:15:00 | 3.2867 | 215.6933 | 3.78 | 237.0167 | 5.7533 | 93.1667 | 5.8 | 6.89 | 19.1193 | 883 | 100 | 10.578
2019-07-11 12:30:00 | 2.8667 | 21.7067 | 3.2933 | 23.85 | 4.7333 | 326.5333 | 4.96 | 18.3633 | 19.162 | 883 | 100 | 9.826
2019-07-11 12:45:00 | 3.1067 | 89.99 | 3.5733 | 98.8867 | 5.42 | 238.1033 | 5.36 | 8.52 | 19.1807 | 883 | 100 | 7.9667
2019-07-11 13:00:00 | 3.3333 | 300.0967 | 3.84 | 329.7667 | 5.5 | 1.37 | 5.2467 | 8.52 | 19.1187 | 882.1333 | 100 | 8.172
2019-07-11 13:15:00 | 3.72 | 128.5367 | 4.2733 | 141.2467 | 6.2333 | 1.38 | 6.0233 | 9.0567 | 19.2133 | 882 | 100 | 11.7427
2019-07-11 13:30:00 | 3.4333 | 320.2367 | 3.9533 | 351.9 | 6.1533 | 239.2133 | 5.9833 | 5.51 | 19.36 | 882 | 100 | 18.034
2019-07-11 13:45:00 | 3.46 | 304.5887 | 3.98 | 334.7067 | 6.0133 | 239.91 | 6.1967 | 20.8467 | 19.386 | 882 | 100 | 20.99
2019-07-11 14:00:00 | 3.6333 | 100.1133 | 4.18 | 110.0133 | 6.1667 | 237.3767 | 6.13 | 13.5733 | 19.366 | 882 | 100 | 20.3393
2019-07-11 14:15:00 | 3.1867 | 109.3367 | 3.6633 | 120.14 | 5.2867 | 354.6 | 5.3933 | 23.06 | 19.3427 | 882 | 100 | 17.2713
2019-07-11 14:30:00 | 2.838 | 128.37 | 3.262 | 141.064 | 5.048 | 145.046 | 5.16 | 14.172 | 19.23 | 882 | 100 | 17.1553
2019-07-11 14:45:00 | 3.6533 | 213.56 | 4.1967 | 234.67 | 6.2133 | 11.1333 | 6.4367 | 13.5067 | 19.2467 | 882 | 100 | 19.818
2019-07-11 15:00:00 | 3.7333 | 4.48 | 4.2967 | 4.9167 | 6.4533 | 237.8467 | 6.4567 | 16.5667 | 19.2267 | 882 | 100 | 22.276
2019-07-11 15:15:00 | 3.64 | 243.5153 | 4.1847 | 267.6 | 6.3173 | 7.93 | 6.9027 | 8.006 | 19.32 | 882 | 100 | 22.3127
2019-07-11 15:30:00 | 3.41 | 204.7433 | 3.92 | 224.9833 | 5.9333 | 9.8767 | 6.22 | 17.0933 | 19.3247 | 882 | 100 | 21.2993
2019-07-11 15:45:00 | 3.3667 | 179.0633 | 3.8733 | 196.76 | 5.52 | 13.9333 | 5.6 | 13.1433 | 19.35 | 882 | 100 | 23.0647
2019-07-11 16:00:00 | 3.9467 | 197.4967 | 4.5467 | 217.0267 | 6.2067 | 232.4533 | 6.3067 | 213.3567 | 19.374 | 882 | 100 | 35.454
2019-07-11 16:15:00 | 4.77 | 89.44 | 5.49 | 98.28 | 7.9933 | 8.16 | 8.1833 | 11.68 | 19.3593 | 882 | 100 | 37.4767
2019-07-11 16:30:00 | 4.5767 | 284.08 | 5.2633 | 312.1667 | 7.6867 | 17.5533 | 7.9233 | 20.3 | 19.268 | 882 | 100 | 33.1833
2019-07-11 16:45:00 | 3.9453 | 171.9827 | 4.5447 | 188.9867 | 6.9667 | 8.266 | 7.2467 | 14.132 | 19.1927 | 882 | 100 | 16.5333
2019-07-11 17:00:00 | 3.26 | 312.1367 | 3.75 | 343 | 5.9767 | 10.08 | 6.2267 | 18.9833 | 19.1853 | 882 | 100 | 24.1993
2019-07-11 17:15:00 | 3.8267 | 290.8367 | 4.4 | 319.6 | 6.5933 | 10.82 | 6.7033 | 14.4233 | 19.2107 | 882 | 100 | 27.3693
2019-07-11 17:30:00 | 3.48 | 308.3167 | 4 | 338.8 | 6.0333 | 11.84 | 6.2633 | 16.71 | 19.2093 | 882 | 100 | 28.752
2019-07-11 17:45:00 | 3.68 | 152.3667 | 4.2367 | 167.4333 | 6.33 | 223.7433 | 6.7533 | 9.8633 | 19.16 | 882 | 100 | 32.6253
2019-07-11 18:00:00 | 3.8 | 260.06 | 4.3833 | 285.7667 | 6.5567 | 12.59 | 6.9267 | 18.2233 | 19.1513 | 881.1333 | 100 | 33.704
2019-07-11 18:15:00 | 4.3007 | 230.42 | 4.9573 | 253.2 | 7.7453 | 11.5733 | 8.302 | 18.73 | 19.1393 | 881 | 100 | 36.5047
2019-07-11 18:30:00 | 4.05 | 310.1267 | 4.6667 | 340.8 | 7.2967 | 16.2967 | 7.87 | 18.77 | 19.1 | 881 | 100 | 33.768
2019-07-11 18:45:00 | 3.9667 | 207.0467 | 4.57 | 227.5133 | 7.078 | 17.22 | 7.51 | 12.6367 | 19.08 | 881.5333 | 100 | 30.0053
2019-07-11 19:00:00 | 2.98 | 146.5533 | 3.43 | 161.0467 | 5.6333 | 17.92 | 6.0567 | 23.57 | 19.0753 | 882 | 100 | 28.928
2019-07-11 19:15:00 | 3.39 | 170.9367 | 3.9 | 187.8333 | 5.96 | 10.8933 | 6.6933 | 9.5533 | 19.106 | 882 | 100 | 31.8433
2019-07-11 19:30:00 | 3.8847 | 101.7807 | 4.476 | 111.8467 | 6.6067 | 183.8773 | 6.824 | 2.9493 | 19.0847 | 882 | 100 | 37.612
2019-07-11 19:45:00 | 4.4253 | 205.5867 | 5.0967 | 225.9067 | 7.8333 | 349.7667 | 8.0167 | 15.8933 | 18.9867 | 882 | 100 | 39.998
2019-07-11 20:00:00 | 4.61 | 222.2 | 5.3033 | 244.1733 | 7.3733 | 342.5 | 7.4033 | 240.5067 | 18.8867 | 882 | 100 | 39.9147
2019-07-11 20:15:00 | 4.4567 | 178.6967 | 5.1267 | 196.3633 | 6.7833 | 219.29 | 6.9133 | 240.3467 | 18.75 | 882 | 100 | 37.6407
2019-07-11 20:30:00 | 4.13 | 193.7367 | 4.7467 | 212.8967 | 5.8433 | 5.55 | 6.16 | 3.1733 | 18.686 | 882 | 100 | 39.2353
2019-07-11 20:45:00 | 4.07 | 308.43 | 4.6767 | 338.9333 | 6.6833 | 326.1333 | 6.76 | 134.7867 | 18.6647 | 882 | 100 | 39.0647
2019-07-11 21:00:00 | 4.4367 | 313.89 | 5.1033 | 344.9333 | 6.9967 | 348.2667 | 7.26 | 119.9467 | 18.6093 | 882 | 100 | 39.1867
2019-07-11 21:15:00 | 3.8733 | 254.2533 | 4.45 | 279.4 | 7.1633 | 114.7667 | 7.4767 | 21.8033 | 18.5573 | 882 | 100 | 37.6907
2019-07-11 21:30:00 | 4.38 | 255.04 | 5.0367 | 280.2667 | 7.3833 | 346.6 | 7.3367 | 14.89 | 18.504 | 882.8667 | 100 | 37.5493
2019-07-11 21:45:00 | 4.2867 | 12.0267 | 4.93 | 13.2067 | 6.92 | 345.4667 | 7.16 | 112.76 | 18.4933 | 883 | 100 | 35.79
2019-07-11 22:00:00 | 4.524 | 181.278 | 5.208 | 199.2 | 7.178 | 338.9 | 7.3493 | 140.4 | 18.522 | 883 | 100 | 37.014
2019-07-11 22:15:00 | 4.3267 | 139.03 | 4.9767 | 152.78 | 7.62 | 16.9933 | 7.8033 | 4.03 | 18.5247 | 883 | 100 | 38.9607
2019-07-11 22:30:00 | 4.24 | 112.3767 | 4.8833 | 123.4867 | 7.1133 | 239.3867 | 7.2833 | 3.95 | 18.454 | 883 | 100 | 37.5607
2019-07-11 22:45:00 | 4.02 | 122.19 | 4.6233 | 134.2733 | 6.8 | 236.25 | 7.1433 | 10.1867 | 18.3433 | 883 | 100 | 37.6327
2019-07-11 23:00:00 | 4.1667 | 99.2033 | 4.7967 | 109.0133 | 6.76 | 10.3833 | 7.0767 | 7.7867 | 18.27 | 883 | 100 | 38.4653
2019-07-11 23:15:00 | 4.0467 | 18.14 | 4.6533 | 19.9333 | 6.9433 | 235.9067 | 7.0867 | 16.1567 | 18.214 | 883 | 100 | 38.5433
2019-07-11 23:30:00 | 3.5667 | 173.8267 | 4.1067 | 191.0133 | 6.3967 | 12.2267 | 6.6067 | 20.47 | 18.156 | 883 | 100 | 38.1113
2019-07-11 23:45:00 | 3.9133 | 319.56 | 4.5067 | 351.1667 | 6.2467 | 116.8733 | 6.5333 | 11.2933 | 18.1073 | 883 | 100 | 38.8767