## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-12 00:00:00 | 4.2486 | 293.6 | 4.8893 | 322.6429 | 6.81 | 122.2521 | 7.0979 | 20.1529 | 18.0343 | 883 | 100 | 39.1129
2019-07-12 00:15:00 | 3.9533 | 44.0733 | 4.5467 | 48.43 | 6.6767 | 8.9733 | 7.1533 | 11.98 | 18.004 | 883 | 100 | 41.622
2019-07-12 00:30:00 | 4.12 | 114.1467 | 4.74 | 125.4367 | 7.0633 | 240.5067 | 7.42 | 11.2 | 17.9773 | 883 | 100 | 41.9673
2019-07-12 00:45:00 | 4.38 | 214.1933 | 5.0467 | 235.3767 | 7.22 | 10.4633 | 7.85 | 16.3167 | 17.8833 | 882.4667 | 100 | 42.6313
2019-07-12 01:00:00 | 4.2867 | 44.9333 | 4.9267 | 49.3767 | 6.9067 | 235.5567 | 7.466 | 14.5967 | 17.8233 | 882 | 100 | 44.692
2019-07-12 01:15:00 | 4.75 | 178.86 | 5.4633 | 196.54 | 8.5033 | 13.68 | 9.1767 | 21.9233 | 17.8153 | 882 | 100 | 43.7967
2019-07-12 01:30:00 | 5.0167 | 199.4133 | 5.77 | 219.14 | 8.7767 | 12.7067 | 9.4167 | 14.3567 | 17.788 | 882 | 100 | 45.3133
2019-07-12 01:45:00 | 5.3267 | 191.0133 | 6.1367 | 209.9 | 9.3133 | 11.2133 | 9.7267 | 20.8633 | 17.82 | 882 | 100 | 46.2713
2019-07-12 02:00:00 | 5.46 | 104.32 | 6.2833 | 114.6333 | 9.3467 | 15.5533 | 9.58 | 20.8167 | 17.846 | 882 | 100 | 46.8653
2019-07-12 02:15:00 | 5.4667 | 173.0433 | 6.2833 | 190.15 | 9.4267 | 12.1667 | 10 | 19.99 | 17.85 | 882 | 100 | 48.3567
2019-07-12 02:30:00 | 5.54 | 170.5567 | 6.37 | 187.4167 | 9.782 | 18.0667 | 10.4333 | 27.7367 | 17.8327 | 882 | 100 | 48.916
2019-07-12 02:45:00 | 5.7433 | 228.1167 | 6.6073 | 250.6733 | 10.038 | 5.6873 | 10.59 | 18.606 | 17.814 | 882 | 100 | 47.9787
2019-07-12 03:00:00 | 5.9133 | 132.4667 | 6.8 | 145.5667 | 10.3133 | 14.0033 | 10.6067 | 20.7967 | 17.7853 | 882 | 100 | 46.5033
2019-07-12 03:15:00 | 5.3 | 169.96 | 6.0967 | 186.7667 | 9.5367 | 16.43 | 9.76 | 22.9433 | 17.69 | 881.4667 | 100 | 48.508
2019-07-12 03:30:00 | 5.16 | 107.1733 | 5.9367 | 117.7667 | 9.2367 | 16.27 | 9.38 | 18.8567 | 17.664 | 881 | 100 | 49.178
2019-07-12 03:45:00 | 5.6867 | 38.2933 | 6.5467 | 42.08 | 9.8333 | 13.3267 | 10.31 | 16.2967 | 17.6493 | 881 | 100 | 51.5213
2019-07-12 04:00:00 | 6.0867 | 134.14 | 7.0133 | 147.4 | 10.6933 | 7.1733 | 11.01 | 21.45 | 17.616 | 881 | 100 | 51.6673
2019-07-12 04:15:00 | 5.8067 | 149.9767 | 6.6833 | 164.8 | 10.1533 | 8.9133 | 10.33 | 23.3733 | 17.68 | 881 | 100 | 49.6293
2019-07-12 04:30:00 | 5.3333 | 101.2767 | 6.1367 | 111.2867 | 9.2133 | 11.7667 | 9.61 | 21.0867 | 17.6847 | 881 | 100 | 44.382
2019-07-12 04:45:00 | 5.4533 | 152.2733 | 6.27 | 167.3333 | 9.5467 | 19.34 | 9.79 | 26.8867 | 17.654 | 881 | 100 | 42.558
2019-07-12 05:00:00 | 5.7733 | 184.9733 | 6.6367 | 203.2667 | 10.28 | 14.42 | 10.61 | 12.0467 | 17.6307 | 881 | 100 | 49.4827
2019-07-12 05:15:00 | 5.6667 | 213.79 | 6.53 | 234.9333 | 10.47 | 7.02 | 10.6533 | 21.3133 | 17.6013 | 881 | 100 | 52.526
2019-07-12 05:30:00 | 5.04 | 75.3433 | 5.81 | 82.7933 | 9.69 | 12.7067 | 10.18 | 25.8133 | 17.564 | 881 | 100 | 49.506
2019-07-12 05:45:00 | 4.2533 | 219.89 | 4.9 | 241.6333 | 8.2367 | 11.3167 | 9.25 | 22.5033 | 17.5693 | 881 | 100 | 45.2547
2019-07-12 06:00:00 | 4.6133 | 134.35 | 5.3133 | 147.6333 | 8.27 | 8.8033 | 9.1433 | 20.6767 | 17.606 | 881 | 100 | 45.2073
2019-07-12 06:15:00 | 4.9467 | 225.11 | 5.6867 | 247.3667 | 8.8133 | 8.36 | 9.4167 | 11.78 | 17.49 | 881 | 100 | 42.6547
2019-07-12 06:30:00 | 4.86 | 161.8367 | 5.5933 | 177.8333 | 8.3267 | 21.84 | 9.2433 | 20.1867 | 17.4873 | 881 | 100 | 43.2647
2019-07-12 06:45:00 | 4.58 | 135.4767 | 5.2733 | 148.8733 | 7.7833 | 15.1267 | 8.3567 | 12.43 | 17.5047 | 881 | 100 | 46.6987
2019-07-12 07:00:00 | 4.7 | 233.224 | 5.42 | 256.28 | 8.066 | 19.152 | 8.382 | 10.858 | 17.5333 | 881.8667 | 100 | 47.5293
2019-07-12 07:15:00 | 4.9733 | 96.8867 | 5.7267 | 106.46 | 8.7667 | 20.5533 | 9.28 | 26.16 | 17.7 | 882 | 100 | 48.1253
2019-07-12 07:30:00 | 5.32 | 111.2 | 6.1267 | 122.1933 | 9.3333 | 19.08 | 9.6067 | 25.5933 | 17.9867 | 882 | 100 | 44.766
2019-07-12 07:45:00 | 5.2 | 213.35 | 5.984 | 234.44 | 9 | 32.726 | 9.684 | 12.332 | 18.05 | 882 | 100 | 47.384
2019-07-12 08:00:00 | 6.0333 | 155.7967 | 6.94 | 171.2 | 10.4267 | 13.0367 | 10.7467 | 18.9733 | 17.894 | 882 | 100 | 50.5247
2019-07-12 08:15:00 | 6.46 | 111.62 | 7.4333 | 122.65 | 11.0233 | 13.36 | 11.17 | 15.43 | 17.8827 | 882 | 100 | 52.416
2019-07-12 08:30:00 | 6.0133 | 183.7467 | 6.92 | 201.9167 | 10.53 | 9.36 | 10.2233 | 14.7033 | 18.0067 | 882 | 100 | 53.2247
2019-07-12 08:45:00 | 6.69 | 160.7767 | 7.69 | 176.6667 | 11.72 | 8.88 | 11.8033 | 19.2767 | 18.4633 | 882 | 100 | 53.474
2019-07-12 09:00:00 | 6.77 | 136.0233 | 7.7833 | 149.4667 | 12.1533 | 13.66 | 11.9633 | 23.7833 | 18.754 | 882.8667 | 100 | 53.4167
2019-07-12 09:15:00 | 5.5833 | 95.0333 | 6.42 | 104.42 | 10.4233 | 13.1133 | 10.6933 | 25.3733 | 18.94 | 883 | 100 | 48.104
2019-07-12 09:30:00 | 5.37 | 85.072 | 6.18 | 80.2467 | 9.87 | 17.62 | 10.1933 | 17.1267 | 19.034 | 883 | 99.6 | 43.4353
2019-07-12 09:45:00 | 5.2933 | 57.9533 | 6.0867 | 63.6733 | 9.52 | 12.07 | 10.0867 | 14.3867 | 19.6267 | 883 | 97.1667 | 31.558
2019-07-12 10:00:00 | 4.86 | 217.9533 | 5.5867 | 239.5 | 8.8 | 16.07 | 9.18 | 21.6133 | 20.5667 | 883 | 93.3667 | 28.4213
2019-07-12 10:15:00 | 4.7 | 164.2933 | 5.4067 | 180.5333 | 8.5567 | 9.13 | 8.89 | 24.7133 | 20.69 | 883 | 90.5333 | 28.4493
2019-07-12 10:30:00 | 4.8933 | 197.96 | 5.6333 | 217.5333 | 8.85 | 11.6367 | 8.8033 | 17.96 | 20.7153 | 883 | 90.18 | 29.0793
2019-07-12 10:45:00 | 4.9 | 196.2533 | 5.6367 | 215.6667 | 8.82 | 18.8233 | 9.0933 | 25.28 | 21.2433 | 883 | 89.7667 | 30.5127
2019-07-12 11:00:00 | 4.9933 | 221.4333 | 5.7433 | 243.3333 | 9.1667 | 21.11 | 9.3133 | 31.6933 | 21.45 | 883 | 89.7 | 27.442
2019-07-12 11:15:00 | 5.08 | 189.43 | 5.8433 | 208.1667 | 9.29 | 21.1633 | 9.5333 | 25.4133 | 21.55 | 883 | 87.2667 | 25.1633
2019-07-12 11:30:00 | 4.64 | 206.0633 | 5.3433 | 226.4333 | 8.79 | 32.7633 | 9.1133 | 46.2467 | 21.65 | 883.8667 | 87.1333 | 23.4747
2019-07-12 11:45:00 | 4.38 | 180.7667 | 5.0433 | 198.6333 | 8.08 | 32.8367 | 8.16 | 29.8667 | 21.832 | 884 | 87.4333 | 19.41
2019-07-12 12:00:00 | 4.44 | 118.22 | 5.1033 | 129.9 | 8.1467 | 12.1367 | 8.06 | 32.18 | 22.2767 | 884 | 86.3 | 18.3773
2019-07-12 12:15:00 | 4 | 149.4233 | 4.61 | 164.2 | 7.2267 | 21.0867 | 7.3933 | 25.93 | 22.1833 | 884 | 84.6 | 16.124
2019-07-12 12:30:00 | 3.4667 | 156.7033 | 3.99 | 172.2 | 6.3267 | 25.0267 | 6.4067 | 34.95 | 22.37 | 884 | 84.3333 | 13.3153
2019-07-12 12:45:00 | 3.5 | 151.12 | 4.0333 | 166.0667 | 6.3767 | 16.5867 | 6.3533 | 28.0367 | 22.91 | 884 | 81.4 | 11.38
2019-07-12 13:00:00 | 3.2467 | 179.5133 | 3.7333 | 197.2667 | 6.0367 | 4.0333 | 6.0133 | 20.5233 | 22.9893 | 884 | 81.4667 | 8.824
2019-07-12 13:15:00 | 3.2233 | 35.0033 | 3.7167 | 38.4533 | 6.0767 | 12.79 | 5.9867 | 23.9367 | 23.75 | 884 | 80.39 | 8.8247
2019-07-12 13:30:00 | 3.3833 | 132.8367 | 3.8967 | 145.9733 | 6.3233 | 12.8033 | 6.18 | 24.61 | 23.7767 | 884 | 79.1633 | 7.8527
2019-07-12 13:45:00 | 3.0933 | 200.9933 | 3.5567 | 220.8667 | 5.8533 | 21.3967 | 5.7467 | 20.1067 | 23.8533 | 884 | 79.97 | 10.114
2019-07-12 14:00:00 | 3.412 | 212.848 | 3.924 | 233.9 | 6.398 | 14.354 | 6.246 | 29.41 | 24.188 | 883.1333 | 79.334 | 10.7353
2019-07-12 14:15:00 | 3.72 | 279.25 | 4.28 | 306.8667 | 6.8533 | 9.0867 | 6.55 | 28.99 | 25.3233 | 883 | 74.6033 | 11.8667
2019-07-12 14:30:00 | 3.88 | 196.87 | 4.4667 | 216.3333 | 7.0733 | 18.7333 | 6.7433 | 28.11 | 25.4767 | 883 | 73.3833 | 12.8487
2019-07-12 14:45:00 | 3.73 | 168.14 | 4.29 | 184.7667 | 6.92 | 13.4167 | 6.6467 | 24.5067 | 26.4733 | 883 | 72.9333 | 13.384
2019-07-12 15:00:00 | 3.57 | 146.12 | 4.11 | 160.5667 | 6.6467 | 10.9233 | 6.3 | 26.1133 | 26.8247 | 883 | 69.8867 | 12.0247
2019-07-12 15:15:00 | 3.34 | 145.5733 | 3.8433 | 159.9667 | 6.11 | 7.5233 | 5.7867 | 20.6767 | 27.136 | 883 | 68.14 | 9.806
2019-07-12 15:30:00 | 3.8867 | 253.1333 | 4.47 | 278.1667 | 6.9433 | 8.6233 | 6.6533 | 21.7967 | 26.7967 | 883 | 67.74 | 8.4887
2019-07-12 15:45:00 | 3.8633 | 287.53 | 4.4433 | 315.9667 | 6.4867 | 17.9433 | 6.4733 | 12.78 | 25.63 | 883 | 68.6967 | 7.392
2019-07-12 16:00:00 | 3.5167 | 264.3633 | 4.0433 | 290.5 | 6.5667 | 11.85 | 6.36 | 18.8467 | 25.95 | 883 | 71.6633 | 7.804
2019-07-12 16:15:00 | 3.8133 | 28.0233 | 4.3867 | 30.7867 | 6.92 | 15.8067 | 6.7833 | 20.4867 | 26.644 | 883 | 68.3167 | 8.3367
2019-07-12 16:30:00 | 3.8467 | 25.83 | 4.42 | 28.3733 | 6.84 | 1.2333 | 6.53 | 13.68 | 26.6033 | 883 | 68.2033 | 8.0953
2019-07-12 16:45:00 | 3.42 | 100.8867 | 3.9333 | 110.86 | 6.3233 | 348.3 | 6 | 240.2 | 26.4167 | 883 | 68.0667 | 7.4567
2019-07-12 17:00:00 | 3.34 | 213.12 | 3.84 | 234.2 | 6.27 | 114.62 | 5.98 | 3.56 | 25.8833 | 883 | 70.8267 | 9.3687
2019-07-12 17:15:00 | 3.5133 | 192.87 | 4.0467 | 211.9333 | 5.9633 | 4.8433 | 5.6933 | 2.61 | 26.4167 | 883 | 68.2867 | 9.3153
2019-07-12 17:30:00 | 2.9867 | 28.7233 | 3.4333 | 31.56 | 5.2367 | 11.63 | 4.9867 | 14.67 | 27.33 | 883 | 65.62 | 7.426
2019-07-12 17:45:00 | 3.0333 | 84.4533 | 3.5 | 92.8067 | 5.4567 | 351.0667 | 5.2133 | 347.1 | 27.0833 | 883 | 64.9633 | 7.0387
2019-07-12 18:00:00 | 2.62 | 84.1867 | 3.0133 | 92.5133 | 4.91 | 347.0667 | 4.7933 | 354.1 | 27.33 | 883 | 66.2233 | 5.9453
2019-07-12 18:15:00 | 2.8533 | 282.6467 | 3.2867 | 310.6 | 5.35 | 3.7933 | 5.02 | 127.1467 | 27.3467 | 883 | 65.5567 | 4.038
2019-07-12 18:30:00 | 2.62 | 273.0667 | 3.02 | 300.0667 | 4.9967 | 16.7 | 4.7733 | 356.3 | 27.4333 | 883 | 65.93 | 3.3727
2019-07-12 18:45:00 | 2.7867 | 139.6867 | 3.2067 | 153.5 | 5.24 | 0.19 | 4.7833 | 5.7467 | 27.482 | 883.1333 | 63.5433 | 3.206
2019-07-12 19:00:00 | 2.6133 | 257.68 | 3.0133 | 283.1667 | 5.1 | 4.3367 | 5.01 | 17.8733 | 27.4167 | 884 | 62.95 | 3.006
2019-07-12 19:15:00 | 2.6267 | 201.7467 | 3.02 | 221.7 | 5 | 2.2467 | 4.8133 | 7.92 | 26.4767 | 883.8667 | 63.9367 | 3.5927
2019-07-12 19:30:00 | 2.6 | 198.0533 | 2.9867 | 217.6333 | 4.92 | 238.2133 | 4.68 | 11.2733 | 25.37 | 883 | 67.0633 | 3.0573
2019-07-12 19:45:00 | 2.38 | 205.4067 | 2.74 | 225.7167 | 4.5833 | 6.45 | 4.39 | 21.6267 | 24.5367 | 882.8667 | 71.2967 | 3.4267
2019-07-12 20:00:00 | 2.5333 | 206.7467 | 2.9133 | 227.1833 | 4.7633 | 7.39 | 4.75 | 17.5 | 23.9633 | 882 | 73.2967 | 2.9593
2019-07-12 20:15:00 | 2.1467 | 226.63 | 2.4733 | 249.0333 | 4.0667 | 26.1 | 3.9233 | 19.1133 | 23.3567 | 882 | 74.4533 | 1.3613
2019-07-12 20:30:00 | 2.04 | 271.2207 | 2.36 | 298.04 | 3.8467 | 24.1933 | 3.7433 | 18.48 | 22.9833 | 882 | 75.42 | 2.21
2019-07-12 20:45:00 | 2.11 | 321.35 | 2.43 | 353.1333 | 3.8233 | 9.9767 | 3.8667 | 15 | 22.53 | 882 | 76.73 | 2.4693
2019-07-12 21:00:00 | 2.2567 | 321.7167 | 2.5967 | 353.5333 | 3.8967 | 7.97 | 3.94 | 9.3933 | 22.25 | 882 | 77.4367 | 1.118
2019-07-12 21:15:00 | 2.3967 | 322.7187 | 2.7567 | 354.6267 | 3.46 | 4.8933 | 3.62 | 14.5767 | 22.2527 | 882 | 76.61 | 0.018667
2019-07-12 21:30:00 | 2.5233 | 110.64 | 2.9033 | 121.58 | 3.5 | 5.02 | 3.64 | 13.2033 | 22.3633 | 882 | 76.1233 | 0.39867
2019-07-12 21:45:00 | 2.2733 | 304.8833 | 2.62 | 335.0333 | 4.1933 | 14.63 | 4.1067 | 10.4 | 21.9967 | 882 | 78.74 | 1.504
2019-07-12 22:00:00 | 2.5333 | 112.6633 | 2.92 | 123.8 | 4.5333 | 7.4033 | 4.3933 | 6.5133 | 21.6233 | 882 | 80.8 | 2.2147
2019-07-12 22:15:00 | 2.2967 | 299.5133 | 2.6433 | 329.1333 | 3.8967 | 6.3 | 4.07 | 9.0933 | 21.4253 | 882 | 81.9 | 2.566
2019-07-12 22:30:00 | 2.31 | 110.2133 | 2.6633 | 121.1067 | 3.6833 | 7.66 | 4.13 | 11.8667 | 21.5333 | 882 | 81.3 | 1.5453
2019-07-12 22:45:00 | 1.85 | 264.5033 | 2.1367 | 290.6667 | 3.4 | 11.1967 | 3.7633 | 12.9267 | 21.2867 | 882 | 82.7 | 1.2553
2019-07-12 23:00:00 | 1.9967 | 291.0833 | 2.2967 | 319.8667 | 3.46 | 21.5633 | 3.6433 | 16.8533 | 21.1133 | 882 | 82.4333 | 0.84
2019-07-12 23:15:00 | 2.4067 | 1.5233 | 2.7733 | 1.67 | 3.8733 | 19.0367 | 3.8733 | 18.0433 | 20.94 | 882 | 83.0667 | 0.42733
2019-07-12 23:30:00 | 2.3067 | 207.45 | 2.6533 | 227.97 | 3.52 | 14.0633 | 3.7067 | 17.8433 | 20.88 | 882 | 84.4667 | 0
2019-07-12 23:45:00 | 1.5433 | 296.5667 | 1.7733 | 325.9 | 2.24 | 13.4767 | 1.9033 | 15.5833 | 20.9473 | 882 | 84.4667 | 0