## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-13 00:00:00 | 1.1293 | 299.2614 | 1.3 | 328.8571 | 1.3379 | 5.4893 | 0.53357 | 46.3986 | 21.085 | 882 | 83.4857 | 0
2019-07-13 00:15:00 | 0.94 | 202.2667 | 1.0933 | 222.27 | 0.99667 | 30.6067 | 0.41333 | 30.8033 | 21.36 | 882 | 82.1 | 0
2019-07-13 00:30:00 | 0.73333 | 201.4133 | 0.85333 | 221.3367 | 0.59 | 24.4333 | 0.28667 | 100.7033 | 21.3733 | 882 | 82.3 | 0
2019-07-13 00:45:00 | 0.53 | 306.22 | 0.61 | 336.5 | 0.22333 | 8.9267 | 0.45 | 106.9467 | 21.0473 | 882 | 83.5333 | 0
2019-07-13 01:00:00 | 1.53 | 313.7333 | 1.7633 | 344.7667 | 1.5367 | 229.7067 | 0.09 | 56.2133 | 20.7767 | 882 | 85.4667 | 0
2019-07-13 01:15:00 | 1.9833 | 213.0067 | 2.2867 | 234.0667 | 2.3433 | 2.53 | 0.78 | 61.9367 | 20.3167 | 882 | 87.9667 | 0
2019-07-13 01:30:00 | 2.37 | 217.4667 | 2.7267 | 238.9733 | 2.75 | 1.91 | 2.2267 | 6.0967 | 20.1167 | 881.5333 | 88.6333 | 0
2019-07-13 01:45:00 | 3.0867 | 313.158 | 3.55 | 344.12 | 3.8467 | 9.1667 | 3.65 | 14.8333 | 19.7 | 881 | 90 | 0
2019-07-13 02:00:00 | 3.596 | 318.36 | 4.14 | 349.84 | 4.136 | 15.398 | 4.12 | 10.878 | 19.5647 | 881 | 89.7533 | 0.768
2019-07-13 02:15:00 | 3.22 | 216.2533 | 3.7033 | 237.63 | 4.0333 | 12.2367 | 4.57 | 12.7333 | 19.3733 | 881 | 90.6 | 1.0093
2019-07-13 02:30:00 | 3.2133 | 30.6933 | 3.6967 | 33.73 | 4.3 | 8.9033 | 4.7367 | 14.2533 | 19.1067 | 881 | 91.6667 | 0.906
2019-07-13 02:45:00 | 3.3 | 102.38 | 3.7967 | 112.5 | 4.94 | 7.7367 | 5.2733 | 16.88 | 18.8 | 881 | 93.4 | 1.6913
2019-07-13 03:00:00 | 3.72 | 95.38 | 4.2767 | 104.8067 | 5.3667 | 9.4233 | 5.5067 | 23.8333 | 18.706 | 881 | 93.4 | 2.4487
2019-07-13 03:15:00 | 4.0833 | 17.49 | 4.71 | 19.2067 | 5.2233 | 19.4067 | 5.2467 | 20.6233 | 18.69 | 880.2 | 92.9667 | 4.652
2019-07-13 03:30:00 | 3.9233 | 216.7833 | 4.5167 | 238.2133 | 5.35 | 12.1333 | 5.5467 | 7.71 | 18.5167 | 880 | 93.8333 | 7.444
2019-07-13 03:45:00 | 3.48 | 285.38 | 4.0033 | 313.6 | 5.0767 | 19.0933 | 5.81 | 10.36 | 18.2667 | 880 | 95.3 | 10.3433
2019-07-13 04:00:00 | 3.3867 | 95.3733 | 3.9033 | 104.8 | 5.59 | 13.1333 | 6.11 | 17.62 | 18.08 | 880 | 96.5667 | 10.2867
2019-07-13 04:15:00 | 3.8367 | 97.6333 | 4.4133 | 107.28 | 5.78 | 230.6133 | 6.152 | 354.3667 | 17.98 | 880 | 97.1 | 9.1367
2019-07-13 04:30:00 | 3.8433 | 293.8067 | 4.42 | 322.8667 | 5.9467 | 3.7067 | 6.0967 | 117.7333 | 17.926 | 880 | 96.7 | 9.604
2019-07-13 04:45:00 | 3.9067 | 322.3267 | 4.5033 | 354.2 | 6.2133 | 120.8667 | 5.83 | 4.0533 | 17.8507 | 880 | 96.5133 | 10.0047
2019-07-13 05:00:00 | 3.9733 | 313.96 | 4.57 | 345 | 6.5467 | 118.6933 | 6.17 | 8.4067 | 17.7 | 880 | 96.6 | 11.4567
2019-07-13 05:15:00 | 3.8867 | 275.31 | 4.4767 | 302.5333 | 6.5333 | 10.4833 | 6.9087 | 16.22 | 17.576 | 880 | 97.1667 | 14.288
2019-07-13 05:30:00 | 4.0533 | 126.0367 | 4.67 | 138.4933 | 7.2333 | 10.03 | 7.42 | 13.5133 | 17.4767 | 880 | 97.9667 | 18.9433
2019-07-13 05:45:00 | 4.1053 | 240.4127 | 4.7307 | 264.1827 | 6.8853 | 7.7867 | 7.5373 | 12.6947 | 17.326 | 880 | 98.86 | 19.102
2019-07-13 06:00:00 | 3.4467 | 207.8633 | 3.9767 | 228.42 | 6.6333 | 8.6867 | 7.0767 | 13.1533 | 17.2333 | 880.4667 | 99.3467 | 16.634
2019-07-13 06:15:00 | 3.676 | 306.9967 | 4.2293 | 338.4 | 6.46 | 4.8233 | 6.8333 | 24.6233 | 17.2027 | 881 | 99.7 | 16.452
2019-07-13 06:30:00 | 3.4333 | 310.1067 | 3.95 | 340.7667 | 5.56 | 10.65 | 6.2133 | 26.07 | 17.264 | 881 | 99.9467 | 14.7073
2019-07-13 06:45:00 | 3.108 | 35.664 | 3.5747 | 39.178 | 5.4347 | 11.1987 | 5.9533 | 22.012 | 17.472 | 881 | 100 | 16.7653
2019-07-13 07:00:00 | 3.3567 | 17.21 | 3.86 | 18.9 | 5.6567 | 9.59 | 6.32 | 16.2733 | 17.78 | 881 | 100 | 17.9813
2019-07-13 07:15:00 | 3.6933 | 287.3167 | 4.2467 | 315.7333 | 6.3067 | 6.8567 | 6.85 | 11.9167 | 18.2067 | 881 | 98.8 | 18.724
2019-07-13 07:30:00 | 3.64 | 283.8033 | 4.1867 | 311.8667 | 6.4133 | 0.15 | 7.1233 | 16.03 | 18.354 | 881 | 97.4 | 21.684
2019-07-13 07:45:00 | 3.8333 | 53.9033 | 4.4133 | 59.2367 | 6.2867 | 12.8 | 6.2867 | 9.4133 | 18.1167 | 881 | 97.7 | 25.5867
2019-07-13 08:00:00 | 4.1933 | 22.1367 | 4.8267 | 24.3167 | 6.8933 | 5.6867 | 6.9 | 12.1867 | 18.004 | 881 | 98.6333 | 25.6387
2019-07-13 08:15:00 | 3.8433 | 268.27 | 4.43 | 294.8 | 5.96 | 241.45 | 6.7367 | 23.0567 | 18.5833 | 881 | 98.2 | 23.6
2019-07-13 08:30:00 | 3.4433 | 315.2833 | 3.9567 | 346.4667 | 5.3667 | 3.6167 | 6.15 | 20.9967 | 19.21 | 881.4667 | 96.0667 | 16.7293
2019-07-13 08:45:00 | 3.5067 | 301.0933 | 4.0367 | 330.8667 | 5.3267 | 0.91 | 5.7333 | 13.6533 | 20.2 | 882 | 90.8667 | 19.224
2019-07-13 09:00:00 | 3.5 | 303.0933 | 4.03 | 333.0667 | 5.38 | 6.9967 | 5.8133 | 15.8933 | 20.6467 | 882 | 89.8 | 17.8627
2019-07-13 09:15:00 | 3.3033 | 302.6067 | 3.8067 | 332.5333 | 5.04 | 134.7333 | 5.08 | 4.3267 | 21.2733 | 882 | 86.8333 | 17.5147
2019-07-13 09:30:00 | 3.6233 | 97.76 | 4.1667 | 107.4133 | 5.06 | 130.18 | 5.2067 | 15.6933 | 21.5267 | 882 | 86.2333 | 15.66
2019-07-13 09:45:00 | 3.5533 | 219.9367 | 4.0833 | 241.69 | 4.93 | 4.0833 | 4.9833 | 9.6467 | 21.6853 | 882 | 85.9133 | 9.654
2019-07-13 10:00:00 | 3.04 | 11.7633 | 3.4967 | 12.9233 | 4.3367 | 3.5633 | 4.43 | 9.8267 | 22.3167 | 882.4667 | 83.9333 | 5.7567
2019-07-13 10:15:00 | 2.872 | 174.802 | 3.304 | 192.09 | 4.1067 | 9.2613 | 4.16 | 22.7153 | 22.9113 | 883 | 81.0333 | 2.9407
2019-07-13 10:30:00 | 3.0533 | 218.4433 | 3.5133 | 240.0433 | 3.9867 | 230.26 | 3.9 | 36.1633 | 23.2833 | 883 | 79.6467 | 1.408
2019-07-13 10:45:00 | 3.22 | 223.97 | 3.71 | 246.1167 | 3.8867 | 346.1667 | 3.56 | 33.14 | 23.1167 | 883 | 80.9 | 0.086
2019-07-13 11:00:00 | 2.9267 | 8.97 | 3.3633 | 9.85 | 3.86 | 353.1333 | 3.4333 | 27.7267 | 23.5767 | 883 | 80.08 | 0
2019-07-13 11:15:00 | 2.62 | 30.1067 | 3.0167 | 33.0833 | 3.4533 | 120.4867 | 3.28 | 116.3733 | 24.6067 | 883 | 76.67 | 0
2019-07-13 11:30:00 | 2.7533 | 18.7267 | 3.1633 | 20.5767 | 3.2467 | 346.9 | 3.24 | 349.4 | 24.58 | 883 | 75.8767 | 0
2019-07-13 11:45:00 | 2.16 | 305.07 | 2.4867 | 335.2333 | 2.63 | 237.99 | 2.4733 | 115.3933 | 24.8567 | 883 | 73.73 | 0
2019-07-13 12:00:00 | 2.34 | 312.59 | 2.7 | 343.5 | 2.6967 | 223.79 | 2.5067 | 113.0667 | 25.17 | 883 | 69.5433 | 0
2019-07-13 12:15:00 | 1.3867 | 219.53 | 1.6 | 241.24 | 1.58 | 121.0733 | 1.4167 | 316.5333 | 25.4533 | 883 | 68.39 | 0
2019-07-13 12:30:00 | 1.18 | 191.9233 | 1.3667 | 210.9067 | 1.4067 | 312.9 | 1.4433 | 132.4533 | 25.7533 | 883 | 66.8367 | 0
2019-07-13 12:45:00 | 1.6067 | 123.7633 | 1.8567 | 136 | 2.0433 | 185.5667 | 1.8467 | 305.0667 | 26.3933 | 883 | 67.4067 | 0
2019-07-13 13:00:00 | 1.74 | 140.0833 | 1.9967 | 153.9333 | 2.09 | 181.8333 | 1.9667 | 198.4 | 26.9933 | 883 | 70.7133 | 0
2019-07-13 13:15:00 | 1.55 | 111.63 | 1.7867 | 122.6667 | 2.0133 | 146.3 | 2.2267 | 162.4667 | 26.7 | 883 | 72.4833 | 0
2019-07-13 13:30:00 | 2.0433 | 105.4433 | 2.36 | 115.8667 | 2.6867 | 136.9 | 2.9533 | 170.1333 | 26.4733 | 883 | 73.2433 | 0.088667
2019-07-13 13:45:00 | 2.2267 | 160.8067 | 2.56 | 176.7 | 2.7233 | 211.6667 | 2.9667 | 173.3333 | 27.12 | 882.2 | 70.4467 | 0
2019-07-13 14:00:00 | 2.3067 | 127.86 | 2.66 | 140.5 | 2.8633 | 183.5333 | 2.8267 | 220.0667 | 27.4467 | 882 | 68.6867 | 0
2019-07-13 14:15:00 | 2.636 | 133.9067 | 3.0407 | 146.5667 | 3.1767 | 167.4 | 3.1867 | 175.4 | 27.85 | 882 | 65.1267 | 0.156
2019-07-13 14:30:00 | 2.5567 | 148.48 | 2.94 | 163.1667 | 3.19 | 148.5333 | 3.2467 | 165.4667 | 28.0633 | 882 | 63.9267 | 0.212
2019-07-13 14:45:00 | 2.7333 | 153.34 | 3.1567 | 168.5 | 3.3767 | 161.1733 | 3.3567 | 169.2333 | 28.5587 | 882 | 61.9333 | 0.006667
2019-07-13 15:00:00 | 2.9971 | 141.8214 | 3.4536 | 155.8357 | 3.775 | 171.8 | 3.5664 | 180.3786 | 28.6143 | 882 | 60.5679 | 0
2019-07-13 15:15:00 | 2.08 | 154.4267 | 2.3933 | 169.7 | 2.5933 | 147.4667 | 2.4867 | 177.2667 | 29.03 | 882 | 59.9847 | 0
2019-07-13 15:30:00 | 2.5067 | 162.14 | 2.8867 | 178.1667 | 3.0133 | 157.7333 | 2.8667 | 194.4667 | 29.1433 | 882 | 59.09 | 0
2019-07-13 15:45:00 | 2.97 | 140.96 | 3.4133 | 154.9 | 3.7767 | 164.6667 | 3.56 | 175.4333 | 29.1767 | 882 | 57.8967 | 0.206
2019-07-13 16:00:00 | 3.2567 | 154.9133 | 3.7533 | 170.2333 | 3.9767 | 157.5333 | 3.6533 | 184.0333 | 29.0567 | 882 | 57.7633 | 0.72
2019-07-13 16:15:00 | 3.02 | 152.5573 | 3.4733 | 167.64 | 3.7433 | 159 | 3.4867 | 175.8667 | 29.1867 | 882 | 57.4573 | 1.1187
2019-07-13 16:30:00 | 3.02 | 146.2467 | 3.4733 | 160.7 | 3.75 | 158.2667 | 3.44 | 190 | 29.3433 | 882 | 55.8267 | 1.0493
2019-07-13 16:45:00 | 2.468 | 164.6293 | 2.8387 | 180.9 | 3.146 | 153.1 | 2.834 | 218.2267 | 29.3593 | 882 | 54.9153 | 1.4013
2019-07-13 17:00:00 | 2.52 | 170.08 | 2.9067 | 186.9 | 3.3167 | 193.8 | 3.2533 | 212 | 29.2833 | 882 | 53.9633 | 1.572
2019-07-13 17:15:00 | 2.1 | 180.8233 | 2.43 | 198.7 | 2.8633 | 235.7 | 3.0433 | 247.8667 | 29.6467 | 882 | 52.15 | 1.7773
2019-07-13 17:30:00 | 2.7 | 204.3033 | 3.11 | 224.5 | 3.77 | 227.6333 | 3.8367 | 235.2 | 29.5333 | 882 | 51.9367 | 2.5827
2019-07-13 17:45:00 | 2.59 | 181.06 | 2.98 | 198.9667 | 3.7533 | 240.4333 | 3.8533 | 220.9 | 28.5133 | 882 | 56.9233 | 2.584
2019-07-13 18:00:00 | 2.23 | 165.72 | 2.5733 | 182.1 | 3.08 | 228.1667 | 3.2867 | 218.1 | 28.3733 | 882 | 58.5433 | 4.822
2019-07-13 18:15:00 | 2.1133 | 174.3967 | 2.4267 | 191.6333 | 3.06 | 210.6667 | 3.2667 | 224.4333 | 28.94 | 882 | 58.36 | 5.8653
2019-07-13 18:30:00 | 1.8533 | 169.4233 | 2.1267 | 186.1667 | 2.8333 | 229.9333 | 3.2067 | 226.9667 | 28.92 | 882 | 58.0467 | 5.876
2019-07-13 18:45:00 | 2.62 | 192.0993 | 3.0147 | 211.0933 | 3.5727 | 208.6 | 3.7507 | 225.6 | 28.316 | 882 | 58.6733 | 7.5187
2019-07-13 19:00:00 | 2.1833 | 180.4367 | 2.51 | 198.2667 | 3.12 | 224.0333 | 3.1967 | 227.1 | 28.04 | 882 | 58.9967 | 7.1313
2019-07-13 19:15:00 | 2.2313 | 185.182 | 2.5727 | 204.1333 | 3.0933 | 220.56 | 3.2967 | 225.84 | 27.4733 | 882 | 61.33 | 9.4307
2019-07-13 19:30:00 | 2.5133 | 178.6033 | 2.89 | 196.2667 | 3.4867 | 224.3667 | 4.1633 | 229.5667 | 26.7467 | 882 | 65.2033 | 8.0173
2019-07-13 19:45:00 | 3.1267 | 175.21 | 3.5967 | 192.5333 | 4.23 | 216.2333 | 4.7633 | 211.1667 | 26.4233 | 881.2 | 65.22 | 9.7233
2019-07-13 20:00:00 | 3.1267 | 171.39 | 3.6033 | 188.3333 | 4.4233 | 216.9667 | 5.1167 | 215.9667 | 26.2367 | 881 | 65.9333 | 9.778
2019-07-13 20:15:00 | 3 | 178.3367 | 3.45 | 195.9667 | 4.15 | 219.9667 | 4.5933 | 211.5333 | 26.1393 | 881 | 65.9767 | 9.7673
2019-07-13 20:30:00 | 3.02 | 192.65 | 3.47 | 211.7 | 4.1967 | 211.2333 | 4.6067 | 215.7333 | 26.0853 | 881 | 66.304 | 12.0707
2019-07-13 20:45:00 | 3.2 | 160.01 | 3.6867 | 175.8333 | 4.4 | 204.1 | 4.82 | 216.4 | 26.1 | 881 | 66.97 | 9.7767
2019-07-13 21:00:00 | 2.6933 | 173.3567 | 3.1 | 190.5 | 3.4933 | 203.5 | 3.6533 | 192.1333 | 25.8933 | 881 | 68.25 | 9.09
2019-07-13 21:15:00 | 2.8267 | 174.8067 | 3.2533 | 192.1 | 4.13 | 211.8667 | 4.0333 | 219.7333 | 25.6167 | 881 | 69.9733 | 9.9947
2019-07-13 21:30:00 | 3.4667 | 165.4667 | 3.9867 | 181.8333 | 4.81 | 207.5333 | 4.8067 | 208.5333 | 25.27 | 881 | 71.6533 | 6.6967
2019-07-13 21:45:00 | 3.0853 | 162.2533 | 3.5533 | 178.3 | 3.9007 | 190.1067 | 4.2013 | 192.3333 | 25.192 | 881 | 72.0907 | 4.9313
2019-07-13 22:00:00 | 2.8 | 162.0733 | 3.2233 | 178.1 | 3.5267 | 174.4 | 3.83 | 186.2667 | 25.0233 | 881 | 73.1133 | 7.1393
2019-07-13 22:15:00 | 2.6067 | 162.6167 | 2.9967 | 178.7 | 3.2967 | 182.7667 | 3.8133 | 182.2 | 24.71 | 881 | 74.9167 | 5.7733
2019-07-13 22:30:00 | 2.76 | 163.47 | 3.1767 | 179.6333 | 3.4033 | 175.2333 | 4.04 | 182.5333 | 24.49 | 881 | 76.3767 | 4.702
2019-07-13 22:45:00 | 2.6333 | 184.4633 | 3.03 | 202.7 | 3.3267 | 168.6333 | 3.8067 | 179.2333 | 24.3267 | 881 | 77.61 | 2.604
2019-07-13 23:00:00 | 2.3867 | 164.3767 | 2.7433 | 180.6333 | 3.0333 | 175.9 | 3.5 | 170.6333 | 24.14 | 881 | 78.6033 | 2.6667
2019-07-13 23:15:00 | 2.5033 | 147.6433 | 2.8867 | 162.2333 | 3.27 | 191 | 3.6733 | 178 | 24.0327 | 881 | 79.2667 | 2.696
2019-07-13 23:30:00 | 2.4367 | 163.65 | 2.8 | 179.8333 | 3.1767 | 179.2667 | 3.5867 | 180.2667 | 23.8813 | 881 | 79.9333 | 2.122
2019-07-13 23:45:00 | 2.6673 | 149.0893 | 3.0687 | 162.9 | 3.5067 | 172.3667 | 3.88 | 170.8333 | 23.7233 | 881 | 80.6333 | 3.084