## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-14 00:00:00 | 3.0493 | 148.72 | 3.5057 | 163.4286 | 3.9471 | 176.3357 | 4.2664 | 174.7714 | 23.605 | 881 | 81 | 2.5936
2019-07-14 00:15:00 | 2.32 | 143.0567 | 2.67 | 157.2 | 3 | 163.4 | 3.4967 | 168.8 | 23.6233 | 881 | 80.7667 | 3.6467
2019-07-14 00:30:00 | 2.5867 | 156.7633 | 2.9767 | 172.2667 | 3.3867 | 152.1333 | 3.9233 | 165.0667 | 23.45 | 881 | 81.4333 | 2.328
2019-07-14 00:45:00 | 2.4067 | 157.8233 | 2.7767 | 173.4333 | 3.0633 | 180.1 | 3.74 | 167.6 | 23.31 | 881 | 82.0333 | 1.8373
2019-07-14 01:00:00 | 2.9533 | 155.8833 | 3.3967 | 171.3 | 3.9033 | 178.5 | 4.3867 | 179.6667 | 23.1767 | 881 | 82.7 | 1.0133
2019-07-14 01:15:00 | 2.66 | 145.81 | 3.0667 | 160.2333 | 3.5633 | 176.6333 | 4.1833 | 175 | 23.0173 | 880.2 | 83.4667 | 0.84467
2019-07-14 01:30:00 | 2.28 | 155.7033 | 2.6267 | 171.1 | 3.23 | 170.3 | 3.7167 | 167.0667 | 22.9907 | 880 | 83.6 | 0.78267
2019-07-14 01:45:00 | 1.8333 | 167.1767 | 2.1233 | 183.7 | 2.5967 | 170.1 | 3.15 | 171.86 | 22.9313 | 880 | 83.6 | 0.73067
2019-07-14 02:00:00 | 1.8667 | 174.756 | 2.15 | 192.04 | 2.55 | 191.0333 | 3.07 | 182.9333 | 22.9 | 880 | 83.8 | 1.0813
2019-07-14 02:15:00 | 2.58 | 166.7733 | 2.9733 | 183.2667 | 3.38 | 186.3667 | 3.9 | 178.0667 | 22.7533 | 880 | 84.6667 | 1.5273
2019-07-14 02:30:00 | 2.3933 | 160.28 | 2.76 | 176.1333 | 3.2133 | 174.6333 | 3.8533 | 180.3333 | 22.6067 | 880 | 85.6667 | 0.97867
2019-07-14 02:45:00 | 1.9267 | 180.7567 | 2.2267 | 198.6333 | 2.61 | 177.2 | 3.16 | 180.2667 | 22.3633 | 880 | 87.0667 | 0.532
2019-07-14 03:00:00 | 1.6733 | 171.05 | 1.9333 | 187.9667 | 2.57 | 181.9333 | 2.96 | 171.4 | 22.1833 | 880 | 88.1333 | 0.10867
2019-07-14 03:15:00 | 1.3933 | 178.6633 | 1.6033 | 196.3333 | 2.26 | 200.5667 | 2.2067 | 185.2333 | 21.9533 | 879.8667 | 88.6667 | 0.45
2019-07-14 03:30:00 | 1.46 | 179.21 | 1.69 | 196.9333 | 2.5867 | 202.9 | 2.4133 | 192.1 | 21.8467 | 879 | 88.5333 | 0.368
2019-07-14 03:45:00 | 1.2533 | 158.064 | 1.4433 | 172.7 | 2.27 | 184.6667 | 2.2567 | 200.2667 | 21.65 | 879 | 89.2333 | 0.079333
2019-07-14 04:00:00 | 1.1667 | 160.5 | 1.3433 | 176.3667 | 1.73 | 192.1333 | 1.99 | 173.7333 | 21.47 | 879 | 90.1 | 0.046667
2019-07-14 04:15:00 | 1.1967 | 185.1307 | 1.3853 | 204.3667 | 1.46 | 194.5 | 2.39 | 166.3667 | 21.3553 | 879 | 90.3 | 0
2019-07-14 04:30:00 | 0.65333 | 184.9533 | 0.75 | 203.2333 | 1.06 | 180.5667 | 1.9367 | 164.0333 | 21.35 | 879 | 89.9467 | 0
2019-07-14 04:45:00 | 0.16667 | 180.92 | 0.19667 | 198.8 | 0.33 | 173.84 | 0.61667 | 165.1 | 21.3087 | 879 | 90.4667 | 0
2019-07-14 05:00:00 | 0.1 | 180.92 | 0.11667 | 198.8 | 0.19 | 181.9667 | 0.07 | 165.1 | 21.19 | 879 | 91 | 0
2019-07-14 05:15:00 | 0.073333 | 181.6607 | 0.093333 | 199.6133 | 0 | 185.9867 | 0 | 165.1 | 20.9767 | 879 | 91.9333 | 0
2019-07-14 05:30:00 | 0.006667 | 181.73 | 0.006667 | 199.7 | 0 | 185.9 | 0 | 165.1 | 20.7967 | 879 | 92.7333 | 0
2019-07-14 05:45:00 | 0.35667 | 181.3967 | 0.41267 | 199.3267 | 0.65 | 185.98 | 0.17333 | 172.62 | 20.6087 | 879 | 93.9667 | 0
2019-07-14 06:00:00 | 1.31 | 176.0267 | 1.51 | 193.4333 | 1.65 | 193 | 1.1333 | 203.0333 | 20.4633 | 879 | 94.9 | 0.45667
2019-07-14 06:15:00 | 1.344 | 175.99 | 1.548 | 193.4 | 1.754 | 189.1933 | 1.3713 | 205.7933 | 20.3567 | 879 | 95.48 | 0.94933
2019-07-14 06:30:00 | 1.2267 | 175.99 | 1.42 | 193.4 | 1.76 | 182.6667 | 2.09 | 198.3333 | 20.3667 | 879 | 95.7 | 0.64067
2019-07-14 06:45:00 | 0.29333 | 175.99 | 0.35 | 193.4 | 0.56333 | 179.8 | 1.6967 | 183.7333 | 20.3847 | 879 | 95.8867 | 0.22
2019-07-14 07:00:00 | 0.21333 | 175.99 | 0.25 | 193.4 | 0.43 | 179.7533 | 0.74333 | 172.8 | 20.4933 | 879.4667 | 95.6 | 0.13267
2019-07-14 07:15:00 | 0.08 | 175.99 | 0.093333 | 193.4 | 0.15333 | 179.78 | 0 | 172.8 | 20.7433 | 880 | 94.6 | 0
2019-07-14 07:30:00 | 0.08 | 254.99 | 0.093333 | 280.2 | 0.006667 | 179.8 | 0 | 172.8 | 21.23 | 880 | 93.6667 | 0
2019-07-14 07:45:00 | 0.38333 | 196.9333 | 0.44667 | 216.3967 | 0.006667 | 215.6 | 0 | 173.04 | 21.6967 | 880 | 91.7133 | 0
2019-07-14 08:00:00 | 0.47 | 214.64 | 0.54 | 235.8633 | 0.093333 | 215.6 | 0.57333 | 192.7 | 21.4233 | 880 | 92.8667 | 0
2019-07-14 08:15:00 | 0.63667 | 89.73 | 0.73333 | 98.6 | 0.94 | 202.6667 | 1.0567 | 221.2667 | 22.3367 | 880.1333 | 91.8333 | 0
2019-07-14 08:30:00 | 1.0233 | 128.01 | 1.18 | 140.6667 | 1.1133 | 181.2667 | 0.45 | 153.8667 | 23.37 | 881 | 87.7 | 0
2019-07-14 08:45:00 | 0.82333 | 128.4367 | 0.95667 | 141.1333 | 0.96 | 144.9 | 0.65333 | 188.7 | 24.23 | 881.1333 | 85.2333 | 0
2019-07-14 09:00:00 | 1.2633 | 132.3833 | 1.4633 | 145.4667 | 1.4733 | 142.6333 | 0.87333 | 178.6333 | 24.7433 | 882 | 83.9667 | 0
2019-07-14 09:15:00 | 1.504 | 125.3793 | 1.73 | 137.7733 | 1.6367 | 160.12 | 1.3533 | 134.2267 | 24.7467 | 882 | 83.48 | 0
2019-07-14 09:30:00 | 1.732 | 144.5547 | 2.0027 | 158.84 | 1.9813 | 168.5933 | 1.5567 | 172.6133 | 24.42 | 882 | 84.56 | 0
2019-07-14 09:45:00 | 1.7 | 149.94 | 1.96 | 164.7667 | 1.9667 | 154.7333 | 1.5667 | 200.3667 | 24.0867 | 882 | 86.3667 | 0
2019-07-14 10:00:00 | 2.1733 | 140.42 | 2.5 | 154.3 | 2.3067 | 169.1333 | 1.9133 | 168.2333 | 24.0933 | 882 | 84.2333 | 0
2019-07-14 10:15:00 | 2.29 | 157.16 | 2.63 | 172.7 | 2.5367 | 163.8333 | 2.33 | 172.0667 | 24.0373 | 882 | 84.6867 | 0
2019-07-14 10:30:00 | 2.132 | 145.492 | 2.454 | 159.88 | 2.424 | 155.42 | 2.18 | 189.16 | 23.906 | 882 | 85.14 | 0
2019-07-14 10:45:00 | 1.9267 | 137.8367 | 2.2267 | 151.4667 | 2.1267 | 172.1 | 2.0467 | 200.6667 | 23.76 | 882 | 85.5933 | 0
2019-07-14 11:00:00 | 1.78 | 154.9433 | 2.0467 | 170.2667 | 2.1733 | 181.7667 | 1.9667 | 174.6 | 24.2533 | 882 | 83.5 | 0
2019-07-14 11:15:00 | 1.8667 | 148.0233 | 2.1467 | 162.6667 | 2.28 | 206.3667 | 2.2267 | 185.4 | 24.9967 | 882 | 78.8733 | 0
2019-07-14 11:30:00 | 1.8333 | 165.1967 | 2.1133 | 181.5333 | 2.2 | 187.2333 | 1.9267 | 173.4667 | 25.6433 | 882 | 76.7467 | 0
2019-07-14 11:45:00 | 2.36 | 153.4233 | 2.7167 | 168.6 | 2.5933 | 135.7 | 2.46 | 173.2667 | 26.17 | 882 | 74.3667 | 0
2019-07-14 12:00:00 | 2.4933 | 146.81 | 2.87 | 161.3333 | 2.9 | 154.1 | 2.52 | 168.1333 | 26.33 | 882 | 72.4407 | 0
2019-07-14 12:15:00 | 1.8167 | 135.2567 | 2.0967 | 148.6333 | 2.2167 | 181.5333 | 1.88 | 187.7333 | 26.5893 | 882 | 72.59 | 0
2019-07-14 12:30:00 | 1.85 | 157.4633 | 2.13 | 173.0333 | 2.4767 | 228.6 | 2.4533 | 219 | 26.9467 | 882 | 70.4833 | 0
2019-07-14 12:45:00 | 2.34 | 149.4233 | 2.6933 | 164.2 | 3.0633 | 222.1 | 3.1467 | 231.7 | 26.91 | 882 | 69.3667 | 0.49733
2019-07-14 13:00:00 | 2.328 | 165.362 | 2.68 | 185.3333 | 3.1367 | 231.9 | 3.4 | 246.7 | 27.05 | 882 | 68.4067 | 0.40267
2019-07-14 13:15:00 | 2.3533 | 168.6533 | 2.7067 | 185.3333 | 2.97 | 224.7333 | 3.0467 | 226.4333 | 27.3433 | 882 | 66.61 | 0.24667
2019-07-14 13:30:00 | 2.252 | 137.976 | 2.59 | 151.62 | 3.044 | 212.88 | 3.068 | 227.86 | 27.456 | 882 | 66.266 | 0.72667
2019-07-14 13:45:00 | 1.96 | 173.76 | 2.26 | 190.9333 | 2.8267 | 211.1333 | 2.9867 | 201.3667 | 27.03 | 882 | 70.8167 | 0.59667
2019-07-14 14:00:00 | 2.3133 | 162.1067 | 2.66 | 178.1333 | 3.0267 | 231.2 | 3.1067 | 228.5 | 27.43 | 882 | 70.1633 | 1.474
2019-07-14 14:15:00 | 2.364 | 155.5107 | 2.7147 | 170.8867 | 3.2253 | 234.4467 | 3.4653 | 231.5467 | 27.7293 | 882 | 67.9213 | 2.3073
2019-07-14 14:30:00 | 2.7333 | 147.9933 | 3.14 | 162.6333 | 3.5733 | 220.6667 | 3.6833 | 229.9667 | 27.73 | 882 | 66.4933 | 3.964
2019-07-14 14:45:00 | 2.8467 | 148.54 | 3.2733 | 163.2333 | 3.8633 | 231.9667 | 3.8567 | 245.4667 | 26.9433 | 882 | 69.0733 | 3.0033
2019-07-14 15:00:00 | 2.7133 | 143.1467 | 3.1267 | 157.3 | 3.3433 | 223.2333 | 3.1033 | 264.8667 | 27.7767 | 882 | 68.1667 | 3.264
2019-07-14 15:15:00 | 2.1467 | 159.1633 | 2.4733 | 174.9 | 2.9067 | 207.2 | 3.1933 | 239.0667 | 27.5467 | 882 | 68.5167 | 4.8307
2019-07-14 15:30:00 | 2.812 | 158.494 | 3.242 | 174.16 | 3.812 | 218.74 | 4.09 | 227.72 | 27.436 | 882 | 68.13 | 4.6993
2019-07-14 15:45:00 | 3.1353 | 158.8873 | 3.6067 | 174.5867 | 4.344 | 224.38 | 4.3913 | 224.7 | 27.4107 | 881.8667 | 68.058 | 5.64
2019-07-14 16:00:00 | 2.7667 | 143.0033 | 3.18 | 157.1333 | 3.6333 | 235.4667 | 3.9667 | 215.3 | 27.8633 | 881 | 67.5233 | 4.538
2019-07-14 16:15:00 | 3.058 | 183.4787 | 3.52 | 200.34 | 4.148 | 239.94 | 4.28 | 239.66 | 28.094 | 881.1333 | 65.436 | 4.6927
2019-07-14 16:30:00 | 2.4433 | 187.2467 | 2.82 | 205.7667 | 3.3133 | 236.2333 | 3.6267 | 258.4333 | 28.19 | 882 | 64.6533 | 3.6173
2019-07-14 16:45:00 | 2.7867 | 159.7133 | 3.2033 | 175.5 | 3.68 | 217 | 3.7267 | 231.2 | 27.9767 | 882 | 65.56 | 4.006
2019-07-14 17:00:00 | 2.44 | 159.04 | 2.8167 | 174.7667 | 3.3533 | 228.4667 | 3.4533 | 233 | 27.8913 | 882 | 67.4133 | 3.3667
2019-07-14 17:15:00 | 2.5133 | 213.56 | 2.8967 | 234.6667 | 3.44 | 234.8333 | 3.73 | 212.3667 | 27.7133 | 881.8667 | 67.91 | 4.742
2019-07-14 17:30:00 | 2.9267 | 160.4667 | 3.3633 | 176.3333 | 3.9133 | 230.5667 | 4.2233 | 226.9 | 27.36 | 881 | 68.3033 | 6.2487
2019-07-14 17:45:00 | 2.56 | 178.5467 | 2.9567 | 196.2 | 3.51 | 220.3 | 3.6933 | 228.4 | 26.58 | 881 | 71.2167 | 4.7087
2019-07-14 18:00:00 | 1.68 | 175.4467 | 1.9367 | 192.8 | 2.6567 | 227.6333 | 3.08 | 235.4 | 26.3413 | 881 | 73.4833 | 3.4067
2019-07-14 18:15:00 | 1.7333 | 174.93 | 2.0033 | 192.2333 | 2.6367 | 228.2333 | 2.77 | 232 | 26.43 | 880.2 | 73.48 | 2.3233
2019-07-14 18:30:00 | 1.9333 | 160.25 | 2.23 | 176.1 | 2.8253 | 227.1667 | 2.9833 | 216.5333 | 26.2367 | 880 | 73.28 | 1.5113
2019-07-14 18:45:00 | 1.5667 | 174.6867 | 1.8133 | 191.9667 | 2.46 | 218.1667 | 2.8333 | 216.3333 | 25.9467 | 880 | 74.118 | 2.3853
2019-07-14 19:00:00 | 1.7933 | 174.1533 | 2.0733 | 191.3667 | 2.5933 | 230.2333 | 3.1133 | 215.0667 | 25.8633 | 880 | 73.94 | 1.512
2019-07-14 19:15:00 | 1.9767 | 149.01 | 2.2833 | 163.7333 | 2.9333 | 210.4 | 3.3167 | 224.5667 | 25.5333 | 880 | 75.7367 | 1.722
2019-07-14 19:30:00 | 2.4433 | 148.7567 | 2.81 | 163.4667 | 3.4467 | 208.8933 | 3.6767 | 219.7 | 25.2933 | 880 | 76.3967 | 1.3333
2019-07-14 19:45:00 | 2.1067 | 181.8267 | 2.43 | 199.8 | 3.0067 | 218.7267 | 3.3867 | 214.4333 | 25.0667 | 880 | 76.3587 | 0.87533
2019-07-14 20:00:00 | 2.2333 | 166.9 | 2.5767 | 183.4 | 3.1933 | 222.9667 | 3.3733 | 224.3667 | 24.9067 | 880 | 75.9747 | 0.50667
2019-07-14 20:15:00 | 2.074 | 174.0313 | 2.3893 | 191.2333 | 2.966 | 209.7067 | 2.918 | 211.7133 | 24.736 | 880 | 75.908 | 0.49867
2019-07-14 20:30:00 | 2.0867 | 194.41 | 2.4033 | 213.6333 | 3.35 | 215.1667 | 3.39 | 211.3867 | 24.57 | 880 | 76.3033 | 0.178
2019-07-14 20:45:00 | 1.6413 | 187.178 | 1.9007 | 205.68 | 2.9053 | 210.36 | 2.75 | 206.1933 | 24.3687 | 880 | 77.2353 | 0
2019-07-14 21:00:00 | 1.2267 | 195.5367 | 1.41 | 214.8667 | 2.2367 | 214.0333 | 2.4833 | 214.3333 | 24.3007 | 880 | 77.7333 | 0
2019-07-14 21:15:00 | 0.764 | 188.02 | 0.88733 | 206.6 | 1.5227 | 207.2333 | 1.7 | 212.0667 | 24.274 | 880 | 78.3853 | 0
2019-07-14 21:30:00 | 0.22667 | 188.02 | 0.27 | 206.6 | 0.44667 | 203.1533 | 0.75333 | 201.2667 | 24.1967 | 880 | 78.854 | 0
2019-07-14 21:45:00 | 0.62867 | 187.9267 | 0.728 | 206.5067 | 1.1027 | 203.1 | 1.3253 | 204.1067 | 24.1907 | 880 | 79.03 | 0
2019-07-14 22:00:00 | 0.92 | 184.6667 | 1.06 | 202.9333 | 1.56 | 203.1 | 1.89 | 213.0467 | 24.1413 | 880 | 79.47 | 0
2019-07-14 22:15:00 | 1.4233 | 168.4547 | 1.6387 | 185.1133 | 2.2113 | 198.8 | 2.2387 | 202.0733 | 24.1147 | 880 | 79.7887 | 0
2019-07-14 22:30:00 | 1.5133 | 157.5267 | 1.75 | 173.1 | 2.01 | 193.7333 | 2.12 | 198.4333 | 24.13 | 880 | 79.9173 | 0
2019-07-14 22:45:00 | 1.3407 | 172.5607 | 1.5413 | 189.6133 | 1.862 | 191.04 | 2.15 | 196.78 | 24.1247 | 880 | 80.1627 | 0
2019-07-14 23:00:00 | 0.93333 | 172.63 | 1.0767 | 189.7 | 1.47 | 191 | 1.7933 | 196.7533 | 24.0233 | 880 | 81.1667 | 0
2019-07-14 23:15:00 | 0.44133 | 172.63 | 0.50933 | 189.7 | 0.878 | 191 | 1.3153 | 196.7 | 23.898 | 880 | 82.1867 | 0
2019-07-14 23:30:00 | 0.47333 | 172.63 | 0.55667 | 189.7 | 0.93667 | 191 | 1.5367 | 191.9667 | 23.7367 | 880.4667 | 82.8333 | 0
2019-07-14 23:45:00 | 0.34667 | 172.566 | 0.41 | 189.62 | 0.70333 | 186.6 | 1.3067 | 176.2 | 23.6233 | 881 | 83.2 | 0