## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-15 00:00:00 | 0.48143 | 172.55 | 0.565 | 189.6 | 0.96 | 202.9929 | 1.2693 | 184.5286 | 23.5986 | 880.5714 | 83.2071 | 0
2019-07-15 00:15:00 | 0.25333 | 172.614 | 0.29333 | 189.68 | 0.49333 | 212.02 | 0.18667 | 184.7 | 23.6747 | 880.8 | 82.9333 | 0
2019-07-15 00:30:00 | 0 | 172.63 | 0 | 189.7 | 0 | 212 | 0 | 184.7 | 23.54 | 880.5333 | 83.7333 | 0
2019-07-15 00:45:00 | 0 | 172.63 | 0 | 189.7 | 0 | 212.08 | 0 | 184.7 | 23.386 | 880 | 84.4867 | 0
2019-07-15 01:00:00 | 0 | 172.63 | 0 | 189.7 | 0 | 212.0533 | 0 | 184.7 | 23.3413 | 880 | 84.6 | 0
2019-07-15 01:15:00 | 0 | 172.63 | 0 | 189.7 | 0 | 212.0667 | 0.066667 | 184.7 | 23.276 | 880 | 85.3333 | 0
2019-07-15 01:30:00 | 0.04 | 248.71 | 0.046667 | 273.3 | 0 | 212.0467 | 0.04 | 184.7 | 23.2113 | 880 | 85.7533 | 0
2019-07-15 01:45:00 | 0.63667 | 293.7267 | 0.74 | 322.7667 | 0 | 212.1 | 0 | 184.7 | 23.04 | 880 | 86.6 | 0
2019-07-15 02:00:00 | 0.63 | 310.7133 | 0.73333 | 341.4333 | 0 | 212.1 | 0 | 184.7 | 22.82 | 880 | 87.3333 | 0
2019-07-15 02:15:00 | 0.80667 | 312.23 | 0.93667 | 343.1 | 0.37 | 148.45 | 0 | 184.7 | 22.6967 | 880 | 87.7467 | 0
2019-07-15 02:30:00 | 1.4467 | 307.31 | 1.67 | 337.7 | 1.59 | 17.19 | 0.30667 | 71.56 | 22.5767 | 880 | 88.7 | 0
2019-07-15 02:45:00 | 1.66 | 309.3573 | 1.9167 | 339.9467 | 1.76 | 11.1933 | 0.061333 | 15.1793 | 22.432 | 879.8667 | 89.94 | 0
2019-07-15 03:00:00 | 1.7467 | 306.49 | 2.0167 | 336.8 | 1.97 | 239.6233 | 0.02 | 15.2007 | 22.3367 | 879 | 90.5333 | 0
2019-07-15 03:15:00 | 1.0467 | 304.0067 | 1.2107 | 334.0733 | 0.754 | 351.6867 | 0.001333 | 15.19 | 22.3093 | 879 | 89.8733 | 0
2019-07-15 03:30:00 | 1.41 | 311.19 | 1.62 | 341.9667 | 1.5267 | 330.1667 | 0.28667 | 15.1233 | 22.3593 | 879 | 89.5 | 0
2019-07-15 03:45:00 | 1.8513 | 316.2833 | 2.1367 | 347.56 | 2.3547 | 25.386 | 1.4187 | 19.7533 | 22.284 | 879 | 90.5133 | 0
2019-07-15 04:00:00 | 1.0633 | 314.3567 | 1.22 | 345.4333 | 1.4133 | 9.09 | 1.28 | 40.94 | 22.0867 | 879 | 92.1667 | 0
2019-07-15 04:15:00 | 1.6333 | 307.88 | 1.8867 | 338.3333 | 1.5767 | 28.8467 | 0.75 | 38.7767 | 21.5933 | 879 | 95.4333 | 0
2019-07-15 04:30:00 | 1.9267 | 311.34 | 2.2267 | 342.1333 | 2.2633 | 27.3933 | 1.3033 | 52.7233 | 21.1867 | 879 | 97.4333 | 0
2019-07-15 04:45:00 | 2.5 | 311.22 | 2.8767 | 342 | 3.1067 | 352.2 | 2.74 | 20.25 | 20.8867 | 879 | 98.5667 | 0
2019-07-15 05:00:00 | 2.24 | 322.14 | 2.5767 | 354 | 2.9733 | 123.4467 | 2.7267 | 18.5167 | 20.8013 | 879 | 99.0333 | 0
2019-07-15 05:15:00 | 1.8067 | 323.3533 | 2.09 | 355.3333 | 2.7467 | 18.0833 | 2.342 | 44.89 | 20.7467 | 879 | 99.3667 | 0.112
2019-07-15 05:30:00 | 2.7933 | 195.04 | 3.2167 | 214.3333 | 3.3067 | 102.3967 | 3.6667 | 135.21 | 20.55 | 879 | 99.1667 | 0
2019-07-15 05:45:00 | 2.3733 | 121.77 | 2.74 | 133.8 | 2.9967 | 155.3667 | 2.7967 | 152.9333 | 20.09 | 879 | 97.6333 | 0
2019-07-15 06:00:00 | 2.1133 | 239.4567 | 2.4333 | 263.1333 | 2.55 | 62.32 | 1.59 | 73.5733 | 20.0453 | 879 | 99.3 | 0
2019-07-15 06:15:00 | 1.92 | 283.1367 | 2.2133 | 311.1333 | 1.9567 | 115.72 | 1.68 | 136.4733 | 20.082 | 879 | 99.6667 | 0
2019-07-15 06:30:00 | 2.1067 | 298.19 | 2.4333 | 327.6667 | 2.3433 | 115.8333 | 1.5867 | 118.2933 | 20.1753 | 879 | 99.8 | 0
2019-07-15 06:45:00 | 1.53 | 285.9267 | 1.77 | 314.2 | 1.4067 | 18.34 | 0.90333 | 85.3467 | 20.1833 | 879 | 99.8933 | 0
2019-07-15 07:00:00 | 0.98333 | 292.3667 | 1.1433 | 321.2667 | 0.74667 | 14.7133 | 0.20333 | 285.9 | 20.2567 | 879 | 100 | 0
2019-07-15 07:15:00 | 1.7627 | 304.75 | 2.0367 | 334.7467 | 2.0613 | 95.23 | 1.288 | 327.3067 | 20.2273 | 879 | 100 | 0.88733
2019-07-15 07:30:00 | 1.69 | 318.3133 | 1.9433 | 349.8 | 1.8967 | 343.8333 | 1.5567 | 336.4667 | 20.2147 | 879.4667 | 100 | 2.2133
2019-07-15 07:45:00 | 2.12 | 312.8953 | 2.44 | 344.2 | 3.0967 | 340.5 | 3.1067 | 211.94 | 20.2927 | 879.3333 | 100 | 0.86867
2019-07-15 08:00:00 | 2.3867 | 127.0967 | 2.7467 | 139.6667 | 3.31 | 119.0667 | 3.36 | 238.0067 | 20.296 | 880 | 100 | 0
2019-07-15 08:15:00 | 2.4933 | 105.76 | 2.8667 | 116.2133 | 3.6333 | 5.3567 | 3.5 | 233.31 | 20.3127 | 880 | 100 | 0.32133
2019-07-15 08:30:00 | 3.1733 | 298.7 | 3.6533 | 328.2333 | 4.5867 | 241.83 | 4.1933 | 8.67 | 20.3593 | 880 | 100 | 0.652
2019-07-15 08:45:00 | 3.3493 | 37.9547 | 3.8507 | 21.5533 | 4.88 | 0.74667 | 4.5967 | 8.2767 | 20.366 | 880 | 100 | 0.68467
2019-07-15 09:00:00 | 2.9 | 215.7067 | 3.3367 | 237.0267 | 4.74 | 238.58 | 4.55 | 14.0967 | 20.3993 | 880 | 100 | 0.81733
2019-07-15 09:15:00 | 2.88 | 9.0667 | 3.32 | 9.9567 | 4.7767 | 14.1633 | 4.4633 | 11.9867 | 20.3267 | 880 | 100 | 0.76867
2019-07-15 09:30:00 | 2.5 | 193.7933 | 2.8733 | 212.95 | 4.5233 | 10.95 | 4.3767 | 16.02 | 20.4533 | 880 | 100 | 0
2019-07-15 09:45:00 | 1.9933 | 315.32 | 2.2933 | 346.5 | 3.1367 | 8.23 | 3.2767 | 10.1767 | 20.4533 | 880 | 100 | 0
2019-07-15 10:00:00 | 1.6067 | 303.7267 | 1.86 | 333.7667 | 2.41 | 14.87 | 2.6433 | 18.73 | 20.5533 | 880.4667 | 100 | 0
2019-07-15 10:15:00 | 1.66 | 122.14 | 1.9133 | 134.22 | 2.96 | 12.8 | 2.9033 | 16.7667 | 20.84 | 880.3333 | 100 | 0
2019-07-15 10:30:00 | 1.7 | 116.5333 | 1.9667 | 128.0533 | 2.7533 | 14.1267 | 2.51 | 13.2067 | 20.92 | 881 | 100 | 0
2019-07-15 10:45:00 | 1.69 | 7.4867 | 1.9467 | 8.2267 | 2.3367 | 113.5333 | 2.68 | 125.24 | 21.0333 | 881 | 100 | 0
2019-07-15 11:00:00 | 2.03 | 4.2467 | 2.3333 | 4.66 | 2.6567 | 347.0333 | 3.08 | 353.1 | 21.06 | 881 | 100 | 0.37133
2019-07-15 11:15:00 | 2.1833 | 106.5667 | 2.5133 | 117.1 | 3.0433 | 2.8667 | 3.25 | 237.7133 | 21.3333 | 881 | 100 | 0.092667
2019-07-15 11:30:00 | 1.948 | 319 | 2.246 | 350.54 | 2.518 | 5.852 | 2.628 | 2.376 | 21.564 | 881 | 100 | 0
2019-07-15 11:45:00 | 1.9133 | 315.68 | 2.2067 | 346.9 | 2.8433 | 9.2967 | 2.6733 | 19.7367 | 21.4747 | 881 | 100 | 0
2019-07-15 12:00:00 | 1.858 | 319.706 | 2.152 | 351.32 | 2.908 | 16.538 | 2.598 | 28.272 | 21.252 | 881 | 100 | 0
2019-07-15 12:15:00 | 1.7233 | 293.8467 | 1.98 | 322.9 | 2.6167 | 15.4233 | 2.3733 | 32.04 | 21.014 | 881 | 100 | 0
2019-07-15 12:30:00 | 1.716 | 122.028 | 1.974 | 134.102 | 2.636 | 14.908 | 2.86 | 27.158 | 21.0493 | 881 | 100 | 0
2019-07-15 12:45:00 | 1.98 | 111.0167 | 2.2733 | 121.9933 | 2.66 | 9.16 | 3.2533 | 19.85 | 21.1733 | 881 | 100 | 0
2019-07-15 13:00:00 | 1.836 | 310.118 | 2.114 | 341.1 | 2.3333 | 8.22 | 2.4067 | 14.75 | 21.1133 | 881 | 100 | 0
2019-07-15 13:15:00 | 1.58 | 15.53 | 1.82 | 17.064 | 1.85 | 285.082 | 2.07 | 15.702 | 21.574 | 881 | 100 | 0
2019-07-15 13:30:00 | 1.868 | 10.8633 | 2.148 | 11.94 | 2.2033 | 223.8033 | 2.27 | 4.7967 | 21.8367 | 881 | 100 | 0
2019-07-15 13:45:00 | 2.1247 | 15.71 | 2.4407 | 17.2547 | 2.462 | 164.24 | 2.6327 | 191.0107 | 21.8167 | 881 | 100 | 0
2019-07-15 14:00:00 | 2.216 | 194.96 | 2.55 | 238.0133 | 2.6533 | 120.4867 | 2.7167 | 230.48 | 21.804 | 881 | 100 | 0
2019-07-15 14:15:00 | 2.53 | 13.1733 | 2.9133 | 14.4767 | 3.24 | 198.9 | 2.9733 | 124.7133 | 21.79 | 881 | 100 | 0
2019-07-15 14:30:00 | 2.3433 | 200.2533 | 2.7 | 220.05 | 3.1 | 116.8667 | 2.96 | 354.9 | 21.79 | 881 | 100 | 0
2019-07-15 14:45:00 | 1.448 | 82.8313 | 1.6767 | 91.0153 | 2.0293 | 7.506 | 1.9533 | 20.1147 | 21.838 | 881 | 100 | 0
2019-07-15 15:00:00 | 1.716 | 311.3733 | 1.978 | 342.1667 | 1.8667 | 66.05 | 1.6867 | 84.29 | 21.6433 | 881 | 99.9533 | 0
2019-07-15 15:15:00 | 2.32 | 222.5333 | 2.6667 | 244.5333 | 3.9867 | 10.79 | 3.5267 | 8.92 | 21.6007 | 880.8667 | 99.8867 | 0.758
2019-07-15 15:30:00 | 2.578 | 203.006 | 2.966 | 244.4 | 4.4733 | 7.4167 | 4.36 | 7.8667 | 21.68 | 880 | 100 | 1.2467
2019-07-15 15:45:00 | 1.8467 | 204.4767 | 2.12 | 224.6867 | 3.11 | 2.1867 | 3.74 | 11.2267 | 21.8187 | 880 | 100 | 0
2019-07-15 16:00:00 | 0.47333 | 186.8233 | 0.55333 | 205.2867 | 0.73667 | 211.7067 | 1.5667 | 234.4667 | 21.8567 | 880 | 100 | 0
2019-07-15 16:15:00 | 3.0333 | 148.6933 | 3.49 | 163.4 | 3.7133 | 186.7333 | 3.9367 | 186.5333 | 21.4667 | 880.8 | 99.4867 | 1.7933
2019-07-15 16:30:00 | 2.8467 | 163.02 | 3.2833 | 179.1333 | 3.4467 | 153.6 | 4.1433 | 186.1333 | 20.5267 | 880.5333 | 99.1333 | 4.8247
2019-07-15 16:45:00 | 0.82933 | 117.8127 | 0.95933 | 129.4667 | 1.2 | 240.1267 | 1.724 | 228.9467 | 20.2753 | 880 | 99.8533 | 7.5493
2019-07-15 17:00:00 | 1.1867 | 137.7133 | 1.37 | 151.3333 | 1.54 | 212.8333 | 2.14 | 223.4333 | 20.3433 | 880 | 100 | 7.912
2019-07-15 17:15:00 | 1.0733 | 73.0933 | 1.2333 | 80.32 | 1.5867 | 233.5333 | 2.41 | 228.7667 | 20.0433 | 880 | 100 | 3.972
2019-07-15 17:30:00 | 0.54667 | 263.5133 | 0.64 | 289.5667 | 0.54667 | 226.4 | 0.51667 | 186.4333 | 19.63 | 880 | 99.8 | 3.232
2019-07-15 17:45:00 | 1.4 | 299.8833 | 1.6133 | 329.5333 | 1.3467 | 326.7 | 0.61667 | 330.6 | 19.4167 | 879.2 | 99.3 | 7.0007
2019-07-15 18:00:00 | 1.7333 | 297.57 | 2 | 327 | 1.7267 | 336.9667 | 1.0033 | 345.0667 | 19.2767 | 879 | 98.9467 | 4.7307
2019-07-15 18:15:00 | 1.9667 | 317.8333 | 2.27 | 349.2667 | 2.2967 | 238.1933 | 1.82 | 7.3233 | 19.1227 | 879 | 98.5667 | 2.1047
2019-07-15 18:30:00 | 3.52 | 314.9267 | 4.05 | 346.0667 | 4.99 | 7.52 | 4.9933 | 5.65 | 19.02 | 879 | 99.4333 | 1.6733
2019-07-15 18:45:00 | 3.2067 | 130.6867 | 3.7 | 143.6067 | 4.62 | 241.6767 | 4.6467 | 10.7367 | 18.9033 | 879 | 99.8667 | 0.262
2019-07-15 19:00:00 | 2.6867 | 140.8 | 3.1 | 154.72 | 4.3267 | 18.1767 | 4.4 | 22.0767 | 19.1567 | 879 | 100 | 1.1547
2019-07-15 19:15:00 | 3.2067 | 22.89 | 3.6833 | 25.1467 | 4.78 | 19.96 | 5.1867 | 24.2867 | 19.28 | 879 | 100 | 4.88
2019-07-15 19:30:00 | 3.84 | 207.31 | 4.4233 | 227.8067 | 5.6 | 15.1133 | 5.86 | 18.18 | 19.2333 | 879 | 100 | 7.8107
2019-07-15 19:45:00 | 4.2833 | 299.2133 | 4.9333 | 328.8 | 5.7167 | 0.15 | 6.0067 | 23.1367 | 18.97 | 879 | 100 | 10.7867
2019-07-15 20:00:00 | 4.19 | 299.0867 | 4.82 | 328.6667 | 5.69 | 237.9833 | 5.96 | 18.71 | 18.8433 | 879 | 100 | 13.3453
2019-07-15 20:15:00 | 3.8867 | 117.0633 | 4.4667 | 128.6353 | 5.7187 | 8.7367 | 6.4713 | 18.992 | 18.7313 | 879 | 100 | 13.3713
2019-07-15 20:30:00 | 4.0033 | 283.4667 | 4.6033 | 311.5 | 5.8367 | 11.4033 | 6.2733 | 10.61 | 18.6533 | 879 | 100 | 14.4553
2019-07-15 20:45:00 | 3.98 | 220.5067 | 4.59 | 242.3033 | 5.8 | 11.5933 | 6.4467 | 18.1967 | 18.7233 | 879.1333 | 100 | 16.848
2019-07-15 21:00:00 | 3.9667 | 202.5467 | 4.5633 | 222.57 | 6.0467 | 9.28 | 6.56 | 16.7233 | 18.85 | 880 | 100 | 17.8093
2019-07-15 21:15:00 | 3.5227 | 229.494 | 4.0533 | 252.1813 | 5.9493 | 9.3627 | 6.5227 | 16.6413 | 18.956 | 880 | 100 | 14.1693
2019-07-15 21:30:00 | 3.73 | 157.41 | 4.2967 | 172.9767 | 5.7233 | 239.1467 | 6.3147 | 10.3367 | 19.0093 | 880 | 100 | 12.312
2019-07-15 21:45:00 | 3.6673 | 245.4433 | 4.2207 | 269.7147 | 5.5913 | 1.6273 | 5.944 | 9.6307 | 18.9947 | 880 | 100 | 13.8467
2019-07-15 22:00:00 | 3.8267 | 24.8233 | 4.4033 | 27.2733 | 5.3733 | 3.53 | 5.9133 | 24.29 | 18.9707 | 880 | 100 | 11.4633
2019-07-15 22:15:00 | 3.9067 | 7.5533 | 4.5033 | 8.3033 | 5.3567 | 232.2967 | 5.7533 | 15.3633 | 18.9693 | 880 | 100 | 10.6813
2019-07-15 22:30:00 | 3.8533 | 3.0933 | 4.4367 | 3.3967 | 5.5567 | 16.73 | 5.9067 | 11.47 | 18.9707 | 880 | 100 | 10.458
2019-07-15 22:45:00 | 3.894 | 34.362 | 4.4773 | 37.7607 | 5.438 | 264.604 | 5.7567 | 17.1893 | 18.9707 | 880.8 | 100 | 8.484
2019-07-15 23:00:00 | 3.77 | 5.2033 | 4.3433 | 5.7167 | 5.14 | 5.59 | 5.3767 | 24.77 | 19.03 | 881 | 100 | 3.8647
2019-07-15 23:15:00 | 3.1307 | 44.0813 | 3.608 | 48.4313 | 4.2687 | 4.0893 | 4.6193 | 18.8973 | 19.1013 | 881 | 100 | 0.554
2019-07-15 23:30:00 | 2.1067 | 182.76 | 2.43 | 200.8333 | 3.3667 | 11.6 | 3.6633 | 12.67 | 19.11 | 881 | 100 | 0
2019-07-15 23:45:00 | 0.946 | 271.8253 | 1.092 | 298.7067 | 1.6193 | 52.1227 | 2.3227 | 39.4787 | 19.118 | 881 | 100 | 0