## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-16 00:00:00 | 0.92857 | 115.9579 | 1.0729 | 127.4286 | 1.3514 | 135.9643 | 2.0136 | 121.6179 | 19.1457 | 881 | 100 | 0
2019-07-16 00:15:00 | 0.98 | 113.9313 | 1.1287 | 125.2 | 1.634 | 144.7933 | 2.494 | 149.88 | 19.2873 | 881 | 100 | 0.39667
2019-07-16 00:30:00 | 0.55333 | 117.2467 | 0.63667 | 128.8333 | 0.81333 | 132.7 | 1.52 | 150.8333 | 19.4367 | 881 | 100 | 0.013333
2019-07-16 00:45:00 | 0.16933 | 151.646 | 0.20667 | 180.7 | 0.22 | 150.2 | 1.2633 | 151.3333 | 19.4333 | 881 | 100 | 0.222
2019-07-16 01:00:00 | 0.41333 | 287.4733 | 0.48333 | 315.9 | 0.006667 | 125.6667 | 0.36333 | 150.4667 | 19.366 | 881 | 100 | 1.658
2019-07-16 01:15:00 | 0.86333 | 198.3967 | 0.99 | 218.02 | 0.27667 | 350.5667 | 0 | 111.3433 | 19.2733 | 881 | 100 | 1.6873
2019-07-16 01:30:00 | 1.1167 | 1.0233 | 1.2833 | 1.12 | 0.67 | 126.4533 | 0 | 27.67 | 19.0933 | 880.5333 | 100 | 0.632
2019-07-16 01:45:00 | 1.9033 | 231.512 | 2.192 | 231.2833 | 1.9967 | 2.7533 | 0.48 | 2.48 | 18.906 | 880 | 100 | 0.24667
2019-07-16 02:00:00 | 2.22 | 212.23 | 2.56 | 233.2167 | 3.07 | 6.0933 | 2.36 | 7.94 | 18.9133 | 880 | 100 | 0.18933
2019-07-16 02:15:00 | 2.2133 | 305.76 | 2.5467 | 336 | 3.3133 | 14.08 | 2.5733 | 17.3467 | 18.8787 | 880 | 100 | 0
2019-07-16 02:30:00 | 2.18 | 314.9933 | 2.5067 | 346.1333 | 3.2333 | 11.7467 | 2.7533 | 4.02 | 18.7567 | 880 | 100 | 0
2019-07-16 02:45:00 | 1.8147 | 319.1747 | 2.0867 | 350.2 | 2.5033 | 10.9733 | 2.0767 | 10.1767 | 18.7 | 880 | 100 | 0
2019-07-16 03:00:00 | 1.6067 | 105.3633 | 1.85 | 115.7733 | 1.77 | 7.6867 | 1.4767 | 12.2833 | 18.7047 | 880 | 100 | 0
2019-07-16 03:15:00 | 2.2153 | 17.8567 | 2.544 | 19.62 | 3.03 | 7.6167 | 2.49 | 12.65 | 18.7233 | 880 | 100 | 0.108
2019-07-16 03:30:00 | 2.54 | 215.3767 | 2.92 | 236.6667 | 3.7967 | 13.1233 | 3.5767 | 16.91 | 18.6833 | 880 | 100 | 1.302
2019-07-16 03:45:00 | 2.64 | 8.1 | 3.04 | 8.9033 | 4 | 9.3667 | 4.2133 | 15.21 | 18.666 | 880 | 100 | 3.1547
2019-07-16 04:00:00 | 2.8333 | 16.8467 | 3.26 | 18.51 | 4.7933 | 12.6333 | 4.9733 | 23.3633 | 18.6947 | 880 | 100 | 2.326
2019-07-16 04:15:00 | 2.3713 | 71.9733 | 2.7307 | 98.5873 | 3.992 | 16.52 | 4.218 | 26.5127 | 18.6827 | 880 | 100 | 1.18
2019-07-16 04:30:00 | 1.96 | 89.7467 | 2.2633 | 98.62 | 3.7067 | 12.4267 | 3.98 | 26.0333 | 18.656 | 880 | 100 | 1.798
2019-07-16 04:45:00 | 2.3433 | 48.7167 | 2.6933 | 53.53 | 4.1833 | 17.8867 | 4.4367 | 33.39 | 18.6267 | 880 | 100 | 1.7173
2019-07-16 05:00:00 | 2.1433 | 40.0633 | 2.4667 | 44.0167 | 4.0367 | 15.7467 | 4.1167 | 26.9233 | 18.6047 | 880 | 100 | 0.55133
2019-07-16 05:15:00 | 2.1747 | 177.4687 | 2.5053 | 195.0127 | 3.734 | 14.9907 | 3.878 | 24.7387 | 18.6193 | 880 | 100 | 1.1173
2019-07-16 05:30:00 | 2.22 | 11.5767 | 2.5667 | 12.7167 | 3.7033 | 13.5467 | 3.9633 | 19.2333 | 18.63 | 879.5333 | 100 | 1.7227
2019-07-16 05:45:00 | 2.2327 | 289.066 | 2.576 | 317.6547 | 3.984 | 12.954 | 4.2113 | 18.3187 | 18.6327 | 879 | 100 | 3.796
2019-07-16 06:00:00 | 2.75 | 110.8367 | 3.1667 | 121.8 | 4.89 | 3.85 | 5.18 | 20.1567 | 18.6407 | 879 | 100 | 6.0973
2019-07-16 06:15:00 | 2.7067 | 104.9 | 3.1167 | 115.2667 | 5.0767 | 9.52 | 5.4733 | 8.7333 | 18.6167 | 879 | 100 | 7.2033
2019-07-16 06:30:00 | 2.6333 | 118.3133 | 3.0367 | 130.0067 | 4.6567 | 6.4733 | 5.0667 | 11.6 | 18.644 | 879.4667 | 100 | 6.9773
2019-07-16 06:45:00 | 2.72 | 13.6733 | 3.1267 | 15.0267 | 4.9633 | 6.91 | 5.2533 | 13.9667 | 18.6773 | 879.8667 | 100 | 10.8853
2019-07-16 07:00:00 | 3.1067 | 174.5667 | 3.5733 | 191.82 | 5.8767 | 6.75 | 6.3067 | 20.9 | 18.704 | 879.4667 | 100 | 13.1407
2019-07-16 07:15:00 | 3.32 | 221.43 | 3.82 | 243.3267 | 5.5233 | 6.09 | 5.8767 | 17.4867 | 18.6907 | 879.8667 | 100 | 15.0413
2019-07-16 07:30:00 | 2.8333 | 207.3633 | 3.26 | 227.86 | 5.37 | 8.1033 | 6.0033 | 20.7267 | 18.6867 | 879.4667 | 100 | 14.6033
2019-07-16 07:45:00 | 2.83 | 203.7133 | 3.2533 | 223.85 | 5.34 | 13.6933 | 5.5467 | 20.9233 | 18.7727 | 880 | 100 | 17.2093
2019-07-16 08:00:00 | 3.0633 | 210.5 | 3.52 | 231.3167 | 5.6533 | 19.04 | 5.92 | 23.9367 | 18.7993 | 880 | 100 | 16.3273
2019-07-16 08:15:00 | 3.0047 | 55.9467 | 3.452 | 61.472 | 5.576 | 18.3313 | 5.926 | 22.2333 | 18.7887 | 880 | 100 | 16.602
2019-07-16 08:30:00 | 2.96 | 44.13 | 3.4 | 48.4833 | 5.3533 | 11.4033 | 5.98 | 16.2967 | 18.76 | 880 | 100 | 15.8853
2019-07-16 08:45:00 | 3.3713 | 150.5773 | 3.8793 | 165.46 | 5.638 | 73.9473 | 5.672 | 13.4387 | 18.7733 | 880 | 100 | 15.0953
2019-07-16 09:00:00 | 3.144 | 10.582 | 3.614 | 11.624 | 5.216 | 283.26 | 5.3 | 10.174 | 18.8047 | 880 | 100 | 14.5187
2019-07-16 09:15:00 | 3.0487 | 4.6247 | 3.5047 | 5.0767 | 5.0433 | 35.7047 | 5.4033 | 21.694 | 18.814 | 880 | 100 | 12.1553
2019-07-16 09:30:00 | 3.0667 | 205.12 | 3.53 | 225.4033 | 5.76 | 16.98 | 5.7 | 22.8767 | 18.854 | 880 | 100 | 13.5527
2019-07-16 09:45:00 | 3.1333 | 130.4413 | 3.6127 | 143.34 | 5.8747 | 15.51 | 5.844 | 21.958 | 18.9207 | 880 | 100 | 14.5793
2019-07-16 10:00:00 | 3.21 | 221.6 | 3.6933 | 243.5067 | 5.3533 | 12.07 | 5.8 | 12.2467 | 18.9547 | 880 | 100 | 16.8873
2019-07-16 10:15:00 | 3.1833 | 8.6333 | 3.6667 | 9.4833 | 5.53 | 5.1933 | 5.9433 | 7.0433 | 18.9873 | 880 | 100 | 18.6267
2019-07-16 10:30:00 | 3.2033 | 37.96 | 3.6867 | 41.71 | 5.41 | 10.3933 | 5.87 | 20.59 | 19.11 | 880 | 100 | 19.3027
2019-07-16 10:45:00 | 3.138 | 108.5447 | 3.61 | 119.278 | 5.3693 | 7.5927 | 5.73 | 17.5093 | 19.118 | 880.6667 | 100 | 20.9033
2019-07-16 11:00:00 | 2.98 | 107.8133 | 3.43 | 118.48 | 5.17 | 22 | 5.3167 | 19.7667 | 19.076 | 880 | 100 | 21.424
2019-07-16 11:15:00 | 3.25 | 190.8733 | 3.7333 | 209.7467 | 5.3667 | 105.24 | 5.4133 | 19.8467 | 19.0533 | 880 | 100 | 23.1953
2019-07-16 11:30:00 | 3.544 | 8.178 | 4.074 | 8.974 | 5.428 | 127.544 | 5.764 | 24.224 | 19.074 | 880 | 100 | 20.206
2019-07-16 11:45:00 | 3.56 | 314.83 | 4.1 | 345.9667 | 5.1567 | 238.0367 | 5.4133 | 238.3967 | 19.1433 | 880 | 100 | 17.652
2019-07-16 12:00:00 | 3.3933 | 297.4167 | 3.9067 | 326.8333 | 5.43 | 11.9633 | 5.5733 | 16.33 | 19.2367 | 880 | 100 | 17.6633
2019-07-16 12:15:00 | 3.658 | 30.0347 | 4.2067 | 11.3067 | 5.78 | 8.19 | 6.27 | 15.0667 | 19.3287 | 880 | 100 | 9.6987
2019-07-16 12:30:00 | 3.39 | 183.51 | 3.9 | 201.656 | 5.31 | 4.6 | 5.804 | 19.302 | 19.3247 | 880 | 100 | 9.582
2019-07-16 12:45:00 | 2.9433 | 121.0593 | 3.3927 | 112.7467 | 5.31 | 244.7467 | 4.9333 | 13.4333 | 19.5267 | 880 | 100 | 11.626
2019-07-16 13:00:00 | 2.6533 | 119.1 | 3.0533 | 130.88 | 5.09 | 244.7467 | 5.0267 | 3.5 | 19.8267 | 880 | 100 | 11.834
2019-07-16 13:15:00 | 2.7467 | 322.0933 | 3.1567 | 353.9333 | 5.17 | 5.0333 | 5.4133 | 4.1667 | 20.3 | 880 | 100 | 10.8307
2019-07-16 13:30:00 | 2.66 | 132.84 | 3.0567 | 145.9733 | 5.0367 | 5.8067 | 5.2733 | 4.7933 | 20.66 | 880 | 100 | 9.9667
2019-07-16 13:45:00 | 2.5553 | 124.6173 | 2.9387 | 137.52 | 4.7133 | 16.4933 | 5.0367 | 13.4767 | 20.75 | 880.1333 | 100 | 9.2027
2019-07-16 14:00:00 | 2.98 | 104.54 | 3.4367 | 114.8733 | 5.38 | 5.9267 | 5.71 | 21.7767 | 20.5833 | 881 | 100 | 12.4673
2019-07-16 14:15:00 | 3.1387 | 267.2027 | 3.6113 | 315.58 | 5.9013 | 10.5133 | 6.4907 | 14.2147 | 20.3913 | 880.2 | 100 | 13.3967
2019-07-16 14:30:00 | 3.0233 | 104.56 | 3.4733 | 114.9 | 5.5633 | 8.8333 | 6.17 | 12.72 | 20.56 | 880 | 100 | 14.764
2019-07-16 14:45:00 | 2.98 | 163.6267 | 3.43 | 179.8 | 5.6167 | 13.82 | 6.0867 | 17.22 | 20.4947 | 880 | 100 | 15.316
2019-07-16 15:00:00 | 2.944 | 234.522 | 3.394 | 257.72 | 5.444 | 13.902 | 5.816 | 14.344 | 20.4553 | 880 | 100 | 13.9353
2019-07-16 15:15:00 | 3.1233 | 53.8387 | 3.5933 | 42.46 | 5.5667 | 10.3967 | 5.6567 | 11.1867 | 20.3467 | 880 | 100 | 12.1607
2019-07-16 15:30:00 | 3.064 | 11.362 | 3.524 | 12.482 | 5.352 | 8.478 | 5.568 | 215.448 | 20.224 | 880 | 100 | 10.176
2019-07-16 15:45:00 | 3.1167 | 312.8033 | 3.582 | 343.7333 | 5.1167 | 1.0067 | 5.1433 | 13.8167 | 20.1313 | 880 | 100 | 10.4447
2019-07-16 16:00:00 | 2.9533 | 295.0833 | 3.3933 | 324.2667 | 5.33 | 235.7733 | 5.3167 | 10.1567 | 20.2067 | 880 | 100 | 10.5927
2019-07-16 16:15:00 | 2.8153 | 61.362 | 3.2407 | 67.4293 | 5.1607 | 51.7713 | 5.562 | 13.6647 | 20.3193 | 880 | 100 | 9.9
2019-07-16 16:30:00 | 2.8833 | 28.29 | 3.3233 | 31.0867 | 5.4433 | 11.6367 | 6.0933 | 20.83 | 20.3867 | 880 | 100 | 10.762
2019-07-16 16:45:00 | 2.92 | 37.4967 | 3.37 | 41.2 | 5.6833 | 16.4467 | 6.2633 | 17.6033 | 20.5033 | 880 | 100 | 11.2353
2019-07-16 17:00:00 | 2.92 | 218.222 | 3.364 | 239.8 | 5.658 | 12.874 | 5.826 | 26.114 | 20.626 | 880 | 100 | 11.7593
2019-07-16 17:15:00 | 3.0067 | 158.83 | 3.4667 | 174.5333 | 5.82 | 11.4433 | 5.8367 | 17.5133 | 20.5347 | 880 | 100 | 11.2427
2019-07-16 17:30:00 | 2.95 | 232.952 | 3.392 | 255.98 | 5.58 | 17.11 | 6.024 | 20.896 | 20.452 | 880 | 100 | 12.9593
2019-07-16 17:45:00 | 2.9633 | 113.28 | 3.4167 | 124.4733 | 5.58 | 13.5833 | 6.2933 | 18.5467 | 20.5467 | 880 | 100 | 13.16
2019-07-16 18:00:00 | 3.056 | 151.074 | 3.516 | 166.016 | 5.472 | 6.894 | 6.094 | 15.076 | 20.532 | 880 | 100 | 11.2933
2019-07-16 18:15:00 | 2.94 | 17.08 | 3.38 | 18.7667 | 5.15 | 10.9 | 5.29 | 12.5067 | 20.56 | 880 | 100 | 8.3533
2019-07-16 18:30:00 | 2.77 | 205.242 | 3.182 | 225.54 | 4.868 | 6.57 | 4.808 | 24.456 | 20.438 | 880 | 100 | 5.8913
2019-07-16 18:45:00 | 2.1867 | 289.7233 | 2.5167 | 318.3667 | 4.1067 | 7.1133 | 3.8033 | 11.9 | 20.48 | 880 | 100 | 5.898
2019-07-16 19:00:00 | 2.26 | 321.126 | 2.606 | 352.88 | 3.858 | 217.268 | 3.594 | 7.142 | 20.404 | 880 | 100 | 8.21
2019-07-16 19:15:00 | 2.504 | 16.894 | 2.878 | 18.562 | 4.6127 | 1.4787 | 4.522 | 4.7487 | 20.3773 | 880 | 100 | 10.0027
2019-07-16 19:30:00 | 3.22 | 216.6967 | 3.7133 | 238.13 | 5.6633 | 18.0467 | 5.5567 | 12.66 | 20.3 | 880 | 100 | 11.9233
2019-07-16 19:45:00 | 2.9467 | 196.4167 | 3.3933 | 215.8367 | 5.4167 | 2.64 | 5.42 | 8.8133 | 20.206 | 880 | 100 | 12.8867
2019-07-16 20:00:00 | 3.144 | 19.85 | 3.62 | 21.81 | 5.984 | 214.236 | 5.78 | 14.064 | 20.1613 | 880 | 100 | 16.5067
2019-07-16 20:15:00 | 3.27 | 110.2267 | 3.76 | 121.1267 | 5.7 | 4.0033 | 5.94 | 11.3067 | 20.0733 | 880 | 100 | 17.7987
2019-07-16 20:30:00 | 3.674 | 116.48 | 4.228 | 128 | 6.208 | 9.818 | 6.962 | 10.416 | 20.026 | 880 | 100 | 18.6333
2019-07-16 20:45:00 | 3.4467 | 118.6333 | 3.96 | 130.36 | 5.11 | 15.8833 | 5.7933 | 18.92 | 19.978 | 880 | 100 | 17.1267
2019-07-16 21:00:00 | 3.012 | 158.82 | 3.468 | 174.526 | 5.108 | 225.016 | 5.418 | 14.668 | 19.97 | 880 | 100 | 17.8133
2019-07-16 21:15:00 | 3.26 | 39.8033 | 3.75 | 43.7367 | 5.75 | 9.85 | 6.2167 | 12.1633 | 19.9687 | 880 | 100 | 21.1447
2019-07-16 21:30:00 | 3.348 | 32.372 | 3.856 | 35.568 | 5.912 | 4.82 | 6.508 | 15.292 | 19.9507 | 880 | 100 | 23.464
2019-07-16 21:45:00 | 3.8133 | 104.9733 | 4.3867 | 115.3467 | 6.2667 | 11.8933 | 7.1567 | 18.3067 | 19.9293 | 880.1333 | 100 | 24.4767
2019-07-16 22:00:00 | 3.672 | 150.13 | 4.224 | 164.974 | 6.7 | 14.234 | 7.196 | 22.452 | 19.9053 | 881 | 100 | 23.5987
2019-07-16 22:15:00 | 3.5873 | 55.8293 | 4.126 | 61.3387 | 6.74 | 16.83 | 7.506 | 23.2307 | 19.8987 | 881 | 100 | 23.148
2019-07-16 22:30:00 | 3.494 | 136.392 | 4.024 | 140.2333 | 6.6433 | 12.9333 | 7.1533 | 17.4 | 19.8807 | 881 | 100 | 23.286
2019-07-16 22:45:00 | 4.2 | 310.49 | 4.8433 | 341.2 | 6.93 | 17.7367 | 7.5 | 17.9567 | 19.85 | 881 | 100 | 23.4807
2019-07-16 23:00:00 | 4.04 | 215.996 | 4.648 | 227.2 | 7.3767 | 14.81 | 8.06 | 22.4967 | 19.8153 | 881 | 100 | 25.4513
2019-07-16 23:15:00 | 3.8667 | 201.8633 | 4.4467 | 221.8167 | 6.5967 | 9.9033 | 7.1767 | 5.5567 | 19.7433 | 881 | 100 | 30.2727
2019-07-16 23:30:00 | 3.9 | 179.054 | 4.486 | 218.6167 | 5.6767 | 21.53 | 6.1767 | 27.87 | 19.6633 | 881 | 100 | 32.2407
2019-07-16 23:45:00 | 4.0867 | 316.4433 | 4.7033 | 347.7333 | 6.0567 | 11.76 | 6.4 | 27.7267 | 19.6207 | 881 | 100 | 29.454