## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-17 00:00:00 | 4.1686 | 323.63 | 4.7957 | 355.6286 | 6.2557 | 17.3914 | 6.6 | 31.1486 | 19.5557 | 881 | 100 | 28.9943
2019-07-17 00:15:00 | 4.0467 | 321.9633 | 4.6567 | 353.8 | 6.5467 | 12.5367 | 7.22 | 7.41 | 19.4767 | 880.2 | 100 | 38.034
2019-07-17 00:30:00 | 4.356 | 130.902 | 5.016 | 143.85 | 6.36 | 199.624 | 6.718 | 213.736 | 19.436 | 880 | 100 | 39.0033
2019-07-17 00:45:00 | 4.2133 | 297.5733 | 4.8467 | 327 | 6.0933 | 346.5 | 6.5533 | 23.9367 | 19.4267 | 880 | 100 | 40.3573
2019-07-17 01:00:00 | 4.5333 | 140.54 | 5.22 | 154.4267 | 7.4667 | 112.8267 | 7.7867 | 4.4433 | 19.42 | 880 | 100 | 39.7847
2019-07-17 01:15:00 | 3.9267 | 220.8567 | 4.5267 | 242.6967 | 6.3467 | 117.8533 | 6.5667 | 237.81 | 19.4213 | 880 | 100 | 36.7987
2019-07-17 01:30:00 | 3.968 | 22.456 | 4.564 | 25.63 | 6.7267 | 349.8667 | 6.84 | 25.8167 | 19.4347 | 880 | 100 | 36.7953
2019-07-17 01:45:00 | 4.3493 | 93.73 | 5.0167 | 102.9953 | 7.586 | 249.96 | 7.534 | 2.976 | 19.4307 | 880 | 100 | 36.368
2019-07-17 02:00:00 | 4.1333 | 255.29 | 4.76 | 280.5333 | 7.35 | 235.1833 | 7.36 | 5.0067 | 19.4153 | 880 | 100 | 36.39
2019-07-17 02:15:00 | 3.9647 | 312.8033 | 4.5633 | 343.74 | 6.794 | 346.18 | 6.822 | 18.8207 | 19.3993 | 880 | 100 | 36.74
2019-07-17 02:30:00 | 4.5067 | 273.5767 | 5.1833 | 300.6333 | 7.12 | 121.9533 | 7.7267 | 26.3867 | 19.3753 | 880 | 100 | 37.696
2019-07-17 02:45:00 | 4.5647 | 232.988 | 5.2567 | 256.0253 | 6.8113 | 339.5667 | 7.0093 | 254.4027 | 19.326 | 880 | 100 | 37.6867
2019-07-17 03:00:00 | 4.7333 | 185.4967 | 5.4433 | 203.84 | 8.0533 | 119.0333 | 8.24 | 11.05 | 19.2733 | 880 | 100 | 38.6233
2019-07-17 03:15:00 | 4.8733 | 278.422 | 5.6027 | 305.9467 | 8.4433 | 10.7093 | 8.636 | 9.52 | 19.232 | 879.2 | 100 | 38.836
2019-07-17 03:30:00 | 4.7733 | 98.1267 | 5.49 | 107.8333 | 7.62 | 15.69 | 8.1433 | 15.31 | 19.186 | 879 | 100 | 38.908
2019-07-17 03:45:00 | 4.3467 | 205.3933 | 4.9967 | 225.7 | 7.82 | 12.38 | 8.3167 | 16.12 | 19.1807 | 879 | 100 | 40.914
2019-07-17 04:00:00 | 4.42 | 86.612 | 5.086 | 95.9 | 8.2133 | 14.26 | 8.7567 | 19.9133 | 19.186 | 879 | 100 | 43.834
2019-07-17 04:15:00 | 4.52 | 241.1267 | 5.2 | 264.9667 | 8.5067 | 8.9567 | 8.88 | 19.0133 | 19.15 | 879 | 100 | 40.1267
2019-07-17 04:30:00 | 4.2667 | 79.12 | 4.9067 | 86.9467 | 8.14 | 17.51 | 8.6753 | 17.7467 | 19.0933 | 879 | 100 | 5.192
2019-07-17 04:45:00 | 4.92 | 192.2233 | 5.67 | 211.2333 | 8.8633 | 9.38 | 9.25 | 15.8933 | 19.0533 | 879 | 100 | 0
2019-07-17 05:00:00 | 5.04 | 174.51 | 5.81 | 191.7667 | 8.5967 | 9.8533 | 8.91 | 9.0267 | 19.016 | 879 | 100 | 0
2019-07-17 05:15:00 | 5.1767 | 85.88 | 5.96 | 94.3667 | 8.5667 | 117.58 | 8.84 | 5.7033 | 18.9813 | 879 | 100 | 0
2019-07-17 05:30:00 | 4.89 | 286.3467 | 5.62 | 314.6667 | 8.32 | 126.12 | 8.7153 | 19.6367 | 18.9507 | 879 | 100 | 0
2019-07-17 05:45:00 | 4.6567 | 92.7673 | 5.364 | 101.94 | 7.6627 | 11.2633 | 7.9393 | 22.8087 | 18.94 | 879 | 100 | 0
2019-07-17 06:00:00 | 4.5333 | 186.97 | 5.2167 | 205.4667 | 8.1533 | 13.6833 | 8.74 | 22.3833 | 18.94 | 879 | 100 | 0
2019-07-17 06:15:00 | 5.3707 | 187.976 | 6.1813 | 206.5587 | 9.5653 | 10.842 | 9.9073 | 11.0407 | 18.912 | 879 | 100 | 0
2019-07-17 06:30:00 | 5.7733 | 57.9433 | 6.6433 | 63.6733 | 10.0167 | 13.2 | 10.1633 | 23.0133 | 18.8467 | 879 | 100 | 0
2019-07-17 06:45:00 | 5.512 | 88.3947 | 6.3387 | 97.1327 | 9.3833 | 7.844 | 9.9467 | 19.498 | 18.886 | 879 | 100 | 0
2019-07-17 07:00:00 | 5.05 | 103.72 | 5.8067 | 113.9733 | 8.5667 | 20.06 | 8.8533 | 15.2567 | 18.97 | 879 | 100 | 0
2019-07-17 07:15:00 | 4.9293 | 300.0193 | 5.6747 | 329.6873 | 8.4153 | 15.9147 | 8.6713 | 22.2353 | 19.0353 | 879 | 100 | 0
2019-07-17 07:30:00 | 5.2267 | 133.8867 | 6.0067 | 147.12 | 8.9233 | 24.6333 | 9.3367 | 15.77 | 19.016 | 879 | 100 | 0
2019-07-17 07:45:00 | 5.2653 | 273.7547 | 6.062 | 300.8267 | 8.5527 | 19.1633 | 9.2247 | 17.822 | 18.9487 | 879 | 100 | 0
2019-07-17 08:00:00 | 5.0133 | 102.26 | 5.7667 | 112.3733 | 8.1933 | 247.9967 | 8.5767 | 82.37 | 19 | 879.4667 | 100 | 0
2019-07-17 08:15:00 | 5.1133 | 223.8933 | 5.8767 | 246.0333 | 8.76 | 247.8567 | 8.77 | 242.6067 | 19.1733 | 880 | 100 | 0
2019-07-17 08:30:00 | 4.7533 | 293.4733 | 5.4633 | 322.5 | 7.5933 | 17.5833 | 8.01 | 14.8667 | 19.2493 | 880 | 100 | 0
2019-07-17 08:45:00 | 4.368 | 37.672 | 5.0333 | 41.396 | 6.9327 | 317.9327 | 7.434 | 8.1927 | 19.324 | 880 | 100 | 0
2019-07-17 09:00:00 | 4.4 | 58.6867 | 5.0633 | 64.4833 | 7.2467 | 116.46 | 7.4333 | 6.47 | 19.3467 | 880 | 100 | 0
2019-07-17 09:15:00 | 4.7627 | 237.87 | 5.4787 | 261.3867 | 8.078 | 19.568 | 8.1953 | 16.8333 | 19.456 | 880 | 100 | 0
2019-07-17 09:30:00 | 4.65 | 44.6233 | 5.35 | 49.0333 | 7.4333 | 14.4767 | 7.9233 | 40.7133 | 19.54 | 880 | 100 | 0
2019-07-17 09:45:00 | 5.0227 | 219.352 | 5.7753 | 241.04 | 8.3853 | 11.308 | 8.4067 | 14.8667 | 19.5787 | 880 | 100 | 0
2019-07-17 10:00:00 | 4.7567 | 53.0233 | 5.4733 | 58.2667 | 7.7833 | 5.8467 | 7.9033 | 9.4833 | 19.6833 | 880 | 100 | 0
2019-07-17 10:15:00 | 4.58 | 318.2413 | 5.2733 | 348.8333 | 7.6867 | 5.9633 | 7.9133 | 18.9033 | 19.9633 | 880.1333 | 99.9733 | 0
2019-07-17 10:30:00 | 4.5933 | 304.9533 | 5.28 | 335.1 | 7.76 | 31.37 | 7.94 | 22.1167 | 20.1833 | 881 | 99.3333 | 0
2019-07-17 10:45:00 | 5.1653 | 214.8287 | 5.938 | 246.6333 | 8.9833 | 21.61 | 8.8067 | 17.32 | 20.5233 | 881 | 98.92 | 0
2019-07-17 11:00:00 | 5.1933 | 107.0167 | 5.9733 | 117.5933 | 9.07 | 25.3833 | 8.6667 | 20.2533 | 20.83 | 881 | 98.3667 | 0
2019-07-17 11:15:00 | 4.9093 | 232.5533 | 5.6553 | 255.5427 | 8.41 | 33.7793 | 7.852 | 22.302 | 21.0847 | 881 | 96.94 | 0
2019-07-17 11:30:00 | 5.0333 | 301.7267 | 5.79 | 331.5667 | 8.6167 | 32.4767 | 8.0233 | 15.08 | 21.3067 | 881 | 96 | 0
2019-07-17 11:45:00 | 4.74 | 189.1007 | 5.4567 | 192.1933 | 8.5533 | 12.5467 | 7.7733 | 15.08 | 21.5 | 881 | 96 | 0
2019-07-17 12:00:00 | 4.5333 | 118.7833 | 5.2233 | 130.5267 | 8.1333 | 15.3333 | 7.74 | 14.9867 | 21.3133 | 881 | 96.2667 | 0
2019-07-17 12:15:00 | 4.002 | 207.0033 | 4.612 | 227.4667 | 7.44 | 19.1167 | 7.11 | 17.73 | 21.3867 | 881 | 96.8333 | 0
2019-07-17 12:30:00 | 4.0667 | 129.53 | 4.69 | 142.3333 | 7.5133 | 12.5367 | 7.5233 | 21.6367 | 21.4893 | 881 | 96.5667 | 0
2019-07-17 12:45:00 | 4.358 | 116.796 | 5.024 | 128.34 | 7.592 | 18.216 | 7.53 | 24.532 | 21.228 | 881 | 96.18 | 0
2019-07-17 13:00:00 | 4.2433 | 64.4867 | 4.8933 | 70.8533 | 7.3667 | 14.1867 | 7.31 | 18.92 | 21.1093 | 881 | 97.0333 | 0
2019-07-17 13:15:00 | 4.4707 | 252.7827 | 5.1433 | 277.7753 | 7.67 | 8.5647 | 7.5793 | 10.6267 | 21.064 | 881 | 97.2333 | 0
2019-07-17 13:30:00 | 4.2567 | 296.9467 | 4.9033 | 326.3 | 7.64 | 14.46 | 7.5567 | 15.2367 | 20.9507 | 881 | 98.1667 | 0
2019-07-17 13:45:00 | 4.1673 | 90.2753 | 4.7947 | 99.2073 | 7.0413 | 118.5813 | 6.8953 | 11.06 | 20.8867 | 881 | 98.7867 | 0
2019-07-17 14:00:00 | 4.31 | 59.3033 | 4.9567 | 65.1733 | 7.4067 | 129.28 | 7.5133 | 24.06 | 20.9047 | 881 | 99.2467 | 0
2019-07-17 14:15:00 | 4.43 | 66.4333 | 5.1 | 72.9933 | 7.8987 | 9.5233 | 8.38 | 16.26 | 20.89 | 881 | 99.7 | 0
2019-07-17 14:30:00 | 4.466 | 173.29 | 5.136 | 190.42 | 7.944 | 6.412 | 8.584 | 15.824 | 20.814 | 881 | 99.9467 | 0
2019-07-17 14:45:00 | 4.5333 | 115.3167 | 5.2167 | 126.7133 | 8.0887 | 17.64 | 8.7767 | 11.0133 | 20.79 | 880.8667 | 100 | 0
2019-07-17 15:00:00 | 4.636 | 17.58 | 5.332 | 19.312 | 8.032 | 11.204 | 8.618 | 16.352 | 20.724 | 880 | 100 | 0
2019-07-17 15:15:00 | 4.2773 | 129.6573 | 4.92 | 142.4773 | 7.502 | 13.5647 | 7.8673 | 20.3673 | 20.6853 | 880 | 100 | 0
2019-07-17 15:30:00 | 3.722 | 156.358 | 4.28 | 171.812 | 6.254 | 6.962 | 6.454 | 15.138 | 20.706 | 880 | 100 | 0
2019-07-17 15:45:00 | 3.77 | 161.5733 | 4.34 | 177.5467 | 6.75 | 131.8867 | 6.94 | 5.6467 | 21.0233 | 880 | 100 | 0
2019-07-17 16:00:00 | 3.808 | 116.194 | 4.38 | 127.676 | 6.758 | 138.646 | 6.942 | 1.526 | 21.024 | 880 | 100 | 0
2019-07-17 16:15:00 | 4.0467 | 204.0367 | 4.6667 | 224.2167 | 6.4433 | 134.4 | 6.88 | 18.39 | 20.8347 | 880 | 100 | 0
2019-07-17 16:30:00 | 4.072 | 4.994 | 4.69 | 5.486 | 6.48 | 141.072 | 7.146 | 14.734 | 20.872 | 880 | 100 | 0
2019-07-17 16:45:00 | 4.28 | 93.7133 | 4.9267 | 102.9867 | 7.16 | 11.4167 | 7.6767 | 23.0367 | 21.16 | 880 | 99.6533 | 0
2019-07-17 17:00:00 | 4.552 | 271.272 | 5.25 | 298.1 | 7.764 | 15.344 | 8.232 | 15.888 | 21.236 | 880 | 98.74 | 0
2019-07-17 17:15:00 | 4.3387 | 247.0673 | 4.9907 | 271.4933 | 7.3913 | 7.4687 | 7.624 | 9.0573 | 21.2307 | 880 | 98.2133 | 0.66867
2019-07-17 17:30:00 | 3.6467 | 78.6633 | 4.1933 | 86.44 | 6.1633 | 9.2833 | 6.3667 | 5.8667 | 21.1567 | 880 | 97.8667 | 15.9533
2019-07-17 17:45:00 | 3.544 | 37.622 | 4.0873 | 41.338 | 6.41 | 145.8033 | 6.5507 | 6.9293 | 21.2053 | 880 | 98.5333 | 18.818
2019-07-17 18:00:00 | 3.8733 | 217.72 | 4.4567 | 239.2433 | 7.23 | 356.4267 | 6.92 | 0.53333 | 21.2147 | 880 | 98.6333 | 23.704
2019-07-17 18:15:00 | 3.942 | 174.2013 | 4.5407 | 191.4267 | 6.99 | 238.07 | 7.0113 | 5.11 | 21.274 | 880 | 98.1933 | 24.1613
2019-07-17 18:30:00 | 3.492 | 136.394 | 4.018 | 149.878 | 6.388 | 215.272 | 6.464 | 12.246 | 21.3493 | 880 | 97.8533 | 24.596
2019-07-17 18:45:00 | 3.574 | 10.24 | 4.1147 | 11.244 | 6.1647 | 356.1133 | 6.0687 | 6.456 | 21.3193 | 880 | 97.8933 | 25.0707
2019-07-17 19:00:00 | 3.672 | 168.06 | 4.236 | 184.672 | 6.216 | 352.06 | 5.976 | 13.178 | 21.238 | 880 | 97.7 | 24.894
2019-07-17 19:15:00 | 3.3373 | 155.436 | 3.842 | 170.7967 | 5.9987 | 243.48 | 5.5987 | 11.3207 | 21.0827 | 880 | 98.2533 | 23.5293
2019-07-17 19:30:00 | 3.4067 | 17.7633 | 3.92 | 19.51 | 5.8267 | 6.2533 | 5.3767 | 16.51 | 20.9713 | 880 | 98.4533 | 20.9007
2019-07-17 19:45:00 | 3.324 | 21.612 | 3.8247 | 24.77 | 4.7433 | 9.8033 | 4.92 | 243.2167 | 20.9393 | 880.1333 | 98.22 | 15.114
2019-07-17 20:00:00 | 3.0933 | 19.4233 | 3.56 | 21.3367 | 4.4433 | 7.7633 | 4.6733 | 26.6033 | 20.9793 | 881 | 97.8 | 13.856
2019-07-17 20:15:00 | 2.356 | 188.426 | 2.7213 | 228.15 | 3.6033 | 6.2733 | 3.9167 | 37.0633 | 20.89 | 881 | 98.3 | 11.688
2019-07-17 20:30:00 | 2.34 | 0.55 | 2.7 | 0.60333 | 3.3967 | 21.6467 | 3.45 | 34.2967 | 20.8113 | 881 | 98.2333 | 8.5967
2019-07-17 20:45:00 | 2.222 | 282.6087 | 2.5613 | 332 | 3.4667 | 13.89 | 3.2567 | 17.7067 | 20.8873 | 881 | 97.6867 | 8.106
2019-07-17 21:00:00 | 1.9367 | 112.1067 | 2.2333 | 123.1867 | 2.9133 | 14.3967 | 2.6633 | 25.3733 | 20.91 | 881 | 97.4667 | 6.1407
2019-07-17 21:15:00 | 2.2107 | 323.6833 | 2.5533 | 355.6933 | 3.208 | 8.556 | 3.3833 | 18.148 | 20.9473 | 881 | 97.3333 | 6.674
2019-07-17 21:30:00 | 2.4967 | 106.8067 | 2.8733 | 117.3667 | 4.2233 | 7.13 | 3.9533 | 18.0633 | 20.9267 | 881 | 97.8 | 9.8833
2019-07-17 21:45:00 | 3.0233 | 99.1787 | 3.4773 | 110.8593 | 4.742 | 256.2333 | 4.7767 | 18.4427 | 20.7887 | 881 | 98.86 | 12.5533
2019-07-17 22:00:00 | 3.332 | 124.758 | 3.834 | 137.086 | 5.198 | 216.9 | 5.408 | 13.914 | 20.682 | 881 | 99.6 | 14.8567
2019-07-17 22:15:00 | 3.02 | 168.5333 | 3.4733 | 185.2 | 5.5967 | 244.3067 | 5.8333 | 9.0067 | 20.55 | 881 | 100 | 15.1933
2019-07-17 22:30:00 | 2.78 | 192.748 | 3.198 | 211.8 | 5.236 | 8.858 | 5.328 | 6.24 | 20.4913 | 881 | 100 | 15.6607
2019-07-17 22:45:00 | 3.1067 | 173.04 | 3.5733 | 190.1433 | 5.3167 | 10.47 | 5.6513 | 13.87 | 20.4367 | 881 | 100 | 23.2547
2019-07-17 23:00:00 | 3.416 | 19.902 | 3.936 | 21.872 | 5.97 | 216.456 | 5.912 | 13.108 | 20.4107 | 881 | 100 | 24.8527
2019-07-17 23:15:00 | 3.5267 | 206.96 | 4.06 | 227.4233 | 5.82 | 237.9833 | 6.2667 | 7.4667 | 20.3827 | 881 | 100 | 27.6787
2019-07-17 23:30:00 | 3.472 | 28.052 | 3.998 | 30.828 | 6.034 | 212.04 | 6.58 | 9.314 | 20.3653 | 881 | 100 | 24.4493
2019-07-17 23:45:00 | 3.58 | 320.51 | 4.1233 | 352.2 | 6.29 | 242.9633 | 6.5267 | 9.5567 | 20.3613 | 881 | 100 | 20.8007