## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-18 00:00:00 | 3.4029 | 136.0957 | 3.9157 | 149.5543 | 5.7214 | 207.7243 | 5.9143 | 12.9557 | 20.3743 | 881 | 100 | 21.8421
2019-07-18 00:15:00 | 3.26 | 290.2787 | 3.7467 | 342.0333 | 5.7167 | 2.33 | 6.3833 | 9.6567 | 20.3787 | 881 | 100 | 22.282
2019-07-18 00:30:00 | 2.9667 | 117.8067 | 3.4133 | 129.4467 | 4.9567 | 240.1367 | 5.37 | 16.6233 | 20.3887 | 881 | 100 | 25.952
2019-07-18 00:45:00 | 3.2733 | 5.9533 | 3.77 | 6.5367 | 5.6767 | 231.9667 | 5.6733 | 14.32 | 20.41 | 881 | 100 | 24.2447
2019-07-18 01:00:00 | 3.492 | 194.226 | 4.022 | 213.424 | 6.126 | 17.1 | 6.504 | 20.922 | 20.4007 | 881 | 100 | 23.7267
2019-07-18 01:15:00 | 3.4253 | 42.3047 | 3.938 | 46.4813 | 6.4467 | 22.262 | 6.6567 | 27.6193 | 20.3873 | 881 | 100 | 20.666
2019-07-18 01:30:00 | 3.44 | 167.11 | 3.96 | 183.6333 | 6.55 | 13.42 | 6.6633 | 21.2767 | 20.3653 | 881 | 100 | 19.4207
2019-07-18 01:45:00 | 3.338 | 123.9287 | 3.8413 | 136.1827 | 6.2113 | 9.8193 | 6.2013 | 23.8747 | 20.3413 | 881 | 100 | 22.5707
2019-07-18 02:00:00 | 3.6867 | 187.7733 | 4.2467 | 206.3333 | 6.6333 | 16.88 | 6.7867 | 20.41 | 20.3107 | 880.5333 | 100 | 23.6927
2019-07-18 02:15:00 | 3.6267 | 305.6613 | 4.176 | 335.8867 | 6.6773 | 14.348 | 7.3907 | 15.5647 | 20.3107 | 880 | 100 | 22.02
2019-07-18 02:30:00 | 3.3267 | 110.01 | 3.8267 | 120.88 | 6.3 | 16.8733 | 7.1967 | 6.7367 | 20.3253 | 880 | 100 | 21.278
2019-07-18 02:45:00 | 3.6333 | 44.3087 | 4.176 | 48.686 | 6.862 | 5.4947 | 7.7593 | 16.6147 | 20.304 | 880 | 100 | 27.9727
2019-07-18 03:00:00 | 3.6733 | 165.47 | 4.23 | 181.8333 | 7.1133 | 10.1033 | 7.87 | 20.0067 | 20.2953 | 880 | 100 | 29.7513
2019-07-18 03:15:00 | 4.014 | 165.088 | 4.624 | 181.4133 | 7.492 | 16.082 | 8.166 | 20.97 | 20.29 | 880 | 100 | 30.7647
2019-07-18 03:30:00 | 4.1733 | 193.6533 | 4.81 | 212.8 | 7.5747 | 16.75 | 8.06 | 13.1867 | 20.29 | 880 | 100 | 31.8967
2019-07-18 03:45:00 | 3.8933 | 158.9533 | 4.48 | 174.6667 | 7.1367 | 15.5033 | 7.6467 | 18.05 | 20.2833 | 880 | 100 | 34.3247
2019-07-18 04:00:00 | 4.02 | 148.662 | 4.63 | 163.36 | 7.346 | 12.804 | 7.958 | 10.03 | 20.2993 | 880 | 100 | 32.6813
2019-07-18 04:15:00 | 4 | 148.7667 | 4.61 | 163.4667 | 7.4513 | 11.77 | 8.0587 | 16.67 | 20.3087 | 879.2 | 100 | 33.55
2019-07-18 04:30:00 | 3.912 | 184.8707 | 4.5007 | 203.1467 | 7.1613 | 15.1713 | 7.874 | 24.3913 | 20.2953 | 879 | 100 | 32.9933
2019-07-18 04:45:00 | 4.1933 | 173.5667 | 4.8267 | 190.7333 | 7.1733 | 15.5367 | 8.2167 | 30.7833 | 20.29 | 879 | 100 | 35.2067
2019-07-18 05:00:00 | 4.14 | 117.7747 | 4.76 | 129.4267 | 7.4573 | 17.4673 | 8.626 | 26.974 | 20.2993 | 879 | 100 | 36.818
2019-07-18 05:15:00 | 4.0067 | 280.1633 | 4.61 | 307.8667 | 7.57 | 20.27 | 8.9233 | 28.9033 | 20.302 | 879 | 100 | 37.7907
2019-07-18 05:30:00 | 3.98 | 165.7787 | 4.5847 | 178.24 | 7.4087 | 14.6313 | 9.0313 | 30.946 | 20.3047 | 879 | 100 | 37.8447
2019-07-18 05:45:00 | 4.158 | 167.85 | 4.786 | 184.44 | 7.426 | 18.566 | 8.798 | 24.962 | 20.3193 | 879.1333 | 100 | 36.3067
2019-07-18 06:00:00 | 3.992 | 151.822 | 4.594 | 166.84 | 7.334 | 18.296 | 8.18 | 26.588 | 20.3393 | 880 | 100 | 36.032
2019-07-18 06:15:00 | 3.972 | 159.7333 | 4.5667 | 175.5267 | 7.2267 | 15.3573 | 8.0747 | 23.9627 | 20.3607 | 880 | 100 | 35.6193
2019-07-18 06:30:00 | 4.016 | 169.772 | 4.63 | 186.56 | 7.446 | 12.716 | 8.382 | 20.502 | 20.3847 | 880 | 100 | 34.2713
2019-07-18 06:45:00 | 4.4 | 170.36 | 5.0667 | 187.2 | 7.67 | 8.9433 | 8.5767 | 20.9833 | 20.3993 | 880 | 100 | 35.7587
2019-07-18 07:00:00 | 4.604 | 53.506 | 5.298 | 58.798 | 8.122 | 14.12 | 8.522 | 20.874 | 20.424 | 880 | 100 | 37.8747
2019-07-18 07:15:00 | 4.4333 | 12.6567 | 5.1 | 13.9 | 7.4267 | 17.6567 | 7.61 | 11.8933 | 20.5053 | 880 | 100 | 36.9847
2019-07-18 07:30:00 | 4.628 | 180.776 | 5.32 | 198.648 | 7.552 | 15.882 | 7.8407 | 16.776 | 20.5447 | 880 | 100 | 36.2313
2019-07-18 07:45:00 | 4.604 | 78.3673 | 5.2933 | 86.11 | 7.6767 | 20.32 | 7.8033 | 17.186 | 20.558 | 880 | 100 | 37.382
2019-07-18 08:00:00 | 4.448 | 305.542 | 5.12 | 335.76 | 7.524 | 219.012 | 7.686 | 18.362 | 20.5647 | 880 | 100 | 39.042
2019-07-18 08:15:00 | 4.4167 | 40.1333 | 5.0767 | 44.0933 | 8 | 14.8567 | 8.5267 | 21.8367 | 20.5793 | 880 | 100 | 40.2607
2019-07-18 08:30:00 | 4.516 | 40.316 | 5.194 | 44.306 | 8.252 | 10.286 | 8.614 | 21.564 | 20.604 | 880 | 100 | 43.2807
2019-07-18 08:45:00 | 4.6233 | 269.8233 | 5.3267 | 296.5 | 8.4433 | 15.16 | 9.0067 | 19.32 | 20.6447 | 880 | 100 | 43.3273
2019-07-18 09:00:00 | 4.406 | 160.534 | 5.068 | 176.4 | 8.532 | 18.202 | 9.062 | 20.096 | 20.722 | 880 | 100 | 43.486
2019-07-18 09:15:00 | 4.5333 | 148.2833 | 5.2167 | 162.9333 | 8.5 | 12.7467 | 9.0133 | 15.85 | 20.786 | 880 | 100 | 41.4907
2019-07-18 09:30:00 | 4.936 | 153.852 | 5.674 | 169.06 | 8.508 | 8.904 | 9.028 | 17.2 | 20.8153 | 880 | 100 | 40.5493
2019-07-18 09:45:00 | 4.7667 | 115.3667 | 5.4933 | 126.7667 | 8.2933 | 4.91 | 8.56 | 16.11 | 20.8233 | 880.1333 | 100 | 38.478
2019-07-18 10:00:00 | 4.476 | 97.704 | 5.156 | 96.3267 | 7.58 | 7.8233 | 8.1267 | 10.47 | 20.796 | 881 | 100 | 36.66
2019-07-18 10:15:00 | 4.2427 | 49.22 | 4.8927 | 54.076 | 6.5367 | 117.304 | 6.8567 | 15.8747 | 20.7893 | 881 | 100 | 37.8573
2019-07-18 10:30:00 | 4.312 | 26.238 | 4.97 | 26.4033 | 6.1767 | 124.7267 | 6.37 | 3.6233 | 20.8047 | 881 | 100 | 39.556
2019-07-18 10:45:00 | 4.1227 | 26.51 | 4.7407 | 29.1287 | 6.2627 | 12.174 | 6.6253 | 96.1627 | 20.822 | 881 | 100 | 39.5627
2019-07-18 11:00:00 | 4.1867 | 27.3367 | 4.8267 | 30.0367 | 6.7933 | 237.8233 | 7.1567 | 120.34 | 20.8687 | 881 | 100 | 40.7427
2019-07-18 11:15:00 | 4.2907 | 280.0433 | 4.9473 | 307.74 | 7.308 | 342.88 | 7.2567 | 4.7407 | 20.9387 | 881 | 100 | 37.336
2019-07-18 11:30:00 | 4.016 | 123.766 | 4.63 | 117.0867 | 6.8333 | 115.7933 | 7.2133 | 18.2433 | 20.93 | 881 | 100 | 33.8287
2019-07-18 11:45:00 | 3.9267 | 270.1967 | 4.5187 | 296.9133 | 6.3493 | 106.6533 | 6.9413 | 8.7133 | 20.93 | 881 | 100 | 33.2947
2019-07-18 12:00:00 | 3.9133 | 302.1167 | 4.5033 | 332 | 6.35 | 354.4333 | 7.2033 | 18.55 | 20.93 | 881 | 100 | 35.6853
2019-07-18 12:15:00 | 4.0707 | 51.166 | 4.6813 | 56.22 | 6.5587 | 36.2747 | 7.538 | 5.1173 | 21.0033 | 881 | 100 | 38.37
2019-07-18 12:30:00 | 4.2133 | 220.6167 | 4.8567 | 242.4333 | 6.9733 | 12.6867 | 7.9467 | 11.6933 | 21.0987 | 881 | 100 | 39.976
2019-07-18 12:45:00 | 4.65 | 290.85 | 5.3467 | 319.6 | 7.72 | 7.96 | 8.2833 | 17.91 | 21.2167 | 881 | 100 | 38.4127
2019-07-18 13:00:00 | 4.3433 | 123.4767 | 5 | 135.68 | 7.3867 | 233.5867 | 8.0767 | 15.8833 | 21.35 | 881 | 100 | 38.4847
2019-07-18 13:15:00 | 4.7833 | 235.1007 | 5.506 | 258.3533 | 8.2793 | 20.4373 | 8.766 | 24.9113 | 21.3213 | 881 | 100 | 35.3133
2019-07-18 13:30:00 | 4.64 | 66.2467 | 5.3433 | 72.7867 | 8.24 | 10.8267 | 8.5433 | 15.0467 | 21.3207 | 881 | 100 | 33.878
2019-07-18 13:45:00 | 4.3853 | 7.186 | 5.052 | 7.8893 | 7.7893 | 14.7587 | 8.2413 | 20.1827 | 21.3127 | 881 | 100 | 34.6713
2019-07-18 14:00:00 | 4.3333 | 50.81 | 4.9833 | 55.8233 | 7.2233 | 240.4133 | 7.5467 | 12.8467 | 21.2967 | 881 | 100 | 35.7413
2019-07-18 14:15:00 | 4.094 | 10.772 | 4.7167 | 11.836 | 6.6633 | 39.68 | 7.246 | 19.122 | 21.3093 | 881 | 100 | 33.922
2019-07-18 14:30:00 | 3.9867 | 4.56 | 4.5833 | 5.0067 | 6.46 | 5.5233 | 6.8433 | 5.9433 | 21.3913 | 880.5333 | 100 | 37.9387
2019-07-18 14:45:00 | 4.218 | 265.938 | 4.848 | 292.24 | 7.386 | 13.112 | 7.854 | 79.068 | 21.488 | 880 | 100 | 42.6407
2019-07-18 15:00:00 | 4.4767 | 305.8233 | 5.1467 | 336.0667 | 7.7767 | 18.32 | 8.1833 | 125.1333 | 21.6333 | 880 | 100 | 38.5
2019-07-18 15:15:00 | 4.3353 | 105.8813 | 4.99 | 116.344 | 7.46 | 9.56 | 7.54 | 5.2613 | 21.5733 | 880 | 100 | 37.9473
2019-07-18 15:30:00 | 4.5867 | 277.3367 | 5.2867 | 304.7667 | 7.9967 | 17.1033 | 8.0667 | 15.1433 | 21.65 | 880 | 100 | 43.0113
2019-07-18 15:45:00 | 5.1947 | 216.2787 | 5.982 | 237.6587 | 9.5187 | 17.956 | 9.2007 | 15.9127 | 22.01 | 880 | 100 | 44.152
2019-07-18 16:00:00 | 5.14 | 49.998 | 5.91 | 54.9393 | 9.3007 | 14.7427 | 9.164 | 16.502 | 22.3013 | 880 | 100 | 43.8053
2019-07-18 16:15:00 | 5.1053 | 91.0847 | 5.8753 | 100.0867 | 9.314 | 17.9893 | 9.5033 | 21.4287 | 22.3427 | 880 | 100 | 43.448
2019-07-18 16:30:00 | 5.2667 | 279.59 | 6.06 | 307.2333 | 9.1233 | 40.4733 | 9.2067 | 24.6333 | 22.05 | 880 | 100 | 44.0767
2019-07-18 16:45:00 | 5.3327 | 241.1987 | 6.1333 | 264.3667 | 9.3967 | 11.98 | 9.3387 | 17.4633 | 21.908 | 880 | 100 | 45.7487
2019-07-18 17:00:00 | 5.6867 | 293.1733 | 6.5367 | 322.1667 | 9.9567 | 22.7333 | 9.7433 | 20.7167 | 21.8247 | 880 | 100 | 43.142
2019-07-18 17:15:00 | 5.4207 | 235.356 | 6.2393 | 264.2067 | 9.498 | 17.27 | 9.6887 | 28.5127 | 21.884 | 880 | 100 | 44.1213
2019-07-18 17:30:00 | 5.38 | 304.22 | 6.1967 | 334.3 | 9.4867 | 20.25 | 9.5867 | 19.05 | 21.9593 | 880 | 100 | 43.708
2019-07-18 17:45:00 | 5.0967 | 215.7967 | 5.86 | 237.1333 | 8.8733 | 17.8333 | 9.2533 | 17.0767 | 21.9913 | 880 | 100 | 45.0973
2019-07-18 18:00:00 | 5.2633 | 193.9033 | 6.0533 | 213.0667 | 9.32 | 13.8667 | 9.44 | 21.6767 | 21.966 | 880 | 100 | 41.2873
2019-07-18 18:15:00 | 4.9467 | 274.972 | 5.688 | 305.4 | 8.6333 | 14.2333 | 8.9433 | 23.8267 | 21.954 | 880 | 100 | 44.078
2019-07-18 18:30:00 | 4.8867 | 292.18 | 5.6233 | 321.0667 | 8.4733 | 15.2333 | 8.7767 | 22.6333 | 21.9113 | 880 | 99.9533 | 46.4227
2019-07-18 18:45:00 | 5.3667 | 271.478 | 6.1793 | 298.3267 | 9.3713 | 16.7813 | 9.2907 | 20.9067 | 21.8633 | 880 | 99.6067 | 45.424
2019-07-18 19:00:00 | 5.192 | 202.406 | 5.984 | 222.42 | 9.346 | 20.962 | 9.256 | 25.46 | 21.78 | 880 | 99.5467 | 43.99
2019-07-18 19:15:00 | 5.0533 | 64.96 | 5.8133 | 71.3733 | 9.38 | 17.3633 | 9.1533 | 23.23 | 21.66 | 880 | 99.7467 | 42.7847
2019-07-18 19:30:00 | 4.9533 | 250.74 | 5.7067 | 275.5333 | 9.4733 | 12.05 | 9.3267 | 24.9967 | 21.5667 | 880 | 99.9467 | 40.2507
2019-07-18 19:45:00 | 4.6513 | 285.3413 | 5.364 | 313.5533 | 8.986 | 12.9207 | 8.912 | 21.99 | 21.49 | 880 | 100 | 40.5467
2019-07-18 20:00:00 | 4.712 | 240.368 | 5.424 | 264.14 | 9.2 | 17.296 | 9 | 19.592 | 21.4413 | 880 | 100 | 40.8753
2019-07-18 20:15:00 | 5.024 | 163.1767 | 5.7873 | 179.3067 | 9.396 | 13.374 | 9.4073 | 21.386 | 21.416 | 880.1333 | 99.9733 | 39.9147
2019-07-18 20:30:00 | 5.2667 | 187.8567 | 6.0667 | 206.4333 | 9.5 | 10.45 | 9.45 | 22.22 | 21.5567 | 881 | 99.0667 | 37.634
2019-07-18 20:45:00 | 4.644 | 210.5507 | 5.3487 | 231.3633 | 7.984 | 24.5953 | 7.9753 | 15.982 | 21.6007 | 881 | 98.7133 | 34.8087
2019-07-18 21:00:00 | 4.1533 | 16.2367 | 4.7867 | 17.8367 | 6.8467 | 240.26 | 6.7267 | 13.1267 | 21.59 | 881 | 98.7533 | 32.7993
2019-07-18 21:15:00 | 3.5227 | 288.876 | 4.0567 | 317.4347 | 6.2587 | 235.9933 | 6.2647 | 120.4567 | 21.578 | 881 | 98.7 | 31.7
2019-07-18 21:30:00 | 3.422 | 303.098 | 3.938 | 333.06 | 5.966 | 11.134 | 5.914 | 154.58 | 21.6187 | 881 | 98.52 | 30.914
2019-07-18 21:45:00 | 3.6933 | 47.282 | 4.2467 | 51.9553 | 6.7233 | 119.5173 | 6.4093 | 8.7573 | 21.594 | 881 | 98.72 | 35.0573
2019-07-18 22:00:00 | 4.1233 | 171.8467 | 4.74 | 188.84 | 7.3767 | 130.6267 | 7.1367 | 7.66 | 21.5393 | 881 | 99 | 36.0747
2019-07-18 22:15:00 | 4.34 | 252.9653 | 4.9913 | 277.98 | 7.8933 | 322.676 | 7.6653 | 119.8287 | 21.594 | 881.8 | 99.02 | 38.3753
2019-07-18 22:30:00 | 5.1233 | 69.7833 | 5.8933 | 76.6867 | 9.03 | 348.3667 | 8.7367 | 129.3667 | 21.5987 | 882 | 99.1533 | 41.1987
2019-07-18 22:45:00 | 4.6287 | 287.7053 | 5.3333 | 316.162 | 7.94 | 29.238 | 8.0807 | 10.918 | 21.6387 | 882 | 98.8067 | 39.2493
2019-07-18 23:00:00 | 4.56 | 317.0233 | 5.25 | 348.3667 | 7.37 | 8.4133 | 7.6 | 15.97 | 21.65 | 882 | 98.3 | 36.766
2019-07-18 23:15:00 | 4.324 | 304.254 | 4.982 | 334.3333 | 7.368 | 12.2433 | 7.768 | 16.1847 | 21.6647 | 882 | 98.1533 | 38.788
2019-07-18 23:30:00 | 4.32 | 210.164 | 4.976 | 230.94 | 7.34 | 9.652 | 7.722 | 27.622 | 21.624 | 882 | 98.5467 | 36.112
2019-07-18 23:45:00 | 4.1133 | 228.02 | 4.7333 | 250.5667 | 7.0767 | 129.5533 | 6.9333 | 9.9633 | 21.608 | 882 | 98.68 | 36.7847