## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-19 00:00:00 | 4.2429 | 265.0343 | 4.88 | 291.2429 | 7.2543 | 356.3714 | 7.1486 | 12.9986 | 21.6129 | 882 | 98.58 | 36.6336
2019-07-19 00:15:00 | 4.3187 | 88.4447 | 4.9653 | 97.19 | 7.8773 | 235.6467 | 7.5213 | 125.5693 | 21.634 | 882 | 98.4 | 35.518
2019-07-19 00:30:00 | 4.502 | 227.208 | 5.178 | 249.68 | 7.852 | 216.084 | 7.294 | 347.38 | 21.67 | 882 | 98.04 | 33.174
2019-07-19 00:45:00 | 3.9393 | 178.9653 | 4.5287 | 196.664 | 6.86 | 31.516 | 6.722 | 260.8173 | 21.7233 | 882 | 97.56 | 30.8047
2019-07-19 01:00:00 | 3.7133 | 34.92 | 4.2767 | 38.3767 | 6.2467 | 1.8533 | 6.3767 | 15.08 | 21.7267 | 882 | 97.6 | 31.4513
2019-07-19 01:15:00 | 4.06 | 7.2453 | 4.6727 | 7.958 | 6.5747 | 315.97 | 6.316 | 13.574 | 21.7007 | 881.8667 | 97.78 | 33.594
2019-07-19 01:30:00 | 4.032 | 29.406 | 4.642 | 32.304 | 6.92 | 138.478 | 6.748 | 3.528 | 21.63 | 881 | 98.04 | 35.6093
2019-07-19 01:45:00 | 4.1107 | 111.7307 | 4.734 | 122.77 | 7.1353 | 4.2833 | 7.0253 | 6.4527 | 21.53 | 881 | 98.4933 | 36.57
2019-07-19 02:00:00 | 4.052 | 279.926 | 4.666 | 307.6 | 7.21 | 2.912 | 7.216 | 4.99 | 21.486 | 881 | 98.6 | 38.0107
2019-07-19 02:15:00 | 4.728 | 115.344 | 5.4487 | 126.7433 | 8.256 | 215.5673 | 8.006 | 24.4653 | 21.506 | 881 | 98.5333 | 37.8327
2019-07-19 02:30:00 | 4.656 | 135.988 | 5.356 | 149.424 | 7.724 | 2.994 | 7.61 | 41.738 | 21.5453 | 881 | 98.4467 | 34.59
2019-07-19 02:45:00 | 4.7027 | 193.924 | 5.42 | 213.096 | 7.992 | 25.7 | 8.3533 | 17.564 | 21.598 | 880.8667 | 98.2267 | 33.0313
2019-07-19 03:00:00 | 4.07 | 24.818 | 4.684 | 27.27 | 7.014 | 18.224 | 7.308 | 22.216 | 21.54 | 880 | 98.58 | 30.1747
2019-07-19 03:15:00 | 3.6667 | 65.9067 | 4.22 | 70.9733 | 6.13 | 12.6233 | 6.6067 | 25.92 | 21.5173 | 880 | 98.8467 | 26.05
2019-07-19 03:30:00 | 3.2 | 109.4467 | 3.68 | 120.2667 | 5.2567 | 24.1367 | 5.3133 | 31.5867 | 21.4907 | 880 | 99.1333 | 16.4567
2019-07-19 03:45:00 | 2.652 | 214.25 | 3.0627 | 251.4987 | 4.768 | 250.2827 | 4.8987 | 12.5333 | 21.4747 | 880 | 99.2533 | 10.1247
2019-07-19 04:00:00 | 2.2 | 18.7833 | 2.5333 | 20.6367 | 4.2233 | 21.7867 | 4.2033 | 22.1767 | 21.426 | 880 | 99.5333 | 6.6073
2019-07-19 04:15:00 | 2.054 | 259.8873 | 2.3613 | 305.5733 | 3.5947 | 3.54 | 3.83 | 11.0347 | 21.3833 | 880 | 99.8 | 8.844
2019-07-19 04:30:00 | 2.68 | 300.1867 | 3.0833 | 329.8667 | 4.66 | 236.7733 | 4.5867 | 10.3167 | 21.36 | 880 | 99.8 | 12.3693
2019-07-19 04:45:00 | 2.9513 | 79.5013 | 3.3933 | 87.3573 | 4.726 | 6.4767 | 4.7507 | 10.8113 | 21.3653 | 880 | 99.7867 | 9.6027
2019-07-19 05:00:00 | 2.514 | 202.552 | 2.892 | 222.58 | 4.522 | 17.832 | 4.49 | 13.366 | 21.386 | 880 | 99.7467 | 12.02
2019-07-19 05:15:00 | 2.4367 | 142.066 | 2.8087 | 147.76 | 4.8067 | 12.9467 | 4.9167 | 29.61 | 21.3213 | 880 | 100 | 18.3667
2019-07-19 05:30:00 | 2.53 | 129.164 | 2.91 | 141.932 | 4.946 | 20.792 | 5.174 | 22.79 | 21.2613 | 880 | 100 | 18.3327
2019-07-19 05:45:00 | 2.7267 | 68.69 | 3.1367 | 75.4867 | 5.27 | 11.0167 | 5.61 | 19.3867 | 21.204 | 880 | 100 | 18.4093
2019-07-19 06:00:00 | 3.154 | 170.406 | 3.628 | 187.264 | 5.54 | 9.984 | 5.654 | 14.454 | 21.1607 | 880 | 100 | 14.2127
2019-07-19 06:15:00 | 2.7933 | 111.16 | 3.2167 | 122.1467 | 4.7667 | 19.4633 | 4.9 | 10.3833 | 21.1393 | 880.8 | 100 | 26.756
2019-07-19 06:30:00 | 3.356 | 269.41 | 3.872 | 296.04 | 6.06 | 13.62 | 6.472 | 22.746 | 21.1107 | 880.5333 | 100 | 31.562
2019-07-19 06:45:00 | 3.75 | 307.2467 | 4.32 | 337.6333 | 6.65 | 25.2467 | 7.2967 | 14.59 | 21.0907 | 880 | 100 | 27.434
2019-07-19 07:00:00 | 3.58 | 293.072 | 4.12 | 322.06 | 6.604 | 15.082 | 7.3053 | 11.644 | 21.08 | 880.4667 | 100 | 30.5273
2019-07-19 07:15:00 | 4.228 | 80.4953 | 4.87 | 88.4547 | 7.4887 | 22.7173 | 7.7507 | 15.3093 | 21.072 | 881 | 100 | 27.9447
2019-07-19 07:30:00 | 3.98 | 16.5247 | 4.5787 | 18.1553 | 7.1453 | 7.594 | 7.712 | 17.9047 | 21.0653 | 881 | 100 | 17.8153
2019-07-19 07:45:00 | 3.2813 | 260.5733 | 3.7733 | 286.34 | 5.8033 | 18.7273 | 6.27 | 12.868 | 21.0627 | 881 | 100 | 21.406
2019-07-19 08:00:00 | 3.504 | 91.818 | 4.028 | 100.89 | 6.512 | 14.406 | 7.116 | 21.474 | 21.0707 | 881 | 100 | 31.3667
2019-07-19 08:15:00 | 4.116 | 180.3973 | 4.742 | 198.24 | 7.852 | 11.7647 | 8.6213 | 21.3713 | 21.0627 | 881 | 100 | 32.2987
2019-07-19 08:30:00 | 4.008 | 148.38 | 4.61 | 163.06 | 7.598 | 15.566 | 8.528 | 23.238 | 21.08 | 881 | 100 | 39.3867
2019-07-19 08:45:00 | 4.2133 | 221.17 | 4.8567 | 243.0333 | 8.2833 | 15.52 | 9.22 | 26.02 | 21.1667 | 881 | 100 | 31.2813
2019-07-19 09:00:00 | 3.374 | 138.756 | 3.88 | 152.48 | 6.522 | 15.264 | 7.472 | 18.53 | 21.2247 | 881 | 100 | 22.56
2019-07-19 09:15:00 | 3.22 | 222.4933 | 3.71 | 244.5 | 6.1233 | 20.71 | 7.0833 | 30.2 | 21.156 | 881.8 | 100 | 29.0127
2019-07-19 09:30:00 | 3.788 | 178.054 | 4.356 | 195.66 | 6.956 | 12.492 | 7.678 | 20.568 | 21.1 | 882 | 100 | 35.7907
2019-07-19 09:45:00 | 4.4067 | 146.1713 | 5.072 | 160.62 | 7.6967 | 20.2753 | 8.1227 | 12.0687 | 21.038 | 882 | 100 | 38.356
2019-07-19 10:00:00 | 4.288 | 130.968 | 4.942 | 143.916 | 7.704 | 210.976 | 8.012 | 3.88 | 21.0587 | 882 | 100 | 46.574
2019-07-19 10:15:00 | 5.3907 | 256.092 | 6.2067 | 281.42 | 9.382 | 30.7207 | 9.686 | 15.382 | 21.1147 | 882 | 100 | 47.7387
2019-07-19 10:30:00 | 5.296 | 125.074 | 6.09 | 137.44 | 9.612 | 13.52 | 10.148 | 21.564 | 21.1493 | 882 | 100 | 46.4407
2019-07-19 10:45:00 | 5.2747 | 171.69 | 6.0673 | 188.6667 | 9.6533 | 9.728 | 9.996 | 23.0613 | 21.1493 | 882 | 100 | 42.5767
2019-07-19 11:00:00 | 5.2 | 180.072 | 5.984 | 197.88 | 9.272 | 7.89 | 9.326 | 20.802 | 21.076 | 882 | 100 | 38.7913
2019-07-19 11:15:00 | 4.876 | 175.7613 | 5.6067 | 193.14 | 8.3393 | 14.5333 | 8.7287 | 21.0847 | 21.0107 | 882 | 100 | 30.3547
2019-07-19 11:30:00 | 3.74 | 241.148 | 4.3033 | 275.2333 | 7.0567 | 13.4633 | 7.8267 | 20.48 | 20.984 | 882 | 100 | 28.9967
2019-07-19 11:45:00 | 3.928 | 169.5027 | 4.516 | 186.26 | 7.002 | 15.0367 | 7.6113 | 27.128 | 21.1087 | 882 | 100 | 31.3633
2019-07-19 12:00:00 | 4.004 | 129.7073 | 4.6093 | 142.53 | 7.31 | 5.508 | 7.8987 | 23.1227 | 21.2487 | 882 | 100 | 39.1493
2019-07-19 12:15:00 | 4.9053 | 208.1527 | 5.6427 | 228.7333 | 8.9267 | 19.6793 | 9.6527 | 16.902 | 21.5713 | 882 | 100 | 46.5207
2019-07-19 12:30:00 | 5.82 | 206.3933 | 6.702 | 226.8 | 10.1367 | 12.7633 | 10.6733 | 19.86 | 21.6207 | 882 | 100 | 46.614
2019-07-19 12:45:00 | 5.7553 | 109.576 | 6.616 | 120.4 | 9.818 | 15.8627 | 10.088 | 15.8927 | 21.6767 | 882 | 100 | 42.544
2019-07-19 13:00:00 | 4.9 | 102.58 | 5.6333 | 116.2667 | 8.6867 | 20.39 | 9.01 | 13.1967 | 21.8467 | 882 | 100 | 38.8047
2019-07-19 13:15:00 | 4.5507 | 127.138 | 5.2353 | 139.7007 | 8.148 | 11.1833 | 8.138 | 14.504 | 22.2353 | 882 | 100 | 37.0827
2019-07-19 13:30:00 | 4.3433 | 104.7533 | 5 | 115.1067 | 7.47 | 23.4333 | 7.4033 | 21.9833 | 22.3833 | 882 | 100 | 39.8407
2019-07-19 13:45:00 | 4.8307 | 66.222 | 5.5633 | 72.7647 | 8.6353 | 15.9073 | 8.616 | 23.9507 | 22.6953 | 882 | 100 | 37.548
2019-07-19 14:00:00 | 4.884 | 236.526 | 5.624 | 259.92 | 8.568 | 21.37 | 8.698 | 19.58 | 22.8387 | 882 | 100 | 36.2093
2019-07-19 14:15:00 | 5.0107 | 258.6613 | 5.7627 | 284.2467 | 8.81 | 19.3547 | 8.9673 | 21.438 | 22.8667 | 882 | 100 | 35.376
2019-07-19 14:30:00 | 4.862 | 309.388 | 5.592 | 339.98 | 8.636 | 16.998 | 8.558 | 15.762 | 23.004 | 882 | 100 | 37.3413
2019-07-19 14:45:00 | 4.8 | 88.6927 | 5.53 | 97.46 | 8.858 | 13.9893 | 8.9187 | 12.706 | 23.1427 | 882.8 | 100 | 40.312
2019-07-19 15:00:00 | 4.9929 | 154.5614 | 5.7421 | 169.8429 | 8.9614 | 15.8607 | 9.0786 | 11.9343 | 23.1107 | 883 | 100 | 40.2893
2019-07-19 15:15:00 | 5.2307 | 51.956 | 6.016 | 57.0853 | 9.01 | 18.506 | 9.064 | 18.9787 | 23.306 | 882.2 | 99.7333 | 42.6253
2019-07-19 15:30:00 | 5.3133 | 164.2267 | 6.12 | 180.4667 | 8.8867 | 9.07 | 9.0733 | 12.78 | 24.1067 | 882.4667 | 97.9333 | 43.1713
2019-07-19 15:45:00 | 5.4987 | 256.4827 | 6.3373 | 281.84 | 9.5807 | 14.918 | 9.5287 | 13.35 | 24.798 | 883 | 94.3067 | 40.098
2019-07-19 16:00:00 | 5.7733 | 81.95 | 6.6433 | 90.0533 | 10.09 | 16.0633 | 10.1133 | 15.18 | 24.67 | 883 | 92.8333 | 38.516
2019-07-19 16:15:00 | 5.704 | 162.4833 | 6.5667 | 178.5553 | 10.0107 | 16.45 | 10.046 | 24.3947 | 23.9653 | 883 | 93.66 | 37.078
2019-07-19 16:30:00 | 5.79 | 90.91 | 6.6667 | 99.9 | 10.1833 | 18.6633 | 10.01 | 25.4867 | 23.56 | 882.5333 | 94.6467 | 37.8413
2019-07-19 16:45:00 | 5.8747 | 239.708 | 6.7627 | 263.4133 | 10.5747 | 8.9967 | 10.366 | 11.0433 | 23.5247 | 882 | 95.3533 | 40.122
2019-07-19 17:00:00 | 5.8533 | 115.7333 | 6.7433 | 127.1667 | 10.4733 | 10.85 | 10.22 | 18.11 | 23.4353 | 882 | 95.2667 | 42.3573
2019-07-19 17:15:00 | 5.576 | 168.9313 | 6.4147 | 185.64 | 10.1773 | 11.0813 | 9.966 | 21.6107 | 23.5233 | 882 | 95.56 | 45.12
2019-07-19 17:30:00 | 5.3667 | 93.62 | 6.17 | 102.8733 | 10.1833 | 12.59 | 10.0967 | 21.24 | 23.6267 | 882 | 96.1 | 44.472
2019-07-19 17:45:00 | 5.4653 | 180.4327 | 6.2867 | 198.2707 | 10.294 | 10.7593 | 10.254 | 20.4313 | 23.762 | 882 | 96.48 | 46.9447
2019-07-19 18:00:00 | 5.65 | 214.1567 | 6.5067 | 235.3333 | 10.6633 | 11.3067 | 10.5633 | 22.65 | 23.8387 | 882 | 96 | 50.2233
2019-07-19 18:15:00 | 6.0927 | 182.2553 | 7.0067 | 200.2733 | 11.2847 | 17.7113 | 11.734 | 29.02 | 23.8333 | 882 | 95.1933 | 51.9947
2019-07-19 18:30:00 | 6.66 | 111.39 | 7.658 | 122.406 | 12.214 | 20.944 | 12.422 | 30.314 | 23.744 | 882 | 94.78 | 53.2807
2019-07-19 18:45:00 | 7.132 | 210.818 | 8.2107 | 239.074 | 13.0527 | 25.932 | 13.262 | 33.3933 | 23.398 | 882 | 95.02 | 54.8613
2019-07-19 19:00:00 | 7.2547 | 309.15 | 8.352 | 339.72 | 13.256 | 27 | 13.25 | 32.124 | 23.052 | 882 | 95.3 | 56.6347
2019-07-19 19:15:00 | 7.0013 | 76.3727 | 8.0493 | 92.0773 | 12.7773 | 18.0193 | 13.0867 | 28.4073 | 22.7687 | 882 | 95.4467 | 55.1713
2019-07-19 19:30:00 | 6.872 | 196.308 | 7.908 | 215.72 | 12.66 | 20.084 | 12.936 | 28.624 | 22.696 | 882 | 94.96 | 55.054
2019-07-19 19:45:00 | 6.9227 | 292.4707 | 7.964 | 317.82 | 12.882 | 19.1607 | 13.1387 | 29.5913 | 22.47 | 882 | 95.1133 | 55.3547
2019-07-19 20:00:00 | 6.8433 | 166.2067 | 7.87 | 182.6333 | 12.66 | 19.5167 | 12.9333 | 23.5767 | 22.1733 | 882 | 95.6467 | 57.022
2019-07-19 20:15:00 | 6.9053 | 80.1307 | 7.9433 | 88.054 | 12.7973 | 23.962 | 13.2487 | 29.4827 | 21.9407 | 882 | 95.3 | 55.094
2019-07-19 20:30:00 | 6.624 | 51.532 | 7.616 | 56.63 | 12.27 | 17.368 | 12.766 | 29.402 | 21.73 | 882 | 95.4 | 55.566
2019-07-19 20:45:00 | 6.2613 | 193.04 | 7.2013 | 212.13 | 11.704 | 14.0953 | 12.1807 | 29.2293 | 21.5787 | 882 | 95.1867 | 54.6987
2019-07-19 21:00:00 | 6.3533 | 178.1233 | 7.31 | 195.7333 | 11.59 | 9.5867 | 10.9833 | 29.0267 | 21.5867 | 882 | 94.4333 | 54.2347
2019-07-19 21:15:00 | 6.23 | 282.2127 | 7.1693 | 310.12 | 10.954 | 3.738 | 10.7933 | 23.5147 | 21.6707 | 882 | 93.0333 | 53.9473
2019-07-19 21:30:00 | 6.206 | 136.0267 | 7.1527 | 149.476 | 10.89 | 6.5107 | 10.848 | 16.672 | 21.8527 | 882.4667 | 91.32 | 50.298
2019-07-19 21:45:00 | 5.248 | 161.2433 | 6.0447 | 177.1813 | 9.8087 | 7.5833 | 9.97 | 26.1953 | 21.8113 | 883 | 91.3333 | 45.51
2019-07-19 22:00:00 | 4.848 | 179.282 | 5.578 | 197 | 9.368 | 13.772 | 9.48 | 23.592 | 21.65 | 883 | 92.0467 | 38.724
2019-07-19 22:15:00 | 4.4553 | 152.658 | 5.126 | 167.7467 | 8.738 | 15.0487 | 8.5893 | 21.9327 | 21.496 | 883 | 92.3467 | 35.516
2019-07-19 22:30:00 | 4.386 | 163.366 | 5.046 | 179.52 | 8.506 | 13.544 | 8.422 | 25.58 | 21.4207 | 883 | 92.58 | 36.638
2019-07-19 22:45:00 | 4.4967 | 182.1873 | 5.1693 | 200.2 | 8.5887 | 13.1607 | 8.5967 | 28.4507 | 21.382 | 883 | 92.3467 | 36.8927
2019-07-19 23:00:00 | 4.612 | 144.316 | 5.304 | 158.58 | 8.696 | 15.552 | 8.732 | 29.318 | 21.4 | 883 | 91.9 | 43.516
2019-07-19 23:15:00 | 5.1173 | 175.0033 | 5.8833 | 192.3133 | 9.29 | 10.0073 | 9.372 | 28.1167 | 21.4373 | 883 | 90.98 | 48.7627
2019-07-19 23:30:00 | 5.228 | 165.862 | 6.012 | 182.26 | 9.698 | 13.968 | 9.584 | 19.082 | 21.39 | 883 | 91.54 | 52.0553
2019-07-19 23:45:00 | 5.3513 | 83.1573 | 6.1627 | 91.3833 | 10.02 | 11.8573 | 10.092 | 18.374 | 21.266 | 883 | 92.0333 | 52.45