## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-20 00:00:00 | 5.6986 | 51.7043 | 6.5529 | 56.8129 | 10.6257 | 13.4057 | 10.54 | 19.2886 | 21.14 | 883 | 92.0714 | 53.5193
2019-07-20 00:15:00 | 6.0313 | 190.0027 | 6.9387 | 208.7867 | 10.73 | 9.6973 | 10.654 | 9.1193 | 21.146 | 883 | 91.3867 | 54.2467
2019-07-20 00:30:00 | 5.838 | 49.254 | 6.716 | 54.126 | 10.672 | 9.1 | 10.546 | 15.66 | 21.148 | 882.5333 | 91.14 | 53.652
2019-07-20 00:45:00 | 5.99 | 88.282 | 6.8907 | 97.0113 | 10.7507 | 7.5467 | 10.4167 | 19.076 | 21.1147 | 882 | 90.7267 | 52.412
2019-07-20 01:00:00 | 5.846 | 32.466 | 6.724 | 35.674 | 10.274 | 14.676 | 10.336 | 10.164 | 21.176 | 882 | 89.88 | 51.742
2019-07-20 01:15:00 | 5.3953 | 180.182 | 6.2027 | 198.002 | 9.6727 | 12.6373 | 9.724 | 13.9773 | 21.2347 | 882 | 89.28 | 50.1993
2019-07-20 01:30:00 | 5.3533 | 105.55 | 6.1533 | 115.98 | 9.3267 | 8.9267 | 9.2653 | 13.8967 | 21.1847 | 882 | 89.3 | 48.9867
2019-07-20 01:45:00 | 5.156 | 127.1353 | 5.9307 | 139.7007 | 9.1887 | 7.5153 | 8.966 | 13.4927 | 21.1073 | 882 | 89.8933 | 43.1413
2019-07-20 02:00:00 | 4.752 | 129.696 | 5.468 | 142.516 | 8.33 | 9.302 | 8.45 | 28.68 | 21.036 | 882 | 89.96 | 32.392
2019-07-20 02:15:00 | 4.4847 | 121.15 | 5.156 | 133.124 | 8.0507 | 14.4033 | 7.8993 | 17.436 | 20.966 | 882 | 90.0133 | 31.528
2019-07-20 02:30:00 | 4.31 | 303 | 4.96 | 332.9667 | 7.4033 | 9.7233 | 7.28 | 12.87 | 20.9 | 882 | 89.7 | 35.92
2019-07-20 02:45:00 | 4.3113 | 224.106 | 4.96 | 246.2747 | 7.3067 | 14.176 | 7.216 | 9.8293 | 20.904 | 882 | 89.1467 | 33.8553
2019-07-20 03:00:00 | 4.316 | 178.866 | 4.962 | 196.552 | 7.32 | 11.472 | 7.26 | 9.4 | 20.882 | 882 | 89.26 | 35.8127
2019-07-20 03:15:00 | 4.298 | 299.9253 | 4.9467 | 329.5867 | 7.488 | 118.57 | 7.19 | 127.1213 | 20.74 | 882 | 89.5133 | 38.4433
2019-07-20 03:30:00 | 4.548 | 304.12 | 5.24 | 334.2 | 8.098 | 141.038 | 7.446 | 154.638 | 20.664 | 882 | 89.78 | 40.6547
2019-07-20 03:45:00 | 4.822 | 22.3647 | 5.5507 | 24.5693 | 8.3013 | 146.9967 | 7.8467 | 9.188 | 20.6073 | 882 | 89.9933 | 42.8973
2019-07-20 04:00:00 | 4.884 | 190.634 | 5.618 | 209.48 | 8.1053 | 340.56 | 7.874 | 11.458 | 20.5793 | 882 | 90.1 | 43.5067
2019-07-20 04:15:00 | 4.8807 | 128.882 | 5.618 | 141.6213 | 8.086 | 234.84 | 8.0493 | 10.7593 | 20.5753 | 882 | 89.8933 | 44.4947
2019-07-20 04:30:00 | 4.812 | 129.866 | 5.542 | 142.698 | 8.022 | 16.106 | 8.218 | 10.054 | 20.5613 | 882 | 90.38 | 44.5527
2019-07-20 04:45:00 | 4.7067 | 269.2367 | 5.4153 | 295.8553 | 7.95 | 7.138 | 8.35 | 19.4153 | 20.516 | 882 | 90.9533 | 43.7293
2019-07-20 05:00:00 | 4.66 | 122.17 | 5.3667 | 115.154 | 7.7507 | 12.3847 | 8.032 | 8.1213 | 20.4133 | 882 | 91.7467 | 39.608
2019-07-20 05:15:00 | 4.762 | 35.0393 | 5.482 | 38.4987 | 7.8007 | 343.4267 | 7.6953 | 19.4467 | 20.332 | 882 | 91.8267 | 33.936
2019-07-20 05:30:00 | 4.416 | 189.682 | 5.082 | 208.436 | 7.236 | 152.518 | 7.216 | 12.8 | 20.3287 | 882 | 90.92 | 32.918
2019-07-20 05:45:00 | 4.472 | 294.5087 | 5.146 | 322.9667 | 8.068 | 347.66 | 7.8633 | 116.408 | 20.35 | 882 | 90.52 | 34.51
2019-07-20 06:00:00 | 4.4333 | 124.3667 | 5.1033 | 136.6533 | 7.4333 | 346.9 | 7.3767 | 18.1733 | 20.2567 | 882 | 91.3 | 35.02
2019-07-20 06:15:00 | 4.6233 | 71.182 | 5.326 | 76.4467 | 7.43 | 116.46 | 7.6067 | 15.4 | 20.1613 | 882 | 92.1 | 38.4327
2019-07-20 06:30:00 | 4.7627 | 68.698 | 5.476 | 75.4887 | 7.9187 | 351.0867 | 8.0213 | 12.5447 | 20.126 | 882 | 92.4667 | 38.144
2019-07-20 06:45:00 | 4.8333 | 95.0353 | 5.5553 | 104.424 | 8.306 | 251.916 | 8.142 | 83.9667 | 20.0913 | 882 | 92.22 | 34.0847
2019-07-20 07:00:00 | 4.2587 | 267.1333 | 4.8973 | 293.5493 | 7.636 | 238.0793 | 8.0593 | 56.3207 | 20.1107 | 882 | 92.84 | 32.5307
2019-07-20 07:15:00 | 3.9733 | 105.07 | 4.5767 | 115.46 | 7.2267 | 119.0667 | 7.53 | 0.98 | 20.1133 | 882 | 93.4667 | 34.6727
2019-07-20 07:30:00 | 3.9653 | 303.6373 | 4.5693 | 333.58 | 7.4347 | 100.2413 | 7.858 | 11.6293 | 20.1473 | 882 | 94.26 | 39.2607
2019-07-20 07:45:00 | 4.4533 | 278.3133 | 5.12 | 305.8333 | 7.9867 | 8.1167 | 7.95 | 5.67 | 20.2127 | 882.1333 | 95.5 | 42.2387
2019-07-20 08:00:00 | 5.0353 | 286.42 | 5.8 | 314.7467 | 8.7847 | 0.93933 | 8.5667 | 12.6573 | 20.2487 | 883 | 95.4533 | 41.8853
2019-07-20 08:15:00 | 4.3967 | 200.13 | 5.0567 | 219.9133 | 8.1267 | 21.7767 | 8.1633 | 9.3133 | 20.4167 | 883 | 95.3333 | 40.5133
2019-07-20 08:30:00 | 4.4367 | 218.2033 | 5.1033 | 239.78 | 7.56 | 254.7033 | 7.65 | 4.62 | 20.59 | 883 | 93.8 | 38.8687
2019-07-20 08:45:00 | 4.2267 | 98.8467 | 4.8667 | 108.6133 | 7.5267 | 239.8933 | 7.4733 | 8.9433 | 20.7933 | 883 | 93.5 | 34.7727
2019-07-20 09:00:00 | 3.972 | 262.272 | 4.57 | 288.2 | 7.314 | 2.442 | 7.458 | 4.152 | 20.944 | 883 | 93.06 | 31.3633
2019-07-20 09:15:00 | 4.1907 | 106.2533 | 4.8207 | 116.7653 | 7.298 | 2.1313 | 7.306 | 11.878 | 21.2607 | 883 | 91.5067 | 34.076
2019-07-20 09:30:00 | 4.308 | 85.9107 | 4.96 | 94.3987 | 7.4813 | 13.586 | 7.4747 | 13.2493 | 21.4807 | 883 | 91.14 | 36.898
2019-07-20 09:45:00 | 4.2933 | 196.2733 | 4.95 | 215.68 | 7.5767 | 238.1433 | 7.8067 | 9.1467 | 21.9967 | 883.1333 | 90.52 | 31.0173
2019-07-20 10:00:00 | 4.3067 | 201.7933 | 4.9633 | 221.7467 | 7.41 | 235.0767 | 7.5933 | 5.5533 | 22.5167 | 884 | 88.2333 | 25.4893
2019-07-20 10:15:00 | 4.32 | 322.63 | 4.9733 | 354.5333 | 7.3067 | 233.1567 | 7.42 | 3.6833 | 22.8567 | 884 | 86 | 27.484
2019-07-20 10:30:00 | 4.5133 | 86.1087 | 5.1973 | 94.62 | 7.7093 | 3.6487 | 7.9853 | 8.368 | 23.1387 | 884 | 85.3333 | 27.966
2019-07-20 10:45:00 | 4.47 | 93.41 | 5.1467 | 102.6467 | 7.5867 | 11.77 | 7.7633 | 8.84 | 23.3973 | 884 | 84.3867 | 23.398
2019-07-20 11:00:00 | 4.4353 | 303.5247 | 5.098 | 333.5333 | 7.8667 | 15.4427 | 8.1333 | 19.3113 | 23.978 | 884 | 83.1 | 21.8787
2019-07-20 11:15:00 | 4.5633 | 61.9933 | 5.25 | 68.1133 | 8.62 | 12.7833 | 8.33 | 14.9667 | 24.6467 | 884.8 | 82.9333 | 18.9353
2019-07-20 11:30:00 | 4.544 | 144.68 | 5.228 | 158.976 | 8.494 | 16.378 | 8.3 | 16.918 | 25.314 | 885 | 80.874 | 22.4073
2019-07-20 11:45:00 | 4.5067 | 58.0767 | 5.1867 | 63.82 | 8.5167 | 8.3467 | 8.5133 | 17.8233 | 25.6933 | 885 | 79.2233 | 22.3407
2019-07-20 12:00:00 | 4.5 | 115.67 | 5.1867 | 127.1067 | 8.3233 | 17.66 | 8.14 | 17.2033 | 25.7167 | 885 | 77.0033 | 24.6947
2019-07-20 12:15:00 | 4.8267 | 169.42 | 5.5533 | 168.856 | 8.708 | 13.09 | 8.212 | 26.16 | 25.516 | 885 | 76.662 | 25.2847
2019-07-20 12:30:00 | 4.652 | 241.2847 | 5.35 | 265.144 | 7.746 | 9.854 | 7.6767 | 15.626 | 25.1413 | 885 | 75.6 | 19.2933
2019-07-20 12:45:00 | 4.1267 | 7.1233 | 4.75 | 7.854 | 6.508 | 39.484 | 6.552 | 150.646 | 24.884 | 884.2 | 76.67 | 17.4027
2019-07-20 13:00:00 | 3.6333 | 195.8833 | 4.1767 | 215.2533 | 6.0467 | 26.8467 | 6.3833 | 125.2867 | 25.29 | 884 | 77.9033 | 15.132
2019-07-20 13:15:00 | 4.0533 | 119.846 | 4.6733 | 131.7 | 7.552 | 13.912 | 7.324 | 11.554 | 26.484 | 884 | 76.338 | 15.564
2019-07-20 13:30:00 | 4.16 | 148.3867 | 4.7867 | 163.0667 | 7.72 | 15.9333 | 7.55 | 17.53 | 26.9267 | 884 | 74.0667 | 12.7007
2019-07-20 13:45:00 | 3.6867 | 179.6733 | 4.2367 | 211.06 | 6.786 | 12.01 | 6.516 | 21.77 | 27.192 | 884 | 73.566 | 7.6527
2019-07-20 14:00:00 | 3.1333 | 229.12 | 3.6033 | 251.7667 | 5.8967 | 14.5467 | 5.8067 | 12.52 | 27.5767 | 884 | 73.66 | 3.86
2019-07-20 14:15:00 | 2.3867 | 281.2333 | 2.7533 | 309.5 | 4.38 | 102.968 | 4.28 | 29.562 | 28.156 | 884 | 71.216 | 2.6093
2019-07-20 14:30:00 | 2.4753 | 186.4433 | 2.852 | 204.8733 | 4.4327 | 21.374 | 4.622 | 31.0173 | 28.874 | 883.5333 | 67.7707 | 1.9207
2019-07-20 14:45:00 | 2.8573 | 263.2327 | 3.292 | 289.2667 | 5.0433 | 3.608 | 4.8267 | 27.9653 | 29.62 | 883 | 64.6113 | 1.3
2019-07-20 15:00:00 | 2.6733 | 264.75 | 3.08 | 290.9333 | 4.7314 | 12.91 | 4.5386 | 16.2243 | 30.21 | 883.4667 | 60.6467 | 1.362
2019-07-20 15:15:00 | 2.444 | 24.4633 | 2.808 | 28.998 | 3.642 | 137.778 | 3.546 | 146.268 | 30.218 | 884 | 56.698 | 0.998
2019-07-20 15:30:00 | 2.4573 | 46.39 | 2.8307 | 50.9767 | 3.7693 | 325.62 | 3.4627 | 154.6927 | 30.3373 | 884 | 57.4833 | 0.268
2019-07-20 15:45:00 | 2.204 | 54.0467 | 2.538 | 58.76 | 3.788 | 349.04 | 3.522 | 352.84 | 31.044 | 884 | 56.112 | 0.33
2019-07-20 16:00:00 | 2.4333 | 17.84 | 2.8 | 19.5967 | 4.11 | 338.2667 | 3.9067 | 349.46 | 31.37 | 884 | 54.6833 | 0.364
2019-07-20 16:15:00 | 2.4633 | 222.6867 | 2.8367 | 244.7 | 4.3 | 233.7567 | 4.1533 | 356.3 | 31.6567 | 884 | 54.4633 | 0.416
2019-07-20 16:30:00 | 2.1867 | 244.0667 | 2.5247 | 268.2067 | 4.0027 | 0.35667 | 3.7047 | 157.7 | 32.3753 | 884 | 53.6867 | 0.052
2019-07-20 16:45:00 | 1.9333 | 275.5433 | 2.2233 | 295.86 | 3.46 | 6.46 | 3.282 | 145.242 | 32.694 | 884 | 51.334 | 0
2019-07-20 17:00:00 | 1.2827 | 268.3213 | 1.474 | 294.8533 | 2.4573 | 259.1013 | 2.506 | 353.36 | 33.0147 | 884 | 48.784 | 0
2019-07-20 17:15:00 | 1.07 | 263.89 | 1.24 | 289.98 | 1.704 | 141.08 | 1.568 | 218.996 | 33.27 | 884 | 46.156 | 0
2019-07-20 17:30:00 | 0.9 | 298.7533 | 1.0367 | 328.3 | 1.56 | 335.5667 | 1.4533 | 216.3133 | 33.2567 | 884 | 45.83 | 0
2019-07-20 17:45:00 | 0.46667 | 241.472 | 0.53333 | 265.34 | 0.798 | 298.62 | 0.808 | 284.88 | 34.022 | 884 | 44.152 | 0
2019-07-20 18:00:00 | 1.0133 | 180.97 | 1.1667 | 198.8667 | 1.5533 | 231.2667 | 1.4833 | 217.6333 | 33.51 | 884 | 47.4267 | 0
2019-07-20 18:15:00 | 1.9933 | 166.53 | 2.2933 | 183 | 2.7267 | 197.8333 | 2.5967 | 209.8 | 31.75 | 884 | 52.2567 | 0
2019-07-20 18:30:00 | 1.94 | 176.4233 | 2.2333 | 193.8667 | 2.8733 | 221.5 | 2.8967 | 225.4 | 30.9967 | 884 | 54.3833 | 0
2019-07-20 18:45:00 | 2.296 | 181.832 | 2.652 | 199.8 | 3.278 | 224.7 | 3.142 | 224.76 | 30.642 | 884 | 54.116 | 0
2019-07-20 19:00:00 | 2.4667 | 173.2733 | 2.8467 | 190.4 | 3.4433 | 217.4 | 3.3833 | 215.7 | 29.7033 | 884 | 55.8367 | 0
2019-07-20 19:15:00 | 2.028 | 190.75 | 2.336 | 209.6 | 2.726 | 213.0133 | 2.748 | 215.46 | 28.51 | 883.2 | 58.442 | 0
2019-07-20 19:30:00 | 2.0467 | 176.0567 | 2.3633 | 193.4667 | 2.6167 | 208.5667 | 2.5233 | 210.9333 | 28.1967 | 883 | 57.6567 | 0
2019-07-20 19:45:00 | 2.504 | 170.778 | 2.886 | 187.66 | 3.208 | 202.72 | 3.09 | 198.82 | 27.864 | 882.8667 | 58.29 | 0
2019-07-20 20:00:00 | 2.34 | 166.7867 | 2.6933 | 183.2667 | 2.87 | 193.2 | 2.9533 | 196.0333 | 27.7267 | 882 | 58.73 | 0
2019-07-20 20:15:00 | 1.728 | 166.392 | 1.996 | 182.84 | 2.478 | 187.56 | 2.776 | 190.2 | 27.458 | 882 | 59.996 | 0
2019-07-20 20:30:00 | 1.782 | 163.71 | 2.0613 | 179.9 | 2.6227 | 187.82 | 3.1107 | 190.2467 | 27.1367 | 882 | 61.2467 | 0
2019-07-20 20:45:00 | 1.38 | 168.6673 | 1.596 | 185.34 | 2.154 | 199.34 | 2.57 | 200.22 | 26.842 | 882 | 62.382 | 0.042667
2019-07-20 21:00:00 | 1.7633 | 167.87 | 2.04 | 184.4667 | 2.74 | 210.2333 | 2.9633 | 215.7333 | 26.84 | 882 | 61.98 | 0.14667
2019-07-20 21:15:00 | 1.412 | 170.624 | 1.636 | 187.5 | 2.17 | 190.68 | 2.708 | 213.12 | 26.828 | 882 | 63.392 | 0.398
2019-07-20 21:30:00 | 1.5933 | 167.66 | 1.8367 | 184.2333 | 2.3867 | 173.5 | 2.4767 | 195.2333 | 26.63 | 882 | 65.6367 | 0
2019-07-20 21:45:00 | 1.55 | 161.4193 | 1.7967 | 177.3867 | 2.3467 | 169.0667 | 2.48 | 177.9667 | 26.3167 | 882 | 68.93 | 0
2019-07-20 22:00:00 | 0.83667 | 161.35 | 0.96333 | 177.3 | 1.62 | 186.6667 | 2.26 | 194.0333 | 26.0767 | 882 | 71.4433 | 0.034667
2019-07-20 22:15:00 | 1.7933 | 164.08 | 2.0767 | 180.3 | 2.6067 | 182.4667 | 2.95 | 184.8667 | 25.904 | 882.1333 | 72.6107 | 1.0067
2019-07-20 22:30:00 | 2.6067 | 167.1667 | 3.01 | 183.7467 | 3.65 | 182.5133 | 3.706 | 175.9867 | 25.7853 | 883 | 73.592 | 2.728
2019-07-20 22:45:00 | 2.69 | 160.0433 | 3.0967 | 175.8667 | 3.48 | 179.2 | 3.9667 | 173.2 | 25.5267 | 883 | 76.33 | 2.5893
2019-07-20 23:00:00 | 2.2833 | 154.6367 | 2.6233 | 170.98 | 2.99 | 176.7733 | 3.4667 | 172.3733 | 25.356 | 883 | 78.1507 | 0.686
2019-07-20 23:15:00 | 2.2667 | 170.0533 | 2.61 | 186.8667 | 3.0233 | 179.2333 | 3.4133 | 175.9 | 25.1167 | 882.2 | 80.6 | 1.126
2019-07-20 23:30:00 | 2.3987 | 154.0333 | 2.7627 | 169.9667 | 3.132 | 176.7933 | 3.5413 | 184.8 | 24.9273 | 882 | 83.0867 | 1.8307
2019-07-20 23:45:00 | 2.3267 | 162.5867 | 2.6867 | 178.6667 | 3.04 | 181.4333 | 3.4633 | 187.7333 | 24.7487 | 882 | 84.5667 | 0.41533