## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-21 00:00:00 | 2.4579 | 157.2714 | 2.83 | 172.8286 | 3.1607 | 178.6143 | 3.6314 | 187.0429 | 24.6371 | 882 | 86.0643 | 0.80143
2019-07-21 00:15:00 | 2.92 | 173.5733 | 3.3633 | 190.7333 | 3.7867 | 182.7667 | 4.1033 | 186.7333 | 24.2733 | 882 | 89.8333 | 1.564
2019-07-21 00:30:00 | 2.3133 | 170.0293 | 2.67 | 186.8467 | 3.0233 | 179.7733 | 3.3873 | 185.6333 | 24.1067 | 882 | 92.58 | 2.7587
2019-07-21 00:45:00 | 2.55 | 173.5067 | 2.9433 | 190.6667 | 3.14 | 187.1 | 3.5 | 180.9 | 24.0147 | 882 | 93.0333 | 4.7833
2019-07-21 01:00:00 | 2.812 | 175.232 | 3.2373 | 192.56 | 3.442 | 188.9667 | 3.9887 | 181.4067 | 23.9167 | 882 | 91.98 | 5.63
2019-07-21 01:15:00 | 3.4133 | 177.24 | 3.9267 | 194.7667 | 4.2233 | 187.9333 | 4.74 | 184.1333 | 23.73 | 882 | 92.4667 | 6.438
2019-07-21 01:30:00 | 3.4533 | 162.2 | 3.9733 | 178.2333 | 4.19 | 172.8667 | 5.1933 | 168.3333 | 23.43 | 882 | 94.7333 | 7.034
2019-07-21 01:45:00 | 3.816 | 161.604 | 4.396 | 177.58 | 4.716 | 174.42 | 5.384 | 173.24 | 23.2147 | 882 | 96.74 | 6.8573
2019-07-21 02:00:00 | 3.4333 | 168 | 3.95 | 184.6 | 4.28 | 187.8333 | 4.72 | 176.0333 | 23.1 | 882 | 97.5667 | 5.572
2019-07-21 02:15:00 | 3.3 | 168.956 | 3.802 | 185.66 | 4.058 | 190.58 | 4.552 | 189.8 | 22.9573 | 881.8667 | 98.3 | 3.6073
2019-07-21 02:30:00 | 2.504 | 169.8193 | 2.878 | 186.6133 | 3.286 | 223.6067 | 3.268 | 197.78 | 22.98 | 881 | 98.0133 | 1.3073
2019-07-21 02:45:00 | 1.1733 | 160.8867 | 1.3533 | 176.8 | 1.9767 | 205.6333 | 2.38 | 167.2667 | 22.9847 | 881 | 97.6667 | 1.2607
2019-07-21 03:00:00 | 1.7287 | 180.1487 | 1.9893 | 197.9667 | 2.5433 | 228.5667 | 2.4147 | 207.7867 | 22.8553 | 881 | 98.2333 | 0.73467
2019-07-21 03:15:00 | 1.3667 | 179.3267 | 1.57 | 197.0667 | 1.9667 | 183.9333 | 2.2567 | 169.2 | 22.7527 | 881 | 98.9133 | 0.75067
2019-07-21 03:30:00 | 1.2 | 155.6133 | 1.3833 | 171 | 2.1133 | 193.6667 | 2.1567 | 189.3333 | 22.77 | 881 | 98.8667 | 1.1173
2019-07-21 03:45:00 | 1.4 | 161.28 | 1.61 | 177.2333 | 2.32 | 228.4333 | 2.53 | 216.9 | 22.7147 | 881 | 98.6133 | 1.0953
2019-07-21 04:00:00 | 1.04 | 148.9067 | 1.1967 | 163.6333 | 1.76 | 238.1667 | 2.0633 | 216.1 | 22.5867 | 881 | 98.9667 | 0.23467
2019-07-21 04:15:00 | 0.69 | 197.9033 | 0.79333 | 217.4667 | 1.1533 | 216.1 | 1.31 | 193.6333 | 22.4667 | 881 | 99.5133 | 0.25933
2019-07-21 04:30:00 | 1.0127 | 185.5227 | 1.174 | 203.8667 | 1.5573 | 212 | 1.4753 | 184.3667 | 22.38 | 881 | 99.58 | 0.24667
2019-07-21 04:45:00 | 1.5067 | 147.76 | 1.7433 | 162.3667 | 2.3967 | 193.4 | 2.4033 | 197.1333 | 22.3307 | 880.3333 | 99.2867 | 0.286
2019-07-21 05:00:00 | 0.60533 | 178.22 | 0.69867 | 195.84 | 0.826 | 225.02 | 0.99067 | 209.2 | 22.34 | 881 | 99.2 | 0.3
2019-07-21 05:15:00 | 0.06 | 195.052 | 0.07 | 214.3467 | 0.11667 | 267.7333 | 0.45 | 214.3867 | 22.36 | 880.3333 | 99.28 | 0.17267
2019-07-21 05:30:00 | 0.46 | 181.94 | 0.53667 | 199.9333 | 0.90333 | 228.7533 | 1.2767 | 214.3 | 22.4093 | 881 | 99.3 | 0
2019-07-21 05:45:00 | 0.37667 | 175.6 | 0.44667 | 192.9667 | 0.72667 | 228.62 | 1.0833 | 227.7467 | 22.436 | 881 | 99.3933 | 0.11667
2019-07-21 06:00:00 | 0.25667 | 175.54 | 0.30667 | 192.9 | 0.44667 | 228.5533 | 1.13 | 227.3067 | 22.4353 | 881 | 99.5467 | 1.0387
2019-07-21 06:15:00 | 0.77333 | 175.54 | 0.9 | 192.9 | 1.4733 | 214.1 | 1.9733 | 207.6333 | 22.3433 | 881 | 99.7467 | 1.0467
2019-07-21 06:30:00 | 1.164 | 168.6933 | 1.344 | 184.6133 | 2.0747 | 204.3667 | 2.4633 | 207.3933 | 22.2913 | 881 | 99.9467 | 0.60133
2019-07-21 06:45:00 | 1.5467 | 156.43 | 1.79 | 171.9 | 2.1667 | 197.2 | 2.4933 | 206.6667 | 22.2633 | 881 | 100 | 0
2019-07-21 07:00:00 | 1.0787 | 150.2147 | 1.2473 | 165.0733 | 1.6893 | 186.02 | 2.1127 | 196.0067 | 22.3067 | 881 | 100 | 0
2019-07-21 07:15:00 | 1.05 | 131.9833 | 1.2133 | 145.0333 | 1.3767 | 177.2667 | 1.6067 | 197.1333 | 22.3673 | 881 | 100 | 0
2019-07-21 07:30:00 | 1.79 | 156.7433 | 2.06 | 173.3467 | 2.3507 | 179.9667 | 2.5273 | 179.6867 | 22.3453 | 881 | 100 | 0
2019-07-21 07:45:00 | 0.90333 | 155.2567 | 1.05 | 170.6 | 1.3067 | 191.8333 | 1.9467 | 198.6667 | 22.3387 | 881 | 100 | 0.59867
2019-07-21 08:00:00 | 1.1833 | 165.93 | 1.3707 | 183.4067 | 1.6753 | 209.0267 | 2.0387 | 213.1467 | 22.3207 | 881 | 100 | 0.32733
2019-07-21 08:15:00 | 0.56 | 168.8367 | 0.65 | 185.5333 | 0.98 | 217.6667 | 1.4267 | 220.9667 | 22.3247 | 881 | 100 | 0
2019-07-21 08:30:00 | 0.63067 | 162.456 | 0.73133 | 178.5133 | 0.924 | 215.7467 | 1.5053 | 219.3733 | 22.3153 | 881 | 100 | 0
2019-07-21 08:45:00 | 0.77 | 142.3967 | 0.89 | 156.4667 | 1.1067 | 167.7 | 1.4433 | 191.5333 | 22.362 | 881 | 100 | 0.064667
2019-07-21 09:00:00 | 1.3567 | 155.4367 | 1.5567 | 172.7 | 1.736 | 177.2467 | 1.8847 | 183.94 | 22.3913 | 881 | 100 | 0.662
2019-07-21 09:15:00 | 1.4133 | 155.4267 | 1.6233 | 170.8 | 1.7733 | 184.1333 | 2.1 | 186.5667 | 22.444 | 881 | 100 | 0.23267
2019-07-21 09:30:00 | 1.1867 | 125.7973 | 1.3633 | 138.24 | 1.38 | 187.1 | 1.538 | 191.4 | 22.47 | 881 | 100 | 0.456
2019-07-21 09:45:00 | 1.7333 | 178.6933 | 1.9967 | 196.3667 | 2.26 | 195.6 | 2.4867 | 184.3 | 22.4513 | 881 | 100 | 0.722
2019-07-21 10:00:00 | 2.8327 | 153.8147 | 3.258 | 169.0267 | 3.4547 | 171 | 4.052 | 176.3533 | 22.4753 | 881 | 100 | 1.8147
2019-07-21 10:15:00 | 2.5367 | 168.2333 | 2.92 | 184.8667 | 3.1167 | 192.1667 | 3.42 | 176.5 | 22.4753 | 881 | 100 | 2.024
2019-07-21 10:30:00 | 2.542 | 149.9667 | 2.9253 | 162.84 | 3.0733 | 168.8267 | 3.11 | 179.8733 | 22.5833 | 881 | 100 | 4.0913
2019-07-21 10:45:00 | 2.6947 | 162.6267 | 3.0967 | 178.7 | 3.2767 | 161.4667 | 3.4233 | 186.6333 | 22.82 | 881 | 100 | 3.132
2019-07-21 11:00:00 | 2.0347 | 179.364 | 2.3407 | 197.0933 | 2.5767 | 206.4 | 2.5993 | 228.1533 | 22.9913 | 881 | 100 | 3.1767
2019-07-21 11:15:00 | 2.0933 | 166.2967 | 2.4167 | 182.7333 | 2.92 | 220.5 | 3.38 | 207.1667 | 23.1467 | 881 | 100 | 3.12
2019-07-21 11:30:00 | 1.7507 | 154.9567 | 2.0107 | 170.9333 | 2.194 | 215.0467 | 2.7267 | 212.0533 | 23.414 | 881 | 100 | 2.9047
2019-07-21 11:45:00 | 2.0267 | 135.0167 | 2.33 | 148.3667 | 2.35 | 162.9333 | 2.38 | 194.4333 | 23.7067 | 881.8 | 100 | 2.4107
2019-07-21 12:00:00 | 2.168 | 144.8847 | 2.4927 | 159.2 | 2.472 | 160.78 | 2.7333 | 220.6267 | 23.6213 | 882 | 100 | 1.9347
2019-07-21 12:15:00 | 2.08 | 170.99 | 2.39 | 187.9 | 2.3567 | 192.8 | 2.7067 | 206.2667 | 23.76 | 881.2 | 100 | 0.78267
2019-07-21 12:30:00 | 2.24 | 191.6833 | 2.5767 | 210.6333 | 2.5367 | 192.8667 | 2.8667 | 203.4667 | 24.1667 | 881.4667 | 100 | 1.3153
2019-07-21 12:45:00 | 2.28 | 146.8233 | 2.62 | 161.3333 | 2.7233 | 175.0667 | 2.96 | 190.5 | 24.1947 | 882 | 100 | 1.096
2019-07-21 13:00:00 | 1.916 | 126.8767 | 2.208 | 139.42 | 2.212 | 176.4 | 2.2633 | 194.7733 | 24.1333 | 881.5333 | 100 | 0
2019-07-21 13:15:00 | 1.53 | 149.37 | 1.7567 | 164.1333 | 1.95 | 154.0333 | 1.5133 | 190.5 | 24.2833 | 881 | 100 | 0
2019-07-21 13:30:00 | 1.7033 | 136.87 | 1.9633 | 150.4 | 1.99 | 156.8333 | 1.8467 | 207.2333 | 24.5567 | 881 | 100 | 0
2019-07-21 13:45:00 | 1.7133 | 170.36 | 1.9733 | 187.2 | 2.03 | 199.3 | 1.74 | 215.8 | 25.08 | 881 | 98.2 | 0
2019-07-21 14:00:00 | 1.74 | 164.16 | 2 | 180.4 | 2.2767 | 176.5 | 2.1333 | 210.1333 | 25.2 | 881 | 96.6 | 0
2019-07-21 14:15:00 | 1.3 | 131.2867 | 1.5033 | 144.2667 | 1.7 | 173.8 | 1.14 | 183.3333 | 25.4533 | 881 | 96.3667 | 0.022
2019-07-21 14:30:00 | 1.2893 | 177.6747 | 1.49 | 195.2467 | 1.8227 | 217.7733 | 1.7147 | 214.3933 | 25.5987 | 881 | 95.7333 | 0
2019-07-21 14:45:00 | 1.0467 | 168.2333 | 1.2 | 184.8667 | 1.39 | 221.8 | 1.28 | 233.1667 | 25.4867 | 881 | 95.5 | 0
2019-07-21 15:00:00 | 0.764 | 122.57 | 0.87467 | 134.6867 | 0.846 | 206.6333 | 1.178 | 221.76 | 25.312 | 881 | 96.7067 | 0
2019-07-21 15:15:00 | 1.2333 | 131.56 | 1.42 | 144.5667 | 1.58 | 182.6 | 1.75 | 199 | 25.074 | 880.8667 | 98.1333 | 0
2019-07-21 15:30:00 | 0.58 | 251.4933 | 0.67333 | 276.3667 | 0.80667 | 275.2 | 0.93 | 263.2 | 25.3467 | 880 | 99.4667 | 0
2019-07-21 15:45:00 | 0.67333 | 133.0133 | 0.77333 | 146.1667 | 0.73667 | 182.3667 | 0.66 | 215.7 | 25.84 | 880 | 97.7667 | 0
2019-07-21 16:00:00 | 1.3587 | 125.6047 | 1.5653 | 138.02 | 1.5247 | 132.08 | 1.372 | 147.38 | 26.0667 | 880 | 96.2933 | 0
2019-07-21 16:15:00 | 3.5267 | 140.26 | 4.0533 | 154.1333 | 4.17 | 155 | 4.24 | 153.5667 | 25.44 | 880 | 96.3 | 0.80867
2019-07-21 16:30:00 | 2.9333 | 146.8133 | 3.38 | 161.3333 | 3.7967 | 196.2667 | 4.14 | 191.0333 | 24.42 | 880 | 98.4333 | 0.50467
2019-07-21 16:45:00 | 1.7967 | 152.3333 | 2.0767 | 168.28 | 2.32 | 173.56 | 2.776 | 186 | 23.942 | 879.8667 | 98.62 | 1.2187
2019-07-21 17:00:00 | 1.1167 | 156.8867 | 1.2967 | 172.4 | 1.98 | 212.7 | 2.3567 | 212.4 | 24.09 | 879 | 99.7 | 1.216
2019-07-21 17:15:00 | 1.6533 | 179.8533 | 1.9053 | 197.4867 | 2.5053 | 201.1867 | 2.538 | 195.5133 | 24.108 | 879 | 100 | 3.5387
2019-07-21 17:30:00 | 2.4933 | 174.2667 | 2.8667 | 191.5 | 3.54 | 209.8333 | 3.7267 | 202.5 | 23.8267 | 879 | 100 | 6.8167
2019-07-21 17:45:00 | 3.2967 | 189.3 | 3.79 | 208.02 | 4.952 | 235.96 | 4.784 | 229.28 | 23.596 | 879 | 100 | 8.4847
2019-07-21 18:00:00 | 2.4433 | 165.01 | 2.81 | 181.3333 | 3.6533 | 240.4333 | 3.4567 | 213.8667 | 23.5833 | 879 | 100 | 5.1387
2019-07-21 18:15:00 | 1.436 | 206.6267 | 1.66 | 220.2 | 1.946 | 187.86 | 2.716 | 191.14 | 23.614 | 879 | 100 | 2.6753
2019-07-21 18:30:00 | 0.46 | 144.056 | 0.53333 | 158.3067 | 0.53667 | 169.0333 | 0.84 | 185.7333 | 23.8133 | 879 | 100 | 1.504
2019-07-21 18:45:00 | 0.524 | 175.774 | 0.604 | 193.16 | 0.832 | 230.98 | 0.676 | 215.98 | 24.036 | 879 | 100 | 3.2527
2019-07-21 19:00:00 | 1.0633 | 179.7333 | 1.23 | 197.5 | 1.8933 | 239 | 1.81 | 221.0667 | 23.95 | 879 | 100 | 3.054
2019-07-21 19:15:00 | 0.21333 | 155.4933 | 0.24333 | 170.8667 | 0.37 | 235.0333 | 0.54667 | 234.7 | 23.7867 | 879 | 100 | 1.1387
2019-07-21 19:30:00 | 0.14 | 148.1973 | 0.17 | 162.8467 | 0.22333 | 227.7667 | 0.11333 | 210.5 | 23.6333 | 879 | 100 | 0.818
2019-07-21 19:45:00 | 0.44733 | 148.4187 | 0.52067 | 163.0867 | 0.69667 | 191.32 | 0.792 | 197.6667 | 23.4867 | 879 | 100 | 0.538
2019-07-21 20:00:00 | 0 | 149.1073 | 0 | 163.8467 | 0 | 190.0467 | 0 | 197.3 | 23.3693 | 879.4667 | 100 | 0.974
2019-07-21 20:15:00 | 0.083333 | 154.3967 | 0.096667 | 169.6667 | 0 | 190.0867 | 0.29333 | 187.5 | 23.244 | 880 | 100 | 0.38733
2019-07-21 20:30:00 | 0.71 | 167.8033 | 0.81667 | 184.4 | 0.77333 | 201.3333 | 0.98 | 180.1 | 23.2607 | 880 | 100 | 0.466
2019-07-21 20:45:00 | 0.08 | 171.744 | 0.093333 | 188.7267 | 0 | 233.8 | 0 | 192.9 | 23.2353 | 880 | 100 | 0.86933
2019-07-21 21:00:00 | 0.326 | 176.16 | 0.378 | 193.58 | 0 | 219 | 0 | 177.3 | 23.276 | 880 | 100 | 1.2053
2019-07-21 21:15:00 | 0.58333 | 188.7433 | 0.67667 | 207.4 | 0 | 34.21 | 0 | 177.3 | 23.2893 | 880 | 100 | 1.576
2019-07-21 21:30:00 | 0.13667 | 185.03 | 0.15667 | 203.3333 | 0 | 34.1433 | 0 | 177.3 | 23.36 | 880 | 100 | 2.02
2019-07-21 21:45:00 | 0 | 180.616 | 0.004 | 198.4733 | 0 | 82.126 | 0.096 | 181.02 | 23.43 | 880 | 100 | 2.4467
2019-07-21 22:00:00 | 0.12 | 167.9067 | 0.14333 | 184.5 | 0.13333 | 161.7333 | 0 | 183.1667 | 23.4207 | 880 | 100 | 1.32
2019-07-21 22:15:00 | 0 | 161.63 | 0 | 177.6 | 0 | 165.76 | 0 | 181.5133 | 23.356 | 880 | 100 | 1.256
2019-07-21 22:30:00 | 0.013333 | 161.63 | 0.013333 | 177.6 | 0 | 165.8 | 0 | 181.6 | 23.3253 | 880 | 100 | 1.0753
2019-07-21 22:45:00 | 0.25333 | 161.7073 | 0.30333 | 177.6933 | 0 | 165.8 | 0 | 181.52 | 23.3267 | 880 | 100 | 0.90733
2019-07-21 23:00:00 | 0.66667 | 191.0433 | 0.77667 | 209.9333 | 0 | 165.5333 | 0 | 181.5 | 23.3013 | 880 | 100 | 0.53333
2019-07-21 23:15:00 | 1.2533 | 308.1867 | 1.4433 | 338.6667 | 0.98667 | 6.0233 | 0.076667 | 121.1367 | 23.2467 | 880 | 100 | 0.68133
2019-07-21 23:30:00 | 1.7733 | 320.9867 | 2.05 | 352.7333 | 2.2 | 7.5167 | 1.0433 | 9.4833 | 23.19 | 880 | 100 | 0.66867
2019-07-21 23:45:00 | 2.104 | 311.246 | 2.42 | 342.02 | 2.698 | 11.19 | 2.104 | 14.638 | 23.1353 | 880 | 100 | 0.582