## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-22 00:00:00 | 2.4786 | 306.215 | 2.855 | 336.5 | 2.9136 | 10.4314 | 2.4121 | 11.6671 | 23.0971 | 880 | 100 | 0.032143
2019-07-22 00:15:00 | 2.6133 | 306.5867 | 3.01 | 336.9 | 3.0767 | 4.2433 | 2.7233 | 3.5167 | 23.08 | 880 | 100 | 0.10867
2019-07-22 00:30:00 | 2.6933 | 311.2467 | 3.1033 | 342.0333 | 3.1433 | 5.09 | 2.8433 | 7.53 | 23.0893 | 880 | 100 | 0.11733
2019-07-22 00:45:00 | 2.7333 | 224.6333 | 3.1467 | 246.85 | 3.99 | 2.0267 | 3.8033 | 8.9833 | 23.116 | 880 | 100 | 0.48267
2019-07-22 01:00:00 | 2.4667 | 221.7267 | 2.8467 | 243.65 | 4.05 | 2.0867 | 3.75 | 11.67 | 23.12 | 880 | 100 | 0.54533
2019-07-22 01:15:00 | 2.328 | 122.842 | 2.686 | 134.99 | 3.904 | 10.058 | 3.852 | 16.252 | 23.128 | 880 | 100 | 0.14867
2019-07-22 01:30:00 | 2.3 | 318.8633 | 2.6533 | 350.4 | 4.1633 | 13.22 | 4.0967 | 14.4833 | 23.116 | 880 | 100 | 0.26
2019-07-22 01:45:00 | 2.222 | 186.454 | 2.552 | 204.892 | 3.792 | 7.876 | 3.644 | 17.114 | 23.0827 | 880 | 100 | 0
2019-07-22 02:00:00 | 2.0767 | 4.3967 | 2.39 | 4.8267 | 3.6367 | 10.2233 | 3.5367 | 11.4867 | 23.0747 | 880 | 100 | 0
2019-07-22 02:15:00 | 2.072 | 132.106 | 2.382 | 145.158 | 3.544 | 6.182 | 3.468 | 9.068 | 23.0867 | 880 | 100 | 0
2019-07-22 02:30:00 | 2 | 139.792 | 2.298 | 153.612 | 3.31 | 5.612 | 3.27 | 10.334 | 23.0753 | 880 | 100 | 0.054667
2019-07-22 02:45:00 | 2.2133 | 98.48 | 2.5467 | 108.2133 | 3.61 | 3.3367 | 3.38 | 9.4133 | 23.0633 | 879.2 | 100 | 0.41
2019-07-22 03:00:00 | 2.0267 | 301.12 | 2.3333 | 330.9 | 3.3567 | 17.3633 | 3.22 | 8.1133 | 23.07 | 879 | 100 | 0.88867
2019-07-22 03:15:00 | 2.36 | 123.3933 | 2.7233 | 135.6 | 4.0433 | 9.2233 | 3.82 | 4.04 | 23.0673 | 879 | 100 | 1.628
2019-07-22 03:30:00 | 2.56 | 305.12 | 2.9433 | 335.3 | 4.29 | 12.6233 | 3.7667 | 3.9933 | 23.0453 | 879 | 100 | 1.554
2019-07-22 03:45:00 | 2.908 | 141.642 | 3.348 | 155.648 | 4.302 | 351.16 | 3.864 | 17.3 | 23.02 | 879 | 100 | 3.4533
2019-07-22 04:00:00 | 2.92 | 323.02 | 3.3667 | 354.9667 | 4.61 | 355.8 | 4.37 | 12.15 | 22.9807 | 879 | 100 | 4.444
2019-07-22 04:15:00 | 2.656 | 221.3273 | 3.0613 | 243.2067 | 4.3687 | 145.4573 | 4.2387 | 8.28 | 22.9593 | 879 | 100 | 1.7447
2019-07-22 04:30:00 | 1.5133 | 178.13 | 1.7433 | 195.7467 | 2.7433 | 120.6133 | 2.83 | 9.7667 | 22.9307 | 879 | 100 | 0
2019-07-22 04:45:00 | 0.37 | 135.66 | 0.43667 | 149.0667 | 0.44 | 115.8 | 0.46333 | 129 | 22.9347 | 879 | 100 | 0
2019-07-22 05:00:00 | 0.546 | 107.422 | 0.636 | 110.232 | 0.97467 | 47.2047 | 1.0047 | 81.9927 | 22.9347 | 879 | 100 | 0.526
2019-07-22 05:15:00 | 1.82 | 103.91 | 2.0967 | 114.1867 | 3.4367 | 14.16 | 3.3633 | 27.99 | 22.9373 | 879 | 100 | 5.6927
2019-07-22 05:30:00 | 2.6467 | 296.3633 | 3.05 | 325.6667 | 4.99 | 18.8533 | 4.8967 | 14.79 | 22.906 | 879 | 100 | 7.2607
2019-07-22 05:45:00 | 3.6447 | 56.2893 | 4.194 | 61.8533 | 6.5973 | 14.2367 | 6.5067 | 15.1793 | 22.9047 | 879 | 100 | 10.9807
2019-07-22 06:00:00 | 5.128 | 170.17 | 5.906 | 186.9933 | 9.4987 | 24.7173 | 9.958 | 12.142 | 22.776 | 879 | 100 | 15.5507
2019-07-22 06:15:00 | 8.0333 | 288.5033 | 9.2467 | 317.0333 | 13.85 | 39.8333 | 15.5433 | 36.19 | 21.2467 | 879.8 | 100 | 17.9027
2019-07-22 06:30:00 | 8.0733 | 270.49 | 9.2867 | 297.2333 | 14.0167 | 22.26 | 15.71 | 35.6233 | 20.2333 | 880 | 100 | 18.232
2019-07-22 06:45:00 | 8.5 | 132.79 | 9.7833 | 145.9167 | 15.44 | 23.3667 | 15.8 | 31.3667 | 19.6467 | 880 | 100 | 18.2207
2019-07-22 07:00:00 | 7.0067 | 0.26333 | 8.0567 | 0.28333 | 12.84 | 21.38 | 13.1133 | 30.18 | 19.5133 | 880 | 100 | 18.29
2019-07-22 07:15:00 | 6.464 | 272.954 | 7.44 | 299.94 | 12.022 | 11.974 | 12.174 | 26.97 | 19.5173 | 880 | 100 | 18.3
2019-07-22 07:30:00 | 6.588 | 153.044 | 7.5807 | 168.1733 | 12.2887 | 11.7687 | 12.1753 | 23.8773 | 19.5033 | 880 | 100 | 18.322
2019-07-22 07:45:00 | 6.9033 | 179.3633 | 7.9467 | 197.1 | 12.8667 | 14.5333 | 12.7267 | 24.9233 | 19.446 | 880 | 100 | 18.294
2019-07-22 08:00:00 | 6.7327 | 211.4673 | 7.7487 | 232.3733 | 12.7267 | 15.1873 | 13.0733 | 22.6867 | 19.3547 | 880 | 100 | 22.552
2019-07-22 08:15:00 | 6.44 | 141.6033 | 7.41 | 155.6067 | 12.0767 | 11.5433 | 12.4433 | 27.29 | 19.2233 | 880.8 | 100 | 48.3433
2019-07-22 08:30:00 | 6.574 | 34.672 | 7.562 | 38.096 | 12.076 | 4.9653 | 12.0853 | 22.57 | 19.136 | 881 | 100 | 54.6667
2019-07-22 08:45:00 | 6.4267 | 131.59 | 7.3933 | 144.6 | 11.44 | 10.51 | 11.6167 | 17.3833 | 19.084 | 881 | 100 | 52.4753
2019-07-22 09:00:00 | 5.2347 | 84.9333 | 6.0287 | 93.3213 | 9.7753 | 12.6767 | 10.632 | 22.0047 | 19.098 | 881 | 100 | 41.8067
2019-07-22 09:15:00 | 5.0533 | 218.6433 | 5.82 | 240.2667 | 9.12 | 13.09 | 9.87 | 18.6167 | 19.1567 | 881 | 100 | 39.2213
2019-07-22 09:30:00 | 5.56 | 297.3233 | 6.4 | 326.7333 | 9.5533 | 4.23 | 9.9633 | 12.1633 | 19.0433 | 881 | 100 | 36.1093
2019-07-22 09:45:00 | 5.1267 | 264.46 | 5.9067 | 290.6 | 9.3133 | 17.62 | 9.8367 | 20.5033 | 19.1267 | 881 | 100 | 28.716
2019-07-22 10:00:00 | 4.29 | 196.6593 | 4.9407 | 216.1067 | 7.9373 | 14.3107 | 8.67 | 18.5553 | 19.25 | 881 | 100 | 35.0653
2019-07-22 10:15:00 | 4.5733 | 107.7433 | 5.2667 | 118.4 | 8.86 | 19.61 | 9.4267 | 19.14 | 19.36 | 881 | 100 | 36.8047
2019-07-22 10:30:00 | 4.7107 | 147.6287 | 5.4173 | 162.2267 | 8.708 | 18.5213 | 9.4953 | 20.3753 | 19.3887 | 881 | 100 | 44.7113
2019-07-22 10:45:00 | 5.376 | 207.996 | 6.1953 | 228.5667 | 9.798 | 10.346 | 10.5487 | 10.1173 | 19.4813 | 881 | 100 | 47.012
2019-07-22 11:00:00 | 5.8947 | 186.7973 | 6.776 | 205.2667 | 10.2967 | 8.4607 | 10.8967 | 20.6027 | 19.758 | 881 | 100 | 52.7753
2019-07-22 11:15:00 | 6.5 | 195.78 | 7.48 | 215.1333 | 11.7467 | 10.8933 | 12.6833 | 24.42 | 20.41 | 881 | 100 | 51.16
2019-07-22 11:30:00 | 6.2647 | 162.4733 | 7.2113 | 178.54 | 11.4733 | 22.6427 | 12.1187 | 19.6333 | 20.78 | 881 | 100 | 54.5893
2019-07-22 11:45:00 | 6.9467 | 104.87 | 7.9933 | 115.2333 | 12.7867 | 11.6133 | 13.0233 | 22.81 | 21.0733 | 881 | 100 | 55.7153
2019-07-22 12:00:00 | 7.6793 | 187.754 | 8.832 | 206.32 | 13.8467 | 10.8167 | 13.8653 | 22.5733 | 21.274 | 881 | 100 | 58.0293
2019-07-22 12:15:00 | 8.4333 | 314.62 | 9.7 | 345.7333 | 14.1967 | 22.4067 | 13.9167 | 16.6833 | 21 | 881 | 100 | 57.57
2019-07-22 12:30:00 | 8.2733 | 211.1933 | 9.52 | 232.0667 | 14.2967 | 11.4067 | 14.09 | 14.7233 | 20.8867 | 881 | 100 | 58.2013
2019-07-22 12:45:00 | 7.42 | 96.74 | 8.5333 | 106.3 | 13.3567 | 13.7767 | 12.9067 | 13.53 | 21.25 | 880.8667 | 99.8667 | 57.452
2019-07-22 13:00:00 | 7.5867 | 46.64 | 8.7267 | 51.2467 | 13.6967 | 13.0833 | 13.58 | 18.3767 | 21.53 | 880 | 99 | 56.292
2019-07-22 13:15:00 | 7.64 | 152.1267 | 8.7867 | 167.1667 | 14.0333 | 16.5833 | 13.8933 | 20.4367 | 22.18 | 880 | 97.9333 | 56.0013
2019-07-22 13:30:00 | 7.5733 | 63.28 | 8.7067 | 69.5267 | 13.8867 | 14.8033 | 13.8353 | 19.51 | 22.2867 | 880 | 96.4667 | 56.398
2019-07-22 13:45:00 | 7.6867 | 247.82 | 8.85 | 272.3333 | 14.1367 | 10.8367 | 13.99 | 20.13 | 22.7533 | 880.1333 | 94.6667 | 55.3933
2019-07-22 14:00:00 | 7.4933 | 182.7333 | 8.6167 | 200.8 | 13.6033 | 22.1567 | 13.89 | 25.8967 | 22.6133 | 881 | 93.1533 | 52.8953
2019-07-22 14:15:00 | 7.9267 | 168.3233 | 9.1267 | 184.9667 | 14.1667 | 10.6333 | 14.1533 | 21.8267 | 22.5853 | 880.3333 | 91.3 | 49.6067
2019-07-22 14:30:00 | 7.3733 | 226.5633 | 8.48 | 248.9667 | 13.1467 | 7.3 | 13.08 | 19.8333 | 22.75 | 881 | 90.3467 | 45.576
2019-07-22 14:45:00 | 6.48 | 171.4967 | 7.46 | 188.4433 | 11.4933 | 15.39 | 11.5767 | 23.9433 | 22.9933 | 881 | 89.5 | 38.8633
2019-07-22 15:00:00 | 6.12 | 115.7367 | 7.04 | 127.1767 | 10.5867 | 13.25 | 10.3207 | 24.4767 | 23.2867 | 881 | 86.8333 | 42.8713
2019-07-22 15:15:00 | 6.06 | 246.26 | 6.97 | 270.6 | 10.5787 | 13.72 | 10.1267 | 16.6767 | 23.276 | 881 | 86.2333 | 38.864
2019-07-22 15:30:00 | 5.5933 | 53.6067 | 6.43 | 58.9 | 9.9233 | 19.3533 | 9.8067 | 27.43 | 23.2233 | 881 | 86.3667 | 35.1267
2019-07-22 15:45:00 | 5.5167 | 171.2967 | 6.3433 | 188.2333 | 9.7367 | 15.0233 | 9.2933 | 21.7133 | 23.204 | 881 | 85.9 | 36.924
2019-07-22 16:00:00 | 5.6233 | 69.1433 | 6.4767 | 75.9733 | 10.0567 | 10.0033 | 9.8667 | 16.9 | 23.1367 | 880.5333 | 86.0333 | 41.4627
2019-07-22 16:15:00 | 5.36 | 115.8533 | 6.1667 | 127.31 | 9.01 | 12.7367 | 9.0867 | 8.52 | 23.172 | 880 | 84.4 | 36.8513
2019-07-22 16:30:00 | 4.8733 | 201.8267 | 5.6067 | 221.7767 | 8.3967 | 14.5833 | 8.46 | 12.1 | 23.2107 | 880 | 85.0667 | 35.9727
2019-07-22 16:45:00 | 4.8167 | 248.0367 | 5.5433 | 272.5667 | 8.6567 | 123.0333 | 8.4333 | 6.4433 | 23.1 | 880 | 86.0667 | 40.4313
2019-07-22 17:00:00 | 5.0767 | 96.83 | 5.85 | 106.4067 | 8.3567 | 117.4267 | 8.0467 | 4.55 | 23.0047 | 880 | 84.8 | 41.0233
2019-07-22 17:15:00 | 5.44 | 323.2367 | 6.2567 | 355.2 | 9.4633 | 18.13 | 9.2167 | 23.5933 | 22.9827 | 879.8667 | 85.6 | 46.1127
2019-07-22 17:30:00 | 5.4533 | 226.8967 | 6.27 | 249.3333 | 9.8233 | 7.3367 | 9.5767 | 25.1667 | 22.86 | 879 | 86.7333 | 49.3727
2019-07-22 17:45:00 | 5.7367 | 301.9767 | 6.6 | 331.8333 | 10.1633 | 8.9533 | 9.93 | 21.98 | 22.7487 | 879 | 86.7667 | 49.0687
2019-07-22 18:00:00 | 5.8567 | 242.5233 | 6.7333 | 266.5 | 10.7967 | 15.4467 | 10.7033 | 23.4067 | 22.6533 | 879 | 88.3 | 43.5073
2019-07-22 18:15:00 | 5.53 | 129.9567 | 6.36 | 143.24 | 10.004 | 11.184 | 9.77 | 19.416 | 22.56 | 879 | 88.36 | 35.0253
2019-07-22 18:30:00 | 4.97 | 177.6967 | 5.7267 | 195.2667 | 9.41 | 16.99 | 9.3167 | 10.8067 | 22.5553 | 879 | 88.6667 | 22.5487
2019-07-22 18:45:00 | 4.128 | 141.226 | 4.748 | 155.192 | 7.722 | 4.608 | 7.714 | 9.33 | 22.758 | 879.1333 | 87.6 | 18.4747
2019-07-22 19:00:00 | 3.2067 | 309.89 | 3.69 | 340.5333 | 5.85 | 234.5833 | 5.6867 | 2.77 | 22.92 | 880 | 86.1467 | 20.9433
2019-07-22 19:15:00 | 3.5533 | 226.1233 | 4.09 | 248.4867 | 6.7767 | 124.3267 | 6.78 | 14.89 | 22.7133 | 880 | 87.9667 | 22.6027
2019-07-22 19:30:00 | 3.9133 | 223.95 | 4.5033 | 246.0867 | 7.4033 | 125.96 | 7.2867 | 6.9167 | 22.3667 | 880 | 88.4533 | 24.9287
2019-07-22 19:45:00 | 3.9773 | 246.8693 | 4.5747 | 271.28 | 7.2153 | 7.478 | 7.056 | 8.41 | 22.196 | 880 | 87.6533 | 30.1807
2019-07-22 20:00:00 | 4.6267 | 90.24 | 5.3233 | 99.16 | 8.36 | 11.2167 | 7.95 | 27.1167 | 22.0767 | 880 | 88.3333 | 27.8333
2019-07-22 20:15:00 | 4.2267 | 252.1667 | 4.86 | 277.1 | 7.7 | 13.2167 | 7.8367 | 20.5033 | 21.9133 | 880 | 89.4333 | 23.8287
2019-07-22 20:30:00 | 3.78 | 142.9067 | 4.3467 | 157.0333 | 7.1133 | 15.0367 | 7.5767 | 28.97 | 21.7267 | 880 | 90.7667 | 25.13
2019-07-22 20:45:00 | 4.0533 | 171.4133 | 4.6633 | 188.3667 | 7.5567 | 13.3833 | 8.0467 | 23.54 | 21.6087 | 880 | 91.5667 | 27.5733
2019-07-22 21:00:00 | 3.8067 | 173.54 | 4.3833 | 190.7 | 7.2567 | 16.0033 | 7.6933 | 20.3333 | 21.6 | 880 | 92.1667 | 26.3833
2019-07-22 21:15:00 | 3.72 | 189.938 | 4.282 | 208.716 | 7.038 | 14.596 | 7.446 | 18.458 | 21.378 | 880 | 93.46 | 34.5413
2019-07-22 21:30:00 | 4.2267 | 167.32 | 4.8767 | 183.8633 | 7.87 | 12.4233 | 8.35 | 18.9233 | 21.2907 | 880 | 94.4667 | 40.2433
2019-07-22 21:45:00 | 4.2027 | 67.4007 | 4.832 | 74.0607 | 8.122 | 12.1573 | 8.2387 | 19.6767 | 21.2773 | 880 | 95.3667 | 42.1307
2019-07-22 22:00:00 | 4.4067 | 232.0833 | 5.0667 | 255.0333 | 8.6667 | 15.9967 | 9 | 21.4767 | 21.15 | 880 | 96.4 | 47.1727
2019-07-22 22:15:00 | 4.976 | 136.664 | 5.724 | 150.18 | 9.338 | 14.746 | 9.708 | 20.47 | 21.014 | 880 | 97.1867 | 48.6127
2019-07-22 22:30:00 | 5.6133 | 134.8967 | 6.4533 | 148.2333 | 10.1767 | 14.14 | 10.96 | 21.11 | 21.0353 | 880 | 97.2333 | 44.8073
2019-07-22 22:45:00 | 6.022 | 87.174 | 6.932 | 95.792 | 10.344 | 3.374 | 10.876 | 28.074 | 21.392 | 880 | 95.38 | 49.696
2019-07-22 23:00:00 | 6.46 | 175.2333 | 7.44 | 192.56 | 11.2233 | 14.6533 | 11.4067 | 12.16 | 21.47 | 880 | 94.9 | 51.8613
2019-07-22 23:15:00 | 6.592 | 117.412 | 7.588 | 129.022 | 11.506 | 11.19 | 11.556 | 42.076 | 21.4847 | 880 | 94.9 | 50.5047
2019-07-22 23:30:00 | 6.46 | 282.6767 | 7.43 | 310.6333 | 11.0633 | 12.2167 | 11.3367 | 42.06 | 21.4067 | 880 | 95.2667 | 50.368
2019-07-22 23:45:00 | 6.988 | 221.792 | 8.044 | 243.72 | 11.812 | 11.75 | 12.34 | 16.134 | 21.3967 | 880 | 95.32 | 47.2147