## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-23 00:00:00 | 5.5836 | 109.2564 | 6.4321 | 120.0643 | 9.535 | 11.7329 | 10.0814 | 15.375 | 21.2993 | 880 | 95.75 | 35.8036
2019-07-23 00:15:00 | 3.62 | 268.006 | 4.174 | 294.5 | 6.012 | 32.78 | 6.086 | 27.098 | 20.962 | 880 | 97.38 | 33.2173
2019-07-23 00:30:00 | 3.7067 | 298.4933 | 4.27 | 328 | 6.36 | 16.4467 | 6.93 | 36.0733 | 20.85 | 880 | 97.9333 | 38.1513
2019-07-23 00:45:00 | 4.26 | 96.75 | 4.9 | 106.32 | 5.9967 | 22.83 | 6.31 | 16.3633 | 20.8673 | 880 | 97.9333 | 38.3973
2019-07-23 01:00:00 | 4.4933 | 298.7567 | 5.1667 | 328.3 | 6.2767 | 222.61 | 6.2833 | 21.09 | 21.01 | 880 | 97.1333 | 39.08
2019-07-23 01:15:00 | 4.9 | 18.0667 | 5.6433 | 19.8433 | 8.1433 | 26.1533 | 8.8067 | 10.9933 | 20.9633 | 880 | 97.4333 | 41.126
2019-07-23 01:30:00 | 5.0867 | 184.4467 | 5.85 | 183.1267 | 8.7653 | 5.5173 | 9.2393 | 13.5693 | 20.9207 | 880 | 97.8467 | 42.418
2019-07-23 01:45:00 | 5.34 | 6.9667 | 6.1433 | 7.6567 | 9.17 | 7.84 | 9.6933 | 10.5967 | 20.8887 | 880 | 98.1 | 41.8133
2019-07-23 02:00:00 | 4.9933 | 152.6087 | 5.7573 | 151.2173 | 8.8293 | 4.9607 | 9.322 | 15.9987 | 20.8867 | 880 | 98.2067 | 43.3787
2019-07-23 02:15:00 | 5.0267 | 166.4133 | 5.78 | 182.8667 | 8.4833 | 119.1467 | 8.9 | 17.1133 | 20.816 | 880 | 98.5133 | 44.056
2019-07-23 02:30:00 | 5.1733 | 298.6733 | 5.9533 | 307.734 | 8.4047 | 353 | 8.37 | 216.7 | 20.7947 | 880 | 98.4533 | 43.1127
2019-07-23 02:45:00 | 5.158 | 23.1067 | 5.9367 | 25.39 | 8.5667 | 352.4333 | 8.2167 | 20.89 | 20.7913 | 880 | 98.2 | 41.2473
2019-07-23 03:00:00 | 4.9267 | 224.3267 | 5.67 | 246.7033 | 8.4833 | 343.2333 | 8.1833 | 27.1227 | 20.6867 | 880 | 98.3667 | 41.4713
2019-07-23 03:15:00 | 5.1533 | 318.2367 | 5.9267 | 349.7 | 8.79 | 344.5 | 8.62 | 233.47 | 20.5433 | 880 | 99 | 40.9227
2019-07-23 03:30:00 | 5.0333 | 284.7433 | 5.7867 | 312.9 | 8.51 | 343.0333 | 8.2333 | 3.2833 | 20.496 | 880 | 99.3333 | 44.278
2019-07-23 03:45:00 | 5.7267 | 214.6467 | 6.5867 | 235.8767 | 8.9933 | 238.34 | 8.8867 | 240.4833 | 20.51 | 879.8667 | 99.38 | 46.0987
2019-07-23 04:00:00 | 5.996 | 19.62 | 6.908 | 21.556 | 8.862 | 209.728 | 8.732 | 16.104 | 20.618 | 879.4667 | 98.96 | 44.7633
2019-07-23 04:15:00 | 5.5133 | 110.25 | 6.3433 | 121.1533 | 8.6 | 3.74 | 8.73 | 10.84 | 20.6153 | 879.2 | 98.9 | 47.4187
2019-07-23 04:30:00 | 5.64 | 275.6167 | 6.4993 | 296.3733 | 9.26 | 10.2387 | 9.5927 | 12.5413 | 20.494 | 879 | 99.3867 | 48.022
2019-07-23 04:45:00 | 5.45 | 162.81 | 6.2667 | 178.9 | 9.74 | 27.5067 | 9.8533 | 15.5067 | 20.35 | 879 | 99.8667 | 49.8747
2019-07-23 05:00:00 | 5.5833 | 59.11 | 6.42 | 64.9533 | 9.82 | 12.9067 | 9.8667 | 14.08 | 20.23 | 879 | 100 | 50.8647
2019-07-23 05:15:00 | 5.65 | 30.0833 | 6.4967 | 33.0533 | 9.3067 | 7.63 | 9.1633 | 1.62 | 20.136 | 879 | 100 | 49.082
2019-07-23 05:30:00 | 5.0233 | 33.9033 | 5.7833 | 37.2467 | 8.1067 | 237.9833 | 7.9233 | 20.8333 | 20.096 | 879 | 100 | 46.2267
2019-07-23 05:45:00 | 5.1533 | 109.03 | 5.9267 | 119.8133 | 7.74 | 225.9667 | 7.8767 | 4.67 | 20.0427 | 879 | 100 | 43.772
2019-07-23 06:00:00 | 4.962 | 147.5087 | 5.706 | 162.086 | 7.7287 | 19.4787 | 7.9033 | 213.5453 | 19.9833 | 879 | 100 | 43.9527
2019-07-23 06:15:00 | 5.2767 | 294.93 | 6.0667 | 324.1 | 8.3233 | 18.5367 | 8.5533 | 16.7433 | 19.91 | 879 | 100 | 47.4547
2019-07-23 06:30:00 | 5.6633 | 130.3233 | 6.52 | 143.2133 | 8.8833 | 0.71667 | 8.9133 | 14.6833 | 19.8433 | 879 | 100 | 48.7547
2019-07-23 06:45:00 | 5.6867 | 9.72 | 6.5427 | 10.6767 | 9.21 | 20.32 | 8.9367 | 130.3733 | 19.8233 | 879 | 100 | 48.8747
2019-07-23 07:00:00 | 5.3267 | 217.8933 | 6.1267 | 239.4433 | 8.3567 | 23.1867 | 8.0633 | 132.8 | 19.83 | 879 | 100 | 45.6973
2019-07-23 07:15:00 | 4.3467 | 7.9767 | 4.9967 | 8.7633 | 6.4233 | 14.5933 | 6.6933 | 8.77 | 19.8313 | 879.8 | 100 | 42.092
2019-07-23 07:30:00 | 4.7067 | 214.11 | 5.41 | 235.2833 | 6.51 | 29.4533 | 6.5 | 13.21 | 19.88 | 880 | 100 | 45
2019-07-23 07:45:00 | 5.4467 | 235.94 | 6.27 | 259.2667 | 8.6833 | 13.2333 | 8.4967 | 14.9267 | 20.12 | 880 | 100 | 45.8193
2019-07-23 08:00:00 | 5.0533 | 207.9667 | 5.8167 | 228.5333 | 8.6367 | 16.1333 | 8.4233 | 17.1333 | 20.3267 | 880 | 100 | 40.7947
2019-07-23 08:15:00 | 4.4767 | 287.8333 | 5.15 | 316.3 | 7.8067 | 14.3133 | 7.67 | 19.15 | 21.0267 | 880 | 99.5 | 39.97
2019-07-23 08:30:00 | 4.8567 | 180.8733 | 5.59 | 198.7667 | 8.02 | 16.24 | 7.75 | 5.51 | 22.28 | 880.4667 | 95.5667 | 37.1967
2019-07-23 08:45:00 | 4.7333 | 10.5433 | 5.4467 | 11.58 | 7.3467 | 5.23 | 7.3133 | 3.08 | 22.6867 | 881 | 91.9333 | 32.1747
2019-07-23 09:00:00 | 4.3 | 27.6833 | 4.9533 | 30.42 | 7.0867 | 11.1433 | 6.92 | 4.7133 | 22.9533 | 881 | 91.8 | 22.8147
2019-07-23 09:15:00 | 4.3533 | 203.32 | 5.0167 | 223.43 | 6.86 | 124.0067 | 6.64 | 0.24 | 23.4467 | 881 | 89.6333 | 19.2227
2019-07-23 09:30:00 | 4.1533 | 3.7267 | 4.7833 | 4.0967 | 6.94 | 21.7467 | 6.7867 | 7.92 | 24.08 | 881.4667 | 88.1 | 22.03
2019-07-23 09:45:00 | 4.3667 | 212.23 | 5.0233 | 233.2133 | 7.3933 | 13.0233 | 6.8333 | 6.9533 | 24.9867 | 882 | 84.8667 | 21.9013
2019-07-23 10:00:00 | 4.5667 | 108.67 | 5.25 | 119.4133 | 7.3533 | 13.4433 | 6.6133 | 4.9133 | 25.0533 | 882 | 84.0667 | 12.3947
2019-07-23 10:15:00 | 3.56 | 227.9867 | 4.0967 | 250.5333 | 6.3067 | 134.8733 | 5.5867 | 55.6367 | 25.85 | 882 | 82.7333 | 6.1647
2019-07-23 10:30:00 | 3.2733 | 233.3867 | 3.77 | 256.4667 | 5.68 | 122.8533 | 5.12 | 7.4167 | 26.6167 | 882 | 79.6133 | 8.9787
2019-07-23 10:45:00 | 3.54 | 297.8533 | 4.07 | 327.3 | 5.8833 | 237.9233 | 5.3733 | 6.0933 | 26.9467 | 882 | 77.6833 | 6.738
2019-07-23 11:00:00 | 3.2133 | 294.2133 | 3.6967 | 323.3 | 5.2433 | 18.9167 | 4.64 | 19.0267 | 26.8933 | 882 | 78.1633 | 4.976
2019-07-23 11:15:00 | 3.0267 | 203.88 | 3.4867 | 224.0433 | 4.8033 | 17.39 | 4.58 | 17.25 | 26.9713 | 882 | 78.0367 | 2.974
2019-07-23 11:30:00 | 2.7413 | 232.6187 | 3.1613 | 255.628 | 4.6313 | 9.5093 | 4.6513 | 31.3953 | 27.4673 | 882 | 77.7673 | 0.596
2019-07-23 11:45:00 | 2.4167 | 108.0533 | 2.78 | 118.7333 | 3.8867 | 16.89 | 3.7633 | 20.2267 | 28.4553 | 882.8 | 72.9567 | 0
2019-07-23 12:00:00 | 2.302 | 314.172 | 2.65 | 345.24 | 3.27 | 214.324 | 2.934 | 53.296 | 28.232 | 883 | 71.246 | 0
2019-07-23 12:15:00 | 1.3 | 118.8767 | 1.5 | 130.6267 | 1.6867 | 51.78 | 1.3067 | 50.2333 | 27.93 | 883 | 70.9433 | 0
2019-07-23 12:30:00 | 1.8533 | 191.1633 | 2.1333 | 210.0667 | 2.2133 | 150.3333 | 2 | 164.9333 | 28.3233 | 883 | 70.85 | 0
2019-07-23 12:45:00 | 2.8733 | 160.3293 | 3.3047 | 176.1733 | 3.344 | 187.3133 | 2.9947 | 168.7467 | 28.3747 | 883 | 71.948 | 0
2019-07-23 13:00:00 | 2.768 | 149.654 | 3.1887 | 164.4467 | 3.232 | 173.4067 | 2.8347 | 170.3667 | 28.4407 | 882.5333 | 72.4047 | 0
2019-07-23 13:15:00 | 2.4167 | 144.97 | 2.78 | 159.3 | 2.9467 | 168.2333 | 2.8 | 212.3667 | 28.7233 | 882 | 71.0533 | 0
2019-07-23 13:30:00 | 2.204 | 142.88 | 2.536 | 157.0133 | 2.7547 | 168.74 | 2.498 | 187.68 | 29.1427 | 882.4667 | 69.7893 | 0
2019-07-23 13:45:00 | 2.4733 | 125.9467 | 2.8433 | 138.4 | 2.87 | 185.6333 | 2.8433 | 177.1667 | 29.3367 | 883 | 66.87 | 0
2019-07-23 14:00:00 | 2.7267 | 139.1733 | 3.1367 | 152.9333 | 3.1567 | 165.5667 | 3.0367 | 187.0333 | 29.48 | 883 | 65.2167 | 0
2019-07-23 14:15:00 | 2.8333 | 126.1833 | 3.2567 | 138.6667 | 3.2967 | 175.4667 | 3.2467 | 196.1 | 29.5967 | 882.2 | 64.5167 | 0
2019-07-23 14:30:00 | 2.84 | 151.0633 | 3.2633 | 166 | 3.3633 | 171.6 | 3.2867 | 164.7667 | 29.8867 | 882 | 62.7833 | 0
2019-07-23 14:45:00 | 2.9367 | 144.5167 | 3.3767 | 158.8 | 3.34 | 177.4333 | 3.1 | 196.5 | 30.0767 | 882 | 61.7267 | 0
2019-07-23 15:00:00 | 2.5767 | 152.2167 | 2.97 | 167.2667 | 3.0533 | 172.2333 | 2.7867 | 181.4333 | 30.23 | 882 | 60.0133 | 0
2019-07-23 15:15:00 | 2.52 | 159.8533 | 2.9 | 175.6667 | 2.9933 | 165.0333 | 2.8667 | 173.5 | 30.6967 | 882 | 60.3733 | 0
2019-07-23 15:30:00 | 2.0667 | 143.4733 | 2.38 | 157.6667 | 2.54 | 167.3 | 2.4867 | 178.7667 | 30.87 | 882 | 59.5733 | 0
2019-07-23 15:45:00 | 1.7567 | 167.1507 | 2.0307 | 183.6667 | 2.258 | 168.66 | 2.2907 | 184.9267 | 31.3027 | 882 | 59.1373 | 0
2019-07-23 16:00:00 | 2.36 | 165.57 | 2.72 | 181.9333 | 2.8867 | 171.5 | 2.67 | 185.5667 | 31.18 | 882 | 58.17 | 0
2019-07-23 16:15:00 | 1.94 | 137.4767 | 2.2333 | 147.42 | 2.596 | 179.2 | 2.34 | 194.02 | 31.42 | 882 | 59.378 | 0
2019-07-23 16:30:00 | 1.7333 | 140.87 | 2 | 154.8 | 2.3667 | 183.8667 | 2.2367 | 206.6 | 31.748 | 882 | 58.2033 | 0
2019-07-23 16:45:00 | 2.27 | 153.6733 | 2.61 | 168.8667 | 2.9267 | 182.5 | 2.83 | 164.9333 | 31.702 | 882 | 57.8733 | 0
2019-07-23 17:00:00 | 1.9767 | 142.32 | 2.2767 | 156.4 | 2.54 | 157.5 | 2.5233 | 200.8 | 31.5433 | 882 | 59.06 | 0
2019-07-23 17:15:00 | 2.38 | 193.8367 | 2.74 | 213 | 3.28 | 220.6 | 3.1367 | 220.0333 | 31.53 | 882 | 60.0633 | 0.038667
2019-07-23 17:30:00 | 2.2067 | 142.0833 | 2.54 | 156.1333 | 3.1533 | 217.6 | 3.39 | 238.2333 | 31.5133 | 882 | 60.75 | 0
2019-07-23 17:45:00 | 2.2967 | 168.7167 | 2.64 | 185.4 | 3.0933 | 224.3 | 3.1 | 209.7 | 31.1933 | 882 | 62.0367 | 0
2019-07-23 18:00:00 | 2.4033 | 173.2167 | 2.7733 | 190.3333 | 3.02 | 198.0333 | 2.9467 | 201.3 | 30.58 | 882 | 65.13 | 0
2019-07-23 18:15:00 | 2.0267 | 146.93 | 2.33 | 161.4667 | 2.49 | 168.0333 | 2.4833 | 190.0667 | 30.0867 | 882 | 67.9367 | 0.144
2019-07-23 18:30:00 | 1.9933 | 167.2567 | 2.3033 | 183.8 | 2.6833 | 173.2333 | 2.8167 | 177.4 | 29.914 | 882 | 70.5433 | 0.68333
2019-07-23 18:45:00 | 2.1067 | 171.69 | 2.42 | 188.6667 | 2.6367 | 177.8333 | 3.18 | 178.9333 | 29.72 | 882 | 70.6733 | 1.114
2019-07-23 19:00:00 | 2.2267 | 159.3233 | 2.5667 | 175.0667 | 2.8433 | 191.8333 | 3.1133 | 180.4 | 29.2 | 882 | 72.1533 | 2.4853
2019-07-23 19:15:00 | 2.484 | 162.2487 | 2.8607 | 178.28 | 3.21 | 210 | 3.4773 | 199.9467 | 28.358 | 881.8667 | 74.9587 | 2.882
2019-07-23 19:30:00 | 2.6 | 168.6033 | 2.99 | 185.2667 | 3.4167 | 230.3333 | 3.32 | 212.8 | 27.9367 | 881 | 76.65 | 4.264
2019-07-23 19:45:00 | 2.406 | 169.984 | 2.774 | 186.8 | 3.384 | 214.04 | 3.604 | 223.26 | 27.596 | 881 | 78.394 | 4.918
2019-07-23 20:00:00 | 2.6733 | 183.52 | 3.08 | 201.6667 | 3.63 | 215.8667 | 3.6833 | 209.1 | 27.28 | 881 | 79.8667 | 5.99
2019-07-23 20:15:00 | 2.908 | 163.5207 | 3.3553 | 179.6933 | 3.8113 | 197.6533 | 3.662 | 194.4267 | 26.89 | 881 | 81.8467 | 7.2573
2019-07-23 20:30:00 | 2.84 | 150.12 | 3.27 | 164.9667 | 3.7567 | 184.7667 | 3.7367 | 203.7 | 26.62 | 881 | 83.2 | 7.7287
2019-07-23 20:45:00 | 3.0333 | 150.4833 | 3.49 | 165.3667 | 3.86 | 182.2333 | 3.9967 | 189.9 | 26.4727 | 881 | 83.8467 | 7.048
2019-07-23 21:00:00 | 2.94 | 170.15 | 3.3967 | 186.9667 | 3.84 | 197.5 | 3.8967 | 205.4333 | 26.16 | 881 | 84.8 | 8.9513
2019-07-23 21:15:00 | 3.4267 | 151.0333 | 3.9367 | 165.9667 | 4.7167 | 214.4 | 4.6733 | 215.0333 | 25.7667 | 881 | 86.0667 | 11.9473
2019-07-23 21:30:00 | 3.4 | 142.42 | 3.91 | 156.5 | 4.6633 | 217.9333 | 5.0333 | 217.3667 | 25.3733 | 881.4667 | 88.3333 | 9.8473
2019-07-23 21:45:00 | 3.5833 | 164.6567 | 4.1233 | 180.9333 | 4.7867 | 207.6 | 5.23 | 219.3 | 25.0833 | 882 | 90.2333 | 12.3827
2019-07-23 22:00:00 | 3.5033 | 169.5633 | 4.03 | 186.3333 | 4.6933 | 204.8 | 5.05 | 219.5667 | 24.9167 | 882 | 91.3667 | 13.3893
2019-07-23 22:15:00 | 3.4967 | 159.1967 | 4.03 | 174.9333 | 4.8367 | 220.2 | 5.44 | 225.1 | 24.59 | 882 | 93.1333 | 13.91
2019-07-23 22:30:00 | 3.55 | 171.21 | 4.0833 | 188.1333 | 4.95 | 218.6667 | 5.6267 | 230.5667 | 24.35 | 882 | 94.3333 | 11.944
2019-07-23 22:45:00 | 3.576 | 171.72 | 4.12 | 188.7 | 5.004 | 238.02 | 5.304 | 230.58 | 24.2947 | 882 | 94.58 | 13.358
2019-07-23 23:00:00 | 3.3867 | 157.2467 | 3.9 | 172.8 | 4.6933 | 225.9667 | 5.0333 | 231.8667 | 24.2847 | 882 | 94.6533 | 8.8247
2019-07-23 23:15:00 | 3.028 | 177.1833 | 3.4833 | 194.7067 | 4.1653 | 227.5667 | 4.4307 | 235.0933 | 24.1587 | 882 | 95.08 | 6.694
2019-07-23 23:30:00 | 3.2733 | 176.1433 | 3.7633 | 193.5667 | 4.6467 | 221.5133 | 4.8767 | 225.4333 | 24.0467 | 882 | 95.5 | 7.0493
2019-07-23 23:45:00 | 3.28 | 182.83 | 3.7733 | 200.9 | 4.6367 | 217.4333 | 5.19 | 221.6 | 24.032 | 882 | 95.1333 | 3.8347