## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-24 00:00:00 | 2.585 | 175.2179 | 2.9793 | 192.5429 | 3.8043 | 226.5 | 4.1793 | 225.6 | 24.0557 | 882 | 95 | 3.4921
2019-07-24 00:15:00 | 2.4667 | 179.37 | 2.8433 | 197.1 | 3.7133 | 222.8 | 4.23 | 223.96 | 24.0473 | 882 | 95.2667 | 2.5293
2019-07-24 00:30:00 | 2.84 | 168.5033 | 3.27 | 185.1667 | 4.3667 | 229.3333 | 4.65 | 229.9667 | 23.9767 | 882 | 95.3333 | 0.184
2019-07-24 00:45:00 | 0.93333 | 159.95 | 1.0833 | 175.7667 | 1.4733 | 210.0333 | 2.1233 | 217.1667 | 23.8667 | 882 | 95.68 | 0
2019-07-24 01:00:00 | 1.4867 | 168.1367 | 1.71 | 184.7667 | 2.24 | 205.5667 | 2.5033 | 210.3667 | 23.7533 | 882 | 96.4333 | 0
2019-07-24 01:15:00 | 1.54 | 169.3567 | 1.7733 | 186.1 | 2.2033 | 199.4 | 2.3533 | 211.1467 | 23.6067 | 882 | 97.2333 | 0
2019-07-24 01:30:00 | 0.94667 | 169.0367 | 1.0867 | 185.7467 | 1.35 | 187.2 | 1.2067 | 199.2 | 23.5507 | 882 | 97.7667 | 0
2019-07-24 01:45:00 | 0.52 | 5.17 | 0.6 | 5.6767 | 0.71 | 20.6833 | 0.31667 | 132.94 | 23.5293 | 882 | 98.3867 | 0
2019-07-24 02:00:00 | 0.84 | 218.15 | 0.97333 | 239.7233 | 1.3167 | 10.79 | 1.0033 | 11.9933 | 23.51 | 882 | 98.1 | 0
2019-07-24 02:15:00 | 1.9467 | 107.4133 | 2.2467 | 118.0333 | 2.7233 | 4.89 | 2.77 | 15.71 | 23.3167 | 882 | 98.28 | 0
2019-07-24 02:30:00 | 2.1133 | 300.6067 | 2.4333 | 330.3333 | 3.5567 | 6.53 | 3.87 | 9.6833 | 23.0833 | 881.5333 | 98.9667 | 2.7333
2019-07-24 02:45:00 | 2.1733 | 201.61 | 2.5 | 221.55 | 4.2933 | 233.0167 | 4.3733 | 251.7233 | 22.8833 | 881 | 99.1933 | 5.546
2019-07-24 03:00:00 | 2.6467 | 199.9833 | 3.04 | 219.75 | 5.2067 | 11.35 | 5.2 | 23.3367 | 22.6967 | 881 | 99.3 | 7.2647
2019-07-24 03:15:00 | 3.18 | 101.6433 | 3.6567 | 111.6867 | 5.8633 | 7.8233 | 6.09 | 15.01 | 22.3567 | 881 | 99.2467 | 11.6573
2019-07-24 03:30:00 | 3.76 | 104.4633 | 4.33 | 114.7867 | 6.4767 | 10.5767 | 6.57 | 14.05 | 22.0567 | 881 | 97.8 | 13.4887
2019-07-24 03:45:00 | 3.6147 | 98.7647 | 4.1647 | 108.5253 | 6.6827 | 15.3093 | 6.9293 | 29.8073 | 21.8887 | 881 | 96.96 | 15.446
2019-07-24 04:00:00 | 3.7 | 220.32 | 4.2567 | 242.1 | 7.28 | 18.9367 | 7.61 | 31.17 | 21.6767 | 881 | 97.6 | 19.6267
2019-07-24 04:15:00 | 4.0033 | 114.3833 | 4.62 | 125.7 | 7.1833 | 14.9467 | 7.2467 | 20.2733 | 21.54 | 881 | 98.4867 | 23.3773
2019-07-24 04:30:00 | 4.1033 | 128.1967 | 4.7333 | 140.88 | 7.1233 | 7.56 | 7.16 | 16.5467 | 21.5987 | 880.5333 | 98.1333 | 30.022
2019-07-24 04:45:00 | 4.4313 | 23.818 | 5.094 | 26.1633 | 7.6833 | 6.4533 | 7.5793 | 12.4433 | 21.546 | 880 | 98 | 32.392
2019-07-24 05:00:00 | 4.49 | 194.8533 | 5.16 | 214.1267 | 7.91 | 5.3233 | 7.79 | 7.91 | 21.46 | 880 | 98.2667 | 35.8213
2019-07-24 05:15:00 | 4.76 | 22.4067 | 5.48 | 24.6233 | 7.7133 | 232.0133 | 7.7267 | 16.95 | 21.3487 | 880 | 98.7 | 40.9653
2019-07-24 05:30:00 | 5.0333 | 230.2 | 5.7933 | 252.9633 | 8.5067 | 12.5133 | 8.6867 | 20.01 | 21.3307 | 880 | 98.7467 | 42.7547
2019-07-24 05:45:00 | 5.39 | 105.88 | 6.2033 | 116.3467 | 9.07 | 0.71 | 9.4833 | 14.1533 | 21.2907 | 880 | 98.88 | 42.6087
2019-07-24 06:00:00 | 5.5433 | 303.6667 | 6.3833 | 333.7 | 8.2567 | 5.49 | 8.2967 | 19.0467 | 21.2547 | 880 | 98.9467 | 42.8333
2019-07-24 06:15:00 | 5.3067 | 102.9533 | 6.11 | 113.1333 | 9.0967 | 347.5667 | 8.7667 | 13.8967 | 21.2753 | 880.1333 | 98.5867 | 33.9907
2019-07-24 06:30:00 | 4.4667 | 136.7867 | 5.1367 | 150.3133 | 7.61 | 349.0333 | 7.4 | 1.4367 | 21.25 | 881 | 98.5 | 30.4267
2019-07-24 06:45:00 | 3.3633 | 15.0633 | 3.8667 | 16.5433 | 5.71 | 1.98 | 6.0467 | 22.5733 | 21.246 | 881 | 98.6467 | 28.2593
2019-07-24 07:00:00 | 3.3033 | 30.95 | 3.8067 | 34.0033 | 6.1033 | 10.8533 | 6.32 | 19.06 | 21.3967 | 881 | 98.6667 | 23.5813
2019-07-24 07:15:00 | 3.5893 | 283.3253 | 4.14 | 311.336 | 6.3267 | 5.6413 | 6.4593 | 12.5113 | 21.624 | 881.1333 | 97.74 | 17.8413
2019-07-24 07:30:00 | 3.9667 | 321.75 | 4.5667 | 353.5667 | 6.64 | 4.3067 | 6.6667 | 3.2 | 21.79 | 882 | 97.0533 | 15.6793
2019-07-24 07:45:00 | 3.94 | 308.7967 | 4.5367 | 339.3333 | 6.6067 | 13.8667 | 6.5 | 7.2267 | 22.5133 | 882 | 94.8667 | 14.3247
2019-07-24 08:00:00 | 3.6467 | 304.6167 | 4.2033 | 334.7333 | 6.3333 | 10.1733 | 6.4153 | 10.2067 | 23.2133 | 882 | 92.5333 | 13.496
2019-07-24 08:15:00 | 3.66 | 307.3067 | 4.21 | 337.7 | 6.4 | 7.5167 | 6.4633 | 22.17 | 24.0467 | 882 | 89.3333 | 12.9367
2019-07-24 08:30:00 | 3.6667 | 123.5533 | 4.2167 | 135.7667 | 6.54 | 9.5767 | 6.5167 | 15.9633 | 24.66 | 882.4667 | 87.1333 | 10.4567
2019-07-24 08:45:00 | 3.4933 | 217.2733 | 4.0167 | 238.76 | 6.156 | 13.07 | 5.8967 | 7.9867 | 24.51 | 883 | 86.9 | 9.0873
2019-07-24 09:00:00 | 3.6533 | 213.9333 | 4.21 | 235.0933 | 5.9733 | 3.87 | 5.8433 | 11.6467 | 24.4393 | 883 | 87.7 | 8.1347
2019-07-24 09:15:00 | 3.1867 | 312.04 | 3.6633 | 342.9 | 5.57 | 11.25 | 5.2233 | 3.73 | 25.5067 | 883.1333 | 84.9667 | 7.6447
2019-07-24 09:30:00 | 3.0533 | 102.12 | 3.51 | 112.22 | 5.0547 | 13.89 | 4.9433 | 8.7633 | 25.64 | 884 | 83.5667 | 10.508
2019-07-24 09:45:00 | 3.56 | 54.6833 | 4.1 | 60.08 | 6.5433 | 8.61 | 6.32 | 10.46 | 26.7933 | 884 | 81.3333 | 14.368
2019-07-24 10:00:00 | 4.1267 | 106.3833 | 4.7467 | 116.9 | 7.4633 | 16.5433 | 7.34 | 14.8867 | 27.5333 | 884 | 77.66 | 20.3673
2019-07-24 10:15:00 | 4.0467 | 87.06 | 4.6567 | 95.6667 | 7.4533 | 15.9933 | 7.6367 | 23.9667 | 28.1067 | 884 | 75.37 | 20.5073
2019-07-24 10:30:00 | 3.98 | 210.3 | 4.5833 | 231.1 | 7.4267 | 11.46 | 7.55 | 23.3667 | 28.7667 | 884 | 75.1833 | 18.2247
2019-07-24 10:45:00 | 4.2667 | 161.66 | 4.9167 | 177.6467 | 7.91 | 13.99 | 8.47 | 28.1267 | 28.8467 | 884.1333 | 71.5433 | 18.018
2019-07-24 11:00:00 | 4.2867 | 95.78 | 4.9367 | 105.2467 | 8.0833 | 18.2967 | 8.3967 | 28.2867 | 28.4 | 884.5333 | 72.79 | 17.906
2019-07-24 11:15:00 | 4.4367 | 197.5367 | 5.1167 | 217.0667 | 8.39 | 19.2967 | 8.7433 | 19.76 | 27.7 | 884 | 73.8733 | 19.2273
2019-07-24 11:30:00 | 4.77 | 119.5833 | 5.4967 | 131.4 | 8.8567 | 25.0433 | 8.9833 | 22.9867 | 28.9133 | 884 | 72.4133 | 18.5993
2019-07-24 11:45:00 | 5.1333 | 237.7233 | 5.91 | 261.2333 | 9.2887 | 7.4 | 9.0833 | 20.14 | 29.776 | 884 | 66.7767 | 21.132
2019-07-24 12:00:00 | 5.56 | 166.1367 | 6.4033 | 182.5667 | 9.8867 | 5.38 | 10.0767 | 15.4467 | 29.75 | 884 | 64.7367 | 25.702
2019-07-24 12:15:00 | 5.4233 | 247.1 | 6.2367 | 271.5333 | 9.5113 | 6.63 | 9.4833 | 24.9833 | 29.8233 | 884 | 62.8867 | 25.1687
2019-07-24 12:30:00 | 5.3033 | 186.68 | 6.1033 | 205.1333 | 9.2867 | 15.2767 | 9.4367 | 22.5433 | 29.4833 | 884.4667 | 64.34 | 20.8813
2019-07-24 12:45:00 | 4.7693 | 168.5547 | 5.494 | 185.22 | 8.7867 | 15.0307 | 8.964 | 20.4013 | 29.422 | 885 | 66.5673 | 18.0787
2019-07-24 13:00:00 | 4.6067 | 44.0567 | 5.2967 | 48.4067 | 8.39 | 21.48 | 8.5633 | 27.2367 | 29.3567 | 885 | 66.5867 | 12.2647
2019-07-24 13:15:00 | 3.84 | 132.22 | 4.4167 | 145.3 | 7.0633 | 241.6233 | 7.0067 | 33.5433 | 29.2347 | 884.8667 | 67.43 | 11.448
2019-07-24 13:30:00 | 3.9267 | 179.1267 | 4.5233 | 196.8333 | 6.8767 | 19.6433 | 6.76 | 30.4233 | 29.1387 | 884 | 66.55 | 10.5633
2019-07-24 13:45:00 | 3.8867 | 291.32 | 4.4767 | 320.1333 | 6.06 | 31.61 | 5.8633 | 11.7067 | 28.76 | 884 | 65.0667 | 13.834
2019-07-24 14:00:00 | 4.3733 | 299.3333 | 5.0367 | 328.9333 | 7.2 | 240.9833 | 6.95 | 239.0867 | 28.5933 | 884 | 66.0733 | 14.334
2019-07-24 14:15:00 | 3.99 | 317.1067 | 4.5867 | 348.4667 | 6.7633 | 12.44 | 6.7033 | 23.9333 | 29.3133 | 884 | 66.46 | 11.7053
2019-07-24 14:30:00 | 3.8967 | 121.42 | 4.48 | 133.4267 | 6.0433 | 17.8933 | 5.7167 | 249.3467 | 29.54 | 884 | 63.6 | 12.3593
2019-07-24 14:45:00 | 3.6733 | 180.7133 | 4.23 | 198.5767 | 6.2033 | 8.43 | 5.89 | 237.96 | 28.9733 | 884 | 66.2367 | 13.6707
2019-07-24 15:00:00 | 4.0067 | 223.66 | 4.6167 | 245.7767 | 6.65 | 233.11 | 6.53 | 7.0333 | 28.4867 | 884 | 67.7433 | 14.906
2019-07-24 15:15:00 | 4.2267 | 305.8467 | 4.86 | 336.1 | 7.2833 | 228.0133 | 7.0767 | 9.36 | 28.5167 | 883.8667 | 67.96 | 14.8773
2019-07-24 15:30:00 | 4.2667 | 279.8933 | 4.9067 | 307.5667 | 7.4367 | 10.0267 | 7.2833 | 10.64 | 29.4167 | 883 | 65.4267 | 18.3413
2019-07-24 15:45:00 | 5.1 | 40.68 | 5.8667 | 44.69 | 8.78 | 13.0833 | 8.4833 | 9.0933 | 30.36 | 883.1333 | 62.12 | 26.928
2019-07-24 16:00:00 | 5.24 | 200.6267 | 6.0267 | 220.4633 | 9.4 | 8.5633 | 8.97 | 9.0733 | 29.74 | 883.5333 | 62.6467 | 26.666
2019-07-24 16:15:00 | 5.0867 | 254.1833 | 5.85 | 279.3133 | 9.0967 | 18.2507 | 8.7647 | 16.2407 | 29.4813 | 883 | 62.6407 | 23.8987
2019-07-24 16:30:00 | 4.8733 | 287.1667 | 5.6167 | 315.5667 | 8.6767 | 11.5233 | 8.4033 | 16.5467 | 29.9133 | 883 | 61.8533 | 24.56
2019-07-24 16:45:00 | 4.9467 | 225.9267 | 5.7 | 248.2667 | 8.93 | 13.1167 | 8.7133 | 20.9467 | 29.6167 | 883 | 61.2433 | 25.786
2019-07-24 17:00:00 | 4.9267 | 189.5267 | 5.6733 | 208.2667 | 9.2233 | 20.8433 | 9.1067 | 17.92 | 29.7233 | 883 | 63.1833 | 22.2027
2019-07-24 17:15:00 | 4.1233 | 149.28 | 4.7467 | 164.0333 | 7.88 | 14.3133 | 7.8733 | 14.8533 | 29.6433 | 883 | 64.91 | 19.9467
2019-07-24 17:30:00 | 4.3633 | 198.4733 | 5.0267 | 218.1 | 8.1667 | 10.5067 | 7.9867 | 21.5533 | 29.2567 | 883 | 65.6233 | 17.8387
2019-07-24 17:45:00 | 3.6233 | 195.1933 | 4.17 | 214.5 | 6.8933 | 17.54 | 6.8667 | 28.2733 | 28.2533 | 883 | 67.22 | 16.718
2019-07-24 18:00:00 | 3.61 | 125.1267 | 4.15 | 137.5 | 6.76 | 11.6467 | 6.84 | 16.9067 | 27.5933 | 883 | 68.74 | 15.2073
2019-07-24 18:15:00 | 3.3133 | 87.8667 | 3.81 | 96.5467 | 6.4733 | 18.5 | 6.5133 | 31.0567 | 27.2073 | 883 | 70.8 | 13.936
2019-07-24 18:30:00 | 3.16 | 254.78 | 3.6433 | 279.9667 | 6.28 | 19.12 | 6.32 | 35.25 | 27.1233 | 883 | 71.5867 | 14.312
2019-07-24 18:45:00 | 3.36 | 13.7467 | 3.8667 | 15.1033 | 6.5667 | 10.38 | 6.6067 | 27.9433 | 26.7167 | 883 | 71.7233 | 15.188
2019-07-24 19:00:00 | 3.2867 | 131.6867 | 3.78 | 144.71 | 6.3533 | 17.0667 | 6.6 | 28.6567 | 26.47 | 883 | 72.5267 | 15.216
2019-07-24 19:15:00 | 3.4833 | 206.7267 | 4.0033 | 227.1667 | 6.7467 | 24.44 | 7.2833 | 25.6167 | 26.1867 | 883 | 73.3533 | 17.1393
2019-07-24 19:30:00 | 3.75 | 240.58 | 4.31 | 264.3667 | 7.3267 | 13.0867 | 7.6433 | 24.4167 | 25.8933 | 883 | 72.786 | 19.136
2019-07-24 19:45:00 | 4.0233 | 184.31 | 4.6333 | 202.5333 | 7.6933 | 13.0167 | 7.75 | 25.6167 | 25.676 | 883 | 72.8307 | 19.9473
2019-07-24 20:00:00 | 3.8633 | 191.8467 | 4.44 | 210.8133 | 7.62 | 17.9567 | 8.2033 | 34.95 | 25.5567 | 883 | 73.1667 | 21.2033
2019-07-24 20:15:00 | 3.92 | 188.5567 | 4.51 | 207.2 | 7.82 | 26.98 | 8.2767 | 38.2533 | 25.3433 | 883 | 73.58 | 18.058
2019-07-24 20:30:00 | 3.58 | 179.7033 | 4.1233 | 197.4667 | 7.1467 | 21.7133 | 7.6767 | 36.7 | 25.13 | 883 | 73.718 | 14.6327
2019-07-24 20:45:00 | 3.23 | 257.2267 | 3.7133 | 282.6667 | 6.4567 | 17.6067 | 6.6 | 31.53 | 24.8633 | 883 | 73.67 | 12.4393
2019-07-24 21:00:00 | 3.1833 | 262.2133 | 3.66 | 288.1333 | 6.35 | 33.3067 | 5.84 | 38.97 | 24.7913 | 883 | 73.0233 | 9.7227
2019-07-24 21:15:00 | 2.7167 | 200.4233 | 3.1267 | 220.2333 | 5.43 | 31.01 | 6.4967 | 32.2833 | 24.7847 | 883 | 72.4067 | 8.224
2019-07-24 21:30:00 | 2.27 | 205.33 | 2.6133 | 225.6333 | 4.53 | 20.45 | 5.1367 | 31.7967 | 24.7847 | 883 | 70.49 | 4.0793
2019-07-24 21:45:00 | 1.7133 | 285.84 | 1.9833 | 314.1 | 3.4033 | 23.57 | 3.6533 | 22.96 | 24.7353 | 883 | 70.3433 | 3.3513
2019-07-24 22:00:00 | 1.7133 | 149.5133 | 1.9833 | 164.3 | 3.4033 | 20.91 | 3.0067 | 19.8867 | 24.85 | 883 | 68.7833 | 2.998
2019-07-24 22:15:00 | 1.6933 | 320.96 | 1.95 | 352.7 | 3.3867 | 22.21 | 3.8167 | 33.7467 | 24.8973 | 883.8 | 68.1767 | 2.5407
2019-07-24 22:30:00 | 1.3667 | 310.5267 | 1.57 | 341.2333 | 2.7333 | 18.53 | 2.7567 | 22.88 | 24.7833 | 884 | 67.974 | 1.4347
2019-07-24 22:45:00 | 1.376 | 304.352 | 1.588 | 334.44 | 2.74 | 24.812 | 2.86 | 21.092 | 24.636 | 884 | 68.114 | 0.91667
2019-07-24 23:00:00 | 1.0333 | 318.2827 | 1.1933 | 349.7533 | 2.0467 | 15.6 | 2.2467 | 36.1467 | 24.4667 | 884 | 69.06 | 0.594
2019-07-24 23:15:00 | 1.3133 | 313.84 | 1.51 | 344.8667 | 2.6167 | 17.69 | 2.7967 | 5.6367 | 24.33 | 884 | 70.5767 | 2.568
2019-07-24 23:30:00 | 1.9133 | 316.74 | 2.2033 | 348.0667 | 3.8233 | 1.9433 | 4.4367 | 12.3233 | 24.0833 | 883.5333 | 73.0233 | 5.282
2019-07-24 23:45:00 | 2.08 | 262.3 | 2.3933 | 288.2333 | 4.15 | 124.12 | 4.5567 | 15.69 | 23.5133 | 883 | 78.3667 | 7.1033